File List for SeaBird Data          Cruise Number: 2005-11

[osapcommon\cruise_data\2005-11\Bioness]

[osapcommon\cruise_data\2005-11\CHL]

2005-11-chl.csv – chl data from rosette sampling only

2005-11-chl.xls – all chl data from analyst

2005-11-chl-loop.csv – loop CHL only

[osapcommon\cruise_data\2005-11\ctd]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon\cruise_data\2005-11\ctd\convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon\cruise_data\2005-11\ctd\derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon\cruise_data\2005-11\ctd\doc]

2005-11-recal1.ccf – calibration control file for initial recalibration of DO

2005-11-recal2.ccf – calibration control file for final recalibration of DO

2005-11_proc.doc - processing notes

2005-11_file.doc - this document

*hdr.txt –  various files containing comments used for headers

[osapcommon\cruise_data\2005-11\ctd\hydro]

*.add – bottle from analyst, converted, edited, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – titrated chlorophyll data

*.mrg – merge of sal, add, nuts and bottle-averaged rosette files

*.nut – nutrient data converted by spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted by spreadsheet

*.sam – bottle files with sample numbers added

addsamp.csv – file containing cast #, bottle number and sample number

2005-11-chl-comp1 – comparison of titrated CHL and SBE fluorescence

2005-11-dox-comp1.csv & .xls – initial DO COMPARE files

2005-11-dox-comp2.csv & .xls – DO COMPARE files after 1st recalibration

2005-11-dox-comp3.csv & .xls – DO COMPARE files downcast vs upcast bottles

2005-11-dox-comp4.csv & .xls – DO COMPARE files after 2nd recalibration

2005-11-sal-comp1.xls – salinity COMPARE file

2005-11-sal-Niskin-comp.csv & .xls - salinity COMPARE by Niskin bottle #

[osapcommon\cruise_data\2005-11\ctd\ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2005-11\DOC]

[osapcommon\cruise_data\2005-11\Navigation]

[osapcommon\cruise_data\2005-11\Nutrients] Nutrient Files from analyst

[osapcommon\cruise_data\2005-11\oxygen] Original oxygen bottle files from analyst

[osapcommon\cruise_data\2005-11\salinity] Original bottle salinity files from analyst

[osapcommon\cruise_data\2005-11\SCS]

[osapcommon\cruise_data\2005-11\TSG Data] files from sea

[osapcommon\cruise_data\2005-11\TSG Data\convert] – data after SeaBird conversion

[osapcommon\cruise_data\2005-11\TSG]

*.cnv – after SeaBird conversion

*.con – configuration files

*.hex – original data acquired at sea

[osapcommon\cruise_data\2005-11\TSG\doc]

2005-11-TSG-recal.ccf – calibration control file for TSG

2005-11 Salinity-loop-comp.xls – loop bottle vs TSG

2005-11-TSG-CTD-COMP.xls – comparison of TSG and CTD during CTD casts

2005-11-therm-hdr.txt – file with comments for headers

[osapcommon\cruise_data\2005-11\TSG Data\IOS] – data after conversion to IOS Headers

*.atc – files after adding time channel

*.edt – files after 2 were edited

*.ios – files after conversion from CSV to IOS headers

*.log – editing log files

*.tob – final data file after REMOVE and HEAD EDIT