## station data
Cruise 2005-11 May WCVI Mackas | [5 empty] | File: QF 2005-11.xls
Data: June 13, 2005
Chlorophyll samples were analyzed onboard JP Tully using the Chemistry Turner Designs Fluorometer.
The fluorometer was calibrated against pure chlorophyll a (from Sigma) on February 17, 2005.
Some of the 90 % acetone blanks seemed high - indicating that the cuvettes might not have been properly rinsed between samples
Cruise | Cast | Station | Sample # | Chlorophyll a | chlorophyll | Comments
|  |  |  | ug/l | QF
2005-11 | 1 | SIO3 | 10 | 0.11252
2005-11 | 1 | SIO3 | 11 | 0.55688
2005-11 | 1 | SIO3 | 12 | 2.7202
2005-11 | 3 | GIO2 | 20 | 0.6929
2005-11 | 3 | GIO2 | 21 | 0.79387
2005-11 | 9 | CSO9 | 30 | 1.5851
2005-11 | 9 | CSO9 | 31 | 2.5347
2005-11 | 9 | CS09 | 32 | 2.7233
2005-11 | 16 | CS07 | 38 | 1.8235
2005-11 | 16 | CS07 | 39 | 4.8348
2005-11 | 16 | CS07 | 41 | 4.8141
2005-11 | 20 | CSO5 | 46 | 0.52486
2005-11 | 20 | CSO5 | 47 | 0.50749
2005-11 | 20 | CSO5 | 48 | 2.0159
2005-11 | 24 | CSO3 | 57 | 4.138
2005-11 | 24 | CSO3 | 58 | 6.081
2005-11 | 31 | CSO1 | 81 | 0.40279
2005-11 | 31 | CSO1 | 82 | 0.43655
2005-11 | 31 | CSO1 | 83 | 0.32527
2005-11 | 32 | LBP7 | 99 | 1.4943
2005-11 | 32 | LBP7 | 100 | 2.4685
2005-11 | 32 | LBP7 | 101 | 2.5237
2005-11 | 35 | LBP5 | 117 | 1.3777
2005-11 | 35 | LBP5 | 118 | 1.092
2005-11 | 35 | LBP5 | 119 | 1.0216
2005-11 | 38 | LBP3 | 127 | 3.1282
2005-11 | 38 | LBP3 | 128 | 1.4194
2005-11 | 38 | LBP3 | 129 | 1.4062
2005-11 | 42 | LGO1 | 133 | 1.1937
2005-11 | 42 | LGO1 | 134 | 2.6516
2005-11 | 42 | LGO1 | 135 | 5.4125
2005-11 | 43 | LGO2 | 140 | 5.2491
2005-11 | 43 | LGO2 | 141 | 5.7474
2005-11 | 43 | LGO2 | 142 | 2.895
2005-11 | 46 | LGO4 | 149 | 1.3089
2005-11 | 46 | LGO4 | 150 | 13.0825 |  | diluted for analysis
2005-11 | 46 | LGO4 | 151 | 2.4092
2005-11 | 50 | LGO7 | 167 | 0.69598
2005-11 | 50 | LGO7 | 168 | 0.71248
2005-11 | 50 | LGO7 | 169 | 0.79847
2005-11 | 53 | LGO9 | 185 | 0.2649
2005-11 | 53 | LGO9 | 187 | 0.49213
2005-11 | 60 | LC11 | 203 | 1.2998
2005-11 | 60 | LC11 | 204 | 0.6668
2005-11 | 60 | LC11 | 205 | 0.61365
2005-11 | 61 | LCO9 | 221 | 0.79035
2005-11 | 61 | LCO9 | 222 | 0.88664
2005-11 | 70 | LCO7 | 228 | 1.1507
2005-11 | 70 | LCO7 | 229 | 0.8483
2005-11 | 70 | LCO7 | 230 | 0.99425
2005-11 | 75 | LCO4 | 238 | 1.131
2005-11 | 75 | LCO4 | 239 | 1.5254
2005-11 | 75 | LCO4 | 240 | 2.1532
2005-11 | 80 | LCO2 | 245 | 1.7908
2005-11 | 80 | LCO2 | 246 | 4.1516
2005-11 | 80 | LCO2 | 247 | 3.8084
2005-11 | 86 | C3 | 253 | 0.52951
2005-11 | 86 | C3 | 254 | 2.1212
2005-11 | 86 | C3 | 255 | 1.4606
2005-11 | 93 | C2 | 260 | 1.2416
2005-11 | 93 | C2 | 261 | 2.9124

## Loop data
Cruise 2005-11 May WCVI Mackas |  |  |  |  | File: QF 2005-11.xls
Data: June 13, 2005
Cruise | Station | Sample # | Chlorophyll a | Comments
ug/l
2005-11 |  | 1 | 3.2774
2005-11 |  | 2 | 1.3107
2005-11 |  | 3 | 1.98
2005-11 |  | 4 | 4.8207
2005-11 |  | 5 | 2.4207
2005-11 |  | 6 | 1.3625
2005-11 |  | 7 | 0.63138
2005-11 |  | 8 | 1.1456
2005-11 |  | 9 | 1.5179
2005-11 |  | 10 | 1.7622
2005-11 |  | 11 | 4.5513
2005-11 |  | 12 | 0.8528
2005-11 |  | 13 | 3.1689