Post-cruise Sensor Calibration Tests

Here are the test results for 0585 with the following configuration :

T0 2968

C0 1766

T1 2710

C1 2102

This test was conducted post Rick's cruise.  I do recall noticing that there was little drift that could be observed by watching real-time data.

Test date:

4-Aug-2005

T0 20.035

T1 20.036

S0 32.526

S1 32.527

Tank Salinity 32.527

T0 19.521

T1 19.522

S0 32.528

S1 32.529

Tank Salinity 32.527

Doug