File List for SeaBird Data          Cruise Number: _2005-20____

[osapcommon\cruise_data\2005-20\ctd]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon\cruise_data\2005-20\ctd\convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon\cruise_data\2005-20\ctd\derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon\cruise_data\ctd\2005-20\ctd\doc]

2005-20-ctd.con – configuration file used for all casts

2005-20-recal1.ccf – calibration control file for recalibration of DO and salinity

2005-20-recal2.ccf – calibration control file for 2nd recalibration of DO

2005-20_proc.doc - processing notes

2005-20_file.doc - this document

2005-20-hdr.txt – header file comments used for CTD downcast files

[osapcommon\cruise_data\2005-20\ctd\ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2005-20\ctd\original files]

*.cnv – original files from sea with non-standard names

*.hex – “