## Final Data 2005-21
Iron III Data for Cruise 2005-21
Cruise |  |  |  |  | 2005-21
Ship |  |  |  |  | CCGS JP Tully
Dates |  |  |  |  | August 16- Sept2, 2005
Chief Scientist |  |  |  |  | Marie Robert
Analysts |  |  |  |  | Collection by Uvic trace metal group, IOS Lab Analysis: Nes Sutherland and Keith Johnson
For Methods and Explanation of Abbreviations please see Metadata Sheet
Flags & Abbreviations
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement, overrange)
6 | Mean of replicate measurements from one XNiskin (XN) or Goflo (GF)... Replicates are found in "Sum Line P" sheet, and summary of replicate data in the "Metadata" sheet
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet; only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
Collection by UVic Students, much sampling information not available
[11 empty] | Sample_Number | Depth | Iron:Filtered:Buffered 0.22u | Flag FB | Iron:Unfiltered:Buffered | Flag UFB | Iron:Filtered:StrongAcidMicrowave: 0.22u | Flag FA mw | Iron:Unfiltered:StrongAcid MicroWave | Flag UFA mw |  | Salinity | Salinity flag
Date | Time | Profile | Latitude |  | Longitude |  | Station | Event | Sampler | Sampler | Smp | Depth | FB | FB | UFB | UFB | FAmw | FA | UFAmw | UFA | Comments | Sal |  | Depth
UTC | UTC | [6 empty] | # | Type | ID# | # | m | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag |  | (PSU) |  | m
2005-08-22 | 1000 | 8001 | 49 09.94 | N | 140 14.81 | W | HE2004 | 52 |  |  |  | 10 |  |  |  |  | 0.51503 | [6 empty] | 10
2005-08-22 | 1000 | 8001 | 49 09.94 | N | 140 14.81 | W | HE2004 | 52 |  |  |  | 25 |  |  |  |  | 0.23035 | [6 empty] | 25
2005-08-22 | 1000 | 8001 | 49 09.94 | N | 140 14.81 | W | HE2004 | 52 |  |  |  | 50 |  |  |  |  | 0.42904 | [6 empty] | 50
2005-08-22 | 1000 | 8001 | 49 09.94 | N | 140 14.81 | W | HE2004 | 52 |  |  |  | 75 |  |  |  |  | 0.45153 | [6 empty] | 75
2005-08-22 | 1000 | 8001 | 49 09.94 | N | 140 14.81 | W | HE2004 | 52 |  |  |  | 100 |  |  |  |  | 4.5301 | 3 |  |  | 3: seems too high, ?contamination |  |  | 100
2005-08-22 | 1000 | 8001 | 49 09.94 | N | 140 14.81 | W | HE2004 | 52 |  |  |  | 150 |  |  |  |  | 1.2558 | [6 empty] | 150
2005-08-22 | 1000 | 8001 | 49 09.94 | N | 140 14.81 | W | HE2004 | 52 |  |  |  | 200 |  |  |  |  | 1.5691 | [6 empty] | 200
2005-08-22 | 1000 | 8001 | 49 09.94 | N | 140 14.81 | W | HE2004 | 52 |  |  |  | 300 |  |  |  |  | 1.3382 | [6 empty] | 300
2005-08-22 | 1000 | 8001 | 49 09.94 | N | 140 14.81 | W | HE2004 | 52 |  |  |  | 400 |  |  |  |  | 1.812 | [6 empty] | 400
2005-08-22 | 1000 | 8001 | 49 09.94 | N | 140 14.81 | W | HE2004 | 52 |  |  |  | 600 |  |  |  |  | 1.5555 | [6 empty] | 600
2005-08-28 | 1600 | 8002 | 52 49.97 | N | 135 52.22 | W | HE2005 | 87 |  |  |  | 10 |  |  |  |  | 0.18676 | 3 |  |  | 3: labelled H2004, but was in H2005 bag, assumed to be H2005 |  |  | 10
2005-08-28 | 1600 | 8002 | 52 49.97 | N | 135 52.22 | W | HE2005 | 87 |  |  |  | 25 |  |  |  |  | 1.0531 | 3 |  |  | 3: no label, assumed to be 25m by default |  |  | 25
2005-08-28 | 1600 | 8002 | 52 49.97 | N | 135 52.22 | W | HE2005 | 87 |  |  |  | 50 |  |  |  |  | 0.668 | [6 empty] | 50
2005-08-28 | 1600 | 8002 | 52 49.97 | N | 135 52.22 | W | HE2005 | 87 |  |  |  | 75 |  |  |  |  | 1.1009 | [6 empty] | 75
2005-08-28 | 1600 | 8002 | 52 49.97 | N | 135 52.22 | W | HE2005 | 87 |  |  |  | 100 |  |  |  |  | 1.5931 | [6 empty] | 100
2005-08-28 | 1600 | 8002 | 52 49.97 | N | 135 52.22 | W | HE2005 | 87 |  |  |  | 150 |  |  |  |  | 3.539 | [6 empty] | 150
2005-08-28 | 1600 | 8002 | 52 49.97 | N | 135 52.22 | W | HE2005 | 87 |  |  |  | 200 |  |  |  |  | 3.4396 | [6 empty] | 200
2005-08-28 | 1600 | 8002 | 52 49.97 | N | 135 52.22 | W | HE2005 | 87 |  |  |  | 300 |  |  |  |  | 2.0077 | [6 empty] | 300
2005-08-28 | 1600 | 8002 | 52 49.97 | N | 135 52.22 | W | HE2005 | 87 |  |  |  | 400 |  |  |  |  | 2.3945 | [6 empty] | 400
2005-08-28 | 1600 | 8002 | 52 49.97 | N | 135 52.22 | W | HE2005 | 87 |  |  |  | 600 |  |  |  |  | 3.271 |  |  |  | had double acid added on collection, needed double NH4OH |  |  | 600

## Metadata
Metadata for Fe III
Cruise |  |  | 2005-21
Ship |  |  | CCGS JP Tully
Dates |  |  | August 2005
Chief Scientist |  |  | Marie Robert
Analysts |  |  | Collection by Uvic trace metal group, IOS Lab Analysis: Nes Sutherland and Keith Johnson
Samples from this cruise were collected by UVic Trace Metals group for IOS Fe analysis. The focus was on capturing trace metal distribution within the eddies HE2004 and HE2005
Much sampling information was not forwarded to IOS, hence the gaps in the Final Data Sheet.
Samples were stored until March-April 2006, then analysed at IOS lab together with TN179, an indepth eddy study - only data relevant to 2005-21 are given here
Sample Collection:
Seawater samples for Iron(III) analyses were collected by 12L X-Niskins (XN numbered) or 12L GoFlos (numbered) on a Kevlar line spooled over a Delrin block (10-600m).
LDPE bottles had been previously acid cleaned to Geotraces standards. Filtration was by Opti cartidge type filters ( 0.22u Duropore) direct from the Goflos
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and nomenclature.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach, measured onboard, as well as a strongly acidic leach measured after a storage period of 6 months or longer.
In recent years, IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
The following provides a description of these treatments, their abbreviations and nomenclature:
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours; thought to be immediate bioavailable iron
| Iron:Filtered:Buffered |  | FB | 0.22u filtered, buffered, also called dissolved Fe
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
These samples were not microwaved as after storage of over ~6 months, there is essentially nothing to be gained by this extra procedure in digestion of particulates
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - often referred to as Total Dissolved fraction
This fraction tends to be similar to FB
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2009:
In 2009: 24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:Geotrace |  | FG | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see below for 2011 modification. FG also referred to D(Fe), or Dissolved Fe
| Iron:Unfiltered:Geotrace |  | UFG | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - see below for 2011 modification. UFG is also referred to TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations, but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were quite similar, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
In this cruise, the FA treatment was used to determine Fe(III) concentrations
Sample Analysis:
Samples were analysed in the IOS lab using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
Samples acidified to <pH2 with 1:1 HCl (2.0mL 1:1HCl/250mL smp) for at least 6 months, then pH is brought back up to Fe system requirements just prior to analysis
For these samples a microwave step was used to be sure of complete digestion of the FA samples - within days before analysis, acidified samples were heated to near boil for 1 minute, then cooled, and treated as follows:
Within hours of analysis, the acidified samples were treated by addition of ammonium formate buffer pH3.2 (1.25mL per 250mL smp), H2O2 (25uL of 1% per 250mL smp)
and concentrated ammonium hydroxide to bring sample to pH3.2 +/- 0.1.
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards:
The primary standard was a VWR Fe 1007ppm, Lot#A7105052. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected
in previous cruises, and run within 15 minutes of preparation.
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe.
For more on blanks, see separate section below.
QAQC & Daily Reference Standards (DRS) & Comments
Replication Statistics, or Sample Pooled Data Stats:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within a sample bottle, or between duplicate samples taken from one depth.
Where three or more analyses were run from within one bottle, the abs(diff)^2 for the two most divergent values was used in determining sp.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
This set of samples was run together with acidified samples from TN179, in April 2006. The metadata, unless specified, is from the total analysis set, including TN179 and this 2005-21 cruise.
There were no duplicate samples collected
Replicate Analysis within a Sample Bottle
UVic 2005-21 only
Pooled Variance (sp): |  | 0.030855
Detection Limit:
Average Fe: |  | 1.5182
Sum d^2:
Rsp% |  | 2.0324
n: |  | 10
Daily Reference Standards (DRS)
DRSs were not run during this analysis set
Intercalibration Standards
None were run for this set
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 050N 145W, or other HNLC area
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the calibration standards
However, because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank.
In previous cruises, low iron seawater was run through the resin column and collected for use as zero water, and was referred to as "rc0" or resin-cleaned zero water.
In talking to other iron researchers about their source for "zero iron" water, IOS changed to using a very short preconcentration time of 0-5sload, as compared to the usual 120s- 300s load for samples.
This very short preconc time allows all reagents and a small quantity of seawater to still affect the column, but keeps iron addition negligible.
On our system, even with a 0s load, there is still a small amount of low iron seawater between the valves, that flushes through the column, keeping the chemistry the same as for samples. Note that the name, rc0 has not changed
Changing to the 0 load time circumvents problems with contamination creeping into rc0 bottles when stored over a period of time.
The zero blank for sample correction is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Following is a list of blanks used in calibration, but calculated with the rc0 to determine actual iron of the BSW used this cruise
Please see discussion of Determining Detection Limit in a section below this one
IOS lab analysis:
Date | Time | Preconc | Raw |  | Blank[Fe]
Time (s)
|  |  | Avg: |  | 0.025577
|  |  | Stdev: |  | 0.012926
|  |  | n: |  | 19
|  |  | D.L.: |  | 0.038779
040406 | 153 | 240 |  |  | 0.0092353
| 211 | 240 |  |  | 0.0098901
040606 | 1037 | 120 |  |  | 0.022395
| 1108 | 120 |  |  | 0.01489
041106 | 932 | 90 |  |  | 0.026584
| 1007 | 90 |  |  | 0.023014
041306 | 1128 | 60 |  |  | 0.034348
| 1142 | 60 |  |  | 0.031548
041706 | 1028 | 120 |  |  | 0.031312
| 1043 | 120 |  |  | 0.027663
| 2359 | 120 |  |  | 0.036782
041806 | 17 | 120 |  |  | 0.032816
042006 | 1033 | 30 |  |  | 0.0084315
| 1049 | 30 |  |  | 0.006397
042106 | 126 | 30 |  |  | 0.045051
| 140 | 30 |  |  | 0.036168
050206 | 1049 | 120 |  |  | 0.018256
| 1105 | 120 |  |  | 0.017885
050506 | 33 | 30 |  |  | 0.053304
Determining Detection Limit (D.L.):
The detection limit can be determined as 3 x Stdev of the Average Blank FeIII concentration, depending on whether the stock batches used are the same, and have low iron content(<0.1nM).
For the blanks of this cruise, given above, the DL was ~0.04 nM; minimum sample was 0.19nM Fe

## SumAll
UVic only, FAmw:
|  | Avg: |  | 1.5182
|  | sp: |  | 0.030855
|  | %RSD: |  | 2.0324
|  | n: |  | 10
|  | sum(diff)^2: |  | 0.01904
:DL:
|  |  |  | FA mw Fe - Acidified |  |  | Replicate Smp Btls
| Depth | Rep# |  | nM | Abs(Diff) | Diff^2 | Avg nM | (diff)^2 |  | Comments | [6 empty] | Depth for Charts
for ErrorBars
Cruise 2005-21, two Haida Eddies sampled UVic trace metals group on return from Line P; likely FG
Analysed along with Total UF from TN179, April 2006
H2005 | 10 |  |  | 0.18676 | 0.020805 | 0.00043286 |  |  |  | ** labelled H2004, but was in H2005 bag, assumed to be H2005 | [6 empty] | 10
| 25 |  |  | 1.0531 | 0.031526 | 0.00099386 |  |  |  | ** no label, assumed to be 25m by default | [6 empty] | 25
| 50 |  |  | 0.668 | 0.021287 | 0.00045314 | [10 empty] | 50
| 75 |  |  | 1.1009 | 0.072132 | 0.005203 | [10 empty] | 75
| 100 |  |  | 1.5931 | [12 empty] | 100
| 150 |  |  | 3.539 | 0.048854 | 0.0023867 | [10 empty] | 150
| 200 |  |  | 3.4396 | [12 empty] | 200
| 300 |  |  | 2.0077 | 0.083632 | 0.0069943 | [10 empty] | 300
| 400 |  |  | 2.3945 | [12 empty] | 400
| 600 |  |  | 3.271 | 0.0036736 | 1.3496e-05 |  |  |  | had double acid added on collection, needed double NH4OH | [6 empty] | 600
H2004 | 10 |  |  | 0.51503 | [12 empty] | 10
| 25 |  |  | 0.23035 | 0.022494 | 0.00050599 | [10 empty] | 25
| 50 |  |  | 0.42904 | [12 empty] | 50
| 75 |  |  | 0.45153 | [12 empty] | 75
| 100 |  |  | 4.5301 | [5 empty] | seems too high, ?contamination | [6 empty] | 100
| 150 |  |  | 1.2558 | [12 empty] | 150
| 200 |  |  | 1.5691 | 0.035207 | 0.0012395 | [10 empty] | 200
| 300 |  |  | 1.3382 | [12 empty] | 300
| 400 |  |  | 1.812 | [12 empty] | 400
| 600 |  |  | 1.5555 | 0.028588 | 0.00081729 | [10 empty] | 600
Following data for comparison of eddies, taken from TN179:
Date | Time | Profile | Latitude |  | Longitude |  | Station | Event | Sampler | Sampler | Smp | Depth | FB | FB | UFB | UFB | FAmw | FA | UFAmw | UFA | Comments | Sal | Depth
UTC | UTC | [6 empty] | # | Type | ID# | # | m | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag |  | (PSU) | m
2005-04-28 | 18:30 |  | 51 24.00 N |  | 134 0.00W | TN179 | H5-00 | 1 | Zodiac |  |  | 0 | 0.049685 |  | 0.13995 |  |  |  | 0.32329 |  |  |  | 0
2005-04-28 | 21:30 |  | 51 24.00 N |  | 134 0.00W |  | H5-00 | 1 | Pump |  |  | 10 | 0.086609 |  | 0.10705 |  |  |  | 0.17228 |  |  |  | 10
2005-04-28 | 21:30 |  | 51 24.00 N |  | 134 0.00W |  | H5-00 | 1 | Pump |  |  | 20 | 0.088996 |  | 0.067243 |  |  |  | 0.11975 |  |  |  | 20
2005-04-28 | 21:30 |  | 51 24.00 N |  | 134 0.00W |  | H5-00 | 1 | Pump |  |  | 30 | 0.13897 | 3 | 0.084082 |  |  |  | 2.2556 |  | 3:FB - ?possible opti filter contam |  | 30
2005-04-28 | 21:30 |  | 51 24.00 N |  | 134 0.00W |  | H5-00 | 1 | Pump |  |  | 40 | 0.33901 | 3 | 0.093035 |  |  |  | 0.35647 |  | 3:FB - ?possible opti filter contam |  | 40
2005-04-28 | 23:00 |  | 51 24.00 N |  | 134 0.00W |  | H5-00 | 1 | GoFlo |  |  | 50 | 0.10382 |  | 0.12726 |  |  |  | 0.20002 |  |  |  | 50
2005-04-29 | 1:10 |  | 51 24.00 N |  | 134 0.00W |  | H5-00 | 1 | GoFlo |  |  | 75 | 0.26871 |  | 0.40635 |  |  |  | 1.0047 |  |  |  | 75
2005-04-28 | 23:00 |  | 51 24.00 N |  | 134 0.00W |  | H5-00 | 1 | GoFlo |  |  | 95 | 0.46421 |  | 0.79765 |  |  |  | 1.5481 |  |  |  | 95
2005-04-28 | 23:00 |  | 51 24.00 N |  | 134 0.00W |  | H5-00 | 1 | GoFlo |  |  | 170 | 0.45419 |  | 0.69759 |  |  |  | 1.6048 |  |  |  | 170
2005-04-29 | 1:10 |  | 51 24.00 N |  | 134 0.00W |  | H5-00 | 1 | GoFlo |  |  | 200 | 0.58484 |  | 0.72753 |  |  |  | 1.6608 |  |  |  | 200
2005-04-29 | 1:10 |  | 51 24.00 N |  | 134 0.00W |  | H5-00 | 1 | GoFlo |  |  | 300 | 0.78039 |  | 1.0082 |  |  |  | 1.8213 |  |  |  | 300
2005-04-29 | 1:10 |  | 51 24.00 N |  | 134 0.00W |  | H5-00 | 1 | GoFlo |  |  | 400 | 0.78144 |  | 0.89299 |  |  |  | 1.4171 |  |  |  | 400
2005-04-29 | 1:10 |  | 51 24.00 N |  | 134 0.00W |  | H5-00 | 1 | GoFlo |  |  | 600 | 1.0215 |  | 1.2364 |  |  |  | 2.0383 |  |  |  | 600
2005-04-29 | 1:10 |  | 51 24.00 N |  | 134 0.00W |  | H5-00 | 1 | GoFlo |  |  | 800 | 0.95513 |  | 1.1058 |  |  |  | 2.2314 |  |  |  | 800
2005-04-30 | 1:30 |  | 52 19.60 N |  | 133 17.30W |  | H5-08 | 9 | Zodiac |  |  | 0 | 0.19184 |  | 0.29286 |  |  |  | 1.2713 |  |  |  | 0
2005-04-30 | 8:45 |  | 52 19.99 N |  | 133 17.38W |  | H5-08 | 9 | Pump |  |  | 10 | 0.11537 |  | 0.41292 |  |  |  | 1.0202 |  |  |  | 10
2005-04-30 | 8:45 |  | 52 19.99 N |  | 133 17.38W |  | H5-08 | 9 | Pump |  |  | 20 | 0.12226 |  | 0.30639 |  |  |  | 0.62101 |  |  |  | 20
2005-04-30 | 8:45 |  | 52 19.99 N |  | 133 17.38W |  | H5-08 | 9 | Pump |  |  | 30 | 0.12234 |  | 0.26312 |  |  |  | 1.0171 |  |  |  | 30
2005-04-30 | 8:45 |  | 52 19.99 N |  | 133 17.38W |  | H5-08 | 9 | Pump |  |  | 40 | 0.15391 |  | 0.26163 |  |  |  | 0.6598 |  |  |  | 40
2005-04-30 | 10:15 |  | 52 19.99 N |  | 133 17.38W |  | H5-08 | 9 | GoFlo |  |  | 50 | 0.34769 |  | 0.4977 |  |  |  | 0.7222 |  |  |  | 50
2005-04-30 | 11:57 |  | 52 19.99 N |  | 133 17.38W |  | H5-08 | 9 | GoFlo |  |  | 75 | 0.59235 |  | 0.92956 |  |  |  | 1.4409 |  |  |  | 75
2005-04-30 | 10:15 |  | 52 19.99 N |  | 133 17.38W |  | H5-08 | 9 | GoFlo |  |  | 100 | 0.90654 |  | 2.2319 |  |  |  | 5.8447 |  |  |  | 100
2005-04-30 | 10:15 |  | 52 19.99 N |  | 133 17.38W |  | H5-08 | 9 | GoFlo |  |  | 150 | 1.2854 |  | 3.6461 |  |  |  | 15.7913 |  |  |  | 150
2005-04-30 | 11:57 |  | 52 19.99 N |  | 133 17.38W |  | H5-08 | 9 | GoFlo |  |  | 200 | 1.6006 |  | 4.3371 |  |  |  | 16.7053 |  |  |  | 200
2005-04-30 | 11:57 |  | 52 19.99 N |  | 133 17.38W |  | H5-08 | 9 | GoFlo |  |  | 300 | 1.9807 |  | 4.223 |  |  |  | 16.4573 |  |  |  | 300
2005-04-30 | 13:01 |  | 52 19.99 N |  | 133 17.38W |  | H5-08 | 9 | GoFlo |  |  | 400 | 2.0832 |  | 3.8918 |  |  |  | 14.49 |  |  |  | 400
2005-04-30 | 13:01 |  | 52 19.99 N |  | 133 17.38W |  | H5-08 | 9 | GoFlo |  |  | 600 | 1.4909 |  | 2.0551 |  |  |  | 6.2164 |  |  |  | 600
2005-04-30 | 13:01 |  | 52 19.99 N |  | 133 17.38W |  | H5-08 | 9 | GoFlo |  |  | 800 | 0.948 |  | 1.3758 |  |  |  | 4.3795 |  |  |  | 800
2005-05-01 | 2:59 |  | 52 47.07 N |  | 132 56.22W |  | H5-13 | 14 | Pump |  |  | 10 | 0.17493 |  | 0.37637 |  |  |  | 1.2744 |  |  |  | 10
2005-05-01 | 2:59 |  | 52 47.07 N |  | 132 56.22W |  | H5-13 | 14 | Pump |  |  | 20 | 0.17211 |  | 0.36628 |  |  |  | 1.1086 |  |  |  | 20
2005-05-01 | 2:59 |  | 52 47.07 N |  | 132 56.22W |  | H5-13 | 14 | Pump |  |  | 30 | 0.29121 |  | 0.58346 |  |  |  | 1.5381 |  |  |  | 30
2005-05-01 | 2:59 |  | 52 47.07 N |  | 132 56.22W |  | H5-13 | 14 | Pump |  |  | 40 | 0.29228 |  | 0.59826 |  |  |  | 1.7218 |  |  |  | 40
2005-05-01 | 4:08 |  | 52 47.07 N |  | 132 56.22W |  | H5-13 | 14 | GoFlo |  |  | 50 | 0.23075 |  | 0.50902 |  |  |  | 1.319 |  |  |  | 50
2005-05-01 | 4:08 |  | 52 47.07 N |  | 132 56.22W |  | H5-13 | 14 | GoFlo |  |  | 75 | 0.43976 |  | 0.74847 |  |  |  | 2.4635 |  |  |  | 75
2005-05-01 | 4:08 |  | 52 47.07 N |  | 132 56.22W |  | H5-13 | 14 | GoFlo |  |  | 100 | 0.65451 |  | 1.231 |  |  |  | 4.5084 |  |  |  | 100
2005-05-01 | 6:01 |  | 52 47.08 N |  | 132 56.22W |  | H5-13 | 14 | GoFlo |  |  | 150 | 0.86231 |  | 2.4609 |  |  |  | 9.9206 |  |  |  | 150
2005-05-01 | 6:01 |  | 52 47.08 N |  | 132 56.22W |  | H5-13 | 14 | GoFlo |  |  | 200 | 0.58629 |  | 1.4778 |  |  |  | 5.571 |  |  |  | 200
2005-05-01 | 6:01 |  | 52 47.08 N |  | 132 56.22W |  | H5-13 | 14 | GoFlo |  |  | 300 | 0.86888 |  | 1.5757 |  |  |  | 6.814 |  |  |  | 300
2005-05-01 | 7:35 |  | 52 47.08 N |  | 132 56.22W |  | H5-13 | 14 | GoFlo |  |  | 400 | 0.51621 |  | 1.4045 |  |  |  | 4.2336 |  |  |  | 400
2005-05-01 | 7:35 |  | 52 47.08 N |  | 132 56.22W |  | H5-13 | 14 | GoFlo |  |  | 600 | 0.90006 | 6 | 1.5838 | 6 |  |  | 4.543 | 6 |  |  | 600
2005-05-01 | 7:35 |  | 52 47.08 N |  | 132 56.22W |  | H5-13 | 14 | GoFlo |  |  | 800 | 0.80525 |  | 1.039 |  |  |  | 3.5178 |  |  |  | 800