File List for SeaBird Data          Cruise Number: 2005-21

[osapcommon\cruise_data\2005-21\chl] chl spreadsheet – not used in processing

[osapcommon\cruise_data\2005-21\cruise files] not used in processing

[osapcommon\cruise_data\2005-21\ctd data]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon\cruise_data\2005-21\ctd\convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon\cruise_data\2005-21\ctd\derive]

*.cnv - data after running WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon\cruise_data\ctd\2005-21\ctd\doc]

2005-21-recal1.ccf – calibration control file for initial recalibration of DO

2005-21-recal2.ccf – calibration control file for final recalibration of DO

2005-21_proc.doc - processing notes

2005-21_file.doc - this document

2005-21 looop&5m-nuts.xls – chemistry data for 5m Niskin bottles

*hdr.txt – various files containing comments used for headers

[osapcommon\cruise_data\2005-21\ctd\hydro]

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – files with titrated chlorophyll data converted from 2005-21 hyd-new.csv

*.ed1 and *.log – output from editing of 3 BOT files

*.mrg – merge of data from 2005-21-nuts.csv and bottle-averaged rosette files

*.ros  - rosette files created by DATCNV, no other processing done.

*.sam – bottle files with sample numbers added

2005-21 hyd.xls – spreadsheet of nutrient data used in creating bottle files

2005-21 hyd-new.xls – above spreadsheet with amended chl data

2005-21-hyd.csv – simplified version of 2005-21 hyd.xls

2005-21-hyd-new.csv – simplified version of 2005-21 hyd-new.xls

addsamp.csv – file containing cast #, bottle number and sample number

2005-21-sal-comp1.xls – salinity COMPARE file

2005-21-sal-comp-Niskin.csv & .xls - salinity COMPARE by Niskin bottle #

2005-21-dox-comp1.csv & .xls – initial DO COMPARE files

2005-21-dox-comp2.csv & .xls – DO COMPARE files after 1st recalibration

2005-21-dox-comp3.csv & .xls – DO COMPARE files downcast vs upcast bottles

2005-21-dox-comp4.csv & .xls – DO COMPARE files after 2nd recalibration

2005-21-chl-comp.csv & .xls – Chlorophyll vs Fluorescence comparison

[osapcommon\cruise_data\2005-21\ctd\ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE

*.ed1 - data after editing has been done

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2005-21\Doc] documents from others, not the processor

[osapcommon\cruise_data\2005-21\Nut files] not used in processing

[osapcommon\cruise_data\2005-21\oxy data]  not used in processing

[osapcommon\cruise_data\2005-21\Salinity] not used in processing

osapcommon\cruise_data\2005-21\SCS data]

[osapcommon\cruise_data\2005-21\TSG]

*.cnv – after SeaBird conversion

*.con – configuration files

*.hex – original data acquired at sea

[osapcommon\cruise_data\2005-21\TSG\doc]

2005-21-TSG-recal.ccf – calibration control file for TSG

2005-21 loop-TSG-comp.csv – comparison of salinity from TSG and loop samples

2005-21-0001-tsg-red.xls – TSG data (file 1) reduced to time of CTD cast

2005-21-0002-tsg-red.xls – TSG data (file 2) reduced to time of CTD cast

2005-21 5m-only.xls – comparison of salinity: TSG and 5m Niskin bottles

2005-21ctd-surf.xls – CTD data from around 4m

2005-21-TSG-CTD-comp.xls – Comparison of CTD and TSG

2005-21-well-mixed-comp.xls – Subset of above

2005-21-therm-hdr.txt – file with comments for headers

[osapcommon\cruise_data\2005-21\TSG Data\IOS] – data after conversion to IOS Headers

*.atc – files after adding time channel

*.edt – files after editing (only 2nd file was actually edited.)

*.ios – files after conversion from CSV to IOS headers

*.log – output of CTDEDIT for the 2nd file

*.tob – final data file after REMOVE and HEAD EDIT