File List for SeaBird Data

Cruise Number: _2005-33____

[osapcommon\cruise_data\2005-33\ctd]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon\cruise_data\2005-33\ctd\convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

*.ros – 4 bottle files, not processed as no sampling reported

[osapcommon\cruise_data\2005-33\ctd\derive]

*.cnv - data after running WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon\cruise_data\ctd\2005-33\ctd\doc]

2005-33-recal1.ccf – calibration control file for recalibration of DO and pressure

2005-33-recal2.ccf – calibration control file for 2nd recalibration of DO

2005-33-ctd.con – configuration file used for all casts

2005-33_proc.doc - processing notes

2005-33_file.doc - this document

2005-33-hdr.txt – header files with comments for CTD and CHE files

[osapcommon\cruise_data\2005-33\ctd\ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.ed1 - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.edt2 – Merge of EDT and PAR

*.ios - data after conversion to IOS HEADERS

*.par – reprocessed files containing PAR and PAR:Reference channels

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2005-33\Original Files] original names before changing to standard format