## Final Data TN179
Iron III Data for Cruise TN179 - a collaboration with Univ of Washington onboard the Terry Thompson | [26 empty] | For Graphing:
Cruise |  |  |  |  | TN179
Ship |  |  |  |  | RV Terry Thompson (US)
Dates |  |  |  |  | April 26 - May 8, 2005
Chief Scientist |  |  |  |  | Dr. Nancy Kachel
Iron Analysts |  |  | IOS: |  | Nes Sutherland and Keith Johnson
For Methods and Explanation of Abbreviations please see Metadata Sheet
Flags & Abbreviations
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement)
6 | Mean of replicate measurements from one niskin/goflo.. (replicates in "Sum F" sheet, and summary of replicate data in the "Metadata" sheet)
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet, however, only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
Salinity&Nutrients were collected from iron sampling bottles, but property of Univ of Wash.
[9 empty] | GF= GoFlo; XN= eXternal Niskin |  | Sample_Number | Nominal Depth | Iron:Filtered:Buffered | Flag FB | Iron:Unfiltered:Buffered | Flag UFB | Iron:0.22u Filtered: StrongAcid Microwaved | Flag FA | Iron:Unfiltered: Strong Acid Microwaved | Flag UFA mw
Date | Time | Cast | Latitude |  | Longitude |  | Station | Event | Smp | Sampler | Smp | Depth | FB | FB | UFB | UFB | FAmw | FA | UFAmw | UFA | Comments | Sal | NO3 | Si | PO4 | Depth
UTC | UTC | [6 empty] | # | Type | # | # | m | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag |  | (PSU) | uM | uM | uM | m
//Cast ID as recorded in Field Log Book
2005-04-28 | 18:30 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 1 | Zodiac | Hand | 1 | 0 | 0.049685 |  | 0.13995 |  |  |  | 0.32329
2005-04-28 | 21:30 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 2 | Pump | Asti | 5 | 10 | 0.086609 |  | 0.10705 |  |  |  | 0.17228
2005-04-28 | 21:30 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 2 | Pump | Asti | 4 | 20 | 0.088996 |  | 0.067243 |  |  |  | 0.11975
2005-04-28 | 21:30 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 2 | Pump | Asti | 3 | 30 | 0.13897 | 3 | 0.084082 |  |  |  | 2.2556 |  | 3:FB - ?possible opti filter contam
2005-04-28 | 21:30 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 2 | Pump | Asti | 2 | 40 | 0.33901 | 3 | 0.093035 |  |  |  | 0.35647 |  | 3:FB - ?possible opti filter contam
2005-04-28 | 23:00 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 3 | XN12 | #10 | 6 | 50 | 0.10382 |  | 0.12726 |  |  |  | 0.20002
2005-04-29 | 1:10 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 4 | XN12 | #10 | 9 | 75 | 0.26871 |  | 0.40635 |  |  |  | 1.0047
2005-04-28 | 23:00 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 3 | GF12 | #12 | 7 | 95 | 0.46421 |  | 0.79765 |  |  |  | 1.5481
2005-04-28 | 23:00 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 3 | XN12 | #12 | 8 | 170 | 0.45419 |  | 0.69759 |  |  |  | 1.6048
2005-04-29 | 1:41 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 5 | GF12 | #12 | 10 | 200 | 0.58484 |  | 0.72753 |  |  |  | 1.6608
2005-04-29 | 1:41 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 5 | ? |  | 11 | 300 | 0.78039 |  | 1.0082 |  |  |  | 1.8213
2005-04-29 | 2:49 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 6 | XN12 | #12 | 12 | 400 | 0.78144 |  | 0.89299 |  |  |  | 1.4171
2005-04-29 | 2:49 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 6 | ? |  | 13 | 600 | 1.0215 |  | 1.2364 |  |  |  | 2.0383
2005-04-29 | 2:49 | 8001 | 51 24.00 | N | 134 0.00 | W | H5-00 | 6 | ? |  | 14 | 800 | 0.95513 |  | 1.1058 |  |  |  | 2.2314
2005-04-29 | 12:30 | 8003 | 51 50.01 | N | 133 39.33 | W | H5-02 | 7 | XN12 | #12 | 15 | 10 | 0.1425 |  | 0.1987 |  |  |  | 0.5848
2005-04-29 | 12:30 | 8003 | 51 50.01 | N | 133 39.33 | W | H5-02 | 7 | XN12 | #10 | 16 | 40 | 0.099086 |  | 0.16015 |  |  |  | 0.32934
2005-04-29 | 22:17 | 8006 | 52 05.00 | N | 133 28.35 | W | H5-05 | 8 | XN12 | #12 | 18 | 10 | 0.1632 |  | 0.32168 |  |  |  | 0.94464
2005-04-29 | 22:08 | 8006 | 52 05.00 | N | 133 28.35 | W | H5-05 | 8 | XN12 | #10 | 17 | 40 | 0.20422 |  | 0.25108 |  |  |  | 0.66823
2005-04-30 | 1:50 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 9 | Zodiac | Hand | 19 | 0 | 0.19184 |  | 0.29286 |  |  |  | 1.2713
2005-04-30 | 9:45 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 10 | Pump | Asti | 23 | 10 | 0.11537 |  | 0.41292 |  |  |  | 1.0202
2005-04-30 | 9:20 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 10 | Pump | Asti | 22 | 20 | 0.12226 |  | 0.30639 |  |  |  | 0.62101
2005-04-30 | 9:10 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 10 | Pump | Asti | 21 | 30 | 0.12234 |  | 0.26312 |  |  |  | 1.0171
2005-04-30 | 8:45 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 10 | Pump | Asti | 20 | 40 | 0.15391 |  | 0.26163 |  |  |  | 0.6598
2005-04-30 | 10:15 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 11 | XN12 | #12 | 24 | 50 | 0.34769 |  | 0.4977 |  |  |  | 0.7222
2005-04-30 | 11:57 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 12 | XN12 | #12 | 27 | 75 | 0.59235 |  | 0.92956 |  |  |  | 1.4409
2005-04-30 | 10:15 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 11 | XN12 | #10 | 25 | 100 | 0.90654 |  | 2.2319 |  |  |  | 5.8447
2005-04-30 | 10:15 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 11 | GF12 | #12 | 26 | 150 | 1.2854 |  | 3.6461 |  |  |  | 15.7913
2005-04-30 | 11:57 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 12 | XN12 | #10 | 28 | 200 | 1.6006 |  | 4.3371 |  |  |  | 16.7053
2005-04-30 | 11:57 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 12 | GF12 | #12 | 29 | 300 | 1.9807 |  | 4.223 |  |  |  | 16.4573
2005-04-30 | 13:01 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 13 | GF12 | #12 | 30 | 400 | 2.0832 |  | 3.8918 |  |  |  | 14.49
2005-04-30 | 13:01 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 13 | XN12 | #10 | 31 | 600 | 1.4909 |  | 2.0551 |  |  |  | 6.2164
2005-04-30 | 13:01 | 8009 | 52 19.60 | N | 133 17.30 | W | H5-08 | 13 | XN12 | #12 | 32 | 800 | 0.948 |  | 1.3758 |  |  |  | 4.3795
2005-04-30 | 19:06 | 8011 | 52 30.82 N | N | 133 08.88W | W | H5-10 | 14 | XN12 | #12 | 34 | 10 | 0.17528 |  | 0.40402 |  |  |  | 0.93717
2005-04-30 | 19:01 | 8011 | 52 30.82 N | N | 133 08.88W | W | H5-10 | 14 | XN12 | #10 | 33 | 40 | 0.19733 |  | 0.33472 |  |  |  | 0.84967
2005-05-01 | 0:00 | 8014 | 52 47.07 N | N | 132 56.22W | W | H5-13 | 15 | Zodiac | Hand | 35 | 0 | 0.23605 |  | 0.41039 |  |  |  | 1.1894 |  | Edge Stn
2005-05-01 | 3:40 | 8014 | 52 47.07 N | N | 132 56.22W | W | H5-13 | 16 | Pump | Asti | 39 | 10 | 0.17493 |  | 0.37637 |  |  |  | 1.2744
2005-05-01 | 3:20 | 8014 | 52 47.07 N | N | 132 56.22W | W | H5-13 | 16 | Pump | Asti | 38 | 20 | 0.17211 |  | 0.36628 |  |  |  | 1.1086
2005-05-01 | 3:05 | 8014 | 52 47.07 N | N | 132 56.22W | W | H5-13 | 16 | Pump | Asti | 37 | 30 | 0.29121 |  | 0.58346 |  |  |  | 1.5381
2005-05-01 | 2:45 | 8014 | 52 47.07 N | N | 132 56.22W | W | H5-13 | 16 | Pump | Asti | 36 | 40 | 0.29228 |  | 0.59826 |  |  |  | 1.7218
2005-05-01 | 4:08 | 8014 | 52 47.07 N | N | 132 56.22W | W | H5-13 | 17 | XN12 | #12 | 40 | 50 | 0.23075 |  | 0.50902 |  |  |  | 1.319
2005-05-01 | 4:08 | 8014 | 52 47.07 N | N | 132 56.22W | W | H5-13 | 17 | XN12 | #10 | 41 | 75 | 0.43976 |  | 0.74847 |  |  |  | 2.4635
2005-05-01 | 4:08 | 8014 | 52 47.07 N | N | 132 56.22W | W | H5-13 | 17 | GF12 | #12 | 42 | 100 | 0.65451 |  | 1.231 |  |  |  | 4.5084
2005-05-01 | 6:01 | 8014 | 52 47.08 N | N | 132 56.22W | W | H5-13 | 18 | XN12 | #12 | 43 | 150 | 0.86231 |  | 2.4609 |  |  |  | 9.9206
2005-05-01 | 6:01 | 8014 | 52 47.08 N | N | 132 56.22W | W | H5-13 | 18 | XN12 | #10 | 44 | 200 | 0.58629 |  | 1.4778 |  |  |  | 5.571
2005-05-01 | 6:01 | 8014 | 52 47.08 N | N | 132 56.22W | W | H5-13 | 18 | GF12 | #12 | 45 | 300 | 0.86888 |  | 1.5757 |  |  |  | 6.814
2005-05-01 | 7:35 | 8014 | 52 47.08 N | N | 132 56.22W | W | H5-13 | 19 | GF12 | #12 | 46 | 400 | 0.51621 |  | 1.4045 |  |  |  | 4.2336
2005-05-01 | 7:35 | 8014 | 52 47.08 N | N | 132 56.22W | W | H5-13 | 19 | XN12 | #10 | 47 | 600 | 0.90006 | 6 | 1.5838 | 6 |  |  | 4.543 | 6
2005-05-01 | 7:35 | 8014 | 52 47.08 N | N | 132 56.22W | W | H5-13 | 19 | XN12 | #12 | 48 | 800 | 0.80525 |  | 1.039 |  |  |  | 3.5178
2005-05-01 | 23:00 | 8016 | 54 37.19 N | N | 135 00.00W | W | S5-00 | 20 | Zodiac | Hand | 49 | 0 | 0.22651 |  | 1.2837 |  |  |  | 5.3342 |  | Ref Stn
2005-05-02 | 2:40 | 8016 | 54 37.21 N | N | 135 00.00W | W | S5-00 | 21 | Pump | Asti | 53 | 10 | 0.28021 | 6 | 1.4395 | 6 |  |  | 6.699 | 6
2005-05-02 | 2:25 | 8016 | 54 37.21 N | N | 135 00.00W | W | S5-00 | 21 | Pump | Asti | 52 | 20 | 0.2493 |  | 1.3187 |  |  |  | 6.0548
2005-05-02 | 2:05 | 8016 | 54 37.21 N | N | 135 00.00W | W | S5-00 | 21 | Pump | Asti | 51 | 30 | 0.18282 |  | 0.92299 |  |  |  | 3.9087
2005-05-02 | 1:45 | 8016 | 54 37.21 N | N | 135 00.00W | W | S5-00 | 21 | Pump | Asti | 50 | 40 | 0.16129 |  | 0.58422 |  |  |  | 2.3004
2005-05-02 | 3:08 | 8016 | 54 37.20 N | N | 135 59.97W | W | S5-00 | 22 | XN12 | #12 | 54 | 50 | 0.16598 |  | 0.5015 |  |  |  | 1.8096
2005-05-02 | 3:08 | 8016 | 54 37.20 N | N | 135 59.97W | W | S5-00 | 22 | XN12 | #10 | 55 | 75 | 0.20128 |  | 0.33395 |  |  |  | 1.093
2005-05-02 | 3:08 | 8016 | 54 37.20 N | N | 135 59.97W | W | S5-00 | 22 | GF12 | #12 | 56 | 100 | 0.41966 |  | 1.1361 |  |  |  | 4.1721
2005-05-02 | 4:52 | 8016 | 54 37.20 N | N | 135 59.97W | W | S5-00 | 23 | XN12 | #12 | 57 | 150 | 0.75838 |  | 1.5655 |  |  |  | 6.6769
2005-05-02 | 4:52 | 8016 | 54 37.20 N | N | 135 59.97W | W | S5-00 | 23 | XN12 | #10 | 58 | 200 | 0.84205 |  | 1.7521 |  |  |  | 6.8585
2005-05-02 | 4:52 | 8016 | 54 37.20 N | N | 135 59.97W | W | S5-00 | 23 | GF12 | #12 | 59 | 300 | 0.71552 |  | 1.2141 |  |  |  | 3.6813
2005-05-02 | 6:00 | 8016 | 54 37.23 N | N | 135 59.97W | W | S5-00 | 24 | GF12 | #12 | 60 | 400 | 0.84445 |  | 1.3565 |  |  |  | 4.1521
2005-05-02 | 6:00 | 8016 | 54 37.23 N | N | 135 59.97W | W | S5-00 | 24 | XN12 | #10 | 61 | 600 | 0.79888 | 6 | 1.2599 | 6 |  |  | 2.9576 | 6
2005-05-02 | 6:00 | 8016 | 54 37.23 N | N | 135 59.97W | W | S5-00 | 24 | XN12 | #12 | 62 | 800 | 0.8268 |  | 2.8399 |  |  |  | 7.7142
2005-05-02 | 22:26 | 8017 | 57 14.99 N | N | 138 04.99W | W | SE5-01 | 25 | XN12 | #12 | 63 | 10 | 0.21255 |  | 1.0675 |  |  |  | 5.3536
2005-05-02 | 22:26 | 8017 | 57 14.99 N | N | 138 04.99W | W | SE5-01 | 25 | XN12 | #10 | 64 | 100 | 0.96276 |  | 5.8142 |  |  |  | >60 | 3 | 3:UFG - too high for Fe system, overrange
2005-05-03 | 2:23 | 8019 | 57 10.49 N | N | 138 25.01W | W | SE5-03 | 26 | XN12 | #12 | 65 | 10 | 0.21616 |  | 0.44509 |  |  |  | 1.416
2005-05-03 | 2:23 | 8019 | 57 10.49 N | N | 138 25.01W | W | SE5-03 | 26 | XN12 | #10 | 66 | 100 | 0.41348 |  | 1.386 |  |  |  | 5.0886
2005-05-03 | 5:35 | 8021 | 57 05.99 N | N | 138 45.00W | W | SE5-05 | 27 | XN12 | #12 | 67 | 10 | 0.20989 |  | 0.25738 |  |  |  | 0.46851
2005-05-03 | 5:35 | 8021 | 57 05.99 N | N | 138 45.00W | W | SE5-05 | 27 | XN12 | #10 | 68 | 100 | 0.57135 |  | 1.5553 |  |  |  | 4.8827
2005-05-03 | 9:55 | 8023 | 56 55.70 N | N | 138 59.55W | W | SE5-07 | 28 | XN12 | #12 | 69 | 10 | 0.17712 |  | 0.19568 |  |  |  | 0.6363
2005-05-03 | 9:55 | 8023 | 56 55.70 N | N | 138 59.55W | W | SE5-07 | 28 | XN12 | #10 | 70 | 100 | 0.51151 |  | 1.4252 |  |  |  | 5.0875
2005-05-03 | 13:27 | 8025 | 56 45.43 N | N | 139 14.12W | W | SE5-09 | 29 | XN12 | #12 | 71 | 10 | 0.20379 |  | 0.24634 |  |  |  | 0.43209
2005-05-03 | 13:27 | 8025 | 56 45.43 N | N | 139 14.12W | W | SE5-09 | 29 | XN12 | #10 | 72 | 100 | 0.39411 |  | 1.1298 |  |  |  | 4.6883
2005-05-03 | 17:06 | 8027 | 56 35.13 N | N | 139 28.71W | W | SE5-11 | 30 | XN12 | #12 | 73 | 10 | 0.16036 |  | 0.56818 |  |  |  | 1.9303
2005-05-03 | 17:06 | 8027 | 56 35.13 N | N | 139 28.71W | W | SE5-11 | 30 | XN12 | #10 | 74 | 100 | 0.61453 |  | 1.5889 |  |  |  | 7.0405
2005-05-04 | 3:00 | 8030 | 56 28.21 N | N | 138 19.40W | W | SN5-02 | 31 | Zodiac | Hand | 75 | 0 | 0.11433 |  | 0.36549 |  |  |  | 1.3945
2005-05-04 | 5:50 | 8030 | 56 28.21 N | N | 138 19.41W | W | SN5-02 | 32 | Pump | Asti | 79 | 10 | 0.10844 |  | 0.2758 |  |  |  | 0.74043 | 6mw | 6mw: original UFG smp collected in 250mL
2005-05-04 | 5:25 | 8030 | 56 28.21 N | N | 138 19.41W | W | SN5-02 | 32 | Pump | Asti | 78 | 20 | 0.11304 |  | 0.31047 |  |  |  | 0.82811 | 6mw | btl; this was split into two btl for MW (microwave)
2005-05-04 | 5:10 | 8030 | 56 28.21 N | N | 138 19.41W | W | SN5-02 | 32 | Pump | Asti | 77 | 30 | 0.12071 |  | 0.40163 |  |  |  | 1.4084 |  | step, to check on MW reproducibility; these
2005-05-04 | 4:45 | 8030 | 56 28.21 N | N | 138 19.41W | W | SN5-02 | 32 | Pump | Asti | 76 | 40 | 0.16985 |  | 0.4577 |  |  |  | 1.7401 | 6mw | smp are mean of the dup btl
2005-05-04 | 6:13 | 8030 | 56 28.21 N | N | 138 19.42W | W | SN5-02 | 33 | GF12 | #12 | 80 | 50 | 0.31547 |  | 0.98337 |  |  |  | 3.9879 | 6mw
2005-05-04 | 6:13 | 8030 | 56 28.21 N | N | 138 19.42W | W | SN5-02 | 33 | XN12 | #12 | 81 | 75 | 0.24062 |  | 0.74601 |  |  |  | 3.5988 | 6mw
2005-05-04 | 6:13 | 8030 | 56 28.21 N | N | 138 19.42W | W | SN5-02 | 33 | XN12 | #10 | 82 | 100 | 0.70955 |  | 2.2561 |  |  |  | 17.7343 | 6mw
2005-05-04 | 8:00 | 8030 | 56 28.20 N | N | 138 19.42W | W | SN5-02 | 34 | GF12 | #12 | 83 | 150 | 0.84968 |  | 2.4438 |  |  |  | 16.856 | 6mw
2005-05-04 | 8:00 | 8030 | 56 28.20 N | N | 138 19.42W | W | SN5-02 | 34 | XN12 | #12 | 84 | 200 | 0.71874 |  | 1.8681 |  |  |  | 9.2274 | 6mw
2005-05-04 | 8:00 | 8030 | 56 28.20 N | N | 138 19.42W | W | SN5-02 | 34 | XN12 | #10 | 85 | 300 | 0.81532 |  | 1.575 |  |  |  | 7.6433 | 6mw
2005-05-04 | 8:21 | 8030 | 56 28.19 N | N | 138 19.42W | W | SN5-02 | 35 | GF12 | #12 | 86 | 400 | 0.70198 |  | 1.0706 |  |  |  | 3.0424 | 6mw
2005-05-04 | 8:21 | 8030 | 56 28.19 N | N | 138 19.42W | W | SN5-02 | 35 | XN12 | #12 | 87 | 600 | 0.78633 |  | 1.3176 |  |  |  | 4.4996 | 6mw
2005-05-04 | 8:21 | 8030 | 56 28.19 N | N | 138 19.42W | W | SN5-02 | 35 | XN12 | #10 | 88 | 800 | 0.88606 |  | 1.2488 |  |  |  | 5.591 | 6mw
2005-05-04 | 23:30 | 8039 | 57 02.90 N | N | 138 50.58W | W | SN5-10 | 36 | Zodiac | Hand | 89 | 0 | 0.13157 |  | 0.17255 |  |  |  | 0.49983 | 4,6mw | 4:UFG - approx, Fe system problems
2005-05-05 | 3:45 | 8039 | 57 03.00 N | N | 138 49.77W | W | SN5-10 | 37 | Pump | Asti | 93 | 10 | 0.14871 |  | 0.21892 |  |  |  | 0.52146 | 6mw | 6mw: original UFG smp collected in 250mL
2005-05-05 | 3:20 | 8039 | 57 03.00 N | N | 138 49.77W | W | SN5-10 | 37 | Pump | Asti | 92 | 20 | 0.19192 |  | 0.2345 |  |  |  | 0.60066 | 6mw | btl; this was split into two btl for MW (microwave)
2005-05-05 | 2:55 | 8039 | 57 03.00 N | N | 138 49.77W | W | SN5-10 | 37 | Pump | Asti | 91 | 30 | 0.21561 |  | 0.27784 |  |  |  | 0.4935 | 6mw | step, to check on MW reproducibility; these
2005-05-05 | 2:34 | 8039 | 57 03.00 N | N | 138 49.77W | W | SN5-10 | 37 | Pump | Asti | 90 | 40 | 0.4118 |  | 0.40068 |  |  |  | 1.1538 | 6mw | smp are mean of the dup btl
2005-05-05 | 4:17 | 8039 | 57 02.99 N | N | 138 49.82W | W | SN5-10 | 38 | GF12 | #12 | 94 | 50 | 0.33377 |  | 0.47562 |  |  |  | 0.98858 | 6mw
2005-05-05 | 4:17 | 8039 | 57 02.99 N | N | 138 49.82W | W | SN5-10 | 38 | XN12 | #12 | 95 | 75 | 0.82 |  | 1.7303 |  |  |  | 4.1269 | 6mw
2005-05-05 | 4:17 | 8039 | 57 02.99 N | N | 138 49.82W | W | SN5-10 | 38 | XN12 | #10 | 96 | 100 | 0.73086 |  | 1.8667 |  |  |  | 6.4456 | 6mw
2005-05-05 | 6:15 | 8039 | 57 02.99 N | N | 138 49.82W | W | SN5-10 | 39 | GF12 | #12 | 97 | 150 | 1.0676 |  | 2.9149 |  |  |  | 12.9571 | 6mw
2005-05-05 | 6:15 | 8039 | 57 02.99 N | N | 138 49.82W | W | SN5-10 | 39 | XN12 | #12 | 98 | 200 | 1.2255 |  | 3.1404 |  |  |  | 13.0547 | 6mw
2005-05-05 | 6:15 | 8039 | 57 02.99 N | N | 138 49.82W | W | SN5-10 | 39 | XN12 | #10 | 99 | 300 | 1.2814 |  | 2.8867 |  |  |  | 11.3398 | 6mw
2005-05-05 | 7:21 | 8039 | 57 02.99 N | N | 138 49.82W | W | SN5-10 | 40 | XN12 | #10 | 100 | 400 | 1.2395 |  | 2.3545 |  |  |  | 10.948 | 6mw
2005-05-05 | 7:21 | 8039 | 57 02.99 N | N | 138 49.82W | W | SN5-10 | 40 | XN12 | #12 | 101 | 600 | 0.97558 |  | 1.2861 |  |  |  | 5.016 | 6,6mw
2005-05-05 | 7:21 | 8039 | 57 02.99 N | N | 138 49.82W | W | SN5-10 | 40 | GF12 | #12 | 102 | 800 | 0.91425 |  | 1.2389 |  |  |  | 4.7295 | 6mw
2005-05-06 | 13:24 | 8051 | 57 57.00 N | N | 140 03.03W | W | SN5-23 | 41 | Pump | Asti | 106 | 10 | 0.60871 |  | 0.77104 |  |  |  | 1.7998 | 6mw
2005-05-06 | 13:05 | 8051 | 57 57.00 N | N | 140 03.03W | W | SN5-23 | 41 | Pump | Asti | 105 | 20 | 0.62492 |  | 0.93129 |  |  |  | 2.2313 | 6mw
2005-05-06 | 12:45 | 8051 | 57 57.00 N | N | 140 03.03W | W | SN5-23 | 41 | Pump | Asti | 104 | 30 | 0.75347 |  | 0.92412 |  |  |  | 1.4215 | 6mw
2005-05-06 | 12:24 | 8051 | 57 57.00 N | N | 140 03.03W | W | SN5-23 | 41 | Pump | Asti | 103 | 40 | 0.87045 |  | 1.1869 |  |  |  | 1.8676 | 6mw
2005-05-06 | 13:55 | 8051 | 57 57.01 N | N | 140 03.02W | W | SN5-23 | 42 | GF12 | #12 | 107 | 50 | 0.88613 |  | 1.4449 |  |  |  | 1.9577 | 6mw
2005-05-06 | 13:55 | 8051 | 57 57.01 N | N | 140 03.02W | W | SN5-23 | 42 | XN12 | #12 | 108 | 75 | 0.99186 |  | 2.0496 |  |  |  | 3.7908 | 6mw
2005-05-06 | 13:55 | 8051 | 57 57.01 N | N | 140 03.02W | W | SN5-23 | 42 | XN12 | #10 | 109 | 100 | 0.9832 |  | 2.6437 |  |  |  | 10.7199 | 6mw
2005-05-06 | 14:51 | 8051 | 57 57.01 N | N | 140 03.01W | W | SN5-23 | 43 | XN12 | #10 | 110 | 150 | 1.3243 |  | 6.0347 | 3 |  |  | 38.0577 | 6mw | 3:UFB - buffered 5hrs before anal, rather than 2hr
2005-05-06 | 14:51 | 8051 | 57 57.01 N | N | 140 03.01W | W | SN5-23 | 43 | XN12 | #12 | 111 | 200 | 1.378 |  | 5.8755 | 3 |  |  | 41.3962 | 6mw | 3:UFB - buffered 5hrs before anal, rather than 2hr
2005-05-06 | 14:51 | 8051 | 57 57.01 N | N | 140 03.01W | W | SN5-23 | 43 | GF12 | #12 | 112 | 300 | 1.0121 |  | 2.8709 |  |  |  | 18.3216 | 6mw
2005-05-06 | 16:08 | 8051 | 57 57.01 N | N | 140 03.01W | W | SN5-23 | 44 | XN12 | #10 | 113 | 400 | 0.96372 |  | 2.2243 |  |  |  | 10.195 | 6mw
2005-05-06 | 16:08 | 8051 | 57 57.01 N | N | 140 03.01W | W | SN5-23 | 44 | XN12 | #12 | 114 | 600 | 0.91117 | 6 | 1.4474 | 6 |  |  | 4.7274 | 6,6mw
2005-05-06 | 16:08 | 8051 | 57 57.01 N | N | 140 03.01W | W | SN5-23 | 44 | GF12 | #12 | 115 | 800 | 0.90933 |  | 1.4863 |  |  |  | 4.7891 | 6mw

## Metadata
Iron III Metadata for Cruise TN179 - a collaboration with Univ of Washington onboard the Terry Thompson | [11 empty] | For Graphing:
Cruise |  |  |  |  | TN179
Ship |  |  |  |  | RV Terry Thompson (US)
Dates |  |  |  |  | April 26 - May 8, 2005
Chief Scientist |  |  |  |  | Dr. Nancy Kachel
Iron Analysts |  |  | IOS: |  | Nes Sutherland and Keith Johnson
The objective of the iron team was to sample and analyse Iron(III) at the Haida and Sitka eddies, at select stations for water column depths to 800m, as well as at 10 and 100m depths along transects
Sample Collection:
Seawater samples for Iron (III) analyses were collected by hand (bottles only opened and closed while totally submerged, ~0.1m depth) from a zodiac positioned away from the ship; by Teflon compressed air activated Asti pump with Teflon tubing (5-40m);
or by 12L X-Niskins (XN numbered) or 12L GoFlos (numbered) on a Kevlar line spooled over a Delrin block (50-800m).
LDPE bottles had been previously acid cleaned to Geotraces standards. Filtration was through 0.22u Duropore 47mm flat membrane filters on Teflon apparatus in laminar hood,
or by Opti cartidge type filters ( 0.22u Duropore) direct from the pump or Goflos
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and analysis.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach (pH 3.2), measured onboard, as well
as a strongly acidic leach (pH ~1.6 / 2.25 ml of 6N purified HCl to 250ml SW) measured after a storage period of 6 months or longer.
In recent years (post2006), IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
The following provides a description of these treatments, their abbreviations and nomenclature:
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours, unless noted; thought to be immediate bioavailable iron. Buffering for extended periods may result in more iron stripping off particles, therefore an attempt was made to standardize the time from buffereing
| Iron:Filtered:Buffered |  | FB | usually 0.22u filtered, buffered, also called dissolved Fe
|  |  |  | FB0.22u | Duropore Opti type cartridge direct from Goflo or Pump, else Flat Duropore membrane, either 90mm housing to GoFlo or pump, or 47mm housing in CleanRoom
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
It is thought that by microwaving the FA or UFA 24 hours after collection, the leaching of particles might be sped up to result in iron conc similar to the long term storage (Nishioka pers com), but this has not been verified by the IOS lab
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - referred to as Total Dissolved fraction
This fraction tends to be similar to FB
|  |  |  | FA mw | Additional microwave procedure
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  |  | UFA mw | Additional microwave procedure
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
For reference only:
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2009:
In 2009: 24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:Geotrace |  | FG | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see below for 2011 modification. FG also referred to D(Fe), or Dissolved Fe
| Iron:Unfiltered:Geotrace |  | UFG | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - see below for 2011 modification. UFG is also referred to TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations (ie pH range1.6-1.9), but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were quite similar, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
In this cruise, filtered and unfiltered buffered samples (FB & UFB), and Strongly Acidified Unfiltered (UFA) were collected. The UFA samples were returned to IOS for storage and analysis at a future time
Sample Analysis:
Samples were analysed onboard using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
The acidified microwaved samples, in their LDPE bottles, were brought to near boiling and held for 8 minutes at that temperature, then allowed to cool.
These microwaved acidifieds were brought up to pH3.2 for analysis by addition of ammonium formate buffer, and conc NH4OH and the addition of H2O2 (to yield 10uM H2O2 in sol'n.
In general, duplicate runs are taken from one sample bottle, although at times some duplicates were drawn from separate bottles to check on cleanliness
For three stations, SN5-02, SN5-10 and SN5-23, the contents of the 250mL UFA bottle was divided into two prior to the microwave step, to provide stats on this procedure
UFA samples were microwaved and analysed at IOS in Mar-Apr 2006
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards:
The primary standard was a VWR Fe 1007ppm, Lot#A7105052. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected
in previous cruises, and run within 15 minutes of preparation.
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe. For the samples the instrument zero was
determined by loading only 5s of the blank. This way the amount of iron present is negligable, yet the same procedure and chemical quantities used as for the samples applies.
For more on blanks, see separate section below.
QAQC & Daily Reference Standards (DRS) & Comments
Replication Statistics, or Sample Pooled Data Stats:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within a sample bottle, or between duplicate samples taken from one depth.
Where three or more analyses were run from within one bottle, the abs(diff)^2 for the two most divergent values was used in determining sp.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
See Sheet "SumAll" for more detailed breakdown of sp
Analysed Onboard Cruise TN179:
|  | Buffered Within a sample bottle |  |  |  | Buffered Btw Replicate Sample Bottles
|  | FB | UFB | All Buff | <0.2nM | FB | UFB | All Buff
|  | w/in a smp | w/in a smp |  |  | btw rep btl | btw rep btl
| Pooled Variance (sp): | 0.025603 | 0.06217 | 0.048244 | 0.0065219 | 0.12951 | 0.097145 | 0.11448
| DL: |  |  |  | 0.019566
| Avg Fe: | 0.61758 | 1.3048 | 0.97556 | 0.14535 | 0.72258 | 1.4327 | 1.0776
| %RSD: | 4.1457 | 4.7648 | 4.9452 |  | 17.9236 | 6.7807 | 10.6232
| n: | 103 | 112 | 215 | 35 | 4 | 4 | 8
| sum(diff)^2: |  |  | 1.0008 |  |  |  | 0.20968
IOS Lab Analysis of Cruise TN179 & 2005-21 - Strongly Acidified, 11 & 7 months old, respectively
|  | FA-UVic 2005-21 |  | UFA - TN179
|  | w/in a smp |  | w/in a smp |  | btw rep btl |  | BtwLabDup of UFAmw |  | All Acidified <0.5nM | Note: generally use data < 0.2nM for Sample Detection Limit Determination, but too few points
|  |  |  | All | w/o >10nM smp |  |  | All | w/o >10nM
| Pooled Variance (sp): | 0.030855 |  | 0.21923 | 0.089154 | 0.3324 |  | 0.27142 | 0.15048 | 0.011198
| DL: | [8 empty] | 0.033594
| Avg Fe: | 1.5182 |  | 5.508 | 2.7979 | 4.7886 |  | 7.4814 | 2.3296 | 0.28762
| %RSD: | 2.0324 |  | 3.9803 | 3.1865 | 6.9415 |  | 3.6279 | 6.4594
| n: | 10 |  | 80 | 68 | 5 |  | 40 | 29 | 7
Note the large average sp between bottles is mostly attributable to high iron levels - compare UFA All vs UFA w/o >10nM
As well, filtered samples tend to be less variable than unfiltered
Splitting the acidified samples into two containers for MW treatment and analysis added to variability, whether by increased contamination risks, or uneven particulate division is unknown
Daily Reference Standards (DRS)
DRSs are run frequently to check on instrument performance and drift. In this cruise several DRS were used, reported below.
These DRS were prepared fresh during the cruise, from mixes of SW stocks, buffering only - this resulted in water that was not stable until about 24 hours had passed, so for purposes here, only water ~24hours or older was used
DRS #1 | 400mL old SW + 100mL DRS HE200-800FB (exp >2) + 500mL 2005-01 ; buffered on 28April05 17:00
| Avg&Stdev: | 0.080633 | 0.0047007
| n: | 6
2005-04-30 04:30 |  | 0.083177
2005-04-30 08:16 |  | 0.079613
2005-04-30 08:33 |  | 0.073017
2005-05-01 19:41 |  | 0.079902
2005-05-01 19:59 |  | 0.080792
2005-05-02 05:41 |  | 0.087298
DRS #2 | 500mL SW + 500mL HE200-800FB (exp>2); buff on 29Apr05 15:00
| Avg&Stdev: | 0.24196 | 0.019907
| n: | 4
2005-04-30 15:19 |  | 0.26845
2005-04-30 15:37 |  | 0.24349
2005-05-02 20:39 |  | 0.23476
2005-05-02 20:56 |  | 0.22115
DRS #3 | ~75% old HE200-800FB (>2) + ~20% Lo DRS; prepared 03May05 05:00
| Avg&Stdev: | 2.5589 | 0.19346
| n: | 12
2005-05-04 07:37 |  | 2.9268
2005-05-04 20:53 |  | 2.6791
2005-05-05 01:33 |  | 2.6276
2005-05-05 10:07 |  | 2.6756
2005-05-05 16:03 |  | 2.6269
2005-05-05 16:19 |  | 2.3651
2005-05-07 05:54 |  | 2.6501
2005-05-07 06:09 |  | 2.719
2005-05-07 12:01 |  | 2.3373
2005-05-07 12:19 |  | 2.322
2005-05-07 13:48 |  | 2.3428
2005-05-07 14:05 |  | 2.4345
Intercalibration Standards
The following intercalibration samples made available from the Geotraces committee have been run intermittently as another check on the
iron standards and system. These are S526 and D2-284
S526 - Intercalibration Sample - Low iron
| Expected: | 0.094 +/- 0.008 nM |  |  | Comments:
| ObservedAvg&Stdev: | 0.0754 | 0.0039312
| n: | 2
2005-05-07 09:07 |  | 0.07818 |  |  | from 2005 Fe Intercal sample, via Jay Cullen
2005-05-07 09:25 |  | 0.07262 |  |  | buffered and brought to pH 3.2 w NH4OH, added 10uM H2O2
D2 - Intercalibration Samples
| Expected: | 0.923 +/- 0.029 nM
| ObservedAvg&Stdev: | 1.055 | 0.029767
| n: | 4
#284
2005-05-07 10:17 |  | 1.0861
2005-05-07 10:34 |  | 1.0287
2005-05-07 10:52 |  | 1.0749
2005-05-07 11:09 |  | 1.0304
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 045N 145W, or that general vicinity
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the regressions
Because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank, see Determining "0" below.
Following is a listing of blanks used in calibration; average blank for the standard seawater was 0.04nM Fe
TN179 - Onboard analysis of FB and UFB:
Date | Time | Preconc | Raw |  | Blank[Fe]
Time (s)
|  |  | Avg: |  | 0.041639
|  |  | Stdev: |  | 0.010007
|  |  | n: |  | 24
|  |  | D.L.: |  | 0.030022
280405 | 1716 | 240 |  |  | 0.047676
| 1733 | 240 |  |  | 0.045656
290405 | 534 | 240 |  |  | 0.044968
| 552 | 240 |  |  | 0.045623
290405 | 53 | 240 |  |  | 0.049374
| 111 | 240 |  |  | 0.05252
300405 | 1150 | 240 |  |  | 0.034033
| 1208 | 240 |  |  | 0.031651
010505 | 131 | 120 |  |  | 0.032157 | new SW stock
| 146 | 120 |  |  | 0.026009
010505C | 1832 | 240 |  |  | 0.054374
| 1849 | 240 |  |  | 0.04903
020505 | 1007 | 240 |  |  | 0.059438
| 1837 | 240 |  |  | 0.017668 | new lum batch
030505 | 955 | 120 |  |  | 0.039761
| 1011 | 120 |  |  | 0.042089
| 2142 | 120 |  |  | 0.044876
| 2157 | 120 |  |  | 0.040793
040505 | 1218 | 120 |  |  | 0.030659
| 1234 | 120 |  |  | 0.027338
050505 | 1924 | 240 |  |  | 0.050221
| 1944 | 240 |  |  | 0.045574
070505 | 829 | 240 |  |  | 0.045646
| 850 | 240 |  |  | 0.042195
IOS Lab Analysis of Cruise TN179 & 2005-21 - Strongly Acidified, 11 & 7 months old, respectively
|  |  | Avg: |  | 0.025577
|  |  | Stdev: |  | 0.012926
|  |  | n: |  | 19
|  |  | D.L.: |  | 0.038779
040406 | 153 | 240 |  |  | 0.0092353
| 211 | 240 |  |  | 0.0098901
040606 | 1037 | 120 |  |  | 0.022395
| 1108 | 120 |  |  | 0.01489
041106 | 932 | 90 |  |  | 0.026584
| 1007 | 90 |  |  | 0.023014
041306 | 1128 | 60 |  |  | 0.034348
| 1142 | 60 |  |  | 0.031548
041706 | 1028 | 120 |  |  | 0.031312
| 1043 | 120 |  |  | 0.027663
| 2359 | 120 |  |  | 0.036782
041806 | 17 | 120 |  |  | 0.032816
042006 | 1033 | 30 |  |  | 0.0084315
| 1049 | 30 |  |  | 0.006397
042106 | 126 | 30 |  |  | 0.045051
| 140 | 30 |  |  | 0.036168
050206 | 1049 | 120 |  |  | 0.018256
| 1105 | 120 |  |  | 0.017885
050506 | 33 | 30 |  |  | 0.053304
|  | 30&PMT |  |  |  | not used, working range to 20-40nM, zero compromised with this much Fe addition
Determining "0"
In many runs, the pump was turned on for only 0 or 5s to give an approximation of the zero, these values varied
depending on luminol batches or other instrumental parameters. The reason to use just a small amount of preconcentration
time is to allow the reagents to still affect the column, but not to add iron. On our system, even if there is 0 s load,
there is effectively a small amount of low iron sea water in the tubing between two valves, that flushes through the column.
This zero blank for sample correction, is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Determining Detection Limit (D.L.):
The detection limit can be determined as 3 x Stdev of the Average Blank FeIII concentration, depending on whether the stock batches used are the same, and have low iron content(<0.1nM).
For the blanks of this cruise, given above, the DL was ~0.03nM onboard, and -0.04 nM at the lab
However, as there were numerous very low seawater buffered samples run onboard, the DL can also be determined using 3* SP for all samples <0.2nM; during lab analysis of acidified samples, used <0.5nM as criterion:
Using the data for this cruise, DL is ~0.02
|  |  | Onboard |  | IOS Lab
|  | Avg: | 0.14535 |  | 0.28762
|  | n: | 35 |  | 7
|  | sp: | 0.0065219 |  | 0.011198
|  | DL: | 0.019566 |  | 0.033594
Overall Detection Limit ~0.02-0.03nM for onboard buffered samples, and ~0.03-0.04nM for lab run acidified samples

## SumAll
FB&UFB | [13 empty] | TN179only |  | BtwLabDup of UFAmw |  |  | UVic only, FG:
All<0.2nM |  |  | All F B | All UF B |  |  |  | RepFBSmpBtl | RepUFBSmpBtl |  |  | All<0.5nM |  | UFAmw | w/o >10nM | All | w/o >10nm | RepSmpBtl
0.14535 |  | Avg: | 0.61758 | 1.3048 |  |  |  | 0.72258 | 1.4327 |  |  | 0.28762 |  | 5.508 | 2.7979 | 7.4814 | 2.3296 | 4.7886 | 1.5182
0.0065219 |  | sp: | 0.025603 | 0.06217 |  |  |  | 0.12951 | 0.097145 |  |  | 0.011198 |  | 0.21923 | 0.089154 | 0.27142 | 0.15048 | 0.3324 | 0.030855
4.4872 |  | %RSD: | 4.1457 | 4.7648 |  |  |  | 17.9236 | 6.7807 |  |  | 3.8933 |  | 3.9803 | 3.1865 | 3.6279 | 6.4594 | 6.9415 | 2.0324
35 |  | n: | 103 | 112 |  |  |  | 4 | 4 |  |  | 7 |  | 80 | 68 | 40 | 29 | 5 | 10
0.0029775 |  | sum(diff)^2: | 0.13503 | 0.86578 |  |  |  | 0.13419 | 0.075497 |  |  | 0.0017555 |  | 7.6902 | 1.081 | 5.8936 | 1.3134 | 1.1049 | 0.01904
0.019566 |  | :DL:
|  |  | W/inSingle Smp Btl |  |  | Replicate Smp Btls |  | W/inSingle Smp Btl |  |  | Replicate Smp Btls | [5 empty] | Replicate Smp Btls
| Depth | Rep# | F B | Abs(Diff) | Diff^2 | Avg nM | (diff)^2 | UF B | Abs(Diff) | Diff^2 | Avg nM | (diff)^2 |  | Total UF | Abs(Diff) | Diff^2 | Avg nM | (diff)^2 |  | Comments | Depth for Charts
|  | GraphRef |  | for ErrorBars |  |  |  |  | for ErrorBars |  |  |  |  | UFAmw | for ErrorBars
Haida Eddy 05
H5-00 | 0 |  | 0.049685 | 0.0016819 | 2.8289e-06 |  |  | 0.13995 | 0.0084099 | 7.0727e-05 |  |  |  | 0.32329 | 0.0054792 | 3.0021e-05 |  |  |  |  | 0
Out | 10 | 0 | 0.086609 | 0.00081435 | 6.6316e-07 |  |  | 0.10705 | 0.0016597 | 2.7547e-06 |  |  |  | 0.17228 | 0.0047143 | 2.2225e-05 |  |  |  |  | 10
| 20 |  | 0.088996 | 0.0044814 | 2.0083e-05 |  |  | 0.067243 | 0.012167 | 0.00014804 |  |  |  | 0.11975 | [6 empty] | 20
| 30 |  | 0.13897 |  |  |  |  | 0.084082 | 0.0018379 | 3.3778e-06 |  |  |  | 2.2556 | 0.017837 | 0.00031816 |  |  |  |  | 30
| 40 | 0 | 0.33901 |  |  |  |  | 0.093035 | 0.0041281 | 1.7041e-05 |  |  |  | 0.35647 | [6 empty] | 40
| 50 |  | 0.10382 | 0.0037301 | 1.3914e-05 |  |  | 0.12726 | 0.0017397 | 3.0267e-06 |  |  |  | 0.20002 | 0.015203 | 0.00023112 |  |  |  |  | 50
| 75 |  | 0.26871 | 0.020092 | 0.00040367 |  |  | 0.40635 | 0.024561 | 0.00060326 |  |  |  | 1.0047 | 0.0474 | 0.0022467 |  |  |  |  | 75
| 95 |  | 0.46421 | 0.03087 | 0.00095294 |  |  | 0.79765 | 0.01851 | 0.00034261 |  |  |  | 1.5481 | 0.17204 | 0.029599 |  |  |  |  | 95
| 170 |  | 0.45419 |  |  |  |  | 0.69759 | 0.044803 | 0.0020073 |  |  |  | 1.6048 | 0.030589 | 0.00093566 |  |  |  |  | 170
| 200 |  | 0.58484 | 0.015882 | 0.00025224 |  |  | 0.72753 | 0.056675 | 0.003212 |  |  |  | 1.6608 | 0.25259 | 0.063803 |  |  |  |  | 200
| 300 |  | 0.78039 | 0.049177 | 0.0024184 |  |  | 1.0082 | 0.044392 | 0.0019707 |  |  |  | 1.8213 | 0.091986 | 0.0084614 |  |  |  |  | 300
| 400 |  | 0.78144 | 0.04482 | 0.0020089 |  |  | 0.89299 | 0.0027828 | 7.7441e-06 |  |  |  | 1.4171 | 0.045943 | 0.0021108 |  |  |  |  | 400
| 600 |  | 1.0215 | 0.0114 | 0.00012997 |  |  | 1.2364 | 0.068149 | 0.0046442 |  |  |  | 2.0383 | 0.14396 | 0.020725 |  |  |  |  | 600
| 800 |  | 0.95513 | 0.00058549 | 3.428e-07 |  |  | 1.1058 | 0.10572 | 0.011177 |  |  |  | 2.2314 | 0.049558 | 0.002456 |  |  |  |  | 800
H5-02 | 10 | 2 | 0.1425 | 0.0079963 | 6.394e-05 |  |  | 0.1987 | 0.004189 | 1.7548e-05 |  |  |  | 0.5848 | 0.0026365 | 6.9509e-06 |  |  |  |  | 10
| 40 | 2 | 0.099086 | 0.0036248 | 1.3139e-05 |  |  | 0.16015 | 0.00086155 | 7.4228e-07 |  |  |  | 0.32934 | [6 empty] | 40
H5-05 | 10 | 5 | 0.1632 | 0.0015391 | 2.3689e-06 |  |  | 0.32168 | 0.016441 | 0.0002703 |  |  |  | 0.94464 | 0.0052713 | 2.7787e-05 |  |  |  |  | 10
| 40 | 5 | 0.20422 | 0.0001527 | 2.3316e-08 |  |  | 0.25108 | 0.0016352 | 2.674e-06 |  |  |  | 0.66823 | 0.00045797 | 2.0973e-07 |  |  |  |  | 40
H5-08 | 0 |  | 0.19184 | 0.0077692 | 6.036e-05 |  |  | 0.29286 | 0.03935 | 0.0015484 |  |  |  | 1.2713 | 0.10529 | 0.011085 |  |  |  |  | 0
Center | 10 | 8 | 0.11537 |  |  |  |  | 0.41292 | 0.0062028 | 3.8474e-05 |  |  |  | 1.0202 | 0.021693 | 0.00047057 |  |  |  |  | 10
| 20 |  | 0.12226 |  |  |  |  | 0.30639 | 0.0094439 | 8.9187e-05 |  |  |  | 0.62101 | 0.0046211 | 2.1355e-05 |  |  |  |  | 20
| 30 |  | 0.12234 | 0.0056054 | 3.142e-05 |  |  | 0.26312 | 0.0099585 | 9.9172e-05 |  |  |  | 1.0171 | 0.0442 | 0.0019536 |  |  |  |  | 30
| 40 | 8 | 0.15391 | 0.0029573 | 8.7456e-06 |  |  | 0.26163 | 0.0014892 | 2.2177e-06 |  |  |  | 0.6598 | 0.0011019 | 1.2141e-06 |  |  |  |  | 40
| 50 |  | 0.34769 | 0.0058749 | 3.4515e-05 |  |  | 0.4977 | 0.0044445 | 1.9753e-05 |  |  |  | 0.7222 | 0.03397 | 0.0011539 |  |  |  |  | 50
| 75 |  | 0.59235 | 0.013818 | 0.00019094 |  |  | 0.92956 | 0.043803 | 0.0019187 |  |  |  | 1.4409 | [6 empty] | 75
| 100 |  | 0.90654 | 0.0023721 | 5.6269e-06 |  |  | 2.2319 | 0.014879 | 0.00022139 |  |  |  | 5.8447 | 0.047094 | 0.0022179 |  |  |  |  | 100
| 150 |  | 1.2854 | 0.022437 | 0.00050342 |  |  | 3.6461 | 0.0014191 | 2.014e-06 |  |  |  | 15.7913 | [6 empty] | 150
| 200 |  | 1.6006 | 0.079299 | 0.0062883 |  |  | 4.3371 | 0.062758 | 0.0039386 |  |  |  | 16.7053 | [6 empty] | 200
| 300 |  | 1.9807 | 0.01078 | 0.0001162 |  |  | 4.223 | 0.14583 | 0.021266 |  |  |  | 16.4573 | 0.25657 | 0.06583 |  |  |  |  | 300
| 400 |  | 2.0832 | 0.10635 | 0.011311 |  |  | 3.8918 | 0.15838 | 0.025085 |  |  |  | 14.49 | [6 empty] | 400
| 600 |  | 1.4909 | 0.06534 | 0.0042693 |  |  | 2.0551 | 0.016457 | 0.00027083 |  |  |  | 6.2164 | 0.2932 | 0.085964 |  |  |  |  | 600
| 800 |  | 0.948 | 0.058013 | 0.0033656 |  |  | 1.3758 | 0.079307 | 0.0062896 |  |  |  | 4.3795 | 0.047319 | 0.0022391 |  |  |  |  | 800
H5-10 | 10 | 10 | 0.17528 | 0.00071807 | 5.1562e-07 |  |  | 0.40402 | 0.042155 | 0.0017771 |  |  |  | 0.93717 | [6 empty] | 10
| 40 | 10 | 0.19733 | 0.01235 | 0.00015252 |  |  | 0.33472 | 0.039665 | 0.0015733 |  |  |  | 0.84967 | [6 empty] | 40
H5-13 | 0 |  | 0.23605 | 0.0098223 | 9.6478e-05 |  |  | 0.41039 | 0.033463 | 0.0011198 |  |  |  | 1.1894 | 0.00057705 | 3.3299e-07 |  |  |  |  | 0
Edge | 10 | 13 | 0.17493 |  |  |  |  | 0.37637 | [5 empty] | 1.2744 | [6 empty] | 10
| 20 |  | 0.17211 |  |  |  |  | 0.36628 | [5 empty] | 1.1086 | [6 empty] | 20
| 30 |  | 0.29121 |  |  |  |  | 0.58346 | [5 empty] | 1.5381 | 0.028874 | 0.00083371 |  |  |  |  | 30
| 40 | 13 | 0.29228 |  |  |  |  | 0.59826 | 0.058639 | 0.0034386 |  |  |  | 1.7218 | [6 empty] | 40
| 50 |  | 0.23075 | 0.027328 | 0.0007468 |  |  | 0.50902 | 0.00042024 | 1.766e-07 |  |  |  | 1.319 | 0.019234 | 0.00036994 |  |  |  |  | 50
| 75 |  | 0.43976 | 0.053668 | 0.0028802 |  |  | 0.74847 | 0.094258 | 0.0088845 |  |  |  | 2.4635 | 0.020659 | 0.00042677 |  |  |  |  | 75
| 100 |  | 0.65451 | 0.009649 | 9.3104e-05 |  |  | 1.231 | 0.0035135 | 1.2345e-05 |  |  |  | 4.5084 | 0.091335 | 0.008342 |  |  |  |  | 100
| 150 |  | 0.86231 |  |  |  |  | 2.4609 | 0.19888 | 0.039553 |  |  |  | 9.9206 | 0.47359 | 0.22429 |  |  |  |  | 150
| 200 |  | 0.58629 | 0.023643 | 0.00055899 |  |  | 1.4778 | 0.027673 | 0.0007658 |  |  |  | 5.571 | 0.093562 | 0.0087539 |  |  |  |  | 200
| 300 |  | 0.86888 | 0.11159 | 0.012453 |  |  | 1.5757 | 0.067873 | 0.0046067 |  |  |  | 6.814 | 0.2636 | 0.069487 |  |  |  |  | 300
| 400 |  | 0.51621 | 0.045612 | 0.0020805 |  |  | 1.4045 | 0.014387 | 0.00020699 |  |  |  | 4.2336 | 0.047044 | 0.0022132 |  |  |  |  | 400
| 600 | 1 | 0.72166 | 0.071008 | 0.0050422 | 0.90006 | 0.12731 | 1.5076 | 0.012606 | 0.0001589 | 1.5838 | 0.014714 |  | 4.4385 |  |  | 4.543 | 0.034489 |  |  | 600
| 600 | 2 | 1.0785 | 0.018482 | 0.00034159 |  |  | 1.6289 | 0.03089 | 0.00095422 |  | 0.06642 |  | 4.5665 | 0.14492 | 0.021002 |  | 0.095047 |  |  | 600
| 600 | 3 | [5 empty] | 1.6151 | 0.05434 | 0.0029528 |  |  |  | 4.6242
| 800 |  | 0.80525 | 0.04358 | 0.0018992 |  |  | 1.039 | 0.048147 | 0.0023181 |  |  |  | 3.5178 | 0.065495 | 0.0042895 |  |  |  |  | 800
Sitka Eddy 05
S5-00 | 0 |  | 0.22651 | 0.0025186 | 6.3436e-06 |  |  | 1.2837 | 0.03231 | 0.0010439 |  |  |  | 5.3342 | 0.022183 | 0.00049207 |  |  |  |  | 0
Sitka Ref | 10 | 0 | 0.28317 | 0.022834 | 0.00052138 | 0.28021 | 0.0013115 | 1.2944 | 0.34574 | 0.11954 | 1.4395 | 0.055746 |  | 6.5268 |  |  | 6.699 | 0.31066 |  |  | 10
| 10 | 2 | 0.26062 |  |  |  | 0.018288 | 1.3941 |  |  |  | 0.17243 |  | 7.0638 |  |  |  | 0.31608 |  |  | 10
| 10 | 3 | 0.29683 |  |  |  |  | 1.6302 | [5 empty] | 6.5065 | 0.04168 | 0.0017372 |  |  |  | +25uL 100mM H2O2 | 10
| 20 |  | 0.2493 | 0.030898 | 0.00095466 |  |  | 1.3187 | [5 empty] | 6.0548 | [6 empty] | 20
| 30 |  | 0.18282 | 0.010683 | 0.00011413 |  |  | 0.92299 | 0.006865 | 4.7129e-05 |  |  |  | 3.9087 | 0.05188 | 0.0026915 |  |  |  |  | 30
| 40 |  | 0.16129 |  |  |  |  | 0.58422 | [5 empty] | 2.3004 | 0.023598 | 0.00055687 |  |  |  |  | 40
| 50 |  | 0.16598 | 0.0062171 | 3.8653e-05 |  |  | 0.5015 | 0.021659 | 0.00046912 |  |  |  | 1.8096 | 0.022813 | 0.00052043 |  |  |  |  | 50
| 75 |  | 0.20128 | 0.028771 | 0.00082778 |  |  | 0.33395 | 0.010468 | 0.00010958 |  |  |  | 1.093 | 0.032057 | 0.0010277 |  |  |  |  | 75
| 100 | 0 | 0.41966 | 0.027674 | 0.00076583 |  |  | 1.1361 | 0.053705 | 0.0028842 |  |  |  | 4.1721 | [6 empty] | 100
| 150 |  | 0.75838 | 0.049731 | 0.0024732 |  |  | 1.5655 | 0.038624 | 0.0014918 |  |  |  | 6.6769 | [6 empty] | 150
| 200 |  | 0.84205 | 0.020052 | 0.0004021 |  |  | 1.7521 | 0.10293 | 0.010594 |  |  |  | 6.8585 | [6 empty] | 200
| 300 |  | 0.71552 | 0.058196 | 0.0033868 |  |  | 1.2141 | 0.019552 | 0.00038229 |  |  |  | 3.6813 | 0.086879 | 0.0075479 |  |  |  |  | 300
| 400 |  | 0.84445 | 0.050839 | 0.0025846 |  |  | 1.3565 | 0.060788 | 0.0036952 |  |  |  | 4.1521 | [6 empty] | 400
| 600 | 1 | 0.83293 |  |  | 0.79888 | 0.0046372 | 1.2836 |  |  | 1.2599 | 0.0022453 |  | 2.874 | 0.20629 | 0.042556 | 2.9576 | 0.027971 |  |  | 600
| 600 | 2 | 0.76483 |  |  |  |  | 1.2363 | 0.0092297 | 8.5188e-05 |  |  |  | 3.0412 | 0.36648 | 0.1343 |  |  |  |  | 600
| 800 |  | 0.8268 | 0.0011758 | 1.3824e-06 |  |  | 2.8399 | 0.036302 | 0.0013178 |  |  |  | 7.7142 | [5 empty] | ?seems too high | 800
SE5-01 | 10 | 1 | 0.21255 | 0.0010502 | 1.103e-06 |  |  | 1.0675 | 0.04049 | 0.0016395 |  |  |  | 5.3536 | 0.075489 | 0.0056985 |  |  |  |  | 10
| 100 | 1 | 0.96276 | 0.016518 | 0.00027285 |  |  | 5.8142 | 0.010285 | 0.00010577 |  |  |  | 60 | [5 empty] | >60nM - Total Fe too high for machine | 100
SE5-03 | 10 | 3 | 0.21616 | 0.020402 | 0.00041625 |  |  | 0.44509 | 0.035642 | 0.0012704 |  |  |  | 1.416 | 0.11905 | 0.014174 |  |  |  |  | 10
| 100 | 3 | 0.41348 | 0.0025985 | 6.752e-06 |  |  | 1.386 | 0.068361 | 0.0046732 |  |  |  | 5.0886 | 0.061535 | 0.0037865 |  |  |  |  | 100
SE5-05 | 10 | 5 | 0.20989 | 0.0023231 | 5.3966e-06 |  |  | 0.25738 | 0.0043758 | 1.9148e-05 |  |  |  | 0.46851 | 0.012868 | 0.00016559 |  |  |  |  | 10
| 100 | 5 | 0.57135 | 0.025539 | 0.00065222 |  |  | 1.5553 | 0.078403 | 0.006147 |  |  |  | 4.8827 | 0.10132 | 0.010267 |  |  |  |  | 100
SE5-07 | 10 | 7 | 0.17712 | 0.0044235 | 1.9567e-05 |  |  | 0.19568 | 0.0076189 | 5.8047e-05 |  |  |  | 0.6363 | 0.020039 | 0.00040156 |  |  |  |  | 10
| 100 | 7 | 0.51151 | 0.0093941 | 8.8249e-05 |  |  | 1.4252 | 0.08063 | 0.0065012 |  |  |  | 5.0875 | 0.10274 | 0.010555 |  |  |  |  | 100
SE5-09 | 10 | 9 | 0.20379 | 0.011222 | 0.00012594 |  |  | 0.24634 | 0.0038699 | 1.4976e-05 |  |  |  | 0.43209 | 0.019175 | 0.00036768 |  |  |  |  | 10
| 100 | 9 | 0.39411 | 0.018782 | 0.00035277 |  |  | 1.1298 | 0.0097432 | 9.493e-05 |  |  |  | 4.6883 | 0.174 | 0.030274 |  |  |  |  | 100
SE5-11 | 10 | 11 | 0.16036 | 0.020579 | 0.00042351 |  |  | 0.56818 | 0.028688 | 0.00082301 |  |  |  | 1.9303 | 0.1291 | 0.016666 |  |  |  |  | 10
| 100 | 11 | 0.61453 | 0.0032242 | 1.0395e-05 |  |  | 1.5889 | 0.052037 | 0.0027079 |  |  |  | 7.0405 | 0.0011275 | 1.2712e-06 |  |  |  |  | 100
SN5-02 | 0 |  | 0.11433 |  |  |  |  | 0.36549 | 0.0027161 | 7.3773e-06 |  |  |  | 1.3945 | 0.039703 | 0.0015763 |  |  |  |  | 0
Edge | 10 | 10 | 0.10844 | 0.001669 | 2.7857e-06 |  |  | 0.2758 | 0.001035 | 1.0711e-06 |  |  |  | 0.74043 | 0.023309 | 0.00054333 |  |  |  |  | 10
| 20 |  | 0.11304 |  |  |  |  | 0.31047 | 0.0034258 | 1.1736e-05 |  |  |  | 0.82811 | 0.18595 | 0.034576 |  |  |  |  | 20
| 30 |  | 0.12071 | 0.0064634 | 4.1776e-05 |  |  | 0.40163 | 0.0033269 | 1.1068e-05 |  |  |  | 1.4084 | [6 empty] | 30
| 40 |  | 0.16985 | 0.00094453 | 8.9215e-07 |  |  | 0.4577 | 0.011368 | 0.00012923 |  |  |  | 1.7401 | 0.097583 | 0.0095224 |  |  |  |  | 40
| 50 |  | 0.31547 | 0.016332 | 0.00026674 |  |  | 0.98337 | 0.10366 | 0.010745 |  |  |  | 3.9879 | 0.4899 | 0.24 |  |  |  |  | 50
| 75 |  | 0.24062 | 0.011047 | 0.00012203 |  |  | 0.74601 | 0.078855 | 0.0062182 |  |  |  | 3.5988 | 0.48268 | 0.23298 |  |  |  |  | 75
| 100 | 10 | 0.70955 | 0.018746 | 0.00035141 |  |  | 2.2561 | 0.058369 | 0.003407 |  |  |  | 17.7343 | 0.16651 | 0.027727 |  |  |  |  | 100
| 150 |  | 0.84968 | 0.015636 | 0.00024449 |  |  | 2.4438 | 0.36603 | 0.13398 |  |  |  | 16.856 | 0.051232 | 0.0026247 |  |  |  |  | 150
| 200 |  | 0.71874 | 0.02556 | 0.0006533 |  |  | 1.8681 | 0.021212 | 0.00044994 |  |  |  | 9.2274 | 0.26157 | 0.068419 |  |  |  |  | 200
| 300 |  | 0.81532 | 0.076925 | 0.0059175 |  |  | 1.575 | 0.14641 | 0.021434 |  |  |  | 7.6433 | 0.40125 | 0.161 |  |  |  |  | 300
| 400 |  | 0.70198 | 0.033961 | 0.0011534 |  |  | 1.0706 | 0.10536 | 0.011101 |  |  |  | 3.0424 | 0.085802 | 0.007362 |  |  |  |  | 400
| 600 |  | 0.78633 | 0.064109 | 0.00411 |  |  | 1.3176 | 0.058555 | 0.0034287 |  |  |  | 4.4996 | 0.13579 | 0.018438 |  |  |  |  | 600
| 800 |  | 0.88606 | 0.018377 | 0.00033771 |  |  | 1.2488 | 0.12506 | 0.015639 |  |  |  | 5.591 | 0.12045 | 0.014508 |  |  |  |  | 800
[13 empty] | for stats <10: | 14.2324 | 3 | 0.024055
| MW Duplicates from a single 250 mL bottle, A= 125mL btl, B=125 or 250orig : | [11 empty] | for stats: | 48.9316 | 5 | 0.10359 | B250orig
| ie test of microwave step | [12 empty] | A |  |  | B125
[14 empty] | Fe |  |  | Fe
| 10 | [12 empty] | 0.72878 |  |  | 0.75209
| 20 | [12 empty] | 0.92109 |  |  | 0.73514
| 30 | [12 empty] | 1.4084
| 40 | [12 empty] | 1.7889 | 0.043771 | 0.0019159 | 1.6913 |  |  | Rep A MW: cap pop off
| 50 | [12 empty] | 4.2328 |  |  | 3.7429 |  |  | Rep A MW: cap pop off
| 75 | [12 empty] | 3.8402 |  |  | 3.3575
| 100 | [12 empty] | 17.8175 | 0.24003 | 0.057615 | 17.651
| 150 | [12 empty] | 16.8817 | 0.14806 | 0.021923 | 16.8304
| 200 | [12 empty] | 9.3582 | 0.10658 | 0.01136 | 9.0966
| 300 | [12 empty] | 7.8439 |  |  | 7.4426
| 400 | [12 empty] | 3.0853 | 0.10383 | 0.01078 | 2.9995
| 600 | [12 empty] | 4.4318 |  |  | 4.5675
| 800 | [12 empty] | 5.6512 |  |  | 5.5307
SN5-10 | 0 |  | 0.13157 | 0.0037561 | 1.4109e-05 |  |  | 0.17255 | 0.02544 | 0.00064718 |  |  |  | 0.5 | [5 empty] | Approximate value due to instrument problems, could be a bit higher, max 0.7 | 0
Center | 10 | 5 | 0.14871 | 0.00039565 | 1.5654e-07 |  |  | 0.21892 | 0.01116 | 0.00012456 |  |  |  | 0.52146 | 0.06117 | 0.0037418 |  |  |  |  | 10
| 20 |  | 0.19192 | 0.0053995 | 2.9155e-05 |  |  | 0.2345 | 0.018021 | 0.00032475 |  |  |  | 0.60066 | 0.034011 | 0.0011567 |  |  |  |  | 20
| 30 |  | 0.21561 | 0.0091829 | 8.4325e-05 |  |  | 0.27784 | 0.037737 | 0.0014241 |  |  |  | 0.4935 | 0.092691 | 0.0085916 |  |  |  |  | 30
| 40 |  | 0.4118 | 5.6655e-05 | 3.2098e-09 |  |  | 0.40068 | 0.0019125 | 3.6576e-06 |  |  |  | 1.1538 | 0.03005 | 0.000903 |  |  |  |  | 40
| 50 |  | 0.33377 | 0.003038 | 9.2294e-06 |  |  | 0.47562 | 0.033117 | 0.0010967 |  |  |  | 0.98858 | 0.066573 | 0.0044319 |  |  |  |  | 50
| 75 |  | 0.82 | 0.020543 | 0.00042202 |  |  | 1.7303 | 0.035881 | 0.0012875 |  |  |  | 4.1269 | 0.16397 | 0.026886 |  |  |  |  | 75
| 100 | 5 | 0.73086 | 0.02587 | 0.00066924 |  |  | 1.8667 | 0.092802 | 0.0086121 |  |  |  | 6.4456 | 0.020094 | 0.00040376 |  |  |  |  | 100
| 150 |  | 1.0676 | 0.042944 | 0.0018442 |  |  | 2.9149 | 0.18949 | 0.035906 |  |  |  | 12.9571 | 0.43934 | 0.19302 |  |  |  |  | 150
| 200 |  | 1.2255 | 0.04272 | 0.001825 |  |  | 3.1404 | 0.18834 | 0.035471 |  |  |  | 13.0547 | 0.64587 | 0.41715 |  |  |  |  | 200
| 300 |  | 1.2814 | 0.0032695 | 1.069e-05 |  |  | 2.8867 | 0.20558 | 0.042262 |  |  |  | 11.3398 | 0.66964 | 0.44842 |  |  |  |  | 300
| 400 |  | 1.2395 | 0.0077152 | 5.9524e-05 |  |  | 2.3545 | 0.0070559 | 4.9786e-05 |  |  |  | 10.948 | 0.42385 | 0.17965 |  |  |  |  | 400
| 600 | 1 | 0.97558 | 0.0078713 | 6.1957e-05 |  |  | 1.2861 | 0.053367 | 0.002848 |  |  |  | 5.1825 | 0.099955 | 0.009991 | 5.016 | 0.11099 |  |  | 600
| 600 | 2 | [11 empty] | 4.8494 | 0.079943 | 0.0063909 |  |  |  |  | 600
| 800 |  | 0.91425 | 0.047846 | 0.0022892 |  |  | 1.2389 | 0.020577 | 0.00042343 |  |  |  | 4.7295 | 0.055803 | 0.003114 |  |  |  |  | 800
[13 empty] | for stats <10: | 1.6786 | 2 | 0.00059878
| Duplicates from a single 250 mL bottle, A= 125mL btl, B=125 or 250orig : | [11 empty] | for stats: | 53.7437 | 7 | 0.73387 | B250orig
[14 empty] | A |  |  | B125
[14 empty] | Fe | abs(diff) | (diff)^2 | Fe | (diff)^2
| 10 | [12 empty] | 0.55204 |  |  | 0.49087 |  |  | A second 250mL btl samples was contaminated, >20nM for both duplicates
| 20 | [12 empty] | 0.61767 |  |  | 0.58366
| 30 | [12 empty] | 0.53985 | 0.020764 | 0.00043116 | 0.44716
| 40 | [12 empty] | 1.1388 | 0.012947 | 0.00016762 | 1.1688 |  |  | Rep A had chaetognath inside MW bottle
| 50 | [12 empty] | 1.0219 |  |  | 0.9553
| 75 | [12 empty] | 4.2089 | 0.30428 | 0.092585 | 4.0449
| 100 | [12 empty] | 6.4556 |  |  | 6.4355
| 150 | [12 empty] | 12.7374 | 0.43736 | 0.19128 | 13.1767
| 200 | [12 empty] | 12.7318 |  |  | 13.3776 | 0.36261
| 300 | [12 empty] | 11.005 | 0.22678 | 0.051431 | 11.6747
| 400 | [12 empty] | 10.7361 | 0.18806 | 0.035368 | 11.16
| 600 | 1 | [11 empty] | 5.2325 |  |  | 5.1326
| 600 | 2 | [11 empty] | 4.8894 |  |  | 4.8094
| 800 | [12 empty] | 4.7016 |  |  | 4.7574
SN5-23 | 0 | [19 empty] | 0
Ctr SN | 10 | -6 | 0.60871 | 0.016741 | 0.00028025 |  |  | 0.77104 | 0.040653 | 0.0016527 |  |  |  | 1.7998 | 0.34302 | 0.11766 |  |  |  |  | 10
| 20 |  | 0.62492 | 0.01399 | 0.00019573 |  |  | 0.93129 | [5 empty] | 2.2313 | 0.24297 | 0.059036 |  |  |  |  | 20
| 30 |  | 0.75347 | 0.017604 | 0.00030991 |  |  | 0.92412 | 0.0022152 | 4.9072e-06 |  |  |  | 1.4215 | 0.12974 | 0.016832 |  |  |  |  | 30
| 40 |  | 0.87045 | 0.013667 | 0.00018679 |  |  | 1.1869 | 0.11551 | 0.013342 |  |  |  | 1.8676 | 0.12044 | 0.014506 |  |  |  |  | 40
| 50 |  | 0.88613 | 0.073577 | 0.0054136 |  |  | 1.4449 | 0.0070475 | 4.9667e-05 |  |  |  | 1.9577 | 0.33609 | 0.11296 |  |  |  |  | 50
| 75 |  | 0.99186 | 0.077417 | 0.0059935 |  |  | 2.0496 | 0.072685 | 0.0052832 |  |  |  | 3.7908 | 0.082024 | 0.0067279 |  |  |  |  | 75
| 100 | -6 | 0.9832 | 0.058409 | 0.0034116 |  |  | 2.6437 | 0.028938 | 0.00083738 |  |  |  | 10.7199 | 0.63361 | 0.40146 |  |  |  |  | 100
| 150 |  | 1.3243 | 0.072591 | 0.0052695 |  |  | 6.0347 | 0.33633 | 0.11312 |  |  |  | 38.0577 | 1.6462 | 2.7101 |  |  |  | buffered for 5 hrs, not 2.5 | 150
| 200 |  | 1.378 | 0.04847 | 0.0023494 |  |  | 5.8755 | 0.11618 | 0.013498 |  |  |  | 41.3962 | 0.37455 | 0.14029 |  |  |  | " | 200
| 300 |  | 1.0121 | 0.073902 | 0.0054616 |  |  | 2.8709 | 0.048165 | 0.0023199 |  |  |  | 18.3216 | 0.21299 | 0.045363 |  |  |  |  | 300
| 400 |  | 0.96372 | 0.070824 | 0.0050161 |  |  | 2.2243 | 0.16988 | 0.02886 |  |  |  | 10.195 | 0.1204 | 0.014497 |  |  |  |  | 400
| 600 | 1 | 0.92644 | 0.033366 | 0.0011133 | 0.91117 | 0.00093349 | 1.4738 | 0.15865 | 0.02517 | 1.4474 | 0.0027915 |  | 5.1415 | 0.031062 | 0.00096486 | 4.7274 | 0.62078 |  |  | 600
| 600 | 2 | 0.89589 | 0.034444 | 0.0011864 |  |  | 1.421 | 0.064005 | 0.0040966 |  |  |  | 4.6872 | 0.10701 | 0.01145 |  | 0.4078 |  |  | 600
| 600 | 3 | [11 empty] | 4.3536 | 0 | [5 empty] | 600
| 800 |  | 0.90933 | 0.071134 | 0.0050601 |  |  | 1.4863 | 0.034482 | 0.001189 |  |  |  | 4.7891 | 0.34679 | 0.12027 |  |  |  |  | 800
[13 empty] | for stats <10: | 19.5104 | 6 | 0.12905
| Duplicates from a single 250 mL bottle, A= 125mL btl, B=125 or 250orig : | [11 empty] | for stats: | 166.6742 | 11 | 5.9255 | B250orig
[14 empty] | A |  |  | B125
[14 empty] | Fe | abs(diff) | (diff)^2 | Fe | (diff)^2
| 10 | [12 empty] | 1.9713 | 0.0079573 | 6.3318e-05 | 1.6283
| 20 | [12 empty] | 2.3528 |  |  | 2.1098
| 30 | [12 empty] | 1.3567 | 0.25948 | 0.067329 | 1.4864
| 40 | [12 empty] | 1.9278 |  |  | 1.8074
| 50 | [12 empty] | 2.1257 | 0.05822 | 0.0033895 | 1.7896
| 75 | [12 empty] | 3.8318 |  |  | 3.7497
| 100 | [12 empty] | 11.0367 | 0.52338 | 0.27393 | 10.4031
| 150 | [12 empty] | 38.8808 | 1.2066 | 1.4559 | 37.2346 | 2.5721
| 200 | [12 empty] | 41.209 |  |  | 41.5835 | 0.76622
| 300 | [12 empty] | 18.4281 | 0.85343 | 0.72834 | 18.2151
| 400 | [12 empty] | 10.1348 |  |  | 10.2552
| 600 | 1 | [11 empty] | 5.157 |  |  | 5.1259
| 600 | 2 | [11 empty] | 4.6337 |  |  | 4.7407 | 0.0010876
| 600 | 3 | [11 empty] | 4.3536 | 0.070527 | 0.0049741
| 800 | [12 empty] | 4.9625 | 0.2285 | 0.052211 | 4.6157 |  |  | Rep A MW: cap pop off
Cruise 2005-21, two Haida Eddies sampled UVic trace metals group on return from Line P; likely FG | [12 empty] | for stats: | 15.1815 | 10 | 0.01904
Analysed along with Total UF from TN179
H2005 | 10 | [12 empty] | 0.18676 | 0.020805 | 0.00043286 |  |  |  | ** labelled H2004, but was in H2005 bag, assumed to be H2005 | 10
| 25 | [12 empty] | 1.0531 | 0.031526 | 0.00099386 |  |  |  | ** no label, assumed to be 25m by default | 25
| 50 | [12 empty] | 0.668 | 0.021287 | 0.00045314 |  |  |  |  | 50
| 75 | [12 empty] | 1.1009 | 0.072132 | 0.005203 |  |  |  |  | 75
| 100 | [12 empty] | 1.5931 | [6 empty] | 100
| 150 | [12 empty] | 3.539 | 0.048854 | 0.0023867 |  |  |  |  | 150
| 200 | [12 empty] | 3.4396 | [6 empty] | 200
| 300 | [12 empty] | 2.0077 | 0.083632 | 0.0069943 |  |  |  |  | 300
| 400 | [12 empty] | 2.3945 | [6 empty] | 400
| 600 | [12 empty] | 3.271 | 0.0036736 | 1.3496e-05 |  |  |  | had double acid added on collection, needed double NH4OH | 600
H2004 | 10 | [12 empty] | 0.51503 | [6 empty] | 10
| 25 | [12 empty] | 0.23035 | 0.022494 | 0.00050599 |  |  |  |  | 25
| 50 | [12 empty] | 0.42904 | [6 empty] | 50
| 75 | [12 empty] | 0.45153 | [6 empty] | 75
| 100 | [12 empty] | 4.5301 | [5 empty] | seems too high, ?contamination | 100
| 150 | [12 empty] | 1.2558 | [6 empty] | 150
| 200 | [12 empty] | 1.5691 | 0.035207 | 0.0012395 |  |  |  |  | 200
| 300 | [12 empty] | 1.3382 | [6 empty] | 300
| 400 | [12 empty] | 1.812 | [6 empty] | 400
| 600 | [12 empty] | 1.5555 | 0.028588 | 0.00081729 |  |  |  |  | 600
Note on E82: Fisheries & Oceans Canada: n=5
Note on H77: User: n=3, stdev
Note on J150: User: n=3
Note on K150: Fisheries & Oceans Canada: if use n=3, stdev=0.05
Note on K190: Fisheries & Oceans Canada: n=4
Note on N69: User: n=3, stdev
Note on N77: User: n=3, stdev
Note on S189: User: n=3
Note on T69: User: n=3, stdev
Note on T77: User: n=3, stdev
Note on T190: User: n=3

## SE E Tr 10m
SN5-02
SN5-10
SN5-23
East
West
North
South

## SE E Tr 100
SN5-02
SN5-10
SN5-23
East
West
North
South

## SE Tr 10m 3d FB
West
North

## SE Tr 10m 3d UFB
West
North

## SE Tr 10m 3d UFA
West
North

## SE Tr 100m 3d FB
West
North

## SE Tr 100m 3d UFB
West
North

## SE Tr 100m 3d UFA
West
North

## Data for 3D
Data for 3D Charts
|  | Depth | Rep# |  | F B |  |  | UF B | Total UF |  | Depth for Charts
UFAmw
10 m |  |  | west-east | south-north
S5-00 | Sitka Ref | 10 | 0 |  | 0.28021 |  |  | 1.4395 | 6.699 |  | 10
SE5-01 |  | 10 | 1 |  | 0.21255 |  |  | 1.0675 | 5.3536 |  | 10
SE5-03 |  | 10 | 3 |  | 0.21616 |  |  | 0.44509 | 1.416 |  | 10
SE5-05 |  | 10 | 5 |  | 0.20989 |  |  | 0.25738 | 0.46851 |  | 10
SE5-07 |  | 10 | 7 |  | 0.17712 |  |  | 0.19568 | 0.6363 |  | 10
SE5-09 |  | 10 | 9 |  | 0.20379 |  |  | 0.24634 | 0.43209 |  | 10
SE5-11 |  | 10 | 11 |  | 0.16036 |  |  | 0.56818 | 1.9303 |  | 10
|  |  | 0 |  | 0.086609 |  |  | 0.10705 | 0.17228
|  |  | 1 |  | 0.086609 |  |  | 0.10705 | 0.17228
|  |  | 3 |  | 0.086609 |  |  | 0.10705 | 0.17228
SN5-02 | Edge | 10 | 5 | -10 | 0.10844 |  |  | 0.2758 | 0.74043 |  | 10
|  |  | 7 |  | 0.086609 |  |  | 0.10705 | 0.17228
|  |  | 9 |  | 0.086609 |  |  | 0.10705 | 0.17228
|  |  | 11 |  | 0.086609 |  |  | 0.10705 | 0.17228
SN5-10 | Center | 10 | 5 | -5 | 0.14871 |  |  | 0.21892 | 0.52146 |  | 10
[5 empty] | 0.086609 |  |  | 0.10705 | 0.17228
[5 empty] | 0.086609 |  |  | 0.10705 | 0.17228
[5 empty] | 0.086609 |  |  | 0.10705 | 0.17228
SN5-23 | Ctr SN | 10 | 5 | 6 | 0.60871 |  |  | 0.77104 | 1.7998 |  | 10
[5 empty] | 0.086609 |  |  | 0.10705 | 0.17228
[5 empty] | 0.086609 |  |  | 0.10705 | 0.17228
[5 empty] | 0.086609 |  |  | 0.10705 | 0.17228
40 m
S5-00 | Sitka Ref | 40 | 0 |  | 0.16129 |  |  | 0.58422 | 2.3004 |  | 40
SN5-02 | Edge | 40 | 0 |  | 0.16985 |  |  | 0.4577 | 1.7401 |  | 40
SN5-10 | Center | 40 | 0 |  | 0.4118 |  |  | 0.40068 | 1.1538 |  | 40
SN5-23 | Ctr SN | 40 | 0 |  | 0.87045 |  |  | 1.1869 | 1.8676 |  | 40
100 m
S5-00 | Sitka Ref | 100 | 0 |  | 0.41966 |  |  | 1.1361 | 4.1721 |  | 100
SE5-01 |  | 100 | 1 |  | 0.96276 |  |  | 5.8142 | 60 | >60 | 100
SE5-03 |  | 100 | 3 |  | 0.41348 |  |  | 1.386 | 5.0886 |  | 100
SE5-05 |  | 100 | 5 |  | 0.57135 |  |  | 1.5553 | 4.8827 |  | 100
SE5-07 |  | 100 | 7 |  | 0.51151 |  |  | 1.4252 | 5.0875 |  | 100
SE5-09 |  | 100 | 9 |  | 0.39411 |  |  | 1.1298 | 4.6883 |  | 100
SE5-11 |  | 100 | 11 |  | 0.61453 |  |  | 1.5889 | 7.0405 |  | 100
[5 empty] | 0.46421 |  |  | 0.79765 | 1.5481
[5 empty] | 0.46421 |  |  | 0.79765 | 1.5481
[5 empty] | 0.46421 |  |  | 0.79765 | 1.5481
SN5-02 | Edge | 100 | 10 |  | 0.70955 |  |  | 2.2561 | 17.7343 |  | 100
[5 empty] | 0.46421 |  |  | 0.79765 | 1.5481
[5 empty] | 0.46421 |  |  | 0.79765 | 1.5481
[5 empty] | 0.46421 |  |  | 0.79765 | 1.5481
SN5-10 | Center | 100 | 5 |  | 0.73086 |  |  | 1.8667 | 6.4456 |  | 100
[5 empty] | 0.46421 |  |  | 0.79765 | 1.5481
[5 empty] | 0.46421 |  |  | 0.79765 | 1.5481
[5 empty] | 0.46421 |  |  | 0.79765 | 1.5481
SN5-23 | Ctr SN | 100 | 6 |  | 0.9832 |  |  | 2.6437 | 10.7199 |  | 100
[5 empty] | 0.46421 |  |  | 0.79765 | 1.5481
[5 empty] | 0.46421 |  |  | 0.79765 | 1.5481
[5 empty] | 0.46421 |  |  | 0.79765 | 1.5481
|  |  | 10m FB | 10m UFB | 10m Total | 100m FB | 100m UFB | 100m Total
| out - using H5-00 |  | 0.086609 | 0.10705 | 0.17228 | 0.46421 | 0.79765 | 1.5481
| Haida Eddy Out |  | 0.086609 | 0.10705 | 0.17228 | 0.46421 | 0.79765 | 1.5481
|  |  | 0.086609 | 0.10705 | 0.17228 | 0.46421 | 0.79765 | 1.5481
|  |  | 0.086609 | 0.10705 | 0.17228 | 0.46421 | 0.79765 | 1.5481
|  |  | 0.086609 | 0.10705 | 0.17228 | 0.46421 | 0.79765 | 1.5481
|  |  | 0.086609 | 0.10705 | 0.17228 | 0.46421 | 0.79765 | 1.5481
|  |  | 0.086609 | 0.10705 | 0.17228 | 0.46421 | 0.79765 | 1.5481