## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

NOTE: Bottle files not yet prepared. Highlighted notes indicate what needs to be done to prepare them.

## PROCESSING NOTES

Cruise: 2006-01

Agency: IOS, Ocean Sciences Division, Sidney, B.C.

Location: Bering Sea/Bering Strait / Chukchi Sea

Project: Joint Western Arctic Climate Study

Party Chief: Williams W.

Platform: Sir Wilfrid Laurier

Date: 29 June 2006 –21 July 2006

Processed by: Germaine Gatien

Date of Processing: 14 February 2007 –  3 July 2007

Number of original CTD casts: 106	Number of CTD casts processed:

Number of original rosette casts:	Number of rosette casts processed:

# INSTRUMENT SUMMARY

A SeaBird Model SBE-25 CTD (#0293) was mounted with a Transmissometer (probably S/N 139), SBE 43 Dissolved Oxygen Sensor S/N #0615 and Seapoint Fluorometer S/N #2336. The deck unit type was SBE 33 Carousel S/N 33-2310B-0058.  The fluorometer gain was 30X and it was unpumped.

# SUMMARY OF QUALITY AND CONCERNS

The file names are based on consecutive CTD cast numbers rather than the usual event numbers. Both numbers are recorded in the log book, with the consecutive numbers forming part of the entry of Cast Type.

Bottles were tripped on the upcast without a stop during the first leg. If sampling is done in this way it is recommended that salinity samples be gathered from as many bottles as possible. The bottle analyses, combined with the post-cruise calibration, may lead to a better estimate of the effective depth of the rosette contents. During this cruise there was no salinity sampling from bottles fired on the fly, but no other samples have been delivered thus far from those bottles, so this may not be a problem.

The salinity comparison suggests a problem with either the salinometer or the bottle sampling.

No recalibration has been applied to the salinity data since the post-cruise calibration shows minimal drift in the sensors. The CTD is considered ±0.001psu when stopped. In motion the salinity is considered ±0.005psu except in areas of rapid temperature change where the salinity has been edited heavily and should be considered ±0.1psu. The pressure sensor is considered ±1db. An offset of +0.7db was applied to all data during conversion.

The file names were non-standard.

Fluorescence:URU:Seapoint – The data are uncalibrated and unedited.

Oxygen:Dissolved:SBE – The dissolved oxygen data will not be archived at this time since there is insufficient calibration sampling available.

The rosette file 2006-01_Rosette_Chemsitry_Mar30-07.xls contains the following bottle data: salinity from most casts, chlorophyll data from events 72 to the end and DO bottom data from casts 70 to the end. Nutrient data has not yet been entered.

For most casts heavy editing was applied to the salinity in the thermocline; instabilities remain in the data especially near the bottom where no instrumental source could be identified and active mixing may be a factor.

# PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files have extension HEX.

2. Preliminary Steps

Files were provided that had been converted and errors in headers fixed. Unfortunately the conductivity calibration was done in the wrong units, the fluorescence gain is wrong and a few useful variables had not been derived (oxygen voltage, descent rate) so it was decided to start again. The hydro files will have to be done anyway and it is just as well to be consistent in how these are converted.

There was a transmissometer entered in the CON file, but no serial number is given there or in the log book. However, the calibration co-efficients are the same as those listed for #139, so it is assumed that is the serial number. The calibration file used in the earlier conversion was correct except for the fluorometer gain; that was fixed and the file was then saved as 2006-01-ctd.con.

The Daily Log and rosette sheets were obtained together with an electronic log of rosette sampling.

Salinity bottle data were available in spreadsheet format and were entered in the rosette spreadsheet. Dissolved oxygen data for bottom samples and chlorophyll sampling were entered in the rosette spreadsheet, but this was not available at the time of processing. Nutrient sampling was not available at the time of processing.

The log book was read and entries made in the Particulars section at the end of this report for comments of relevance to CTD processing. Particular note is made of the fact that from cast 11 onwards the CTD was lowered to 5m for a few minutes of equilibration, then was returned to the surface for a full cast. Care will be needed later to ensure that DELETE picks the best data.

The cruise summary sheet was completed.

## 3. Conversion of Raw Data

The file names are non-standard, missing a zero, and having the last 3 digits based on the consecutive CTD cast rather than event number. The extra zero was added to the files names in the BL and HEX files before conversion; the CON files were not changed as only one will be used.

The log book contains two sets of numbers for each CTD cast, one listed under the “Event Number” as usual, and one under the “Cast Type”. The latter set of numbers were used to name the files. For example, Cast Type = ROS004 and Event Number = 6 corresponds to data file 2006-01-004.DAT. Since there are many other records in existence using that naming convention, it is impractical to change the files names now.  A note will be entered in the headers and in the log book (on the page with the first CTD cast entry) indicating the irregular relationship between log event #s and file names.

The raw hex files were converted to CNV files.

The temperature, conductivity and dissolved oxygen data look reasonable. The dissolved oxygen shows the usual problems with time response. There are severe problems in fluorescence and transmissivity for at least a few casts (31 and 32) though the problem seems worst during the upcast. This will have to be checked later.

A study was then made of the surface pressure to determine if an offset was needed. It is difficult to interpret the record. Judging by transmissivity going to “in-water” values would lead to an estimate of about -0.3db for the surface, but in one case this did not happen until the CTD was at +6db, presumably when the instrument was very cold. Also the conductivity and fluorescence can be used but when the pumps are off this is not very reliable. When this instrument was used in the past 3 years an offset of -0.6db was used but this sensor has been recalibrated since then. The error does not appear to be large and it will be reexamined later.

4. Rosette file preparation

Rosette files were converted taking the scan range data from the BL files and using a 5s-window around firing time.

They were then converted to IOS files.

They were then put through CLEAN to add an event number based on the file name. These were then edited to make them match the log book event number. At this point errors in the header positions were identified and fixed in the ROS files. These all involved missing or wrongly formatted hemisphere signs. It is noted that there was no rosette cast produced for cast #71 even though the log says there was a bottle fired; there is a BL file, but it indicates no firing.

The data were plotted to look for extreme outliers but since many of the bottles were fired without stopping, causing what looks like noise, some incidences of instrumental noise may be missed. The only major outliers in the casts with stops were in the very high gradient zone and look real.

4. WILDEDIT

This step was skipped as it has not been found to be useful in the past and there is no evidence of isolated “wild” points. If problems are noted later a return could be made to this stage for the casts in question.

5. WFILTER

Cosine filters were run on pressure (window size 5), temperature (window size 5) and conductivity (window size 5) based on the results of 2001 Arctic cruises which used an SBE25. Plots were made of casts #4 and 32 and the filter was found to have been effective. It smoothed the small steps in pressure and removed pressure inversions and made a significant reduction in noise in the salinity.

6. CELLTM

SeaBird recommend the use of (α, 1/β) = (0.03, 7). In previous use of this equipment (0.03, 9) has been used. However, both those settings produced poor results in regions of large temperature gradient during 2005 when (0.01, 7) was chosen. Tests were run on casts #4 and 32 using a wide variety of parameters and the best results were with (0.03, 9). That setting was also found best for 2006-34 with another SBE25. In the steepest temperature gradients there are unstable salinity features so editing will be required, but for this data using (0.01, 7) did no better in removing such features and was significantly worse at other depths.

CELLTM was run on all casts using (0.03, 9).

7. DERIVE

Program DERIVE was run to calculate salinity.

8.  Conversion to IOS Headers

The IOSSHELL routine was used to convert the CNV files to IOS Headers.

9. Checking Headers

CLEAN was used to add event numbers and to replace pad values in the pressure channel using linear interpolation based on record number.

The header check was run and a few errors in positions were identified based on high speeds between casts. Three position errors were fixed in the CLN and BOT files (casts #3, 82 and 99) and the routine rerun. No further errors were found.

Track plots were produced and no errors found.

The surface routine was run and the average found to be -0.443db. Examining a number of casts suggests that the pressure is low by from 0.3db to 1.6db. A choice of an offset of about +0.7db looks appropriate.

The header summary was run and the output checked against the log book. There are some differences in locations and times; these are primarily in areas where drift was significant during the cast so the position written down was probably accurate at the times recorded but those are generally before the cast start as given in the log book. Corrections were made to the positions and/or times of casts #34, 35, 37, 38, 40, 50 and 95 in the BOT and CLN files. There is an inconsistency between the time in the log and the header for cast #103, but the header time seems far more likely. A speed check does not show that either time is impossible. The header was left unchanged. For cast #54 the station name was changed from BRS4 to BRS4a as indicated in the log book. Header Check was rerun on both CLN and BOT files to ensure errors had not been made in editing, and no problems were noted

##### 10. Test plots

Plots were made to check for any problems with processing. The upcast and downcast traces are reasonably close below 20db, but there are large differences above that, particularly for the casts with very sharp temperature interfaces. The fluorescence looks very noisy with some very large spikes at depth. Fluorescence is bad for parts of casts 31 and 32, mostly in the upcasts. The dissolved oxygen has some spikes, but is generally smooth as expected. These variables should be plotted after editing of T and S, to see if further editing is needed.

11. SHIFT

Dissolved Oxygen Sensor

Tests were run on 3 casts, two deep ones and one shallow, advancing the DO channel by from 0 to +100 records. The best results vary with from feature to feature, but on average using +50 records proved most successful in making the vertical offset between upcast and downcast DO look most like that seen in the temperature trace. Very close to the surface no shift worked well, as it looks like there is no significant signal in the voltage and DO reflects temperature. From about 10m down +50 looks best. The last time this instrument was used a setting of +80 was used, but the instrument has been recalibrated since then.

SHIFT was run on all casts advancing the DO channel by +50 records.

Fluorescence

The offset between the downcast and upcast fluorescence traces were compared with the offset in the temperature trace and no significant difference was seen. (In some cases the offset was less than that in temperature, and in other less.) So the fluorescence will not be shifted. It usually needs shifting when pumped, but not when unpumped as was the case for this cruise.

Conductivity

Tests were run using shift values from 0 to +1.4 records. When the results examined on a T-S curve after removal of the upcast data a setting of about +1 did the best job of minimizing instabilities and removing noise near the surface and +0.5 at depth.

In a study of 2005 data it was found that using the higher setting led to some cases where the upcasts became unlike the downcasts and others where the opposite effect occurred, at least near the surface and in deep water the downcast data were saltier than the upcast, which is highly unlikely. The salinity values at the bottom of a few casts were compared with bottle data available, and there were no significant differences at those depths no matter what setting was chosen. We could choose to use upcasts, but they are very noisy and the problems in the high gradient regions are still very significant. It is expected that the upcast salinity should be a little higher than the downcast because the package drags deeper water upwards, so how closely they should match is questionable. Tests were run at that time combining SHIFT and FILTER with no pleasing results.

SHIFT was run on all casts advancing the conductivity by +1 record. It does appear that in deep water the upcast temperature is higher and the salinity lower than for the downcast, which is hard to understand. However, the SHIFT step did not alter this.

CALIBRATE was run with file 2006-01-recal1.cccf to add 0.7db to the pressure channel.

- DELETE

File 2006-01-recal1.ccf was prepared and applied to the SHFC files to add 0.7db to the pressure channel.

Before running DELETE plots were made to determine which casts had to be edited to remove data from an initial soaking period. Casts #11 – 106 all had such a period and DELETE is likely to choose the wrong data, so a text editor was used to remove records from that initial soak period. A comment was placed in the headers to indicate why the records were removed.

DELETE was run on all casts using the following parameters:

Surface Record Removal: Last Press Min.

Surface Swell Pressure Tolerance: 1.0

Swells deleted. Warning message if pressure difference of 2.00

Drop rates < 0.3m/s (calculated over 5 points) was deleted from 10db to 10db above the maximum pressure.

The sample interval was taken from the header.

COMMENTS ON WARNINGS: There were no warnings.

- DETAILED EDITING

CLIP was used to remove the top 2db since the CTD was stopped at about that level before the full cast was run; the data are very noisy in the top 2db, is not considered reliable from this ship and would take a lot of time to edit. All CLIP files were copied to EDT files

Page plots were examined for spikes and instabilities and used to guide the use of CTDEDIT.

CTDEDIT was used. Records were removed that appeared to be corrupted by shed wakes. Salinity was cleaned where there were spikes or unstable “overshoots” suspected to be due to misalignment of T and C. Some of these data come from a region with very high temperature gradients, resulting in large errors in salinity. For example temperature changed by 2 to 5Cº in a metre or two; alignment of T and C cannot be precise enough to produce reliable salinity under such conditions, and there may also be other temperature-change related affects on the sensors. Instabilities near the bottom were common in the Bering Strait area and since there was no obvious instrumental cause these are assumed to be real features due to active mixing.

The amount of editing required varied greatly. The early casts show more instability near the surface possibly because there was only a short soak period so the salinity is less reliable. Heavy editing was required in the top 20db for some of these casts. Later in the cruise the surface soak was longer, but the descent rate was often noisier and lower so that editing was required to remove data corrupted by shed wakes.

In handling the 2003 data an attempt was made to fine-tune the alignment to improve the data, but anything that helped in a sharp gradient area, made other parts of the data worse.

The salinity gradients were usually fairly low, so even though there is a lot of guesswork in the editing, the resultant error would generally be within ±0.1psu in high gradient areas. Away from the large gradients the salinity is considered ±0.005psu.

All casts required some editing.

The edited files were bin averaged using 0.5db bins and standard deviations were calculated. T-S Plots were examined and a little more editing applied to a few casts.

Transmissivity and fluorescence versus pressure plots were examined on-screen; the fluorescence was frequently spiky at depth and there are a few patches of zero transmissivity; no editing was applied to those channels.

- COMPARE

NOTE: The preparation of the bottle files was suspended. The MRG1 files consist of the BOT files with salinity sampling data added. There are a number of issues that must be resolved before continuing. 
1. No sample numbers have been assigned for many of the data from the latter part of the cruise, including most of the nutrient and chlorophyll data. To prepare rosette files either sample numbers will have to be created, or those samples excluded from the files. (Note: I have not seen the nutrient data, so it is possible that the analyst has assigned some sample numbers.)

2. The only dissolved oxygen data in the rosette spreadsheet is from bottom bottles. Perhaps that was all that was collected. If so, they can be included in the CHE files. However, that is insufficient for recalibration purposes. If there is more data there will be two problems – how to use data collected on the fly and how to incorporate the data in CHE files if there are no sample numbers. The latter solution will be the same as for nutrients and chlorophyll. The rosette spreadsheet does not indicate what DO sampling was done.

During this cruise sampling was done on the fly during the upcast for casts #1 to 30.

For all other casts there were stops for bottles and often the only bottle fired was at the bottom. The log entries are a little misleading for some of these casts with an entry of “UN” meaning “up no stop” under firing method, but since the only bottle firing was at the bottom there was presumably a stop before firing.

Since it is known that the salinity calibration did not drift during this cruise, it had been hoped that the salinity values could be used as a tracer to establish the source depth of the water in the Niskin bottles fired on the fly. However, the only sampling for those casts was from the bottom with the exception of one surface sample, so all samples were gathered while the CTD was stopped. At this point the only DO data found is also at the bottom only, so perhaps this is not an issue. (However, bottom DO is insufficient for calibration purposes.)

A spreadsheet (2005_05_sal.xls) was obtained which included salinity bottle values. The file was saved as 2006-01-sal.csv after removal of extraneous information. There are inconsistencies between the station names and sample numbers given in the spreadsheet and those in the log book. Since the station names and event numbers make sense it is assumed that the errors were in the sample labels. In most cases substituting a 2 for 1 makes them agree, for example #173 becomes #273 since there was no salinity sampling recorded for #173.  There was no quality flag channel in the file so one was added and a “c” flag entered for all sample numbers that were changed. There were comments about missing bottle liners and leaking bottles for some samples; a “c” flag was initially assigned for these, with a further assessment to follow COMPARE.

The headers were changed to standard channel names and were then converted to individual SAL files.

The BOT files were then averaged on bottle number. The ADDSAMP file was then edited to add sample numbers based on information in the CTD Daily log book. Some adjustments were made to the file in assigning sample numbers:

- Several casts were removed from the file since no sample numbers were assigned. In some cases water was gathered for scientists, but no IOS analyses were done.

- Cast #29 had 10 bottles fired, but only 9 sample numbers and 9 bottles according to the log book. According to the chemistry spreadsheet bottles 4/5 share a sample number. Bottle #5 was removed from the list.

- Many casts had more bottles than sample numbers; usually the bottom was sampled and no others. Any bottles not assigned sample #s were removed from the list.

- It was also found that the sample labeled as #295 and a note saying it might be 293 could not be 295 since the rosette log indicates there was no salinity sampling done from that bottle so this was changed to 293 in the salinity file.

Chlorophyll bottle data was obtained with depth and station names, but no sample numbers. For many of them no sample number was assigned, but where available a sample number was added based on information in the rosette chemistry spreadsheet. That file was saved as 2006-01-chl.csv. Flag and comment columns were added but nothing was entered since that information was unavailable. Since most of the data had no sample numbers no attempt has been made to add this data to the rosette files.

CST files were formed by converting the ADDSAMP file; these will form the framework for the chemistry files.

The ADDSAMP file was also used to add sample numbers to the BOT files. (Output: SAM) Those files were bin-averaged on bottle number, and named SAMAVG.

The Sal files were merged with the CST files (MRG1). As other bottle data was not yet ready, the MRG1 files were cleaned to reduce headers to File and Comments only, and then merged with the SAMAVG files. (Output: MRG)

COMPARE was run using MRG and SAM files as input. There is a lot of scatter in the comparison between bottles. The largest negative differences (CTD lower than bottles) are near the top which might be explained by poor flushing of the bottles. Another explanation near the top is the effect of shed wakes which could lead to either positive or negative differences and we do see some outliers in either direction though more below zero than above. However, there is a preponderance of negative differences near the bottom and that is hard to explain. How can the bottle contain higher salinity water than the CTD measured anywhere in its profile. There was a note in the log about a pump problem, but it sounds as though this was just a matter of a surface salinity problem.

Because neither the temperature nor conductivity sensor showed significant drift between the pre-cruise and post-cruise calibrations, we expect the salinity differences to be very low, within ±0.001 and probably such that the CTD salinity is slightly low, so these results are puzzling. Most of the deepest salinity sampling was not near the bottom so not subject to problems due to sediments or a significant boundary layer. Possible explanations include an error in CTD salinity that has nothing to do with calibration, problems with the sample collection, trouble with the salinometer or other analysis problems. There was some mislabeling of samples but leaving those out of the comparison does not change the result. The analyst noted problems with liners and leakage and two severe outliers are explained by that. Is it possible that there were other instances of minor leakage that were not noticeable by the analyst but affected the bottle salinities slightly. The bottles did sit for over 3 months before being analyzed. Another possibility is a systematic error in the Autosal.

If differences >+0.005 are excluded and differences then plotted against file pair number we find a very flat fit with time with an average difference ~0. This also provides a flat fit against pressure with most points in the fit from the bottom or from above 50db. It is not clear what the significance of this is since such tight constraints were put on the fit, but SeaBird do advise that if the cell is in good condition you exclude points until you achieve a flat fit. Doing a fit by excluding points based on residuals does not lead to a flat trendline.

It was found in COMPARE that the sample in cast #35 that was thought to be #265 is too salty to be from this cast, and as the rosette log shows no sampling from the bottom it is especially unreasonable. It also does not look like it is a duplicate of #165 as the salinity is much too low for the bottom of cast #19. So the number was left as 265 but the flag was changed to “d”.

Based on the post-cruise calibration the CTD salinity is well within 0.001psu of the bottles, which is the best we can expect from this instrument.

Establishing where the data in the bottles comes from is the harder issue. For an initial study a few casts were picked with and without stops. Sigma-t was derived. The pressure, temperature, salinity and sigma-t were recorded for a few of the bottles and then the downcast files were examined to find at what pressure those values of T, Sal and Sigma-t occurred. There was a lot of variability but it looks as thought there is little difference for the casts with stops, and from 2 to 5db offset for those without. However, the results from each of the variables differed significantly, perhaps because of real variation or due to noise in the downcast files.

If this proves important this study could be repeated later after the downcast data has been edited and put through DELETE and bin-averaging. When a lag has been established for the NO STOP bottles, the BOT files can be reconverted to create data appropriate for the chemistry files. However, at this point I have found no data from the upcast sampling with no stops, so this may prove unnecessary.

When the bottle files are complete, the SAMAVG files should be exported to a spreadsheet to provide data to be added to the rosette chemistry spreadsheet.

- Other Intercomparisons

Sensor History – This CTD was used during 2005 but it has been recalibrated since. The DO sensor was also recalibrated since last use.

Comparison of repeat casts –There are no repeat casts.

Historic Ranges – Climatology was available for casts #1 to 37. The only significant excursions from the ranges were for casts #22 and 37; the former is very close to shore, for one the temperature is above the maximum and for the other it is below the minimum, so there is no systematic error.

- Quality Control

Profile plots were produced with groups of nearby casts plotted together. There is a lot of variability near the surface, but nothing stood out as clearly wrong. The deep data look reasonably close.

- Recalibration

The salinity does not require recalibration.

The dissolved oxygen channel will not be archived unless more calibration data becomes available.

- REMOVE

REMOVE was run to remove Scan_Number, Conductivity:Primary, Descent Rate, Oxygen:Dissolved:SBE, Oxygen:Voltage:SBE and Flag channels. Standard deviations were also removed for those channels.

- HEADER EDIT and CTD file creation

Header Edit was used to fix formats and channel names and to add the following note to the headers.

The file names are not based on Event Numbers. To relate to the entries in the log book use the entries in the Cast Type column. (Example Cast Type ROS004 refers to file 2006-31-0004.)

Fluorescence:URU:Seapoint – The data are uncalibrated and

unedited.

Transmissivity: The data are nominal and unedited.

The pressure sensor is considered ±1db.

The salinity  is considered ±0.005psu except in areas of rapid temperature

change where the salinity has been edited heavily and should be considered ±0.1psu.

The dissolved oxygen data were removed because there was no calibration sampling.

The Standards Check routine was run and Header Edit adjusted until no errors remained.

The final files were named CTD.

NOTE: A special set of files were prepared for Fiona McLaughlin that contain the Oxygen:Voltage:SBE and Oxygen:Dissolved:SBE channels plus the associated standard deviations. These are named FCTD.

A cross-reference listing was produced.

A header check was run on the CTD files and no errors found.

- Producing final bottle files

When the bottle data is available the following steps should be taken:

The MRG files should be put through CLEAN to remove Sea-Bird headers and SORT to order the records on pressure.

REMOVE should be run to remove Scan_Number, Conductivity:Primary, Descent Rate, Oxygen:Dissolved:SBE, Oxygen:Voltage:SBE and Flag channels. Standard deviations were also removed for all channels.

HEADEDIT should be used to add a comment and to fix formats and channel names.

The Standards Check routine was run and Header Edit adjusted until no errors remained.

The final files were named CHE.

NOTE: A special set of files should be prepared for Fiona McLaughlin that contain the Oxygen Voltage and Oxygen:Dissolved:SBE channels plus standard deviations. These should be named FCHE.

Particulars

1-10. DO may not have had sufficient time in water with pumps on to equilibrate before starting cast.

5. Water was being pumped out of the side of the shop above the CTD. May have contaminated the surface bottle.

9. O rings on spigots 2,3, 4 were broken and covered with elastic bands.

10. Slow descent near bottom due to uncharted depth.

11-end. Starting with this cast CTD lowered to 5m, left to equilibrate for 2 minutes, brought back to surface then full cast run.

31-end. 30-second wait before bottle firing for US casts.

41. At about this time the pump was changed because salinity profiles were strange.

82/83. Problem with Seasave crash during upcast; rosette was redeployed with water still in bottles. ROS082 and ROS083 had valves that were open.

84. Two bottles did not fire, so the CTD was redeployed to collect water for those two bottles only. Use ROS084 for CTD data for UTN-06.

106. Significant prop wash.

## Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#: 2006-01

Dates: Start: 8 July 2006 End: 22 July 2006

Location: Gulf of Alaska

Vessel: Sir Wilfrid Laurier

Party Chief: Williams W.

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 25 | 0293 | Yes | Yes |

CTD CALIBRATION INFORMATION

Make/Model/Serial#:	SEABIRD/SBE25/0293		Cruise ID#:		2006-01

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 4115 | 24 Feb 06 | Factory |  |  |
| Conductivity | 2607 | 10 Feb 06 | Factory |  |  |
| Fluorometer | 2336 | ? | IOS |  |  |
| Oxygen SBE43 | 0615 | 08Feb06 | Factory |  |  |
| Transmissometer | 139? | 23Apr01 | IOS |  |  |
| Pressure | 0464 | 23Mar06 | Factory |  |  |