## Notes
2007-01-23
Analysing Equipment
> | used a Guildline Autosal Model 8400B, serial # 68572
bath temperature of 24OC
accuracy of < +/- 0.0001 conductivity ratio
resolution <0.00001 conductiity ratio and <0.0002 equivalent PSU
> | analysed in a temperature controlled lab
ambient temperature fluctuated between 20.0OC to 22.2OC
> | standarized using IASO Standard Seawater
K15 Value = 0.99979
salinity = 34.992
> | Initial Standby Ratio: 24+ 6039
> | Final Standby Ratio: 24+ 6037
Data Interpretation Equipment
> | Ocean Scientific International Salinometer Data Logger software was used
| > | to log the conductivity readings from the Guildline Autosal
| > | calculate salinity to four (4) decimal places or 1/10th part per million
> | Data Logger calculates and displays the following information in a spreadsheet
| > | Sample ID: This displays the run ID appended with a automatically updated number, which corresponds to the sample number
| > | Bottle Number: The sample name entered by the user
| > | Date/Time: the date and time at which the sample was analysed
| > | Temp: The Bath temperature setting as read from the Salinometer in degrees Celsius
| > | Uncorrected Ratio: The average of the readings of the conductivity ratio as read from the Salinometer.
| > | Uncorrected Ration Standard deviation: The standard deviation of the data set for that reading
| > | Correction: The correction applied to the ratio to account for the offset measured with the previous Standard Seawater (i.e. Standard Seawater label value minus the measured value)
| > | Adjusted Ratio: The measured ratio plus the correction.
| > | Cal Salinity: The corrected salinity value of the sample calculated using the Pss78 equations.
| > | Standard Deviation: the standard deviation of that calculated salinity data
| > | Comments: Analysers comments added
**** not all columes from data logger on on final worksheet. Look on 'raw data' worksheet .
Comments
> | sample probems:
| > | There were a number of samples bottles (old style in wood boxes) where the inserts were not a tight fit causing leakage of sample and possible evaporation
| > | some of the samples had holes punctured in the insert causing leakage of sample and possible evaporation
| > | some of the samples had no inserts under cap and may have had possible evaportation
| > | salt found on rims
| > | these samples were flagged as suspect -see comments on "final edited data' worksheet
> | The analysing went smoothly with no complications.
| > | using a Guildline Autosal has a larger bath that a Portasal and results in better accuracy of < +/- 0.0001 conductivity ratio
| > | Using a temperature-controlled lab minimizes temperature fluctuations which effects Autosal electronic stability -this can be problematic.
| > | By using a temperature controled lab this variable is minimized and greater accuracy can be guaranteed.
Suggestions
> | purchase of new inserts and caps for all old style sample bottles. I think the present ones have had there day!!
> | if the above suggestion is not feasible (ie.- inserts and caps not available anymore) purchase new bottles, caps and inserts.

## Final edited Data
Sir Wilfred Laurier Arctic Cruise 2006-01 Salinity Data
Date Analysed: January 2007
Analysed by : Mary Steel
Information written on the Sample Bottles |  |  |  | Data Logger Information
Sample # | Station Name | Cast # | Depth | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Comments
Calibration |  |  |  | 0.99979 | 2.0451e-06 | -4.0531e-06 | 0.99979 |  | Standard Seawater Check
33 | NP3 | 009 ?? | deep | 0.98433 | 3.1772e-06 | -3.9339e-06 | 0.98433 | 34.384
45 | NP4 | 012 ?? | " | 0.98429 | 1.0134e-05 | -3.9935e-06 | 0.98428 | 34.3823
57 | NP5 | 8 | " | 0.98478 | 5.3714e-06 | -3.9935e-06 | 0.98477 | 34.4014
69 | NP6 | 9 | " | 0.98393 | 2.9065e-06 | -4.0531e-06 | 0.98393 | 34.3682
81 | NP7 | 10 | " | 0.98419 | 3.2563e-06 | -3.8743e-06 | 0.98418 | 34.3783
93 | NP8 | 11 | " | 0.98482 | 3.4154e-06 | -3.9339e-06 | 0.98481 | 34.4031
105 | NP9 | 13 | " | 0.9847 | 3.1024e-06 | -3.9935e-06 | 0.98469 | 34.3984
117 | NP10 | 14 | " | 0.98485 | 3.7693e-06 | -4.0531e-06 | 0.98484 | 34.4041
129 | NP11 | 16 | " | 0.98508 | 3.4156e-06 | -4.0531e-06 | 0.98508 | 34.4135
141 | NP12 | 17 | " | 0.98539 | 3.608e-06 | -3.9339e-06 | 0.98538 | 34.4254
153 | NP13 | 18 | " | 0.98519 | 4.3226e-06 | -4.0531e-06 | 0.98519 | 34.4177
165-A | NP14 | 19 | " | 0.98501 | 2.5863e-06 | -3.9339e-06 | 0.985 | 34.4105
163 | BS4 | 34 | " | 0.95846 | 2.3936e-06 | -3.9935e-06 | 0.95845 | 33.3709
165-B | BS5 | 35 | " | 0.9547 | 3.5789e-06 | -3.9935e-06 | 0.9547 | 33.2243
166 | " | " | --- | 0.95224 | 3.7547e-06 | -4.0531e-06 | 0.95223 | 33.1279
167 | " | " | --- | 0.95039 | 2.3152e-06 | -3.9339e-06 | 0.95039 | 33.056
168 | " | " | --- | 0.94249 | 2.8437e-06 | -3.9339e-06 | 0.94249 | 32.7479
169 | " | " | --- | 0.93969 | 4.1074e-06 | -3.9935e-06 | 0.93968 | 32.6387
170 | " | " | --- | 0.9375 | 3.3009e-06 | -3.9339e-06 | 0.9375 | 32.5538 | insert loose -leaking
171 | " | " | --- | 0.93437 | 4.47e-06 | -3.9339e-06 | 0.93436 | 32.4317
172 | " | " | --- | 0.93105 | 3.3368e-06 | -3.9935e-06 | 0.93105 | 32.3028
173 | " | " | --- | 0.93212 | 2.7265e-06 | -3.9935e-06 | 0.93212 | 32.3446
177 | UN8 | 21 | --- | 0.986 | 3.0327e-06 | -4.0531e-06 | 0.98599 | 34.4494 | insert loose -leaking
189 | UN7 | 22 | --- | 0.97563 | 4.6142e-06 | -3.9339e-06 | 0.97562 | 34.0427 | insert loose -leaking
201 | UN6 | 23 | --- | 0.94627 | 3.1666e-06 | -3.9935e-06 | 0.94627 | 32.8954 | no insert under cap
207 | UN5 | 24 | --- | 0.92595 | 2.9068e-06 | -3.9339e-06 | 0.92595 | 32.1047
213 | UN4 | 25 | --- | 0.93353 | 2.7315e-06 | -3.9935e-06 | 0.93353 | 32.3994
220 | UN3 | 26 | --- | 0.92229 | 2.5931e-06 | -4.0531e-06 | 0.92228 | 31.9625
227 | UN2 | 27 | --- | 0.93037 | 3.9156e-06 | -3.9935e-06 | 0.93037 | 32.2764
233 | UN1 | 28 | --- | 0.92891 | 3.243e-06 | -3.9935e-06 | 0.92891 | 32.2197
239 | BCL1 | 29 | --- | 0.97111 | 2.6643e-06 | -3.9339e-06 | 0.9711 | 33.8656
247 | BCL1 | 29 | --- | 0.93935 | 3.4833e-06 | -4.0531e-06 | 0.93935 | 32.6258
248 | BCL2 | 30 | --- | 0.98383 | 3.1623e-06 | -4.0531e-06 | 0.98383 | 34.3645
259 | BCL2 | 30 | --- | 0.94936 | 3.4154e-06 | -3.9339e-06 | 0.94935 | 33.0156
260 | BS1 | 31 | --- | 0.98379 | 3.9191e-06 | -3.9935e-06 | 0.98378 | 34.3627
261 | BS2 | 32 | --- | 0.98328 | 2.7423e-06 | -3.9935e-06 | 0.98327 | 34.3426
262 | BS3 | 33 | --- | 0.97898 | 2.6639e-06 | -4.0531e-06 | 0.97897 | 34.1739
274 | BS5b | 36 | --- | 0.94291 | 4.0448e-06 | -4.0531e-06 | 0.9429 | 32.7642 | insert loose -leaking
275 | BS6 | 37 | --- | 0.94115 | 4.7073e-06 | -3.9339e-06 | 0.94114 | 32.6956
286 | BS6 | 37 | --- | 0.93576 | 1.3254e-06 | -3.9935e-06 | 0.93575 | 32.4858
287 | BS7 | 38 | --- | 0.92767 | 2.9938e-06 | -3.9935e-06 | 0.92767 | 32.1715
288 | Slip1 | 39 | --- | 0.92461 | 3.9156e-06 | -3.9339e-06 | 0.92461 | 32.0527 | insert loose -leaking
289 | Slip2 | 40 | --- | 0.9215 | 3.4452e-06 | -4.0531e-06 | 0.9215 | 31.9319 | no insert under cap
290 | Slip3 | 41 | --- | 0.91861 | 3.6269e-06 | -4.0531e-06 | 0.91861 | 31.8198 | insert loose -leaking
291 | Slip5 | 42 | --- | 0.92231 | 2.0769e-06 | -3.9339e-06 | 0.92231 | 31.9634 | no insert under cap
292 | Slip4 | 43 | --- | 0.92941 | 4.8113e-06 | -3.9339e-06 | 0.9294 | 32.239
295 | Slip6 | 44 | --- | 0.9405 | 3.7695e-06 | -3.9339e-06 | 0.9405 | 32.6705 | **could be sample #293 -hard to read
301 | Slip6 | 44 | --- | 0.90461 | 1.2927e-06 | -3.9339e-06 | 0.90461 | 31.2776
302 | UT-BS5 | 46 | --- | 0.94551 | 3.9156e-06 | -3.9339e-06 | 0.9455 | 32.8655
303 | UT-BS2 | 47 | --- | 0.93822 | 3.327e-06 | -4.0531e-06 | 0.93822 | 32.5818
304 | UT-BS4 | 48 | --- | 0.9481 | 4.0448e-06 | -4.0531e-06 | 0.94809 | 32.9664
305 | UT-BS1 | 49 | --- | 0.94381 | 3.6527e-06 | -3.9339e-06 | 0.94381 | 32.7994
306 | Mooring 44-06 | 50 | --- | 0.91153 | 3.2563e-06 | -3.9935e-06 | 0.91152 | 31.5453
307 | BRS5a | 51 | --- | 0.89249 | 1.2932e-06 | -4.0531e-06 | 0.89249 | 30.8093
308 | BRS5 | --- | --- | 0.89893 | 1.8848e-06 | -3.9339e-06 | 0.89893 | 31.058
309 | " | --- | --- | 0.90341 | 4.0735e-06 | -3.9935e-06 | 0.9034 | 31.2311
310 | " | --- | --- | 0.89883 | 2.9073e-06 | -4.0531e-06 | 0.89882 | 31.054
311 | " | --- | --- | 0.89825 | 4.0885e-06 | -3.9339e-06 | 0.89824 | 31.0316
312 | " | --- | --- | 0.8984 | 3.6273e-06 | -3.9935e-06 | 0.89839 | 31.0373
313 | " | --- | --- | 0.89253 | 2.5778e-06 | -3.9935e-06 | 0.89252 | 30.8107
314 | " | --- | --- | 0.89267 | 4.626e-06 | -4.0531e-06 | 0.89266 | 30.816
315 | BRS4b | 53 | --- | 0.90928 | 3.0665e-06 | -4.0531e-06 | 0.90927 | 31.4581 | insert loose -leaking
316 | BRS4a | 54 | --- | 0.91755 | 1.0225e-06 | -4.0531e-06 | 0.91754 | 31.7786 | insert loose -leaking
317 | BRS4 | 55 | --- | 0.92167 | 1.2774e-06 | -3.8743e-06 | 0.92167 | 31.9387
318 | " | " | --- | 0.92154 | 2.3941e-06 | -3.9935e-06 | 0.92153 | 31.9334
319 | " | " | --- | 0.92143 | 2.044e-06 | -4.0531e-06 | 0.92142 | 31.9291
320 | " | " | --- | 0.92162 | 4.9164e-06 | -3.9339e-06 | 0.92162 | 31.9366
321 | " | " | --- | 0.92139 | 2.6643e-06 | -3.9339e-06 | 0.92139 | 31.9276
322 | " | " | --- | 0.92067 | 3.2472e-06 | -3.9935e-06 | 0.92066 | 31.8996
323 | " | " | --- | 0.92055 | 1.6163e-06 | -3.9935e-06 | 0.92055 | 31.8951
324 | " | " | --- | 0.91871 | 2.3153e-06 | -3.9339e-06 | 0.91871 | 31.8238
325 | " | " | --- | 0.90602 | 2.3153e-06 | -3.9935e-06 | 0.90602 | 31.3322
326 | BRS3a | 55 | --- | 0.89612 | 3.5319e-06 | -3.9935e-06 | 0.89611 | 30.9493
327 | BRS3a | 56 | --- | 0.92674 | 2.876e-06 | -4.0531e-06 | 0.92674 | 32.1355
328 | BRS3 | 57 | --- | 0.92405 | 3.9285e-06 | -4.0531e-06 | 0.92404 | 32.0308
329 | " | " | --- | 0.92398 | 3.2861e-06 | -3.9339e-06 | 0.92397 | 32.028
330 | " | " | --- | 0.924 | 5.1613e-06 | -4.0531e-06 | 0.92399 | 32.0289
331 | " | " | --- | 0.92453 | 2.8513e-06 | -4.0531e-06 | 0.92453 | 32.0496
332 | " | " | --- | 0.92466 | 3.3368e-06 | -3.9935e-06 | 0.92466 | 32.0546
333 | " | " | --- | 0.92417 | 2.649e-06 | -3.9339e-06 | 0.92417 | 32.0357
334 | " | " | --- | 0.92394 | 1.3716e-06 | -4.0531e-06 | 0.92394 | 32.0268
335 | " | " | --- | 0.924 | 3.8707e-06 | -4.0531e-06 | 0.924 | 32.0289
336 | " | " | --- | 0.92748 | 2.5029e-06 | -4.0531e-06 | 0.92747 | 32.164
337 | " | " | --- | 0.92197 | 2.6647e-06 | -4.0531e-06 | 0.92197 | 31.9503
338 | BRS2a | 58 | --- | 0.93095 | 2.6058e-06 | -4.0531e-06 | 0.93094 | 32.2988
339 | BRS2 | 59 | --- | 0.93735 | 4.0089e-06 | -4.0531e-06 | 0.93734 | 32.5478
340 | " | " | --- | 0.93465 | 3.1666e-06 | -4.0531e-06 | 0.93465 | 32.4429
341 | " | " | --- | 0.93116 | 2.6477e-06 | -4.0531e-06 | 0.93116 | 32.3071
342 | " | " | --- | 0.93161 | 4.63e-06 | -3.9935e-06 | 0.93161 | 32.3247
343 | " | " | --- | 0.9324 | 4.0883e-06 | -3.9935e-06 | 0.9324 | 32.3553
344 | " | " | --- | 0.92985 | 2.8768e-06 | -3.9935e-06 | 0.92984 | 32.2561
345 | " | " | --- | 0.92986 | 4.8649e-06 | -3.9339e-06 | 0.92985 | 32.2565
347 | " | " | --- | 0.93974 | 3.1772e-06 | -4.0531e-06 | 0.93973 | 32.6408
348 | BRS1b | 60 | --- | 0.93869 | 2.907e-06 | -4.0531e-06 | 0.93869 | 32.6001
349 | BRS1a | 61 | --- | 0.93632 | 3.6103e-06 | -3.9339e-06 | 0.93632 | 32.5078
350 | BRS1 | 62 | --- | 0.9414 | 3.1168e-06 | -3.9935e-06 | 0.94139 | 32.7053
351 | " | " | --- | 0.9391 | 4.1107e-06 | -3.9339e-06 | 0.9391 | 32.616
352 | " | " | --- | 0.93828 | 2.3932e-06 | -4.0531e-06 | 0.93828 | 32.5842
353 | " | " | --- | 0.94218 | 3.327e-06 | -4.0531e-06 | 0.94217 | 32.7358
354 | " | " | --- | 0.93894 | 3.6107e-06 | -4.0531e-06 | 0.93893 | 32.6096
355 | " | " | --- | 0.94333 | 2.3148e-06 | -3.9339e-06 | 0.94332 | 32.7806
356 | " | " | --- | 0.94526 | 3.4835e-06 | -3.9339e-06 | 0.94526 | 32.8559
357 | " | " | --- | 0.9464 | 2.6643e-06 | -4.0531e-06 | 0.9464 | 32.9004
358 | " | " | --- | 0.93791 | 3.4835e-06 | -3.9339e-06 | 0.9379 | 32.5695
359 | BRS0 | 63 | --- | 0.94333 | 3.9537e-06 | -3.9935e-06 | 0.94332 | 32.7806 | insert loose -leaking
360 | A2-Mooring | 64 | --- | 0.9362 | 2.6643e-06 | -3.9339e-06 | 0.9362 | 32.5031
361 | A3-1 Mooring | 65 | --- | 0.94522 | 3.2563e-06 | -3.9935e-06 | 0.94521 | 32.8542
362 | A3-2a | --- | --- | 0.92663 | 4.2983e-06 | -3.8743e-06 | 0.92662 | 32.1309
363 | A3-4 | 69 | --- | 0.93511 | 3.3769e-06 | -3.9935e-06 | 0.9351 | 32.4605
364 | A3-5 | 70 | --- | 0.91576 | 4.2686e-06 | -3.9935e-06 | 0.91576 | 31.7094
365 | A3-7 | --- | --- | 0.88167 | 3.7695e-06 | -3.9935e-06 | 0.88167 | 30.3922
366 | A3-9 | 74 | --- | 0.90212 | 3.5335e-06 | -3.9339e-06 | 0.90212 | 31.1814 | insert loose -leaking
367 | A3-11 | 76 | --- | 0.90167 | 3.5186e-06 | -3.9935e-06 | 0.90166 | 31.1637
368 | UTN1 | 77 | --- | 0.9075 | 3.9008e-06 | -4.0531e-06 | 0.9075 | 31.3895
369 | UTN2 | 78 | --- | 0.93464 | 3.3546e-06 | -3.9339e-06 | 0.93463 | 32.4423 | insert loose -leaking
370 |  | 79 | --- | 0.94105 | 2.3153e-06 | -3.9339e-06 | 0.94105 | 32.692
371 | UTN4 | 90 | --- | 0.93886 | 2.6639e-06 | -4.0531e-06 | 0.93886 | 32.6068
372 | UTN5 | 81 | --- | 0.93896 | 2.6643e-06 | -3.9935e-06 | 0.93896 | 32.6106
373 | UTN6 | 84 | --- | 0.93702 | 4.1236e-06 | -3.9339e-06 | 0.93702 | 32.535
374 | UTN7 | 86 | --- | 0.94224 | 2.0451e-06 | -3.9935e-06 | 0.94224 | 32.7383
375 | PH1 | 87 | --- | 0.93488 | 2.3941e-06 | -3.9339e-06 | 0.93488 | 32.4519
376 | PH3 | 89 | --- | 0.92986 | 2.3152e-06 | -3.9339e-06 | 0.92985 | 32.2565
377 | PH5 | 91 | --- | 0.92177 | 2.3034e-06 | -4.0531e-06 | 0.92177 | 31.9424
378 | PH7 | 93 | --- | 0.90524 | 2.9545e-06 | -3.9339e-06 | 0.90523 | 31.3018
379 | CPL1 | 97 | --- | 0.90513 | 2.8973e-06 | -4.0531e-06 | 0.90512 | 31.2976
380 | CPL4 | 99 | --- | 0.92336 | 2.3152e-06 | -4.0531e-06 | 0.92336 | 32.0042
381 | CPL6 | 101 | --- | 0.92902 | 2.7423e-06 | -3.9935e-06 | 0.92901 | 32.2238
382 | M03-04 | 102 | --- | 0.93749 | 2.3153e-06 | -4.0531e-06 | 0.93748 | 32.5532
383 | m05-04 | 103 | --- | 0.94511 | 4.1106e-06 | -3.9935e-06 | 0.9451 | 32.8499
384 | CCC-06 | 104 | --- | 0.93985 | 3.5186e-06 | -3.9935e-06 | 0.93984 | 32.645
385 | M04-04 | 105 | --- | 0.93014 | 2.6643e-06 | -3.9339e-06 | 0.93014 | 32.2676
Calibration |  |  |  | 0.99978 | 3.8782e-06 | -3.9935e-06 | 0.99977 | 34.9911 | Standard Seawater Check

## Raw Data
Sir Wilfred Laurier 2006-01
Salinity Raw Data Using a Guildline Autosal Model 8400B and the Ocean Scientific International Salinometer Data Logger software to determine salinity ppm
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#4 |  | 2007-01-17 09:21 | 24C | 0.99979 | 2.0451e-06 | -4.0531e-06 | 0.99979
NA2006#45 | 33 | 2007-01-17 10:45 | 24C | 0.98433 | 3.1772e-06 | -3.9339e-06 | 0.98433 | 34.384 | 0.00012223
NA2006#46 | 45 | 2007-01-17 10:48 | 24C | 0.98429 | 1.0134e-05 | -3.9935e-06 | 0.98428 | 34.3823 | 0.0003982
NA2006#47 | 57 | 2007-01-17 10:52 | 24C | 0.98478 | 5.3714e-06 | -3.9935e-06 | 0.98477 | 34.4014 | 0.00020952
NA2006#48 | 69 | 2007-01-17 10:55 | 24C | 0.98393 | 2.9065e-06 | -4.0531e-06 | 0.98393 | 34.3682 | 0.00011518
NA2006#49 | 81 | 2007-01-17 10:58 | 24C | 0.98419 | 3.2563e-06 | -3.8743e-06 | 0.98418 | 34.3783 | 0.00012756
NA2006#50 | 93 | 2007-01-17 11:00 | 24C | 0.98482 | 3.4154e-06 | -3.9339e-06 | 0.98481 | 34.4031 | 0.00013427
NA2006#51 | 105 | 2007-01-17 11:02 | 24C | 0.9847 | 3.1024e-06 | -3.9935e-06 | 0.98469 | 34.3984 | 0.00012099
NA2006#52 | 117 | 2007-01-17 11:04 | 24C | 0.98485 | 3.7693e-06 | -4.0531e-06 | 0.98484 | 34.4041 | 0.00014934
NA2006#53 | 129 | 2007-01-17 11:06 | 24C | 0.98508 | 3.4156e-06 | -4.0531e-06 | 0.98508 | 34.4135 | 0.00013336
NA2006#54 | 141 | 2007-01-17 11:09 | 24C | 0.98539 | 3.608e-06 | -3.9339e-06 | 0.98538 | 34.4254 | 0.00014106
NA2006#55 | 153 | 2007-01-17 11:12 | 24C | 0.98519 | 4.3226e-06 | -4.0531e-06 | 0.98519 | 34.4177 | 0.0001692
NA2006#56 | 165-A | 2007-01-17 11:15 | 24C | 0.98501 | 2.5863e-06 | -3.9339e-06 | 0.985 | 34.4105 | 0.00010046
NA2006#57 | 163 | 2007-01-17 11:18 | 24C | 0.95846 | 2.3936e-06 | -3.9935e-06 | 0.95845 | 33.3709 | 9.2732e-05
NA2006#58 | 165-B | 2007-01-17 11:22 | 24C | 0.9547 | 3.5789e-06 | -3.9935e-06 | 0.9547 | 33.2243 | 0.00013955
NA2006#59 | 166 | 2007-01-17 11:27 | 24C | 0.95224 | 3.7547e-06 | -4.0531e-06 | 0.95223 | 33.1279 | 0.00014688
NA2006#60 | 167 | 2007-01-17 11:29 | 24C | 0.95039 | 2.3152e-06 | -3.9339e-06 | 0.95039 | 33.056 | 9.0002e-05
NA2006#61 | 168 | 2007-01-17 11:31 | 24C | 0.94249 | 2.8437e-06 | -3.9339e-06 | 0.94249 | 32.7479 | 0.00011301
NA2006#62 | 169 | 2007-01-17 11:34 | 24C | 0.93969 | 4.1074e-06 | -3.9935e-06 | 0.93968 | 32.6387 | 0.0001588
NA2006#63 | 170 | 2007-01-17 11:39 | 24C | 0.9375 | 3.3009e-06 | -3.9339e-06 | 0.9375 | 32.5538 | 0.00012896
NA2006#64 | 171 | 2007-01-17 11:42 | 24C | 0.93437 | 4.47e-06 | -3.9339e-06 | 0.93436 | 32.4317 | 0.00017394
NA2006#65 | 172 | 2007-01-17 11:47 | 24C | 0.93105 | 3.3368e-06 | -3.9935e-06 | 0.93105 | 32.3028 | 0.0001306
NA2006#66 | 173 | 2007-01-17 11:50 | 24C | 0.93212 | 2.7265e-06 | -3.9935e-06 | 0.93212 | 32.3446 | 0.00010552
NA2006#67 | 177 | 2007-01-17 11:53 | 24C | 0.986 | 3.0327e-06 | -4.0531e-06 | 0.98599 | 34.4494 | 0.00011976
NA2006#68 | 189 | 2007-01-17 11:56 | 24C | 0.97563 | 4.6142e-06 | -3.9339e-06 | 0.97562 | 34.0427 | 0.0001807
NA2006#69 | 201 | 2007-01-17 12:02 | 24C | 0.94627 | 3.1666e-06 | -3.9935e-06 | 0.94627 | 32.8954 | 0.00012305
NA2006#70 | 207 | 2007-01-17 12:05 | 24C | 0.92595 | 2.9068e-06 | -3.9339e-06 | 0.92595 | 32.1047 | 0.00011243
NA2006#71 | 213 | 2007-01-17 12:07 | 24C | 0.93353 | 2.7315e-06 | -3.9935e-06 | 0.93353 | 32.3994 | 0.00010727
NA2006#72 | 220 | 2007-01-17 12:26 | 24C | 0.92229 | 2.5931e-06 | -4.0531e-06 | 0.92228 | 31.9625 | 0.00010078
NA2006#73 | 227 | 2007-01-17 12:29 | 24C | 0.93037 | 3.9156e-06 | -3.9935e-06 | 0.93037 | 32.2764 | 0.00015213
NA2006#74 | 233 | 2007-01-17 12:31 | 24C | 0.92891 | 3.243e-06 | -3.9935e-06 | 0.92891 | 32.2197 | 0.00012521
NA2006#75 | 239 | 2007-01-17 12:33 | 24C | 0.97111 | 2.6643e-06 | -3.9339e-06 | 0.9711 | 33.8656 | 0.00010352
NA2006#76 | 247 | 2007-01-17 12:36 | 24C | 0.93935 | 3.4833e-06 | -4.0531e-06 | 0.93935 | 32.6258 | 0.00013564
NA2006#77 | 248 | 2007-01-17 12:38 | 24C | 0.98383 | 3.1623e-06 | -4.0531e-06 | 0.98383 | 34.3645 | 0.00012347
NA2006#78 | 259 | 2007-01-17 12:40 | 24C | 0.94936 | 3.4154e-06 | -3.9339e-06 | 0.94935 | 33.0156 | 0.00013271
NA2006#79 | 260 | 2007-01-17 12:43 | 24C | 0.98379 | 3.9191e-06 | -3.9935e-06 | 0.98378 | 34.3627 | 0.00015503
NA2006#80 | 261 | 2007-01-17 12:46 | 24C | 0.98328 | 2.7423e-06 | -3.9935e-06 | 0.98327 | 34.3426 | 0.00010865
NA2006#81 | 262 | 2007-01-17 12:48 | 24C | 0.97898 | 2.6639e-06 | -4.0531e-06 | 0.97897 | 34.1739 | 0.00010556
NA2006#82 | 274 | 2007-01-17 12:51 | 24C | 0.94291 | 4.0448e-06 | -4.0531e-06 | 0.9429 | 32.7642 | 0.00015626
NA2006#83 | 275 | 2007-01-17 12:54 | 24C | 0.94115 | 4.7073e-06 | -3.9339e-06 | 0.94114 | 32.6956 | 0.00018279
NA2006#84 | 286 | 2007-01-17 12:58 | 24C | 0.93576 | 1.3254e-06 | -3.9935e-06 | 0.93575 | 32.4858 | 4.9252e-05
NA2006#85 | 287 | 2007-01-17 13:00 | 24C | 0.92767 | 2.9938e-06 | -3.9935e-06 | 0.92767 | 32.1715 | 0.00011729
NA2006#86 | 288 | 2007-01-17 13:03 | 24C | 0.92461 | 3.9156e-06 | -3.9339e-06 | 0.92461 | 32.0527 | 0.00015303
NA2006#87 | 289 | 2007-01-17 13:05 | 24C | 0.9215 | 3.4452e-06 | -4.0531e-06 | 0.9215 | 31.9319 | 0.00013391
NA2006#88 | 290 | 2007-01-17 13:06 | 24C | 0.91861 | 3.6269e-06 | -4.0531e-06 | 0.91861 | 31.8198 | 0.0001406
NA2006#89 | 291 | 2007-01-17 13:09 | 24C | 0.92231 | 2.0769e-06 | -3.9339e-06 | 0.92231 | 31.9634 | 8.0476e-05
NA2006#90 | 292 | 2007-01-17 13:11 | 24C | 0.92941 | 4.8113e-06 | -3.9339e-06 | 0.9294 | 32.239 | 0.00018792
NA2006#91 | 295 | 2007-01-17 13:13 | 24C | 0.9405 | 3.7695e-06 | -3.9339e-06 | 0.9405 | 32.6705 | 0.00014647
NA2006#92 | 301 | 2007-01-17 13:15 | 24C | 0.90461 | 1.2927e-06 | -3.9339e-06 | 0.90461 | 31.2776 | 4.9741e-05
NA2006#93 | 302 | 2007-01-17 13:18 | 24C | 0.94551 | 3.9156e-06 | -3.9339e-06 | 0.9455 | 32.8655 | 0.00015186
NA2006#94 | 303 | 2007-01-17 13:20 | 24C | 0.93822 | 3.327e-06 | -4.0531e-06 | 0.93822 | 32.5818 | 0.00013066
NA2006#95 | 304 | 2007-01-17 13:22 | 24C | 0.9481 | 4.0448e-06 | -4.0531e-06 | 0.94809 | 32.9664 | 0.00015628
NA2006#96 | 305 | 2007-01-17 13:25 | 24C | 0.94381 | 3.6527e-06 | -3.9339e-06 | 0.94381 | 32.7994 | 0.00014224
NA2006#97 | 306 | 2007-01-17 13:28 | 24C | 0.91153 | 3.2563e-06 | -3.9935e-06 | 0.91152 | 31.5453 | 0.00012622
NA2006#98 | 307 | 2007-01-17 13:30 | 24C | 0.89249 | 1.2932e-06 | -4.0531e-06 | 0.89249 | 30.8093 | 4.8755e-05
NA2006#99 | 308 | 2007-01-17 13:32 | 24C | 0.89893 | 1.8848e-06 | -3.9339e-06 | 0.89893 | 31.058 | 7.4032e-05
NA2006#100 | 309 | 2007-01-17 13:35 | 24C | 0.90341 | 4.0735e-06 | -3.9935e-06 | 0.9034 | 31.2311 | 0.00015668
NA2006#101 | 310 | 2007-01-17 13:37 | 24C | 0.89883 | 2.9073e-06 | -4.0531e-06 | 0.89882 | 31.054 | 0.00011295
NA2006#102 | 311 | 2007-01-17 13:39 | 24C | 0.89825 | 4.0885e-06 | -3.9339e-06 | 0.89824 | 31.0316 | 0.00015824
NA2006#103 | 312 | 2007-01-17 13:42 | 24C | 0.8984 | 3.6273e-06 | -3.9935e-06 | 0.89839 | 31.0373 | 0.00013988
NA2006#104 | 313 | 2007-01-17 13:44 | 24C | 0.89253 | 2.5778e-06 | -3.9935e-06 | 0.89252 | 30.8107 | 9.9548e-05
NA2006#105 | 314 | 2007-01-17 13:46 | 24C | 0.89267 | 4.626e-06 | -4.0531e-06 | 0.89266 | 30.816 | 0.00017885
NA2006#106 | 315 | 2007-01-17 13:49 | 24C | 0.90928 | 3.0665e-06 | -4.0531e-06 | 0.90927 | 31.4581 | 0.00011869
NA2006#107 | 316 | 2007-01-17 14:12 | 24C | 0.91755 | 1.0225e-06 | -4.0531e-06 | 0.91754 | 31.7786 | 3.894e-05
NA2006#108 | 317 | 2007-01-17 14:15 | 24C | 0.92167 | 1.2774e-06 | -3.8743e-06 | 0.92167 | 31.9387 | 4.9745e-05
NA2006#109 | 318 | 2007-01-17 14:17 | 24C | 0.92154 | 2.3941e-06 | -3.9935e-06 | 0.92153 | 31.9334 | 9.1185e-05
NA2006#110 | 319 | 2007-01-17 14:20 | 24C | 0.92143 | 2.044e-06 | -4.0531e-06 | 0.92142 | 31.9291 | 7.9828e-05
NA2006#111 | 320 | 2007-01-17 14:23 | 24C | 0.92162 | 4.9164e-06 | -3.9339e-06 | 0.92162 | 31.9366 | 0.00019082
NA2006#112 | 321 | 2007-01-17 14:25 | 24C | 0.92139 | 2.6643e-06 | -3.9339e-06 | 0.92139 | 31.9276 | 0.00010249
NA2006#113 | 322 | 2007-01-17 14:27 | 24C | 0.92067 | 3.2472e-06 | -3.9935e-06 | 0.92066 | 31.8996 | 0.00012452
NA2006#114 | 323 | 2007-01-17 14:29 | 24C | 0.92055 | 1.6163e-06 | -3.9935e-06 | 0.92055 | 31.8951 | 6.2266e-05
NA2006#115 | 324 | 2007-01-17 14:31 | 24C | 0.91871 | 2.3153e-06 | -3.9339e-06 | 0.91871 | 31.8238 | 8.9865e-05
NA2006#116 | 325 | 2007-01-17 14:34 | 24C | 0.90602 | 2.3153e-06 | -3.9935e-06 | 0.90602 | 31.3322 | 8.9083e-05
NA2006#117 | 326 | 2007-01-17 14:36 | 24C | 0.89612 | 3.5319e-06 | -3.9935e-06 | 0.89611 | 30.9493 | 0.00013646
NA2006#118 | 327 | 2007-01-17 14:39 | 24C | 0.92674 | 2.876e-06 | -4.0531e-06 | 0.92674 | 32.1355 | 0.00011277
NA2006#119 | 328 | 2007-01-17 14:44 | 24C | 0.92405 | 3.9285e-06 | -4.0531e-06 | 0.92404 | 32.0308 | 0.00015264
NA2006#120 | 329 | 2007-01-17 14:49 | 24C | 0.92398 | 3.2861e-06 | -3.9339e-06 | 0.92397 | 32.028 | 0.0001271
NA2006#121 | 330 | 2007-01-17 14:52 | 24C | 0.924 | 5.1613e-06 | -4.0531e-06 | 0.92399 | 32.0289 | 0.00020081
NA2006#122 | 331 | 2007-01-17 14:56 | 24C | 0.92453 | 2.8513e-06 | -4.0531e-06 | 0.92453 | 32.0496 | 0.00010958
NA2006#123 | 332 | 2007-01-17 14:57 | 24C | 0.92466 | 3.3368e-06 | -3.9935e-06 | 0.92466 | 32.0546 | 0.00013028
NA2006#124 | 333 | 2007-01-17 14:59 | 24C | 0.92417 | 2.649e-06 | -3.9339e-06 | 0.92417 | 32.0357 | 0.00010256
NA2006#125 | 334 | 2007-01-17 15:01 | 24C | 0.92394 | 1.3716e-06 | -4.0531e-06 | 0.92394 | 32.0268 | 5.329e-05
NA2006#126 | 335 | 2007-01-17 15:03 | 24C | 0.924 | 3.8707e-06 | -4.0531e-06 | 0.924 | 32.0289 | 0.00015095
NA2006#127 | 336 | 2007-01-17 15:05 | 24C | 0.92748 | 2.5029e-06 | -4.0531e-06 | 0.92747 | 32.164 | 9.7281e-05
NA2006#128 | 337 | 2007-01-17 15:07 | 24C | 0.92197 | 2.6647e-06 | -4.0531e-06 | 0.92197 | 31.9503 | 0.00010353
NA2006#129 | 338 | 2007-01-17 15:09 | 24C | 0.93095 | 2.6058e-06 | -4.0531e-06 | 0.93094 | 32.2988 | 0.00010262
NA2006#130 | 339 | 2007-01-17 15:11 | 24C | 0.93735 | 4.0089e-06 | -4.0531e-06 | 0.93734 | 32.5478 | 0.00015611
NA2006#131 | 340 | 2007-01-17 15:13 | 24C | 0.93465 | 3.1666e-06 | -4.0531e-06 | 0.93465 | 32.4429 | 0.00012247
NA2006#132 | 341 | 2007-01-17 15:15 | 24C | 0.93116 | 2.6477e-06 | -4.0531e-06 | 0.93116 | 32.3071 | 0.00010352
NA2006#133 | 342 | 2007-01-17 15:18 | 24C | 0.93161 | 4.63e-06 | -3.9935e-06 | 0.93161 | 32.3247 | 0.00017891
NA2006#134 | 343 | 2007-01-17 15:20 | 24C | 0.9324 | 4.0883e-06 | -3.9935e-06 | 0.9324 | 32.3553 | 0.00015949
NA2006#135 | 344 | 2007-01-17 15:22 | 24C | 0.92985 | 2.8768e-06 | -3.9935e-06 | 0.92984 | 32.2561 | 0.00011079
NA2006#136 | 345 | 2007-01-17 15:24 | 24C | 0.92986 | 4.8649e-06 | -3.9339e-06 | 0.92985 | 32.2565 | 0.00018961
NA2006#137 | 347 | 2007-01-17 15:26 | 24C | 0.93974 | 3.1772e-06 | -4.0531e-06 | 0.93973 | 32.6408 | 0.00012589
NA2006#138 | 348 | 2007-01-17 15:27 | 24C | 0.93869 | 2.907e-06 | -4.0531e-06 | 0.93869 | 32.6001 | 0.00011382
NA2006#139 | 349 | 2007-01-17 15:29 | 24C | 0.93632 | 3.6103e-06 | -3.9339e-06 | 0.93632 | 32.5078 | 0.00013925
NA2006#140 | 350 | 2007-01-17 15:31 | 24C | 0.9414 | 3.1168e-06 | -3.9935e-06 | 0.94139 | 32.7053 | 0.00012035
NA2006#141 | 351 | 2007-01-17 15:33 | 24C | 0.9391 | 4.1107e-06 | -3.9339e-06 | 0.9391 | 32.616 | 0.00015939
NA2006#142 | 352 | 2007-01-17 15:35 | 24C | 0.93828 | 2.3932e-06 | -4.0531e-06 | 0.93828 | 32.5842 | 9.1175e-05
NA2006#143 | 353 | 2007-01-17 15:37 | 24C | 0.94218 | 3.327e-06 | -4.0531e-06 | 0.94217 | 32.7358 | 0.00013159
NA2006#144 | 354 | 2007-01-17 15:39 | 24C | 0.93894 | 3.6107e-06 | -4.0531e-06 | 0.93893 | 32.6096 | 0.00014134
NA2006#145 | 355 | 2007-01-17 15:41 | 24C | 0.94333 | 2.3148e-06 | -3.9339e-06 | 0.94332 | 32.7806 | 8.9234e-05
NA2006#146 | 356 | 2007-01-17 15:43 | 24C | 0.94526 | 3.4835e-06 | -3.9339e-06 | 0.94526 | 32.8559 | 0.00013368
NA2006#147 | 357 | 2007-01-17 15:45 | 24C | 0.9464 | 2.6643e-06 | -4.0531e-06 | 0.9464 | 32.9004 | 0.00010357
NA2006#148 | 358 | 2007-01-17 15:47 | 24C | 0.93791 | 3.4835e-06 | -3.9339e-06 | 0.9379 | 32.5695 | 0.00013623
NA2006#149 | 359 | 2007-01-17 16:13 | 24C | 0.94333 | 3.9537e-06 | -3.9935e-06 | 0.94332 | 32.7806 | 0.00015481
NA2006#150 | 360 | 2007-01-17 16:15 | 24C | 0.9362 | 2.6643e-06 | -3.9339e-06 | 0.9362 | 32.5031 | 0.00010359
NA2006#151 | 361 | 2007-01-17 16:17 | 24C | 0.94522 | 3.2563e-06 | -3.9935e-06 | 0.94521 | 32.8542 | 0.00012756
NA2006#152 | 362 | 2007-01-17 16:19 | 24C | 0.92663 | 4.2983e-06 | -3.8743e-06 | 0.92662 | 32.1309 | 0.00016701
NA2006#153 | 363 | 2007-01-17 16:21 | 24C | 0.93511 | 3.3769e-06 | -3.9935e-06 | 0.9351 | 32.4605 | 0.00013094
NA2006#154 | 364 | 2007-01-17 16:23 | 24C | 0.91576 | 4.2686e-06 | -3.9935e-06 | 0.91576 | 31.7094 | 0.00016551
NA2006#155 | 365 | 2007-01-17 16:25 | 24C | 0.88167 | 3.7695e-06 | -3.9935e-06 | 0.88167 | 30.3922 | 0.00014473
NA2006#156 | 366 | 2007-01-17 16:27 | 24C | 0.90212 | 3.5335e-06 | -3.9339e-06 | 0.90212 | 31.1814 | 0.00013726
NA2006#157 | 367 | 2007-01-17 16:29 | 24C | 0.90167 | 3.5186e-06 | -3.9935e-06 | 0.90166 | 31.1637 | 0.0001364
NA2006#158 | 368 | 2007-01-17 16:31 | 24C | 0.9075 | 3.9008e-06 | -4.0531e-06 | 0.9075 | 31.3895 | 0.00015122
NA2006#159 | 369 | 2007-01-17 16:33 | 24C | 0.93464 | 3.3546e-06 | -3.9339e-06 | 0.93463 | 32.4423 | 0.0001321
NA2006#160 | 370 | 2007-01-17 16:36 | 24C | 0.94105 | 2.3153e-06 | -3.9339e-06 | 0.94105 | 32.692 | 9.0729e-05
NA2006#161 | 371 | 2007-01-17 16:38 | 24C | 0.93886 | 2.6639e-06 | -4.0531e-06 | 0.93886 | 32.6068 | 0.00010251
NA2006#162 | 372 | 2007-01-17 16:41 | 24C | 0.93896 | 2.6643e-06 | -3.9935e-06 | 0.93896 | 32.6106 | 0.00010352
NA2006#163 | 373 | 2007-01-17 16:44 | 24C | 0.93702 | 4.1236e-06 | -3.9339e-06 | 0.93702 | 32.535 | 0.00016194
NA2006#164 | 374 | 2007-01-17 16:46 | 24C | 0.94224 | 2.0451e-06 | -3.9935e-06 | 0.94224 | 32.7383 | 7.9562e-05
NA2006#165 | 375 | 2007-01-17 16:48 | 24C | 0.93488 | 2.3941e-06 | -3.9339e-06 | 0.93488 | 32.4519 | 9.3126e-05
NA2006#166 | 376 | 2007-01-17 16:50 | 24C | 0.92986 | 2.3152e-06 | -3.9339e-06 | 0.92985 | 32.2565 | 8.9958e-05
NA2006#167 | 377 | 2007-01-17 16:53 | 24C | 0.92177 | 2.3034e-06 | -4.0531e-06 | 0.92177 | 31.9424 | 8.9351e-05
NA2006#168 | 378 | 2007-01-17 16:55 | 24C | 0.90524 | 2.9545e-06 | -3.9339e-06 | 0.90523 | 31.3018 | 0.00011399
NA2006#169 | 379 | 2007-01-17 16:57 | 24C | 0.90513 | 2.8973e-06 | -4.0531e-06 | 0.90512 | 31.2976 | 0.00011369
NA2006#170 | 380 | 2007-01-17 17:00 | 24C | 0.92336 | 2.3152e-06 | -4.0531e-06 | 0.92336 | 32.0042 | 9.0729e-05
NA2006#171 | 381 | 2007-01-17 17:02 | 24C | 0.92902 | 2.7423e-06 | -3.9935e-06 | 0.92901 | 32.2238 | 0.00010447
NA2006#172 | 382 | 2007-01-17 17:05 | 24C | 0.93749 | 2.3153e-06 | -4.0531e-06 | 0.93748 | 32.5532 | 9.1147e-05
NA2006#173 | 383 | 2007-01-17 17:07 | 24C | 0.94511 | 4.1106e-06 | -3.9935e-06 | 0.9451 | 32.8499 | 0.0001588
NA2006#174 | 384 | 2007-01-17 17:09 | 24C | 0.93985 | 3.5186e-06 | -3.9935e-06 | 0.93984 | 32.645 | 0.00013724
NA2006#175 | 385 | 2007-01-17 17:12 | 24C | 0.93014 | 2.6643e-06 | -3.9339e-06 | 0.93014 | 32.2676 | 0.00010352
NA2006#176 |  | 2007-01-17 17:25 | 24C | 0.99978 | 3.8782e-06 | -3.9935e-06 | 0.99977 | 34.9911 | 0.00015256
NA2006#177 |  | 2007-01-17 17:27 | 24C | 0.99978 | 3.2563e-06 | -4.0531e-06 | 0.99977 | 34.9911 | 0.00012842