## final data
Cruise |  |  | 2006-08
Ship |  |  | Tully
Dates |  |  | January 30 - February 19, 2006
Chief Scientist |  |  | Marie Robert
Date | Time | Latitude | Longitude | Station | Cast | Niskin | Sample | NomDepth | Pres | DIC | DIC | ALK | ALK | Comments
| UTC |  |  |  | # | # | # | m | dbar | umol/kg | FLAG | umol/kg | FLAG
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 19 | 153 | 5 | 5.66 | 2029.6819 |  | 2188.1914
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 18 | 152 | 10 | 9.829 | 2026.7677
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 17 | 151 | 25 | 25.002 | 2026.1895 |  | 2173.5656
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 16 | 150 | 50 | 49.699 | 2029.5758 |  | 2172.3952
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 15 | 149 | 75 | 74.315 | 2036.0653 |  | 2189.6543
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 14 | 148 | 100 | 100.972 | 2186.0918 |  | 2237.1116
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 13 | 147 | 125 | 124.485 | 2209.6743 |  | 2245.9941
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 12 | 146 | 150 | 149.857 | 2226.0416 |  | 2252.8918
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 11 | 145 | 175 | 174.142 | 2222.9353 |  | 2257.1463
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 10 | 144 | 200 | 200.402 | 2229.6607 |  | 2269.4178
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 9 | 143 | 250 | 249.712 | 2254.3348 |  | 2267.4304
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 8 | 142 | 300 | 299.868 | 2256.4011 |  | 2279.157
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 7 | 141 | 400 | 400.504 | 2291.94 |  | 2284.2616
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 6 | 140 | 600 | 599.502 | 2337.5193 | f | 2322.0795 | f
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 5 | 139 | 600 | 599.955 | 2338.7383 |  | 2319.8798
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 4 | 138 | 800 | 799.265 | 2376.7699 |  | 2350.4444
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 3 | 137 | 1000 | 999.91 | 2388.535 |  | 2369.8948
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 2 | 136 | 1250 | 1251.034 | 2395.0341 |  | 2386.695
2006-02-06 | 2:40 | 48:39.11 N | 126:39.83 W | P4 | 26 | 1 | 135 | Bot-10 | 1291.349 | 2384.7974 |  | 2393.274
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 23 | 228 | 5 | 5.536 | 2010.4286 |  | 2187.8442
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 22 | 227 | 10 | 9.705 | 2014.8721 |  | 2202.7134
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 21 | 226 | 25 | 24.67 | 2013.2845 |  | 2187.103
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 20 | 225 | 50 | 50.674 | 2014.3902 |  | 2200.4877
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 19 | 224 | 75 | 75.895 | 2014.8943 |  | 2184.0521
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 18 | 223 | 100 | 100.708 | 2085.7022 |  | 2219.0959
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 17 | 222 | 125 | 124.983 | 2129.1078 |  | 2234.8354
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 16 | 221 | 150 | 150.537 | 2146.1431 |  | 2245.7954
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 15 | 220 | 175 | 175.478 | 2158.9918 |  | 2257.5867
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 14 | 219 | 200 | 203.701 | 2184.7001 |  | 2265.3249
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 13 | 218 | 250 | 249.995 | 2209.8286 |  | 2272.0318
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 12 | 217 | 300 | 299.089 | 2233.9932 |  | 2281.9585
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 11 | 216 | 400 | 400.351 | 2275.8766 |  | 2291.2382
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 10 | 215 | 600 | 600.942 | 2334.0153 |  | 2334.2025
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 9 | 214 | 800 | 800.031 | 2370.6023 |  | 2356.9086
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 8 | 213 | 1000 | 1001.053 | 2387.4464 |  | 2378.7896
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 7 | 212 | 1250 | 1250.852 | 2394.0128 |  | 2394.3925
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 6 | 211 | 1500 | 1500.789 | 2390.9723 |  | 2407.4544
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 5 | 210 | 1500 | 1499.857 | 2391.3847 | f | 2405.1636 | f
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 4 | 209 | 2000 | 2001.105 | 2387.8324 |  | 2418.4916
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 3 | 208 | 2500 | 2500.33 | 2378.5679 |  | 2422.3339
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 2 | 207 | 3000 | 2996.708 | 2359.3053 |  | 2429.4292
2006-02-07 | 22:02 | 48:57.70 N | 130:40.73 W | P12 | 39 | 1 | 206 | Bot-10 | 3003.28 | 2354.1225 |  | 2432.6025
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 24 | 253 | 5 | 4.993 | 2031.9661 |  | 2180.6388
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 23 | 252 | 10 | 9.987 | 2032.324 |  | 2190.2818
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 22 | 251 | 25 | 24.108 | 2031.5533 |  | 2184.7296
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 21 | 250 | 50 | 48.846 | 2023.7755 |  | 2183.8464
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 20 | 249 | 75 | 73.879 | 2032.324 |  | 2198.9187
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 19 | 248 | 100 | 100.769 | 2070.6139 |  | 2198.1148
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 18 | 247 | 125 | 124.593 | 2160.6781 |  | 2234.6035
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 17 | 246 | 150 | 151.797 | 2169.5772 |  | 2255.3593
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 16 | 245 | 175 | 175.176 | 2201.173 |  | 2268.193
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 15 | 244 | 200 | 199.895 | 2206.1314 |  | 2274.1458
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 14 | 243 | 250 | 249.001 | 2249.4887 |  | 2280.437
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 13 | 242 | 300 | 303.456 | 2283.9799 |  | 2297.1368
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 12 | 241 | 400 | 399.736 | 2305.5774 |  | 2309.0901
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 11 | 240 | 600 | 601.041 | 2340.8954 |  | 2345.9765
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 10 | 239 | 800 | 798.848 | 2365.5015 |  | 2355.224
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 9 | 238 | 1000 | 999.522 | 2380.4068 |  | 2381.7371
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 8 | 237 | 1250 | 1253.065 | 2383.7902 |  | 2390.6614
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 7 | 236 | 1500 | 1499.191 | 2391.8569 |  | 2413.9955
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 6 | 235 | 2000 | 1999.893 | 2385.7423 | fc | 2420.6999 | f | large difference in DIC between duplicate sample depths
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 5 | 234 | 2000 | 2000.088 | 2387.4838 | c | 2418.1711 |  | large difference in DIC between duplicate sample depths
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 4 | 233 | 2500 | 2499.791 | 2378.7335 |  | 2424.0064
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 3 | 232 | 3000 | 3000.843 | 2356.2453 |  | 2430.243
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 2 | 231 | 3500 | 3501.678 | 2360.1923 |  | 2433.0008
09/02/2006 | 6:29 | 49:16.97 N | 134:40.01 W | P16 | 44 | 1 | 230 | Bot-10 | 3676.09 | 2364.691 |  | 2431.9804
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 24 | 303 | 5 | 4.29 | 2020.8035 |  | 2185.1985
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 23 | 302 | 10 | 9.788 | 2022.4081 |  | 2195.1866
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 22 | 301 | 25 | 23.878 | 2023.4278 |  | 2203.0935
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 21 | 300 | 50 | 49.149 | 2027.6109 |  | 2190.0511
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 20 | 299 | 75 | 74.507 | 2021.0574 |  | 2185.7536
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 19 | 298 | 100 | 100.417 | 2021.4203 |  | 2188.5868
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 18 | 297 | 125 | 122.927 | 2046.2674 |  | 2193.0116
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 17 | 296 | 150 | 149.108 | 2127.6034 |  | 2245.8116
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 16 | 295 | 175 | 174.045 | 2177.0943 |  | 2270.5694 | c | Alk low in comparison to historical data
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 15 | 294 | 200 | 201.424 | 2210.3999 |  | 2269.284 | c | Alk low in comparison to historical data
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 14 | 293 | 250 | 248.697 | 2239.8579 |  | 2257.2313 | c | Alk low in comparison to historical data
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 13 | 292 | 300 | 299.732 | 2269.5365 |  | 2268.3955 | c | Alk low in comparison to historical data
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 12 | 291 | 400 | 400.576 | 2304.015 |  | 2284.5751
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 11 | 290 | 600 | 598.235 | 2329.6508 |  | 2318.5803
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 10 | 289 | 800 | 800.825 | 2354.2986 |  | 2358.1845
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 9 | 288 | 1000 | 1000.657 | 2383.9644 |  | 2373.4981
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 8 | 287 | 1250 | 1250.086 | 2390.0866 |  | 2394.9476
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 7 | 286 | 1500 | 1500.166 | 2387.3054 |  | 2414.8624
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 6 | 285 | 2000 | 2001.618 | 2389.23 |  | 2417.7315
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 5 | 284 | 2000 | 2000.683 | 2390.2925 |  | 2416.9497
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 4 | 283 | 2500 | 2500.213 | 2377.4676 |  | 2424.4646
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 3 | 282 | 3000 | 3000.355 | 2359.7428 |  | 2421.5041
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 2 | 281 | 3500 | 3500.303 | 2357.2978 |  | 2432.7405
10/02/2006 | 21:29 | 49:33.99 N | 138:38.87 W | P20 | 52 | 1 | 280 | Bot-10 | 4020.415 | 2346.5612 |  | 2432.3628
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 24 | 346 | 5 | 4.102 | 2045.469 |  | 2193.0316
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 23 | 345 | 10 | 9.967 | 2041.1755 |  | 2190.1527
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 22 | 344 | 25 | 24.49 | 2045.3038 |  | 2188.8331
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 21 | 343 | 50 | 52.213 | 2027.2098 |  | 2196.9737
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 20 | 342 | 75 | 73.502 | 2030.7594 |  | 2194.1204
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 19 | 341 | 100 | 98.171 | 2117.3346 |  | 2191.9779
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 18 | 340 | 125 | 124.783 | 2176.1152 |  | 2225.8439
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 17 | 339 | 150 | 151.013 | 2208.7571 |  | 2253.2945
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 16 | 338 | 175 | 175.234 | 2256.3049 |  | 2266.9863
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 15 | 337 | 200 | 199.76 | 2016.848 | d | 2204.5774 | d | misfire: looks like mixture of waters from above 125m
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 14 | 336 | 250 | 249.502 | 2280.0671 |  | 2278.2735
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 13 | 335 | 300 | 299.179 | 2280.4422 |  | 2295.6454
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 12 | 334 | 400 | 401.424 | 2306.0161 |  | 2308.8115
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 11 | 333 | 600 | 598.845 | 2335.7707 |  | 2337.9108
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 10 | 332 | 800 | 799.477 | 2363.2009 |  | 2371.0708
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 9 | 331 | 1000 | 997.999 | 2383.1989 |  | 2377.7414
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 8 | 330 | 1250 | 1246.426 | 2396.0765 |  | 2390.1176
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 7 | 329 | 1500 | 1498.256 | 2385.0781 |  | 2405.0097
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 6 | 328 | 2000 | 1998.035 | 2384.6631 |  | 2423.3016
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 5 | 327 | 2500 | 2500.439 | 2379.2857 |  | 2423.2205
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 4 | 326 | 3000 | 2998.88 | 2361.1323 |  | 2427.9229
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 3 | 325 | 3500 | 3500.008 | 2357.1456 |  | 2435.3804
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 2 | 324 | 4000 | 4000.157 | 2345.9256 |  | 2431.8113
13/02/2006 | 21:17 | 50:00.29 N | 145:00.50 W | P26 | 56 | 1 | 323 | Bot-10 | 4316.657 | 2339.9036 |  | 2437.9484
15/02/2006 | 11:57 | 55:29.99 N | 141:00.02 W | Argo 2 | 59 | 5 | 364 | 2000 | 1999.958 | 2378.8994 | f | 2419.4475
15/02/2006 | 11:57 | 55:29.99 N | 141:00.02 W | Argo 2 | 59 | 4 | 363 | 2000 | 2002.258 | 2379.3937 | f | 2413.6998
15/02/2006 | 11:57 | 55:29.99 N | 141:00.02 W | Argo 2 | 59 | 3 | 362 | 2000 | 2000.894 | 2378.698 | fc | 2418.3516 |  | large difference in DIC between duplicate samples
15/02/2006 | 11:57 | 55:29.99 N | 141:00.02 W | Argo 2 | 59 | 2 | 361 | 2000 | 1998.512 | 2379.0276 | f | 2417.6289
15/02/2006 | 11:57 | 55:29.99 N | 141:00.02 W | Argo 2 | 59 | 1 | 360 | 2000 | 1999.879 | 2378.2312 | f | 2416.4363

## meta data
cruise |  | 2006-08
ship |  | Tully
dates |  | January 30 - February 19, 2006
Chief Scientist |  | Marie Robert
Carbon sampling |  | Marty Davelaar
Reference: |  | Miller, L.A., Davelaar, M., and Linguanti, J., 2007. Line P Inorganic Carbon Data Set, Cruise 2006-08, February 2006. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
Samples were collected in 500ml bottles, to which 100 microlitres of HgCl2 was added.
Alkalinity and DIC samples were taken from the same bottle.
flags
c = suspect sample
d = bad sample, misfire
f = mean of duplicate samples
Total dissolved inorganic carbon
technique for standardization |  |  | Na2CO3
sample volume |  |  | see raw data
Standards used:
Dickson CRM |  |  | 73
certified value |  |  | 2057.30+/-0.45
IOS standards |  |  | IOS10 | IOS13
calibrated values |  |  | 2486.12 | 2088.345
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Replicate Analyses
| A | B | C |  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg |  | umol/kg |  |  | difference
140 | 2337.3407 | 2337.6978 |  |  | 2337.5193 |  | -0.35713 | 0.35713
210 | 2391.0825 | 2391.6869 |  |  | 2391.3847 |  | -0.60441 | 0.60441
235 | 2386.0963 | 2385.3884 |  |  | 2385.7423 |  | 0.70793 | 0.70793
360 | 2377.9749 | 2377.8925 | 2378.8262 |  | 2378.2312 | 0.51693
361 | 2379.0459 | 2379.0734 | 2378.9635 |  | 2379.0276 | 0.057166
362 | 2379.1283 | 2379.1832 | 2377.7826 |  | 2378.698 | 0.79323
363 | 2379.2656 | 2379.7599 | 2379.1557 |  | 2379.3937 | 0.32182
364 | 2378.991 | 2378.2495 | 2379.4578 |  | 2378.8994 | 0.60934
average variability: | [8 empty] | 0.496
standard deviation of variability: | [8 empty] | 0.23919
Replicate Samples
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg |  |  | difference
139 | 2338.7383
140 | 2337.5193
|  | 2338.1288 |  | -1.219 | 1.219
210 | 2391.3847
211 | 2390.9723
|  | 2391.1785 |  | -0.41234 | 0.41234
234 | 2387.4838
235 | 2385.7423
|  | 2386.6131 |  | -1.7415 | 1.7415
284 | 2390.2925
285 | 2389.23
|  | 2389.7613 |  | -1.0624 | 1.0624
360 | 2378.2312
361 | 2379.0276
362 | 2378.698
363 | 2379.3937
364 | 2378.8994
|  | 2378.85 | 0.42885
average variability: | [5 empty] | 0.97283
standard deviation of variability: | [5 empty] | 0.56338
Precision estimate: |  | 0.97 | umol/kg
Total Alkalinity
Type of titration |  |  | Open cell
Endpoint determination |  |  | Gran plot
Standards used:
Dickson CRM |  |  | 73
certified value |  |  | 2253.50+/-0.84
IOS standard |  |  | IOS13
calibrated value |  |  | 2280.33
Acid batch |  |  | 5
acid concentration |  |  | 0.09987
sample mass |  |  | 70-80 grams
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Replicate Analyses
| A | B | C |  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg |  | umol/kg |  |  | difference
140 | 2320.9607 | 2323.1983 |  |  | 2322.0795 |  | -2.2376 | 2.2376
210 | 2404.7153 | 2405.612 |  |  | 2405.1636 |  | -0.89666 | 0.89666
235 | 2420.7204 | 2420.6794 |  |  | 2420.6999 |  | 0.041011 | 0.041011
360 | 2421.0535 | 2416.4176 | 2411.8379 |  | 2416.4363 | 4.6078
361 | 2420.9714 | 2414.3555 | 2417.5598 |  | 2417.6289 | 3.3085
362 | 2419.7451 | 2422.551 | 2412.7588 |  | 2418.3516 | 5.0426
363 | 2417.0363 | 2409.1311 | 2414.9321 |  | 2413.6998 | 4.0941
364 | 2415.9171 | 2423.1366 | 2419.2886 |  | 2419.4475 | 3.6124
average variability: | [8 empty] | 2.9801
standard deviation of variability: | [8 empty] | 1.7801
Replicate Samples
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg |  |  | difference
139 | 2319.8798
140 | 2322.0795
|  | 2320.9796 |  | 2.1997 | 2.1997
210 | 2405.1636
211 | 2407.4544
|  | 2406.309 |  | 2.2908 | 2.2908
234 | 2418.1711
235 | 2420.6999
|  | 2419.4355 |  | 2.5287 | 2.5287
284 | 2416.9497
285 | 2417.7315
|  | 2417.3406 |  | 0.78185 | 0.78185
360 | 2416.4363
361 | 2417.6289
362 | 2418.3516
363 | 2413.6998
364 | 2419.4475
|  | 2417.1128 | 2.1999
average variability: | [5 empty] | 2.0002
standard deviation of variability: | [5 empty] | 0.69423
Precision estimate: |  | 3 | umol/kg

## raw data
DIC | [11 empty] | Alkalinity
sample | Date | Time | salinity | density | pipette vol. | ugC | uncorr. | standard | cert std | meas std | corrected | sample | Date | Time | Enot | RMS | uncorr. | standard | cert std | meas std | corrected
id | analysis | analysis |  |  | ml |  | umol/kg | ID | umol/kg | umol/kg | umol/kg | id | analysis | analysis |  |  | umol/kg | ID | umol/kg | umol/kg | umol/kg
[15 empty] | 353.0115 | 0.81374
[15 empty] | 1.8127 | 0.28004
299 | 2006-04-09 | 1206 | 34.28 | 1.0242 | 28.81 | 735.36 | 2021.0776 | CRM 73 | 2057.3 | 2057.732 | 2021.0574 | 302 | 2006-04-11 | 831 | 351.5 | 1.1 | 2193.277 | CRM 73 | 2253.5 | 2251.99 | 2195.1866
298 | 2006-04-09 | 1234 | 32.504 | 1.0229 | 28.81 | 734.52 | 2021.4405 | CRM 73 | 2057.3 | 2057.732 | 2021.4203 | 294 | 2006-04-11 | 1035 | 351.6 | 1 | 2267.31 | CRM 73 | 2253.5 | 2251.99 | 2269.284
302 | 2006-04-09 | 1301 | 32.506 | 1.0229 | 28.81 | 734.88 | 2022.4283 | CRM 73 | 2057.3 | 2057.732 | 2022.4081 | 300 | 2006-04-11 | 1136 | 354.9 | 1.3 | 2188.146 | CRM 73 | 2253.5 | 2251.99 | 2190.0511
294 | 2006-04-09 | 1329 | 33.742 | 1.0238 | 28.81 | 803.93 | 2210.422 | CRM 73 | 2057.3 | 2057.732 | 2210.3999 | 215 | 2006-04-11 | 1149 | 353.3 | 0.9 | 2332.172 | CRM 73 | 2253.5 | 2251.99 | 2334.2025
295 | 2006-04-09 | 1359 | 33.629 | 1.0237 | 28.81 | 791.75 | 2177.116 | CRM 73 | 2057.3 | 2057.732 | 2177.0943 | 301 | 2006-04-11 | 1201 | 354.4 | 1 | 2201.177 | CRM 73 | 2253.5 | 2251.99 | 2203.0935
300 | 2006-04-09 | 1425 | 32.505 | 1.0229 | 28.81 | 736.77 | 2027.6311 | CRM 73 | 2057.3 | 2057.732 | 2027.6109 | 298 | 2006-04-11 | 1227 | 353.9 | 0.6 | 2186.683 | CRM 73 | 2253.5 | 2251.99 | 2188.5868
296 | 2006-04-09 | 1459 | 33.366 | 1.0235 | 28.81 | 773.6 | 2127.6246 | CRM 73 | 2057.3 | 2057.732 | 2127.6034 | 296 | 2006-04-11 | 1239 | 354 | 1 | 2243.858 | CRM 73 | 2253.5 | 2251.99 | 2245.8116
301 | 2006-04-09 | 1526 | 32.505 | 1.0229 | 28.81 | 735.25 | 2023.448 | CRM 73 | 2057.3 | 2057.732 | 2023.4278 | 295 | 2006-04-12 | 418 | 353.8 | 0.6 | 2269.934 | CRM 73 | 2253.5 | 2253.32 | 2270.5694
303 | 2006-04-09 | 1551 | 32.505 | 1.0231 | 28.81 | 734.42 | 2020.8236 | CRM 73 | 2057.3 | 2057.732 | 2020.8035 | 303 | 2006-04-12 | 500 | 353.1 | 0.1 | 2184.587 | CRM 73 | 2253.5 | 2253.32 | 2185.1985
297 | 2006-04-09 | 1615 | 32.731 | 1.0241 | 28.81 | 744.46 | 2046.2878 | CRM 73 | 2057.3 | 2057.732 | 2046.2674 | 297 | 2006-04-12 | 513 | 353.3 | 0.9 | 2192.398 | CRM 73 | 2253.5 | 2253.32 | 2193.0116
215 | 2006-04-09 | 1704 | 34.149 | 1.0238 | 28.81 | 824 | 2334.0386 | CRM 73 | 2057.3 | 2057.732 | 2334.0153 | 226 | 2006-04-12 | 603 | 352.2 | 0.8 | 2186.491 | CRM 73 | 2253.5 | 2253.32 | 2187.103
221 | 2006-04-09 | 1735 | 33.732 | 1.0244 | 28.81 | 758.12 | 2146.1645 | CRM 73 | 2057.3 | 2057.732 | 2146.1431 | 227 | 2006-04-12 | 616 | 352.2 | 0.7 | 2202.097 | CRM 73 | 2253.5 | 2253.32 | 2202.7134
228 | 2006-04-10 | 901 | 32.394 | 1.0228 | 28.81 | 709.14 | 2010.692 | CRM 73 | 2057.3 | 2057.981 | 2010.4286 | 232 | 2006-04-12 | 649 | 352.5 | 0.4 | 2429.563 | CRM 73 | 2253.5 | 2253.32 | 2430.243
232 | 2006-04-10 | 932 | 34.654 | 1.0245 | 28.81 | 832.52 | 2356.5539 | CRM 73 | 2057.3 | 2057.981 | 2356.2453 | 221 | 2006-04-12 | 702 | 353.3 | 0.6 | 2245.167 | CRM 73 | 2253.5 | 2253.32 | 2245.7954
227 | 2006-04-10 | 1011 | 32.399 | 1.0228 | 28.81 | 710.71 | 2015.136 | CRM 73 | 2057.3 | 2057.981 | 2014.8721 | 225 | 2006-04-12 | 714 | 351.6 | 0.8 | 2199.872 | CRM 73 | 2253.5 | 2253.32 | 2200.4877
226 | 2006-04-10 | 1040 | 32.399 | 1.0228 | 28.81 | 710.15 | 2013.5482 | CRM 73 | 2057.3 | 2057.981 | 2013.2845 | 224 | 2006-04-12 | 728 | 352.3 | 1.2 | 2183.441 | CRM 73 | 2253.5 | 2253.32 | 2184.0521
225 | 2006-04-10 | 1116 | 32.399 | 1.0228 | 28.81 | 710.54 | 2014.654 | CRM 73 | 2057.3 | 2057.981 | 2014.3902 | 218 | 2006-04-12 | 757 | 352.7 | 0.7 | 2271.396 | CRM 73 | 2253.5 | 2253.32 | 2272.0318
224 | 2006-04-10 | 1143 | 32.422 | 1.0228 | 28.81 | 710.73 | 2015.1582 | CRM 73 | 2057.3 | 2057.981 | 2014.8943 | 223 | 2006-04-12 | 821 | 353.3 | 0.7 | 2218.475 | CRM 73 | 2253.5 | 2253.32 | 2219.0959
218 | 2006-04-10 | 1211 | 33.867 | 1.0239 | 28.81 | 780.33 | 2210.1181 | CRM 73 | 2057.3 | 2057.981 | 2209.8286 | 228 | 2006-04-12 | 835 | 353.7 | 0.8 | 2187.232 | CRM 73 | 2253.5 | 2253.32 | 2187.8442
223 | 2006-04-10 | 1242 | 33.012 | 1.0233 | 28.81 | 736.03 | 2085.9754 | CRM 73 | 2057.3 | 2057.981 | 2085.7022 | 217 | 2006-04-12 | 848 | 353.1 | 0.3 | 2281.32 | CRM 73 | 2253.5 | 2253.32 | 2281.9585
217 | 2006-04-10 | 1314 | 33.879 | 1.0239 | 28.81 | 788.87 | 2234.2858 | CRM 73 | 2057.3 | 2057.981 | 2233.9932 | 220 | 2006-04-12 | 949 | 352.7 | 0.5 | 2256.955 | CRM 73 | 2253.5 | 2253.32 | 2257.5867
219 | 2006-04-10 | 1342 | 33.838 | 1.0239 | 28.81 | 771.44 | 2184.9862 | CRM 73 | 2057.3 | 2057.981 | 2184.7001 | 222 | 2006-04-12 | 1039 | 341.9 | 1.4 | 2234.21 | CRM 73 | 2253.5 | 2253.32 | 2234.8354
220 | 2006-04-10 | 1414 | 33.799 | 1.0239 | 28.81 | 762.34 | 2159.2746 | CRM 73 | 2057.3 | 2057.981 | 2158.9918 | 299 | 2006-04-12 | 1052 | 355.1 | 0.8 | 2185.142 | CRM 73 | 2253.5 | 2253.32 | 2185.7536
222 | 2006-04-10 | 1440 | 33.481 | 1.0236 | 28.81 | 751.61 | 2129.3867 | CRM 73 | 2057.3 | 2057.981 | 2129.1078 | 219 | 2006-04-12 | 1120 | 354.4 | 0.7 | 2264.691 | CRM 73 | 2253.5 | 2253.32 | 2265.3249
237 | 2006-04-10 | 1512 | 34.443 | 1.0244 | 28.81 | 842.12 | 2384.1024 | CRM 73 | 2057.3 | 2057.981 | 2383.7902 | 236 | 2006-04-12 | 1235 | 356.4 | 0.8 | 2413.32 | CRM 73 | 2253.5 | 2253.32 | 2413.9955
236 | 2006-04-10 | 1541 | 34.507 | 1.0244 | 28.81 | 845.01 | 2392.1702 | CRM 73 | 2057.3 | 2057.981 | 2391.8569 | 216 | 2006-04-14 | 538 | 357.7 | 0.3 | 2292.684 | CRM 73 | 2253.5 | 2255.373 | 2291.2382
233 | 2006-04-10 | 1607 | 34.629 | 1.0245 | 28.81 | 840.45 | 2379.0451 | CRM 73 | 2057.3 | 2057.981 | 2378.7335 | 237 | 2006-04-14 | 630 | 357.4 | 0.7 | 2392.17 | CRM 73 | 2253.5 | 2255.373 | 2390.6614
216 | 2006-04-10 | 1639 | 33.946 | 1.024 | 28.81 | 803.7 | 2276.1747 | CRM 73 | 2057.3 | 2057.981 | 2275.8766 | 233 | 2006-04-14 | 700 | 357.3 | 0.4 | 2425.536 | CRM 73 | 2253.5 | 2255.373 | 2424.0064
234 | 2006-04-13 | 932 | 34.59 | 1.0245 | 28.81 | 843.12 | 2386.6723 | CRM 73 | 2057.3 | 2057.012 | 2387.4838 | 238 | 2006-04-14 | 1109 | 355.2 | 0.5 | 2383.24 | CRM 73 | 2253.5 | 2255.373 | 2381.7371
241 | 2006-04-13 | 1026 | 33.987 | 1.024 | 28.81 | 813.83 | 2304.7937 | CRM 73 | 2057.3 | 2057.012 | 2305.5774 | 150 | 2006-04-14 | 1127 | 356.5 | 0.5 | 2173.766 | CRM 73 | 2253.5 | 2255.373 | 2172.3952
238 | 2006-04-13 | 1054 | 34.365 | 1.0243 | 28.81 | 840.48 | 2379.5976 | CRM 73 | 2057.3 | 2057.012 | 2380.4068 | 149 | 2006-04-14 | 1142 | 356.9 | 0.7 | 2191.036 | CRM 73 | 2253.5 | 2255.373 | 2189.6543
240 | 2006-04-13 | 1120 | 34.155 | 1.0241 | 28.81 | 826.4 | 2340.0997 | CRM 73 | 2057.3 | 2057.012 | 2340.8954 | 243 | 2006-04-14 | 1155 | 356.9 | 0.5 | 2281.876 | CRM 73 | 2253.5 | 2255.373 | 2280.437
242 | 2006-04-13 | 1156 | 33.893 | 1.0239 | 28.81 | 806.15 | 2283.2035 | CRM 73 | 2057.3 | 2057.012 | 2283.9799 | 241 | 2006-04-18 | 905 | 355.6 | 0.9 | 2308.444 | CRM 73 | 2253.5 | 2253.32 | 2309.0901
235b | 2006-04-13 | 1225 | 34.59 | 1.0245 | 28.81 | 842.38 | 2384.5775 | CRM 73 | 2057.3 | 2057.012 | 2385.3884 | 235b | 2006-04-18 | 1005 | 355 | 0.5 | 2420.002 | CRM 73 | 2253.5 | 2253.32 | 2420.6794
243 | 2006-04-13 | 1256 | 33.832 | 1.0239 | 28.81 | 793.94 | 2248.7241 | CRM 73 | 2057.3 | 2057.012 | 2249.4887 | 235a | 2006-04-18 | 1012 | 355.6 | 0.8 | 2420.043 | CRM 73 | 2253.5 | 2253.32 | 2420.7204
239 | 2006-04-13 | 1323 | 34.273 | 1.0242 | 28.81 | 835.16 | 2364.6974 | CRM 73 | 2057.3 | 2057.012 | 2365.5015 | 240 | 2006-04-18 | 1045 | 355.9 | 0.8 | 2345.32 | CRM 73 | 2253.5 | 2253.32 | 2345.9765
235a | 2006-04-13 | 1419 | 34.59 | 1.0245 | 28.81 | 842.63 | 2385.2852 | CRM 73 | 2057.3 | 2057.012 | 2386.0963 | 239 | 2006-04-18 | 1055 | 355.9 | 0.6 | 2354.565 | CRM 73 | 2253.5 | 2253.32 | 2355.224
230 | 2006-04-13 | 1453 | 34.669 | 1.0245 | 28.81 | 835.12 | 2363.8872 | CRM 73 | 2057.3 | 2057.012 | 2364.691 | 242 | 2006-04-18 | 1131 | 356.6 | 0.4 | 2296.494 | CRM 73 | 2253.5 | 2253.32 | 2297.1368
231 | 2006-04-13 | 1522 | 34.667 | 1.0245 | 28.81 | 833.53 | 2359.39 | CRM 73 | 2057.3 | 2057.012 | 2360.1923 | 231 | 2006-04-18 | 1218 | 355.3 | 0.6 | 2432.32 | CRM 73 | 2253.5 | 2253.32 | 2433.0008
150 | 2006-04-13 | 1547 | 32.476 | 1.0229 | 28.81 | 737.21 | 2028.8859 | CRM 73 | 2057.3 | 2057.012 | 2029.5758 | 139 | 2006-06-28 | 619 | 351 | 1 | 2322.339 | CRM 73 | 2253.5 | 2256.34 | 2319.8798
149 | 2006-04-13 | 1617 | 32.59 | 1.023 | 28.81 | 739.63 | 2035.3732 | CRM 73 | 2057.3 | 2057.012 | 2036.0653 | 136 | 2006-06-28 | 631 | 350.9 | 0.7 | 2389.225 | CRM 73 | 2253.5 | 2256.34 | 2386.695
152 | 2006-04-13 | 1640 | 32.476 | 1.0229 | 28.81 | 736.19 | 2026.0787 | CRM 73 | 2057.3 | 2057.012 | 2026.7677 | 138 | 2006-06-28 | 712 | 351.2 | 0.9 | 2352.936 | CRM 73 | 2253.5 | 2256.34 | 2350.4444
151 | 2006-04-13 | 1710 | 32.476 | 1.0229 | 28.81 | 735.98 | 2025.5008 | CRM 73 | 2057.3 | 2057.012 | 2026.1895 | 140b | 2006-06-28 | 827 | 351.3 | 1.3 | 2325.661 | CRM 73 | 2253.5 | 2256.34 | 2323.1983
209 | 2006-04-30 | 642 | 34.5944 | 1.0245 | 29.68 | 869.26 | 2388.5361 | IOS10 | 2486.12 | 2487.35 | 2387.8324 | 145 | 2006-06-28 | 857 | 351.6 | 1 | 2259.539 | CRM 73 | 2253.5 | 2256.34 | 2257.1463
210a | 2006-04-30 | 940 | 34.51 | 1.0244 | 29.68 | 870.39 | 2391.7871 | IOS10 | 2486.12 | 2487.35 | 2391.0825 | 140a | 2006-06-28 | 925 | 351.3 | 1.1 | 2323.421 | CRM 73 | 2253.5 | 2256.34 | 2320.9607
210b | 2006-06-27 | 553 | 34.51 | 1.0244 | 29.68 | 870.26 | 2391.4299 | IOS10 | 2486.12 | 2486.35 | 2391.6869 | 135 | 2006-06-28 | 953 | 350.8 | 0.8 | 2395.811 | CRM 73 | 2253.5 | 2256.34 | 2393.274
249 | 2006-06-27 | 942 | 32.458 | 1.0229 | 29.68 | 738.37 | 2032.1056 | IOS10 | 2486.12 | 2486.35 | 2032.324 | 137 | 2006-06-28 | 1022 | 351.6 | 0.9 | 2372.407 | CRM 73 | 2253.5 | 2256.34 | 2369.8948
245 | 2006-06-27 | 1033 | 33.725 | 1.0238 | 29.68 | 800.47 | 2200.9365 | IOS10 | 2486.12 | 2486.35 | 2201.173 | 147 | 2006-06-28 | 1048 | 351.1 | 1.1 | 2248.375 | CRM 73 | 2253.5 | 2256.34 | 2245.9941
344 | 2006-06-27 | 1111 | 32.556 | 1.0229 | 29.68 | 743.14 | 2045.084 | IOS10 | 2486.12 | 2486.35 | 2045.3038 | 141 | 2006-06-28 | 1100 | 351.3 | 0.8 | 2286.683 | CRM 73 | 2253.5 | 2256.34 | 2284.2616
252 | 2006-06-27 | 1137 | 32.458 | 1.0229 | 29.68 | 738.37 | 2032.1056 | IOS10 | 2486.12 | 2486.35 | 2032.324 | 146 | 2006-06-28 | 1112 | 351.1 | 1.4 | 2255.28 | CRM 73 | 2253.5 | 2256.34 | 2252.8918
251 | 2006-06-27 | 1208 | 32.458 | 1.0229 | 29.68 | 738.09 | 2031.335 | IOS10 | 2486.12 | 2486.35 | 2031.5533 | 142 | 2006-06-28 | 1127 | 351.3 | 0.9 | 2281.573 | CRM 73 | 2253.5 | 2256.34 | 2279.157
247 | 2006-06-27 | 1237 | 33.428 | 1.0236 | 29.68 | 785.57 | 2160.4459 | IOS10 | 2486.12 | 2486.35 | 2160.6781 | 148 | 2006-06-28 | 1204 | 351.3 | 1 | 2239.483 | CRM 73 | 2253.5 | 2256.34 | 2237.1116
345 | 2006-06-27 | 1305 | 32.556 | 1.0229 | 29.68 | 741.64 | 2040.9561 | IOS10 | 2486.12 | 2486.35 | 2041.1755 | 143 | 2006-06-28 | 1216 | 352.2 | 1.2 | 2269.834 | CRM 73 | 2253.5 | 2256.34 | 2267.4304
248 | 2006-06-27 | 1336 | 32.777 | 1.0231 | 29.68 | 752.46 | 2070.3914 | IOS10 | 2486.12 | 2486.35 | 2070.6139 | 364a | 2006-06-29 | 419 | 351.2 | 0.6 | 2413.405 | CRM 73 | 2253.5 | 2251.607 | 2415.9171
346 | 2006-06-27 | 1403 | 32.556 | 1.0229 | 29.68 | 743.2 | 2045.2492 | IOS10 | 2486.12 | 2486.35 | 2045.469 | 364b | 2006-06-29 | 516 | 351.2 | 1.1 | 2420.617 | CRM 73 | 2253.5 | 2251.607 | 2423.1366
253 | 2006-06-27 | 1431 | 32.458 | 1.0229 | 29.68 | 738.24 | 2031.7478 | IOS10 | 2486.12 | 2486.35 | 2031.9661 | 364c | 2006-06-29 | 541 | 352.1 | 0.7 | 2416.773 | CRM 73 | 2253.5 | 2251.607 | 2419.2886
153 | 2006-06-27 | 1458 | 32.476 | 1.0229 | 29.68 | 737.42 | 2029.4638 | IOS10 | 2486.12 | 2486.35 | 2029.6819 | 361b | 2006-06-29 | 553 | 351.4 | 0.8 | 2411.845 | CRM 73 | 2253.5 | 2251.607 | 2414.3555
214 | 2006-06-27 | 1525 | 34.264 | 1.0242 | 29.68 | 862.43 | 2370.3475 | IOS10 | 2486.12 | 2486.35 | 2370.6023 | 144 | 2006-06-29 | 605 | 351.7 | 0.9 | 2267.058 | CRM 73 | 2253.5 | 2251.607 | 2269.4178
213 | 2006-06-27 | 1550 | 34.36 | 1.0243 | 29.68 | 868.62 | 2387.1898 | IOS10 | 2486.12 | 2486.35 | 2387.4464 | 361a | 2006-06-29 | 619 | 351.2 | 0.4 | 2418.454 | CRM 73 | 2253.5 | 2251.607 | 2420.9714
212 | 2006-06-27 | 1617 | 34.454 | 1.0244 | 29.68 | 871.07 | 2393.7555 | IOS10 | 2486.12 | 2486.35 | 2394.0128 | 362a | 2006-06-29 | 725 | 351.7 | 0.9 | 2417.229 | CRM 73 | 2253.5 | 2251.607 | 2419.7451
211 | 2006-06-27 | 1647 | 34.51 | 1.0244 | 29.68 | 870 | 2390.7154 | IOS10 | 2486.12 | 2486.35 | 2390.9723 | 361c | 2006-06-29 | 816 | 352.6 | 0.6 | 2415.046 | CRM 73 | 2253.5 | 2251.607 | 2417.5598
139 | 2006-06-28 | 941 | 34.173 | 1.0242 | 29.68 | 851.33 | 2339.9982 | CRM 73 | 2057.3 | 2058.82 | 2338.7383 | 362b | 2006-06-29 | 846 | 351.9 | 0.9 | 2420.032 | CRM 73 | 2253.5 | 2251.607 | 2422.551
138 | 2006-06-28 | 1001 | 34.291 | 1.0242 | 29.68 | 865.25 | 2378.0503 | CRM 73 | 2057.3 | 2058.82 | 2376.7699 | 360a | 2006-06-29 | 918 | 351.9 | 1.2 | 2418.536 | CRM 73 | 2253.5 | 2251.607 | 2421.0535
136 | 2006-06-28 | 1044 | 34.462 | 1.0244 | 29.68 | 872.01 | 2396.3244 | CRM 73 | 2057.3 | 2058.82 | 2395.0341 | 362c | 2006-06-29 | 943 | 352.8 | 0.9 | 2410.25 | CRM 73 | 2253.5 | 2251.607 | 2412.7588
137 | 2006-06-28 | 1116 | 34.379 | 1.0243 | 29.68 | 869.59 | 2389.8218 | CRM 73 | 2057.3 | 2058.82 | 2388.535 | 363c | 2006-06-29 | 1012 | 352.5 | 0.7 | 2412.421 | CRM 73 | 2253.5 | 2251.607 | 2414.9321
140a | 2006-06-28 | 1147 | 34.171 | 1.0242 | 29.68 | 850.82 | 2338.5999 | CRM 73 | 2057.3 | 2058.82 | 2337.3407 | 363b | 2006-06-29 | 1037 | 352.6 | 0.9 | 2406.626 | CRM 73 | 2253.5 | 2251.607 | 2409.1311
145 | 2006-06-28 | 1225 | 33.897 | 1.0239 | 29.68 | 809.01 | 2224.1328 | CRM 73 | 2057.3 | 2058.82 | 2222.9353 | 360c | 2006-06-29 | 1104 | 352.7 | 0.7 | 2409.33 | CRM 73 | 2253.5 | 2251.607 | 2411.8379
140b | 2006-06-28 | 1254 | 34.171 | 1.0242 | 29.68 | 850.95 | 2338.9572 | CRM 73 | 2057.3 | 2058.82 | 2337.6978 | 363a | 2006-06-29 | 1115 | 352.4 | 0.7 | 2414.523 | CRM 73 | 2253.5 | 2251.607 | 2417.0363
144 | 2006-06-28 | 1323 | 33.934 | 1.024 | 29.68 | 811.48 | 2230.8619 | CRM 73 | 2057.3 | 2058.82 | 2229.6607 | 360b | 2006-06-29 | 1141 | 351.6 | 0.8 | 2413.905 | CRM 73 | 2253.5 | 2251.607 | 2416.4176
135 | 2006-06-28 | 1353 | 34.473 | 1.0244 | 29.68 | 868.29 | 2386.0821 | CRM 73 | 2057.3 | 2058.82 | 2384.7974 | 337 | 2006-06-29 | 1153 | 353.3 | 1.9 | 2202.285 | CRM 73 | 2253.5 | 2251.607 | 2204.5774
141 | 2006-06-28 | 1422 | 33.972 | 1.024 | 29.68 | 834.17 | 2293.1747 | CRM 73 | 2057.3 | 2058.82 | 2291.94 | 336 | 2006-06-30 | 534 | 354.3 | 0.5 | 2275.665 | CRM 73 | 2253.5 | 2251.37 | 2278.2735
147 | 2006-06-28 | 1452 | 33.757 | 1.0238 | 29.68 | 804.1 | 2210.8647 | CRM 73 | 2057.3 | 2058.82 | 2209.6743 | 333 | 2006-06-30 | 546 | 353.7 | 0.9 | 2335.234 | CRM 73 | 2253.5 | 2251.37 | 2337.9108
142 | 2006-06-28 | 1520 | 33.996 | 1.024 | 29.68 | 821.25 | 2257.6167 | CRM 73 | 2057.3 | 2058.82 | 2256.4011 | 334 | 2006-06-30 | 558 | 353 | 0.6 | 2306.168 | CRM 73 | 2253.5 | 2251.37 | 2308.8115
146 | 2006-06-28 | 1549 | 33.863 | 1.0239 | 29.68 | 810.12 | 2227.2408 | CRM 73 | 2057.3 | 2058.82 | 2226.0416 | 245 | 2006-06-30 | 610 | 351.9 | 0.8 | 2265.596 | CRM 73 | 2253.5 | 2251.37 | 2268.193
143 | 2006-06-28 | 1616 | 33.983 | 1.024 | 29.68 | 820.49 | 2255.5493 | CRM 73 | 2057.3 | 2058.82 | 2254.3348 | 331 | 2006-06-30 | 616 | 352.9 | 0.9 | 2375.019 | CRM 73 | 2253.5 | 2251.37 | 2377.7414
148 | 2006-06-28 | 1642 | 33.591 | 1.0237 | 29.68 | 795.42 | 2187.2695 | CRM 73 | 2057.3 | 2058.82 | 2186.0918 | 335 | 2006-06-30 | 632 | 354 | 1 | 2293.017 | CRM 73 | 2253.5 | 2251.37 | 2295.6454
364a | 2006-06-29 | 733 | 34.578 | 1.0245 | 29.68 | 866.29 | 2380.4 | IOS10 | 2486.12 | 2488.09 | 2378.991 | 249 | 2006-06-30 | 641 | 353.1 | 1.2 | 2196.401 | CRM 73 | 2253.5 | 2251.37 | 2198.9187
364b | 2006-06-29 | 803 | 34.578 | 1.0245 | 29.68 | 866.02 | 2379.6581 | IOS10 | 2486.12 | 2488.09 | 2378.2495 | 330 | 2006-06-30 | 705 | 352.5 | 0.8 | 2387.381 | CRM 73 | 2253.5 | 2251.37 | 2390.1176
364c | 2006-06-29 | 838 | 34.578 | 1.0245 | 29.68 | 866.46 | 2380.8671 | IOS10 | 2486.12 | 2488.09 | 2379.4578 | 250 | 2006-06-30 | 709 | 353.1 | 1.3 | 2181.346 | CRM 73 | 2253.5 | 2251.37 | 2183.8464
361a | 2006-06-29 | 934 | 34.578 | 1.0245 | 29.68 | 866.31 | 2380.455 | IOS10 | 2486.12 | 2488.09 | 2379.0459 | 344 | 2006-06-30 | 722 | 352.2 | 0.7 | 2186.327 | CRM 73 | 2253.5 | 2251.37 | 2188.8331
361b | 2006-06-29 | 1012 | 34.578 | 1.0245 | 29.68 | 866.32 | 2380.4824 | IOS10 | 2486.12 | 2488.09 | 2379.0734 | 332 | 2006-06-30 | 736 | 352.9 | 0.7 | 2368.356 | CRM 73 | 2253.5 | 2251.37 | 2371.0708
361c | 2006-06-29 | 1042 | 34.578 | 1.0245 | 29.68 | 866.28 | 2380.3725 | IOS10 | 2486.12 | 2488.09 | 2378.9635 | 252 | 2006-06-30 | 809 | 352 | 1.3 | 2187.774 | CRM 73 | 2253.5 | 2251.37 | 2190.2818
362a | 2006-06-29 | 1119 | 34.578 | 1.0245 | 29.68 | 866.34 | 2380.5374 | IOS10 | 2486.12 | 2488.09 | 2379.1283 | 329 | 2006-06-30 | 810 | 352.7 | 0.8 | 2402.256 | CRM 73 | 2253.5 | 2251.37 | 2405.0097
362b | 2006-06-29 | 1239 | 34.578 | 1.0245 | 29.68 | 866.36 | 2380.5923 | IOS10 | 2486.12 | 2488.09 | 2379.1832 | 247 | 2006-06-30 | 836 | 351.6 | 0.7 | 2232.045 | CRM 73 | 2253.5 | 2251.37 | 2234.6035
360a | 2006-06-29 | 1312 | 34.578 | 1.0245 | 29.68 | 865.92 | 2379.3833 | IOS10 | 2486.12 | 2488.09 | 2377.9749 | 327 | 2006-06-30 | 839 | 352.3 | 0.8 | 2420.446 | CRM 73 | 2253.5 | 2251.37 | 2423.2205
362c | 2006-06-29 | 1342 | 34.578 | 1.0245 | 29.68 | 865.85 | 2379.191 | IOS10 | 2486.12 | 2488.09 | 2377.7826 | 326 | 2006-06-30 | 911 | 352.9 | 0.9 | 2425.143 | CRM 73 | 2253.5 | 2251.37 | 2427.9229
363c | 2006-06-29 | 1414 | 34.578 | 1.0245 | 29.68 | 866.35 | 2380.5649 | IOS10 | 2486.12 | 2488.09 | 2379.1557 | 248 | 2006-06-30 | 930 | 351.1 | 0.8 | 2195.598 | CRM 73 | 2253.5 | 2251.37 | 2198.1148
363b | 2006-06-29 | 1444 | 34.578 | 1.0245 | 29.68 | 866.57 | 2381.1694 | IOS10 | 2486.12 | 2488.09 | 2379.7599 | 328 | 2006-06-30 | 940 | 352.5 | 0.6 | 2420.527 | CRM 73 | 2253.5 | 2251.37 | 2423.3016
360c | 2006-06-29 | 1511 | 34.578 | 1.0245 | 29.68 | 866.23 | 2380.2351 | IOS10 | 2486.12 | 2488.09 | 2378.8262 | 345 | 2006-06-30 | 945 | 351.8 | 0.6 | 2187.645 | CRM 73 | 2253.5 | 2251.37 | 2190.1527
363a | 2006-06-29 | 1537 | 34.578 | 1.0245 | 29.68 | 866.39 | 2380.6748 | IOS10 | 2486.12 | 2488.09 | 2379.2656 | 325 | 2006-06-30 | 1003 | 352.6 | 0.7 | 2432.592 | CRM 73 | 2253.5 | 2251.37 | 2435.3804
360b | 2006-06-29 | 1605 | 34.578 | 1.0245 | 29.68 | 865.89 | 2379.3009 | IOS10 | 2486.12 | 2488.09 | 2377.8925 | 253 | 2006-06-30 | 1022 | 351.6 | 1.3 | 2178.142 | CRM 73 | 2253.5 | 2251.37 | 2180.6388
337 | 2006-06-29 | 1630 | 33.739 | 1.0238 | 29.68 | 733.96 | 2018.0425 | IOS10 | 2486.12 | 2488.09 | 2016.848 | 324 | 2006-06-30 | 1029 | 353.9 | 0.8 | 2429.027 | CRM 73 | 2253.5 | 2251.37 | 2431.8113
336 | 2006-06-29 | 1656 | 33.805 | 1.0239 | 29.68 | 829.79 | 2281.4176 | IOS10 | 2486.12 | 2488.09 | 2280.0671 | 153 | 2006-06-30 | 1034 | 352.7 | 1 | 2185.686 | CRM 73 | 2253.5 | 2251.37 | 2188.1914
335 | 2006-06-30 | 753 | 33.874 | 1.0239 | 29.68 | 829.79 | 2281.3003 | IOS10 | 2486.12 | 2487.553 | 2280.4422 | 323 | 2006-06-30 | 1055 | 353.8 | 0.9 | 2435.157 | CRM 73 | 2253.5 | 2251.37 | 2437.9484
333 | 2006-06-30 | 823 | 34.186 | 1.0242 | 29.68 | 850.12 | 2336.6497 | IOS10 | 2486.12 | 2487.553 | 2335.7707 | 246 | 2006-06-30 | 1132 | 353.1 | 1.1 | 2252.777 | CRM 73 | 2253.5 | 2251.37 | 2255.3593
334 | 2006-06-30 | 852 | 33.993 | 1.024 | 29.68 | 839.17 | 2306.8839 | IOS10 | 2486.12 | 2487.553 | 2306.0161 | 212 | 2006-06-30 | 1144 | 351.9 | 0.5 | 2391.651 | CRM 73 | 2253.5 | 2251.37 | 2394.3925
331 | 2006-06-30 | 1044 | 34.369 | 1.0243 | 29.68 | 867.5 | 2384.0958 | IOS10 | 2486.12 | 2487.553 | 2383.1989 | 244 | 2006-06-30 | 1145 | 352.8 | 0.9 | 2271.542 | CRM 73 | 2253.5 | 2251.37 | 2274.1458
330 | 2006-06-30 | 1112 | 34.342 | 1.0243 | 29.68 | 872.17 | 2396.9782 | IOS10 | 2486.12 | 2487.553 | 2396.0765 | 213 | 2006-06-30 | 1157 | 352.9 | 1 | 2376.066 | CRM 73 | 2253.5 | 2251.37 | 2378.7896
332 | 2006-06-30 | 1143 | 34.29 | 1.0242 | 29.68 | 860.17 | 2364.0902 | IOS10 | 2486.12 | 2487.553 | 2363.2009 | 214 | 2006-06-30 | 1222 | 352.8 | 0.7 | 2354.21 | CRM 73 | 2253.5 | 2251.37 | 2356.9086
329 | 2006-06-30 | 1233 | 34.502 | 1.0244 | 29.68 | 868.27 | 2385.9757 | IOS10 | 2486.12 | 2487.553 | 2385.0781 | 339 | 2006-07-05 | 523 | 352.5 | 1.3 | 2253.822 | IOS13 | 2280.33 | 2281.32 | 2253.2945
327 | 2006-06-30 | 1303 | 34.624 | 1.0245 | 29.68 | 866.24 | 2380.1811 | IOS10 | 2486.12 | 2487.553 | 2379.2857 | 338 | 2006-07-05 | 532 | 352.7 | 1 | 2267.517 | IOS13 | 2280.33 | 2281.32 | 2266.9863
326 | 2006-06-30 | 1337 | 34.654 | 1.0245 | 29.68 | 859.65 | 2362.0209 | IOS10 | 2486.12 | 2487.553 | 2361.1323 | 211 | 2006-07-05 | 619 | 352.4 | 0.8 | 2408.018 | IOS13 | 2280.33 | 2281.32 | 2407.4544
328 | 2006-06-30 | 1406 | 34.581 | 1.0245 | 29.68 | 868.17 | 2385.5606 | IOS10 | 2486.12 | 2487.553 | 2384.6631 | 341 | 2006-07-05 | 655 | 351.4 | 0.9 | 2192.491 | IOS13 | 2280.33 | 2281.32 | 2191.9779
325 | 2006-06-30 | 1438 | 34.672 | 1.0245 | 29.68 | 858.21 | 2358.0327 | IOS10 | 2486.12 | 2487.553 | 2357.1456 | 251 | 2006-07-05 | 715 | 352.9 | 0.8 | 2185.241 | IOS13 | 2280.33 | 2281.32 | 2184.7296
324 | 2006-06-30 | 1506 | 34.68 | 1.0245 | 29.68 | 854.13 | 2346.8084 | IOS10 | 2486.12 | 2487.553 | 2345.9256 | 346 | 2006-07-05 | 958 | 352.3 | 1 | 2193.545 | IOS13 | 2280.33 | 2281.32 | 2193.0316
323 | 2006-06-30 | 1530 | 34.684 | 1.0245 | 29.68 | 851.94 | 2340.7842 | IOS10 | 2486.12 | 2487.553 | 2339.9036 | 340 | 2006-07-05 | 1025 | 352 | 0.3 | 2226.365 | IOS13 | 2280.33 | 2281.32 | 2225.8439
246 | 2006-06-30 | 1557 | 33.603 | 1.0237 | 29.68 | 789.29 | 2170.3936 | IOS10 | 2486.12 | 2487.553 | 2169.5772 | 343 | 2006-07-05 | 1121 | 351.8 | 1.1 | 2197.488 | IOS13 | 2280.33 | 2281.32 | 2196.9737
244 | 2006-06-30 | 1622 | 33.773 | 1.0239 | 29.68 | 802.69 | 2206.9616 | IOS10 | 2486.12 | 2487.553 | 2206.1314 | 342 | 2006-07-05 | 1145 | 351.9 | 1.7 | 2194.634 | IOS13 | 2280.33 | 2281.32 | 2194.1204
250 | 2006-06-30 | 1648 | 32.458 | 1.0229 | 29.68 | 735.62 | 2024.5371 | IOS10 | 2486.12 | 2487.553 | 2023.7755 | 282 | 2006-07-05 | 1157 | 352 | 0.8 | 2422.071 | IOS13 | 2280.33 | 2281.32 | 2421.5041
206 | 2006-07-02 | 835 | 34.648 | 1.0245 | 29.68 | 856.51 | 2353.4038 | IOS13 | 2088.345 | 2088.125 | 2354.1225 | 281 | 2006-07-05 | 1239 | 353.8 | 0.7 | 2433.31 | IOS13 | 2280.33 | 2281.32 | 2432.7405
339 | 2006-07-02 | 908 | 33.576 | 1.0237 | 29.68 | 802.98 | 2208.0828 | IOS13 | 2088.345 | 2088.125 | 2208.7571 | 284 | 2006-07-06 | 748 | 352.8 | 0.4 | 2414.311 | CRM 73 | 2253.5 | 2251.49 | 2416.9497
340 | 2006-07-02 | 935 | 33.214 | 1.0234 | 29.68 | 790.9 | 2175.4509 | IOS13 | 2088.345 | 2088.125 | 2176.1152 | 286 | 2006-07-06 | 816 | 353.2 | 0.8 | 2412.226 | CRM 73 | 2253.5 | 2251.49 | 2414.8624
338 | 2006-07-02 | 1106 | 33.714 | 1.0238 | 29.68 | 820.35 | 2255.6161 | IOS13 | 2088.345 | 2088.125 | 2256.3049 | 285 | 2006-07-06 | 841 | 353.1 | 0.5 | 2415.092 | CRM 73 | 2253.5 | 2251.49 | 2417.7315
343 | 2006-07-02 | 1133 | 32.556 | 1.0229 | 29.68 | 736.42 | 2026.5909 | IOS13 | 2088.345 | 2088.125 | 2027.2098 | 287 | 2006-07-06 | 933 | 353.4 | 0.8 | 2392.333 | CRM 73 | 2253.5 | 2251.49 | 2394.9476
342 | 2006-07-02 | 1203 | 32.557 | 1.0229 | 29.68 | 737.71 | 2030.1394 | IOS13 | 2088.345 | 2088.125 | 2030.7594 | 292 | 2006-07-06 | 1001 | 353.8 | 1 | 2265.919 | CRM 73 | 2253.5 | 2251.49 | 2268.3955
341 | 2006-07-02 | 1259 | 32.557 | 1.0229 | 29.68 | 769.16 | 2116.6882 | IOS13 | 2088.345 | 2088.125 | 2117.3346 | 293 | 2006-07-06 | 1012 | 353.6 | 0.8 | 2254.767 | CRM 73 | 2253.5 | 2251.49 | 2257.2313
281 | 2006-07-02 | 1608 | 34.671 | 1.0245 | 29.68 | 857.68 | 2356.5782 | IOS13 | 2088.345 | 2088.125 | 2357.2978 | 291 | 2006-07-06 | 1052 | 353.4 | 0.5 | 2282.081 | CRM 73 | 2253.5 | 2251.49 | 2284.5751
282 | 2006-07-02 | 1636 | 34.656 | 1.0245 | 29.68 | 858.56 | 2359.0224 | IOS13 | 2088.345 | 2088.125 | 2359.7428 | 289 | 2006-07-06 | 1134 | 353.4 | 0.3 | 2355.61 | CRM 73 | 2253.5 | 2251.49 | 2358.1845
283 | 2006-07-03 | 904 | 34.63 | 1.0245 | 29.68 | 864.72 | 2375.994 | CRM 73 | 2057.3 | 2056.436 | 2377.4676 | 290 | 2006-07-06 | 1145 | 353.6 | 0.7 | 2316.049 | CRM 73 | 2253.5 | 2251.49 | 2318.5803
280 | 2006-07-03 | 1021 | 34.679 | 1.0245 | 29.68 | 853.51 | 2345.1067 | CRM 73 | 2057.3 | 2056.436 | 2346.5612 | 151 | 2006-07-09 | 306 | 354.1 | 1.1 | 2176.638 | IOS13 | 2280.33 | 2284.01 | 2173.5656
288 | 2006-07-03 | 1047 | 34.362 | 1.0243 | 29.68 | 866.91 | 2382.4867 | CRM 73 | 2057.3 | 2056.436 | 2383.9644 | 230 | 2006-07-09 | 445 | 353.8 | 0.7 | 2435.418 | IOS13 | 2280.33 | 2284.01 | 2431.9804
284 | 2006-07-03 | 1115 | 34.589 | 1.0245 | 29.68 | 869.36 | 2388.8109 | CRM 73 | 2057.3 | 2056.436 | 2390.2925 | 280 | 2006-07-09 | 512 | 353.6 | 0.5 | 2435.801 | IOS13 | 2280.33 | 2284.01 | 2432.3628
286 | 2006-07-03 | 1223 | 34.571 | 1.0245 | 29.68 | 868.26 | 2385.8256 | CRM 73 | 2057.3 | 2056.436 | 2387.3054 | 208 | 2006-07-10 | 405 | 354.3 | 0.7 | 2425.965 | IOS13 | 2280.33 | 2284.205 | 2422.3339
285 | 2006-07-03 | 1250 | 34.589 | 1.0245 | 29.68 | 868.96 | 2387.7491 | CRM 73 | 2057.3 | 2056.436 | 2389.23 | 234 | 2006-07-10 | 525 | 354.4 | 0.4 | 2421.796 | IOS13 | 2280.33 | 2284.205 | 2418.1711
287 | 2006-07-03 | 1344 | 34.445 | 1.0244 | 29.68 | 869.19 | 2388.6051 | CRM 73 | 2057.3 | 2056.436 | 2390.0866 | 206 | 2006-07-10 | 545 | 354.4 | 0.8 | 2436.249 | IOS13 | 2280.33 | 2284.205 | 2432.6025
292 | 2006-07-03 | 1409 | 33.875 | 1.0239 | 29.68 | 825 | 2268.1298 | CRM 73 | 2057.3 | 2056.436 | 2269.5365 | 207 | 2006-07-10 | 558 | 354.2 | 0.9 | 2433.071 | IOS13 | 2280.33 | 2284.205 | 2429.4292
293 | 2006-07-03 | 1433 | 33.823 | 1.0239 | 29.68 | 814.18 | 2238.4696 | CRM 73 | 2057.3 | 2056.436 | 2239.8579 | 209 | 2006-07-10 | 612 | 353.6 | 0.5 | 2422.117 | IOS13 | 2280.33 | 2284.205 | 2418.4916
291 | 2006-07-03 | 1501 | 33.982 | 1.024 | 29.68 | 837.6 | 2302.5868 | CRM 73 | 2057.3 | 2056.436 | 2304.015 | 210a | 2006-07-10 | 709 | 354.6 | 0.9 | 2408.32 | IOS13 | 2280.33 | 2284.205 | 2404.7153
289 | 2006-07-03 | 1529 | 34.28 | 1.0242 | 29.68 | 856.07 | 2352.8393 | CRM 73 | 2057.3 | 2056.436 | 2354.2986 | 210b | 2006-07-10 | 726 | 354.1 | 0.8 | 2409.218 | IOS13 | 2280.33 | 2284.205 | 2405.612
290 | 2006-07-03 | 1556 | 34.157 | 1.0241 | 29.68 | 847.03 | 2328.2068 | CRM 73 | 2057.3 | 2056.436 | 2329.6508 | 288 | 2006-07-11 | 607 | 353.4 | 0.8 | 2376.16 | IOS13 | 2280.33 | 2283.344 | 2373.4981
208 | 2006-07-04 | 1218 | 34.6295 | 1.0245 | 29.68 | 866.26 | 2380.2254 | IOS10 | 2486.12 | 2488.35 | 2378.5679 | 283 | 2006-07-12 | 605 | 353.6 | 0.8 | 2422.732 | CRM 73 | 2253.5 | 2252.34 | 2424.4646
207 | 2006-07-04 | 912 | 34.6505 | 1.0245 | 29.68 | 859.26 | 2360.9493 | IOS10 | 2486.12 | 2488.35 | 2359.3053