File List for SeaBird Data          Cruise Number: 2006-08

[osapcommon\cruise_data\2006-08\chlorophyll] data from analyst

[osapcommon\cruise_data\2006-08\cruise documents] cruise documents (non-processing)

[osapcommon\cruise_data\2006-08\ctd]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon\cruise_data\2006-08\ctd\convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon\cruise_data\2006-08\ctd\derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon\cruise_data\ctd\2006-08\ctd\doc]

2006-08-recal1.ccf – calibration control file for initial recalibration of DO

2006-08-recal2.ccf – calibration control file for second recalibration of DO

2006-08-recal3.ccf – calibration control file for final recalibration of DO (6 casts only)

2006-08-sal-comp-2CTDs.csv & xls –comparison of salinity from repeat downcast

new-DO-config-check.xls

2006-08_proc.doc - processing notes

2006-08_file.doc - this document

*hdr.txt –various files containing comments used for headers

[osapcommon\cruise_data\2006-08\ctd\hydro]

*.add – bottle from analyst, converted, edited, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – titrated chlorophyll data converted from spreadsheet

*.mrg – merge of sal, add, nuts and bottle-averaged rosette files

*.nuts – nutrients converted from spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from spreadsheet

*.sam – bottle files with sample numbers added

2006-08-CTD-all-sal.csv – spreadsheet of non-loop salinity data from both salinometers

2006-08-CTD-chl.csv – edited version of spreadsheet of titrated chlorophyll – rosette only

2006-08-ctd-final-sal.csv – subset of above with one reading per sample, Portasal adjusted

2006-08-nuts.csv – edited version of spreadsheet from analyst

addsamp.csv – file containing cast #, bottle number and sample number

2006-08-dox-CTD-intercal.xls – comparison of DO from 2 sensors

cast44-new config check.xls – study of calibration of sensor #0443

2006-08-dox-comp1.csv & .xls – initial DO COMPARE files

2006-08-dox-comp2.csv & .xls – DO COMPARE files after 1st recalibration

2006-08-dox-comp3.csv & .xls – DO COMPARE files downcast vs upcast bottles

2006-08-dox-comp4.csv & .xls – DO COMPARE files after 2nd recalibration

2006-08-dox-CTD-intercomp.xls - comparison of the two DO sensors

2006-08-fl-chl-comp1.csv & xls – comparison of titrated CHL and SBE fluorescence

2006-08-sal-comp1.csv & xls – salinity COMPARE file

2006-08-sal-comp-Niskin.csv & xls – salinity COMPARE based on Niskin Bottle #

2006-08-sal-comp-full.csv & xls – repeat of above after more data found

cal-drift-doc.xls –study of temporal drift in calibration offset

[osapcommon\cruise_data\2006-08\ctd\ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2006-08\Nutrients] Original oxygen bottle files from analyst

[osapcommon\cruise_data\2006-08\oxygen files] Original oxygen bottle files from analyst

[osapcommon\cruise_data\2006-08\Salinity] Original bottle salinity files from analyst

[osapcommon\cruise_data\2006-08\SCS files] Original files from sea

[osapcommon\cruise_data\2006-08\TSG]

*.cnv – after SeaBird conversion

*.con – configuration files

*.hex – original data acquired at sea

[osapcommon\cruise_data\2006-08\TSG\doc]

2006-08-TSG-recal.ccf – calibration control file for TSG

2006-08-loop-all-sal.csv – loop salinity bottle data from Autosal and Portasal

2006-08ctd-surf.xls – extract of CTD data from 4m

2006-08ctd-tsg-comp.csv – comparison of CTD and TSG matching times

2006-08-ctd-tsg-wellmixed.xls – subset of above for CTD casts well-mixed at surface

2006-08-TSG-loop-chl-comp.xls – comparison of CHL from loop and TSG fluorescence

2006-08-TSG-loop-sal-comp.xls – comparison of loop salinity samples to TSG

2006-08-TSG-hdr.txt – file with comments for headers

[osapcommon\cruise_data\2006-08\TSG\IOS] – data after conversion to IOS Headers

*.atc – files after adding time channel

*.ed2 – files after editing

*.ios – files after conversion from CSV to IOS headers

*.log - log file for editing runs

*.tob – final data file after REMOVE and HEAD EDIT

[osapcommon\cruise_data\2006-08\UBC]

*.che - rosette files for UBC researchers