## HS2006-09
Cruise 2006-09 bottle salinity samples
Analyzed May 17 by Doug Anderson
Instrument used: Autosal 68572
Sample ID | Cast No. | Sample No. | QC Flags | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 |  | P141 |  | 2006-05-17 09:44 | 24C | 0.99895 | 1.8935e-06 | 0.00097603 | 0.99993
Calibration#2 |  | P141 |  | 2006-05-17 09:46 | 24C | 0.99898 | 2.677e-06 | 0.00095206 | 0.99993
Calibration#3 |  | P141 |  | 2006-05-17 09:48 | 24C | 0.999 | 1.8935e-06 | 0.00092596 | 0.99993
HS2006-09#1 | 1 | 1 |  | 2006-05-17 09:51 | 24C | 0.86253 | 2.8708e-06 | 0.00092602 | 0.86346 | 29.692 | 0.00010975
HS2006-09#2 | 4 | 4 |  | 2006-05-17 09:54 | 24C | 0.88089 | 1.2541e-06 | 0.00092602 | 0.88181 | 30.3977 | 4.7568e-05
HS2006-09#3 | 10 | 10 |  | 2006-05-17 09:57 | 24C | 0.8765 | 4.0071e-06 | 0.00092602 | 0.87742 | 30.2286 | 0.00015307
HS2006-09#4 | 13 | 13 |  | 2006-05-17 10:00 | 24C | 0.88045 | 2.56e-06 | 0.00092602 | 0.88137 | 30.3808 | 9.7513e-05
HS2006-09#5 | 16 | 16 |  | 2006-05-17 10:03 | 24C | 0.87859 | 3.185e-06 | 0.00092596 | 0.87951 | 30.3091 | 0.00012151
HS2006-09#6 | 19 | 19 |  | 2006-05-17 10:06 | 24C | 0.90407 | 3.5911e-06 | 0.00092602 | 0.90499 | 31.2925 | 0.00013836
HS2006-09#7 | 22 | 22 |  | 2006-05-17 10:08 | 24C | 0.91965 | 2.677e-06 | 0.00092602 | 0.92058 | 31.8962 | 0.00010399
HS2006-09#8 | 25 | 25 |  | 2006-05-17 10:12 | 24C | 0.92691 | 1.2215e-06 | 0.00092602 | 0.92784 | 32.1781 | 4.6538e-05
HS2006-09#9 | 28 | 28 |  | 2006-05-17 10:15 | 24C | 0.93056 | 3.9801e-06 | 0.00092602 | 0.93148 | 32.3197 | 0.00015483
HS2006-09#10 | 31 | 31 |  | 2006-05-17 10:17 | 24C | 0.93018 | 3.1055e-06 | 0.00092596 | 0.9311 | 32.3051 | 0.0001177
HS2006-09#11 | 34 | 34 |  | 2006-05-17 10:20 | 24C | 0.88221 | 2.5605e-06 | 0.00092596 | 0.88314 | 30.4488 | 9.6543e-05
HS2006-09#12 | 40 | 40 |  | 2006-05-17 10:23 | 24C | 0.89563 | 2.5601e-06 | 0.00092602 | 0.89656 | 30.9666 | 9.7008e-05
HS2006-09#13 | 46 | 46 |  | 2006-05-17 10:25 | 24C | 0.8878 | 3.2655e-06 | 0.00092602 | 0.88873 | 30.6642 | 0.00012403
HS2006-09#14 | 53 | 53 |  | 2006-05-17 10:28 | 24C | 0.8583 | 3.447e-06 | 0.00092602 | 0.85922 | 29.5293 | 0.00013189
HS2006-09#15 | 59 | 59 |  | 2006-05-17 10:30 | 24C | 0.88616 | 2.9408e-06 | 0.00092602 | 0.88709 | 30.601 | 0.00011441
HS2006-09#16 | 65 | 65 |  | 2006-05-17 10:33 | 24C | 0.87995 | 3.5907e-06 | 0.00092602 | 0.88087 | 30.3616 | 0.00013788
HS2006-09#17 | 71 | 71 |  | 2006-05-17 10:35 | 24C | 0.88062 | 2.2849e-06 | 0.00092602 | 0.88155 | 30.3876 | 8.7023e-05
HS2006-09#18 | 77 | 77 |  | 2006-05-17 10:37 | 24C | 0.85434 | 2.3915e-06 | 0.00092602 | 0.85527 | 29.3777 | 9.0535e-05
HS2006-09#19 | 83 | 83 |  | 2006-05-17 10:39 | 24C | 0.89575 | 5.3415e-06 | 0.00092596 | 0.89668 | 30.9712 | 0.00020759
HS2006-09#20 | 89 | 89 |  | 2006-05-17 10:42 | 24C | 0.827 | 2.8304e-06 | 0.00092602 | 0.82792 | 28.3324 | 0.00010734
HS2006-09#21 | 95 | 95 |  | 2006-05-17 10:44 | 24C | 0.81352 | 2.2853e-06 | 0.00092596 | 0.81445 | 27.8193 | 8.7036e-05
HS2006-09#22 | 101 | 101 |  | 2006-05-17 10:47 | 24C | 0.85143 | 3.5907e-06 | 0.00092602 | 0.85236 | 29.2662 | 0.00013837
HS2006-09#23 | 107 | 107 |  | 2006-05-17 10:49 | 24C | 0.85329 | 2.5453e-06 | 0.00092602 | 0.85422 | 29.3376 | 9.7046e-05
HS2006-09#24 | 111 | 111 |  | 2006-05-17 10:52 | 24C | 0.87669 | 9.7893e-07 | 0.00092602 | 0.87761 | 30.236 | 3.7848e-05
HS2006-09#49 | 117 | 117 |  | 2006-05-17 13:55 | 24C | 0.8699 | 3.8415e-06 | 0.00092602 | 0.87083 | 29.975 | 0.00014874
HS2006-09#50 | 123 | 123 |  | 2006-05-17 13:57 | 24C | 0.86268 | 2.6742e-06 | 0.00092596 | 0.8636 | 29.6974 | 0.00010244
HS2006-09#51 | 130 | 130 |  | 2006-05-17 14:00 | 24C | 0.8874 | 2.677e-06 | 0.00092602 | 0.88832 | 30.6487 | 0.00010706
HS2006-09#52 | 136 | 136 |  | 2006-05-17 14:03 | 24C | 0.88001 | 5.9904e-06 | 0.00092602 | 0.88094 | 30.3641 | 0.00023154
HS2006-09#53 | 142 | 142 |  | 2006-05-17 14:06 | 24C | 0.87797 | 1.0111e-06 | 0.00092602 | 0.8789 | 30.2855 | 3.8536e-05
HS2006-09#54 | 148 | 148 |  | 2006-05-17 14:08 | 24C | 0.88434 | 2.2853e-06 | 0.00092602 | 0.88527 | 30.5309 | 8.741e-05
HS2006-09#55 | 151 | 151 |  | 2006-05-17 14:11 | 24C | 0.88715 | 3.6032e-06 | 0.00092602 | 0.88807 | 30.6391 | 0.0001365
HS2006-09#56 | 154 | 154 |  | 2006-05-17 14:15 | 24C | 0.89701 | 3.2305e-06 | 0.00092596 | 0.89793 | 31.0195 | 0.00012456
HS2006-09#57 | 157 | 157 |  | 2006-05-17 14:18 | 24C | 0.90492 | 3.4808e-06 | 0.00092602 | 0.90584 | 31.3254 | 0.00013424
HS2006-09#58 | 160 | 160 |  | 2006-05-17 14:21 | 24C | 0.90604 | 2.9498e-06 | 0.0009259 | 0.90697 | 31.369 | 0.00011361
HS2006-09#59 | 163 | 163 |  | 2006-05-17 14:23 | 24C | 0.90595 | 1.7275e-06 | 0.00092596 | 0.90688 | 31.3655 | 6.9199e-05
HS2006-09#60 | 166 | 166 |  | 2006-05-17 14:26 | 24C | 0.91832 | 2.7842e-06 | 0.00092602 | 0.91925 | 31.8446 | 0.00010919
HS2006-09#61 | 169 | 169 |  | 2006-05-17 14:29 | 24C | 0.91941 | 3.338e-06 | 0.00092602 | 0.92033 | 31.8868 | 0.00013054
HS2006-09#62 | 172 | 172 |  | 2006-05-17 14:32 | 24C | 0.92178 | 3.4897e-06 | 0.00092602 | 0.9227 | 31.9788 | 0.00013589
HS2006-09#63 | 175 | 175 |  | 2006-05-17 14:35 | 24C | 0.90957 | 3.7721e-06 | 0.00092602 | 0.9105 | 31.5056 | 0.00014657
HS2006-09#64 | 178 | 178 |  | 2006-05-17 14:37 | 24C | 0.9141 | 6.438e-08 | 0.00092602 | 0.91503 | 31.681 | 2.0602e-06
HS2006-09#65 | 184 | 184 |  | 2006-05-17 14:40 | 24C | 0.92091 | 2.5601e-06 | 0.00092602 | 0.92184 | 31.9451 | 9.961e-05
HS2006-09#66 | 187 | 187 |  | 2006-05-17 14:44 | 24C | 0.92109 | 2.5601e-06 | 0.00092602 | 0.92202 | 31.9522 | 9.4503e-05
HS2006-09#67 | 193 | 193 |  | 2006-05-17 14:46 | 24C | 0.91348 | 1.8929e-06 | 0.00092602 | 0.91441 | 31.657 | 7.1749e-05
HS2006-09#68 | 199 | 199 |  | 2006-05-17 14:50 | 24C | 0.91855 | 1.2863e-06 | 0.00092602 | 0.91947 | 31.8534 | 4.8861e-05
HS2006-09#69 | 205 | 205 |  | 2006-05-17 14:54 | 24C | 0.91447 | 1.8929e-06 | 0.0009259 | 0.9154 | 31.6954 | 7.3908e-05
HS2006-09#70 | 208 | 208 |  | 2006-05-17 15:10 | 24C | 0.9155 | 2.677e-06 | 0.00092602 | 0.91643 | 31.7353 | 0.00010399
HS2006-09#71 | 211 | 211 |  | 2006-05-17 15:14 | 24C | 0.91197 | 2.677e-06 | 0.00092602 | 0.91289 | 31.5984 | 0.00010144
HS2006-09#72 | 214 | 214 |  | 2006-05-17 15:17 | 24C | 0.91065 | 2.5601e-06 | 0.00092596 | 0.91158 | 31.5473 | 0.00010239
HS2006-09#25 | 217 | 217 |  | 2006-05-17 11:08 | 24C | 0.9133 | 2.1677e-06 | 0.00092602 | 0.91423 | 31.65 | 8.2222e-05
HS2006-09#26 | 220 | 220 |  | 2006-05-17 11:10 | 24C | 0.91093 | 3.1143e-06 | 0.00092602 | 0.91186 | 31.5582 | 0.000121
HS2006-09#27 | 223 | 223 |  | 2006-05-17 11:13 | 24C | 0.90527 | 3.0578e-06 | 0.00092602 | 0.90619 | 31.3389 | 0.00012107
HS2006-09#28 | 226 | 226 |  | 2006-05-17 11:16 | 24C | 0.90439 | 3.3293e-06 | 0.00092602 | 0.90532 | 31.305 | 0.00012916
HS2006-09#29 | 229 | 229 |  | 2006-05-17 11:19 | 24C | 0.90262 | 1.7275e-06 | 0.00092602 | 0.90355 | 31.2365 | 6.7476e-05
HS2006-09#30 | 232 | 232 |  | 2006-05-17 11:22 | 24C | 0.90403 | 3.8804e-06 | 0.00092596 | 0.90495 | 31.2909 | 0.00015018
HS2006-09#31 | 235 | 235 |  | 2006-05-17 11:24 | 24C | 0.91239 | 4.0967e-06 | 0.00092584 | 0.91332 | 31.6148 | 0.0001583
HS2006-09#32 | 238 | 238 |  | 2006-05-17 11:27 | 24C | 0.92161 | 5.8936e-06 | 0.00092602 | 0.92254 | 31.9725 | 0.00022764
HS2006-09#33 | 241 | 241 |  | 2006-05-17 11:30 | 24C | 0.91057 | 3.0574e-06 | 0.00092602 | 0.91149 | 31.5442 | 0.00011785
HS2006-09#34 | 244 | 244 |  | 2006-05-17 11:33 | 24C | 0.88233 | 2.9498e-06 | 0.00092602 | 0.88326 | 30.4535 | 0.00011322
HS2006-09#35 | 250 | 250 |  | 2006-05-17 11:36 | 24C | 0.88063 | 2.4435e-06 | 0.00092596 | 0.88156 | 30.3879 | 9.214e-05
HS2006-09#36 | 253 | 253 |  | 2006-05-17 11:38 | 24C | 0.96548 | 2.6546e-06 | 0.00092602 | 0.96641 | 33.6819 | 0.0001019
HS2006-09#37 | 253 | 253 |  | 2006-05-17 11:41 | 24C | 0.88684 | 7.1237e-06 | 0.00092602 | 0.88777 | 30.6273 | 0.00027411
HS2006-09#38 | 259 | 259 |  | 2006-05-17 11:44 | 24C | 0.88323 | 2.154e-06 | 0.00092602 | 0.88416 | 30.4881 | 8.215e-05
HS2006-09#39 | 262 | 262 |  | 2006-05-17 11:47 | 24C | 0.88827 | 1.8929e-06 | 0.00092602 | 0.8892 | 30.6823 | 7.2117e-05
HS2006-09#40 | 271 | 271 |  | 2006-05-17 11:50 | 24C | 0.88688 | 2.6762e-06 | 0.00092602 | 0.88781 | 30.6287 | 0.00010399
HS2006-09#41 | 274 | 274 |  | 2006-05-17 11:53 | 24C | 0.89483 | 2.1565e-06 | 0.00092602 | 0.89575 | 30.9354 | 8.495e-05
HS2006-09#42 | 280 | 280 |  | 2006-05-17 11:55 | 24C | 0.89366 | 1.222e-06 | 0.00092602 | 0.89458 | 30.8902 | 4.813e-05
HS2006-09#43 | 283 | 283 |  | 2006-05-17 11:58 | 24C | 0.90184 | 3.3297e-06 | 0.00092602 | 0.90277 | 31.2065 | 0.00013081
HS2006-09#44 | 289 | 289 |  | 2006-05-17 12:00 | 24C | 0.90766 | 8.7836e-06 | 0.00092596 | 0.90859 | 31.4316 | 0.00033877
HS2006-09#45 | 295 | 295 |  | 2006-05-17 12:02 | 24C | 0.9111 | 2.6766e-06 | 0.00092602 | 0.91203 | 31.5649 | 0.0001045
HS2006-09#46 | 301 | 301 |  | 2006-05-17 12:05 | 24C | 0.89827 | 2.2853e-06 | 0.00092596 | 0.8992 | 31.0684 | 8.9623e-05
HS2006-09#47 | 307 | 307 |  | 2006-05-17 12:09 | 24C | 0.88907 | 3.0675e-06 | 0.0009259 | 0.89 | 30.7132 | 0.00011843
HS2006-09#48 | 313 | 313 |  | 2006-05-17 12:11 | 24C | 0.90272 | 2.1677e-06 | 0.00092602 | 0.90365 | 31.2404 | 8.2275e-05
HS2006-09#73 | 319 | 319 |  | 2006-05-17 15:21 | 24C | 0.89446 | 1.7474e-06 | 0.0009259 | 0.89539 | 30.9213 | 6.6841e-05
HS2006-09#74 | 325 | 325 |  | 2006-05-17 15:24 | 24C | 0.88804 | 2.6762e-06 | 0.00092602 | 0.88897 | 30.6735 | 0.000104
HS2006-09#75 | 331 | 331 |  | 2006-05-17 15:27 | 24C | 0.90171 | 3.2165e-06 | 0.00092602 | 0.90264 | 31.2013 | 0.00012395
HS2006-09#76 | 343 | 343 |  | 2006-05-17 15:30 | 24C | 0.89789 | 3.0656e-06 | 0.00092602 | 0.89882 | 31.0538 | 0.00011811
HS2006-09#77 | 349 | 349 |  | 2006-05-17 15:33 | 24C | 0.89864 | 2.662e-06 | 0.00092602 | 0.89956 | 31.0826 | 0.00010461
HS2006-09#78 | 352 | 352 |  | 2006-05-17 15:36 | 24C | 0.89465 | 2.3924e-06 | 0.00092602 | 0.89558 | 30.9286 | 9.2542e-05
HS2006-09#79 | 358 | 358 |  | 2006-05-17 15:39 | 24C | 0.90009 | 3.319e-06 | 0.00092596 | 0.90102 | 31.1389 | 0.00012763
HS2006-09#80 | 364 | 364 |  | 2006-05-17 15:42 | 24C | 0.91164 | 1.2537e-06 | 0.00092602 | 0.91257 | 31.5857 | 4.9902e-05
HS2006-09#81 | 367 | 367 |  | 2006-05-17 15:45 | 24C | 0.88983 | 2.949e-06 | 0.00092602 | 0.89075 | 30.7423 | 0.00011408
HS2006-09#82 | 373 | 373 |  | 2006-05-17 15:48 | 24C | 0.8701 | 3.0663e-06 | 0.0009259 | 0.87102 | 29.9825 | 0.00011838
HS2006-09#83 | 376 | 376 |  | 2006-05-17 15:51 | 24C | 0.87794 | 2.4435e-06 | 0.0009259 | 0.87887 | 30.2842 | 9.2607e-05
HS2006-09#84 | 382 | 382 |  | 2006-05-17 15:54 | 24C | 0.92083 | 3.3282e-06 | 0.00092602 | 0.92175 | 31.9419 | 0.0001298
HS2006-09#85 | 388 | 388 |  | 2006-05-17 15:59 | 24C | 0.86023 | 4.3374e-06 | 0.00092596 | 0.86115 | 29.6034 | 0.00016735