File List for SeaBird Data          Cruise Number: 2006-09

[osapcommon\cruise_data\2006-09\chl] Original titrated chlorophyll data from analyst

[osapcommon\cruise_data\2006-09\ctd]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

[osapcommon\cruise_data\2006-09\ctd\convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon\cruise_data\2006-09\ctd\derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon\cruise_data\ctd\2006-09\ctd\doc]

2006-09-fl-chl-comp – comparison of fluorescence and titrated chlorophyll

2006-09-shallow-all – comparison of all shallow bottles with CTD

2006-09-sal-comp-well-mixed.xls –comparison of salinity from well-mixed surf and deep bottles

2006-09_proc.doc - processing notes

2006-09_file.doc - this document

*hdr.txt –various files containing comments used for headers

[osapcommon\cruise_data\2006-09\ctd\ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del (del2)– downcast (upcast) data after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2006-09\Nutrients] Original oxygen bottle files from analyst

[osapcommon\cruise_data\2006-09\Salinity] Original bottle salinity spreadsheet from analyst

[osapcommon\cruise_data\2006-09\TSG]

*.cnv – after SeaBird conversion

*.con – configuration files

*.hex – original data acquired at sea

[osapcommon\cruise_data\2006-09\TSG\doc]

2006-09-tsg-recal.ccf – calibration control file for TSG

2006-09ctd-surf..xls-upcast averaged CTD data around 4.5m

2006-09-tsg-ctd-comp.csv – comparison of CTD and TSG matching times

tsg_study_Muchalat.xls – study of noisy data in Muchalat Inlet

TSG-CTD-comp-outliers_excluded.xls – subset of above for CTD casts well-mixed at surface

2006-09-TSG-hdr.txt – file with comments for headers

[osapcommon\cruise_data\2006-09\TSG\IOS] – data after conversion to IOS Headers

*.atc – files after adding time channel

*.ed1/ed2 – files after editing positions / T & S data

*.ios – files after conversion from CSV to IOS headers

*.log - log file for editing runs

*.tob – final data file after REMOVE and HEAD EDIT