The following comments are from Melanie Quenneville re problems with some sample numbers on nutrient samples.

| Cruise 2006-11 Station 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| re: confusion about sample numbers on labels (see email message of July 14, 2006 from W. Richardson) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Plotting nutrients vs depth, as originally labelled, the "duplicates" at 30m are quite different. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If it is assumed that the samples were taken as marked in the rosette sheets, a better profile is obtained. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Note that the mixed layer depth is apparently around 30 m with the original sample numbers, and around 10m when changed. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I agree that we are justified in changing the sample numbers to what was recorded in the sample books. MQ. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Original |  |  |  |  |  | Original: |  |  |  |  |  |  |  |
| sample # | Depth | nitrate | silicate | phosphate |  |  |  |  |  |  |  |  |  |
| 76 | 10 | 10.9 | 16.6 | 1.22 |  |  |  |  |  |  |  |  |  |
| 75 | 20 | 11.2 | 17.2 | 1.22 |  |  |  |  |  |  |  |  |  |
| 74 | 20 | 11.8 | 17.3 | 1.36 |  |  |  |  |  |  |  |  |  |
| 73 | 30 | 17.1 | 29.0 | 1.88 |  |  |  |  |  |  |  |  |  |
| 72 | 30 | 22.1 | 39.9 | 2.00 |  |  |  |  |  |  |  |  |  |
| 71 | 40 | 26.3 | 49.1 | 2.62 |  |  |  |  |  |  |  |  |  |
| 70 | 50 | 28.5 | 54.2 | 2.68 |  |  |  |  |  |  |  |  |  |
| 69 | 75 | 29.6 | 58.1 | 2.00 |  |  |  |  |  |  |  |  |  |
| 68 | 100 | 28.3 | 54.5 | 2.44 |  |  |  |  |  |  |  |  |  |
| 67 | 125 | 27.7 | 53.8 | 2.65 |  |  |  |  |  |  |  |  |  |
| 66 | 150 | 28.0 | 54.1 | 2.68 |  |  |  |  |  |  |  |  |  |
| 65 | 175 | 29.1 | 58.4 | 2.76 |  |  |  |  |  |  |  |  |  |
| 64 | 184 | 28.3 | 58.4 | 2.79 |  |  |  |  |  |  |  |  |  |
| Amended |  |  |  |  |  |  |  |  |  |  |  |  |  |
| sample # | Depth | nitrate | silicate | phosphate |  | Amended: |  |  |  |  |  |  |  |
| 80 | 0 | 10.9 | 16.6 | 1.22 |  |  |  |  |  |  |  |  |  |
| 78 | 5 | 11.2 | 17.2 | 1.22 |  |  |  |  |  |  |  |  |  |
| 76 | 10 | 11.8 | 17.3 | 1.36 |  |  |  |  |  |  |  |  |  |
| 74 | 20 | 17.1 | 29.0 | 1.88 |  |  |  |  |  |  |  |  |  |
| 72 | 30 | 22.1 | 39.9 | 2.00 |  |  |  |  |  |  |  |  |  |
| 71 | 40 | 26.3 | 49.1 | 2.62 |  |  |  |  |  |  |  |  |  |
| 70 | 50 | 28.5 | 54.2 | 2.68 |  |  |  |  |  |  |  |  |  |
| 69 | 75 | 29.6 | 58.1 | 2.00 |  |  |  |  |  |  |  |  |  |
| 68 | 100 | 28.3 | 54.5 | 2.44 |  |  |  |  |  |  |  |  |  |
| 67 | 125 | 27.7 | 53.8 | 2.65 |  |  |  |  |  |  |  |  |  |
| 66 | 150 | 28.0 | 54.1 | 2.68 |  |  |  |  |  |  |  |  |  |
| 65 | 175 | 29.1 | 58.4 | 2.76 |  |  |  |  |  |  |  |  |  |
| 64 | 184 | 28.3 | 58.4 | 2.79 |  |  |  |  |  |  |  |  |  |