## 2006-11
Cruise 2006-11 bottle salinity analysis
Analyzed May 16, 2006 by Doug Anderson
Instrument Used: Autosal 68572
Comments:
Salinity sample Loop4 can't be trusted. No cap liner found on bottle.
Sample ID | Cast No. | Sample Num | QC Flags | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 |  | P141 |  | 2006-05-10 11:36 | 24C | 0.99907 | 1.8935e-06 | 0.00085896 | 0.99993
Calibration#2 |  | P141 |  | 2006-05-10 11:38 | 24C | 0.99906 | 6.3418e-06 | 0.00087309 | 0.99993
Calibration#3 |  | P141 |  | 2006-05-10 11:41 | 24C | 0.99917 | 2.4439e-06 | 0.00075907 | 0.99993
2006-11#1 | 1 | 1 |  | 2006-05-10 11:52 | 24C | 0.87143 | 1.7275e-06 | 0.00075901 | 0.87219 | 30.0274 | 6.9476e-05
2006-11#2 | 14 | 28 |  | 2006-05-10 11:59 | 24C | 0.89786 | 2.2849e-06 | 0.00075912 | 0.89862 | 31.0461 | 8.8464e-05
2006-11#3 | 17 | 48 |  | 2006-05-10 12:03 | 24C | 0.89787 | 2.5601e-06 | 0.00075912 | 0.89863 | 31.0466 | 0.0001024
2006-11#4 | 17 | 62 |  | 2006-05-10 12:07 | 24C | 0.84328 | 2.9046e-06 | 0.00075912 | 0.84404 | 28.9477 | 0.000111
2006-11#5 | 19 | 64 |  | 2006-05-10 12:12 | 24C | 0.88668 | 2.6766e-06 | 0.00075901 | 0.88744 | 30.6147 | 0.00010196
2006-11#6 | 19 | 76 |  | 2006-05-10 12:16 | 24C | 0.8401 | 3.1143e-06 | 0.00075912 | 0.84086 | 28.8263 | 0.00011772
2006-11#7 | 22 | 92 |  | 2006-05-10 12:21 | 24C | 0.8523 | 2.5597e-06 | 0.00075901 | 0.85306 | 29.293 | 0.0001024
2006-11#8 | 22 | 82 |  | 2006-05-10 12:25 | 24C | 0.88517 | 2.1086e-06 | 0.00075901 | 0.88593 | 30.5565 | 7.9825e-05
2006-11#9 | 28 | 107 |  | 2006-05-10 12:30 | 24C | 0.89345 | 1.2215e-06 | 0.00075901 | 0.89421 | 30.8758 | 4.71e-05
2006-11#10 | 28 | 119 |  | 2006-05-10 12:35 | 24C | 0.84132 | 2.5597e-06 | 0.00075907 | 0.84208 | 28.8728 | 9.7515e-05
2006-11#11 | 31 | 128 |  | 2006-05-10 12:39 | 24C | 0.89813 | 2.6766e-06 | 0.00075889 | 0.89889 | 31.0566 | 0.00010705
2006-11#12 | 31 | 141 |  | 2006-05-10 12:45 | 24C | 0.847 | 2.1677e-06 | 0.00075901 | 0.84776 | 29.0901 | 8.2233e-05
2006-11#13 | 35 | 149 |  | 2006-05-10 12:50 | 24C | 0.89747 | 2.4431e-06 | 0.00075907 | 0.89823 | 31.031 | 9.2613e-05
2006-11#17 | 35 | 162 |  | 2006-05-10 13:18 | 24C | 0.85498 | 1.0111e-06 | 0.00075901 | 0.85574 | 29.3958 | 3.6047e-05
2006-11#14 | 39 | 167 |  | 2006-05-10 12:55 | 24C | 0.89573 | 3.9171e-06 | 0.00075907 | 0.89649 | 30.964 | 0.00015324
2006-11#15 | 39 | 180 |  | 2006-05-10 12:59 | 24C | 0.85579 | 2.6655e-06 | 0.00075901 | 0.85655 | 29.4269 | 0.00010146
2006-11#16 | 45 | 200 |  | 2006-05-10 13:12 | 24C | 0.88032 | 3.0663e-06 | 0.00075907 | 0.88108 | 30.3694 | 0.00011913
Calibration#4 |  | P141 |  | 2006-05-16 09:35 | 24C | 0.99909 | 1.8935e-06 | 0.000844 | 0.99993
Calibration#5 |  | P141 |  | 2006-05-16 09:36 | 24C | 0.99908 | 2.6762e-06 | 0.00085205 | 0.99993
Calibration#6 |  | P141 |  | 2006-05-16 09:38 | 24C | 0.99906 | 2.6762e-06 | 0.00086814 | 0.99993
2006-11#18 | 45 | 208 |  | 2006-05-16 09:42 | 24C | 0.8618 | 2.0021e-06 | 0.00086796 | 0.86267 | 29.6615 | 7.6637e-05
2006-11#19 |  | Loop6 |  | 2006-05-16 09:46 | 24C | 0.84089 | 1.8929e-06 | 0.0008679 | 0.84176 | 28.8606 | 7.1774e-05
2006-11#20 |  | Loop7 |  | 2006-05-16 09:49 | 24C | 0.8408 | 3.1142e-06 | 0.00086808 | 0.84167 | 28.8574 | 0.00011792
2006-11#21 |  | Loop9 |  | 2006-05-16 09:53 | 24C | 0.84013 | 3.066e-06 | 0.00086808 | 0.841 | 28.8317 | 0.00012108
2006-11#22 |  | Loop2 |  | 2006-05-16 09:56 | 24C | 0.83375 | 2.5605e-06 | 0.00086796 | 0.83462 | 28.5877 | 9.6545e-05
2006-11#23 |  | Loop4 | d | 2006-05-16 10:01 | 24C | 0.79272 | 2.5451e-06 | 0.00086796 | 0.79359 | 27.0276 | 9.7515e-05
2006-11#24 |  | Loop10 |  | 2006-05-16 10:04 | 24C | 0.82842 | 1.222e-06 | 0.0008679 | 0.82928 | 28.3843 | 4.8597e-05
2006-11#25 |  | Loop12 |  | 2006-05-16 10:07 | 24C | 0.83143 | 3.2305e-06 | 0.0008679 | 0.8323 | 28.4993 | 0.00012281
2006-11#26 |  | Loop14 |  | 2006-05-16 10:11 | 24C | 0.83644 | 1.207e-06 | 0.00086796 | 0.83731 | 28.6906 | 4.6538e-05
2006-11#27 |  | Loop15 |  | 2006-05-16 10:14 | 24C | 0.87183 | 2.1683e-06 | 0.00086796 | 0.8727 | 30.0469 | 8.2233e-05
2006-11#28 |  | Loop16 |  | 2006-05-16 10:16 | 24C | 0.86361 | 3.4309e-06 | 0.00086808 | 0.86448 | 29.7312 | 0.00013163
2006-11#29 |  | Loop18 |  | 2006-05-16 10:19 | 24C | 0.87229 | 1.2537e-06 | 0.00086784 | 0.87315 | 30.0644 | 4.6088e-05
2006-11#30 |  | Loop19 |  | 2006-05-16 10:22 | 24C | 0.8849 | 3.1732e-06 | 0.00086796 | 0.88576 | 30.55 | 0.00012104
2006-11#31 |  | Loop13 |  | 2006-05-16 10:25 | 24C | 0.85051 | 3.0656e-06 | 0.00086808 | 0.85138 | 29.2287 | 0.00011801
2006-11#32 |  | Loop20 |  | 2006-05-16 10:28 | 24C | 0.88908 | 2.7838e-06 | 0.00086808 | 0.88995 | 30.7115 | 0.00010692
2006-11#33 |  | Loop21 |  | 2006-05-16 10:31 | 24C | 0.88827 | 3.0656e-06 | 0.00086796 | 0.88914 | 30.68 | 0.0001164
2006-11#34 |  | Loop22 |  | 2006-05-16 10:34 | 24C | 0.88475 | 2.5601e-06 | 0.00086796 | 0.88561 | 30.5442 | 9.7515e-05
2006-11#35 |  | Loop24 |  | 2006-05-16 11:01 | 24C | 0.82974 | 2.768e-06 | 0.00086808 | 0.8306 | 28.4347 | 0.00010717
2006-11#36 |  | Loop25 |  | 2006-05-16 11:04 | 24C | 0.84353 | 2.1677e-06 | 0.00086802 | 0.8444 | 28.9615 | 8.2123e-05
2006-11#37 |  | Loop26 |  | 2006-05-16 11:07 | 24C | 0.88151 | 2.1538e-06 | 0.00086802 | 0.88238 | 30.4196 | 8.2606e-05
2006-11#38 | 49 | 217 |  | 2006-05-16 11:11 | 24C | 0.88779 | 3.2983e-06 | 0.00086784 | 0.88866 | 30.6615 | 0.00013073
2006-11#39 | 49 | 231 |  | 2006-05-16 11:14 | 24C | 0.87803 | 3.066e-06 | 0.00086808 | 0.87889 | 30.2853 | 0.00011816
2006-11#40 | 62 | 236 |  | 2006-05-16 11:17 | 24C | 0.91254 | 3.7718e-06 | 0.00086784 | 0.91341 | 31.6182 | 0.00014659
2006-11#41 | 62 | 245 |  | 2006-05-16 11:20 | 24C | 0.87848 | 1.2541e-06 | 0.0008679 | 0.87934 | 30.3027 | 4.607e-05
2006-11#42 | 65 | 259 |  | 2006-05-16 11:25 | 24C | 0.91546 | 2.2853e-06 | 0.00086796 | 0.91633 | 31.7315 | 8.7059e-05
2006-11#43 | 65 | 268 |  | 2006-05-16 11:28 | 24C | 0.89364 | 2.8391e-06 | 0.00086808 | 0.89451 | 30.8874 | 0.0001087
2006-11#44 | 71 | 284 |  | 2006-05-16 11:30 | 24C | 0.91236 | 1.8927e-06 | 0.00086784 | 0.91323 | 31.6114 | 7.5384e-05
2006-11#45 | 71 | 292 |  | 2006-05-16 11:34 | 24C | 0.89601 | 3.4618e-06 | 0.00086802 | 0.89687 | 30.9787 | 0.00013457
2006-11#46 | 74 | 298 |  | 2006-05-16 11:40 | 24C | 0.95104 | 3.1004e-06 | 0.00086796 | 0.9519 | 33.1151 | 0.0001221
2006-11#47 | 74 | 308 |  | 2006-05-16 11:44 | 24C | 0.88514 | 3.066e-06 | 0.00086796 | 0.88601 | 30.5593 | 0.00012067
2006-11#48 | 77 | 314 |  | 2006-05-16 11:47 | 24C | 0.93442 | 2.6742e-06 | 0.00086808 | 0.93529 | 32.4677 | 0.00010647
2006-11#49 | 77 | 323 |  | 2006-05-16 11:50 | 24C | 0.89692 | 3.4742e-06 | 0.00086784 | 0.89778 | 31.0138 | 0.00013235
2006-11#50 | 80 | 331 |  | 2006-05-16 11:54 | 24C | 0.96961 | 3.1919e-06 | 0.00086802 | 0.97048 | 33.8413 | 0.00012344
2006-11#51 | 80 | 340 |  | 2006-05-16 11:57 | 24C | 0.87748 | 2.1683e-06 | 0.00086808 | 0.87835 | 30.2644 | 8.2606e-05
2006-11#52 | 84 | 357 |  | 2006-05-16 12:00 | 24C | 0.96718 | 3.785e-06 | 0.00086802 | 0.96804 | 33.7458 | 0.00015089
2006-11#53 | 88 | 385 |  | 2006-05-16 12:03 | 24C | 0.86313 | 2.9069e-06 | 0.00086808 | 0.864 | 29.7128 | 0.00011212
2006-11#54 | 88 | 400 |  | 2006-05-16 12:06 | 24C | 0.90467 | 2.1683e-06 | 0.00086796 | 0.90553 | 31.3134 | 8.44e-05

## Sheet2
2006-11#55 | 2006-05-16 12:09 | 24C | 0.87917 | 3.308e-06 | 0.00086796 | 0.88004 | 30.3295 | 0.0001265