## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2006/11/20 11:45:40 | Compare Excel Add-in Version 2.1
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 1 | 4313.46 | 4314.52 | 0 | 1.0601 | 3.484 | 3.18 | 0 | -0.304
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 4001.06 | 4001 | 1.3859 | -0.060059 | 3.21 | 3.1275 | 0.00070706 | -0.0825
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 0 | 3500.57 | 0 | 0 | -3500.57 | 2.975 | 0 | 0 | -2.975
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 2998.43 | 2999.02 | 1.4071 | 0.5852 | 2.536 | 2.4965 | 0.0021213 | -0.0395
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 2002.45 | 2003.01 | 1.4213 | 0.55505 | 1.312 | 1.285 | 0.0014142 | -0.027
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 1 | 1503.11 | 1501.99 | 0 | -1.12 | 0.609 | 0.616 | 0 | 0.007
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 1251.63 | 1251 | 1.4142 | -0.63001 | 0.428 | 0.445 | 0 | 0.017
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 1001.32 | 1000.99 | 1.4213 | -0.32501 | 0.364 | 0.3865 | 0.0007071 | 0.0225
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 801.8 | 801 | 1.4001 | -0.79999 | 0.39 | 0.4105 | 0.00070712 | 0.0205
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 601.34 | 601 | 1.4284 | -0.34003 | 0.605 | 0.597 | 0.0014142 | -0.008
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 399.92 | 398.995 | 1.393 | -0.92502 | 0.917 | 0.973 | 0.0056569 | 0.056
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 300.4 | 300.995 | 1.4071 | 0.595 | 1.458 | 1.46 | 0.0056569 | 0.0020001
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 249.07 | 249.015 | 1.4213 | -0.055008 | 2.14 | 2.2545 | 0.024749 | 0.1145
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 201.05 | 200.995 | 1.4354 | -0.055008 | 2.943 | 2.932 | 0.0084852 | -0.011
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 175.63 | 175.995 | 1.4213 | 0.36499 | 3.314 | 3.444 | 0.039598 | 0.13
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 150.47 | 151.005 | 1.4071 | 0.535 | 4.256 | 4.2355 | 0.061518 | -0.0205
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 126.94 | 126.01 | 1.4001 | -0.93001 | 5.659 | 5.217 | 0.077782 | -0.442
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 75.94 | 76.01 | 1.4284 | 0.069992 | 7.007 | 7.119 | 0.03677 | 0.112
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 2 | 49.45 | 49.015 | 1.4213 | -0.435 | 7.017 | 7.169 | 0.0098995 | 0.152
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 4 | 24.65 | 24.49 | 1.291 | -0.16 | 6.742 | 6.7812 | 0.011955 | 0.03925
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 3 | 11.04 | 11.0033 | 0.99002 | -0.036667 | 6.74 | 6.732 | 0.0096437 | -0.0079999
2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 3 | 5.11 | 5.33 | 1.5221 | 0.22 | 6.628 | 6.7053 | 0.0090737 | 0.077333
Create Fit Sheet

## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2006-13-0003.mrgcor1 | 2006-13-0003.thn1 | 11 | 32 | 2006-13-0003.mrgcor1 & 2006-13-0003.thn1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (DOX_CTD - DOX_BOT) | DOX_CTD | 1
2 | (DOX_CTD - DOX_BOT) | Pressure | 1

## Fit_1
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.14195 |  | X | CALC Y
m= | 0.0080619 | 0.0057219 |  | Std Dev of Resid |  | 0.05674 |  | 0.3865 | 0.022103
b= | 0.018987 | 0.025843 |  | Resid Sum of Squares |  | 0.038633 |  | 7.169 | 0.076783
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 4314.52 | 3.18 | 0 | -0.304 | 0.044624 | 0.34862 |  | 0.3865 | 0.0225
1 | NO | 4001 | 3.1275 | 0.00070706 | -0.0825 | 0.044201 | 0.1267 |  | 0.4105 | 0.0205
1 | NO | 0 | 0 | 0 | -2.975 | 0.018987 | 2.994 |  | 0.597 | -0.008
1 | NO | 2999.02 | 2.4965 | 0.0021213 | -0.0395 | 0.039113 | 0.078613 |  | 0.973 | 0.056
1 | NO | 2003.01 | 1.285 | 0.0014142 | -0.027 | 0.029346 | 0.056346 |  | 1.46 | 0.0020001
1 | NO | 1501.99 | 0.616 | 0 | 0.007 | 0.023953 | 0.016953 |  | 2.2545 | 0.1145
1 | NO | 1251 | 0.445 | 0 | 0.017 | 0.022574 | 0.0055745 |  | 2.932 | -0.011
1 | YES | 1000.99 | 0.3865 | 0.0007071 | 0.0225 | 0.022103 | -0.00039713 |  | 3.444 | 0.13
1 | YES | 801 | 0.4105 | 0.00070712 | 0.0205 | 0.022296 | 0.0017964 |  | 4.2355 | -0.0205
1 | YES | 601 | 0.597 | 0.0014142 | -0.008 | 0.0238 | 0.0318 |  | 7.119 | 0.112
1 | YES | 398.995 | 0.973 | 0.0056569 | 0.056 | 0.026831 | -0.029169 |  | 7.169 | 0.152
1 | YES | 300.995 | 1.46 | 0.0056569 | 0.0020001 | 0.030757 | 0.028757 |  | 6.7812 | 0.03925
1 | YES | 249.015 | 2.2545 | 0.024749 | 0.1145 | 0.037163 | -0.077337 |  | 6.732 | -0.0079999
1 | YES | 200.995 | 2.932 | 0.0084852 | -0.011 | 0.042624 | 0.053624 |  | 6.7053 | 0.077333
1 | YES | 175.995 | 3.444 | 0.039598 | 0.13 | 0.046752 | -0.083248
1 | YES | 151.005 | 4.2355 | 0.061518 | -0.0205 | 0.053133 | 0.073633 |  |  | 0.04847
1 | NO | 126.01 | 5.217 | 0.077782 | -0.442 | 0.061046 | 0.50305
1 | YES | 76.01 | 7.119 | 0.03677 | 0.112 | 0.07638 | -0.03562
1 | YES | 49.015 | 7.169 | 0.0098995 | 0.152 | 0.076783 | -0.075217
1 | YES | 24.49 | 6.7812 | 0.011955 | 0.03925 | 0.073657 | 0.034407
1 | YES | 11.0033 | 6.732 | 0.0096437 | -0.0079999 | 0.07326 | 0.08126
1 | YES | 5.33 | 6.7053 | 0.0090737 | 0.077333 | 0.073045 | -0.0042888
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.10175 |  | X | CALC Y
m= | -6.0527e-05 | 5.1915e-05 |  | Std Dev of Resid |  | 0.058054 |  | 5.33 | 0.065639
b= | 0.065962 | 0.021583 |  | Resid Sum of Squares |  | 0.040443 |  | 1000.99 | 0.0053749
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 4314.52 | 3.18 | 0 | -0.304 | -0.19518 | 0.10882 |  | 1000.99 | 0.0225
1 | NO | 4001 | 3.1275 | 0.00070706 | -0.0825 | -0.17621 | -0.093707 |  | 801 | 0.0205
1 | NO | 0 | 0 | 0 | -2.975 | 0.065962 | 3.041 |  | 601 | -0.008
1 | NO | 2999.02 | 2.4965 | 0.0021213 | -0.0395 | -0.11556 | -0.07606 |  | 398.995 | 0.056
1 | NO | 2003.01 | 1.285 | 0.0014142 | -0.027 | -0.055274 | -0.028274 |  | 300.995 | 0.0020001
1 | NO | 1501.99 | 0.616 | 0 | 0.007 | -0.024949 | -0.031949 |  | 249.015 | 0.1145
1 | NO | 1251 | 0.445 | 0 | 0.017 | -0.0097574 | -0.026757 |  | 200.995 | -0.011
1 | YES | 1000.99 | 0.3865 | 0.0007071 | 0.0225 | 0.0053749 | -0.017125 |  | 175.995 | 0.13
1 | YES | 801 | 0.4105 | 0.00070712 | 0.0205 | 0.01748 | -0.0030203 |  | 151.005 | -0.0205
1 | YES | 601 | 0.597 | 0.0014142 | -0.008 | 0.029585 | 0.037585 |  | 76.01 | 0.112
1 | YES | 398.995 | 0.973 | 0.0056569 | 0.056 | 0.041812 | -0.014188 |  | 49.015 | 0.152
1 | YES | 300.995 | 1.46 | 0.0056569 | 0.0020001 | 0.047744 | 0.045743 |  | 24.49 | 0.03925
1 | YES | 249.015 | 2.2545 | 0.024749 | 0.1145 | 0.05089 | -0.06361 |  | 11.0033 | -0.0079999
1 | YES | 200.995 | 2.932 | 0.0084852 | -0.011 | 0.053796 | 0.064796 |  | 5.33 | 0.077333
1 | YES | 175.995 | 3.444 | 0.039598 | 0.13 | 0.055309 | -0.074691
1 | YES | 151.005 | 4.2355 | 0.061518 | -0.0205 | 0.056822 | 0.077322
1 | NO | 126.01 | 5.217 | 0.077782 | -0.442 | 0.058335 | 0.50033
1 | YES | 76.01 | 7.119 | 0.03677 | 0.112 | 0.061361 | -0.050639
1 | YES | 49.015 | 7.169 | 0.0098995 | 0.152 | 0.062995 | -0.089005
1 | YES | 24.49 | 6.7812 | 0.011955 | 0.03925 | 0.06448 | 0.02523
1 | YES | 11.0033 | 6.732 | 0.0096437 | -0.0079999 | 0.065296 | 0.073296
1 | YES | 5.33 | 6.7053 | 0.0090737 | 0.077333 | 0.065639 | -0.011694
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE