## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2006/11/20 10:11:13 | Compare Excel Add-in Version 2.1
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 1.2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 4313.46 | 4313.38 | 0 | -0.079102 | 3.484 | 3.149 | 0 | -0.335
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 2 | 4001.06 | 4001 | 1.4149 | -0.060547 | 3.21 | 3.1015 | 0.00070706 | -0.1085
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 0 | 3500.57 | 0 | 0 | -3500.57 | 2.975 | 0 | 0 | -2.975
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 2998.43 | 2998.01 | 0 | -0.41895 | 2.536 | 2.466 | 0 | -0.07
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 2002.45 | 2001.99 | 0 | -0.45593 | 1.312 | 1.255 | 0 | -0.057
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 1503.11 | 1502.02 | 0 | -1.0909 | 0.609 | 0.588 | 0 | -0.021
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 1251.63 | 1252.02 | 0 | 0.38599 | 0.428 | 0.416 | 0 | -0.012
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 1001.32 | 1002 | 0 | 0.67798 | 0.364 | 0.355 | 0 | -0.009
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 801.8 | 801.999 | 0 | 0.19904 | 0.39 | 0.378 | 0 | -0.012
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 601.34 | 602.005 | 0 | 0.66498 | 0.605 | 0.564 | 0 | -0.041
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 399.92 | 400.009 | 0 | 0.088989 | 0.917 | 0.937 | 0 | 0.02
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 300.4 | 299.99 | 0 | -0.41 | 1.458 | 1.429 | 0 | -0.029
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 2 | 249.07 | 249.009 | 1.4064 | -0.060516 | 2.14 | 2.1995 | 0.034648 | 0.0595
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 2 | 201.05 | 200.998 | 1.3958 | -0.052002 | 2.943 | 2.893 | 0.0070711 | -0.05
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 175.63 | 175.008 | 0 | -0.62201 | 3.314 | 3.409 | 0 | 0.095
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 150.47 | 150.012 | 0 | -0.45801 | 4.256 | 4.186 | 0 | -0.07
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 126.94 | 127.005 | 0 | 0.064995 | 5.659 | 5.09 | 0 | -0.569
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 2 | 75.94 | 76.0105 | 1.4093 | 0.070496 | 7.007 | 7.0665 | 0.010606 | 0.0595
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 1 | 49.45 | 50.008 | 0 | 0.558 | 7.017 | 7.144 | 0 | 0.127
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 2 | 24.65 | 24.498 | 0.70993 | -0.152 | 6.742 | 6.76 | 0.019799 | 0.018
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 3 | 11.04 | 10.996 | 1.0055 | -0.044 | 6.74 | 6.699 | 0.0065574 | -0.041
2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 2 | 5.11 | 4.506 | 0.69438 | -0.604 | 6.628 | 6.6735 | 0.0063638 | 0.0455
Create Fit Sheet

## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2006-13-0003.mrgcor1 | 2006-13-0003.thn3 | 11 | 32 | 2006-13-0003.mrgcor1 & 2006-13-0003.thn3

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (DOX_CTD - DOX_BOT) | DOX_CTD | 1
2 | (DOX_CTD - DOX_BOT) | Pressure | 1

## Fit_1
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.15179 |  | X | CALC Y
m= | 0.0083074 | 0.0056691 |  | Std Dev of Resid |  | 0.05623 |  | 0.355 | -0.01481
b= | -0.01776 | 0.025441 |  | Resid Sum of Squares |  | 0.037942 |  | 7.144 | 0.041589
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 4313.38 | 3.149 | 0 | -0.335 | 0.0084006 | 0.3434 |  | 0.355 | -0.009
1 | NO | 4001 | 3.1015 | 0.00070706 | -0.1085 | 0.008006 | 0.11651 |  | 0.378 | -0.012
1 | NO | 0 | 0 | 0 | -2.975 | -0.01776 | 2.9572 |  | 0.564 | -0.041
1 | NO | 2998.01 | 2.466 | 0 | -0.07 | 0.0027266 | 0.072727 |  | 0.937 | 0.02
1 | NO | 2001.99 | 1.255 | 0 | -0.057 | -0.0073337 | 0.049666 |  | 1.429 | -0.029
1 | NO | 1502.02 | 0.588 | 0 | -0.021 | -0.012875 | 0.0081252 |  | 2.1995 | 0.0595
1 | NO | 1252.02 | 0.416 | 0 | -0.012 | -0.014304 | -0.0023036 |  | 2.893 | -0.05
1 | YES | 1002 | 0.355 | 0 | -0.009 | -0.01481 | -0.0058104 |  | 3.409 | 0.095
1 | YES | 801.999 | 0.378 | 0 | -0.012 | -0.014619 | -0.0026193 |  | 4.186 | -0.07
1 | YES | 602.005 | 0.564 | 0 | -0.041 | -0.013074 | 0.027926 |  | 7.0665 | 0.0595
1 | YES | 400.009 | 0.937 | 0 | 0.02 | -0.0099755 | -0.029975 |  | 7.144 | 0.127
1 | YES | 299.99 | 1.429 | 0 | -0.029 | -0.0058882 | 0.023112 |  | 6.76 | 0.018
1 | YES | 249.009 | 2.1995 | 0.034648 | 0.0595 | 0.00051269 | -0.058987 |  | 6.699 | -0.041
1 | YES | 200.998 | 2.893 | 0.0070711 | -0.05 | 0.0062739 | 0.056274 |  | 6.6735 | 0.0455
1 | YES | 175.008 | 3.409 | 0 | 0.095 | 0.010561 | -0.084439
1 | YES | 150.012 | 4.186 | 0 | -0.07 | 0.017015 | 0.087016
1 | NO | 127.005 | 5.09 | 0 | -0.569 | 0.024525 | 0.59353
1 | YES | 76.0105 | 7.0665 | 0.010606 | 0.0595 | 0.040945 | -0.018555
1 | YES | 50.008 | 7.144 | 0 | 0.127 | 0.041589 | -0.085411
1 | YES | 24.498 | 6.76 | 0.019799 | 0.018 | 0.038399 | 0.020399
1 | YES | 10.996 | 6.699 | 0.0065574 | -0.041 | 0.037892 | 0.078892
1 | YES | 4.506 | 6.6735 | 0.0063638 | 0.0455 | 0.03768 | -0.0078201
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.092216 |  | X | CALC Y
m= | -5.7347e-05 | 5.1941e-05 |  | Std Dev of Resid |  | 0.058171 |  | 4.506 | 0.028641
b= | 0.028899 | 0.021614 |  | Resid Sum of Squares |  | 0.040606 |  | 1002 | -0.028563
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 4313.38 | 3.149 | 0 | -0.335 | -0.21846 | 0.11654 |  | 1002 | -0.009
1 | NO | 4001 | 3.1015 | 0.00070706 | -0.1085 | -0.20055 | -0.092048 |  | 801.999 | -0.012
1 | NO | 0 | 0 | 0 | -2.975 | 0.028899 | 3.0039 |  | 602.005 | -0.041
1 | NO | 2998.01 | 2.466 | 0 | -0.07 | -0.14303 | -0.073029 |  | 400.009 | 0.02
1 | NO | 2001.99 | 1.255 | 0 | -0.057 | -0.08591 | -0.02891 |  | 299.99 | -0.029
1 | NO | 1502.02 | 0.588 | 0 | -0.021 | -0.057238 | -0.036238 |  | 249.009 | 0.0595
1 | NO | 1252.02 | 0.416 | 0 | -0.012 | -0.042901 | -0.030901 |  | 200.998 | -0.05
1 | YES | 1002 | 0.355 | 0 | -0.009 | -0.028563 | -0.019563 |  | 175.008 | 0.095
1 | YES | 801.999 | 0.378 | 0 | -0.012 | -0.017093 | -0.0050934 |  | 150.012 | -0.07
1 | YES | 602.005 | 0.564 | 0 | -0.041 | -0.0056243 | 0.035376 |  | 76.0105 | 0.0595
1 | YES | 400.009 | 0.937 | 0 | 0.02 | 0.0059597 | -0.01404 |  | 50.008 | 0.127
1 | YES | 299.99 | 1.429 | 0 | -0.029 | 0.011695 | 0.040695 |  | 24.498 | 0.018
1 | YES | 249.009 | 2.1995 | 0.034648 | 0.0595 | 0.014619 | -0.044881 |  | 10.996 | -0.041
1 | YES | 200.998 | 2.893 | 0.0070711 | -0.05 | 0.017372 | 0.067372 |  | 4.506 | 0.0455
1 | YES | 175.008 | 3.409 | 0 | 0.095 | 0.018863 | -0.076137
1 | YES | 150.012 | 4.186 | 0 | -0.07 | 0.020296 | 0.090297
1 | NO | 127.005 | 5.09 | 0 | -0.569 | 0.021616 | 0.59062
1 | YES | 76.0105 | 7.0665 | 0.010606 | 0.0595 | 0.02454 | -0.03496
1 | YES | 50.008 | 7.144 | 0 | 0.127 | 0.026031 | -0.10097
1 | YES | 24.498 | 6.76 | 0.019799 | 0.018 | 0.027494 | 0.0094941
1 | YES | 10.996 | 6.699 | 0.0065574 | -0.041 | 0.028269 | 0.069268
1 | YES | 4.506 | 6.6735 | 0.0063638 | 0.0455 | 0.028641 | -0.01686
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE