## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2006/11/14 16:09:17 | Compare Excel Add-in Version 2.1
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2006-13-0001.mrgcor1 | 2006-13-0001.samcor1 | 121 | 215.691 | 215.691 | 0.024533 | 0.00047302 | 31.3414 | 31.3422 | 0.000216 | 0.00082016 | 31.3414 | 31.3429 | 0.00020247 | 0.0015163
2006-13-0001.mrgcor1 | 2006-13-0001.samcor1 | 121 | 200.143 | 200.143 | 0.026971 | 4.5776e-05 | 31.3386 | 31.3346 | 0.00021164 | -0.0039654 | 31.3386 | 31.3354 | 0.00018242 | -0.0032387
2006-13-0001.mrgcor1 | 2006-13-0001.samcor1 | 121 | 174.775 | 174.775 | 0.023471 | 0.00039673 | 31.324 | 31.3226 | 0.00026585 | -0.0013885 | 31.324 | 31.3233 | 0.00020797 | -0.00066757
2006-13-0001.mrgcor1 | 2006-13-0001.samcor1 | 121 | 150.091 | 150.091 | 0.025717 | -0.00032043 | 31.2948 | 31.293 | 0.00042228 | -0.0017738 | 31.2948 | 31.2929 | 0.00028296 | -0.0018806
2006-13-0001.mrgcor1 | 2006-13-0001.samcor1 | 121 | 125.301 | 125.301 | 0.030012 | 0.00015259 | 31.2297 | 31.2104 | 0.00032236 | -0.019287 | 31.2297 | 31.2112 | 0.00035376 | -0.018492
2006-13-0001.mrgcor1 | 2006-13-0001.samcor1 | 121 | 100.159 | 100.159 | 0.025716 | 0.00021362 | 31.0037 | 30.9937 | 0.00055023 | -0.0099697 | 31.0037 | 30.9939 | 0.00052303 | -0.0098324
2006-13-0001.mrgcor1 | 2006-13-0001.samcor1 | 121 | 74.878 | 74.8785 | 0.023313 | 0.00049591 | 28.8088 | 30.7277 | 0.00039555 | 1.9189 | 28.8088 | 30.7281 | 0.00034335 | 1.9193
2006-13-0001.mrgcor1 | 2006-13-0001.samcor1 | 121 | 50.14 | 50.1403 | 0.020856 | 0.0003128 | 29.9936 | 29.9866 | 0.0018354 | -0.0069809 | 29.9936 | 29.9819 | 0.0024283 | -0.011681
2006-13-0001.mrgcor1 | 2006-13-0001.samcor1 | 121 | 25.058 | 25.058 | 0.024854 | 0 | 29.4406 | 29.4256 | 0.00075269 | -0.01502 | 29.4406 | 29.4258 | 0.00069246 | -0.014776
2006-13-0001.mrgcor1 | 2006-13-0001.samcor1 | 121 | 10.008 | 10.0083 | 0.02395 | 0.00033855 | 29.202 | 29.1693 | 0.0012076 | -0.032749 | 29.202 | 29.1705 | 0.00094087 | -0.031496
2006-13-0001.mrgcor1 | 2006-13-0001.samcor1 | 121 | 5.047 | 5.0469 | 0.029349 | -6.628e-05 | 29.0157 | 28.9927 | 0.0017946 | -0.023039 | 29.0157 | 28.9925 | 0.001525 | -0.023226
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 4312.26 | 4312.26 | 0.35744 | -0.00048828 | 34.6851 | 34.6898 | 0.0002475 | 0.0047455 | 34.6851 | 34.6839 | 0.00027302 | -0.0012016
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 3999.86 | 3999.86 | 0.46459 | 0.00024414 | 34.6798 | 34.6863 | 0.00027398 | 0.0065231 | 34.6798 | 34.6808 | 0.00026515 | 0.00098419
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 3499.37 | 3499.37 | 0.36198 | 0.00024414 | 34.6706 | 34.6777 | 0.00023641 | 0.0070496 | 34.6706 | 34.6726 | 0.00023326 | 0.0019798
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 2997.23 | 2997.23 | 0.47289 | 0 | 34.6573 | 34.661 | 0.00023584 | 0.0037193 | 34.6573 | 34.6563 | 0.0002242 | -0.0010185
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 2001.25 | 2001.25 | 0.24214 | 0.00036621 | 34.5859 | 34.5902 | 0.0002177 | 0.0042763 | 34.5859 | 34.5863 | 0.00026166 | 0.00038147
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 1501.91 | 1501.91 | 0.20251 | -0.00024414 | 34.5058 | 34.5094 | 0.00026416 | 0.0035706 | 34.5058 | 34.5059 | 0.0002803 | 7.6294e-05
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 1250.43 | 1250.43 | 0.20149 | 0.00024414 | 34.4506 | 34.4534 | 0.00023845 | 0.0028267 | 34.4506 | 34.45 | 0.00026951 | -0.00062561
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 1000.12 | 1000.12 | 0.39523 | -0.00012207 | 34.3728 | 34.3769 | 0.00024281 | 0.0041237 | 34.3728 | 34.3736 | 0.0002995 | 0.00082398
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 800.596 | 800.596 | 0.61809 | -0.00042725 | 34.2877 | 34.2938 | 0.0003417 | 0.0061493 | 34.2877 | 34.2905 | 0.00023831 | 0.0028343
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 600.142 | 600.142 | 0.4175 | 0.00030518 | 34.1641 | 34.1701 | 0.00024026 | 0.0060234 | 34.1641 | 34.1669 | 0.00028288 | 0.0028229
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 398.722 | 398.722 | 0.20563 | 0.00042725 | 33.9816 | 33.9855 | 0.00025207 | 0.0039215 | 33.9816 | 33.9825 | 0.00029083 | 0.00090408
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 299.199 | 299.199 | 0.59232 | -0.00021362 | 33.8982 | 33.8972 | 0.00079477 | -0.00099945 | 33.8982 | 33.8944 | 0.000896 | -0.0037766
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 247.869 | 247.869 | 0.35902 | -0.00022888 | 33.8323 | 33.8379 | 0.00031112 | 0.0055924 | 33.8323 | 33.8347 | 0.00041886 | 0.002449
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 199.852 | 199.852 | 0.61365 | -1.5259e-05 | 33.7759 | 33.7806 | 0.00050152 | 0.0046616 | 33.7759 | 33.7774 | 0.00033287 | 0.0014496
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 174.435 | 174.435 | 0.055514 | -0.00048828 | 33.7286 | 33.731 | 0.0004568 | 0.0024071 | 33.7286 | 33.7279 | 0.0002811 | -0.00067902
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 149.272 | 149.272 | 0.17628 | -0.00035095 | 33.5849 | 33.588 | 0.00030245 | 0.0030518 | 33.5849 | 33.5852 | 0.00027766 | 0.00028992
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 125.737 | 125.737 | 0.19096 | 0.00040436 | 33.1414 | 33.1977 | 0.01118 | 0.056263 | 33.1414 | 33.1846 | 0.010224 | 0.043171
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 74.737 | 74.7372 | 0.37482 | 0.00022125 | 32.6418 | 32.6417 | 0.0003503 | -0.00011444 | 32.6418 | 32.639 | 0.00026645 | -0.0027885
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 48.25 | 48.2501 | 0.54228 | 7.2479e-05 | 32.5884 | 32.5871 | 0.0033007 | -0.0013313 | 32.5884 | 32.584 | 0.0028019 | -0.0043869
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 23.448 | 23.4477 | 0.54985 | -0.0003376 | 32.5671 | 32.5656 | 0.002994 | -0.0015144 | 32.5671 | 32.5634 | 0.0019517 | -0.003685
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 9.843 | 9.8428 | 0.33395 | -0.00023174 | 32.5652 | 32.5654 | 0.00041071 | 0.00021744 | 32.5652 | 32.5619 | 0.00041537 | -0.0032768
2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 121 | 3.911 | 3.9113 | 0.16796 | 0.00028086 | 32.5645 | 32.5652 | 0.00033586 | 0.00069809 | 32.5645 | 32.5619 | 0.00028023 | -0.0026131
Create Fit Sheet

## File List
Number of Files= |  | 2
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2006-13-0001.mrgcor1 | 2006-13-0001.samcor1 | 12 | 22 | 2006-13-0001.mrgcor1 & 2006-13-0001.samcor1
2 | 2006-13-0003.mrgcor1 | 2006-13-0003.samcor1 | 24 | 45 | 2006-13-0003.mrgcor1 & 2006-13-0003.samcor1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal1 - Sal_bot) | Pressure | 2

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.18679 |  | X | CALC Y
m= | -4.587e-07 | 3.3839e-07 |  | Std Dev of Resid |  | 0.001412 |  | 600.142 | 0.0014379
b= | 0.0017132 | 0.00086702 |  | Resid Sum of Squares |  | 1.595e-05 |  | 4312.26 | -0.00026487
# of Values Extracted = |  |  | 33
# of Values Used in Fit = |  |  | 10
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 215.691 | 31.3429 | 0.00020247 | 0.0015163 | 0.0016142 | 9.7896e-05 |  | 4312.26 | -0.0012016
1 | NO | 200.143 | 31.3354 | 0.00018242 | -0.0032387 | 0.0016214 | 0.00486 |  | 3999.86 | 0.00098419
1 | NO | 174.775 | 31.3233 | 0.00020797 | -0.00066757 | 0.001633 | 0.0023006 |  | 3499.37 | 0.0019798
1 | NO | 150.091 | 31.2929 | 0.00028296 | -0.0018806 | 0.0016443 | 0.003525 |  | 2997.23 | -0.0010185
1 | NO | 125.301 | 31.2112 | 0.00035376 | -0.018492 | 0.0016557 | 0.020147 |  | 2001.25 | 0.00038147
1 | NO | 100.159 | 30.9939 | 0.00052303 | -0.0098324 | 0.0016672 | 0.0115 |  | 1501.91 | 7.6294e-05
1 | NO | 74.8785 | 30.7281 | 0.00034335 | 1.9193 | 0.0016788 | -1.9177 |  | 1250.43 | -0.00062561
1 | NO | 50.1403 | 29.9819 | 0.0024283 | -0.011681 | 0.0016902 | 0.013371 |  | 1000.12 | 0.00082398
1 | NO | 25.058 | 29.4258 | 0.00069246 | -0.014776 | 0.0017017 | 0.016478 |  | 800.596 | 0.0028343
1 | NO | 10.0083 | 29.1705 | 0.00094087 | -0.031496 | 0.0017086 | 0.033205 |  | 600.142 | 0.0028229
1 | NO | 5.0469 | 28.9925 | 0.001525 | -0.023226 | 0.0017109 | 0.024937
2 | YES | 4312.26 | 34.6839 | 0.00027302 | -0.0012016 | -0.00026487 | 0.00093676 |  |  | 0.00070572
2 | YES | 3999.86 | 34.6808 | 0.00026515 | 0.00098419 | -0.00012157 | -0.0011058 |  |  | 8.2289e-05
2 | YES | 3499.37 | 34.6726 | 0.00023326 | 0.0019798 | 0.00010801 | -0.0018718
2 | YES | 2997.23 | 34.6563 | 0.0002242 | -0.0010185 | 0.00033834 | 0.0013569
2 | YES | 2001.25 | 34.5863 | 0.00026166 | 0.00038147 | 0.0007952 | 0.00041373
2 | YES | 1501.91 | 34.5059 | 0.0002803 | 7.6294e-05 | 0.0010242 | 0.00094795
2 | YES | 1250.43 | 34.45 | 0.00026951 | -0.00062561 | 0.0011396 | 0.0017652
2 | YES | 1000.12 | 34.3736 | 0.0002995 | 0.00082398 | 0.0012544 | 0.00043044
2 | YES | 800.596 | 34.2905 | 0.00023831 | 0.0028343 | 0.0013459 | -0.0014884
2 | YES | 600.142 | 34.1669 | 0.00028288 | 0.0028229 | 0.0014379 | -0.001385
2 | NO | 398.722 | 33.9825 | 0.00029083 | 0.00090408 | 0.0015303 | 0.0006262
2 | NO | 299.199 | 33.8944 | 0.000896 | -0.0037766 | 0.0015759 | 0.0053525
2 | NO | 247.869 | 33.8347 | 0.00041886 | 0.002449 | 0.0015995 | -0.00084956
2 | NO | 199.852 | 33.7774 | 0.00033287 | 0.0014496 | 0.0016215 | 0.00017192
2 | NO | 174.435 | 33.7279 | 0.0002811 | -0.00067902 | 0.0016332 | 0.0023122
2 | NO | 149.272 | 33.5852 | 0.00027766 | 0.00028992 | 0.0016447 | 0.0013548
2 | NO | 125.737 | 33.1846 | 0.010224 | 0.043171 | 0.0016555 | -0.041515
2 | NO | 74.7372 | 32.639 | 0.00026645 | -0.0027885 | 0.0016789 | 0.0044674
2 | NO | 48.2501 | 32.584 | 0.0028019 | -0.0043869 | 0.001691 | 0.0060779
2 | NO | 23.4477 | 32.5634 | 0.0019517 | -0.003685 | 0.0017024 | 0.0053874
2 | NO | 9.8428 | 32.5619 | 0.00041537 | -0.0032768 | 0.0017087 | 0.0049855
2 | NO | 3.9113 | 32.5619 | 0.00028023 | -0.0026131 | 0.0017114 | 0.0043244
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE