**Cruise 2006-18**

## REVISION NOTICE TABLE

|  |  |
| --- | --- |
| DATE | DESCRIPTION OF REVISION |
| 26-Mar-2018 | Corrected some spelling in COMMENT section of the \*.CHE files. JL. |

**March 3, 2017 – Joe Linguanti**

Comments on collection and analyzes methods, and processing notes were added to the headers of both the CTD and Bottle files. For the bottle files all empty channels (channels whose values are all PAD) were removed from the files.

**CTD Oxygen and Fluorometer calibration notes from Sarah Zimmermann**

**2006-18, Flr SN:  SCF2569**

F**luorometer notes:**

Calibration with bottle data performed using bottle chlorophyll values between 0.025 and 0.06 mg/m3. The number of observations used were 36 out of 42 with a standard deviation of 0.02 in the residuals.

Alignment of -4 seconds used.

Coefficients used:  Slope:  0.4020, Bias 0.0071

**March 6, 2017 – Joe Linguanti**

Nutrient values for casts 1 and 2 were added to chemistry files.