File List for SeaBird Data     	Cruise Number: _2006-20____

** - Folders that existed before processing job and contents not changed during processing

[osapcommon\cruise_data\2006-20\cruise documents] cruise planning documents **

[osapcommon\cruise_data\2006-20\ctd]

0334CTD-leg1.con and 0334CTD-leg2.con – configuration files

*.hex – renamed original files from SeaSave

[osapcommon\cruise_data\2006-20\ctd\convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon\cruise_data\2006-20\ctd\Dario]

*.ctdx – time series files, edited and recalibrated

*.edx – edited files

*.log – log files for editing

[osapcommon\cruise_data\2006-20\ctd\derive]

*.cnv - data after running WILDEDIT, WFILTER, CELLTM and DERIVE

[osapcommon\cruise_data\2006-20\ctd\doc]

2006-20-recal1.ccf – calibration control file for Sal and DO correction

2006-20-recal2.ccf – second DO correction

2006-20-sal-comp.xls – comparison of salinity calibration samples and CTD

2006-20-file.doc - this document

2006-20-proc.doc - processing notes

[osapcommon\cruise_data\2006-20\ctd\ios]

*.avg – files after conversion to IOS SHELL format

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2006-20\original data] data from sea, original file names

[osapcommon\cruise_data\2006-20\Pics] **

[osapcommon\cruise_data\2006-20\Plankton Sampling] **

[osapcommon\cruise_data\2006-20\Salinity] salinity bottle data from analyst **

[osapcommon\cruise_data\2006-20\scrap] **