## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 2006-24

Agency: OSD

Location: WCVI

Project: Endeavour Ridge / Neptune / La Perouse / Effingham

Party Chief: Juhasz T.

Platform: John P. Tully

Date: July 22, 2006 – July 30, 2006

Processed by: Germaine Gatien

Date of Processing: December 1, 2006 – 11 December 2006

Number of original CTD casts: 24	Number of CTD casts processed: 24

Number of original bottle casts: 17	Number of bottle casts processed: 17

Number of original TSG files: 2		Number of TSG files processed: 2

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0550) was mounted with a Chelsea/Seatech transmissometer (#498DR), a SeaBird DO sensor #0047 (on the secondary pump) and a Seapoint Fluorometer (#2228) with a 10X cable (on the primary pump). The deck unit was a model 911 (#0425) and the logging computer was a “4HT” DELL - FS02. The salinometer used was an Autosal 8400B S/N 68572. A thermosalinograph (SeaBird 21 S/N 2487) was mounted with a Wetlab/Wetstar fluorometer (WS3S-713P).

# SUMMARY OF QUALITY AND CONCERNS

The CTD log was generally in good order but many of the rosette sheets lacked the information about what sampling was done.

The descent rate of the CTD was generally kept high; it was low for a few shallow casts, but those had a very steady rate.

The near-surface data in Effingham Inlet contains some slightly unstable features that may be real, or may be due to ship effects. There is no evidence that either poor alignment or shed wake corruption are responsible.

It would be helpful to have a record of whether an anoxic plug was attached to the SBE dissolved oxygen sensor between casts so we can assess the effect on calibration.

The dissolved oxygen data in the CTD files are considered

- ±0.3ml/l from 0 – 125db

- ±0.2ml/l from 125 – 200db

- ±0.1ml/l from 200 – 1250db

- data below 1250db are considered unreliable by the manufacturer.

The thermosalinograph salinity was edited heavily to smooth many spikes in salinity and to remove salinity from large sections of the record where values looked unbelievable with sudden jumps in values which did not correspond to changes in temperature, fluorescence or flow rate. Similar problems were noted during 2006-15 when CTD data was available to confirm that the data was bad. There remain some doubts about all the salinity data in the section of the cruise between Endeavour Ridge and Effingham Inlet. This problem may be caused by bubbles.

The Thermosalinograph temperature is considered ±0.2Cº. The TSG salinity is generally considered +/- 0.05, though there may be patches of bad data that were missed in editing.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension DAT.

##### Preliminary Steps

The Log Book was obtained.

Dissolved oxygen and salinity data were obtained with flag channels. The salinity bottle data was divided into two files, one with loop data and one with rosette data.

The cruise summary sheet was completed.

The histories of the conductivity, DO and pressure sensors were obtained.

The calibration constants were checked for all instruments and no errors were found.

##### Conversion of Raw Data

Data were converted using 2006-24-0001.con.

A few casts were examined and all expected channels are present. The downcast temperature and conductivity traces are close, but the upcasts differ markedly. Fluorescence and transmissivity look fine. The dissolved oxygen trace has the usual offset between upcast and downcast. Anoxic waters were sampled in the later casts so there may be a need to use different corrections for different parts of the cruise. The sensor was not mounted for cast #1 when anoxic conditions were also encountered.

Rosette files were converted using a start time of -2s and duration of 5s.

The rosette files were then converted to IOS SHELL files and the output files were renamed *.BOT.

For cast #11, the Sea-Bird position/time headers were scrambled and had to be fixed before conversion to IOS files.

All BOT files were plotted and no significant outliers were found.

##### WILDEDIT

Program WILDEDIT was used to remove spikes from the pressure and temperature channels only.

Parameters used were: 	Pass 1 Std Dev = 2  	Pass 2    Std Dev = 5  	Points per block = 50

##### CELLTM

Tests were run on 1 cast with (alpha, 1/beta) set to (0.02, 7), (0.02, 9), (0.03, 7), (0.03,9) and (0.0245, 9.5). For the primary the best setting was (0.02, 7) and for the secondary the best choice was (0.03, 7). Since this is the same result as found during 2006-15 when the same sensors were used, no further testing was done.

CELLTM was run using (0.02, 7) for the primary and (0.03, 7) for the secondary conductivity.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity.

on all casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts was plotted to check for agreement between the pairs of T and C sensors.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 2006-15-0010 | 500 | -0.0005 | -0.00048 | -0.0050 | V.High, noisy |
| 2006-15-0010 | 1000 | -0.0005 | -0.0005 | -0.0055 | V.High, noisy |
| 2006-15-0010 | 1990 | -0.0002 | -0.00055 | -0.0065 | V.High, noisy |
| 2006-24-0002 | 200 | -0.0001 | -0.00033 | -0.0025 | V.High, Noisy |
|  | 1050 | -0.0001 | -0.00039 | -0.0045 | V.High, Noisy |
|  | 2000 | ~0 | -0.00042 | -0.0052 | V.High, Noisy |
| 2006-24-0003 | 200 | -0.0001 | -0.0003 | -0.002 | V.High, Noisy |
|  | 1050 | -0.0003 | -0.00032 | -0.0037 | V.High, Noisy |
|  | 2000 | -0.0001 | -0.00039 | -0.0047 | V.High, Noisy |
| 2006-24-0024 | 200 | -0.00015 | -0.00032 | -0.0015 | Steady High |

The differences in the first three rows of the table are from 2006-15 which was in September/October. The 2006-24 data show similar pressure dependence in the conductivity and salinity, but the differences are smaller. The differences are very noisy.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

Cast #11 Sea-Bird headers had to be fixed to enable proper conversion.

CLEAN was run to add event numbers and to replace pad values in the Pressure channel using linear interpolation based on scan number.

##### Checking Headers

The header check and header summary were run. There was no station name entered for the first cast, so that was added. The position of the last station was the same as the first, but the station name was different. Doug Anderson agrees that it should be changed to match the first, so that was done.

The cruise track was plotted and no problems found.

The average surface pressure is 0.9db, which is very low for the Tully. There is a note in the log for cast #6 that an offset of +1db should be added, but then a further note indicates that the 0.3db pressure readout at the surface was correct because the rosette was not submerged at the beginning of the cast. However, looking at a number of other casts it does look like there are “in-water” values of conductivity, transmissivity and fluorescence when the pressure is <0db. For example, at the end of cast #1, with the pumps still running, there are conductivity values of about 3.9 at a pressure of -0.6db. During casts #1 and 6 the pumps were turned on at pressures of 0.03 and 0.04db, respectively. This is not likely. Complicating the issue is that the conductivity is quite spiky. During 2006-15 it was found that the pressure sensor was reading low by ~1.2db and over the past few years there is evidence of a steady drift in the pressure offset.

CALIBRATE was run using calibration control file 2006-24-recal-pr.ccf to apply an offset of +1.2db to the pressure channel. This is done early to ensure the DELETE does not remove useful data.

The altimeter readings from the header were exported to a spreadsheet and a few casts were checked and show that the algorithm worked well. However, there was quite a lot of vertical motion of the CTD at the bottom, so the distance from the bottom at any given moment varies significantly.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers taken from the rosette sheets.

The ADDSAMP file was converted to CST files to be used as a framework for the bottle files. It was also used to add sample numbers to the BOT files (output: SAM). The BOT files were then bin-averaged (SAMAVG.)

The salinity data in file 2006-24sal.xls was edited to removed loop samples and unnecessary columns and standard format headers were entered, then it was saved as 2006-24sal.csv. The file was then converted to individual SAL files. (A separate file with loop samples was also prepared for comparison with the TSG.) The rosette sheet for cast #4 indicates that there was a salinity sample taken for one bottle at 75db. This is not included in the salinity spreadsheet, but an entry was found on the salinity analysis sheet. However, the difference from the CTD data at the same depth was on the order of 0.4psu, so it is assumed that this sample was rejected as bad. A note was made about this in the Comment section of the header.

Dissolved oxygen files were provided in individual ADD files which had flag and comments channels.

No chlorophyll or nutrient samples were taken.

The SAL and ADD files were merged with CST files in two steps. (Output: MRG1, MRG2), MRG2 was put through CLEAN to reduce the headers to File and Comment sections only (Output MRGCLN1.) That file was then merged with SAMAVG files (Output:MRG).

Titrated DO was plotted against CTD Salinity. The only odd feature was during cast #2 near the surface, but the titrated DO is in good agreement with the CTD DO. When the titrated and SBE DO are compared there are significant differences for the second last bottle at casts 10, 14, 17, 18, 19 and the last bottle for casts 14, 17 and 18. These are in areas of high DO gradient and often near the DO maximum. These points should probably be left out of the bottle comparison.

##### 11. COMPARE

Salinity

COMPARE was run with pressure as the reference channel. When data above 250db and one outlier were excluded only 7 points were left. The secondary differences were quite flat with pressure and the average difference indicates that the CTD is high by +0.0009. The primary differences show more pressure dependence and the primary salinity is high by an average of 0.0053. There was only salinity sampling from 2 casts and only 1 bottle from one of those, so time dependence cannot be studied.

No flags were entered for the bottle samples as the outliers were not extreme and the only outlier below 250db was a case in which the CTD data is noisy.

Dissolved Oxygen

COMPARE was run using pressure as the reference variable. The plots show a lot of scatter though the average difference is small.

When plotted against file pair number the first 2 casts show up as being out of line. The first is a deep cast at Endeavour Ridge when low oxygen concentrations (<0.2ml/l) conditions were encountered. The second is in Barkley Sound. The rest of the rosette casts are in Effingham Inlet with the exception of cast #24 which was in Saanich Inlet. During 3 of those casts (#15, 18 and 24) anoxic conditions were encountered with DO<0.035ml/l. The casts at the head of the inlet (casts #15 – 19) show a lot more scatter than the others. The range of DO is larger and the gradients higher in that area so this is understandable. It looks wisest to recalibrate this data in groups using one equation for casts 2, 3 and 4 and another for 5 through 24. The reason for the first two being different is unknown. It is possible that an anoxic plug had been applied before the cruise. However, if that caused a change of calibration we might expect similar results starting with cast #15 when anoxic waters were sampled.

During cast #2 at 275db the DO value is an outlier, but this is the same bottle that had a salinity outlier and the problem looks more likely to be with the CTD data than with the bottle. Other outliers are in areas of high DO gradients. No flags will be applied.

The best fit was with the differences between bottles and CTD versus CTD DOX. For casts 2 through 4 the following fit will be applied:

CTD-BOT = 1.0087 DOX-CTD - 0.068

For casts 5 through 24 the following fit will be applied:

CTD-BOT = 0.9967 DOX-CTD + 0.0026

(See 2006-24-dox-comp1.xls.)

##### 12. SHIFT

Conductivity

Tests were run on 2 casts using shifts between -0.6s and +0.2s and T-S plots were prepared to compare the results. A setting of -0.2s worked best for the secondary. No tests were run on the primary since the secondary will be chosen for the archive.

All casts were put through SHIFT using -0.2 records for the secondary. (Output *.SHFC).

Fluorescence

To find what shift is needed for the fluorescence, upcast and downcast profiles were examined to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets are treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the averaged descent/ascent rate and divided by 2(since the shift will be applied to both up and downcast) to find the shift (in seconds) to remove that offset. The values found varied from 0.8 to 1.7s with the highest offsets being at casts with extremely noisy descent rates. A shift of +24 records (1s) was applied. This is the shift that has been used in most other cruises. (Output: SHFFL)

Dissolved Oxygen

Tests were run on 3 casts to determine the best SHIFT value to apply to the Dissolved Oxygen channel. This was judged by how the vertical offset between downcast and upcast traces compares with that of the temperature. Because there is an offset in values between upcast and downcast due to the time response, alignment will not produce traces that overlie each other exactly. Values from +100 to +180 were tried and the best overall match of features was with a choice of +120 records. In previous use of this instrument settings of +110 to +150 have been used.

All casts were shifted by +120 records. (Output: *.SHFO)

##### 13. DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: None.

The maximum depths sampled were compared with the log records to ensure that too much data was not removed by DELETE since the descent rate was quite low for some casts. No discrepancies were found.

##### 14. DETAILED EDITING

The secondary sensors were chosen for the archive. Page plots were produced using (T1,S1). These were used to guide the editing. On-screen plots of descent rate and pump status were also used. The salinity was quite spiky even when the descent rate was high and steady. (The primary salinity was no better.) This was also noted during 2006-15. The spikes were generally two-sided which suggests flow-rate problems. Editing was applied to salinity in cases where the spikes were unstable and not likely to be removed by metre-averaging, or not two-sided. Most of the editing was in the high gradient region just below the mixed layer.

All casts required some editing. Note was made of the editing details in the headers of the relevant files.

##### 15. Initial Recalibration

An initial recalibration was run on the MRGCLN2 and SAM files using file 2006-24-recal1-bot.ccf to subtract 0.0009 from the secondary salinity, to add 1.2db to the pressure and to apply the following correction to the dissolved oxygen:

CTD-BOT = 1.0087 DOX-CTD - 0.068 (casts 1 – 4)

CTD-BOT = 0.9967 DOX-CTD + 0.0026 (casts 5-24)

(Cast #1 did not have a DO sensor mounted but it simplifies the processing stream to include it in the routine.)

COMPARE was then rerun to check that the results were as expected. The results indicate the recalibrations worked well, so the same DO and Salinity calibration was applied to the EDT files but file 2006-24-recal2.ccf was created without the pressure recalibration since that channel had already been corrected for the full CTD files. (See 2006-24-dox-comp2.xls.)

##### 16. BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure

Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen. There were some unstable features near the surface of casts in Effingham Inlet, but investigation shows that the descent rate was quite steady so the problem is not due to shed wake corruption. Further, similar features were seen in both temperature and salinity so this is not a case of poor conductivity alignment. The data might be corrupted by ship effects from thrusters, but these could also be real cases of interleaving. Further editing was not felt to be justified. However, the near-surface data should be treated with some degree of scepticism.

##### 17. Other Comparisons

Previous experience with these sensors –

The conductivity sensors were used for 2006-13 but there were only 2 casts and only one that was very deep. The primary salinity was found to be high by 0.005 and the secondary by 0.0015. Both sensors were used during 2006-15 when there were many salinity bottles; the primary was found to be high by 0.0073 and the secondary by 0.0013. The secondary conductivity sensor was also used on one other cruise since the last calibration but was on an SBE25 with a different temperature sensor and only 3 bottles. It was found to give salinity high by 0.004 at that time.

The dissolved oxygen sensor was used for 2006-13 and 2006-15 when the results were significantly different. This might be due to different patterns of sampling anoxic water. None was sampled during 2006-13 and -15 but an anoxic plug may have been placed on the sensor between casts. (It is not known if this was the case or not.)

Historic ranges – Profile plots were made with local climatology superimposed. There were no excursions from the historic ranges of T and S.

Repeat Casts – There was only 1 repeat cast in Saanich Inlet. The two casts look very different especially at the surface, but there was a week between the two events.

##### 18. Final Calibration of DO

Files were bin-averaged to 0.25m bins for the casts with DO bottle samples. Those files were then thinned to the usual levels for bottles and compared to the bottle values in the MRG files. COMPARE was used to study the differences between the downcast CTD DO data and the upcast bottles. The differences are noisy but plots against pressure, DO value and file pair number all produce a reasonably flat trendline. The average difference indicates that the sensor is reading about 0.04ml/l high. A second recalibration was applied to the downcast files only (AVG and THN1) to subtract 0.04ml/l. (Output: COR2 and THN2)

A final run of COMPARE was done to ensure the recalibration was done properly and it looks fine. (See 2006-24-dox-comp3.xls and 2006-24-comp4.xls.)

##### 19. FINAL CTD files steps (REMOVE and HEADEDIT)

The following channels were removed from all casts: Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Descent_Rate and Flag.

For cast #1 Oxygen:Dissolved:SBE was also removed since the DO sensor was not mounted on the CTD.

A second SBE DO channel was added and the channels reorder to put the two SBE DO channels together.

HEADER EDIT was used to fix formats and channel names and to add the following comments:

Transmissivity and fluorescence are nominal and unedited except that

some records were removed in editing temperature and salinity.

The dissolved oxygen data in the CTD files should be considered

- ±0.3ml/l from 0 – 125db

- ±0.2ml/l from 200 – 200db

- ±0.1ml/l from 400 – 1250db

- data below 1250db are considered unreliable by the manufacturer.

The Standards Check routine was run and HEADEDIT adjusted until no further problems were found. The final files were named CTD.

As a final check of dissolved oxygen data % saturation was calculated and plotted. The near-surface values were between 75% and 150% with the highest values in Effingham Inlet and the lowest in Juan de Fuca Strait, which seems reasonable.

##### 20. Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure. REMOVE was run to remove Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Status:Pump, Descent_Rate, Altimeter and Flag. (Output: *.MRGREM)

For cast #1 Oxygen:Dissolved:SBE was also removed since the DO sensor was not mounted on the CTD.

A second SBE DO channel was added with different units. Then the files were reordered to put the two SBE DO channels together. (Output: CHE1)

HEADER EDIT was run to fix formats and units, change data type and to add a comment about quality flags. Standards check was run on all files and HEADEDIT adjusted until all format problems were resolved. (Output: CHE)

##### 21. Thermosalinograph Data

a.) Checking calibrations

There were 2 files containing TSG data.

A report was printed for the con file. The fluorometer was not identified, but it is assumed that it is the same one that was used on the TULLY for cruises 2006-13 and 2006-15 which preceded and followed this one. The calibration constants entered are wrong for that sensor, but do not fit any other sensor either. The temperature constants contain an error. That error was corrected and the fluorometer info for sensor WS3S-713P was entered in the configuration file which was saved as 2006-24-TSG.con.

The history of the sensor was obtained.

b.) Converting to IOS Headers and adding position headers and time channels

The data were converted to CNV files using a SeaSoft routine. The channels converted were: Scan_Number, Temperature:Primary, Conductivity:Primary, Fluorescence:URU:Wetlabs, UPloy0, Latitude, Longitude, Salinity:T0:C0 and Time Julian and then converted to IOS HEADER format. There was no secondary temperature channel available.

CLEAN was run to add End times and Longitude and Latitude minima and maxima to the headers. The times are said to be in UTC and that is consistent with the initial time noted in the log.

ADD TIME CHANNEL was used to add time and date channels in IOS SHELL format and the output files were named *.ATC.

Time-series plots were produced. The salinity data have many spikes that are not associated with spikes in any other channel including the flow rate. (There are variations in the flow rate, but they are not associated with the spikes.) Editing will be required to interpolate or remove these spikes. Similar problems were noted during 2006-15.

c.)  Checking Time Channel

The CTD data, after editing and metre-averaging, were thinned to reduce the files to a single point at or within 0.3db of 4db and exported to a spreadsheet. The TSG file was opened in EXCEL and reduced to the times when CTDs were run. Those files were combined in a spreadsheet (2006-24-ctd-tsg-comp.xls). The positions were compared and were very close, with average differences for both latitude and longitude of <0.0001º and no difference greater than 0.0001º so the clock appears to be keeping good time. This spreadsheet will also be used in step (e) to compare temperature, salinity and fluorescence. The TSG was not operating when casts #1 and 24 were run, and there was no good data from near 4db during cast #2.

d.) Alignment check

Recent uses of this equipment showed no alignment problems. There are variations in alignment, but they are not systematic. This step was skipped.

e.) Comparison of T, S and Fl from TSG and CTD data

- T1 vs T2 There was no secondary temperature sensor on this cruise.

- TSG vs CTD The spreadsheets comparing CTD and TSG files were then examined to find the differences between the salinity, fluorescence and temperature channels for the CTD and the TSG. Graphs were prepared comparing the two TSG temperature channels and the salinity with those of the CTD. There was a lot of scatter for casts in Effingham Inlet. (See 2006-24CTD-tsg-comp.xls)

The TSG primary temperature was higher than the CTD by about 0.13Cº outside of Effingham Inlet, but lower than the CTD by almost 2 Cº inside the inlet. What can account for this difference? There are very high near-surface gradients and a small mismatch in intake depth could be the problem. For a few casts the temperature and salinity readings for the TSG were checked and the same readings were found to vary in the CTD files from about 4.2db near the mouth of Effingham (EFF16) to about 2.8db for EFF08 and 3db for EFF05. Another factor might be the use of thrusters as the ship moved through narrow passages. Data from Effingham Inlet will not be used for calibration purposes. That means we are left with only 6 points of comparison with the CTD.

The salinity comparison is much like the temperature comparison with TSG salinity being low by about 0.3 outside of Effingham Inlet and very high inside the inlet.

The ratio of the TSG fluorescence to CTD fluorescence showed a lot of scatter in Effingham inlet, but the average for all casts was very close to the average of the casts outside of Effingham Inlet. The TSG fluorescence was found to be about half that of the CTD.

Based on the 6 casts, the TSG temperature is high by 0.13Cº, the salinity is low by 0.28 and the fluorescence is 0.48 times the CTD fluorescence. (See 2006-24-ctd-tsg-comp.xls.)

- Loop Bottle Comparisons There were 5 loop bottles. The TSG salinity values (using a median over a 2-minute window) were higher than the CTD by from 0.19 to 0.32psu and the average is 0.28. Standard deviation was calculated over the 2 minutes. Plotting the differences against the standard deviations we find the lowest standard deviation is associated with the 0.19 difference, but the 2nd lowest is for the 0.32psu difference. A quick check was made after editing of TSG salinity, and the results were the same. (See 2006-24-sal-loop-tsg-comp.xls.)

- Calibration History

The TSG was recalibrated in October 2005. It was used for 2006-08, -11, -21, -13 and -15 when the temperature was found to be high by 0.22, 0.2, 0.18, 0.16 and 0.16Cº, respectively. The salinity was found to be low by 0.20, 0.022, 0.022, 0.18 and 0.19 respectively. During 2005-13 and 2006-15 there were observations that suggest that loop comparison to CTDs varied with ship direction, which might be due to wind and wave directions relative to the ship. Bubbles could be a factor.

Conclusions

The TSG temperature is higher than the CTD by 0.13Cº compared to 0.16Cº during 2006-13 and 2006-15. Historically, in summer we expect a difference of 0.14 to 0.2. It is possible that the temperature heating factor is slightly lower since the ambient waters may have warmed a little but this is not expected to be a large factor. These results are based on only 6 CTD casts and are highly scattered.

The TSG salinity is lower than the CTD by an average of 0.028psu with a range from 0.022 to 0.033, again using only 6 casts. 2006-13 found values between 0.13 and 0.23 with a lot of loop samples and no spikiness. The TSG is lower than the loop salinity by from 0.19 to 0.32 with an average of 0.28. These two averages are in good agreement, but do not fit the history of the instrument. Given they are based on very little information, it seems best to use the results of 2006-13 and -15 which bracketed this cruise.

Corrections of +0.19psu to salinity and -0.16Cº to temperature will be applied.

f.) Editing

The time-series plots were examined and there was a lot of salinity spiking and some sections of very suspicious salinity data in the offshore section of the cruise. There are no CTD casts available for comparison in these sections. Similar problems were noted during 2006-15 which followed 2006-24, but not during 2006-13 which preceded it. CTDEDIT was used to interpolate isolated large spikes, and to remove salinity data that was clearly wrong. There remain sections of salinity data that are suspicious, but not clearly wrong.

g.) Recalibration

CALIBRATE was used to apply offsets of -0.16 Cº and +0.19psu to Temperature:Primary and Salinity:T0:C0.

h.) Preparing Final Files

REMOVE was used to remove the following channels: Scan_Number, Conductivity:Primary, Flag and UPloy0 (flow rate).

HEADER EDIT was used to add a comment, change the DATA TYPE to THERMOSALINOGRAPH and add the depth of sampling to the header.

The TSG sensor history was updated.

As a final check plots were made of the cruise track and data; no problems were noted.

##### 22. Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated for CTD pressure, conductivity and DO and TSG conductivity.

Particulars (Notes from log book):

1. Dissolved oxygen sensor not mounted on CTD.

3. Pressure dependent salinity difference noted.

6. CTD was not submerged when started.

9. CTD touched bottom.

11. Said to be a rosette cast, but no rosette data could be converted.

15. H2S smell for bottom 2 bottles.

18. H2S smell for bottom 2 bottles. Oxycline ~90m

24. O2 samples taken to IOS for analysis.

# Institute of Ocean Sciences

# CRUISE SUMMARY

| Cruise ID#: 2006-24 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Dates: Start: 22 July 2006 End: 30 July 2006 |  |  |  |  |  |  |
| Location: WCVI |  |  |  |  |  |  |
| Vessel: John P. Tully Party Chief: Juhasz T. |  |  |  |  |  |  |
| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |  |
| 1 | SEABIRD | 911+ | 0550 | Yes | Yes |  |

CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/0550        Cruise ID#:		2006-24

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2668 | 18May06 | Factory “ |  |  |
| Conductivity | 2399 | 23May06 | “ |  |  |
| Secondary Temp. | 2038 | 07June05 | “ |  |  |
| Secondary Cond. | 2754 | 23May06 | “ |  |  |
| Transmissometer | 498DR | 28March06 | Factory |  |  |
| SBE 43 DO sensor | 47 | 10June2006 | Factory |  |  |
| Fluorometer | 2228 |  | IOS |  |  |
| Pressure Sensor | 75636 | 04/06/1999 | Factory |  |  |

# TSG Calibration Information

Make/Model/Serial#:	SEABIRD/21/2487       Cruise ID#:	2006-24

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2487 | 21/10/05 | Factory |  |  |
| Conductivity | 2487 | 21/10/05 | “ |  |  |
| Wetlab/Wetstar Fluorometer | WS3S-713P | 18/01/01 | “ |  |  |
| Flow Meter | ? | ? | ? |  |  |