## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2006/12/05 12:06:29 | Compare Excel Add-in Version 2.1
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 0.5
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 65 | 2001.51 | 2001.59 | 0.30822 | 0.081787 | 34.5999 | 34.6056 | 0.00028879 | 0.0057335 | 34.5999 | 34.5995 | 0.00026938 | -0.00037766
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 111 | 1752.25 | 1752.2 | 0.2962 | -0.05188 | 34.5653 | 34.5665 | 0.00023895 | 0.0012207 | 34.5653 | 34.5606 | 0.00024944 | -0.0046768
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 111 | 1501.47 | 1501.52 | 0.25178 | 0.05188 | 34.5212 | 34.5264 | 0.00023979 | 0.0052033 | 34.5212 | 34.5207 | 0.00025281 | -0.00052261
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 121 | 1251.18 | 1251.18 | 0.14126 | -0.00073242 | 34.4725 | 34.4787 | 0.00026351 | 0.0061912 | 34.4725 | 34.4732 | 0.00023458 | 0.00069427
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 120 | 1003.65 | 1003.64 | 0.33106 | -0.0065918 | 34.3878 | 34.3956 | 0.00054073 | 0.0077972 | 34.3878 | 34.3902 | 0.00034101 | 0.0024338
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 73 | 800.81 | 800.903 | 0.29718 | 0.09314 | 34.2954 | 34.3008 | 0.00040845 | 0.0054245 | 34.2954 | 34.2956 | 0.0003312 | 0.0002327
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 121 | 601.22 | 601.222 | 0.16655 | 0.0015869 | 34.1415 | 34.1445 | 0.00041123 | 0.0029983 | 34.1415 | 34.1399 | 0.00069434 | -0.0016251
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 87 | 499.81 | 499.638 | 0.29427 | -0.17172 | 34.0653 | 34.0695 | 0.00026174 | 0.0042191 | 34.0653 | 34.0647 | 0.00023391 | -0.00055695
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 120 | 400.61 | 400.6 | 0.34223 | -0.0099793 | 33.9995 | 34.0056 | 0.00036352 | 0.0060654 | 33.9995 | 34.0007 | 0.00026989 | 0.0012093
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 57 | 299.91 | 300.035 | 0.27555 | 0.12473 | 33.931 | 33.9352 | 0.001196 | 0.0042191 | 33.931 | 33.9296 | 0.00049589 | -0.0014
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 57 | 250.52 | 250.528 | 0.35355 | 0.0082398 | 33.8983 | 33.9127 | 0.0026282 | 0.014439 | 33.8983 | 33.9082 | 0.0010275 | 0.0099487
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 121 | 200.98 | 200.98 | 0.33816 | 9.1553e-05 | 33.8814 | 33.8871 | 0.00029781 | 0.0056801 | 33.8814 | 33.8819 | 0.00033659 | 0.00049591
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 113 | 175.69 | 175.638 | 0.26705 | -0.052124 | 33.8571 | 33.864 | 0.0002761 | 0.0068779 | 33.8571 | 33.859 | 0.00039326 | 0.0018768
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 110 | 151.08 | 151.147 | 0.20691 | 0.06691 | 33.739 | 33.7455 | 0.00063503 | 0.0064774 | 33.739 | 33.7399 | 0.00046674 | 0.00090027
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 121 | 126.51 | 126.51 | 0.30006 | 0 | 33.5627 | 33.5608 | 0.0054709 | -0.0018578 | 33.5627 | 33.5594 | 0.0042364 | -0.003334
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 120 | 100.76 | 100.77 | 0.32693 | 0.0094986 | 33.2366 | 33.2445 | 0.0031996 | 0.0078773 | 33.2366 | 33.2385 | 0.0022923 | 0.0019188
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 112 | 75.89 | 75.9383 | 0.29131 | 0.048302 | 32.5496 | 32.555 | 0.001285 | 0.0054207 | 32.5496 | 32.5511 | 0.0012678 | 0.0014839
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 121 | 50.76 | 50.7583 | 0.12591 | -0.0016518 | 32.4661 | 32.47 | 0.0016654 | 0.0038681 | 32.4661 | 32.4646 | 0.0011644 | -0.0015373
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 121 | 30.73 | 30.7296 | 0.20494 | -0.00041199 | 32.3892 | 32.385 | 0.003186 | -0.0041962 | 32.3892 | 32.3791 | 0.0023576 | -0.010147
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 112 | 21.53 | 21.5804 | 0.2517 | 0.050446 | 32.2322 | 32.2353 | 0.010044 | 0.0030556 | 32.2322 | 32.2237 | 0.0070465 | -0.0084648
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 121 | 11.4 | 11.396 | 0.12716 | -0.0039663 | 32.2096 | 32.2142 | 0.00020805 | 0.004612 | 32.2096 | 32.2077 | 0.00019087 | -0.0018768
2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 118 | 2.4 | 2.414 | 0.25527 | 0.013983 | 32.2085 | 32.2143 | 0.00023773 | 0.0057678 | 32.2085 | 32.2078 | 0.00023207 | -0.00068665
2006-24-0013.mrgcor1 | 2006-24-0013.samcor1 | 121 | 76.64 | 76.6379 | 0.024366 | -0.0021439 | 32.7238 | 32.722 | 0.00024697 | -0.0017929 | 32.7238 | 32.7187 | 0.00020743 | -0.0050774
Create Fit Sheet

## File List
Number of Files= |  | 2
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2006-24-0002.mrgcor1 | 2006-24-0002.samcor1 | 12 | 33 | 2006-24-0002.mrgcor1 & 2006-24-0002.samcor1
2 | 2006-24-0013.mrgcor1 | 2006-24-0013.samcor1 | 35 | 35 | 2006-24-0013.mrgcor1 & 2006-24-0013.samcor1

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal1 - Sal_Bot) | Pressure | 2

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00018299 |  | X | CALC Y
m= | -3.6185e-08 | 7.721e-07 |  | Std Dev of Resid |  | 0.0016419 |  | 100.77 | 0.00015888
b= | 0.00016252 | 0.00066729 |  | Resid Sum of Squares |  | 3.2349e-05 |  | 2001.59 | 9.0097e-05
# of Values Extracted = |  |  | 23
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 2001.59 | 34.5995 | 0.00026938 | -0.00037766 | 9.0097e-05 | 0.00046775 |  | 2001.59 | -0.00037766
1 | NO | 1752.2 | 34.5606 | 0.00024944 | -0.0046768 | 9.9121e-05 | 0.0047759 |  | 1501.52 | -0.00052261
1 | YES | 1501.52 | 34.5207 | 0.00025281 | -0.00052261 | 0.00010819 | 0.00063081 |  | 1251.18 | 0.00069427
1 | YES | 1251.18 | 34.4732 | 0.00023458 | 0.00069427 | 0.00011725 | -0.00057702 |  | 1003.64 | 0.0024338
1 | YES | 1003.64 | 34.3902 | 0.00034101 | 0.0024338 | 0.00012621 | -0.0023076 |  | 800.903 | 0.0002327
1 | YES | 800.903 | 34.2956 | 0.0003312 | 0.0002327 | 0.00013354 | -9.9154e-05 |  | 601.222 | -0.0016251
1 | YES | 601.222 | 34.1399 | 0.00069434 | -0.0016251 | 0.00014077 | 0.0017658 |  | 499.638 | -0.00055695
1 | YES | 499.638 | 34.0647 | 0.00023391 | -0.00055695 | 0.00014444 | 0.00070139 |  | 400.6 | 0.0012093
1 | YES | 400.6 | 34.0007 | 0.00026989 | 0.0012093 | 0.00014803 | -0.0010612 |  | 300.035 | -0.0014
1 | YES | 300.035 | 33.9296 | 0.00049589 | -0.0014 | 0.00015167 | 0.0015517 |  | 200.98 | 0.00049591
1 | NO | 250.528 | 33.9082 | 0.0010275 | 0.0099487 | 0.00015346 | -0.0097953 |  | 175.638 | 0.0018768
1 | YES | 200.98 | 33.8819 | 0.00033659 | 0.00049591 | 0.00015525 | -0.00034066 |  | 151.147 | 0.00090027
1 | YES | 175.638 | 33.859 | 0.00039326 | 0.0018768 | 0.00015617 | -0.0017207 |  | 126.51 | -0.003334
1 | YES | 151.147 | 33.7399 | 0.00046674 | 0.00090027 | 0.00015705 | -0.00074321 |  | 100.77 | 0.0019188
1 | YES | 126.51 | 33.5594 | 0.0042364 | -0.003334 | 0.00015795 | 0.003492
1 | YES | 100.77 | 33.2385 | 0.0022923 | 0.0019188 | 0.00015888 | -0.0017599
1 | NO | 75.9383 | 32.5511 | 0.0012678 | 0.0014839 | 0.00015978 | -0.0013241
1 | NO | 50.7583 | 32.4646 | 0.0011644 | -0.0015373 | 0.00016069 | 0.001698
1 | NO | 30.7296 | 32.3791 | 0.0023576 | -0.010147 | 0.00016141 | 0.010309
1 | NO | 21.5804 | 32.2237 | 0.0070465 | -0.0084648 | 0.00016174 | 0.0086266
1 | NO | 11.396 | 32.2077 | 0.00019087 | -0.0018768 | 0.00016211 | 0.0020389
1 | NO | 2.414 | 32.2078 | 0.00023207 | -0.00068665 | 0.00016244 | 0.00084908
2 | NO | 76.6379 | 32.7187 | 0.00020743 | -0.0050774 | 0.00015975 | 0.0052371
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE