## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2007/01/23 15:13:29 | Compare Excel Add-in Version 2.1
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 0.5
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2006-33-0003.mrg | 2006-33-0003.sam | 43 | 143.685 | 143.754 | 0.29853 | 0.068787 | 33.9478 | 33.9645 | 0.00024447 | 0.016739 | 33.9478 | 33.9616 | 0.00022625 | 0.013752
2006-33-0014.mrg | 2006-33-0014.sam | 101 | 77.245 | 77.3941 | 0.227 | 0.14911 | 33.6691 | 33.6975 | 0.0028846 | 0.028358 | 33.6691 | 33.6955 | 0.00331 | 0.026413
2006-33-0016.mrg | 2006-33-0016.sam | 121 | 149.778 | 149.778 | 0.1106 | 0 | 33.6605 | 33.6719 | 0.00074722 | 0.011368 | 33.6605 | 33.6682 | 0.0008926 | 0.0077095
2006-33-0016.mrg | 2006-33-0016.sam | 121 | 5.912 | 5.912 | 0.17046 | 4.9591e-05 | 32.6952 | 32.7011 | 0.00047055 | 0.0059471 | 32.6952 | 32.6974 | 0.0004535 | 0.0021667
2006-33-0018.mrg | 2006-33-0018.sam | 121 | 61.196 | 61.1957 | 0.025959 | -0.0002861 | 32.5866 | 32.6001 | 0.0002954 | 0.013527 | 32.5866 | 32.5979 | 0.00026843 | 0.011303
2006-33-0021.mrg | 2006-33-0021.sam | 121 | 176.493 | 176.493 | 0.026916 | -0.00045776 | 32.9759 | 32.9879 | 0.00018682 | 0.012043 | 32.9759 | 32.9859 | 0.00021538 | 0.010044
2006-33-0021.mrg | 2006-33-0021.sam | 121 | 151.354 | 151.354 | 0.026575 | -7.6294e-05 | 32.9694 | 32.9825 | 0.00021298 | 0.013069 | 32.9694 | 32.9805 | 0.00022084 | 0.011139
2006-33-0022.mrg | 2006-33-0022.sam | 121 | 101.08 | 101.08 | 0.017125 | 0.00039673 | 32.9536 | 32.9695 | 0.00039491 | 0.015892 | 32.9536 | 31.7606 | 0.0012132 | -1.193
2006-33-0023.mrg | 2006-33-0023.sam | 121 | 51.34 | 51.3396 | 0.025128 | -0.00043106 | 32.9294 | 32.7828 | 0.0012546 | -0.14657 | 32.9294 | 32.7818 | 0.0019962 | -0.14758
2006-33-0026.mrg | 2006-33-0026.sam | 121 | 76.19 | 76.19 | 0.022142 | 7.6294e-06 | 33.2062 | 33.2114 | 0.00030699 | 0.0051918 | 33.2062 | 33.2099 | 0.0005796 | 0.003727
2006-33-0035.mrg | 2006-33-0035.sam | 121 | 21.686 | 21.686 | 0.12774 | 2.2888e-05 | 32.2981 | 32.3045 | 0.0053831 | 0.0063744 | 32.2981 | 32.3003 | 0.0023075 | 0.0021591
2006-33-0037.mrg | 2006-33-0037.sam | 121 | 201.91 | 201.91 | 0.24717 | 0.00033569 | 34.1712 | 33.9979 | 0.00022468 | -0.17331 | 34.1712 | 33.9949 | 0.00023395 | -0.17627
2006-33-0038.mrg | 2006-33-0038.sam | 121 | 127.112 | 127.112 | 0.048495 | 0.00019836 | 33.9294 | 33.9445 | 0.00021528 | 0.015137 | 33.9294 | 33.9414 | 0.00021578 | 0.011971
2006-33-0046.mrg | 2006-33-0046.sam | 105 | 149.035 | 149.128 | 0.28005 | 0.092651 | 33.8897 | 33.9046 | 0.00083132 | 0.01487 | 33.8897 | 33.9016 | 0.00054243 | 0.011879
2006-33-0046.mrg | 2006-33-0046.sam | 66 | 124.898 | 124.901 | 0.32444 | 0.0034409 | 33.8597 | 33.8746 | 0.00019988 | 0.014873 | 33.8597 | 33.8714 | 0.00028514 | 0.011707
2006-33-0048.mrg | 2006-33-0048.sam | 67 | 252.041 | 252.148 | 0.28876 | 0.10663 | 33.8972 | 33.9156 | 0.00034518 | 0.018448 | 33.8972 | 33.9125 | 0.0004176 | 0.015301
2006-33-0063.mrg | 2006-33-0063.sam | 121 | 126.335 | 126.335 | 0.086562 | -0.00046539 | 32.9402 | 32.9388 | 0.0011627 | -0.0014381 | 32.9402 | 32.934 | 0.001959 | -0.0062218
2006-33-0065.mrg | 2006-33-0065.sam | 121 | 201.471 | 201.471 | 0.026162 | -0.00032043 | 32.0855 | 32.0978 | 0.00026659 | 0.012291 | 32.0855 | 32.095 | 0.00030992 | 0.0094757
2006-33-0071.mrg | 2006-33-0071.sam | 121 | 201.137 | 201.137 | 0.025267 | -0.00039673 | 32.4649 | 32.4784 | 0.00036552 | 0.013508 | 32.4649 | 32.4756 | 0.00034139 | 0.010731
2006-33-0074.mrg | 2006-33-0074.sam | 121 | 201.48 | 201.48 | 0.027893 | 0.0004425 | 32.6237 | 32.6248 | 0.00098843 | 0.0010681 | 32.6237 | 32.6217 | 0.0010249 | -0.0019607
2006-33-0078.mrg | 2006-33-0078.sam | 121 | 302.158 | 302.158 | 0.027085 | -0.00018311 | 32.3281 | 32.3393 | 0.0002138 | 0.0112 | 32.3281 | 32.3362 | 0.00021103 | 0.0081101
2006-33-0083.mrg | 2006-33-0083.sam | 121 | 200.943 | 200.943 | 0.092976 | 0.00024414 | 33.0935 | 33.11 | 0.00045671 | 0.016457 | 33.0935 | 33.1066 | 0.00039145 | 0.013062
2006-33-0083.mrg | 2006-33-0083.sam | 121 | 150.719 | 150.719 | 0.047645 | 0.00013733 | 33.0483 | 33.0643 | 0.00087606 | 0.016022 | 33.0483 | 33.0608 | 0.00075019 | 0.01247
Create Fit Sheet

## File List
Number of Files= |  | 19
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2006-33-0003.mrg | 2006-33-0003.sam | 12 | 12 | 2006-33-0003.mrg & 2006-33-0003.sam
2 | 2006-33-0014.mrg | 2006-33-0014.sam | 14 | 14 | 2006-33-0014.mrg & 2006-33-0014.sam
3 | 2006-33-0016.mrg | 2006-33-0016.sam | 16 | 17 | 2006-33-0016.mrg & 2006-33-0016.sam
4 | 2006-33-0018.mrg | 2006-33-0018.sam | 19 | 19 | 2006-33-0018.mrg & 2006-33-0018.sam
5 | 2006-33-0021.mrg | 2006-33-0021.sam | 21 | 22 | 2006-33-0021.mrg & 2006-33-0021.sam
6 | 2006-33-0022.mrg | 2006-33-0022.sam | 24 | 24 | 2006-33-0022.mrg & 2006-33-0022.sam
7 | 2006-33-0023.mrg | 2006-33-0023.sam | 26 | 26 | 2006-33-0023.mrg & 2006-33-0023.sam
8 | 2006-33-0026.mrg | 2006-33-0026.sam | 28 | 28 | 2006-33-0026.mrg & 2006-33-0026.sam
9 | 2006-33-0035.mrg | 2006-33-0035.sam | 30 | 30 | 2006-33-0035.mrg & 2006-33-0035.sam
10 | 2006-33-0037.mrg | 2006-33-0037.sam | 32 | 32 | 2006-33-0037.mrg & 2006-33-0037.sam
11 | 2006-33-0038.mrg | 2006-33-0038.sam | 34 | 34 | 2006-33-0038.mrg & 2006-33-0038.sam
12 | 2006-33-0046.mrg | 2006-33-0046.sam | 36 | 37 | 2006-33-0046.mrg & 2006-33-0046.sam
13 | 2006-33-0048.mrg | 2006-33-0048.sam | 39 | 39 | 2006-33-0048.mrg & 2006-33-0048.sam
14 | 2006-33-0063.mrg | 2006-33-0063.sam | 41 | 41 | 2006-33-0063.mrg & 2006-33-0063.sam
15 | 2006-33-0065.mrg | 2006-33-0065.sam | 43 | 43 | 2006-33-0065.mrg & 2006-33-0065.sam
16 | 2006-33-0071.mrg | 2006-33-0071.sam | 45 | 45 | 2006-33-0071.mrg & 2006-33-0071.sam
17 | 2006-33-0074.mrg | 2006-33-0074.sam | 47 | 47 | 2006-33-0074.mrg & 2006-33-0074.sam
18 | 2006-33-0078.mrg | 2006-33-0078.sam | 49 | 49 | 2006-33-0078.mrg & 2006-33-0078.sam
19 | 2006-33-0083.mrg | 2006-33-0083.sam | 51 | 52 | 2006-33-0083.mrg & 2006-33-0083.sam

## Fit Index
Index to Fit Worksheets
Fit# | Description | Versus | Number of File Pairs
1 | (Sal0 - Sal_Bot) | Pressure | 19
2 | (Sal1 - Sal_Bot) | Pressure | 19
3 | (Sal0 - Sal_Bot) | File Pair # | 19
4 | (Sal1 - Sal_Bot) | File Pair # | 19

## Fit_1
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.039579 |  | X | CALC Y
m= | -8.1754e-06 | 1.1626e-05 |  | Std Dev of Resid |  | 0.0022619 |  | 101.08 | 0.015016
b= | 0.015843 | 0.0021082 |  | Resid Sum of Squares |  | 6.1396e-05 |  | 302.158 | 0.013373
# of Values Extracted = |  |  | 23
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 143.754 | 33.9645 | 0.00024447 | 0.016739 | 0.014668 | -0.0020713 |  | 143.754 | 0.016739
2 | NO | 77.3941 | 33.6975 | 0.0028846 | 0.028358 | 0.01521 | -0.013148 |  | 149.778 | 0.011368
3 | YES | 149.778 | 33.6719 | 0.00074722 | 0.011368 | 0.014618 | 0.0032505 |  | 176.493 | 0.012043
3 | NO | 5.912 | 32.7011 | 0.00047055 | 0.0059471 | 0.015795 | 0.0098474 |  | 151.354 | 0.013069
4 | NO | 61.1957 | 32.6001 | 0.0002954 | 0.013527 | 0.015343 | 0.0018156 |  | 101.08 | 0.015892
5 | YES | 176.493 | 32.9879 | 0.00018682 | 0.012043 | 0.0144 | 0.0023569 |  | 127.112 | 0.015137
5 | YES | 151.354 | 32.9825 | 0.00021298 | 0.013069 | 0.014605 | 0.0015363 |  | 149.128 | 0.01487
6 | YES | 101.08 | 32.9695 | 0.00039491 | 0.015892 | 0.015016 | -0.00087553 |  | 124.901 | 0.014873
7 | NO | 51.3396 | 32.7828 | 0.0012546 | -0.14657 | 0.015423 | 0.16199 |  | 252.148 | 0.018448
8 | NO | 76.19 | 33.2114 | 0.00030699 | 0.0051918 | 0.01522 | 0.010028 |  | 201.471 | 0.012291
9 | NO | 21.686 | 32.3045 | 0.0053831 | 0.0063744 | 0.015666 | 0.0092912 |  | 201.137 | 0.013508
10 | NO | 201.91 | 33.9979 | 0.00022468 | -0.17331 | 0.014192 | 0.1875 |  | 302.158 | 0.0112
11 | YES | 127.112 | 33.9445 | 0.00021528 | 0.015137 | 0.014804 | -0.00033305 |  | 200.943 | 0.016457
12 | YES | 149.128 | 33.9046 | 0.00083132 | 0.01487 | 0.014624 | -0.00024604 |  | 150.719 | 0.016022
12 | YES | 124.901 | 33.8746 | 0.00019988 | 0.014873 | 0.014822 | -5.1773e-05
13 | YES | 252.148 | 33.9156 | 0.00034518 | 0.018448 | 0.013781 | -0.0046665 |  |  | 0.014423
14 | NO | 126.335 | 32.9388 | 0.0011627 | -0.0014381 | 0.01481 | 0.016248
15 | YES | 201.471 | 32.0978 | 0.00026659 | 0.012291 | 0.014196 | 0.0019047
16 | YES | 201.137 | 32.4784 | 0.00036552 | 0.013508 | 0.014198 | 0.00069067
17 | NO | 201.48 | 32.6248 | 0.00098843 | 0.0010681 | 0.014196 | 0.013128
18 | YES | 302.158 | 32.3393 | 0.0002138 | 0.0112 | 0.013373 | 0.0021726
19 | YES | 200.943 | 33.11 | 0.00045671 | 0.016457 | 0.0142 | -0.0022565
19 | YES | 150.719 | 33.0643 | 0.00087606 | 0.016022 | 0.014611 | -0.001411
YES
NO
YES
NO
NO
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_2
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.021511 |  | X | CALC Y
m= | -6.1053e-06 | 1.2415e-05 |  | Std Dev of Resid |  | 0.0022269 |  | 124.901 | 0.011667
b= | 0.012429 | 0.0023104 |  | Resid Sum of Squares |  | 5.455e-05 |  | 302.158 | 0.010585
# of Values Extracted = |  |  | 23
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 143.754 | 33.9616 | 0.00022625 | 0.013752 | 0.011552 | -0.0022003 |  | 143.754 | 0.013752
2 | NO | 77.3941 | 33.6955 | 0.00331 | 0.026413 | 0.011957 | -0.014456 |  | 149.778 | 0.0077095
3 | YES | 149.778 | 33.6682 | 0.0008926 | 0.0077095 | 0.011515 | 0.0038055 |  | 176.493 | 0.010044
3 | NO | 5.912 | 32.6974 | 0.0004535 | 0.0021667 | 0.012393 | 0.010227 |  | 151.354 | 0.011139
4 | NO | 61.1957 | 32.5979 | 0.00026843 | 0.011303 | 0.012056 | 0.00075289 |  | 127.112 | 0.011971
5 | YES | 176.493 | 32.9859 | 0.00021538 | 0.010044 | 0.011352 | 0.0013078 |  | 149.128 | 0.011879
5 | YES | 151.354 | 32.9805 | 0.00022084 | 0.011139 | 0.011505 | 0.00036645 |  | 124.901 | 0.011707
6 | NO | 101.08 | 31.7606 | 0.0012132 | -1.193 | 0.011812 | 1.2048 |  | 252.148 | 0.015301
7 | NO | 51.3396 | 32.7818 | 0.0019962 | -0.14758 | 0.012116 | 0.1597 |  | 201.471 | 0.0094757
8 | NO | 76.19 | 33.2099 | 0.0005796 | 0.003727 | 0.011964 | 0.0082373 |  | 201.137 | 0.010731
9 | NO | 21.686 | 32.3003 | 0.0023075 | 0.0021591 | 0.012297 | 0.010138 |  | 302.158 | 0.0081101
10 | NO | 201.91 | 33.9949 | 0.00023395 | -0.17627 | 0.011197 | 0.18746 |  | 200.943 | 0.013062
11 | YES | 127.112 | 33.9414 | 0.00021578 | 0.011971 | 0.011653 | -0.00031715 |  | 150.719 | 0.01247
12 | YES | 149.128 | 33.9016 | 0.00054243 | 0.011879 | 0.011519 | -0.00036006
12 | YES | 124.901 | 33.8714 | 0.00028514 | 0.011707 | 0.011667 | -4.0451e-05 |  |  | 0.011335
13 | YES | 252.148 | 33.9125 | 0.0004176 | 0.015301 | 0.01089 | -0.0044108
14 | NO | 126.335 | 32.934 | 0.001959 | -0.0062218 | 0.011658 | 0.01788
15 | YES | 201.471 | 32.095 | 0.00030992 | 0.0094757 | 0.011199 | 0.0017237
16 | YES | 201.137 | 32.4756 | 0.00034139 | 0.010731 | 0.011201 | 0.00047071
17 | NO | 201.48 | 32.6217 | 0.0010249 | -0.0019607 | 0.011199 | 0.01316
18 | YES | 302.158 | 32.3362 | 0.00021103 | 0.0081101 | 0.010585 | 0.0024746
19 | YES | 200.943 | 33.1066 | 0.00039145 | 0.013062 | 0.011203 | -0.0018589
19 | YES | 150.719 | 33.0608 | 0.00075019 | 0.01247 | 0.011509 | -0.00096098
YES
NO
YES
NO
NO
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_3
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.011258 |  | X | CALC Y
m= | 3.8524e-05 | 0.00010422 |  | Std Dev of Resid |  | 0.002295 |  | 1 | 0.014035
b= | 0.013996 | 0.0013068 |  | Resid Sum of Squares |  | 6.3207e-05 |  | 19 | 0.014728
# of Values Extracted = |  |  | 23
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 143.754 | 33.9645 | 0.00024447 | 0.016739 | 0.014035 | -0.0027043 |  | 1 | 0.016739
2 | NO | 77.3941 | 33.6975 | 0.0028846 | 0.028358 | 0.014073 | -0.014285 |  | 3 | 0.011368
3 | YES | 149.778 | 33.6719 | 0.00074722 | 0.011368 | 0.014112 | 0.0027438 |  | 5 | 0.012043
3 | NO | 5.912 | 32.7011 | 0.00047055 | 0.0059471 | 0.014112 | 0.0081645 |  | 5 | 0.013069
4 | NO | 61.1957 | 32.6001 | 0.0002954 | 0.013527 | 0.01415 | 0.00062324 |  | 6 | 0.015892
5 | YES | 176.493 | 32.9879 | 0.00018682 | 0.012043 | 0.014189 | 0.0021457 |  | 11 | 0.015137
5 | YES | 151.354 | 32.9825 | 0.00021298 | 0.013069 | 0.014189 | 0.0011195 |  | 12 | 0.01487
6 | YES | 101.08 | 32.9695 | 0.00039491 | 0.015892 | 0.014227 | -0.0016648 |  | 12 | 0.014873
7 | NO | 51.3396 | 32.7828 | 0.0012546 | -0.14657 | 0.014266 | 0.16083 |  | 13 | 0.018448
8 | NO | 76.19 | 33.2114 | 0.00030699 | 0.0051918 | 0.014304 | 0.0091124 |  | 15 | 0.012291
9 | NO | 21.686 | 32.3045 | 0.0053831 | 0.0063744 | 0.014343 | 0.0079684 |  | 16 | 0.013508
10 | NO | 201.91 | 33.9979 | 0.00022468 | -0.17331 | 0.014381 | 0.18769 |  | 18 | 0.0112
11 | YES | 127.112 | 33.9445 | 0.00021528 | 0.015137 | 0.01442 | -0.00071689 |  | 19 | 0.016457
12 | YES | 149.128 | 33.9046 | 0.00083132 | 0.01487 | 0.014458 | -0.00041137 |  | 19 | 0.016022
12 | YES | 124.901 | 33.8746 | 0.00019988 | 0.014873 | 0.014458 | -0.00041517
13 | YES | 252.148 | 33.9156 | 0.00034518 | 0.018448 | 0.014497 | -0.003951
14 | NO | 126.335 | 32.9388 | 0.0011627 | -0.0014381 | 0.014535 | 0.015974
15 | YES | 201.471 | 32.0978 | 0.00026659 | 0.012291 | 0.014574 | 0.0022829
16 | YES | 201.137 | 32.4784 | 0.00036552 | 0.013508 | 0.014612 | 0.0011046
17 | NO | 201.48 | 32.6248 | 0.00098843 | 0.0010681 | 0.014651 | 0.013583
18 | YES | 302.158 | 32.3393 | 0.0002138 | 0.0112 | 0.014689 | 0.0034895
19 | YES | 200.943 | 33.11 | 0.00045671 | 0.016457 | 0.014728 | -0.0017286
19 | YES | 150.719 | 33.0643 | 0.00087606 | 0.016022 | 0.014728 | -0.0012937
YES
NO
YES
NO
NO
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Fit_4
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0060969 |  | X | CALC Y
m= | 2.7265e-05 | 0.00010496 |  | Std Dev of Resid |  | 0.0022444 |  | 1 | 0.011049
b= | 0.011022 | 0.0013545 |  | Resid Sum of Squares |  | 5.5409e-05 |  | 19 | 0.01154
# of Values Extracted = |  |  | 23
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 143.754 | 33.9616 | 0.00022625 | 0.013752 | 0.011049 | -0.0027026 |  | 1 | 0.013752
2 | NO | 77.3941 | 33.6955 | 0.00331 | 0.026413 | 0.011077 | -0.015336 |  | 3 | 0.0077095
3 | YES | 149.778 | 33.6682 | 0.0008926 | 0.0077095 | 0.011104 | 0.0033944 |  | 5 | 0.010044
3 | NO | 5.912 | 32.6974 | 0.0004535 | 0.0021667 | 0.011104 | 0.0089372 |  | 5 | 0.011139
4 | NO | 61.1957 | 32.5979 | 0.00026843 | 0.011303 | 0.011131 | -0.0001717 |  | 11 | 0.011971
5 | YES | 176.493 | 32.9859 | 0.00021538 | 0.010044 | 0.011158 | 0.0011144 |  | 12 | 0.011879
5 | YES | 151.354 | 32.9805 | 0.00022084 | 0.011139 | 0.011158 | 1.9562e-05 |  | 12 | 0.011707
6 | NO | 101.08 | 31.7606 | 0.0012132 | -1.193 | 0.011186 | 1.2042 |  | 13 | 0.015301
7 | NO | 51.3396 | 32.7818 | 0.0019962 | -0.14758 | 0.011213 | 0.1588 |  | 15 | 0.0094757
8 | NO | 76.19 | 33.2099 | 0.0005796 | 0.003727 | 0.01124 | 0.0075133 |  | 16 | 0.010731
9 | NO | 21.686 | 32.3003 | 0.0023075 | 0.0021591 | 0.011268 | 0.0091084 |  | 18 | 0.0081101
10 | NO | 201.91 | 33.9949 | 0.00023395 | -0.17627 | 0.011295 | 0.18756 |  | 19 | 0.013062
11 | YES | 127.112 | 33.9414 | 0.00021578 | 0.011971 | 0.011322 | -0.00064845 |  | 19 | 0.01247
12 | YES | 149.128 | 33.9016 | 0.00054243 | 0.011879 | 0.011349 | -0.00052968
12 | YES | 124.901 | 33.8714 | 0.00028514 | 0.011707 | 0.011349 | -0.00035798 |  |  | 0.011335
13 | YES | 252.148 | 33.9125 | 0.0004176 | 0.015301 | 0.011377 | -0.0039242
14 | NO | 126.335 | 32.934 | 0.001959 | -0.0062218 | 0.011404 | 0.017626
15 | YES | 201.471 | 32.095 | 0.00030992 | 0.0094757 | 0.011431 | 0.0019554
16 | YES | 201.137 | 32.4756 | 0.00034139 | 0.010731 | 0.011458 | 0.00072768
17 | NO | 201.48 | 32.6217 | 0.0010249 | -0.0019607 | 0.011486 | 0.013446
18 | YES | 302.158 | 32.3362 | 0.00021103 | 0.0081101 | 0.011513 | 0.0034029
19 | YES | 200.943 | 33.1066 | 0.00039145 | 0.013062 | 0.01154 | -0.0015213
19 | YES | 150.719 | 33.0608 | 0.00075019 | 0.01247 | 0.01154 | -0.00093003
YES
NO
YES
NO
NO
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE