## Final Data 2007-03
Iron III Data for Arctic Ocean Samples SWLaurier 2007-03 | [18 empty] | For Graphing:
Cruise: | [5 empty] | 2007-03
Ship | [5 empty] | CCGS Sir Wilfred Laurier
Dates | [5 empty] | September 22 - October 15, 2007
Chief Scientist | [5 empty] | Dr. H Melling
Iron Analyst | [5 empty] | Nes Sutherland
For Methods and Explanation of Abbreviations please see Metadata Sheet
Flags
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement, overrange)
6 | Mean of replicate measurements from one XNiskin (XN) or Goflo (GF)... Replicates are found in "WorkSumArctic&Papa" sheet, and summary of replicate data in the "Metadata" sheet
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet; only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
[11 empty] | Sample_Number | Depth | Iron:Filtered:Geotraces Strong Acid | Flag | Iron:Unfiltered: Strong Acid | Flag
Date | Time | Profile | Latitude |  | Longitude |  | Station | Event | Smp | Niskin | Smp | Depth | FGA | FGA | UFA | UFA | Analysis Comments | Sal
UTC | UTC | [6 empty] | # | Type | # | # | m | nmol/L | Flag | nmol/L | Flag |  | (PSU)
//Event # and Smp # as recorded in cruise field log
2007-03 | Beaufort Sea Stations:
2007-09-29 | 0615 | 8001 | 72 27.672 | N | 136 56.223 | W | KC2700 | 7 | TM Ros | 1 | 13 | 1000 | 1.6785 |  | 4.6842 | 6
2007-09-29 | 0615 | 8001 | 72 27.672 | N | 136 56.223 | W | KC2700 | 7 | TM Ros | 2 | 14 | 800 | 0.65235 |  | 3.3342
2007-09-29 | 0615 | 8001 | 72 27.672 | N | 136 56.223 | W | KC2700 | 7 | TM Ros | 3 | 15 | 650 | 0.46515 |  | 4.2093 | 6
2007-09-29 | 0615 | 8001 | 72 27.672 | N | 136 56.223 | W | KC2700 | 7 | TM Ros | 4 | 16 | 550 | 0.42244 |  | 4.3308
2007-09-29 | 0615 | 8001 | 72 27.672 | N | 136 56.223 | W | KC2700 | 7 | TM Ros | 5 | 17 | 450 | 0.39712 |  | 5.0816 | 6
2007-09-29 | 0615 | 8001 | 72 27.672 | N | 136 56.223 | W | KC2700 | 7 | TM Ros | 6 | 18 | 300 | 0.52143 |  | 5.2425
2007-09-29 | 0615 | 8001 | 72 27.672 | N | 136 56.223 | W | KC2700 | 7 | TM Ros | 7 | 19 | 250 |  |  |  |  | GoFlo problem, not sampled
2007-09-29 | 0615 | 8001 | 72 27.672 | N | 136 56.223 | W | KC2700 | 7 | TM Ros | 8 | 20 | 175 | 1.0054 |  | 4.1373 | 6
2007-09-29 | 0615 | 8001 | 72 27.672 | N | 136 56.223 | W | KC2700 | 7 | TM Ros | 9 | 21 | 100 | 0.71389 |  | 2.7231
2007-09-29 | 0615 | 8001 | 72 27.672 | N | 136 56.223 | W | KC2700 | 7 | TM Ros | 10 | 22 | 50 | 0.38381 |  | 8.3397 | 6
2007-09-29 | 0615 | 8001 | 72 27.672 | N | 136 56.223 | W | KC2700 | 7 | TM Ros | 11 | 23 | 25 | 1.0763 |  | 11.0227 | 3 | 3:UFG - > high std (9.6)
2007-09-29 | 0615 | 8001 | 72 27.672 | N | 136 56.223 | W | KC2700 | 7 | TM Ros | 12 | 24 | 10 | 0.78182 |  | 5.268 | 6
2007-09-30 | 1725 | 8002 | 71 43.935 | N | 135 29.780 | W | KC2000 | 13 | TM Ros | 1 | 49 | 1000 | 0.58188 |  | 8.6074 | 3,6 | 3:UFG - > high std (7.6)
2007-09-30 | 1725 | 8002 | 71 43.935 | N | 135 29.780 | W | KC2000 | 13 | TM Ros | 2 | 50 | 800 | 0.66047 |  | 7.9473 | 6
2007-09-30 | 1725 | 8002 | 71 43.935 | N | 135 29.780 | W | KC2000 | 13 | TM Ros | 3 | 51 | 650 | 0.7226 |  | 8.9026 | 6
2007-09-30 | 1725 | 8002 | 71 43.935 | N | 135 29.780 | W | KC2000 | 13 | TM Ros | 4 | 52 | 550 | 0.70492 |  | 10.6506 | 3,6 | 3:UFG - > high std (9.6)
2007-09-30 | 1725 | 8002 | 71 43.935 | N | 135 29.780 | W | KC2000 | 13 | TM Ros | 5 | 53 | 450 | 0.69661 |  | 9.2135 | 6
2007-09-30 | 1725 | 8002 | 71 43.935 | N | 135 29.780 | W | KC2000 | 13 | TM Ros | 6 | 54 | 300 | 0.67459 |  | 8.6344 | 6
2007-09-30 | 1725 | 8002 | 71 43.935 | N | 135 29.780 | W | KC2000 | 13 | TM Ros | 7 | 55 | 250 | 0.48297 | 6 | 7.7646 | 6
2007-09-30 | 1725 | 8002 | 71 43.935 | N | 135 29.780 | W | KC2000 | 13 | TM Ros | 8 | 56 | 150 | 1.137 |  |  | 1
2007-09-30 | 1725 | 8002 | 71 43.935 | N | 135 29.780 | W | KC2000 | 13 | TM Ros | 9 | 57 | 135 | 1.0713 | 6 |  | 1
2007-09-30 | 1725 | 8002 | 71 43.935 | N | 135 29.780 | W | KC2000 | 13 | TM Ros | 10 | 58 | 50 | 0.33847 | 6 | 4.6492 | 6
2007-09-30 | 1725 | 8002 | 71 43.935 | N | 135 29.780 | W | KC2000 | 13 | TM Ros | 11 | 59 | 25 | 1.1404 |  |  | 1
2007-09-30 | 1725 | 8002 | 71 43.935 | N | 135 29.780 | W | KC2000 | 13 | TM Ros | 12 | 60 | 10 | 1.2612 | 6 |  | 1
2007-10-01 | 0702 | 8003 | 71 28.14 | N | 135 01.76 | W | KC1500 | 17 | TM Ros | 1 | 73 | 1000 | 0.88057 | 6 | 8.8626 | 6
2007-10-01 | 0702 | 8003 | 71 28.14 | N | 135 01.76 | W | KC1500 | 17 | TM Ros | 2 | 74 | 800 | 0.67625 |  | 11.4292 | 3,6 | 3:UFG - > high std (9.6)
2007-10-01 | 0702 | 8003 | 71 28.14 | N | 135 01.76 | W | KC1500 | 17 | TM Ros | 3 | 75 | 650 | 0.75781 | 6 | 5.8717 | 6
2007-10-01 | 0702 | 8003 | 71 28.14 | N | 135 01.76 | W | KC1500 | 17 | TM Ros | 4 | 76 | 550 | 0.97827 |  | 5.4307
2007-10-01 | 0702 | 8003 | 71 28.14 | N | 135 01.76 | W | KC1500 | 17 | TM Ros | 5 | 77 | 450 | 0.57511 | 6 | 6.9589 | 6
2007-10-01 | 0702 | 8003 | 71 28.14 | N | 135 01.76 | W | KC1500 | 17 | TM Ros | 6 | 78 | 300 | 0.95082 |  | 5.5179
2007-10-01 | 0702 | 8003 | 71 28.14 | N | 135 01.76 | W | KC1500 | 17 | TM Ros | 7 | 79 | 250 | 0.54594 | 6 | 4.6763 | 6
2007-10-01 | 0702 | 8003 | 71 28.14 | N | 135 01.76 | W | KC1500 | 17 | TM Ros | 8 | 80 | 225 | 0.55059 |  | 4.9471
2007-10-01 | 0702 | 8003 | 71 28.14 | N | 135 01.76 | W | KC1500 | 17 | TM Ros | 9 | 81 | 145 | 0.95982 | 6 | 8.0664 | 6
2007-10-01 | 0702 | 8003 | 71 28.14 | N | 135 01.76 | W | KC1500 | 17 | TM Ros | 10 | 82 | 50 | 0.3854 |  | 4.7775 | 6
2007-10-01 | 0702 | 8003 | 71 28.14 | N | 135 01.76 | W | KC1500 | 17 | TM Ros | 11 | 83 | 25 | 0.91956 | 6 | 10.7019 | 6
2007-10-01 | 0702 | 8003 | 71 28.14 | N | 135 01.76 | W | KC1500 | 17 | TM Ros | 12 | 84 | 10 | 1.1593 |  |  | 1
2007-10-01 | 1155 | 8004 | 71 16.69 | N | 134 42.31 | W | KC1000 | 18 | TM Ros | 1 | 85 | 900 | 0.65306 | 6 | >>15 | 3 | 3:UFG-smp greatly overrange(OR), highstd=15nM
2007-10-01 | 1155 | 8004 | 71 16.69 | N | 134 42.31 | W | KC1000 | 18 | TM Ros | 2 | 86 | 800 | 0.80994 |  | >>15 | 3 | 3:UFG-smp greatly OR, highstd=15nM
2007-10-01 | 1155 | 8004 | 71 16.69 | N | 134 42.31 | W | KC1000 | 18 | TM Ros | 3 | 87 | 650 | 0.63383 | 6 | 15.9507
2007-10-01 | 1155 | 8004 | 71 16.69 | N | 134 42.31 | W | KC1000 | 18 | TM Ros | 4 | 88 | 550 | 0.67811 |  | 12.0224
2007-10-01 | 1155 | 8004 | 71 16.69 | N | 134 42.31 | W | KC1000 | 18 | TM Ros | 5 | 89 | 450 | 0.73854 | 6 | 11.8048
2007-10-01 | 1155 | 8004 | 71 16.69 | N | 134 42.31 | W | KC1000 | 18 | TM Ros | 6 | 90 | 350 | 0.76167 |  | 15.3896
2007-10-01 | 1155 | 8004 | 71 16.69 | N | 134 42.31 | W | KC1000 | 18 | TM Ros | 7 | 91 | 200 | 0.61452 | 6 | 7.2575 | 6
2007-10-01 | 1155 | 8004 | 71 16.69 | N | 134 42.31 | W | KC1000 | 18 | TM Ros | 8 | 92 | 150 | 0.85551 |  | 8.5232
2007-10-01 | 1155 | 8004 | 71 16.69 | N | 134 42.31 | W | KC1000 | 18 | TM Ros | 9 | 93 | 125 | 0.97128 | 6,3 | 3.0074 | 6 | 3:FG-one rep possiblymisqueued
2007-10-01 | 1155 | 8004 | 71 16.69 | N | 134 42.31 | W | KC1000 | 18 | TM Ros | 10 | 94 | 68 | 0.40378 |  |  | 1
2007-10-01 | 1155 | 8004 | 71 16.69 | N | 134 42.31 | W | KC1000 | 18 | TM Ros | 11 | 95 | 25 | 1.1869 | 6 | >15 | 3 | 3:UFG-smp OR, highstd=15nM
2007-10-01 | 1155 | 8004 | 71 16.69 | N | 134 42.31 | W | KC1000 | 18 | TM Ros | 12 | 96 | 10 | 1.1448 |  |  | 1
2007-10-01 | 1654 | 8005 | 71 04.594 | N | 134 21.877 | W | KC500 | 20 | TM Ros | 1 | 109 | 450 | 1.7542 |  |  | 1
2007-10-01 | 1654 | 8005 | 71 04.594 | N | 134 21.877 | W | KC500 | 20 | TM Ros | 2 | 110 | 450 | 1.4686 |  |  | 1
2007-10-01 | 1654 | 8005 | 71 04.594 | N | 134 21.877 | W | KC500 | 20 | TM Ros | 3 | 111 | 300 | 1.2845 |  |  | 1
2007-10-01 | 1654 | 8005 | 71 04.594 | N | 134 21.877 | W | KC500 | 20 | TM Ros | 4 | 112 | 300 | 1.2423 |  |  | 1
2007-10-01 | 1654 | 8005 | 71 04.594 | N | 134 21.877 | W | KC500 | 20 | TM Ros | 5 | 113 | 225 | 1.1159 |  |  | 1
2007-10-01 | 1654 | 8005 | 71 04.594 | N | 134 21.877 | W | KC500 | 20 | TM Ros | 6 | 114 | 225 | 1.1701 |  |  | 1
2007-10-01 | 1654 | 8005 | 71 04.594 | N | 134 21.877 | W | KC500 | 20 | TM Ros | 7 | 115 | 145 | 2.4148 | 3 |  | 1 | 3:FG-?bad btl trip
2007-10-01 | 1654 | 8005 | 71 04.594 | N | 134 21.877 | W | KC500 | 20 | TM Ros | 8 | 116 | 145 | 1.5608 |  |  | 1
2007-10-01 | 1654 | 8005 | 71 04.594 | N | 134 21.877 | W | KC500 | 20 | TM Ros | 9 | 117 | 50 | 1.1771 |  |  | 1
2007-10-01 | 1654 | 8005 | 71 04.594 | N | 134 21.877 | W | KC500 | 20 | TM Ros | 10 | 118 | 50 | 1.0125 |  |  | 1
2007-10-01 | 1654 | 8005 | 71 04.594 | N | 134 21.877 | W | KC500 | 20 | TM Ros | 11 | 119 | 10 | 1.4601 |  |  | 1
2007-10-01 | 1654 | 8005 | 71 04.594 | N | 134 21.877 | W | KC500 | 20 | TM Ros | 12 | 120 | 10 | 1.0927 |  |  | 1
2007-10-01 | 2042 | 8006 | 70 58.144 | N | 134 12.189 | W | KC200 | 22 | TM Ros | 1 | 133 | 175 | 1.4381 | 6 |  | 1
2007-10-01 | 2042 | 8006 | 70 58.144 | N | 134 12.189 | W | KC200 | 22 | TM Ros | 2 | 134 | 175 | 1.359 |  |  | 1
2007-10-01 | 2042 | 8006 | 70 58.144 | N | 134 12.189 | W | KC200 | 22 | TM Ros | 3 | 135 | 125 | 2.4057 | 6 |  | 1
2007-10-01 | 2042 | 8006 | 70 58.144 | N | 134 12.189 | W | KC200 | 22 | TM Ros | 4 | 136 | 125 | 2.5142 |  |  | 1
2007-10-01 | 2042 | 8006 | 70 58.144 | N | 134 12.189 | W | KC200 | 22 | TM Ros | 5 | 137 | 75 | 3.286 | 6 |  | 1
2007-10-01 | 2042 | 8006 | 70 58.144 | N | 134 12.189 | W | KC200 | 22 | TM Ros | 6 | 138 | 75 | 3.2579 |  |  | 1
2007-10-01 | 2042 | 8006 | 70 58.144 | N | 134 12.189 | W | KC200 | 22 | TM Ros | 7 | 139 | 50 | 1.7627 | 6 |  | 1
2007-10-01 | 2042 | 8006 | 70 58.144 | N | 134 12.189 | W | KC200 | 22 | TM Ros | 8 | 140 | 50 | 1.9439 |  |  | 1
2007-10-01 | 2042 | 8006 | 70 58.144 | N | 134 12.189 | W | KC200 | 22 | TM Ros | 9 | 141 | 25 | 1.0073 | 6 |  | 1
2007-10-01 | 2042 | 8006 | 70 58.144 | N | 134 12.189 | W | KC200 | 22 | TM Ros | 10 | 142 | 25 | 1.3436 |  |  | 1
2007-10-01 | 2042 | 8006 | 70 58.144 | N | 134 12.189 | W | KC200 | 22 | TM Ros | 11 | 143 | 10 | 0.90409 | 6 |  | 1
2007-10-01 | 2042 | 8006 | 70 58.144 | N | 134 12.189 | W | KC200 | 22 | TM Ros | 12 | 144 | 10 | 0.79883 |  |  | 1
Cruise 2007-28 final results reported in 2007-28Fe Archive.xls, even though raw data available in this file.
Cruise 2006-15 and 2007-01 Acidified FG&UFG analysed during this cruise, but will be reported on their own archive files

## Metadata
Metadata for Fe III - 2007-03 Arctic Cruise, metadata for 2007-28 intertwined with 2007-03, thus also included on this page
Cruises - 2 back to back: |  |  | 2007-03
Ship |  |  | CCGS Sir Wilfred Laurier
Dates |  |  | September 22 - October 15, 2007 | [6 empty] | Homebound leg: October16-October22, 2010
Chief Scientist |  |  | Dr. H Melling
Iron Analyst |  |  | Nes Sutherland
The objective of the iron team was to sample and analyse Iron(III) at stations in the Beaufort Sea, as part of the Geotraces program
After completion of these analyses, there was time on the homeward leg to analyse acidified, long term storage (FA and UFA) samples from Cruise 2006-15 and Stn P26 of 2007-01
Sample Collection:
Seawater samples for Iron(III) were collected via the UVic trace metal rosette (10-1000m).
LDPE bottles for sample collection and storage had been previously acid cleaned to Geotraces standards. Filtration was through 0.22u Opticaps direct from the rosette bottle.
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and nomenclature.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach, measured onboard, as well as a strongly acidic leach measured after a storage period of 6 months or longer.
In recent years, IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
The following provides a description of these treatments, their abbreviations and nomenclature:
Note that for this cruise, the protocol was for the Geotraces method for filtered and unfiltered samples, however using strong acid (see Geo discussion below, abbreviated as FGA ).
For unfiltered samples, this treatment morphed into the strongly acidified treatment, i.e. a long storage time. In results table, called UFA for storage >6 months
The 2007-03 samples were stored for ~ one week, due to time restraints - gruelling sampling schedule, and need to finish off 2007-28 samples.
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours; thought to be immediate bioavailable iron
| Iron:Filtered:Buffered |  | FB | 0.22u filtered, buffered, also called dissolved Fe
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
It is thought that by microwaving the FA or UFA 24 hours after collection, the leaching of particles might be sped up to result in iron conc similar to the long term storage (Nishioka pers com), but this has not been verified by the IOS lab
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - referred to as Total Dissolved fraction
This fraction tends to be similar to FB
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2007:
In 2007-2009: >24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:GeotraceStrongAcid |  | FGA | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see above for 2007 modification; FG is also referred to D(Fe), or Dissolved Fe
Although analysed onboard, it took longer than 24 hours before analysis could begin:
For 2007-03, the Beaufort Sea project, about 6-8 days leach time passed before the start of analysis (stations all bunched together, no time for analysis at that point)
| Iron:Unfiltered:GeotraceStrongAcid |  | UFGA | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - collected to be UFGA, but put into long term storage as UFA, as UF low priority in Geotraces program
UFG(A) is also referred to as TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations, but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were quite similar, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
In this cruise, samples were treated two ways - FGA (analysed on board) and UFA (in storage) to determine Fe III levels. (see discussion above)
Sample Analysis:
Filtered (FGA) samples were analysed onboard, using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
Unfiltered samples (UFA) were shipped to IOS and held in storage until analysis in 2010. Unfiltered samples take much longer to digest, and typically a 6 month minimum
is required to release the iron, else microwave treatment.
For acidified samples, whether following strong acidified or Geotraces treatments, the samples were treated, within hours of actual analysis, by addition of ammonium formate buffer pH3.2
(1.25mL per 250mL smp), H2O2 (25uL of 1% per 250mL smp), and concentrated ammonium hydroxide to reach pH3.2 +/- 0.1.
In general, duplicate runs are taken from one sample bottle. For some depths, duplicate bottles were taken, and for two casts (2007-03), duplicate rosette bottles were sampled.
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards and Blanks:
The primary standard was a VWR Fe 1000ppm, Lot#A7105052. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected
in previous cruises, and run within 15 minutes of preparation.
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe. For the samples the instrument zero was
determined by loading only 5s of the blank. This way the amount of iron present is negligable, yet the same procedure and chemical quantities used as for the samples applies.
For more on blanks, see separate section below.
QAQC & Daily Reference Standards (DRS), Blanks & Comments
Replication Statistics, or Sample Pooled Data Stats:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within a sample bottle, or
between duplicate samples taken from one rosette, or duplicate rosette bottles from the same depth.
Where three or more analyses were run from within one bottle, the abs(diff)^2 for the two most divergent values was used in determining sp.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
2007-03 and 2007-28 stats are lumped together, as they were analysed together
Filtered and unfiltered samples are treated separately, as they were analysed three years apart
|  | 0.22u Filtered Fe III | [6 empty] | Unfiltered Fe III - includes results analysed in 2007 and 2010
|  | w/in a smp |  | btw rep btl |  | btw rep rosette btl |  |  | w/in a smp | btw rep btl | btw rep rosette btl
Seawater Samples (Coronation Gulf and Beaufort Sea, as well as Line P samples run when time permitted):
| Pooled Variance (sp): | 0.034368 |  | 0.13021 |  | 0.21464 |  |  | 0.095199 | 0.39717
| Avg Fe: | 0.87109 |  | 0.82965 |  | 1.5292 |  |  | 2.2213 | 5.0106
| %RSD: | 3.9454 |  | 15.6948 |  | 14.0358 |  |  | 4.2858 | 7.9267
| n: | 132 |  | 38 |  | 13 |  |  | 70 | 36
Certified Reference Material (CRM)
Because the river samples of 2007-28 had a very high iron content, the CRM CASS-2 was used, as it also has a high iron content and requires dilution of ~ same range as the river samples.
Lower Fe CRM's were not available on this cruise.
CASS-2 (1989) |  |  | Expected Avg & Stdev: |  | 21.4861 | 2.1486 | nmol/L
|  |  | Observed Avg & Abs(Diff), n=2: |  | 20.2457 | 1.0574 | nmol/L
Daily Reference Standards (DRS)
DRSs are run frequently to check on instrument performance and drift.
2007 DRS - Deep sea water from combined remnants of previous buffered, filtered (0.22u) Pacific Ocean samples collected deeper than 150m
| Avg: |  |  | 0.71931
| Stdev: |  |  | 0.050828
| %RSD: |  |  | 7.0662
| n: |  |  | 21
Date | Preconc | raw |  | Fe
071003 | 120s | 1538416 |  | 0.68655
| 120s | 1337492 |  | 0.62326
| 120s | 1502264 |  | 0.67544
071005 | 120s | 1468296 |  | 0.77153
| 120s | 1347680 |  | 0.72639
| 120s | 1366668 |  | 0.73361
| 120s | 1399116 |  | 0.74584
071006 | 240s | 3498404 |  | 0.64852
| 240s | 3860976 |  | 0.69457
| 240s | 3555868 |  | 0.65595
| 240s | 4180192 |  | 0.73359
| 240s | 4145852 |  | 0.72946
| 240s | 4047744 |  | 0.71756
071007 | 240s | 6168460 |  | 0.83629
| 240s | 5800560 |  | 0.79848
| 240s | 5480548 |  | 0.76486
| 240s | 5160112 |  | 0.73046
| 240s | 4652992 |  | 0.67441
071010 | 180s | 3309660 |  | 0.68741
| 180s | 3564668 |  | 0.72897
| 180s | 3648616 |  | 0.74243
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 050N 145W, or that general vicinity
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the regressions
Because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank, by using a preconcentration time of only 0 or 5s, rather
than the 90-240s time for samples. This very short preconc time allows all reagents and a small quantity of seawater to still affect the column,
but keeps iron addition negligible. On our system, even with a 0s load, there is still a small amount of low iron seawater between the valves, that flushes through the column.
This zero blank for sample correction is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Following is a list of blanks used in calibration, but corrected with the zero blank to determine actual iron of the BSW used this cruise
The blanks for the standard seawater ranged from 0.05 - 0.09 nM for 2007 work, and 0.08-0.17nM for the 2010 UFG analysis. Results varied with the carboys of clean seawater on hand
Please see discussion of Determining Detection Limit in a section below this one
Date | Comments |  |  |  |  | Preconc | [Fe] of BSW
Time (s)
Low Fe SeaWater, Carboy 1, used for Standard Prep: | [5 empty] | Avg: | 0.085289
[6 empty] | Stdev: | 0.015681
[6 empty] | n: | 16
[6 empty] | D.L.: | 0.047044
100307B.xls | mix old and new buffer |  |  |  |  | 120 | 0.079098
100307B.xls | mix old and new buffer |  |  |  |  | 120 | 0.077361
100407.xls | yesterday's reagents |  |  |  |  | 120 | 0.061518
100407.xls | yesterday's reagents |  |  |  |  | 120 | 0.058231
100507A.xls | New Luminol Batch B, New 4 mL Acid/wash line |  |  |  |  | 120 | 0.072757
100507A.xls | New Luminol Batch B, New 4 mL Acid/wash line |  |  |  |  | 120 | 0.10201
100507B.xls | Luminol Batch B, new filter |  |  |  |  | 240 | 0.11008
100507B.xls | Luminol Batch B, new filter |  |  |  |  | 240 | 0.090341
1006-2 Cal | [5 empty] | 240 | 0.11095
1006-2 Cal | [5 empty] | 240 | 0.10242
1007-1 Cal | New Lum C, NF |  |  |  |  | 240 | 0.086862
1007-1 Cal | New Lum C, NF |  |  |  |  | 240 | 0.079939
1007-2 Cal | [5 empty] | 240 | 0.078083
1007-2 Cal | [5 empty] | 240 | 0.074489
1008-1 Cal | [5 empty] | 240 | 0.087741
1008-1 Cal | [5 empty] | 240 | 0.092748
Low Fe SeaWater, Carboy 2, used for Standard Prep: | [5 empty] | Avg: | 0.046158
[6 empty] | Stdev: | 0.019688
[6 empty] | n: | 6
[6 empty] | D.L.: | 0.059064
101007.xls | New SW&Rgt Batch, New Carboy of SeaWater |  |  |  |  | 180 | 0.029715
101007.xls | New SW&Rgt Batch, New Carboy of SeaWater |  |  |  |  | 180 | 0.029463
101007.xls | New SW&Rgt Batch, New Carboy of SeaWater |  |  |  |  | 180 | 0.028094
101107 | [5 empty] | 180 | 0.057244
101107 | [5 empty] | 180 | 0.074435
101107 | [5 empty] | 180 | 0.057998
2010 Low Fe Seawater for Std Prep:
Finding good seawater blanks for these analyses was problematic; however, as the samples had very high Fe concentrations, pushing the limits of the system, it was not as critical to have low DLs.
Last years std seawater carboy | [5 empty] | Avg: | 0.17491
[6 empty] | Stdev: | 0.057881
[6 empty] | n: | 3
[6 empty] | D.L.: | 0.17364
100805.xls | 1825 |  |  |  | 406544 | 120s | 0.12774
100805.xls | 143 |  |  |  | 643996 | 120s | 0.2395 | NF
100805.xls | 158 |  |  |  | 467524 | 120s | 0.15747
Carboy #3 Seawater: | [5 empty] | Avg: | 0.083533
[6 empty] | Stdev: | 0.032164
[6 empty] | n: | 5
[6 empty] | D.L.: | 0.096492
100806.xls - 60s load - Arctic 2007 - UFA unless otherwise noted | 1242 |  |  |  | 91856 | 60s | 0.042919 | tu rgt/NF/rinse thru all lines...
100807.xls | 215 |  |  |  | 144556 | 45s, PMT=900 | 0.12885
100807.xls | 229 |  |  |  | 113944 | 45s, PMT=900 | 0.092532
100810.xls | 1205 |  |  |  | 44300 | 45s, PMT=825 | 0.088084 | new wash on
100810.xls | 1233 |  |  |  | 34444 | 45s, PMT=825 | 0.065277
Determining Detection Limit (D.L.):
The detection limit is 3 x Stdev of the Average Blank FeIII concentration.
For this cruise, the DL was ~0.05-0.06 nM; for Arctic UFG samples analysed in 2010 the DL was higher (0.10-0.17) but not as critical due to the high values obtained - lowest was 2.7nM Fe.
The DL can also be determined using 3* SP for very low iron samples of <0.2nM; only some Line P samples fell into this category, as Arctic samples are all higher:
Using the data for this cruise, DL is ~0.02
For FGA, <0.2nM
| Avg: | 0.15515
| n: | 16
| sp: | 0.0056487
| DL: | 0.016946

## Fe FG&UFA Chart
Overrange Guesstimates
Error Bars = 0.5 x Abs(Diff) of duplicates

## WorkSumArctic&Papa
Summary of Arctic Iron Samples Analysed on SWL 2007 | [24 empty] | For Graphing:
Cruises - 2 back to back: |  |  | 2007-28 |  |  |  |  | 2007-03
Ship |  |  | CCGS Sir Wilfred Laurier |  |  |  |  | CCGS Sir Wilfred Laurier
Dates |  |  | September 11 - ~21, 2007 |  |  |  |  | September ~25 - ~October ~4, 2007
Chief Scientist |  |  | Dr. Eddie Carmack |  |  |  |  | Dr. H Melling
Iron Analyst |  |  | Nes Sutherland |  |  |  |  | Nes Sutherland
*** Some storage samples collected from previous Station Papa trips (2007-01 & 2006-15) were also analysed while the Fe system was in operation during these two cruises
***These data are also included here in this summary page and the metadata page, for overall replication stats. As well, they have been reported under their original cruise files.
For Methods and Explanation of Abbreviations please see Metadata Sheet
[6 empty] | Replicate Runs (w/in 1 btl) |  |  |  |  | Replicate SmpBtls |  |  | Replicate GoFloBtls |  |  |  | Replicate Runs (w/in 1 btl) |  |  |  | Replicate SmpBtls |  |  | Graphing Columns
Cruise | Stn | Depth | Ros | ID | Rep | FGA a | FGA b | Avg nM | (diff)^2 |  | Avg | (diff)^2 |  | Avg | (diff)^2 |  | Notes | UFA a | UFA b | Avg | (diff)^2 | Avg | (diff)^2 | Notes | FGA: |  | UFA:
|  | m | # | [21 empty] | Fe | (diff)/2 | Fe | (diff)/2 | Depth
Summary of Stats:
|  |  | River Smp |  |  | Avg: |  | 64.0871 |  |  | 63.3113
[6 empty] | sp: |  | 3.077 |  |  | 1.3666
[6 empty] | %RSD |  | 4.8012 |  |  | 2.1585
[6 empty] | n: |  | 13 |  |  | 4
[6 empty] | sum(diff)^2: |  | 246.1635 |  |  | 14.9398
|  |  | All Ocean Smp |  |  | Avg: |  | 0.87109 |  |  | 0.82965 |  |  | 1.5292 | [5 empty] | 2.2213 |  | 5.0106
[6 empty] | sp: |  | 0.034368 |  |  | 0.13021 |  |  | 0.21464 |  |  | Time 6 Jan = 6hr |  |  | 0.095199 |  | 0.39717
[6 empty] | %RSD |  | 3.9454 |  |  | 15.6948 |  |  | 14.0358 | [5 empty] | 4.2858 |  | 7.9267
[6 empty] | n: |  | 132 |  |  | 38 |  |  | 13 | [5 empty] | 70 |  | 36
[6 empty] | sum(diff)^2: |  | 0.31182 |  |  | 1.2886 |  |  | 1.1979 | [5 empty] | 1.2688 |  | 11.3578
|  |  | Coronation Gulf only: |  |  | Avg: |  | 1.4123 |  |  | 0.72214
[6 empty] | sp: |  | 0.028892 |  |  | 0.049657
[6 empty] | %RSD |  | 2.0457 |  |  | 6.8764
[6 empty] | n: |  | 14 |  |  | 1
[6 empty] | sum(diff)^2: |  | 0.023373 |  |  | 0.0049316
|  |  | Beaufort Sea Smp only: |  |  | Avg: |  | 1.0595 |  |  | 1.0634 |  |  | 1.6156 | [5 empty] | 6.0208 |  | 7.0708
[6 empty] | sp: |  | 0.045444 |  |  | 0.095597 |  |  | 0.21923 | [5 empty] | 0.16896 |  | 0.40829
[6 empty] | %RSD |  | 4.2893 |  |  | 8.9899 |  |  | 13.5694 | [5 empty] | 2.8062 |  | 5.7743
[6 empty] | n: |  | 59 |  |  | 22 |  |  | 12 | [5 empty] | 20 |  | 24
[6 empty] | sum(diff)^2: |  | 0.24369 |  |  | 0.40211 |  |  | 1.1535 | [5 empty] | 1.1418 |  | 8.0015
|  |  | Old Stn Papa only: |  |  | Avg: |  | 0.4182 |  |  | 0.494 |  |  | 0.4929 | [5 empty] | 0.70145 |  | 0.89013
[6 empty] | sp: |  | 0.019477 |  |  | 0.17142 |  |  | 0.14896 | [5 empty] | 0.03563 |  | 0.37396
[6 empty] | %RSD |  | 4.6572 |  |  | 34.7005 |  |  | 30.2222 | [5 empty] | 5.0795 |  | 42.0115
[6 empty] | n: |  | 59 |  |  | 15 |  |  | 1 | [5 empty] | 50 |  | 12
[6 empty] | sum(diff)^2: |  | 0.044762 |  |  | 0.88155 |  |  | 0.044381 | [5 empty] | 0.12695 |  | 3.3563
2007-28 | River Input and Basin Profiles of Coronation Gulf
Station ID and Sampling Comments: |  |  | Comments
CR | Coppermine River |  | Zodiac:Sampled as far up as we could safely go, considering extreme turbidity. Believed to be near edge of estuary/river interface
Unfortunately no clean space as yet set up for filtering, only collected Total Fe, as well as Sal, Nuts, Ba, O18, and Alkalinity
TR | Tree River |  | Zodiac:Sampled a couple of bends above the estuary, depth ~6'. Guessing at sandy/muddy bottom. One of two rivers emptying into bay.
Further up river saw a moose! Later he swam across our return path, also hunting cabins and collected vegetation
Unfortunately no clean space as yet set up for filtering, only collected Total Fe, as well as Sal, Nuts, Ba, O18, and Alkalinity
WR | Western River, Bathurst Inlet |  | Heli ride: Wide river, ~100m, sampled ~1/2 mile up river from estuary - waded out 10-12m from shore, ~2' deep at edge of current, sandy/gravelly bottom
sandy/gravelly bottom
Sampled all above geochem, also able to separate into filtered and unfiltered Fe, TD Fe and T Fe; filters reddish brown, clogged fairly quickly
BR | Burnside River, Bathurst Inlet |  | Heli ride: Above estuary, sandy beach, with small sharp rocks, some round, algae growing , water moving quickly. Sampled ~5m from shore
Sampled all above geochem, also able to separate into filtered and unfiltered Fe, TD Fe and T Fe; filters very light, not much sed
HR | Hood River, Bathurst Inlet |  | Heli ride: Sampled inland, just below the falls. Slate, boulders, gravel and cobble, dropped off quickly, river running fast, sampled ~3m from shore
Sampled all above geochem, also able to separate into filtered and unfiltered Fe, TD Fe and T Fe; filters very light, not much sed
LR | Lauchlan River, Victoria I |  | Zodiac: smaller river on Victoria I, many sandbars at entrance, managed to negotiate to ~0.7nm in from 0 tide line. Very clear water,
lots of jellyfish at entrance estuary, geese, sea gulls, caribou on the ridge. Low lying land, guess river bottom likely mud/sand and few rocks.
Good flow, very cold - frozen surface layer in the calm backwaters
Sampled all above geochem, also able to separate into filtered and unfiltered Fe, TD Fe and T Fe; filters very light, not much sed
| CR | [6 empty] | Not Collected | [11 empty] | Not Analysed
| TR | [6 empty] | Not Collected | [11 empty] | Not Analysed
| WR |  |  | #1 | a | 70.5552 | 74.8492 | 72.7022 | 18.4387 |  | 71.7929 | 2.7712 |  |  |  |  | 25X dilution; n=3 btl
[5 empty] | b | 74.0503 | 74.1339 | 74.0921 | 0.0069928
|  |  |  | #2 |  | 72.2209 | 74.5565 | 73.3887 | 5.4553
|  |  |  | #1&#2 |  | 70.6593 | 66.5267 | 68.593 | 17.0784
| BR |  |  | #1 |  | 79.2499 | 77.6455 | 78.4477 | 2.574 |  | 71.4618 | 6.3506 |  |  |  |  | 25X dilution; n=3 btl
|  |  |  | #2 |  | 73.5104 | 66.2892 | 69.8998 | 52.1457
|  |  |  | #1&#2 |  | 69.8925 | 62.1834 | 66.0379 | 59.4299
| HR |  |  | #1 |  | 84.5981 | 85.2551 | 84.9266 | 0.43162 |  | 80.3545 | 4.6723 |  |  |  |  | 25X dilution; n=3 btl
|  |  |  | #2 |  | 78.1283 | 82.9697 | 80.549 | 23.4398
|  |  |  | #1&#2 |  | 71.5632 | 79.6128 | 75.588 | 64.7965
| LR |  |  | #1 |  | 29.0607 | 29.3825 | 29.2216 | 0.10361 |  | 29.6359 | 1.1456 |  |  |  |  | 25X dilution; n=3 btl
|  |  |  | #2 |  | 30.1828 | 31.6791 | 30.931 | 2.239
|  |  |  | #1&#2 |  | 28.6777 | 28.8326 | 28.7551 | 0.024007
| CG 24 | 15 |  |  |  | 1.4999 | 1.4405 | 1.4702 | 0.0035194 | [15 empty] | 1.4702 | 0.029662 |  |  | 15
| Coronation Gulf | 25 |  |  |  | 1.2547 | 1.2882 | 1.2715 | 0.0011244 | [15 empty] | 1.2715 | 0.016766 |  |  | 25
|  | 40 |  | chl max |  | 0.95326 | 0.94203 | 0.94765 | 0.0001262 | [15 empty] | 0.94765 | 0.005617 |  |  | 40
|  | 75 |  |  |  | 1.2553 | 1.2127 | 1.234 | 0.0018111 | [15 empty] | 1.234 | 0.021278 |  |  | 75
|  | 100 |  |  |  | 1.9758 | 2.0489 | 2.0123 | 0.0053444 | [15 empty] | 2.0123 | 0.036553 |  |  | 100
|  | 150 |  |  |  | 0.93863 | 0.9306 | 0.93461 | 6.4495e-05 | [15 empty] | 0.93461 | 0.0040154 |  |  | 150
|  | 200 |  |  |  | 0.78833 | 0.83678 | 0.81256 | 0.0023472 | [15 empty] | 0.81256 | 0.024224 |  |  | 200
| btm=402m | 350 |  |  |  | 0.68896 | 0.68509 | 0.68702 | 1.4931e-05 |  | 0.72214 | 0.0049316 | [12 empty] | 0.72214 | 0.035113 |  |  | 350
|  | 350 |  |  |  | 0.75725 |  | 0.75725
| CG 30 | 15 |  |  |  | 2.4181 | 2.431 | 2.4246 | 0.00016572 | [7 empty] | Al =1.98 nmol, from Giesbrecht | [7 empty] | 2.4246 | 0.0064367 |  |  | 15
| Coronation Gulf | 25 |  |  |  | 2.1563 | 2.1818 | 2.169 | 0.0006456 | [15 empty] | 2.169 | 0.012704 |  |  | 25
|  | 35 |  |  |  | 2.0771 | 2.0562 | 2.0666 | 0.00043552 | [7 empty] | Al = 1.79, 2.10 | [7 empty] | 2.0666 | 0.010435 |  |  | 35
|  | 75 |  |  |  | 2.0062 | 1.99 | 1.9981 | 0.00026333 | [15 empty] | 1.9981 | 0.0081137 |  |  | 75
|  | 100 |  |  |  | 1.6108 | 1.6974 | 1.6541 | 0.0074952 | [15 empty] | 1.6541 | 0.043287 |  |  | 100
|  | 125 |  |  |  | 1.3863 |  | 1.3863 | [16 empty] | 1.3863 | 0 |  |  | 125
|  | 150 |  |  |  | 1.147 | 1.1509 | 1.1489 | 1.5398e-05 | [15 empty] | 1.1489 | 0.001962 |  |  | 150
|  | 175 |  |  |  | 1.0343 |  | 1.0343 | [8 empty] | Al = 1.13, 1.17 | [7 empty] | 1.0343 | 0 |  |  | 175
[11 empty] | Replicate SmpBottles |  |  | Replicate GoFloBottles | [7 empty] | Replicate SmpBottles |  |  | FA: |  | UFA:
Cruise | Stn | Depth | Rosette# | ID | Rep | FA a | FA b | Avg nM | a(d)^2 |  | Avg | a(d)^2 |  | Avg | abs(diff) | a(d)^2 | Notes | UFA a | UFA b | Avg | a(d)^2 | Avg | a(d)^2 | Notes | Fe | (diff)/2 | Fe | (diff)/2 | Depth
[7 empty] | Avg: |  | 1.0267 |  |  | 1.0634 |  |  | 1.6156 | [5 empty] | 6.0208 |  | 7.0708
[7 empty] | sp all: |  | 0.045444 |  |  | 0.095597 |  |  | 0.21923 | [5 empty] | 0.16896 |  | 0.40829
[7 empty] | %RSD: |  | 4.4262 |  |  | 8.9899 |  |  | 13.5694
[7 empty] | n All: |  | 59 |  |  | 22 |  |  | 12 | [5 empty] | 20 |  | 24
[7 empty] | sum(abs diff)^2 All: |  | 0.24369 |  |  | 0.40211 |  |  | 1.1535 | [5 empty] | 1.1418 |  | 8.0015
2007 Analysis | [17 empty] | 2010 Analysis
2007-03 | KC2700 | 1000 | 1 | 13 | A | 1.6397 | 1.7174 | 1.6785 | 0.0060482 | [8 empty] | 4.2905 | 4.3355 | 4.313 | 0.0020229 | 4.6842 | 0.55105 |  | 1.6785 | 0.038885 | 4.6842 | 0.37116 | 1000
[5 empty] | B | [12 empty] | 4.9786 | 5.1321 | 5.0553 | 0.023552 |  |  |  | 0.65235 | 0 | 3.3342 | 0.20274 | 800
|  | 800 | 2 | 14 |  | 0.65235 |  | 0.65235 | [9 empty] | 3.1314 | 3.5369 | 3.3342 | 0.16441 |  |  |  | 0.46515 | 0 | 4.2093 | 0.71661 | 650
|  | 650 | 3 | 15 | A | 0.46515 |  | 0.46515 | [9 empty] | 4.8003 | 4.7344 | 4.7674 | 0.0043386 | 4.2093 | 1.246 |  | 0.42244 | 0 | 4.3308 | 0 | 550
[5 empty] | B | [12 empty] | 3.6419 | 3.6604 | 3.6511 | 0.00034412 |  |  |  | 0.39712 | 0.011397 | 5.0816 | 0.24204 | 450
|  | 550 | 4 | 16 |  | 0.42244 |  | 0.42244 | [9 empty] | 4.3308 | [6 empty] | 0.52143 | 0.011805 | 5.2425 | 0.017842 | 300
|  | 450 | 5 | 17 | A | 0.40851 | 0.38572 | 0.39712 | 0.00051959 | [8 empty] | 4.8396 |  |  |  | 5.0816 | 0.23432
[5 empty] | B | [12 empty] | 5.3236 | [6 empty] | 1.0054 | 0.0065941 | 4.1373 | 0.30719 | 175
|  | 300 | 6 | 18 |  | 0.53323 | 0.50962 | 0.52143 | 0.0005574 | [8 empty] | 5.2603 | 5.2246 | 5.2425 | 0.0012733 |  |  |  | 0.71389 | 0.0076374 | 2.7231 | 0.14117 | 100
|  | 250 | 7 | 19 | [12 empty] | GoFlo problem, not smp | [7 empty] | 0.38381 | 0.0098694 | 8.3397 | 0.20776 | 50
|  | 175 | 8 | 20 | A | 1.012 | 0.99877 | 1.0054 | 0.00017393 | [8 empty] | 3.8302 |  |  |  | 4.1373 | 0.37747 |  | 1.0763 | 0.015864 | 11.0227 | 0.0371 | 25
[5 empty] | B | [12 empty] | 4.4445 | [6 empty] | 0.78182 | 0.0012489 | 5.268 | 0.0066779 | 10
|  | 100 | 9 | 21 |  | 0.70626 | 0.72153 | 0.71389 | 0.00023332 | [8 empty] | 2.8643 | 2.5819 | 2.7231 | 0.079719
|  | 50 | 10 | 22 | A | 0.39368 | 0.37394 | 0.38381 | 0.00038962 | [8 empty] | 8.5475 |  |  |  | 8.3397 | 0.17266
[5 empty] | B | [12 empty] | 8.132
|  | 25 | 11 | 23 |  | 1.0605 | 1.0922 | 1.0763 | 0.0010067 | [8 empty] | 10.9856 | 11.0598 | 11.0227 | 0.0055055 |  |  | >hi std
|  | 10 | 12 | 24 | A | 0.78057 | 0.78307 | 0.78182 | 6.2391e-06 | [8 empty] | 5.1592 | 5.3901 | 5.2747 | 0.053281 | 5.268 | 0.00017838
[5 empty] | B | [12 empty] | 5.2613
| KC2000 | 1000 | 1 | 49 | A | 0.58188 |  | 0.58188 | [9 empty] | 8.136 | 8.8534 | 8.4947 | 0.51476 | 8.6074 | 0.050787 | UFA repb >hi std | 0.58188 | 0 | 8.6074 | 0.11268 | 1000
[5 empty] | B | [12 empty] | 8.72 | [5 empty] | >hi std | 0.66047 | 0.0075234 | 7.9473 | 0.018051 | 800
|  | 800 | 2 | 50 | A | 0.65295 | 0.668 | 0.66047 | 0.0002264 | [8 empty] | 7.9654 |  |  |  | 7.9473 | 0.0013034 |  | 0.7226 | 0.0022388 | 8.9026 | 4.6313 | 650
[5 empty] | B | [12 empty] | 7.9292 | [6 empty] | 0.70492 | 0.0061495 | 10.6506 | 0.44981 | 550
|  | 650 | 3 | 51 | A | 0.72484 | 0.72036 | 0.7226 | 2.0049e-05 | [8 empty] | 8.5425 |  |  |  | 8.9026 | 0.51849 |  | 0.69661 | 0.0077173 | 9.2135 | 0.17881 | 450
[5 empty] | B | [12 empty] | 9.2626 | [6 empty] | 0.67459 | 0.028073 | 8.6344 | 0.27437 | 300
|  | 550 | 4 | 52 | A | 0.69877 | 0.71107 | 0.70492 | 0.00015126 | [8 empty] | 10.2008 |  |  |  | 10.6506 | 0.80931 | >hi std | 0.48297 | 0.026642 | 7.7646 | 0.54091 | 250
[5 empty] | B | [12 empty] | 11.1004 | [5 empty] | >hi std | 1.137 | 0.004301 |  |  | 150
|  | 450 | 5 | 53 | A | 0.68889 | 0.70432 | 0.69661 | 0.00023822 | [8 empty] | 8.9808 | 9.0886 | 9.0347 | 0.011621 | 9.2135 | 0.1279 |  | 1.0713 | 0.0076425 |  |  | 135
[5 empty] | B | [12 empty] | 9.3923 | [6 empty] | 0.33847 | 0.013181 | 4.6492 | 0.18815 | 50
|  | 300 | 6 | 54 | A | 0.70267 | 0.64652 | 0.67459 | 0.0031523 | [8 empty] | 8.9087 |  |  |  | 8.6344 | 0.30111 |  | 1.1404 | 0.024762 |  |  | 25
[5 empty] | B | [12 empty] | 8.36 | [6 empty] | 1.2612 | 0.022315 |  |  | 10
|  | 250 | 7 | 55 | A | 0.51114 | 0.50809 | 0.50961 | 9.2907e-06 |  | 0.48297 | 0.0028392 | [5 empty] | 8.3279 | 8.2831 | 8.3055 | 0.0020125 | 7.7646 | 1.1703
[5 empty] | B | 0.4606 | 0.45205 | 0.45633 | 7.3109e-05 | [8 empty] | 7.2237
|  | 150 | 8 | 56 |  | 1.1327 | 1.1413 | 1.137 | 7.3994e-05
|  | 135 | 9 | 57 | A | 1.0637 | 1.0941 | 1.0789 | 0.00092233 |  | 1.0713 | 0.00023363
[5 empty] | B | 1.0502 | 1.077 | 1.0636 | 0.00071749
|  | 50 | 10 | 58 | A | 0.34848 | 0.35483 | 0.35165 | 4.0239e-05 |  | 0.33847 | 0.00069491 | [5 empty] | 4.6356 | 4.2866 | 4.4611 | 0.12179 | 4.6492 | 0.14159
[5 empty] | B | 0.34877 | 0.30181 | 0.32529 | 0.0022052 | [8 empty] | 4.8374
|  | 25 | 11 | 59 |  | 1.1651 | 1.1156 | 1.1404 | 0.0024526
|  | 10 | 12 | 60 |  | 1.269 | 1.2979 | 1.2835 | 0.00083566 |  | 1.2612 | 0.0019918
[6 empty] | 1.2259 | 1.2518 | 1.2389 | 0.0006747
| KC1500 | 1000 | 1 | 73 | A | 0.87801 | 1.0023 | 0.94015 | 0.015443 |  | 0.88057 | 0.014196 | [5 empty] | 8.7878 |  |  |  | 8.8626 | 0.022382 |  | 0.88057 | 0.059574 | 8.8626 | 0.074802 | 1000
[5 empty] | B | 0.821 |  | 0.821 | [9 empty] | 8.9374 | [6 empty] | 0.67625 | 0.0076061 | 11.4292 | 0.23153 | 800
|  | 800 | 2 | 74 | A | 0.68386 | 0.66864 | 0.67625 | 0.00023141 | [8 empty] | 11.6607 |  |  |  | 11.4292 | 0.21443 | >hi std | 0.75781 | 0.063016 | 5.8717 | 0.16109 | 650
[5 empty] | B | [12 empty] | 11.1977 | [5 empty] | >hi std | 0.97827 | 0.087452 | 5.4307 | 0.11325 | 550
|  | 650 | 3 | 75 | A | 0.83769 | 0.80397 | 0.82083 | 0.0011367 |  | 0.75781 | 0.015884 | [5 empty] | 6.0316 | 6.0339 | 6.0328 | 5.2265e-06 | 5.8717 | 0.1038 |  | 0.57511 | 0.01608 | 6.9589 | 0.22639 | 450
[5 empty] | B | 0.6948 |  | 0.6948 | [9 empty] | 5.7106 | [6 empty] | 0.95082 | 0.014031 | 5.5179 | 0 | 300
|  | 550 | 4 | 76 |  | 0.89081 | 1.0657 | 0.97827 | 0.030592 | [8 empty] | 5.3174 | 5.5439 | 5.4307 | 0.051306 |  |  |  | 0.54594 | 0.008563 | 4.6763 | 0.090091 | 250
|  | 450 | 5 | 77 | A | 0.57563 | 0.54243 | 0.55903 | 0.0011022 |  | 0.57511 | 0.0010343 | [5 empty] | 6.7325 |  |  |  | 6.9589 | 0.20501 |  | 0.55059 | 0.011878 | 4.9471 | 0 | 225
[5 empty] | B | 0.59119 |  | 0.59119 | [9 empty] | 7.1853 | [6 empty] | 0.95982 | 0.019138 | 8.0664 | 0.0075616 | 145
|  | 300 | 6 | 78 |  | 0.93679 | 0.96485 | 0.95082 | 0.00078749 | [8 empty] | 5.5179 | [6 empty] | 0.3854 | 0.042178 | 4.7775 | 0.58827 | 50
|  | 250 | 7 | 79 | A | 0.5474 | 0.5616 | 0.5545 | 0.00020167 |  | 0.54594 | 0.0002933 | [5 empty] | 4.5476 | 4.6248 | 4.5862 | 0.0059548 | 4.6763 | 0.032466 |  | 0.91956 | 0.022199 | 10.7019 | 0.028601 | 25
[5 empty] | B | 0.53737 |  | 0.53737 | [9 empty] | 4.7664 | [6 empty] | 1.1593 | 0.066231 |  |  | 10
|  | 225 | 8 | 80 |  | 0.53871 | 0.56247 | 0.55059 | 0.00056439 | [8 empty] | 4.9471
|  | 145 | 9 | 81 | A | 0.96792 | 0.91344 | 0.94068 | 0.0029684 |  | 0.95982 | 0.0014651 | [5 empty] | 7.9503 | 8.1672 | 8.0588 | 0.047046 | 8.0664 | 0.00022871
[5 empty] | B | 0.97895 |  | 0.97895 | [9 empty] | 8.0739
|  | 50 | 10 | 82 | A | 0.34323 | 0.42758 | 0.3854 | 0.007116 | [8 empty] | 5.3657 |  |  |  | 4.7775 | 1.3842
[5 empty] | B | [12 empty] | 4.1892
|  | 25 | 11 | 83 | A | 0.87239 | 0.92233 | 0.89736 | 0.0024946 |  | 0.91956 | 0.0019712 | [5 empty] | 10.6609 | 10.8001 | 10.7305 | 0.019362 | 10.7019 | 0.003272
[5 empty] | B | 0.94176 |  | 0.94176 | [9 empty] | 10.6733
|  | 10 | 12 | 84 |  | 1.2255 | 1.0931 | 1.1593 | 0.017546
| KC1000 | 900 | 1 | 85 | A | 0.60258 |  | 0.60258 |  |  | 0.65306 | 0.010192 | [5 empty] | >>15 | [5 empty] | OR, >>hi std | 0.65306 | 0.050478 | 25 | 0 | 900 |  | >>15
[5 empty] | B | 0.70354 |  | 0.70354 | [16 empty] | 0.80994 | 0.047287 | 20 | 0 | 800 |  | >>15
|  | 800 | 2 | 86 |  | 0.76266 | 0.85723 | 0.80994 | 0.0089444 | [8 empty] | >>15 | [5 empty] | OR, >>hi std | 0.63383 | 0.011748 | 15.9507 | 0 | 650 |  | 15.9507
|  | 650 | 3 | 87 | A | 0.66223 | 0.62893 | 0.64558 | 0.0011087 |  | 0.63383 | 0.00055205 | [5 empty] | 15.9507 | [5 empty] | >hi std, pk late | 0.67811 | 0.0020655 | 12.0224 | 0 | 550 |  | 12.0224
[5 empty] | B | 0.62208 |  | 0.62208 | [16 empty] | 0.73854 | 0.012339 | 11.8048 | 0 | 450 |  | 11.8048
|  | 550 | 4 | 88 |  | 0.67604 | 0.68017 | 0.67811 | 1.7065e-05 | [8 empty] | 12.0224 | [6 empty] | 0.76167 | 0.017637 | 15.3896 | 0 | 350 |  | 15.3896
|  | 450 | 5 | 89 | A | 0.75234 | 0.74943 | 0.75088 | 8.4727e-06 |  | 0.73854 | 0.00060899 | [5 empty] | 11.8048 | [6 empty] | 0.61452 | 0.065064 | 7.2575 | 0.272 | 200 |  | 7.2575
[5 empty] | B | 0.7262 |  | 0.7262 | [16 empty] | 0.85551 | 0 | 8.5232 | 0 | 150 |  | 8.5232
|  | 350 | 6 | 90 |  | 0.7793 | 0.74403 | 0.76167 | 0.0012443 | [8 empty] | 15.3896 | [6 empty] | 1.157 | 0.18571 | 3.0074 | 0.096599 | 125 |  | 3.0074
|  | 200 | 7 | 91 | A | 0.55383 | 0.54508 | 0.54946 | 7.6637e-05 |  | 0.61452 | 0.016933 | [5 empty] | 7.0205 | 6.9505 | 6.9855 | 0.0048997 | 7.2575 | 0.29594 |  | 0.40378 | 0 |  |  | 68
[5 empty] | B | 0.67958 |  | 0.67958 | [9 empty] | 7.5295 | [6 empty] | 1.1869 | 0.056593 | 18 | 0 | 25 |  | >15
|  | 150 | 8 | 92 |  | 0.85551 |  | 0.85551 | [9 empty] | 8.5232 | [6 empty] | 1.1448 | 0.020776 |  |  | 10
|  | 125 | 9 | 93 | A | 1.111 | 1.203 | 1.157 | 0.0084767 |  | 0.97128 | 0.13795 | [5 empty] | 2.9955 | 2.8262 | 2.9108 | 0.028643 | 3.0074 | 0.037325
[5 empty] | B | 0.78557 |  | 0.78557 | [8 empty] | ?poss incorrect smp entry | 3.104
|  | 68 | 10 | 94 |  | 0.40378 |  | 0.40378
|  | 25 | 11 | 95 | A | 1.1282 | 1.1324 | 1.1303 | 1.811e-05 |  | 1.1869 | 0.012811 | [5 empty] | >15 | [5 empty] | >hi std
[5 empty] | B | 1.2435 |  | 1.2435
|  | 10 | 12 | 96 |  | 1.124 | 1.1656 | 1.1448 | 0.0017266
| KC500 | 450 | 1 | 109 |  | 1.7771 | 1.7314 | 1.7542 | 0.0020908 |  |  |  |  | 1.6114 | 0.081577 | [9 empty] | 1.7542 |  |  |  | 450 | 1.6114 | 0.14281 | 450
|  | 450 | 2 | 110 |  | 1.4703 | 1.4669 | 1.4686 | 1.1995e-05 | [15 empty] | 1.4686 |  |  |  | 450 | 1.2634 | 0.021134 | 300
|  | 300 | 3 | 111 |  | 1.3627 | 1.2063 | 1.2845 | 0.024467 |  |  |  |  | 1.2634 | 0.0017866 | [9 empty] | 1.2845 |  |  |  | 300 | 1.143 | 0.027095 | 225
|  | 300 | 4 | 112 |  | 1.2423 |  | 1.2423 | [16 empty] | 1.2423 |  |  |  | 300 | 1.9878 | 0.427 | 145
|  | 225 | 5 | 113 |  | 1.1159 |  | 1.1159 | [5 empty] | 1.143 | 0.0029366 | [9 empty] | 1.1159 |  |  |  | 225 | 1.0948 | 0.082278 | 50
|  | 225 | 6 | 114 |  | 1.1701 |  | 1.1701 | [16 empty] | 1.1701 |  |  |  | 225 | 1.2764 | 0.18371 | 10
|  | 145 | 7 | 115 |  | 2.4148 |  | 2.4148 | [5 empty] | 1.9878 | 0.72932 |  | bad bottle trip? | [7 empty] | 2.4148 |  |  |  | 145
|  | 145 | 8 | 116 |  | 1.5608 |  | 1.5608 | [8 empty] | bad bottle trip? | [7 empty] | 1.5608 |  |  |  | 145
|  | 50 | 9 | 117 |  | 1.1771 |  | 1.1771 | [5 empty] | 1.0948 | 0.027079 | [9 empty] | 1.1771 |  |  |  | 50
|  | 50 | 10 | 118 |  | 1.009 | 1.016 | 1.0125 | 4.9682e-05 | [15 empty] | 1.0125 |  |  |  | 50
|  | 10 | 11 | 119 |  | 1.4601 |  | 1.4601 | [5 empty] | 1.2764 | 0.13499 | [9 empty] | 1.4601 |  |  |  | 10
|  | 10 | 12 | 120 |  | 1.066 | 1.1193 | 1.0927 | 0.0028393 | [15 empty] | 1.0927 |  |  |  | 10
for graphing:
| KC200 | 175 | 1 | 133 | A | 1.2956 | 1.2835 | 1.2895 | 0.0001478 |  | 1.4381 | 0.088255 |  | 1.3985 | 0.0062547 | [9 empty] | 1.4381 |  |  |  | 175 | 1.3985 | 0.039543 | 175
[5 empty] | B | 1.5084 | 1.6649 | 1.5866 | 0.024496 | [15 empty] | 1.359 |  |  |  | 175 | 2.4599 | 0.054219 | 125
|  | 175 | 2 | 134 |  | 1.3553 | 1.3627 | 1.359 | 5.4679e-05 | [15 empty] | 2.4057 |  |  |  | 125 | 3.2719 | 0.014041 | 75
|  | 125 | 3 | 135 | A | 2.4739 |  | 2.4739 |  |  | 2.4057 | 0.01861 |  | 2.4599 | 0.011759 | [9 empty] | 2.5142 |  |  |  | 125 | 1.8533 | 0.090583 | 50
[5 empty] | B | 2.3375 |  | 2.3375 | [16 empty] | 3.286 |  |  |  | 75 | 1.1754 | 0.16813 | 25
|  | 125 | 4 | 136 |  | 2.4267 | 2.6016 | 2.5142 | 0.030599 | [15 empty] | 3.2579 |  |  |  | 75 | 0.85146 | 0.052627 | 10
|  | 75 | 5 | 137 | A | 3.3543 | 3.3907 | 3.3725 | 0.0013268 |  | 3.286 | 0.029961 |  | 3.2719 | 0.00078863 | [9 empty] | 1.7627 |  |  |  | 50
[5 empty] | B | 3.1994 |  | 3.1994 | [16 empty] | 1.9439 |  |  |  | 50
|  | 75 | 6 | 138 |  | 3.2315 | 3.2842 | 3.2579 | 0.002775 | [15 empty] | 1.0073 |  |  |  | 25
|  | 50 | 7 | 139 | A | 1.7592 |  | 1.7592 |  |  | 1.7627 | 5.0186e-05 |  | 1.8533 | 0.032821 | [9 empty] | 1.3436 |  |  |  | 25
[5 empty] | B | 1.7662 |  | 1.7662 | [16 empty] | 0.90409 |  |  |  | 10
|  | 50 | 8 | 140 |  | 1.9387 | 1.949 | 1.9439 | 0.0001056 | [15 empty] | 0.79883 |  |  |  | 10
|  | 25 | 9 | 141 | A | 0.91316 |  | 0.91316 |  |  | 1.0073 | 0.035441 |  | 1.1754 | 0.11308
[5 empty] | B | 1.1014 |  | 1.1014
|  | 25 | 10 | 142 |  | 1.4323 | 1.2548 | 1.3436 | 0.031486
|  | 10 | 11 | 143 | A | 0.85994 | 0.84751 | 0.85373 | 0.00015443 |  | 0.90409 | 0.010145 |  | 0.85146 | 0.011078
[5 empty] | B | 0.95445 |  | 0.95445
|  | 10 | 12 | 144 |  | 0.78711 | 0.81056 | 0.79883 | 0.00055024
Following are Line P Cruise Fe Samples, in long term storage
These data included in this table for Relicate Stats, are not in "Final Data...." Sheet; see individual cruise files for all their data
[10 empty] | <0.2, all |  |  | <0.2, all
[7 empty] | Avg: |  | 0.4182 | 0.15515 |  | 0.494 | 0.17609 |  | 0.4929 | [5 empty] | 0.70145 |  | 0.89013
[7 empty] | sp all: |  | 0.019477 | 0.0056487 |  | 0.17142 | 0.031589 |  | 0.14896 | [5 empty] | 0.03563 |  | 0.37396
[7 empty] | %RSD: |  | 4.6572 | 3.6408 |  | 34.7005 | 17.9387 |  | 30.2222 | [5 empty] | 5.0795 |  | 42.0115
[7 empty] | n All: |  | 59 | 16 |  | 15 | 4 |  | 1 | [5 empty] | 50 |  | 12
[7 empty] | sum(abs diff)^2 All: |  | 0.044762 | 0.001021 |  | 0.88155 | 0.0079829 |  | 0.044381 | [5 empty] | 0.12695 |  | 3.3563
2007 Analysis | [17 empty] | 2007 Analysis
2006-15 | P26 | 0 |  |  |  | 0.33986 | 0.32772 | 0.33379 | 0.0001474 | [8 empty] | 0.21599 | 0.22616 | 0.22108 | 0.00010346
|  | 5 |  |  |  | 0.2073 | 0.18908 | 0.19819 | 0.00033202 | [8 empty] | 0.42281 | 0.4076 | 0.41521 | 0.00023162
|  | 10 |  |  |  | 0.29694 | 0.30113 | 0.29904 | 1.755e-05 | [8 empty] | 0.41236 | 0.43554 | 0.42395 | 0.00053742
|  | 25 |  |  |  | 0.22994 | 0.22467 | 0.22731 | 2.7776e-05 | [8 empty] | 0.43312 | 0.46737 | 0.45025 | 0.001173
|  | 40 |  |  | 1 | 0.32068 | 0.28809 | 0.30438 | 0.0010618 |  | 0.27614 | 0.0031906 | [5 empty] | 0.53075 | 0.53195 | 0.53135 | 1.4568e-06
|  | 40 |  |  | 2 | 0.24618 | 0.24962 | 0.2479 | 1.1802e-05
|  | 75 |  |  |  | 0.2108 | 0.203 | 0.2069 | 6.074e-05 | [8 empty] | 0.89416 | 0.93456 | 0.91436 | 0.0016322
|  | 100 |  |  |  | 0.10721 | 0.09557 | 0.10139 | 0.00013559 | [8 empty] | 0.55703 | 0.55043 | 0.55373 | 4.3455e-05
|  | 150 |  |  |  | 0.80118 | 0.81626 | 0.80872 | 0.00022764 | [8 empty] | 0.96924 | 0.98568 | 0.97746 | 0.00027041
|  | 200 |  |  |  | 0.49927 | 0.47586 | 0.48756 | 0.00054795 | [8 empty] | 1.1673 | 1.1368 | 1.152 | 0.00092994
|  | 400 |  |  |  | 0.56694 | 0.57302 | 0.56998 | 3.6944e-05 | [8 empty] | 1.3397 | 1.4003 | 1.37 | 0.003681
|  | 600 |  |  |  | 0.66238 | 0.69667 | 0.67953 | 0.0011759 | [8 empty] | 1.37 | 1.3745 | 1.3723 | 2.053e-05
| P20 | 0 |  |  |  | 0.6938 | 0.70874 | 0.70127 | 0.00022303 | [8 empty] | 0.48293 | 0.51046 | 0.49669 | 0.0007583
5
|  | 10 |  |  |  | 0.23758 | 0.23894 | 0.23826 | 1.8628e-06 | [8 empty] | 0.44937 | 0.46565 | 0.45751 | 0.00026508
|  | 25 |  |  |  | 0.39374 | 0.37829 | 0.38601 | 0.00023893 | [8 empty] | 0.4644 | 0.47099 | 0.4677 | 4.3408e-05
|  | 40 |  |  |  | 0.35464 | 0.37084 | 0.36274 | 0.00026269 | [8 empty] | 0.64343 | 0.65289 | 0.64816 | 8.9325e-05
|  | 75 |  |  |  | 0.3922 | 0.37483 | 0.38351 | 0.00030154 | [8 empty] | 0.53356 | 0.51741 | 0.52548 | 0.0002608
|  | 100 |  |  |  | 0.53649 | 0.56275 | 0.54962 | 0.00068983 | [8 empty] | 0.43003 | 0.39878 | 0.41441 | 0.00097637
|  | 200 |  |  |  | 0.65958 | 0.66437 | 0.66197 | 2.2975e-05 | [8 empty] | 1.1719
|  | 400 |  |  |  | 2.2593 | 2.4252 | 2.3423 | 0.027512 | [7 empty] | >hi std (1.6) | 1.2741
| P16 | 0 |  |  | 1 | 0.45595 | 0.46629 | 0.46112 | 0.00010692 |  | 0.88171 | 0.70758 | [5 empty] | 0.44215 | 0.6314 | 0.53677 | 0.035817 | 0.58409 | 0.0089543
[5 empty] | 2 | 1.3023 | [10 empty] | bad, > UFA? Mix up in FA and UFA? | 0.6314
5
|  | 10 |  |  |  | 0.30971 | 0.30501 | 0.30736 | 2.2056e-05 | [8 empty] | OR, >2
|  | 25 |  |  |  | 0.31406 | 0.29419 | 0.30412 | 0.00039488 | [8 empty] | 0.65025 | 0.63042 | 0.64034 | 0.00039312
|  | 40 |  |  |  | 0.32778 | 0.31679 | 0.32229 | 0.00012063 | [8 empty] | 0.50492 | 0.48862 | 0.49677 | 0.00026594
|  | 75 |  |  |  | 0.38434 | 0.36988 | 0.37711 | 0.00020928 | [8 empty] | 0.73285 | 0.73379 | 0.73332 | 8.8772e-07
|  | 100 |  |  |  | 0.17977 | 0.16699 | 0.17338 | 0.00016335 | [8 empty] | 0.38804 | 0.40541 | 0.39673 | 0.00030188
|  | 200 |  |  |  | 1.1204 | [11 empty] | 3.3455
|  | 300 |  |  |  | 1.1175 | [11 empty] | 2.0466
| P12 | 0
5
|  | 10 |  |  |  | 0.34559 | 0.35055 | 0.34807 | 2.4568e-05 | [7 empty] | marked FA-HD -? | 0.43638
|  | 25 |  |  |  | 0.24833 | 0.2463 | 0.24731 | 4.1427e-06 | [8 empty] | 0.36572
|  | 40 |  |  |  | 0.28494 | [11 empty] | 0.35193
|  | 75 |  |  |  | 0.1272 | [11 empty] | 0.71784 | 0.78559 | 0.75172 | 0.00459
|  | 100 |  |  |  | 0.16596 | 0.16653 | 0.16625 | 3.2116e-07 | [8 empty] | 0.44167 | 0.43348 | 0.43758 | 6.7165e-05
| P04 | 0
5
10
25
40
75
100
|  | ? |  |  |  | 0.72074 | 0.72496 | 0.72285 | 1.7787e-05 | [7 empty] | unknown depth - check log | 1.7149 | 1.734 | 1.7245 | 0.00036441 |  |  | 2x dilution
| Z4 | 0
5
|  | 10 |  |  |  | 0.1812 | 0.17768 | 0.17944 | 1.2362e-05 | [8 empty] | 0.38159 | 0.40781 | 0.3947 | 0.00068732
|  | 25 |  |  |  | 0.12972 | 0.13595 | 0.13283 | 3.8826e-05 | [8 empty] | 0.43755 | 0.45434 | 0.44595 | 0.00028168
|  | 40 |  |  |  | 0.15476 | 0.15567 | 0.15521 | 8.3178e-07 | [8 empty] | 0.28365 | 0.30127 | 0.29246 | 0.00031013
|  | 75 |  |  |  | 0.12036 | 0.11181 | 0.11609 | 7.3015e-05 | [8 empty] | 0.34737 | 0.33946 | 0.34342 | 6.2433e-05
|  | 100 |  |  |  | 0.23878 | 0.23432 | 0.23655 | 1.9852e-05 | [8 empty] | 0.60656 | 0.61975 | 0.61315 | 0.00017374
| Z9 | 0 |  |  |  | 0.52798 | 0.55738 | 0.54268 | 0.00086487 | [8 empty] | 0.42506
|  | 5 | [15 empty] | 0.33469 | 0.31204 | 0.32336 | 0.00051298
|  | 10 |  |  |  | 0.1351 | 0.13444 | 0.13477 | 4.4056e-07 | [8 empty] | 0.50954 | 0.50954 | 0.50954 | 8.6453e-12
|  | 25 |  |  |  | 0.13781 | 0.12555 | 0.13168 | 0.00015029 | [8 empty] | 0.24208 | 0.21451 | 0.22829 | 0.00076
|  | 40 |  |  |  | 0.23429 | 0.21962 | 0.22696 | 0.00021518 | [8 empty] | 0.23247 | 0.2256 | 0.22904 | 4.7262e-05
|  | 75 |  |  |  | 0.16637 | 0.1676 | 0.16698 | 1.5131e-06 | [8 empty] | 0.27733 | 0.249 | 0.26316 | 0.00080242
|  | 100 |  |  |  | 0.40049 | 0.42051 | 0.4105 | 0.00040064 | [8 empty] | 0.25716 | 0.26381 | 0.26048 | 4.4233e-05
| Z14 | 0
|  | 5 |  |  |  | 0.44803 | 0.42448 | 0.43625 | 0.00055474
|  | 10 |  |  |  | 0.61953 | 0.67192 | 0.64572 | 0.0027449 | [8 empty] | 0.48996
|  | 25 |  |  |  | 0.17104 | 0.17147 | 0.17126 | 1.879e-07 | [8 empty] | 0.33716 | 0.34278 | 0.33997 | 3.1583e-05
|  | 40 |  |  |  | 0.29583 | 0.27779 | 0.28681 | 0.00032537 | [8 empty] | 0.73684
|  | 75 |  |  |  | 0.37406 | 0.39767 | 0.38587 | 0.00055723 | [8 empty] | OR | [5 empty] | >2.4 ?3.3
|  | 100 |  |  |  | 0.67245 | 0.67802 | 0.67523 | 3.1017e-05 | [8 empty] | OR | [5 empty] | >2.4, ?3.3
2007-01 | P26 | 5 |  |  | A | 0.20064 | 0.20288 | 0.20176 | 5.0489e-06 |  | 0.19048 | 0.00050901 | [5 empty] | 0.36945 | 0.38866 | 0.37906 | 0.00036905 | 0.38069 | 1.0698e-05
|  | 5 |  |  | B | 0.1792 | [11 empty] | 0.38233
|  | 10 |  |  | A | 0.42574 |  |  |  |  | 0.38757 | 0.0058306 |  | 0.4929 | 0.044381 |  |  | 0.42586 | 0.40456 | 0.41521 | 0.00045357 | 0.38204 | 0.0044001
|  | 10 |  |  | B | 0.34939 | [11 empty] | 0.34888
|  | 10 | Pump |  | A | 0.74332 | 0.731 | 0.73716 | 0.00015189 |  | 0.59823 | 0.077202 |  |  |  |  | large spread,
|  | 10 | Pump |  | B | 0.45931
|  | 25 |  |  | A | 0.37025 | 0.39758 | 0.38392 | 0.00074678 |  | 0.37269 | 0.00050435 | [5 empty] | 2.0691 | 2.3051 | 2.1871 | 0.055708 | 1.3594 | 2.7403
|  | 25 |  |  | B | 0.36146 | [11 empty] | 0.53169
|  | 40 |  |  | A | 0.13924 | 0.13132 | 0.13528 | 6.2711e-05 |  | 0.17616 | 0.0066831 | [5 empty] | 0.36985 | 0.35465 | 0.36225 | 0.00023116 | 0.49467 | 0.070139
|  | 40 |  |  | B | 0.21703 | [11 empty] | 0.62709
|  | 75 |  |  | A | 0.15735 | 0.16399 | 0.16067 | 4.4072e-05 |  | 0.17095 | 0.00042227 | [5 empty] | 0.51158 | 0.53451 | 0.52305 | 0.00052596 | 0.56788 | 0.0080421
|  | 75 |  |  | B | 0.18122 | [11 empty] | 0.61272
|  | 100 |  |  | A | 0.15754 | 0.15686 | 0.1572 | 4.6904e-07 |  | 0.1668 | 0.00036846 | [5 empty] | 0.48509 | 0.47122 | 0.47816 | 0.00019255 | 0.4817 | 5.0307e-05
|  | 100 |  |  | B | 0.17639 | [11 empty] | 0.48525
|  | 150 |  |  | A | 0.46021 |  |  |  |  | 0.47713 | 0.0011442 | [5 empty] | 1.3146 | 1.2972 | 1.3059 | 0.00030257 | 1.1537 | 0.092661
|  | 150 |  |  | B | 0.49404 | [11 empty] | 0.98769 | 1.0154 | 1.0015 | 0.00076677
|  | 200 |  |  | A | 0.4948 | 0.4885 | 0.49165 | 3.9699e-05 |  | 0.52138 | 0.003535 | [5 empty] | 1.0235 | 1.0769 | 1.0502 | 0.0028468 | 0.96833 | 0.026801
|  | 200 |  |  | B | 0.55111 | [11 empty] | 0.88648
|  | 300 |  |  | A | 0.71169 | 0.7326 | 0.72214 | 0.00043716 |  | 0.79571 | 0.021649 | [5 empty] | 1.5253 | 1.5693 | 1.5473 | 0.0019441 | 1.3263 | 0.19529
|  | 300 |  |  | B | 0.86928 | [11 empty] | 1.1054
|  | 400 |  |  | A | 0.83925 | 0.86296 | 0.8511 | 0.0005621 |  | 0.80598 | 0.0081433 | [5 empty] | 1.9357 | 1.9704 | 1.9531 | 0.0012019 | 1.7242 | 0.20957
|  | 400 |  |  | B | 0.76086 | [11 empty] | 1.4953
|  | 600 |  |  | A | 0.66742 | 0.71294 | 0.69018 | 0.0020713 |  | 0.79515 | 0.044077 | [5 empty] | 1.2925 | 1.218 | 1.2553 | 0.0055523 | 1.2585 | 4.1923e-05
|  | 600 |  |  | B | 0.90013 | [11 empty] | 1.2527 | 1.2708 | 1.2618 | 0.00032566
|  | 800 |  |  | A | 0.80026 | 0.81428 | 0.80727 | 0.00019643 |  | 0.79395 | 0.00070999 | [5 empty] | OR | [5 empty] | >hi std, OR but not much, ?~2.8
|  | 800 |  |  | B | 0.77122 | 0.79003 | 0.78062 | 0.00035365 | [8 empty] | 1.2283