## File List
Number of Files= |  | 6
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2007-03-0007.mrg | 2007-03-0007.samcor1 | 11 | 22 | 2007-03-0007.mrg & 2007-03-0007.samcor1
2 | 2007-03-0013.mrg | 2007-03-0013.samcor1 | 24 | 35 | 2007-03-0013.mrg & 2007-03-0013.samcor1
3 | 2007-03-0017.mrg | 2007-03-0017.samcor1 | 37 | 48 | 2007-03-0017.mrg & 2007-03-0017.samcor1
4 | 2007-03-0018.mrg | 2007-03-0018.samcor1 | 50 | 61 | 2007-03-0018.mrg & 2007-03-0018.samcor1
5 | 2007-03-0020.mrg | 2007-03-0020.samcor1 | 63 | 68 | 2007-03-0020.mrg & 2007-03-0020.samcor1
6 | 2007-03-0022.mrg | 2007-03-0022.samcor1 | 70 | 75 | 2007-03-0022.mrg & 2007-03-0022.samcor1

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 4.4686e-07 |  | X | CALC Y
m= | -5.0193e-05 | 0.010412 |  | Std Dev of Resid |  | 0.067346 |  | 6.0418 | -0.00019688
b= | 0.00010637 | 0.074032 |  | Resid Sum of Squares |  | 0.23585 |  | 9.1374 | -0.00035226
# of Values Extracted = |  |  | 60
# of Values Used in Fit = |  |  | 54
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 1013.48 | 6.9492 | 0.0024014 | -0.035843 | -0.00024242 | 0.0356 |  | 6.9492 | -0.035843
1 | YES | 811.731 | 6.9091 | 0.0025818 | -0.026909 | -0.00024041 | 0.026668 |  | 6.9091 | -0.026909
1 | YES | 659.201 | 6.8525 | 0.0017077 | 0.019546 | -0.00023757 | -0.019783 |  | 6.8525 | 0.019546
1 | YES | 559.297 | 6.8362 | 0.002421 | -0.011827 | -0.00023675 | 0.01159 |  | 6.8362 | -0.011827
1 | YES | 454.281 | 6.7523 | 0.0019137 | -0.033654 | -0.00023255 | 0.033422 |  | 6.7523 | -0.033654
1 | YES | 304.725 | 6.5638 | 0.0033056 | -0.045198 | -0.00022308 | 0.044975 |  | 6.5638 | -0.045198
1 | YES | 253.586 | 6.6062 | 0.0068588 | -0.090802 | -0.00022521 | 0.090576 |  | 6.6062 | -0.090802
1 | YES | 176.648 | 6.3749 | 0.01307 | -0.061058 | -0.0002136 | 0.060844 |  | 6.3749 | -0.061058
1 | YES | 98.8709 | 7.0776 | 0.010852 | -0.15244 | -0.00024887 | 0.15219 |  | 7.0776 | -0.15244
1 | YES | 51.4921 | 8.993 | 0.0080441 | -0.095991 | -0.00034501 | 0.095646 |  | 8.993 | -0.095991
1 | YES | 25.8588 | 8.1376 | 0.0091359 | -0.12544 | -0.00030207 | 0.12514 |  | 8.1376 | -0.12544
1 | YES | 10.9767 | 8.5473 | 0.0066452 | -0.030744 | -0.00032264 | 0.030421 |  | 8.5473 | -0.030744
2 | YES | 1013.16 | 6.9309 | 0.0024029 | 0.020901 | -0.00024151 | -0.021142 |  | 6.9309 | 0.020901
2 | YES | 809.984 | 6.8884 | 0.0014128 | 0.051422 | -0.00023937 | -0.051661 |  | 6.8884 | 0.051422
2 | YES | 657.677 | 6.8326 | 0.002526 | -0.06343 | -0.00023657 | 0.063193 |  | 6.8326 | -0.06343
2 | YES | 555.647 | 6.7857 | 0.0017262 | 0.030735 | -0.00023422 | -0.03097 |  | 6.7857 | 0.030735
2 | YES | 455.464 | 6.7241 | 0.0011577 | 0.0080991 | -0.00023113 | -0.0083302 |  | 6.7241 | 0.0080991
2 | YES | 302.958 | 6.5345 | 0.0021565 | 0.0085373 | -0.00022161 | -0.0087589 |  | 6.5345 | 0.0085373
2 | YES | 252.674 | 6.4522 | 0.0035678 | -0.038769 | -0.00021748 | 0.038551 |  | 6.4522 | -0.038769
2 | YES | 151.354 | 6.0789 | 0.012893 | 0.00094223 | -0.00019875 | -0.001141 |  | 6.0789 | 0.00094223
2 | YES | 136.189 | 6.2599 | 0.0044059 | -0.015066 | -0.00020783 | 0.014858 |  | 6.2599 | -0.015066
2 | YES | 50.4774 | 9.0137 | 0.01717 | -0.14733 | -0.00034605 | 0.14698 |  | 9.0137 | -0.14733
2 | YES | 24.1916 | 8.5118 | 0.06153 | 0.078761 | -0.00032085 | -0.079082 |  | 8.5118 | 0.078761
2 | YES | 10.5992 | 8.278 | 0.0019406 | 0.0019836 | -0.00030912 | -0.0022928 |  | 8.278 | 0.0019836
3 | YES | 1013.59 | 6.928 | 0.0021618 | 0.0070415 | -0.00024136 | -0.0072828 |  | 6.928 | 0.0070415
3 | YES | 808.798 | 6.8769 | 0.0024185 | 0.00086784 | -0.0002388 | -0.0011066 |  | 6.8769 | 0.00086784
3 | YES | 657.876 | 6.8429 | 0.0028424 | 0.017934 | -0.00023709 | -0.018171 |  | 6.8429 | 0.017934
3 | YES | 556.272 | 6.8017 | 0.0025853 | 0.023686 | -0.00023502 | -0.023921 |  | 6.8017 | 0.023686
3 | YES | 455.158 | 6.7281 | 0.0019404 | 0.00013208 | -0.00023133 | -0.00036341 |  | 6.7281 | 0.00013208
3 | YES | 303.25 | 6.5042 | 0.001455 | 0.01824 | -0.00022009 | -0.01846 |  | 6.5042 | 0.01824
3 | YES | 253.575 | 6.4386 | 0.0031914 | 0.0056281 | -0.0002168 | -0.0058449 |  | 6.4386 | 0.0056281
3 | YES | 227.405 | 6.4032 | 0.0030975 | 0.021149 | -0.00021502 | -0.021364 |  | 6.4032 | 0.021149
3 | YES | 145.885 | 6.2273 | 0.017859 | -0.031711 | -0.00020619 | 0.031504 |  | 6.2273 | -0.031711
3 | YES | 51.2845 | 9.1374 | 0.00665 | 0.14139 | -0.00035226 | -0.14174 |  | 9.1374 | 0.14139
3 | YES | 25.1155 | 8.7095 | 0.012315 | 0.045446 | -0.00033078 | -0.045777 |  | 8.7095 | 0.045446
3 | YES | 10.1499 | 8.2813 | 0.015741 | 0.084314 | -0.00030929 | -0.084624 |  | 8.2813 | 0.084314
4 | YES | 909.432 | 6.8992 | 0.0027059 | 0.03819 | -0.00023992 | -0.03843 |  | 6.8992 | 0.03819
4 | YES | 810.272 | 6.8629 | 0.0024799 | -0.0030909 | -0.00023809 | 0.0028528 |  | 6.8629 | -0.0030909
4 | YES | 657.503 | 6.7872 | 0.0015917 | 0.019157 | -0.00023429 | -0.019391 |  | 6.7872 | 0.019157
4 | YES | 556.715 | 6.7563 | 0.0018896 | 0.0092807 | -0.00023274 | -0.0095134 |  | 6.7563 | 0.0092807
4 | YES | 455.848 | 6.6729 | 0.0015562 | 0.038942 | -0.00022856 | -0.039171 |  | 6.6729 | 0.038942
4 | YES | 354.38 | 6.5268 | 0.0021064 | 0.0077853 | -0.00022122 | -0.0080065 |  | 6.5268 | 0.0077853
4 | YES | 202.747 | 6.322 | 0.0048716 | -0.097967 | -0.00021095 | 0.097756 |  | 6.322 | -0.097967
4 | YES | 152.14 | 6.2771 | 0.011679 | 0.036149 | -0.00020869 | -0.036357 |  | 6.2771 | 0.036149
4 | YES | 126.639 | 6.4826 | 0.0040953 | -0.01538 | -0.00021901 | 0.015161 |  | 6.4826 | -0.01538
4 | NO | 66.9949 | 8.318 | 0.053424 | 0.36305 | -0.00031113 | -0.36336 |  | 8.2168 | -0.13721
4 | YES | 25.0353 | 8.2168 | 0.014826 | -0.13721 | -0.00030605 | 0.1369 |  | 8.3493 | 0.068273
4 | YES | 9.8884 | 8.3493 | 0.015069 | 0.068273 | -0.0003127 | -0.068585 |  | 6.8559 | 0.015889
5 | YES | 453.029 | 6.8559 | 0.0020901 | 0.015889 | -0.00023774 | -0.016127 |  | 6.4695 | 0.1925
5 | YES | 304.464 | 6.4695 | 0.0044481 | 0.1925 | -0.00021835 | -0.19272 |  | 6.2032 | -0.044826
5 | YES | 227.384 | 6.2032 | 0.012505 | -0.044826 | -0.00020498 | 0.044622 |  | 6.1254 | 0.07441
5 | YES | 146.031 | 6.1254 | 0.0082967 | 0.07441 | -0.00020108 | -0.074611 |  | 6.2611 | 0.057047
5 | NO | 51.2968 | 8.3983 | 0.041632 | -0.29767 | -0.00031516 | 0.29736 |  | 6.0418 | 0.039813
5 | NO | 9.8081 | 8.4238 | 0.0043045 | 0.32475 | -0.00031644 | -0.32507 |  | 9.1061 | 0.10711
6 | YES | 178.436 | 6.2611 | 0.0024566 | 0.057047 | -0.00020789 | -0.057255
6 | YES | 126.806 | 6.0418 | 0.0042175 | 0.039813 | -0.00019688 | -0.04001
6 | NO | 76.1627 | 7.484 | 0.048581 | 0.57698 | -0.00026927 | -0.57725
6 | NO | 51.2943 | 8.3346 | 0.0049004 | 0.22959 | -0.00031196 | -0.2299
6 | YES | 25.9861 | 9.1061 | 0.0044932 | 0.10711 | -0.00035069 | -0.10746
6 | NO | 10.602 | 8.5944 | 0.013123 | -0.23861 | -0.000325 | 0.23828
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
YES
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0081162 |  | X | CALC Y
m= | 1.8187e-05 | 2.8153e-05 |  | Std Dev of Resid |  | 0.062054 |  | 9.8884 | -0.010145
b= | -0.010325 | 0.013116 |  | Resid Sum of Squares |  | 0.19639 |  | 1013.59 | 0.0081097
# of Values Extracted = |  |  | 60
# of Values Used in Fit = |  |  | 53
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 1013.48 | 6.9492 | 0.0024014 | -0.035843 | 0.0081077 | 0.043951 |  | 1013.48 | -0.035843
1 | YES | 811.731 | 6.9091 | 0.0025818 | -0.026909 | 0.0044385 | 0.031347 |  | 811.731 | -0.026909
1 | YES | 659.201 | 6.8525 | 0.0017077 | 0.019546 | 0.0016644 | -0.017881 |  | 659.201 | 0.019546
1 | YES | 559.297 | 6.8362 | 0.002421 | -0.011827 | -0.00015255 | 0.011674 |  | 559.297 | -0.011827
1 | YES | 454.281 | 6.7523 | 0.0019137 | -0.033654 | -0.0020625 | 0.031592 |  | 454.281 | -0.033654
1 | YES | 304.725 | 6.5638 | 0.0033056 | -0.045198 | -0.0047825 | 0.040416 |  | 304.725 | -0.045198
1 | YES | 253.586 | 6.6062 | 0.0068588 | -0.090802 | -0.0057125 | 0.085089 |  | 253.586 | -0.090802
1 | YES | 176.648 | 6.3749 | 0.01307 | -0.061058 | -0.0071118 | 0.053946 |  | 176.648 | -0.061058
1 | YES | 98.8709 | 7.0776 | 0.010852 | -0.15244 | -0.0085264 | 0.14391 |  | 98.8709 | -0.15244
1 | YES | 51.4921 | 8.993 | 0.0080441 | -0.095991 | -0.009388 | 0.086603 |  | 51.4921 | -0.095991
1 | YES | 25.8588 | 8.1376 | 0.0091359 | -0.12544 | -0.0098542 | 0.11558 |  | 25.8588 | -0.12544
1 | YES | 10.9767 | 8.5473 | 0.0066452 | -0.030744 | -0.010125 | 0.020619 |  | 10.9767 | -0.030744
2 | YES | 1013.16 | 6.9309 | 0.0024029 | 0.020901 | 0.0081019 | -0.012799 |  | 1013.16 | 0.020901
2 | YES | 809.984 | 6.8884 | 0.0014128 | 0.051422 | 0.0044067 | -0.047015 |  | 809.984 | 0.051422
2 | YES | 657.677 | 6.8326 | 0.002526 | -0.06343 | 0.0016367 | 0.065066 |  | 657.677 | -0.06343
2 | YES | 555.647 | 6.7857 | 0.0017262 | 0.030735 | -0.00021894 | -0.030954 |  | 555.647 | 0.030735
2 | YES | 455.464 | 6.7241 | 0.0011577 | 0.0080991 | -0.002041 | -0.01014 |  | 455.464 | 0.0080991
2 | YES | 302.958 | 6.5345 | 0.0021565 | 0.0085373 | -0.0048146 | -0.013352 |  | 302.958 | 0.0085373
2 | YES | 252.674 | 6.4522 | 0.0035678 | -0.038769 | -0.0057291 | 0.03304 |  | 252.674 | -0.038769
2 | YES | 151.354 | 6.0789 | 0.012893 | 0.00094223 | -0.0075718 | -0.0085141 |  | 151.354 | 0.00094223
2 | YES | 136.189 | 6.2599 | 0.0044059 | -0.015066 | -0.0078477 | 0.0072184 |  | 136.189 | -0.015066
2 | YES | 50.4774 | 9.0137 | 0.01717 | -0.14733 | -0.0094065 | 0.13792 |  | 50.4774 | -0.14733
2 | YES | 24.1916 | 8.5118 | 0.06153 | 0.078761 | -0.0098846 | -0.088646 |  | 24.1916 | 0.078761
2 | YES | 10.5992 | 8.278 | 0.0019406 | 0.0019836 | -0.010132 | -0.012115 |  | 10.5992 | 0.0019836
3 | YES | 1013.59 | 6.928 | 0.0021618 | 0.0070415 | 0.0081097 | 0.0010683 |  | 1013.59 | 0.0070415
3 | YES | 808.798 | 6.8769 | 0.0024185 | 0.00086784 | 0.0043851 | 0.0035173 |  | 808.798 | 0.00086784
3 | YES | 657.876 | 6.8429 | 0.0028424 | 0.017934 | 0.0016403 | -0.016294 |  | 657.876 | 0.017934
3 | YES | 556.272 | 6.8017 | 0.0025853 | 0.023686 | -0.00020757 | -0.023893 |  | 556.272 | 0.023686
3 | YES | 455.158 | 6.7281 | 0.0019404 | 0.00013208 | -0.0020465 | -0.0021786 |  | 455.158 | 0.00013208
3 | YES | 303.25 | 6.5042 | 0.001455 | 0.01824 | -0.0048093 | -0.023049 |  | 303.25 | 0.01824
3 | YES | 253.575 | 6.4386 | 0.0031914 | 0.0056281 | -0.0057127 | -0.011341 |  | 253.575 | 0.0056281
3 | YES | 227.405 | 6.4032 | 0.0030975 | 0.021149 | -0.0061887 | -0.027337 |  | 227.405 | 0.021149
3 | YES | 145.885 | 6.2273 | 0.017859 | -0.031711 | -0.0076713 | 0.024039 |  | 145.885 | -0.031711
3 | YES | 51.2845 | 9.1374 | 0.00665 | 0.14139 | -0.0093918 | -0.15078 |  | 51.2845 | 0.14139
3 | YES | 25.1155 | 8.7095 | 0.012315 | 0.045446 | -0.0098678 | -0.055314 |  | 25.1155 | 0.045446
3 | YES | 10.1499 | 8.2813 | 0.015741 | 0.084314 | -0.01014 | -0.094454 |  | 10.1499 | 0.084314
4 | YES | 909.432 | 6.8992 | 0.0027059 | 0.03819 | 0.0062154 | -0.031975 |  | 909.432 | 0.03819
4 | YES | 810.272 | 6.8629 | 0.0024799 | -0.0030909 | 0.0044119 | 0.0075028 |  | 810.272 | -0.0030909
4 | YES | 657.503 | 6.7872 | 0.0015917 | 0.019157 | 0.0016335 | -0.017523 |  | 657.503 | 0.019157
4 | YES | 556.715 | 6.7563 | 0.0018896 | 0.0092807 | -0.00019951 | -0.0094802 |  | 556.715 | 0.0092807
4 | YES | 455.848 | 6.6729 | 0.0015562 | 0.038942 | -0.002034 | -0.040976 |  | 455.848 | 0.038942
4 | YES | 354.38 | 6.5268 | 0.0021064 | 0.0077853 | -0.0038794 | -0.011665 |  | 354.38 | 0.0077853
4 | YES | 202.747 | 6.322 | 0.0048716 | -0.097967 | -0.0066372 | 0.09133 |  | 202.747 | -0.097967
4 | YES | 152.14 | 6.2771 | 0.011679 | 0.036149 | -0.0075576 | -0.043706 |  | 152.14 | 0.036149
4 | YES | 126.639 | 6.4826 | 0.0040953 | -0.01538 | -0.0080213 | 0.0073591 |  | 126.639 | -0.01538
4 | NO | 66.9949 | 8.318 | 0.053424 | 0.36305 | -0.0091061 | -0.37216 |  | 25.0353 | -0.13721
4 | YES | 25.0353 | 8.2168 | 0.014826 | -0.13721 | -0.0098692 | 0.12734 |  | 9.8884 | 0.068273
4 | YES | 9.8884 | 8.3493 | 0.015069 | 0.068273 | -0.010145 | -0.078417 |  | 453.029 | 0.015889
5 | YES | 453.029 | 6.8559 | 0.0020901 | 0.015889 | -0.0020853 | -0.017974 |  | 227.384 | -0.044826
5 | NO | 304.464 | 6.4695 | 0.0044481 | 0.1925 | -0.0047872 | -0.19729 |  | 146.031 | 0.07441
5 | YES | 227.384 | 6.2032 | 0.012505 | -0.044826 | -0.0061891 | 0.038637 |  | 178.436 | 0.057047
5 | YES | 146.031 | 6.1254 | 0.0082967 | 0.07441 | -0.0076687 | -0.082079 |  | 126.806 | 0.039813
5 | NO | 51.2968 | 8.3983 | 0.041632 | -0.29767 | -0.0093916 | 0.28828 |  | 25.9861 | 0.10711
5 | NO | 9.8081 | 8.4238 | 0.0043045 | 0.32475 | -0.010146 | -0.3349
6 | YES | 178.436 | 6.2611 | 0.0024566 | 0.057047 | -0.0070793 | -0.064126
6 | YES | 126.806 | 6.0418 | 0.0042175 | 0.039813 | -0.0080183 | -0.047831
6 | NO | 76.1627 | 7.484 | 0.048581 | 0.57698 | -0.0089394 | -0.58592
6 | NO | 51.2943 | 8.3346 | 0.0049004 | 0.22959 | -0.0093916 | -0.23898
6 | YES | 25.9861 | 9.1061 | 0.0044932 | 0.10711 | -0.0098519 | -0.11696
6 | NO | 10.602 | 8.5944 | 0.013123 | -0.23861 | -0.010132 | 0.22847
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
YES
YES
NO
NO
YES
YES
NO
NO
YES
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.14426 |  | X | CALC Y
m= | 0.029045 | 0.0094535 |  | Std Dev of Resid |  | 0.11476 |  | 1 | -0.052425
b= | -0.08147 | 0.032982 |  | Resid Sum of Squares |  | 0.73758 |  | 6 | 0.092803
# of Values Extracted = |  |  | 60
# of Values Used in Fit = |  |  | 58
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 1013.48 | 6.9492 | 0.0024014 | -0.035843 | -0.052425 | -0.016582 |  | 1 | -0.035843
1 | YES | 811.731 | 6.9091 | 0.0025818 | -0.026909 | -0.052425 | -0.025516 |  | 1 | -0.026909
1 | YES | 659.201 | 6.8525 | 0.0017077 | 0.019546 | -0.052425 | -0.07197 |  | 1 | 0.019546
1 | YES | 559.297 | 6.8362 | 0.002421 | -0.011827 | -0.052425 | -0.040598 |  | 1 | -0.011827
1 | YES | 454.281 | 6.7523 | 0.0019137 | -0.033654 | -0.052425 | -0.018771 |  | 1 | -0.033654
1 | YES | 304.725 | 6.5638 | 0.0033056 | -0.045198 | -0.052425 | -0.0072265 |  | 1 | -0.045198
1 | YES | 253.586 | 6.6062 | 0.0068588 | -0.090802 | -0.052425 | 0.038377 |  | 1 | -0.090802
1 | YES | 176.648 | 6.3749 | 0.01307 | -0.061058 | -0.052425 | 0.0086327 |  | 1 | -0.061058
1 | YES | 98.8709 | 7.0776 | 0.010852 | -0.15244 | -0.052425 | 0.10001 |  | 1 | -0.15244
1 | YES | 51.4921 | 8.993 | 0.0080441 | -0.095991 | -0.052425 | 0.043566 |  | 1 | -0.095991
1 | YES | 25.8588 | 8.1376 | 0.0091359 | -0.12544 | -0.052425 | 0.073013 |  | 1 | -0.12544
1 | YES | 10.9767 | 8.5473 | 0.0066452 | -0.030744 | -0.052425 | -0.021681 |  | 1 | -0.030744
2 | YES | 1013.16 | 6.9309 | 0.0024029 | 0.020901 | -0.023379 | -0.04428 |  | 2 | 0.020901
2 | YES | 809.984 | 6.8884 | 0.0014128 | 0.051422 | -0.023379 | -0.074801 |  | 2 | 0.051422
2 | YES | 657.677 | 6.8326 | 0.002526 | -0.06343 | -0.023379 | 0.04005 |  | 2 | -0.06343
2 | YES | 555.647 | 6.7857 | 0.0017262 | 0.030735 | -0.023379 | -0.054115 |  | 2 | 0.030735
2 | YES | 455.464 | 6.7241 | 0.0011577 | 0.0080991 | -0.023379 | -0.031478 |  | 2 | 0.0080991
2 | YES | 302.958 | 6.5345 | 0.0021565 | 0.0085373 | -0.023379 | -0.031917 |  | 2 | 0.0085373
2 | YES | 252.674 | 6.4522 | 0.0035678 | -0.038769 | -0.023379 | 0.015389 |  | 2 | -0.038769
2 | YES | 151.354 | 6.0789 | 0.012893 | 0.00094223 | -0.023379 | -0.024322 |  | 2 | 0.00094223
2 | YES | 136.189 | 6.2599 | 0.0044059 | -0.015066 | -0.023379 | -0.0083133 |  | 2 | -0.015066
2 | YES | 50.4774 | 9.0137 | 0.01717 | -0.14733 | -0.023379 | 0.12395 |  | 2 | -0.14733
2 | NO | 24.1916 | 8.5118 | 0.06153 | 0.078761 | -0.023379 | -0.10214 |  | 2 | 0.0019836
2 | YES | 10.5992 | 8.278 | 0.0019406 | 0.0019836 | -0.023379 | -0.025363 |  | 3 | 0.0070415
3 | YES | 1013.59 | 6.928 | 0.0021618 | 0.0070415 | 0.0056661 | -0.0013754 |  | 3 | 0.00086784
3 | YES | 808.798 | 6.8769 | 0.0024185 | 0.00086784 | 0.0056661 | 0.0047982 |  | 3 | 0.017934
3 | YES | 657.876 | 6.8429 | 0.0028424 | 0.017934 | 0.0056661 | -0.012268 |  | 3 | 0.023686
3 | YES | 556.272 | 6.8017 | 0.0025853 | 0.023686 | 0.0056661 | -0.01802 |  | 3 | 0.00013208
3 | YES | 455.158 | 6.7281 | 0.0019404 | 0.00013208 | 0.0056661 | 0.005534 |  | 3 | 0.01824
3 | YES | 303.25 | 6.5042 | 0.001455 | 0.01824 | 0.0056661 | -0.012574 |  | 3 | 0.0056281
3 | YES | 253.575 | 6.4386 | 0.0031914 | 0.0056281 | 0.0056661 | 3.7968e-05 |  | 3 | 0.021149
3 | YES | 227.405 | 6.4032 | 0.0030975 | 0.021149 | 0.0056661 | -0.015483 |  | 3 | -0.031711
3 | YES | 145.885 | 6.2273 | 0.017859 | -0.031711 | 0.0056661 | 0.037377 |  | 3 | 0.14139
3 | YES | 51.2845 | 9.1374 | 0.00665 | 0.14139 | 0.0056661 | -0.13572 |  | 3 | 0.045446
3 | YES | 25.1155 | 8.7095 | 0.012315 | 0.045446 | 0.0056661 | -0.03978 |  | 3 | 0.084314
3 | YES | 10.1499 | 8.2813 | 0.015741 | 0.084314 | 0.0056661 | -0.078648 |  | 4 | 0.03819
4 | YES | 909.432 | 6.8992 | 0.0027059 | 0.03819 | 0.034712 | -0.0034783 |  | 4 | -0.0030909
4 | YES | 810.272 | 6.8629 | 0.0024799 | -0.0030909 | 0.034712 | 0.037802 |  | 4 | 0.019157
4 | YES | 657.503 | 6.7872 | 0.0015917 | 0.019157 | 0.034712 | 0.015555 |  | 4 | 0.0092807
4 | YES | 556.715 | 6.7563 | 0.0018896 | 0.0092807 | 0.034712 | 0.025431 |  | 4 | 0.038942
4 | YES | 455.848 | 6.6729 | 0.0015562 | 0.038942 | 0.034712 | -0.0042307 |  | 4 | 0.0077853
4 | YES | 354.38 | 6.5268 | 0.0021064 | 0.0077853 | 0.034712 | 0.026926 |  | 4 | -0.097967
4 | YES | 202.747 | 6.322 | 0.0048716 | -0.097967 | 0.034712 | 0.13268 |  | 4 | 0.036149
4 | YES | 152.14 | 6.2771 | 0.011679 | 0.036149 | 0.034712 | -0.0014369 |  | 4 | -0.01538
4 | YES | 126.639 | 6.4826 | 0.0040953 | -0.01538 | 0.034712 | 0.050092 |  | 4 | -0.13721
4 | NO | 66.9949 | 8.318 | 0.053424 | 0.36305 | 0.034712 | -0.32834 |  | 4 | 0.068273
4 | YES | 25.0353 | 8.2168 | 0.014826 | -0.13721 | 0.034712 | 0.17192 |  | 5 | 0.015889
4 | YES | 9.8884 | 8.3493 | 0.015069 | 0.068273 | 0.034712 | -0.033561 |  | 5 | 0.1925
5 | YES | 453.029 | 6.8559 | 0.0020901 | 0.015889 | 0.063757 | 0.047868 |  | 5 | -0.044826
5 | YES | 304.464 | 6.4695 | 0.0044481 | 0.1925 | 0.063757 | -0.12874 |  | 5 | 0.07441
5 | YES | 227.384 | 6.2032 | 0.012505 | -0.044826 | 0.063757 | 0.10858 |  | 5 | -0.29767
5 | YES | 146.031 | 6.1254 | 0.0082967 | 0.07441 | 0.063757 | -0.010653 |  | 5 | 0.32475
5 | YES | 51.2968 | 8.3983 | 0.041632 | -0.29767 | 0.063757 | 0.36143 |  | 6 | 0.057047
5 | YES | 9.8081 | 8.4238 | 0.0043045 | 0.32475 | 0.063757 | -0.26099 |  | 6 | 0.039813
6 | YES | 178.436 | 6.2611 | 0.0024566 | 0.057047 | 0.092803 | 0.035756 |  | 6 | 0.57698
6 | YES | 126.806 | 6.0418 | 0.0042175 | 0.039813 | 0.092803 | 0.05299 |  | 6 | 0.22959
6 | YES | 76.1627 | 7.484 | 0.048581 | 0.57698 | 0.092803 | -0.48418 |  | 6 | 0.10711
6 | YES | 51.2943 | 8.3346 | 0.0049004 | 0.22959 | 0.092803 | -0.13679 |  | 6 | -0.23861
6 | YES | 25.9861 | 9.1061 | 0.0044932 | 0.10711 | 0.092803 | -0.014305
6 | YES | 10.602 | 8.5944 | 0.013123 | -0.23861 | 0.092803 | 0.33141
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (4)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.93238 |  | X | CALC Y
m= | 0.05833 | 0.011107 |  | Std Dev of Resid |  | 0.032856 |  | 1 | -0.058557
b= | -0.11689 | 0.034682 |  | Resid Sum of Squares |  | 0.002159 |  | 5 | 0.17476
# of Values Extracted = |  |  | 60
# of Values Used in Fit = |  |  | 4
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 1013.48 | 6.9492 | 0.0024014 | -0.035843 | -0.058557 | -0.022714 |  | 1 | -0.045198
1 | NO | 811.731 | 6.9091 | 0.0025818 | -0.026909 | -0.058557 | -0.031648 |  | 2 | 0.0085373
1 | NO | 659.201 | 6.8525 | 0.0017077 | 0.019546 | -0.058557 | -0.078102 |  | 3 | 0.01824
1 | NO | 559.297 | 6.8362 | 0.002421 | -0.011827 | -0.058557 | -0.04673 |  | 5 | 0.1925
1 | NO | 454.281 | 6.7523 | 0.0019137 | -0.033654 | -0.058557 | -0.024902
1 | YES | 304.725 | 6.5638 | 0.0033056 | -0.045198 | -0.058557 | -0.013358
1 | NO | 253.586 | 6.6062 | 0.0068588 | -0.090802 | -0.058557 | 0.032245
1 | NO | 176.648 | 6.3749 | 0.01307 | -0.061058 | -0.058557 | 0.0025011
1 | NO | 98.8709 | 7.0776 | 0.010852 | -0.15244 | -0.058557 | 0.09388
1 | NO | 51.4921 | 8.993 | 0.0080441 | -0.095991 | -0.058557 | 0.037435
1 | NO | 25.8588 | 8.1376 | 0.0091359 | -0.12544 | -0.058557 | 0.066881
1 | NO | 10.9767 | 8.5473 | 0.0066452 | -0.030744 | -0.058557 | -0.027813
2 | NO | 1013.16 | 6.9309 | 0.0024029 | 0.020901 | -0.00022695 | -0.021128
2 | NO | 809.984 | 6.8884 | 0.0014128 | 0.051422 | -0.00022695 | -0.051649
2 | NO | 657.677 | 6.8326 | 0.002526 | -0.06343 | -0.00022695 | 0.063203
2 | NO | 555.647 | 6.7857 | 0.0017262 | 0.030735 | -0.00022695 | -0.030962
2 | NO | 455.464 | 6.7241 | 0.0011577 | 0.0080991 | -0.00022695 | -0.008326
2 | YES | 302.958 | 6.5345 | 0.0021565 | 0.0085373 | -0.00022695 | -0.0087642
2 | NO | 252.674 | 6.4522 | 0.0035678 | -0.038769 | -0.00022695 | 0.038542
2 | NO | 151.354 | 6.0789 | 0.012893 | 0.00094223 | -0.00022695 | -0.0011692
2 | NO | 136.189 | 6.2599 | 0.0044059 | -0.015066 | -0.00022695 | 0.014839
2 | NO | 50.4774 | 9.0137 | 0.01717 | -0.14733 | -0.00022695 | 0.1471
2 | NO | 24.1916 | 8.5118 | 0.06153 | 0.078761 | -0.00022695 | -0.078988
2 | NO | 10.5992 | 8.278 | 0.0019406 | 0.0019836 | -0.00022695 | -0.0022106
3 | NO | 1013.59 | 6.928 | 0.0021618 | 0.0070415 | 0.058103 | 0.051061
3 | NO | 808.798 | 6.8769 | 0.0024185 | 0.00086784 | 0.058103 | 0.057235
3 | NO | 657.876 | 6.8429 | 0.0028424 | 0.017934 | 0.058103 | 0.040168
3 | NO | 556.272 | 6.8017 | 0.0025853 | 0.023686 | 0.058103 | 0.034417
3 | NO | 455.158 | 6.7281 | 0.0019404 | 0.00013208 | 0.058103 | 0.057971
3 | YES | 303.25 | 6.5042 | 0.001455 | 0.01824 | 0.058103 | 0.039863
3 | NO | 253.575 | 6.4386 | 0.0031914 | 0.0056281 | 0.058103 | 0.052475
3 | NO | 227.405 | 6.4032 | 0.0030975 | 0.021149 | 0.058103 | 0.036954
3 | NO | 145.885 | 6.2273 | 0.017859 | -0.031711 | 0.058103 | 0.089813
3 | NO | 51.2845 | 9.1374 | 0.00665 | 0.14139 | 0.058103 | -0.083285
3 | NO | 25.1155 | 8.7095 | 0.012315 | 0.045446 | 0.058103 | 0.012656
3 | NO | 10.1499 | 8.2813 | 0.015741 | 0.084314 | 0.058103 | -0.026212
4 | NO | 909.432 | 6.8992 | 0.0027059 | 0.03819 | 0.11643 | 0.078242
4 | NO | 810.272 | 6.8629 | 0.0024799 | -0.0030909 | 0.11643 | 0.11952
4 | NO | 657.503 | 6.7872 | 0.0015917 | 0.019157 | 0.11643 | 0.097275
4 | NO | 556.715 | 6.7563 | 0.0018896 | 0.0092807 | 0.11643 | 0.10715
4 | NO | 455.848 | 6.6729 | 0.0015562 | 0.038942 | 0.11643 | 0.07749
4 | NO | 354.38 | 6.5268 | 0.0021064 | 0.0077853 | 0.11643 | 0.10865
4 | NO | 202.747 | 6.322 | 0.0048716 | -0.097967 | 0.11643 | 0.2144
4 | NO | 152.14 | 6.2771 | 0.011679 | 0.036149 | 0.11643 | 0.080284
4 | NO | 126.639 | 6.4826 | 0.0040953 | -0.01538 | 0.11643 | 0.13181
4 | NO | 66.9949 | 8.318 | 0.053424 | 0.36305 | 0.11643 | -0.24662
4 | NO | 25.0353 | 8.2168 | 0.014826 | -0.13721 | 0.11643 | 0.25364
4 | NO | 9.8884 | 8.3493 | 0.015069 | 0.068273 | 0.11643 | 0.04816
5 | NO | 453.029 | 6.8559 | 0.0020901 | 0.015889 | 0.17476 | 0.15887
5 | YES | 304.464 | 6.4695 | 0.0044481 | 0.1925 | 0.17476 | -0.01774
5 | NO | 227.384 | 6.2032 | 0.012505 | -0.044826 | 0.17476 | 0.21959
5 | NO | 146.031 | 6.1254 | 0.0082967 | 0.07441 | 0.17476 | 0.10035
5 | NO | 51.2968 | 8.3983 | 0.041632 | -0.29767 | 0.17476 | 0.47243
5 | NO | 9.8081 | 8.4238 | 0.0043045 | 0.32475 | 0.17476 | -0.14999
6 | NO | 178.436 | 6.2611 | 0.0024566 | 0.057047 | 0.23309 | 0.17604
6 | NO | 126.806 | 6.0418 | 0.0042175 | 0.039813 | 0.23309 | 0.19328
6 | NO | 76.1627 | 7.484 | 0.048581 | 0.57698 | 0.23309 | -0.34389
6 | NO | 51.2943 | 8.3346 | 0.0049004 | 0.22959 | 0.23309 | 0.0034983
6 | NO | 25.9861 | 9.1061 | 0.0044932 | 0.10711 | 0.23309 | 0.12598
6 | NO | 10.602 | 8.5944 | 0.013123 | -0.23861 | 0.23309 | 0.4717
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2008/07/18 15:17:15
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2007-03-0007.mrg | 2007-03-0007.samcor1 | 121 | 1013.08 | 1013.48 | 0.33727 | 0.40015 | 6.985 | 6.9492 | 0.0024014 | -0.035843
2007-03-0007.mrg | 2007-03-0007.samcor1 | 121 | 811.33 | 811.731 | 0.20715 | 0.40064 | 6.936 | 6.9091 | 0.0025818 | -0.026909
2007-03-0007.mrg | 2007-03-0007.samcor1 | 121 | 658.8 | 659.201 | 0.41041 | 0.40143 | 6.833 | 6.8525 | 0.0017077 | 0.019546
2007-03-0007.mrg | 2007-03-0007.samcor1 | 121 | 558.896 | 559.297 | 0.18687 | 0.40131 | 6.848 | 6.8362 | 0.002421 | -0.011827
2007-03-0007.mrg | 2007-03-0007.samcor1 | 107 | 454.131 | 454.281 | 1.0918 | 0.14954 | 6.786 | 6.7523 | 0.0019137 | -0.033654
2007-03-0007.mrg | 2007-03-0007.samcor1 | 121 | 304.326 | 304.725 | 0.30848 | 0.39889 | 6.609 | 6.5638 | 0.0033056 | -0.045198
2007-03-0007.mrg | 2007-03-0007.samcor1 | 121 | 253.187 | 253.586 | 0.41714 | 0.39887 | 6.697 | 6.6062 | 0.0068588 | -0.090802
2007-03-0007.mrg | 2007-03-0007.samcor1 | 121 | 176.248 | 176.648 | 0.24317 | 0.39976 | 6.436 | 6.3749 | 0.01307 | -0.061058
2007-03-0007.mrg | 2007-03-0007.samcor1 | 103 | 98.81 | 98.8709 | 1.1326 | 0.060875 | 7.23 | 7.0776 | 0.010852 | -0.15244
2007-03-0007.mrg | 2007-03-0007.samcor1 | 121 | 51.092 | 51.4921 | 0.18646 | 0.40015 | 9.089 | 8.993 | 0.0080441 | -0.095991
2007-03-0007.mrg | 2007-03-0007.samcor1 | 121 | 25.458 | 25.8588 | 0.34264 | 0.40076 | 8.263 | 8.1376 | 0.0091359 | -0.12544
2007-03-0007.mrg | 2007-03-0007.samcor1 | 121 | 10.577 | 10.9767 | 0.22794 | 0.39969 | 8.578 | 8.5473 | 0.0066452 | -0.030744
2007-03-0013.mrg | 2007-03-0013.samcor1 | 121 | 1012.76 | 1013.16 | 0.22636 | 0.40015 | 6.91 | 6.9309 | 0.0024029 | 0.020901
2007-03-0013.mrg | 2007-03-0013.samcor1 | 121 | 809.583 | 809.984 | 0.47029 | 0.40064 | 6.837 | 6.8884 | 0.0014128 | 0.051422
2007-03-0013.mrg | 2007-03-0013.samcor1 | 121 | 657.276 | 657.677 | 0.57851 | 0.40076 | 6.896 | 6.8326 | 0.002526 | -0.06343
2007-03-0013.mrg | 2007-03-0013.samcor1 | 121 | 555.247 | 555.647 | 0.61319 | 0.40021 | 6.755 | 6.7857 | 0.0017262 | 0.030735
2007-03-0013.mrg | 2007-03-0013.samcor1 | 121 | 455.065 | 455.464 | 0.47751 | 0.3988 | 6.716 | 6.7241 | 0.0011577 | 0.0080991
2007-03-0013.mrg | 2007-03-0013.samcor1 | 121 | 302.558 | 302.958 | 0.45074 | 0.39951 | 6.526 | 6.5345 | 0.0021565 | 0.0085373
2007-03-0013.mrg | 2007-03-0013.samcor1 | 121 | 252.275 | 252.674 | 0.47062 | 0.3988 | 6.491 | 6.4522 | 0.0035678 | -0.038769
2007-03-0013.mrg | 2007-03-0013.samcor1 | 121 | 150.954 | 151.354 | 0.51805 | 0.39972 | 6.078 | 6.0789 | 0.012893 | 0.00094223
2007-03-0013.mrg | 2007-03-0013.samcor1 | 121 | 135.789 | 136.189 | 0.31898 | 0.39992 | 6.275 | 6.2599 | 0.0044059 | -0.015066
2007-03-0013.mrg | 2007-03-0013.samcor1 | 121 | 50.077 | 50.4774 | 0.59843 | 0.40044 | 9.161 | 9.0137 | 0.01717 | -0.14733
2007-03-0013.mrg | 2007-03-0013.samcor1 | 121 | 23.791 | 24.1916 | 0.38012 | 0.40057 | 8.433 | 8.5118 | 0.06153 | 0.078761
2007-03-0013.mrg | 2007-03-0013.samcor1 | 121 | 10.2 | 10.5992 | 0.17261 | 0.39917 | 8.276 | 8.278 | 0.0019406 | 0.0019836
2007-03-0017.mrg | 2007-03-0017.samcor1 | 121 | 1013.19 | 1013.59 | 0.2638 | 0.40039 | 6.921 | 6.928 | 0.0021618 | 0.0070415
2007-03-0017.mrg | 2007-03-0017.samcor1 | 121 | 808.397 | 808.798 | 0.6857 | 0.4007 | 6.876 | 6.8769 | 0.0024185 | 0.00086784
2007-03-0017.mrg | 2007-03-0017.samcor1 | 121 | 657.477 | 657.876 | 0.40496 | 0.39948 | 6.825 | 6.8429 | 0.0028424 | 0.017934
2007-03-0017.mrg | 2007-03-0017.samcor1 | 121 | 555.872 | 556.272 | 0.2479 | 0.40033 | 6.778 | 6.8017 | 0.0025853 | 0.023686
2007-03-0017.mrg | 2007-03-0017.samcor1 | 121 | 454.757 | 455.158 | 0.12431 | 0.4007 | 6.728 | 6.7281 | 0.0019404 | 0.00013208
2007-03-0017.mrg | 2007-03-0017.samcor1 | 121 | 302.85 | 303.25 | 0.31768 | 0.39975 | 6.486 | 6.5042 | 0.001455 | 0.01824
2007-03-0017.mrg | 2007-03-0017.samcor1 | 121 | 253.175 | 253.575 | 0.11275 | 0.39963 | 6.433 | 6.4386 | 0.0031914 | 0.0056281
2007-03-0017.mrg | 2007-03-0017.samcor1 | 121 | 227.005 | 227.405 | 0.18416 | 0.3997 | 6.382 | 6.4032 | 0.0030975 | 0.021149
2007-03-0017.mrg | 2007-03-0017.samcor1 | 121 | 145.485 | 145.885 | 0.13803 | 0.40021 | 6.259 | 6.2273 | 0.017859 | -0.031711
2007-03-0017.mrg | 2007-03-0017.samcor1 | 121 | 50.884 | 51.2845 | 0.18986 | 0.40055 | 8.996 | 9.1374 | 0.00665 | 0.14139
2007-03-0017.mrg | 2007-03-0017.samcor1 | 121 | 24.716 | 25.1155 | 0.31385 | 0.39954 | 8.664 | 8.7095 | 0.012315 | 0.045446
2007-03-0017.mrg | 2007-03-0017.samcor1 | 121 | 9.751 | 10.1499 | 0.36321 | 0.39892 | 8.197 | 8.2813 | 0.015741 | 0.084314
2007-03-0018.mrg | 2007-03-0018.samcor1 | 121 | 909.031 | 909.432 | 0.17931 | 0.40064 | 6.861 | 6.8992 | 0.0027059 | 0.03819
2007-03-0018.mrg | 2007-03-0018.samcor1 | 121 | 809.872 | 810.272 | 0.50949 | 0.40015 | 6.866 | 6.8629 | 0.0024799 | -0.0030909
2007-03-0018.mrg | 2007-03-0018.samcor1 | 121 | 657.103 | 657.503 | 0.28134 | 0.3996 | 6.768 | 6.7872 | 0.0015917 | 0.019157
2007-03-0018.mrg | 2007-03-0018.samcor1 | 121 | 556.314 | 556.715 | 0.52172 | 0.40118 | 6.747 | 6.7563 | 0.0018896 | 0.0092807
2007-03-0018.mrg | 2007-03-0018.samcor1 | 121 | 455.448 | 455.848 | 0.37526 | 0.40042 | 6.634 | 6.6729 | 0.0015562 | 0.038942
2007-03-0018.mrg | 2007-03-0018.samcor1 | 121 | 353.98 | 354.38 | 0.29545 | 0.39999 | 6.519 | 6.5268 | 0.0021064 | 0.0077853
2007-03-0018.mrg | 2007-03-0018.samcor1 | 121 | 202.347 | 202.747 | 0.28613 | 0.39978 | 6.42 | 6.322 | 0.0048716 | -0.097967
2007-03-0018.mrg | 2007-03-0018.samcor1 | 121 | 151.74 | 152.14 | 0.18851 | 0.40009 | 6.241 | 6.2771 | 0.011679 | 0.036149
2007-03-0018.mrg | 2007-03-0018.samcor1 | 121 | 126.238 | 126.639 | 0.25768 | 0.40051 | 6.498 | 6.4826 | 0.0040953 | -0.01538
2007-03-0018.mrg | 2007-03-0018.samcor1 | 121 | 66.595 | 66.9949 | 0.63054 | 0.39987 | 7.955 | 8.318 | 0.053424 | 0.36305
2007-03-0018.mrg | 2007-03-0018.samcor1 | 121 | 24.635 | 25.0353 | 0.32192 | 0.40029 | 8.354 | 8.2168 | 0.014826 | -0.13721
2007-03-0018.mrg | 2007-03-0018.samcor1 | 121 | 9.489 | 9.8884 | 0.5576 | 0.39943 | 8.281 | 8.3493 | 0.015069 | 0.068273
2007-03-0020.mrg | 2007-03-0020.samcor1 | 208 | 452.621 | 453.029 | 0.13096 | 0.40848 | 6.84 | 6.8559 | 0.0020901 | 0.015889
2007-03-0020.mrg | 2007-03-0020.samcor1 | 233 | 304.569 | 304.464 | 0.57499 | -0.10519 | 6.277 | 6.4695 | 0.0044481 | 0.1925
2007-03-0020.mrg | 2007-03-0020.samcor1 | 213 | 227.502 | 227.384 | 0.52175 | -0.11838 | 6.248 | 6.2032 | 0.012505 | -0.044826
2007-03-0020.mrg | 2007-03-0020.samcor1 | 207 | 146.293 | 146.031 | 0.62556 | -0.26247 | 6.051 | 6.1254 | 0.0082967 | 0.07441
2007-03-0020.mrg | 2007-03-0020.samcor1 | 229 | 51.423 | 51.2968 | 0.63204 | -0.12623 | 8.696 | 8.3983 | 0.041632 | -0.29767
2007-03-0020.mrg | 2007-03-0020.samcor1 | 219 | 9.936 | 9.8081 | 0.52099 | -0.12792 | 8.099 | 8.4238 | 0.0043045 | 0.32475
2007-03-0022.mrg | 2007-03-0022.samcor1 | 192 | 178.003 | 178.436 | 0.068374 | 0.43309 | 6.204 | 6.2611 | 0.0024566 | 0.057047
2007-03-0022.mrg | 2007-03-0022.samcor1 | 198 | 126.647 | 126.806 | 0.28491 | 0.15911 | 6.002 | 6.0418 | 0.0042175 | 0.039813
2007-03-0022.mrg | 2007-03-0022.samcor1 | 207 | 75.967 | 76.1627 | 0.23355 | 0.1957 | 6.907 | 7.484 | 0.048581 | 0.57698
2007-03-0022.mrg | 2007-03-0022.samcor1 | 211 | 51.151 | 51.2943 | 0.253 | 0.14331 | 8.105 | 8.3346 | 0.0049004 | 0.22959
2007-03-0022.mrg | 2007-03-0022.samcor1 | 195 | 25.792 | 25.9861 | 0.20825 | 0.1941 | 8.999 | 9.1061 | 0.0044932 | 0.10711
2007-03-0022.mrg | 2007-03-0022.samcor1 | 198 | 10.48 | 10.602 | 0.29468 | 0.12202 | 8.833 | 8.5944 | 0.013123 | -0.23861
Create Fit Sheet