## File List
Number of Files= |  | 6
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2007-03-0007.mrgcor1 | 2007-03-0007.th2 | 11 | 22 | 2007-03-0007.mrgcor1 & 2007-03-0007.th2
2 | 2007-03-0013.mrgcor1 | 2007-03-0013.th2 | 24 | 35 | 2007-03-0013.mrgcor1 & 2007-03-0013.th2
3 | 2007-03-0017.mrgcor1 | 2007-03-0017.th2 | 37 | 48 | 2007-03-0017.mrgcor1 & 2007-03-0017.th2
4 | 2007-03-0018.mrgcor1 | 2007-03-0018.th2 | 50 | 61 | 2007-03-0018.mrgcor1 & 2007-03-0018.th2
5 | 2007-03-0020.mrgcor1 | 2007-03-0020.th2 | 63 | 68 | 2007-03-0020.mrgcor1 & 2007-03-0020.th2
6 | 2007-03-0022.mrgcor1 | 2007-03-0022.th2 | 70 | 75 | 2007-03-0022.mrgcor1 & 2007-03-0022.th2

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Press
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 8.4129e-07 |  | X | CALC Y
m= | -3.5194e-07 | 5.5383e-05 |  | Std Dev of Resid |  | 0.11986 |  | 8.995 | -0.00023429
b= | -0.00023112 | 0.024103 |  | Resid Sum of Squares |  | 0.68958 |  | 1012.99 | -0.00058764
# of Values Extracted = |  |  | 60
# of Values Used in Fit = |  |  | 50
File | Use | Press | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Press
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 1012.99 | 6.929 | 0 | -0.056 | -0.00058764 | 0.055413 |  | 1012.99 | -0.056
1 | YES | 810.995 | 6.8945 | 0.00070706 | -0.0415 | -0.00051655 | 0.040984 |  | 810.995 | -0.0415
1 | NO | 0 | 0 | 0 | -6.833 | -0.00023112 | 6.8328 |  | 559 | -0.0115
1 | YES | 559 | 6.8365 | 0.00070706 | -0.0115 | -0.00042786 | 0.011072 |  | 454.99 | -0.0099997
1 | YES | 454.99 | 6.776 | 0 | -0.0099997 | -0.00039125 | 0.0096085 |  | 252 | -0.104
1 | NO | 0 | 0 | 0 | -6.609 | -0.00023112 | 6.6088 |  | 175.99 | 0.1045
1 | YES | 252 | 6.593 | 0 | -0.104 | -0.00031981 | 0.10368 |  | 98.995 | 0.136
1 | YES | 175.99 | 6.5405 | 0.010606 | 0.1045 | -0.00029306 | -0.10479 |  | 50.99 | -0.109
1 | YES | 98.995 | 7.366 | 0.019799 | 0.136 | -0.00026596 | -0.13627 |  | 25.995 | -0.14
1 | YES | 50.99 | 8.98 | 0.15556 | -0.109 | -0.00024907 | 0.10875 |  | 10.985 | -0.0815
1 | YES | 25.995 | 8.123 | 0.066468 | -0.14 | -0.00024027 | 0.13976 |  | 1012.99 | 0.0145
1 | YES | 10.985 | 8.4965 | 0.019092 | -0.0815 | -0.00023499 | 0.081265 |  | 808.995 | 0.0525
2 | YES | 1012.99 | 6.9245 | 0.00070739 | 0.0145 | -0.00058764 | -0.015088 |  | 554.995 | 0.03
2 | YES | 808.995 | 6.8895 | 0.00070706 | 0.0525 | -0.00051584 | -0.053016 |  | 455.005 | -0.022
2 | NO | 0 | 0 | 0 | -6.896 | -0.00023112 | 6.8958 |  | 302.21 | -0.069
2 | YES | 554.995 | 6.785 | 0.0014141 | 0.03 | -0.00042645 | -0.030426 |  | 252.01 | -0.06
2 | YES | 455.005 | 6.694 | 0 | -0.022 | -0.00039126 | 0.021609 |  | 151 | 0.141
2 | YES | 302.21 | 6.457 | 0 | -0.069 | -0.00033748 | 0.068663 |  | 136.99 | 0.1
2 | YES | 252.01 | 6.431 | 0 | -0.06 | -0.00031982 | 0.05968 |  | 51 | -0.011001
2 | YES | 151 | 6.219 | 0.024042 | 0.141 | -0.00028427 | -0.14128 |  | 23.985 | -0.1965
2 | YES | 136.99 | 6.375 | 0 | 0.1 | -0.00027934 | -0.10028 |  | 11 | -0.052
2 | YES | 51 | 9.15 | 0.02687 | -0.011001 | -0.00024907 | 0.010752 |  | 1012.91 | -0.0005002
2 | YES | 23.985 | 8.2365 | 0.013435 | -0.1965 | -0.00023956 | 0.19626 |  | 809.01 | 0.0040002
2 | YES | 11 | 8.224 | 0.046669 | -0.052 | -0.00023499 | 0.051765 |  | 557 | 0.028
3 | YES | 1012.91 | 6.9205 | 0.00070706 | -0.0005002 | -0.00058761 | -8.7407e-05 |  | 455 | -0.0044999
3 | YES | 809.01 | 6.88 | 0.0014141 | 0.0040002 | -0.00051585 | -0.004516 |  | 302.01 | -0.055
3 | NO | 0 | 0 | 0 | -6.825 | -0.00023112 | 6.8248 |  | 252 | -0.023
3 | YES | 557 | 6.806 | 0.0014145 | 0.028 | -0.00042715 | -0.028427 |  | 229.02 | 0.01
3 | YES | 455 | 6.7235 | 0.0035353 | -0.0044999 | -0.00039126 | 0.0041087 |  | 145 | 0.241
3 | YES | 302.01 | 6.431 | 0 | -0.055 | -0.00033741 | 0.054662 |  | 50.98 | 0.181
3 | YES | 252 | 6.41 | 0 | -0.023 | -0.00031981 | 0.02268 |  | 11.095 | 0.0675
3 | YES | 229.02 | 6.392 | 0 | 0.01 | -0.00031172 | -0.010312 |  | 908.5 | 0.006
3 | YES | 145 | 6.5 | 0 | 0.241 | -0.00028215 | -0.24128 |  | 811.005 | -0.0225
3 | YES | 50.98 | 9.177 | 0.015556 | 0.181 | -0.00024906 | -0.18125 |  | 556.99 | -0.0005002
3 | NO | 25.87 | 8.354 | 0.062225 | -0.31 | -0.00024023 | 0.30976 |  | 455.01 | 0.0355
3 | YES | 11.095 | 8.2645 | 0.11526 | 0.0675 | -0.00023503 | -0.067735 |  | 354.99 | -0.0035
4 | YES | 908.5 | 6.867 | 0.0014141 | 0.006 | -0.00055086 | -0.0065509 |  | 202.995 | -0.2315
4 | YES | 811.005 | 6.8435 | 0.00070706 | -0.0225 | -0.00051655 | 0.021983 |  | 151.93 | 0.212
4 | NO | 0 | 0 | 0 | -6.768 | -0.00023112 | 6.7678 |  | 126 | -0.015
4 | YES | 556.99 | 6.7465 | 0.0021215 | -0.0005002 | -0.00042715 | 7.3051e-05 |  | 25.995 | -0.169
4 | YES | 455.01 | 6.6695 | 0.00070706 | 0.0355 | -0.00039126 | -0.035892 |  | 8.995 | 0.018
4 | YES | 354.99 | 6.5155 | 0.0021215 | -0.0035 | -0.00035606 | 0.0031439 |  | 229.01 | -0.112
4 | YES | 202.995 | 6.1885 | 0.019092 | -0.2315 | -0.00030257 | 0.2312 |  | 146.48 | 0.2685
4 | YES | 151.93 | 6.453 | 0 | 0.212 | -0.00028459 | -0.21228 |  | 50.995 | -0.2405
4 | YES | 126 | 6.483 | 0.012728 | -0.015 | -0.00027547 | 0.014725 |  | 11 | 0.077001
4 | NO | 66.5 | 9.0655 | 0.067175 | 1.1105 | -0.00025453 | -1.1108 |  | 177 | -0.032
4 | YES | 25.995 | 8.185 | 0.012728 | -0.169 | -0.00024027 | 0.16876 |  | 128 | 0.092
4 | YES | 8.995 | 8.299 | 0.0028282 | 0.018 | -0.00023429 | -0.018234 |  | 50.99 | 0.2805
5 | NO | 0 | 0 | 0 | -6.84 | -0.00023112 | 6.8398 |  | 26.005 | -0.0059996
5 | NO | 0 | 0 | 0 | -6.277 | -0.00023112 | 6.2768 |  | 10.995 | -0.237 | -0.00034001
5 | YES | 229.01 | 6.136 | 0 | -0.112 | -0.00031172 | 0.11169
5 | YES | 146.48 | 6.3195 | 0.023335 | 0.2685 | -0.00028268 | -0.26878
5 | YES | 50.995 | 8.4555 | 0.084146 | -0.2405 | -0.00024907 | 0.24025
5 | YES | 11 | 8.176 | 0.0084853 | 0.077001 | -0.00023499 | -0.077236
6 | YES | 177 | 6.172 | 0 | -0.032 | -0.00029342 | 0.031707
6 | YES | 128 | 6.094 | 0.012728 | 0.092 | -0.00027617 | -0.092276
6 | NO | 76 | 7.7365 | 0.055861 | 0.8295 | -0.00025787 | -0.82976
6 | YES | 50.99 | 8.3855 | 0.041719 | 0.2805 | -0.00024907 | -0.28075
6 | YES | 26.005 | 8.993 | 0.079196 | -0.0059996 | -0.00024027 | 0.0057593
6 | YES | 10.995 | 8.596 | 0.0042423 | -0.237 | -0.00023499 | 0.23677
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
FIT vs. Press
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2008/07/21 16:39:01
| Primary | Secondary |  | Comparison Name
Ref | Press | Press |  | Press - Press
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Press | Press | Press | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2007-03-0007.mrgcor1 | 2007-03-0007.th2 | 2 | 1013.48 | 1012.99 | 1.4142 | -0.48999 | 6.985 | 6.929 | 0 | -0.056
2007-03-0007.mrgcor1 | 2007-03-0007.th2 | 2 | 811.73 | 810.995 | 1.4071 | -0.73498 | 6.936 | 6.8945 | 0.00070706 | -0.0415
2007-03-0007.mrgcor1 | 2007-03-0007.th2 | 0 | 659.2 | 0 | 0 | -659.2 | 6.833 | 0 | 0 | -6.833
2007-03-0007.mrgcor1 | 2007-03-0007.th2 | 2 | 559.3 | 559 | 1.4142 | -0.29999 | 6.848 | 6.8365 | 0.00070706 | -0.0115
2007-03-0007.mrgcor1 | 2007-03-0007.th2 | 2 | 454.53 | 454.99 | 1.4001 | 0.45999 | 6.786 | 6.776 | 0 | -0.0099997
2007-03-0007.mrgcor1 | 2007-03-0007.th2 | 0 | 304.73 | 0 | 0 | -304.73 | 6.609 | 0 | 0 | -6.609
2007-03-0007.mrgcor1 | 2007-03-0007.th2 | 1 | 253.59 | 252 | 0 | -1.59 | 6.697 | 6.593 | 0 | -0.104
2007-03-0007.mrgcor1 | 2007-03-0007.th2 | 2 | 176.65 | 175.99 | 1.4142 | -0.65999 | 6.436 | 6.5405 | 0.010606 | 0.1045
2007-03-0007.mrgcor1 | 2007-03-0007.th2 | 2 | 99.21 | 98.995 | 1.4213 | -0.215 | 7.23 | 7.366 | 0.019799 | 0.136
2007-03-0007.mrgcor1 | 2007-03-0007.th2 | 2 | 51.49 | 50.99 | 1.4142 | -0.5 | 9.089 | 8.98 | 0.15556 | -0.109
2007-03-0007.mrgcor1 | 2007-03-0007.th2 | 2 | 25.86 | 25.995 | 1.4071 | 0.135 | 8.263 | 8.123 | 0.066468 | -0.14
2007-03-0007.mrgcor1 | 2007-03-0007.th2 | 2 | 10.98 | 10.985 | 1.4213 | 0.0050001 | 8.578 | 8.4965 | 0.019092 | -0.0815
2007-03-0013.mrgcor1 | 2007-03-0013.th2 | 2 | 1013.16 | 1012.99 | 1.4001 | -0.16998 | 6.91 | 6.9245 | 0.00070739 | 0.0145
2007-03-0013.mrgcor1 | 2007-03-0013.th2 | 2 | 809.98 | 808.995 | 1.4213 | -0.98498 | 6.837 | 6.8895 | 0.00070706 | 0.0525
2007-03-0013.mrgcor1 | 2007-03-0013.th2 | 0 | 657.68 | 0 | 0 | -657.68 | 6.896 | 0 | 0 | -6.896
2007-03-0013.mrgcor1 | 2007-03-0013.th2 | 2 | 555.65 | 554.995 | 1.4213 | -0.65503 | 6.755 | 6.785 | 0.0014141 | 0.03
2007-03-0013.mrgcor1 | 2007-03-0013.th2 | 2 | 455.46 | 455.005 | 1.4213 | -0.45499 | 6.716 | 6.694 | 0 | -0.022
2007-03-0013.mrgcor1 | 2007-03-0013.th2 | 1 | 302.96 | 302.21 | 0 | -0.75 | 6.526 | 6.457 | 0 | -0.069
2007-03-0013.mrgcor1 | 2007-03-0013.th2 | 1 | 252.67 | 252.01 | 0 | -0.66 | 6.491 | 6.431 | 0 | -0.06
2007-03-0013.mrgcor1 | 2007-03-0013.th2 | 2 | 151.35 | 151 | 1.4284 | -0.35001 | 6.078 | 6.219 | 0.024042 | 0.141
2007-03-0013.mrgcor1 | 2007-03-0013.th2 | 1 | 136.19 | 136.99 | 0 | 0.8 | 6.275 | 6.375 | 0 | 0.1
2007-03-0013.mrgcor1 | 2007-03-0013.th2 | 2 | 50.48 | 51 | 1.4142 | 0.52 | 9.161 | 9.15 | 0.02687 | -0.011001
2007-03-0013.mrgcor1 | 2007-03-0013.th2 | 2 | 24.19 | 23.985 | 1.4071 | -0.205 | 8.433 | 8.2365 | 0.013435 | -0.1965
2007-03-0013.mrgcor1 | 2007-03-0013.th2 | 2 | 10.6 | 11 | 1.4284 | 0.4 | 8.276 | 8.224 | 0.046669 | -0.052
2007-03-0017.mrgcor1 | 2007-03-0017.th2 | 2 | 1013.59 | 1012.91 | 1.3082 | -0.685 | 6.921 | 6.9205 | 0.00070706 | -0.0005002
2007-03-0017.mrgcor1 | 2007-03-0017.th2 | 2 | 808.8 | 809.01 | 1.4001 | 0.21002 | 6.876 | 6.88 | 0.0014141 | 0.0040002
2007-03-0017.mrgcor1 | 2007-03-0017.th2 | 0 | 657.88 | 0 | 0 | -657.88 | 6.825 | 0 | 0 | -6.825
2007-03-0017.mrgcor1 | 2007-03-0017.th2 | 2 | 556.27 | 557 | 1.4142 | 0.72998 | 6.778 | 6.806 | 0.0014145 | 0.028
2007-03-0017.mrgcor1 | 2007-03-0017.th2 | 2 | 455.16 | 455 | 1.4001 | -0.16 | 6.728 | 6.7235 | 0.0035353 | -0.0044999
2007-03-0017.mrgcor1 | 2007-03-0017.th2 | 1 | 303.25 | 302.01 | 0 | -1.24 | 6.486 | 6.431 | 0 | -0.055
2007-03-0017.mrgcor1 | 2007-03-0017.th2 | 1 | 253.57 | 252 | 0 | -1.57 | 6.433 | 6.41 | 0 | -0.023
2007-03-0017.mrgcor1 | 2007-03-0017.th2 | 1 | 227.4 | 229.02 | 0 | 1.62 | 6.382 | 6.392 | 0 | 0.01
2007-03-0017.mrgcor1 | 2007-03-0017.th2 | 1 | 145.88 | 145 | 0 | -0.88001 | 6.259 | 6.5 | 0 | 0.241
2007-03-0017.mrgcor1 | 2007-03-0017.th2 | 2 | 51.28 | 50.98 | 1.4284 | -0.3 | 8.996 | 9.177 | 0.015556 | 0.181
2007-03-0017.mrgcor1 | 2007-03-0017.th2 | 2 | 25.12 | 25.87 | 1.2445 | 0.75 | 8.664 | 8.354 | 0.062225 | -0.31
2007-03-0017.mrgcor1 | 2007-03-0017.th2 | 2 | 10.15 | 11.095 | 1.2799 | 0.945 | 8.197 | 8.2645 | 0.11526 | 0.0675
2007-03-0018.mrgcor1 | 2007-03-0018.th2 | 2 | 909.43 | 908.5 | 0.70711 | -0.92999 | 6.861 | 6.867 | 0.0014141 | 0.006
2007-03-0018.mrgcor1 | 2007-03-0018.th2 | 2 | 810.27 | 811.005 | 1.4071 | 0.73498 | 6.866 | 6.8435 | 0.00070706 | -0.0225
2007-03-0018.mrgcor1 | 2007-03-0018.th2 | 0 | 657.5 | 0 | 0 | -657.5 | 6.768 | 0 | 0 | -6.768
2007-03-0018.mrgcor1 | 2007-03-0018.th2 | 2 | 556.71 | 556.99 | 1.4284 | 0.27997 | 6.747 | 6.7465 | 0.0021215 | -0.0005002
2007-03-0018.mrgcor1 | 2007-03-0018.th2 | 2 | 455.85 | 455.01 | 1.3859 | -0.84 | 6.634 | 6.6695 | 0.00070706 | 0.0355
2007-03-0018.mrgcor1 | 2007-03-0018.th2 | 2 | 354.38 | 354.99 | 1.4142 | 0.60998 | 6.519 | 6.5155 | 0.0021215 | -0.0035
2007-03-0018.mrgcor1 | 2007-03-0018.th2 | 2 | 202.75 | 202.995 | 1.4071 | 0.24499 | 6.42 | 6.1885 | 0.019092 | -0.2315
2007-03-0018.mrgcor1 | 2007-03-0018.th2 | 1 | 152.14 | 151.93 | 0 | -0.21001 | 6.241 | 6.453 | 0 | 0.212
2007-03-0018.mrgcor1 | 2007-03-0018.th2 | 2 | 126.64 | 126 | 1.4001 | -0.64 | 6.498 | 6.483 | 0.012728 | -0.015
2007-03-0018.mrgcor1 | 2007-03-0018.th2 | 2 | 67 | 66.5 | 2.1213 | -0.5 | 7.955 | 9.0655 | 0.067175 | 1.1105
2007-03-0018.mrgcor1 | 2007-03-0018.th2 | 2 | 25.03 | 25.995 | 1.4213 | 0.965 | 8.354 | 8.185 | 0.012728 | -0.169
2007-03-0018.mrgcor1 | 2007-03-0018.th2 | 2 | 9.89 | 8.995 | 1.4213 | -0.895 | 8.281 | 8.299 | 0.0028282 | 0.018
2007-03-0020.mrgcor1 | 2007-03-0020.th2 | 0 | 453.02 | 0 | 0 | -453.02 | 6.84 | 0 | 0 | -6.84
2007-03-0020.mrgcor1 | 2007-03-0020.th2 | 0 | 304.97 | 0 | 0 | -304.97 | 6.277 | 0 | 0 | -6.277
2007-03-0020.mrgcor1 | 2007-03-0020.th2 | 1 | 227.9 | 229.01 | 0 | 1.11 | 6.248 | 6.136 | 0 | -0.112
2007-03-0020.mrgcor1 | 2007-03-0020.th2 | 2 | 146.69 | 146.48 | 2.1213 | -0.21001 | 6.051 | 6.3195 | 0.023335 | 0.2685
2007-03-0020.mrgcor1 | 2007-03-0020.th2 | 2 | 51.82 | 50.995 | 1.4213 | -0.825 | 8.696 | 8.4555 | 0.084146 | -0.2405
2007-03-0020.mrgcor1 | 2007-03-0020.th2 | 2 | 10.34 | 11 | 1.4142 | 0.66 | 8.099 | 8.176 | 0.0084853 | 0.077001
2007-03-0022.mrgcor1 | 2007-03-0022.th2 | 1 | 178.4 | 177 | 0 | -1.4 | 6.204 | 6.172 | 0 | -0.032
2007-03-0022.mrgcor1 | 2007-03-0022.th2 | 2 | 127.05 | 128 | 1.4142 | 0.95 | 6.002 | 6.094 | 0.012728 | 0.092
2007-03-0022.mrgcor1 | 2007-03-0022.th2 | 2 | 76.37 | 76 | 1.4142 | -0.37 | 6.907 | 7.7365 | 0.055861 | 0.8295
2007-03-0022.mrgcor1 | 2007-03-0022.th2 | 2 | 51.55 | 50.99 | 1.4142 | -0.56 | 8.105 | 8.3855 | 0.041719 | 0.2805
2007-03-0022.mrgcor1 | 2007-03-0022.th2 | 2 | 26.19 | 26.005 | 1.4071 | -0.185 | 8.999 | 8.993 | 0.079196 | -0.0059996
2007-03-0022.mrgcor1 | 2007-03-0022.th2 | 2 | 10.88 | 10.995 | 1.4213 | 0.115 | 8.833 | 8.596 | 0.0042423 | -0.237
Create Fit Sheet