File List for SeaBird Data          Cruise Number: _2007-11____

[osapcommon\cruise_data\2007-11\ARCHIVE]

[osapcommon\cruise_data\2007-11\ARCHIVE\Bottle] *.CHE

[osapcommon\cruise_data\2007-11\ARCHIVE\CTD] *.CTD

[osapcommon\cruise_data\2007-11\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osapcommon\cruise_data\2007-11\ARCHIVE\DOC\HYDRO] COMPARE files and edited versions of    spreadsheets from analysts

[osapcommon\cruise_data\2007-11\ARCHIVE\DOC\TSG] header text file

[osapcommon\cruise_data\2007-11\ARCHIVE\TSG] *.TOB

______________________________________________________________________________

[osapcommon\cruise_data\2007-11\PROCESSING] files from cast #20 with edited BL file since the original file had no entries. A new one was fabricated to enable conversion of rosette file.

[osapcommon\cruise_data\2007-11\PROCESSING\Angelica] files for use of A. Peña

[osapcommon\cruise_data\2007-11\PROCESSING\CONVERT]

*.CNV – after conversion

[osapcommon\cruise_data\2007-11\PROCESSING\DERIVE]

*.CNV – after conversion, wildedit, celltm, derive

[osapcommon\cruise_data\2007-11\PROCESSING\DOC]

2007-11-recal1.ccf – calibration control file for recalibration of DO

2007-11-recal2.ccf – calibration control file for 2nd recalibration of DO

2007-11-ctd.con – configuration file used for all casts

2007-11-intercomp-final.csv & xls – comparison of SBE19 and SBE911+

2007-11_file.doc - this document

2007-11_proc.doc - processing notes

2007-11-che.rpt – CTD file header check including channel summary

2007-11-ctd.rpt – CHE file header check including channel summary

*hdr.txt – header files with comments for CTD and CHE files

[osapcommon\cruise_data\2007-11\PROCESSING\HYDRO]

*.add – bottle from analyst, converted, edited, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nut – nutrient files converted from analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted by spreadsheet

*.sam – bottle files with sample numbers added

addsamp.csv – file containing cast #, bottle number and sample number

2007-11-loop-sal.csv – loop data from TSG.

2007-11nuts.csv – edited version of the nutrient spreadsheet

2007-11-sal.csv – edited version of salinity spreadsheet

2007-11-dox-comp1.csv & .xls – initial comparison of titrated DO and CTD DO

2007-11-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2007-11-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2007-11-dox-comp4.csv & .xls – comparison of titrated DO and CTD DO after final recal

2007-11-sal-comp1.csv & xls – initial salinity COMPARE file

[osapcommon\cruise_data\2007-11\PROCESSING\IOS]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2007-11\PROCESSING\TSG] data file from R. Pawlowicz

[osapcommon\cruise_data\2007-11\PROCESSING\TSG\DOC] header text file

[osapcommon\cruise_data\2007-11\PROCESSING\TSG\IOS] all other TSG files

[osapcommon\cruise_data\2007-11\PROCESSING\SBE19] – files used to compare SBE911 and SBE19

[osapcommon\cruise_data\2007-11\RAW]

[osapcommon\cruise_data\2007-11\RAW\CTD]

[osapcommon\cruise_data\2007-11\RAW\NUTRIENTS] data from analyst

[osapcommon\cruise_data\2007-11\RAW\OXY] data from analyst

[osapcommon\cruise_data\2007-11\RAW\RCM]

[osapcommon\cruise_data\2007-11\RAW\Salinity] data from analyst

[osapcommon\cruise_data\2007-11\RAW\Thermo] files from R. Pawlowicz (UBC)