Cruise 2007-12:  La Perouse May 2007

CTD/Rosette:

66 casts done, 0001 to 0109

29 rosette casts

37 CTD casts (no Niskins)

0 stand-alone CTD casts.

All the casts were done with deck unit 0424; Mid-ship (7 conductor) winch.

GENERAL NOTES:

Cast 0001: 	wrong cruise number in header, 2007-35 should be 2007-12

No station name, should be SI03

Saanich Inlet cast, 11 Niskins for rosette then closed all bottles.

Cast 0002:	went down to ~25m, then back to 18 m for a long time, trying to get the sounder to work.  Then back down to 20m to close 2 Niskins and do the cast.

Cast 0016: 	Latitude: longitude, Longitude: time, Time: Latitude.

Cast 0037: 	no station name. Should be LC11

Hit bottom (sounder was 200m off).  Glitch with the cable connecting power to the CTD and then getting the pump started.

Cast 0066:	large T2-T1 at surface.

Cast 0072:	forgot to turn pump on at surface.  Go down to ~30m, then back to surface, turn pump on then down again.

Cast 0082: 	large (negative) pressure spike at beginning of file.

A few casts had a large difference between deep Temperature (>~800m) on the way down and on the way up.