## Final Data
Cruise |  |  | 2007-13
Ship |  |  | CCGS John P. Tully
Dates |  |  | May 30-June 14, 2007
Chief Scientist |  |  | Marie Robert
Date | Time | Latitude | Longitude | Station | Cast | Niskin | Sample | NomDepth | Pres | Bot S | TIC | TIC | ALK | ALK | Comments
UTC | UTC |  |  |  | # | # | # | m | dbar | (PSU) | umol/kg | FLAG | umol/kg | FLAG
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 1 | 38 | Bot-10 | 1305.356 | 34.4862 | 2386.0251 |  | 2394.6058
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 2 | 39 | 1250 | 1249.588 | 34.4659 | 2369.3722 | 6 | 2381.9478 | 6
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 5 | 42 | 1000 | 1001.89 | 34.3874 | 2378.0794 |  | 2362.3914
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 6 | 43 | 800 | 799.902 | 34.3029 | 2370.9117 |  | 2355.9898
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 7 | 44 | 600 | 600.318 | 34.1907 | 2335.6727 |  | 2323.7607
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 10 | 47 | 400 | 398.238 | 34.0445 | 2298.3154 |  | 2296.855
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 11 | 48 | 300 | 300.492 | 33.9623 | 2265.0178 |  | 2282.2428
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 12 | 49 | 250 | 249.687 | 33.8842 | 2232.4437 |  | 2271.1728
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 13 | 50 | 200 | 198.659 | 33.8739 | 2217.7768 |  | 2250.6189
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 14 | 51 | 175 | 174.184 | 33.8643 | 2205.2199 |  | 2256.2548
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 15 | 52 | 150 | 150.246 | 33.7737 | 2190.7672 |  | 2242.6464
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 16 | 53 | 125 | 124.021 | 33.4997 | 2146.9048 |  | 2231.7671
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 17 | 54 | 100 | 100.492 | 33 | 2099.2069
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 18 | 55 | 75 | 75.609 | 32.486 | 2028.1275 |  | 2170.3867
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 19 | 56 | 50 | 51.045 | 32.4268 | 2014.7963 |  | 2198.1881
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 20 | 57 | 25 | 23.431 | 32.1194 | 1966.7606
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 23 | 60 | 10 | 11.594 | 31.5984 | 1898.4539 |  | 2141.5239
2007-06-01 | 16:30 | 48.6505 | -126.6657 | P4 | 8 | 24 | 61 | 5 | 5.119 | 31.526 | 1896.4074 |  | 2143.7895
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 1 | 129 | Bot-10 | 3229.143 | 34.6525 | 2357.4648 |  | 2426.2118
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 2 | 130 | 3000 | 2998.781 | 34.6501 | 2359.8389 |  | 2423.1038
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 3 | 131 | 2500 | 2499.882 | 34.6317 | 2372.8519 |  | 2420.3959 | 3 | Alk: Large difference from replicate niskin
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 4 | 132 | 2500 | 2499.874 | 34.6314 | 2373.177 | 6 | 2418.3835 | 3,6 | Alk: Large difference from replicate niskin
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 5 | 133 | 2000 | 1996.024 | 34.5822 | 2378.301 |  | 2411.8649
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 6 | 134 | 1500 | 1501.325 | 34.5049 | 2391.7583 |  | 2407.527
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 7 | 135 | 1250 | 1247.137 | 34.4403 | 2386.2006 |  | 2380.8516
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 8 | 136 | 1000 | 1001.997 | 34.3603 | 2368.1944 |  | 2373.0112
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 9 | 137 | 800 | 801.823 | 34.2557 | 2358.9795 |  | 2344.8397
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 10 | 138 | 600 | 601.796 | 34.1467 | 2335.6845 |  | 2322.2619
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 11 | 139 | 400 | 400.205 | 33.9353 | 2280.8537 |  | 2292.4449
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 12 | 140 | 300 | 300.729 | 33.876 | 2250.5073 |  | 2273.7389
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 13 | 141 | 250 | 249.284 | 33.8461 | 2212.2296
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 14 | 142 | 200 | 199.145 | 33.8033 | 2186.992 |  | 2259.7209
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 15 | 143 | 175 | 174.504 | 33.7601 | 2172.7414 |  | 2257.9821
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 16 | 144 | 150 | 149.158 | 33.554 | 2144.247 |  | 2265.6595
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 17 | 145 | 125 | 125.522 | 33.1966 | 2114.9242 |  | 2222.246
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 18 | 146 | 100 | 101.375 | 32.6039 | 2045.7539 |  | 2191.8663
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 19 | 147 | 75 | 74.644 | 32.5067 | 2004.9033 |  | 2188.4585
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 20 | 148 | 50 | 49.577 | 32.483 | 2005.7021 |  | 2177.9955
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 21 | 149 | 25 | 24.459 | 32.4512 | 1994.4384 |  | 2184.4115
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 22 | 150 | 10 | 9.786 | 32.4495 | 1989.662 |  | 2176.6065
2007-06-02 | 23:46 | 48.976 | -130.6638 | P12 | 25 | 23 | 151 | 5 | 5.263 | 32.448 | 1982.114 |  | 2179.0933
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 1 | 175 | Bot-10 | 3660.321 | 34.6724 | 2347.381 |  | 2444.2161
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 2 | 176 | 3500 | 3500.4 | 34.6696 | 2347.2447 |  | 2422.5289
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 3 | 177 | 3000 | 2999.996 | 34.6577 | 2352.8859 |  | 2417.634
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 4 | 178 | 2500 | 2501.498 | 34.6338 | 2362.4568 |  | 2425.9817
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 5 | 179 | 2000 | 2001.658 | 34.5919 | 2381.5988 | 6 | 2418.796 | 6
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 6 | 180 | 2000 | 2001.488 | 34.5921 | 2381.7327 |  | 2418.612
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 7 | 181 | 1500 | 1500.561 | 34.5088 | 2387.455 |  | 2402.2929
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 8 | 182 | 1250 | 1251.006 | 34.4455 | 2392.5386 |  | 2391.3742
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 9 | 183 | 1000 | 1000.904 | 34.3655 | 2381.0437 |  | 2375.2715
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 10 | 184 | 800 | 799.339 | 34.2748 | 2361.3742 |  | 2353.7244
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 11 | 185 | 600 | 800.641 | 34.2735 | 2361.2917 |  | 2356.3965
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 12 | 186 | 400 | 399.84 | 33.9911 | 2302.1721 |  | 2292.5171
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 13 | 187 | 300 | 300.697 | 33.8752 | 2262.8964 |  | 2278.5098
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 14 | 188 | 250 | 250.585 | 33.8451 | 2217.5097 |  | 2285.5411
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 15 | 189 | 200 | 200.426 | 33.8186 | 2189.305 |  | 2261.8674
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 16 | 190 | 175 | 174.907 | 33.8074 | 2173.6194 |  | 2252.7058
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 17 | 191 | 150 | 150.255 | 33.7353 | 2148.8516 |  | 2253.2653
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 18 | 192 | 125 | 124.954 | 33.4799 | 2127.2527 |  | 2230.1613
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 19 | 193 | 100 | 100.328 | 32.87 | 2072.0868 |  | 2209.2057
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 20 | 194 | 75 | 75.136 | 32.5273 | 2033.1492 |  | 2184.9647
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 21 | 195 | 50 | 50.543 | 32.5041 | 2029.5373 |  | 2182.7599
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 22 | 196 | 25 | 25.765 | 32.4344 | 2017.6831 |  | 2178.3873
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 23 | 197 | 10 | 10.518 | 32.4219 | 2010.6201 |  | 2176.3487
2007-06-04 | 1:42 | 49.2793 | -134.6737 | P16 | 33 | 24 | 198 | 5 | 4.329 | 32.4234 | 2009.0637 |  | 2174.3401
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 1 | 229 | Bot-10 | 4014.067 | 34.6797 | 2346.5879 |  | 2419.1
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 2 | 230 | 3500 | 3499.839 | 34.6719 | 2345.0407 | 3 | 2423.8596 |  | TIC: Large difference from duplicate niskin
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 3 | 231 | 3500 | 3499.669 | 34.6712 | 2343.025 | 3,6 | 2423.3548 | 6 | TIC: Large difference from duplicate niskin
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 4 | 232 | 3000 | 2999.533 | 34.6601 | 2351.9447 |  | 2414.4104
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 5 | 233 | 2500 | 2499.761 | 34.6308 | 2370.0399 |  | 2417.0934
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 6 | 234 | 2000 | 1999.49 | 34.5872 | 2382.6258 |  | 2403.0893
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 7 | 235 | 1500 | 1499.818 | 34.5098 | 2398.7743 |  | 2406.884
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 8 | 236 | 1250 | 1248.947 | 34.4501 | 2393.2047 |  | 2388.5405
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 9 | 237 | 1000 | 999.324 | 34.37 | 2384.3102 |  | 2371.6473
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 10 | 238 | 800 | 800.647 | 34.2893 | 2351.8892 |  | 2358.4349
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 11 | 239 | 600 | 600.443 | 34.162 | 2328.9788 |  | 2328.7293
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 12 | 240 | 400 | 400.261 | 34.0055 | 2309.9641 |  | 2306.045
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 13 | 241 | 300 | 300.093 | 33.8913 | 2271.2409 |  | 2283.3845
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 14 | 242 | 250 | 250.091 | 33.8467 | 2249.9253 |  | 2273.3418
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 15 | 243 | 200 | 199.355 | 33.8099 | 2209.2521 |  | 2267.1076
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 16 | 244 | 175 | 175.448 | 33.7962 | 2187.809 |  | 2264.5171
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 17 | 245 | 150 | 150.82 | 33.7448 | 2165.0911 |  | 2253.225
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 18 | 246 | 125 | 124.435 | 33.4494 | 2074.935 |  | 2239.1424
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 19 | 247 | 100 | 100.229 | 33.4492 | 2042.2174 |  | 2188.0806
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 20 | 248 | 75 | 75.041 | 32.5465 | 2034.6746 |  | 2196.6243
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 21 | 249 | 50 | 49.783 | 32.5387 | 2032.5937 |  | 2191.5819
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 22 | 250 | 25 | 24.482 | 32.4847 | 2023.8132 |  | 2182.052
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 23 | 251 | 10 | 10.869 | 32.4823 | 2023.9299 |  | 2168.7817
2007-06-05 | 3:30 | 49.5625 | -138.6702 | P20 | 43 | 24 | 252 | 5 | 5.105 | 32.4828 | 2019.867 |  | 2182.0216
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 1 | 367 | Bot-10 | 4292.53 | 34.6832 | 2340.0615 |  | 2433.8998
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 2 | 368 | 4000 | 3999.413 | 34.6833 | 2337.8853 |  | 2425.9283
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 3 | 369 | 3500 | 3499.524 | 34.6731 | 2347.7238 |  | 2420.0262
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 4 | 370 | 3000 | 2999.972 | 34.6562 | 2357.1509 | 6 | 2425.8022 | 6
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 5 | 371 | 2500 | 2500.092 | 34.632 | 2369.1875 |  | 2430.8785
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 6 | 372 | 2000 | 2000.012 | 34.5893 | 2385.7893 |  | 2399.0214 | 3 | Alk: Low relative to historical experience
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 7 | 373 | 1500 | 1500.331 | 34.5057 | 2389.8862 |  | 2396.0312
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 8 | 374 | 1250 | 1250.139 | 34.4497 | 2384.1289 |  | 2393.0522
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 9 | 375 | 1000 | 1000.175 | 34.3767 | 2379.7323 |  | 2367.1609
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 10 | 376 | 800 | 800.474 | 34.2998 | 2367.828 |  | 2350.77
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 11 | 377 | 600 | 600.752 | 34.1986 | 2346.5683 |  | 2338.4494
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 12 | 378 | 400 | 399.548 | 34.0323 | 2321.7744 |  | 2305.1777
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 13 | 379 | 300 | 301.278 | 33.9168 | 2291.7892 |  | 2288.2568
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 14 | 380 | 250 | 249.531 | 33.8891 | 2277.3108 |  | 2280.5264
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 15 | 381 | 200 | 200.622 | 33.8162 | 2246.7122 |  | 2268.2558
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 16 | 382 | 175 | 174.852 | 33.8091 | 2186.5507 |  | 2249.8942
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 17 | 383 | 150 | 150.072 | 33.7974 | 2163.4998 |  | 2224.8779
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 18 | 384 | 125 | 124.643 | 33.7642 | 2071.6944 |  | 2208.7638
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 19 | 385 | 100 | 99.631 | 33.3918 | 2045.8872 |  | 2197.8011
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 20 | 386 | 75 | 74.61 | 32.684 | 2035.4353 |  | 2193.9212
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 21 | 387 | 50 | 51.094 | 32.6523 | 2028.6158 |  | 2189.7991
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 22 | 388 | 25 | 25.642 | 32.5991 | 2014.2258 |  | 2188.6688
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 23 | 389 | 10 | 9.4 | 32.592 | 2037.4323 |  | 2191.7996
2007-06-09 | 2:03 | 49.9998 | -144.9905 | P26 | 70 | 24 | 390 | 5 | 5.683 | 32.5839 | 2036.4277 |  | 2194.734
2007-06-11 | 16:27 | 48.5003 | -145.0027 | S3 | 84 | 1 | 502 | 3000 | 2999.774 | 34.6613 | 2349.9379 | 6 | 2420.917 | 6
2007-06-11 | 16:27 | 48.5003 | -145.0027 | S3 | 84 | 2 | 503 | 3000 | 3000.511 | 34.6613 | 2352.1979 | 6 | 2419.002 | 3,6 | Alk: Large difference between replicates
2007-06-11 | 16:27 | 48.5003 | -145.0027 | S3 | 84 | 3 | 504 | 3000 | 3000.528 | 34.661 | 2351.1099 | 3,6 | 2420.6957 | 6 | TIC: Large difference between replicates
2007-06-11 | 16:27 | 48.5003 | -145.0027 | S3 | 84 | 4 | 505 | 3000 | 3001.388 | 34.6613 | 2350.8255 | 6 | 2419.1269 | 6
2007-06-11 | 16:27 | 48.5003 | -145.0027 | S3 | 84 | 5 | 506 | 3000 | 3000.623 | 34.6611 | 2350.5717 | 6 | 2420.5699 | 6

## metadata
cruise |  | 2007-13
ship |  | CCGS John P. Tully
dates |  | May 30-June 14, 2007
Chief Scientist |  | Marie Robert
Reference: | Miller, L.A., M. Davelaar, and J. Linguanti, 2009. Line P Inorganic Carbon Data Set, Cruise 2007-13, May-June 2007. Institute of Ocean Sciences, Fisheries and Oceans Canada, Sidney, BC, Canada.
Samples collected in 500ml bottles, to which 100 microlitres of HgCl2 was added.
Both TIC and Alkalinity were analyzed from the same bottle
flags
3 = suspect sample
6 = mean of replicate samples
Total Inorganic Carbon
Coulometric titration
| Reference: |  | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson & C. Goyet, eds. ORNL/CDIAC-74
technique for standardization |  |  | Certified Reference Materials (supplied by A. Dickson, Scripps Institute of Oceanography)
analysis temperature (C) |  |  | 20
Standards used:
Dickson CRM |  |  | 73
certified value |  |  | 2057.30+/-0.45
IOS standard |  |  | 14
calibrated value |  |  | 2036.68 +/- 0.45
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 230 | Large difference from replicate niskin
| 231 | Large difference from replicate niskin
| 504 | Large difference between replicates
Replicate Analyses (same niskin)
| A | B | Average | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | Difference
39 | 2368.9629 | 2369.7816 | 2369.3722 | -0.8187 | 0.8187
132 | 2372.7114 | 2373.6426 | 2373.177 | -0.93122 | 0.93122
179 | 2380.7164 | 2381.5353 | 2381.1258 | -0.81893 | 0.81893
231 | 2342.7852 | 2343.2648 | 2343.025 | -0.47957 | 0.47957
370 | 2356.8405 | 2357.4613 | 2357.1509 | -0.62086 | 0.62086
502 | 2350.1085 | 2349.7672 | 2349.9379 | 0.34126 | 0.34126
503 | 2351.972 | 2352.4238 | 2352.1979 | -0.45176 | 0.45176
504 | 2351.6619 | 2350.5579 | 2351.1099 | 1.1041 | 1.1041
505 | 2351.0935 | 2350.5574 | 2350.8255 | 0.53617 | 0.53617
506 | 2350.5294 | 2350.6141 | 2350.5717 | -0.084658 | 0.084658
average variability: |  |  |  | -0.22242 | 0.61872
standard deviation of variability: |  |  |  | 0.68012 | 0.3036
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
131 | 2372.8519
132 | 2373.177
|  | 2373.0145 |  | 0.32504 | 0.32504
179 | 2381.1258
180 | 2381.7327
|  | 2381.4293 |  | 0.60689 | 0.60689
230 | 2345.0407
231 | 2343.025
|  | 2344.0329 |  | -2.0157 | 2.0157
502 | 2349.9379
503 | 2352.1979
504 | 2351.1099
505 | 2350.8255
506 | 2350.5717
|  | 2350.9286 | 0.83119
average variability: |  |  |  | -0.36127 |  | 0.94471
standard deviation of variability: |  |  |  | 1.4397 |  | 0.74344
Precision estimate: |  | 0.94471 | umol/kg
Total Alkalinity
Potentiometric titration
| Reference: |  | DOE (1994) Handbook of methods for the analysis of the various parameters of the carbon dioxide system in sea water.Version 2, A. G. Dickson & C. Goyet, eds. ORNL/CDIAC-74
Cell type |  |  | Open
Endpoint determination |  |  | Modified Gran plot
Standard used:
Dickson CRM |  |  | 73
certified value |  |  | 2253.50+/-0.84
Acid batch |  |  | 6
acid concentration (mol/kg) |  |  | 0.098069
sample mass |  |  | 70-80 grams
correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0002 (HgCl2 correction)
Notes: | 131 | Large difference from replicate niskin
| 132 | Large difference from replicate niskin
| 372 | Low relative to historical experience
| 503 | Large difference between replicates
Replicate Analyses
| A | B | Average | Difference | Absolute
| umol/kg | umol/kg | umol/kg | umol/kg | Difference
39 | 2382.4294 | 2381.4662 | 2381.9478 | 0.96314 | 0.96314
132 | 2418.5335 | 2418.2335 | 2418.3835 | 0.30002 | 0.30002
179 | 2419.0463 | 2418.5458 | 2418.796 | 0.50052 | 0.50052
231 | 2424.1282 | 2422.5814 | 2423.3548 | 1.5468 | 1.5468
370 | 2425.0979 | 2426.5066 | 2425.8022 | -1.4087 | 1.4087
502 | 2420.3959 | 2421.4381 | 2420.917 | -1.0422 | 1.0422
503 | 2419.8264 | 2418.1776 | 2419.002 | 1.6488 | 1.6488
504 | 2421.1378 | 2420.2536 | 2420.6957 | 0.88424 | 0.88424
505 | 2418.8671 | 2419.3867 | 2419.1269 | -0.5196 | 0.5196
506 | 2420.0461 | 2421.0936 | 2420.5699 | -1.0475 | 1.0475
average variability: |  |  |  | 0.18256 | 0.98615
standard deviation of variability: |  |  |  | 1.1188 | 0.45633
Replicate Samples (different niskins)
|  | Average | STDDEV. | difference | absolute
| umol/kg | umol/kg | umol/kg | umol/kg | difference
131 | 2420.3959
132 | 2418.3835
|  | 2419.3897 |  | -2.0124 | 2.0124
179 | 2418.796
180 | 2418.612
|  | 2418.704 |  | -0.18403 | 0.18403
230 | 2423.8596
231 | 2423.3548
|  | 2423.6072 |  | -0.50474 | 0.50474
502 | 2420.917
503 | 2419.002
504 | 2420.6957
505 | 2419.1269
506 | 2420.5699
|  | 2420.0623 | 0.9204
average variability: |  |  |  | -0.90039 |  | 0.90539
standard deviation of variability: |  |  |  | 0.97628 |  | 0.79719
Precision estimate: |  | 0.98615 | umol/kg
Version control
2009-01-30 | Initial archiving

## TIC raw data
TIC | [9 empty] | 1
0.00035031
analysis | time | sample | ug C | pipette vol. | salinity | density | uncorrected | std | std | Calibration | corrected
date |  | id |  | cm3 |  | kg/dm3 | umol/kg | ID | umol/kg | factor | umol/kg
2007-11-26 | 801 | ss14 | 719.84 | 28.9002 | 32 | 1.0225 | 2035.3091 | ss14
2007-11-26 | 838 | 175 | 831.14 | 28.9002 | 34.6724 | 1.0245 | 2345.3319 | ss14 | 2035.3091 | 1.0007 | 2347.381
2007-11-26 | 912 | 176 | 831.09 | 28.9002 | 34.6696 | 1.0245 | 2345.1957 | ss14 | 2035.3091 | 1.0007 | 2347.2447
2007-11-26 | 935 | 177 | 833.08 | 28.9002 | 34.6577 | 1.0245 | 2350.832 | ss14 | 2035.3091 | 1.0007 | 2352.8859
2007-11-26 | 1004 | ad | 728.64 | 28.9002 | 34.523 | 1.0244 | 2056.3236 | CRM73
2007-11-26 | 1107 | 178 | 836.62 | 28.9002 | 34.6338 | 1.0245 | 2360.8634 | CRM73 | 2056.3236 | 1.0005 | 2362.4568
2007-11-26 | 1137 | 179a | 843.06 | 28.9002 | 34.5919 | 1.0245 | 2379.1106 | CRM73 | 2056.3236 | 1.0005 | 2380.7164
2007-11-26 | 1205 | 179b | 843.35 | 28.9002 | 34.5919 | 1.0245 | 2379.929 | CRM73 | 2056.3236 | 1.0005 | 2381.5353
2007-11-26 | 1233 | 180 | 843.42 | 28.9002 | 34.5921 | 1.0245 | 2380.1263 | CRM73 | 2056.3236 | 1.0005 | 2381.7327
2007-11-27 | 739 | ss14 | 719.92 | 28.9002 | 32 | 1.0225 | 2035.5353 | ss14
2007-11-27 | 802 | 181 | 845.32 | 28.9002 | 34.5088 | 1.0244 | 2385.636 | ss14 | 2035.5353 | 1.0006 | 2387.455
2007-11-27 | 839 | 182 | 847.08 | 28.9002 | 34.4455 | 1.0243 | 2390.7158 | ss14 | 2035.5353 | 1.0006 | 2392.5386
2007-11-27 | 913 | 183 | 842.96 | 28.9002 | 34.3655 | 1.0243 | 2379.2296 | ss14 | 2035.5353 | 1.0006 | 2381.0437
2007-11-27 | 941 | 184 | 835.94 | 28.9002 | 34.2748 | 1.0242 | 2359.5751 | ss14 | 2035.5353 | 1.0006 | 2361.3742
2007-11-27 | 1012 | 185 | 835.91 | 28.9002 | 34.2735 | 1.0242 | 2359.4927 | ss14 | 2035.5353 | 1.0006 | 2361.2917
2007-11-27 | 1040 | 186 | 814.81 | 28.9002 | 33.9911 | 1.024 | 2300.4181 | ss14 | 2035.5353 | 1.0006 | 2302.1721
2007-11-27 | 1110 | 187 | 800.84 | 28.9002 | 33.8752 | 1.0239 | 2261.1723 | ss14 | 2035.5353 | 1.0006 | 2262.8964
2007-11-27 | 1140 | 188 | 784.76 | 28.9002 | 33.8451 | 1.0239 | 2215.8202 | ss14 | 2035.5353 | 1.0006 | 2217.5097
2007-11-28 | 748 | ss14 | 720.14 | 28.9002 | 32 | 1.0225 | 2036.1573 | ss14
2007-11-28 | 834 | 151 | 700.94 | 28.9002 | 32.448 | 1.0228 | 1981.2091 | ss14 | 2036.1573 | 1.0003 | 1982.114
2007-11-28 | 920 | 150 | 703.61 | 28.9002 | 32.4495 | 1.0228 | 1988.7537 | ss14 | 2036.1573 | 1.0003 | 1989.662
2007-11-28 | 1015 | 149 | 705.3 | 28.9002 | 32.4512 | 1.0228 | 1993.5279 | ss14 | 2036.1573 | 1.0003 | 1994.4384
2007-11-28 | 1104 | 148 | 709.3 | 28.9002 | 32.483 | 1.0228 | 2004.7864 | ss14 | 2036.1573 | 1.0003 | 2005.7021
2007-11-28 | 1140 | 147 | 709.03 | 28.9002 | 32.5067 | 1.0229 | 2003.9879 | ss14 | 2036.1573 | 1.0003 | 2004.9033
29/11/2007 | 840 | ss14 | 720.32 | 28.9002 | 32 | 1.0225 | 2036.6663 | ss14
29/11/2007 | 1021 | 145 | 748.59 | 28.9002 | 33.1966 | 1.0234 | 2114.7127 | ss14 | 2036.6663 | 1 | 2114.9242
29/11/2007 | 1103 | 144 | 759.09 | 28.9002 | 33.554 | 1.0237 | 2143.8038 | ss14 | 2036.6663 | 1 | 2144.247
29/11/2007 | 1346 | 146 | 723.71 | 28.9002 | 32.6039 | 1.0229 | 2045.3311 | ss14 | 2036.6663 | 1 | 2045.7539
2007-12-03 | 829 | ss14 | 720.24 | 28.9002 | 32 | 1.0225 | 2036.4401 | ss14
2007-12-03 | 912 | 143 | 769.21 | 28.9002 | 33.7601 | 1.0238 | 2172.0511 | ss14 | 2036.4401 | 1.0001 | 2172.7414
2007-12-03 | 929 | 142 | 774.28 | 28.9002 | 33.8033 | 1.0239 | 2186.2972 | ss14 | 2036.4401 | 1.0001 | 2186.992
2007-12-03 | 1008 | 141 | 783.24 | 28.9002 | 33.8461 | 1.0239 | 2211.5267 | ss14 | 2036.4401 | 1.0001 | 2212.2296
2007-12-03 | 1054 | 140 | 796.81 | 28.9002 | 33.876 | 1.0239 | 2249.7923 | ss14 | 2036.4401 | 1.0001 | 2250.5073
2007-12-03 | 1115 | 139 | 807.59 | 28.9002 | 33.9353 | 1.024 | 2280.129 | ss14 | 2036.4401 | 1.0001 | 2280.8537
2007-12-03 | 1200 | 240 | 817.94 | 28.9002 | 34.0055 | 1.024 | 2309.2301 | ss14 | 2036.4401 | 1.0001 | 2309.9641
2007-12-03 | 1226 | 241 | 804.16 | 28.9002 | 33.8913 | 1.0239 | 2270.5192 | ss14 | 2036.4401 | 1.0001 | 2271.2409
2007-12-10 | 1002 | ss14 | 720.41 | 28.9002 | 32 | 1.0225 | 2036.9207 | ss14
2007-12-10 | 1018 | 368 | 828.44 | 28.9002 | 34.6833 | 1.0245 | 2337.6941 | ss14 | 2036.9207 | 0.99988 | 2337.8853
2007-12-10 | 1101 | 369 | 831.92 | 28.9002 | 34.6731 | 1.0245 | 2347.5318 | ss14 | 2036.9207 | 0.99988 | 2347.7238
2007-12-10 | 1128 | 370a | 835.14 | 28.9002 | 34.6562 | 1.0245 | 2356.6477 | ss14 | 2036.9207 | 0.99988 | 2356.8405
2007-12-10 | 1152 | 370b | 835.36 | 28.9002 | 34.6562 | 1.0245 | 2357.2685 | ss14 | 2036.9207 | 0.99988 | 2357.4613
2007-12-10 | 1219 | 371 | 839.5 | 28.9002 | 34.632 | 1.0245 | 2368.9938 | ss14 | 2036.9207 | 0.99988 | 2369.1875
2007-12-11 | 840 | ad | 729.03 | 28.9002 | 34.453 | 1.0243 | 2057.5314 | CRM73
2007-12-11 | 1102 | 373 | 846.75 | 28.9002 | 34.5057 | 1.0244 | 2389.6772 | CRM73 | 2057.5314 | 0.99989 | 2389.8862
2007-12-11 | 1130 | 251 | 716.01 | 28.9002 | 32.4823 | 1.0228 | 2023.7529 | CRM73 | 2057.5314 | 0.99989 | 2023.9299
2007-12-11 | 1158 | 250 | 715.97 | 28.9002 | 32.4847 | 1.0228 | 2023.6361 | CRM73 | 2057.5314 | 0.99989 | 2023.8132
2007-12-11 | 1223 | 242 | 796.77 | 28.9002 | 33.8467 | 1.0239 | 2249.7285 | CRM73 | 2057.5314 | 0.99989 | 2249.9253
2007-12-11 | 1249 | 247 | 723 | 28.9002 | 33.4492 | 1.0236 | 2042.0387 | CRM73 | 2057.5314 | 0.99989 | 2042.2174
2008-01-09 | 800 | ss14 | 720.03 | 28.9002 | 32 | 1.0225 | 2035.8463 | ss14
2008-01-09 | 924 | 372 | 844.91 | 28.9002 | 34.5893 | 1.0244 | 2384.3359 | ss14 | 2035.8464 | 1.0004 | 2385.7893
2008-01-10 | 749 | ss14 | 720.27 | 28.9002 | 32 | 1.0225 | 2036.5249 | ss14
2008-01-10 | 813 | 367 | 829.05 | 28.9002 | 34.6832 | 1.0245 | 2339.4155 | ss14 | 2036.525 | 1.0001 | 2340.0615
2008-01-10 | 840 | 189 | 775.14 | 28.9002 | 33.8186 | 1.0239 | 2188.7007 | ss14 | 2036.525 | 1.0001 | 2189.305
2008-01-10 | 904 | 190 | 769.58 | 28.9002 | 33.8074 | 1.0239 | 2173.0194 | ss14 | 2036.525 | 1.0001 | 2173.6194
2008-01-10 | 936 | 191 | 760.77 | 28.9002 | 33.7353 | 1.0238 | 2148.2584 | ss14 | 2036.525 | 1.0001 | 2148.8516
2008-01-10 | 1004 | 192 | 752.98 | 28.9002 | 33.4799 | 1.0236 | 2126.6654 | ss14 | 2036.525 | 1.0001 | 2127.2527
2008-01-10 | 1032 | 193 | 733.12 | 28.9002 | 32.87 | 1.0231 | 2071.5148 | ss14 | 2036.525 | 1.0001 | 2072.0868
2008-01-10 | 1054 | 194 | 719.16 | 28.9002 | 32.5273 | 1.0229 | 2032.5879 | ss14 | 2036.525 | 1.0001 | 2033.1492
2008-01-10 | 1116 | 195 | 717.87 | 28.9002 | 32.5041 | 1.0229 | 2028.9771 | ss14 | 2036.525 | 1.0001 | 2029.5373
2008-01-10 | 1150 | 229 | 831.36 | 28.9002 | 34.6797 | 1.0245 | 2345.9401 | ss14 | 2036.525 | 1.0001 | 2346.5879
2008-01-10 | 1235 | 196 | 713.64 | 28.9002 | 32.4344 | 1.0228 | 2017.1261 | ss14 | 2036.525 | 1.0001 | 2017.6831
2008-01-11 | 729 | ss14 | 720.68 | 28.9002 | 32 | 1.0225 | 2037.6842 | ss14
2008-01-11 | 756 | 230 | 831.28 | 28.9002 | 34.6719 | 1.0245 | 2345.7279 | ss14 | 2037.6843 | 0.99951 | 2345.0407
2008-01-11 | 819 | 197 | 711.54 | 28.9002 | 32.4219 | 1.0228 | 2011.2092 | ss14 | 2037.6843 | 0.99951 | 2010.6201
2008-01-11 | 906 | 231a | 830.48 | 28.9002 | 34.6712 | 1.0245 | 2343.4717 | ss14 | 2037.6843 | 0.99951 | 2342.7852
2008-01-11 | 928 | 231b | 830.65 | 28.9002 | 34.6712 | 1.0245 | 2343.9514 | ss14 | 2037.6843 | 0.99951 | 2343.2648
2008-01-11 | 950 | 232 | 833.72 | 28.9002 | 34.6601 | 1.0245 | 2352.6339 | ss14 | 2037.6843 | 0.99951 | 2351.9447
2008-01-11 | 1021 | 198 | 710.99 | 28.9002 | 32.4234 | 1.0228 | 2009.6524 | ss14 | 2037.6843 | 0.99951 | 2009.0637
2008-01-11 | 1040 | 55 | 717.77 | 28.9002 | 32.486 | 1.0228 | 2028.7218 | ss14 | 2037.6843 | 0.99951 | 2028.1275
2008-01-11 | 1108 | 54 | 743.21 | 28.9002 | 33 | 1.0232 | 2099.822 | ss14 | 2037.6843 | 0.99951 | 2099.2069
2008-01-11 | 1151 | 53 | 760.38 | 28.9002 | 33.4997 | 1.0236 | 2147.5339 | ss14 | 2037.6843 | 0.99951 | 2146.9048
2008-01-11 | 1214 | 50 | 785.7 | 28.9002 | 33.8739 | 1.0239 | 2218.4267 | ss14 | 2037.6843 | 0.99951 | 2217.7768
2008-01-11 | 1257 | 43 | 840.22 | 28.9002 | 34.3029 | 1.0242 | 2371.6065 | ss14 | 2037.6843 | 0.99951 | 2370.9117
2008-01-15 | 743 | ad | 728.91 | 28.9002 | 34.523 | 1.0244 | 2057.0856 | CRM73
2008-01-15 | 810 | 49 | 790.43 | 28.9002 | 33.8842 | 1.0239 | 2231.7647 | CRM73 | 2057.0856 | 1.0001 | 2232.4437
2008-01-15 | 849 | 42 | 842.31 | 28.9002 | 34.3874 | 1.0243 | 2377.3561 | CRM73 | 2057.0856 | 1.0001 | 2378.0794
2008-01-15 | 911 | 48 | 802.01 | 28.9002 | 33.9623 | 1.024 | 2264.329 | CRM73 | 2057.0856 | 1.0001 | 2265.0178
2008-01-15 | 945 | 39b | 839.42 | 28.9002 | 34.4659 | 1.0244 | 2369.0609 | CRM73 | 2057.0856 | 1.0001 | 2369.7816
2008-01-15 | 1049 | 47 | 813.85 | 28.9002 | 34.0445 | 1.024 | 2297.6164 | CRM73 | 2057.0856 | 1.0001 | 2298.3154
2008-01-15 | 1115 | 39a | 839.13 | 28.9002 | 34.4659 | 1.0244 | 2368.2424 | CRM73 | 2057.0856 | 1.0001 | 2368.9629
2008-01-15 | 1232 | 52 | 775.61 | 28.9002 | 33.7737 | 1.0238 | 2190.1009 | CRM73 | 2057.0856 | 1.0001 | 2190.7672
2008-01-16 | 811 | ss14 | 720.73 | 28.9002 | 32 | 1.0225 | 2037.8255 | ss14
2008-01-16 | 836 | 44 | 827.72 | 28.9002 | 34.1907 | 1.0241 | 2336.5191 | ss14 | 2037.8255 | 0.99944 | 2335.6727
2008-01-16 | 915 | 51 | 781.3 | 28.9002 | 33.8643 | 1.0239 | 2206.019 | ss14 | 2037.8255 | 0.99944 | 2205.2199
2008-01-16 | 935 | 38 | 845.75 | 28.9002 | 34.4862 | 1.0244 | 2386.8897 | ss14 | 2037.8255 | 0.99944 | 2386.0251
2008-01-16 | 1005 | 390 | 720.81 | 28.9002 | 32.5839 | 1.0229 | 2037.1656 | ss14 | 2037.8255 | 0.99944 | 2036.4277
2008-01-16 | 1035 | 389 | 721.17 | 28.9002 | 32.592 | 1.0229 | 2038.1707 | ss14 | 2037.8255 | 0.99944 | 2037.4323
2008-01-16 | 1058 | 129 | 835.73 | 28.9002 | 34.6525 | 1.0245 | 2358.3191 | ss14 | 2037.8255 | 0.99944 | 2357.4648
2008-01-16 | 1137 | 61 | 670.72 | 28.9002 | 31.526 | 1.0221 | 1897.0947 | ss14 | 2037.8255 | 0.99944 | 1896.4074
2008-01-16 | 1159 | 60 | 671.48 | 28.9002 | 31.5984 | 1.0222 | 1899.1418 | ss14 | 2037.8255 | 0.99944 | 1898.4539
2008-01-16 | 1220 | 57 | 695.91 | 28.9002 | 32.1194 | 1.0226 | 1967.4733 | ss14 | 2037.8255 | 0.99944 | 1966.7606
2008-01-16 | 1238 | 56 | 713.07 | 28.9002 | 32.4268 | 1.0228 | 2015.5265 | ss14 | 2037.8255 | 0.99944 | 2014.7963
2008-01-18 | 830 | ss14 | 720.48 | 28.9002 | 32 | 1.0225 | 2037.1187 | ss14
2008-01-18 | 916 | 133 | 842.78 | 28.9002 | 34.5822 | 1.0244 | 2378.3377 | ss14 | 2037.1188 | 0.99978 | 2378.301
2008-01-18 | 940 | 132b | 841.16 | 28.9002 | 34.6314 | 1.0245 | 2373.6792 | ss14 | 2037.1188 | 0.99978 | 2373.6426
2008-01-18 | 1002 | 132a | 840.83 | 28.9002 | 34.6314 | 1.0245 | 2372.748 | ss14 | 2037.1188 | 0.99978 | 2372.7114
2008-01-18 | 1022 | 131 | 840.88 | 28.9002 | 34.6317 | 1.0245 | 2372.8885 | ss14 | 2037.1188 | 0.99978 | 2372.8519
2008-01-18 | 1051 | 138 | 827.41 | 28.9002 | 34.1467 | 1.0241 | 2335.7206 | ss14 | 2037.1188 | 0.99978 | 2335.6845
2008-01-18 | 1110 | 137 | 835.73 | 28.9002 | 34.2557 | 1.0242 | 2359.0159 | ss14 | 2037.1188 | 0.99978 | 2358.9795
2008-01-18 | 1155 | 130 | 836.28 | 28.9002 | 34.6501 | 1.0245 | 2359.8753 | ss14 | 2037.1188 | 0.99978 | 2359.8389
2008-01-18 | 1236 | 136 | 839.06 | 28.9002 | 34.3603 | 1.0243 | 2368.231 | ss14 | 2037.1188 | 0.99978 | 2368.1944
2008-01-18 | 1259 | 135 | 845.49 | 28.9002 | 34.4403 | 1.0243 | 2386.2374 | ss14 | 2037.1188 | 0.99978 | 2386.2006
2008-01-18 | 1310 | 134 | 847.5 | 28.9002 | 34.5049 | 1.0244 | 2391.7952 | ss14 | 2037.1188 | 0.99978 | 2391.7583
2008-01-21 | 807 | ss14 | 720.04 | 28.9002 | 32 | 1.0225 | 2035.8746 | ss14
2008-01-21 | 842 | 504a | 832.88 | 28.9002 | 34.661 | 1.0245 | 2350.2619 | ss14 | 2035.8746 | 1.0004 | 2351.6619
2008-01-21 | 857 | 503b | 833.15 | 28.9002 | 34.6613 | 1.0245 | 2351.0233 | ss14 | 2035.8746 | 1.0004 | 2352.4238
2008-01-21 | 915 | 503a | 832.99 | 28.9002 | 34.6613 | 1.0245 | 2350.5718 | ss14 | 2035.8746 | 1.0004 | 2351.972
2008-01-21 | 934 | 502a | 832.33 | 28.9002 | 34.6613 | 1.0245 | 2348.7094 | ss14 | 2035.8746 | 1.0004 | 2350.1085
2008-01-21 | 949 | 239 | 824.54 | 28.9002 | 34.162 | 1.0241 | 2327.5923 | ss14 | 2035.8746 | 1.0004 | 2328.9788
2008-01-21 | 1007 | 248 | 719.48 | 28.9002 | 32.5465 | 1.0229 | 2033.4633 | ss14 | 2035.8746 | 1.0004 | 2034.6746
2008-01-21 | 1116 | 252 | 714.21 | 28.9002 | 32.4828 | 1.0228 | 2018.6646 | ss14 | 2035.8746 | 1.0004 | 2019.867
2008-01-21 | 1136 | 238 | 832.73 | 28.9002 | 34.2893 | 1.0242 | 2350.489 | ss14 | 2035.8746 | 1.0004 | 2351.8892
2008-01-21 | 1209 | 249 | 718.74 | 28.9002 | 32.5387 | 1.0229 | 2031.3836 | ss14 | 2035.8746 | 1.0004 | 2032.5937
2008-01-21 | 1230 | 246 | 734.21 | 28.9002 | 33.4494 | 1.0236 | 2073.6998 | ss14 | 2035.8746 | 1.0004 | 2074.935
2008-01-21 | 1236 | 381 | 795.21 | 28.9002 | 33.8162 | 1.0239 | 2245.3747 | ss14 | 2035.8746 | 1.0004 | 2246.7122
2008-01-21 | 1316 | 244 | 774.35 | 28.9002 | 33.7962 | 1.0238 | 2186.5065 | ss14 | 2035.8746 | 1.0004 | 2187.809
2008-01-21 | 1337 | 245 | 766.28 | 28.9002 | 33.7448 | 1.0238 | 2163.8022 | ss14 | 2035.8746 | 1.0004 | 2165.0911
2008-01-21 | 1349 | 236 | 847.46 | 28.9002 | 34.4501 | 1.0243 | 2391.7799 | ss14 | 2035.8746 | 1.0004 | 2393.2047
2008-01-21 | 1359 | 237 | 844.26 | 28.9002 | 34.37 | 1.0243 | 2382.8907 | ss14 | 2035.8746 | 1.0004 | 2384.3102
2008-01-21 | 1420 | 235 | 849.47 | 28.9002 | 34.5098 | 1.0244 | 2397.3462 | ss14 | 2035.8746 | 1.0004 | 2398.7743
2008-01-21 | 1433 | 376 | 838.38 | 28.9002 | 34.2998 | 1.0242 | 2366.4183 | ss14 | 2035.8746 | 1.0004 | 2367.828
2008-01-21 | 1456 | 378 | 821.91 | 28.9002 | 34.0323 | 1.024 | 2320.3921 | ss14 | 2035.8746 | 1.0004 | 2321.7744
2008-01-21 | 1557 | 233 | 839.37 | 28.9002 | 34.6308 | 1.0245 | 2368.6289 | ss14 | 2035.8746 | 1.0004 | 2370.0399
2008-01-21 | 1618 | 234 | 843.8 | 28.9002 | 34.5872 | 1.0244 | 2381.2073 | ss14 | 2035.8746 | 1.0004 | 2382.6258
2008-01-23 | 748 | ad | 729.15 | 28.9002 | 34.523 | 1.0244 | 2057.65 | CRM73
2008-01-23 | 810 | 388 | 712.68 | 28.9002 | 32.5991 | 1.0229 | 2014.1656 | CRM73 | 2057.65 | 0.99983 | 2014.2258
2008-01-23 | 835 | 387 | 717.8 | 28.9002 | 32.6523 | 1.023 | 2028.5552 | CRM73 | 2057.65 | 0.99983 | 2028.6158
2008-01-23 | 904 | 386 | 720.23 | 28.9002 | 32.684 | 1.023 | 2035.3745 | CRM73 | 2057.65 | 0.99983 | 2035.4353
2008-01-23 | 931 | 385 | 724.31 | 28.9002 | 33.3918 | 1.0235 | 2045.8261 | CRM73 | 2057.65 | 0.99983 | 2045.8872
2008-01-23 | 1002 | 384 | 733.65 | 28.9002 | 33.7642 | 1.0238 | 2071.6325 | CRM73 | 2057.65 | 0.99983 | 2071.6944
2008-01-23 | 1035 | 383 | 766.18 | 28.9002 | 33.7974 | 1.0238 | 2163.4352 | CRM73 | 2057.65 | 0.99983 | 2163.4998
2008-01-23 | 1104 | 382 | 774.35 | 28.9002 | 33.8091 | 1.0239 | 2186.4854 | CRM73 | 2057.65 | 0.99983 | 2186.5507
2008-01-23 | 1204 | 506b | 832.98 | 28.9002 | 34.6611 | 1.0245 | 2350.5439 | CRM73 | 2057.65 | 0.99983 | 2350.6141
2008-01-23 | 1516 | 506a | 832.95 | 28.9002 | 34.6611 | 1.0245 | 2350.4592 | CRM73 | 2057.65 | 0.99983 | 2350.5294
2008-01-23 | 1534 | 505b | 832.96 | 28.9002 | 34.6613 | 1.0245 | 2350.4872 | CRM73 | 2057.65 | 0.99983 | 2350.5574
2008-01-23 | 1624 | 502b | 832.68 | 28.9002 | 34.6613 | 1.0245 | 2349.697 | CRM73 | 2057.65 | 0.99983 | 2349.7672
2008-01-23 | 1654 | 505a | 833.15 | 28.9002 | 34.6613 | 1.0245 | 2351.0233 | CRM73 | 2057.65 | 0.99983 | 2351.0935
2008-01-23 | 1712 | 504b | 832.96 | 28.9002 | 34.661 | 1.0245 | 2350.4876 | CRM73 | 2057.65 | 0.99983 | 2350.5579
2008-01-23 | 1809 | 375 | 843.12 | 28.9002 | 34.3767 | 1.0243 | 2379.6612 | CRM73 | 2057.65 | 0.99983 | 2379.7323
2008-01-23 | 1829 | 377 | 831.26 | 28.9002 | 34.1986 | 1.0242 | 2346.4982 | CRM73 | 2057.65 | 0.99983 | 2346.5683
2008-01-23 | 1848 | 380 | 806.54 | 28.9002 | 33.8891 | 1.0239 | 2277.2428 | CRM73 | 2057.65 | 0.99983 | 2277.3108
2008-01-23 | 1921 | 243 | 782.39 | 28.9002 | 33.8099 | 1.0239 | 2209.1861 | CRM73 | 2057.65 | 0.99983 | 2209.2521
2008-01-28 | 830 | ss14 | 722.55 | 28.9002 | 32 | 1.0225 | 2037.066 | ss14
2008-01-28 | 1011 | 379 | 811.77 | 28.9002 | 34.0323 | 1.024 | 2291.7652 | ss14 | 2037.066 | 0.99981 | 2291.7892
2008-01-28 | 1056 | 374 | 844.74 | 28.9002 | 34.4497 | 1.0243 | 2384.104 | ss14 | 2037.066 | 0.99981 | 2384.1289

## alk raw data
| Alkalinity |  |  |  | 422.6561 | 0.64245 |  |  | 0.99978
[5 empty] | 1.2677 | 0.25423 |  |  | 0.00058214
| analysis | computer | sample | uncorrected | Enot | RMS | std | std | Calibration | corrected | Comments
| date | time |  | umol/kg |  |  | measured | calibrated | factor | umol/kg
1 | 2007-12-18 | 820 | ad | 2254.08 | 422 | 0.8 |  | 2253.5
2 | 2007-12-18 | 901 | 373 | 2396.6 | 421.5 | 0.6 | 2254.08 | 2253.5 | 0.99974 | 2396.0312
3 | 2007-12-18 | 1003 | 250 | 2182.57 | 422.2 | 0.8 | 2254.08 | 2253.5 | 0.99974 | 2182.052
4 | 2007-12-18 | 1039 | 247 | 2188.6 | 422.4 | 0.4 | 2254.08 | 2253.5 | 0.99974 | 2188.0806
5 | 2007-12-18 | 1109 | 149 | 2184.93 | 422.1 | 0.5 | 2254.08 | 2253.5 | 0.99974 | 2184.4115
6 | 2008-01-08 | 710 | ad | 2254.59 | 422 | 0.4 |  | 2253.5
7 | 2008-01-08 | 745 | 177 | 2418.755 | 422.2 | 0.2 | 2254.59 | 2253.5 | 0.99952 | 2417.634
8 | 2008-01-08 | 811 | 144 | 2266.71 | 423.1 | 0.8 | 2254.59 | 2253.5 | 0.99952 | 2265.6595
9 | 2008-01-09 | 655 | ad | 2255.05 | 422.9 | 1 |  | 2253.5
10 | 2008-01-09 | 720 | 251 | 2170.23 | 421.2 | 0.7 | 2255.05 | 2253.5 | 0.99931 | 2168.7817
11 | 2008-01-09 | 759 | 242 | 2274.86 | 422.2 | 0.9 | 2255.05 | 2253.5 | 0.99931 | 2273.3418
12 | 2008-01-09 | 833 | 150 | 2178.06 | 423.6 | 0.7 | 2255.05 | 2253.5 | 0.99931 | 2176.6065
13 | 2008-01-09 | 859 | 148 | 2179.45 | 423.8 | 1 | 2255.05 | 2253.5 | 0.99931 | 2177.9955
14 | 2008-01-09 | 923 | 147 | 2189.92 | 424.1 | 1.1 | 2255.05 | 2253.5 | 0.99931 | 2188.4585
15 | 2008-01-09 | 957 | 146 | 2193.33 | 423.6 | 1.1 | 2255.05 | 2253.5 | 0.99931 | 2191.8663
16 | 2008-01-09 | 1043 | 145 | 2223.73 | 423.8 | 0.9 | 2255.05 | 2253.5 | 0.99931 | 2222.246
17 | 2008-01-09 | 1103 | 143 | 2259.49 | 423.4 | 0.7 | 2255.05 | 2253.5 | 0.99931 | 2257.9821
18 | 2008-01-09 | 1138 | 142 | 2261.23 | 423.7 | 0.7 | 2255.05 | 2253.5 | 0.99931 | 2259.7209
19 | 2008-01-10 | 530 | ad | 2255.61 | 423.5 | 0.9 |  | 2253.5
20 | 2008-01-10 | 555 | 370.2 | 2428.73 | 424.2 | 0.3 | 2255.61 | 2253.5 | 0.99906 | 2426.5066
21 | 2008-01-10 | 630 | 367 | 2436.13 | 424 | 0.8 | 2255.61 | 2253.5 | 0.99906 | 2433.8998
22 | 2008-01-10 | 701 | 190 | 2254.77 | 423.4 | 0.5 | 2255.61 | 2253.5 | 0.99906 | 2252.7058
23 | 2008-01-10 | 745 | 151 | 2181.09 | 423.5 | 0.9 | 2255.61 | 2253.5 | 0.99906 | 2179.0933
24 | 2008-01-10 | 836 | 189 | 2263.94 | 423.6 | 0.5 | 2255.61 | 2253.5 | 0.99906 | 2261.8674
25 | 2008-01-10 | 922 | 191 | 2255.33 | 423.7 | 0.5 | 2255.61 | 2253.5 | 0.99906 | 2253.2653
26 | 2008-01-10 | 958 | 193 | 2211.23 | 423.5 | 0.8 | 2255.61 | 2253.5 | 0.99906 | 2209.2057
27 | 2008-01-10 | 1041 | 370.1 | 2427.32 | 424.3 | 0.1 | 2255.61 | 2253.5 | 0.99906 | 2425.0979
28 | 2008-01-14 | 622 | ad | 2253.86 | 423 | 0.5
29 | 2008-01-14 | 701 | 231.1 | 2424.467 | 423.1 | 0.6 | 2253.86 | 2253.5 | 0.99984 | 2424.1282
30 | 2008-01-14 | 729 | 180 | 2418.95 | 423.1 | 0.5 | 2253.86 | 2253.5 | 0.99984 | 2418.612
31 | 2008-01-14 | 811 | 55 | 2170.69 | 421.7 | 0.8 | 2253.86 | 2253.5 | 0.99984 | 2170.3867
32 | 2008-01-14 | 906 | 231.2 | 2422.92 | 423.7 | 0.7 | 2253.86 | 2253.5 | 0.99984 | 2422.5814
33 | 2008-01-14 | 938 | 194 | 2185.27 | 423.4 | 0.9 | 2253.86 | 2253.5 | 0.99984 | 2184.9647
34 | 2008-01-15 | 630 | ad | 2256.79 | 421.3 | 0.6 | 2256.79 | 2253.5 | 0.99854
35 | 2008-01-15 | 706 | 372 | 2402.38 | 421.7 | 1.2 |  | 2253.5 | 0.99858 | 2399.0214
36 | 2008-01-15 | 735 | 241 | 2286.49 | 422.6 | 0.7 |  | 2253.5 | 0.99862 | 2283.3845
37 | 2008-01-15 | 752 | ad | 2256.52 | 422.7 | 0.5 | 2256.52 | 2253.5 | 0.99866
38 | 2008-01-15 | 812 | 50 | 2253.59 | 422.4 | 0.6 | 2256.52 | 2253.5 | 0.99866 | 2250.6189
39 | 2008-01-15 | 849 | 43 | 2359.1 | 422.6 | 0.7 | 2256.52 | 2253.5 | 0.99866 | 2355.9898
40 | 2008-01-15 | 913 | 42 | 2365.51 | 421.4 | 0.2 | 2256.52 | 2253.5 | 0.99866 | 2362.3914
41 | 2008-01-16 | 735 | ad | 2257.11 | 421.2 | 0.8 |  | 2253.5
42 | 2008-01-16 | 801 | 198 | 2175.85 | 422.9 | 0.5 | 2255.11 | 2253.5 | 0.99929 | 2174.3401
43 | 2008-01-16 | 831 | 196 | 2179.9 | 424 | 1 | 2255.11 | 2253.5 | 0.99929 | 2178.3873
44 | 2008-01-16 | 906 | 192 | 2231.71 | 423.9 | 0.8 | 2255.11 | 2253.5 | 0.99929 | 2230.1613
45 | 2008-01-16 | 925 | 197 | 2177.86 | 422.6 | 0.3 | 2255.11 | 2253.5 | 0.99929 | 2176.3487
46 | 2008-01-16 | 1008 | 49 | 2272.75 | 421.8 | 0.5 | 2255.11 | 2253.5 | 0.99929 | 2271.1728
47 | 2008-01-16 | 1029 | 47 | 2298.45 | 422.7 | 0.8 | 2255.11 | 2253.5 | 0.99929 | 2296.855
48 | 2008-01-16 | 1103 | 39.2 | 2383.12 | 422.9 | 0.5 | 2255.11 | 2253.5 | 0.99929 | 2381.4662
49 | 2008-01-17 | 628 | ad | 2253.75 | 420.1 | 0.1 |  | 2253.5
50 | 2008-01-17 | 659 | 232 | 2414.63 | 421.7 | 0.9 | 2253.75 | 2253.5 | 0.99989 | 2414.4104
51 | 2008-01-17 | 736 | 230 | 2424.08 | 422.2 | 0.4 | 2253.75 | 2253.5 | 0.99989 | 2423.8596
52 | 2008-01-17 | 810 | 56 | 2198.388 | 423.7 | 0.6 | 2253.75 | 2253.5 | 0.99989 | 2198.1881
53 | 2008-01-17 | 845 | 54 | [7 empty] | lost due to DIC problems
54 | 2008-01-17 | 915 | 53 | 2231.97 | 423 | 0.8 | 2253.75 | 2253.5 | 0.99989 | 2231.7671
55 | 2008-01-17 | 1029 | 229 | 2419.32 | 422.2 | 0.4 | 2253.75 | 2253.5 | 0.99989 | 2419.1
56 | 2008-01-17 | 1120 | 51 | 2256.46 | 423.1 | 0.9 | 2253.75 | 2253.5 | 0.99989 | 2256.2548
57 | 2008-01-21 | 644 | ad | 2251.76 | 422.4 | 0.8 |  | 2253.5
58 | 2008-01-21 | 712 | 504a | 2419.22 | 424 | 0.3 | 2251.76 | 2253.5 | 1.0008 | 2421.1378
59 | 2008-01-21 | 811 | 502b | 2419.52 | 423.5 | 0.2 | 2251.76 | 2253.5 | 1.0008 | 2421.4381
60 | 2008-01-21 | 914 | 181 | 2400.39 | 423.7 | 0.7 | 2251.76 | 2253.5 | 1.0008 | 2402.2929
61 | 2008-01-21 | 955 | 179.2 | 2416.63 | 423.6 | 0.3 | 2251.76 | 2253.5 | 1.0008 | 2418.5458
62 | 2008-01-21 | 1032 | 178 | 2424.06 | 423.2 | 0.2 | 2251.76 | 2253.5 | 1.0008 | 2425.9817
63 | 2008-01-21 | 1056 | 176 | 2420.61 | 422.2 | 0 | 2251.76 | 2253.5 | 1.0008 | 2422.5289
64 | 2008-01-21 | 1120 | 175 | 2442.28 | 423.4 | 0.3 | 2251.76 | 2253.5 | 1.0008 | 2444.2161
65 | 2008-01-21 | 1149 | 182 | 2389.48 | 423.3 | 0.2 | 2251.76 | 2253.5 | 1.0008 | 2391.3742
66 | 2008-01-21 | 1210 | 183 | 2373.39 | 423.7 | 0.6 | 2251.76 | 2253.5 | 1.0008 | 2375.2715
67 | 2008-01-21 | 1245 | 185 | 2354.53 | 423.6 | 0.8 | 2251.76 | 2253.5 | 1.0008 | 2356.3965
68 | 2008-01-21 | 1315 | 184 | 2351.86 | 423.7 | 0.6 | 2251.76 | 2253.5 | 1.0008 | 2353.7244
69 | 2008-01-21 | 1359 | 134 | 2405.62 | 419 | 0.6 | 2251.76 | 2253.5 | 1.0008 | 2407.527
70 | 2008-01-21 | 1419 | 129 | 2424.29 | 423 | 0.4 | 2251.76 | 2253.5 | 1.0008 | 2426.2118
71 | 2008-01-21 | 1447 | 52 | 2240.87 | 423.4 | 0.6 | 2251.76 | 2253.5 | 1.0008 | 2242.6464
72 | 2008-01-22 | 643 | ad | 2253.12 | 422.5 | 1.2 |  | 2253.5
73 | 2008-01-22 | 724 | 133 | 2411.41 | 423.1 | 0.6 | 2253.12 | 2253.5 | 1.0002 | 2411.8649
74 | 2008-01-22 | 758 | 239 | 2328.29 | 422.1 | 0.8 | 2253.12 | 2253.5 | 1.0002 | 2328.7293
75 | 2008-01-22 | 820 | 39.1 | 2381.98 | 422.7 | 0.2 | 2253.12 | 2253.5 | 1.0002 | 2382.4294
76 | 2008-01-22 | 855 | 246 | 2238.72 | 422.4 | 0.7 | 2253.12 | 2253.5 | 1.0002 | 2239.1424
77 | 2008-01-22 | 918 | 371 | 2430.42 | 422.3 | 1 | 2253.12 | 2253.5 | 1.0002 | 2430.8785
78 | 2008-01-22 | 954 | 248 | 2196.21 | 422.9 | 0.7 | 2253.12 | 2253.5 | 1.0002 | 2196.6243
79 | 2008-01-22 | 1023 | 238 | 2357.99 | 422.5 | 0.4 | 2253.12 | 2253.5 | 1.0002 | 2358.4349
80 | 2008-01-22 | 1054 | 240 | 2305.61 | 423.1 | 1 | 2253.12 | 2253.5 | 1.0002 | 2306.045
81 | 2008-01-22 | 1120 | 243 | 2266.68 | 423.9 | 0.9 | 2253.12 | 2253.5 | 1.0002 | 2267.1076
82 | 2008-01-22 | 1149 | 252 | 2181.61 | 423.2 | 0.9 | 2253.12 | 2253.5 | 1.0002 | 2182.0216
83 | 2008-01-22 | 1212 | 244 | 2264.09 | 423.8 | 0.7 | 2253.12 | 2253.5 | 1.0002 | 2264.5171
84 | 2008-01-22 | 1249 | 245 | 2252.8 | 423 | 0.4 | 2253.12 | 2253.5 | 1.0002 | 2253.225
85 | 2008-01-22 | 1306 | 237 | 2371.2 | 423.5 | 0.3 | 2253.12 | 2253.5 | 1.0002 | 2371.6473
86 | 2008-01-22 | 1339 | 235 | 2406.43 | 423.7 | 0.6 | 2253.12 | 2253.5 | 1.0002 | 2406.884
87 | 2008-01-22 | 1355 | 188 | 2285.11 | 423.7 | 0.6 | 2253.12 | 2253.5 | 1.0002 | 2285.5411
88 | 2008-01-22 | 1421 | 187 | 2278.08 | 423.8 | 0.5 | 2253.12 | 2253.5 | 1.0002 | 2278.5098
89 | 2008-01-22 | 1446 | 179.1 | 2418.59 | 424.1 | 0.6 | 2253.12 | 2253.5 | 1.0002 | 2419.0463
90 | 2008-01-22 | 1506 | 140 | 2273.31 | 422 | 0.4 | 2253.12 | 2253.5 | 1.0002 | 2273.7389
91 | 2008-01-22 | 1539 | 60 | 2141.12 | 419.4 | 0.7 | 2253.12 | 2253.5 | 1.0002 | 2141.5239
92 | 2008-01-22 | 1611 | 390 | 2194.32 | 424.1 | 0.7 | 2253.12 | 2253.5 | 1.0002 | 2194.734
93 | 2008-01-22 |  | 503a | 2419.37 | 423.7 | 0.4 | 2253.12 | 2253.5 | 1.0002 | 2419.8264 | Last sample of the day
94 | 2008-01-27 | 639 | ad | 2252.98 | 422.1 | 0.6 |  | 2253.5
95 | 2008-01-27 | 705 | 388 | 2188.12 | 424 | 0.8 | 2252.98 | 2253.5 | 1.0002 | 2188.6688
96 | 2008-01-27 | 739 | 385 | 2197.25 | 423.9 | 0.5 | 2252.98 | 2253.5 | 1.0002 | 2197.8011
97 | 2008-01-27 | 811 | 383 | 2224.32 | 424.5 | 0.7 | 2252.98 | 2253.5 | 1.0002 | 2224.8779
98 | 2008-01-27 | 849 | 382 | 2249.33 | 424.2 | 0.9 | 2252.98 | 2253.5 | 1.0002 | 2249.8942
99 | 2008-01-27 | 922 | 389 | 2191.25 | 424.2 | 0.7 | 2252.98 | 2253.5 | 1.0002 | 2191.7996
100 | 2008-01-27 | 1002 | 387 | 2189.25 | 423.8 | 0.2 | 2252.98 | 2253.5 | 1.0002 | 2189.7991
101 | 2008-01-27 | 1045 | 384 | 2208.21 | 424.1 | 0.6 | 2252.98 | 2253.5 | 1.0002 | 2208.7638
102 | 2008-01-27 | 1109 | 368 | 2425.32 | 424.2 | 0.7 | 2252.98 | 2253.5 | 1.0002 | 2425.9283
103 | 2008-01-28 | 642 | ad | 2253.43 | 419.3 | 0.8 |  | 2253.5
104 | 2008-01-28 | 705 | 381 | 2268.14 | 418.1 | 0.7 | 2253.43 | 2253.5 | 1 | 2268.2558
105 | 2008-01-28 | 736 | 132.1 | 2418.41 | 418.1 | 0.6 | 2253.43 | 2253.5 | 1 | 2418.5335
106 | 2008-01-28 | 745 | 376 | 2350.65 | 421.2 | 0.7 | 2253.43 | 2253.5 | 1 | 2350.77
107 | 2008-01-28 | 811 | 249 | 2191.47 | 419.5 | 0.7 | 2253.43 | 2253.5 | 1 | 2191.5819
108 | 2008-01-28 | 846 | 186 | 2292.4 | 421.8 | 0.7 | 2253.43 | 2253.5 | 1 | 2292.5171
109 | 2008-01-28 | 912 | 379 | 2288.14 | 421.2 | 0.4 | 2253.43 | 2253.5 | 1 | 2288.2568
110 | 2008-01-28 | 946 | 374 | 2392.93 | 422.1 | 1.2 | 2253.43 | 2253.5 | 1 | 2393.0522
111 | 2008-01-28 | 1011 | 380 | 2280.41 | 421.7 | 0.4 | 2253.43 | 2253.5 | 1 | 2280.5264
112 | 2008-01-28 | 1035 | 504b | 2420.13 | 421.8 | 0.2 | 2253.43 | 2253.5 | 1 | 2420.2536
113 | 2008-01-28 | 1046 | 377 | 2338.33 | 421.9 | 0.7 | 2253.43 | 2253.5 | 1 | 2338.4494
114 | 2008-01-28 | 1054 | 506b | 2420.97 | 423 | 1.1 | 2253.43 | 2253.5 | 1 | 2421.0936
115 | 2008-01-28 | 1122 | 378 | 2305.06 | 421.7 | 0.7 | 2253.43 | 2253.5 | 1 | 2305.1777
116 | 2008-01-28 | 1158 | 375 | 2367.04 | 422.2 | 1.1 | 2253.43 | 2253.5 | 1 | 2367.1609
117 | 2008-01-28 | 1226 | 233 | 2416.97 | 421.7 | 0.8 | 2253.43 | 2253.5 | 1 | 2417.0934
118 | 2008-01-28 | 1248 | 137 | 2344.72 | 423.5 | 0.8 | 2253.43 | 2253.5 | 1 | 2344.8397
119 | 2008-01-28 | 1310 | 136 | 2372.89 | 419.4 | 0.7 | 2253.43 | 2253.5 | 1 | 2373.0112
120 | 2008-01-28 | 1346 | 135 | 2380.73 | 422.4 | 0.9 | 2253.43 | 2253.5 | 1 | 2380.8516
121 | 2008-01-28 | 1415 | 132.2 | 2418.11 | 422.8 | 0.6 | 2253.43 | 2253.5 | 1 | 2418.2335
122 | 2008-01-28 | 1442 | 61 | 2143.68 | 423.3 | 0.6 | 2253.43 | 2253.5 | 1 | 2143.7895
123 | 2008-01-29 | 658 | ad | 2255.29 | 419.7 | 0.8 |  | 2253.5
124 | 2008-01-29 | 722 | 234 | 2404.95 | 420 | 0.3 | 2255.29 | 2253.5 | 0.99921 | 2403.0893
125 | 2008-01-29 | 754 | 503b | 2420.05 | 422 | 0.4 | 2255.29 | 2253.5 | 0.99921 | 2418.1776
126 | 2008-01-29 | 819 | 502a | 2422.27 | 421.4 | 0.5 | 2255.29 | 2253.5 | 0.99921 | 2420.3959
127 | 2008-01-29 | 848 | 506a | 2421.92 | 422.1 | 0.3 | 2255.29 | 2253.5 | 0.99921 | 2420.0461
128 | 2008-01-29 | 912 | 505b | 2421.26 | 422.2 | 0.7 | 2255.29 | 2253.5 | 0.99921 | 2419.3867
129 | 2008-01-29 | 945 | 505a | 2420.74 | 422.8 | 1 | 2255.29 | 2253.5 | 0.99921 | 2418.8671
130 | 2008-01-29 | 1023 | 236 | 2390.39 | 423.1 | 1.2 | 2255.29 | 2253.5 | 0.99921 | 2388.5405
131 | 2008-01-29 | 1054 | 131 | 2422.27 | 421.5 | 0.5 | 2255.29 | 2253.5 | 0.99921 | 2420.3959
132 | 2008-01-29 | 1119 | 130 | 2424.98 | 422.3 | 0.6 | 2255.29 | 2253.5 | 0.99921 | 2423.1038
133 | 2008-01-29 | 1148 | 138 | 2324.06 | 423.2 | 0.9 | 2255.29 | 2253.5 | 0.99921 | 2322.2619
134 | 2008-01-29 | 1210 | 48 | 2284.01 | 422.9 | 0.6 | 2255.29 | 2253.5 | 0.99921 | 2282.2428
135 | 2008-01-29 | 1248 | 44 | 2325.56 | 422.8 | 0.8 | 2255.29 | 2253.5 | 0.99921 | 2323.7607
136 | 2008-01-29 | 1311 | 38 | 2396.46 | 422.2 | 0.7 | 2255.29 | 2253.5 | 0.99921 | 2394.6058
137 | 2008-01-29 | 1348 | 139 | 2294.22 | 423.4 | 0.7 | 2255.29 | 2253.5 | 0.99921 | 2292.4449
138 | 2008-01-29 | 1421 | 369 | 2421.9 | 423.4 | 0.9 | 2255.29 | 2253.5 | 0.99921 | 2420.0262
139 | 2008-01-29 | 1448 | 386 | 2195.62 | 424 | 0.3 | 2255.29 | 2253.5 | 0.99921 | 2193.9212
140 | 2008-01-29 | 1511 | 195 | 2184.45 | 423.1 | 0.7 | 2255.29 | 2253.5 | 0.99921 | 2182.7599