## Final Data 2007-13
Iron III Data for Cruise 2007-13 & select LaPerouse stations from 2007-12 | [21 empty] | For Graphing:
Cruise: | [6 empty] | 2007-13
Ship | [6 empty] | CCGS John P Tully
Dates | [6 empty] | May 29 - June 19, 2007
Chief Scientist | [6 empty] | Marie Robert
Iron Analyst | [6 empty] | Nes Sutherland, collection by Students from Univ of Laval
For Methods and Explanation of Abbreviations please see Metadata Sheet
Please note that there appeared to be a problem with contamination in numerous samples - likely due to inexperience in sampling for ultra-trace metals,
compounded with possible filter or bottle contamination. The bottle had been tested in Saanich Inlet, which would create massive contamination.
Without the iron system on board, it is not possible to quickly pinpoint problem areas, much of this data set is in the unreliable category (flag3)
As well, the rest of the data might also be suspect, as generally near surface waters typically have much less dissolved iron, particularly P16 and beyond to P26
Flags & Abbreviations
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement, overrange)
6 | Mean of replicate measurements from one XNiskin (XN) or Goflo (GF)... Replicates are found in "WorkSumFe" sheet, and summary of replicate data in the "Metadata" sheet
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet; only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
Some Collection Information is missing
Analysed September 2007, while onboard SWL Cruise 2007-03
[9 empty] | XN= eXternal Niskin |  | Sample_Number | Depth | Iron:Filtered:StrongAcid Microwaved | Flag FA mw | Iron:Unfiltered:Strong Acid Microwaved | Flag UFA mw
Date | Time | Cast or | Latitude |  | Longitude |  | Station | Event | Smp | Sampler | Smp | Depth | FAmw | FAmw | UFAmw | UFAmw | Analysis Comments | Sal | NO3 | Si | PO4
UTC | UTC | Profile | [5 empty] | # | Type | ID# | # | m | nmol/L | Flag | nmol/L | Flag |  | (PSU) | uM | uM | uM
Cruise 2007-12, LaPerouse
2007-05-26 | 1918 | 8001 | 50 03.08 | N | 127 55.15 | W | LBP 3 | 76 | XN |  | 1 | 10 | 5.3861 |  | 23 | 4 | 4UFA: greater than high std, approx value
2007-05-25 | 1925 | 8002 | 49 11.23 | N | 126 44.27 | W | LG 04 | 57 | XN |  | 2 | 10 | 3.379 |  | 5.821
2007-05-25 | 0556 | 8003 | 48 36.55 | N | 125 53.68 | W | LC06/B6 | 46 | XN |  | 3 | 10 |  | 5 | 10.3367 |  | 5 FA: obvious contam sample or filter
2007-05-27 | 1222 | 8004 | 50 49.28 | N | 129 12.96 | W | CS 04 | 94 | XN |  | 4 | 10 | 5.4339 |  | 15.9027
Cruise 2007-13, Line P
2007-06-01 | 0925 | 8001 | 48 34.5 | N | 125 30. | W | P1 | 4 | XN |  | 1 | 10 | 2.2325 | 3,6 | 16.7042 | 6 | 3: large rep spread, only lowest value reported
2007-06-01 | 1752 | 8002 | 48 39 | N | 126 40. | W | P4 | 10 | XN |  | 2 | 10 | 2.637 | 3,6 | 5.3953 | 6 | 3: large rep spread, only lowest value reported
2007-06-01 | 0634 | 8003 | 48 49. | N | 128 40 | W | P8 | 15 | XN |  | 3 | 10 | 1.7797 | 3,6 | 1.6081 | 3,6 | 3: large rep spread, only lowest value reported
2007-06-01 | 2217 | 8004 | 48 58.2 | N | 130 40. | W | P12 | 23 | XN |  | 4 | 10 | 2.3078 |  | 1.1447 | 3,6 | 3: large rep spread, only lowest value reported
2007-06-01 | 1117 | 8005 | 49 7.4 | N | 132 40 | W | P14 | 28 | XN |  | 5 | 10 | 1.0517 | 3,6 | 1.8454 | 3,6 | 3: large rep spread, only lowest value reported
2007-06-01 | 2125 | 8006 | 49 17. | N | 134 40. | W | P16 | 31 | XN |  | 6 | 10 | 1.1253 | 6 | 1.2535 | 6
2007-06-01 | 1346 | 8007 | 49 26. | N | 136 40. | W | P18 | 37 | XN |  | 7 | 10 | 0.89905 | 6 | 0.81765 | 6
2007-06-01 | 0009 | 8008 | 49 34. | N | 138 40 | W | P20 | 40 | XN |  | 8 | 10 | 1.1019 | 6 | 1.5976 | 3,6 | 3: large rep spread, only lowest value reported
2007-06-01 | 1516 | 8009 | 49 42. | N | 140 40. | W | P22 | 46 | XN |  | 9 | 10 | 0.66441 | 6 | 1.2175 | 6
2007-06-01 | 0219 | 8010 | 49 50.2 | N | 142 40. | W | P24 | 49 | XN |  | 10 | 10 | 0.74971 | 6 | 1.0764 | 6
2007-06-01 | 2147 | 8011 | 50 00. | N | 145 00. | W | P26 | 69 | XN |  | 11 | 10 | 0.79268 | 3,6 | 0.83869 | 3,6 | 3: large rep spread, only lowest value reported

## Metadata
Metadata for Fe III 2007-13 - analysed during 2007 Arctic Cruise
Cruise: |  |  |  | 2007-13
Ship |  |  |  | CCGS John P Tully
Dates |  |  |  | May 29 - June 19, 2007
Chief Scientist |  |  |  | Marie Robert
Iron Analyst |  |  |  | Nes Sutherland, collection by Students from Univ of Laval
The objective of the iron team was to analyse Iron(III) collected at regularly visited/monitored stations along Line P by student SJ Royer of Univ of Laval
Samples could not be analysed onboard, and only acidified long term storage samples could be collected and brought back to IOS for storage
These were analysed while onboard CCGS SWLaurier in late summer/early fall 2007 during a cruise in Arctic waters
Unfortunately there appeared to be a problem with contamination in numerous samples - likely due to inexperience in sampling for ultra-trace metals, compounded with possible filter or bottle contamination.
As well, the bottle had been initially tested in Saanich Inlet, which would create massive contamination.
Without the iron system on board, it is not possible to quickly pinpoint problem areas, much of this data set is in the unreliable category (flag3)
Sample Collection:
Seawater samples for Iron (III) analyses were collected by 12L X-Niskin (XN numbered) on a Kevlar line spooled over a Delrin block
LDPE bottles had been previously acid cleaned to Geotraces standards. Filtration was through 0.22u Duropore Opti cartidge type filters ( 0.22u Duropore) direct from the bottle
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and nomenclature.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach, measured onboard, as well as a strongly acidic leach measured after a storage period of 6 months or longer.
In recent years, IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
The following provides a description of these treatments, their abbreviations and nomenclature:
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours; thought to be immediate bioavailable iron
| Iron:Filtered:Buffered |  | FB | 0.22u filtered, buffered, also called dissolved Fe
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
It is thought that by microwaving the FA or UFA 24 hours after collection, the leaching of particles might be sped up to result in iron conc similar to the long term storage (Nishioka pers com), but this has not been verified by the IOS lab
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - referred to as Total Dissolved fraction
This fraction tends to be similar to FB
|  |  |  | FA mw | Additional microwave procedure
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  |  | UFA mw | Additional microwave procedure
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2009:
In 2009: 24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:Geotrace |  | FG | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see below for 2011 modification. FG also referred to D(Fe), or Dissolved Fe
| Iron:Unfiltered:Geotrace |  | UFG | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - see below for 2011 modification. UFG is also referred to TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations, but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were quite similar, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
For this cruise samples could not be collected for immediate analysis onboard, and thus were only treated as for the FAmw and UFAmw method to determine Fe III levels.
Because storage was to be only 3 months, the samples were microwaved to aid in speedy digestion of particulates.
Sample Analysis:
Acidified samples were shipped to IOS and held in storage until analysis in Sept 2007 onboard the SWL while sampling Arctic waters for Fe
When finally analysed, the method involved using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
To microwave, the acidified samples, in their LDPE bottles, were brought to near boiling and held for 8 minutes at that temperature, then allowed to cool.
For the strongly acidified microwaved samples, the samples were treated prior to actual analysis, by addition of ammonium formate buffer pH3.2
(1.25mL per 250mL smp), H2O2 (25uL of 1% per 250mL smp), and concentrated ammonium hydroxide to reach pH3.2 +/- 0.1.
Duplicate samples were collected for all LineP stations, and were taken from one sample bottle.
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards and Blanks:
The primary standard was a VWR Fe 1007ppm, Lot#A7105052. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected
in previous cruises, and run within 15 minutes of preparation.
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe.
For more on blanks, see separate section below.
QAQC & Reference Standards, Blanks & Comments
Replication Statistics, or Sample Pooled Data Stats:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within a sample bottle, or between duplicate samples taken from one depth.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
All Acidified Samples Analysed this cruise: |  |  |  | Stats are without (w/o) outliers (where outlier has (diff)^2 > 2*sp)
|  | All acidified-within a sample bottle: |  |  |  |  | All Acidified-replicate bottles
|  | FA | UFA | ALL |  |  | FA | UFA | ALL
| Pooled Variance (sp): | 0.050655 | 0.16239 | 0.12632 |  |  | 0.38227 | 0.52208 | 0.47116
| Avg Fe: | 2.1226 | 3.8802 | 3.1113 |  |  | 1.0375 | 3.5505 | 2.5453
| %RSD: | 2.3864 | 4.1851 | 4.06 |  |  | 36.8446 | 14.7043 | 18.5108
| n: | 7 | 9 | 16 |  |  | 6 | 9 | 15
Long term storage samples with strong acid tend to be quite variable, especially between rep bottles, and particularly for unfiltered samples - unequal particulate loading contributes to this
Major sample contamination problems were encountered, contributing to high variability
Daily Reference Standards (DRS)
DRSs are run frequently to check on instrument performance and drift.
2007SWL DRS - Deep sea water from combined remnants of previous buffered, filtered (0.22u) Pacific Ocean samples collected deeper than 150m
|  |  |  | 2007-13 |  | 2007-03
| Avg: |  |  | 0.74244 |  | 0.71931
| Stdev: |  |  | 0.030855 |  | 0.050828
| %RSD: |  |  | 4.1559 |  | 7.0662
| n: |  |  | 5 |  | 21
2007-09-21 09:50 | 180s |  |  | 0.74395
2007-09-21 11:12 | 60s |  |  | 0.77704
2007-09-21 11:27 | 60s |  |  | 0.72129
2007-09-21 20:50 | 60s |  |  | 0.76696
2007-09-21 21:04 | 60s |  |  | 0.70295
Intercalibration Standards
Intercalibration standards were not available, and thus not reported
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 050N 145W, or other HNLC area
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the calibration standards
However, because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank.
In early cruises, low iron seawater was run through the resin column and collected for use as zero water, and was referred to as "rc0" or resin-cleaned zero water.
In talking to other iron researchers about their source for "zero iron" water, IOS changed to using a very short preconcentration time of 0-5sload, as compared to the usual 120s- 300s load for samples.
This very short preconc time allows all reagents and a small quantity of seawater to still affect the column, but keeps iron addition negligible.
On our system, even with a 0s load, there is still a small amount of low iron seawater between the valves, that flushes through the column, keeping the chemistry the same as for samples. Note that the name, rc0 has not changed
Changing to the 0 load time circumvents problems with contamination creeping into rc0 bottles when stored over a period of time.
The zero blank for sample correction is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Following is a list of blanks used in calibration, but calculated with the rc0 to determine actual iron of the BSW used this cruise
Please see discussion of Determining Detection Limit in a section below this one
Following is a summary of the blanks used in calibration for each of the sets of data
2007SWL Low Fe SeaWater, Carboy 1, used for Standard Prep: | [5 empty] | Avg: |  | 0.085289
[6 empty] | Stdev: |  | 0.015681
[6 empty] | n: |  | 16
[6 empty] | D.L.: |  | 0.047044
2007SWL Low Fe SeaWater, Carboy 2, used for Standard Prep: | [5 empty] | Avg: |  | 0.046158
[6 empty] | Stdev: |  | 0.019688
[6 empty] | n: |  | 6
[6 empty] | D.L.: |  | 0.059064
Determining Detection Limit (D.L.):
The detection limit can be determined as 3 x Stdev of the Average Blank FeIII concentration, depending on whether the stock batches used are the same, and have low iron content(<0.1nM).
For the blanks of this cruise, given above, the DL was ~0.05-0.06 nM.
There were no low iron samples for this data set, but for the entire set, encompassing cruises 2006-15, 2007-0, 2007-03 and 2007-28 there were several very low seawater samples, the DL can also be determined using 3* SP for all samples <0.2nM:
2007SWL-total data set
| Avg: | 0.15515
| n: | 16
| sp: | 0.0056487
| DL: | 0.016946
The lowest iron concentration found was 0.6 nM
D.L ~ 0.02-0.06

## Line P Profile
Actually >23nmol

## Summary
SJ Royer Line P Fe - 2007-13
Stats For Replication Within One Individual Bottle:
| FAmw~TD Fe | [6 empty] | UFAmw~T Fe | [7 empty] | FAmw | UFAmw | FAmw&UFAmw
| Rep A | diff^2 | Rep B | diff^2 | AvgRepBtl | abs(diff) | diff^2 | Rep A | diff^2 | Rep B | diff^2 | AvgRepBtl | abs(diff) | diff^2 | ALLw/o outliers
[7 empty] | w/o outlier (where outlier has diff^2 > 2*sp) | [6 empty] | w/o outlier (where outlier has diff^2 > 2*sp)
Pooled Variance (sp): |  |  |  |  | 1.2761 |  | 0.38227 |  |  |  |  | 2.3858 |  | 0.52208 | 0.47116 | 0.050655 | 0.16239 | 0.12632
Average Fe: |  |  |  |  | 1.8954 |  | 1.0375 |  |  |  |  | 3.8647 |  | 3.5505 | 2.5453 | 2.1226 | 3.8802 | 3.1113
Sum d^2: |  |  |  |  | 29.3102 |  | 1.7535 |  |  |  |  | 113.8385 |  | 4.9063 | 6.6598 | 0.035923 | 0.47467 | 0.51059
Rsp% |  |  |  |  | 67.3259 |  | 36.8446 |  |  |  |  | 61.733 |  | 14.7043 | 18.5108 | 2.3864 | 4.1851 | 4.06
n: |  |  |  |  | 9 |  | 6 |  |  |  |  | 10 |  | 9 | 15 | 7 | 9 | 16
P26 | 0.79268 |  | >2.8 |  | 0.79268 |  |  | 0.83869 |  | 1.8734 | 0.0020697 | 1.3561 | 1.0347 | 1.0707
P24 | 0.79134 |  | 0.70808 |  | 0.74971 | 0.083254 | 0.0069312 | 1.2099 | 0.00085129 | 0.94292 |  | 1.0764 | 0.26696 | 0.071269
P22 | 0.64113 |  | 0.68769 |  | 0.66441 | 0.04656 | 0.0021678 | 1.1035 |  | 1.3316 |  | 1.2175 | 0.22807 | 0.052016
P20 | 0.91439 | 1.9292e-05 | 1.2894 |  | 1.1019 | 0.37501 | 0.14063 | 8.2922 |  | 1.5976 |  | 4.9449 | 6.6946 | 44.8183
P18 | 0.90289 |  | 0.8952 |  | 0.89905 | 0.0076909 | 5.9149e-05 | 0.81454 |  | 0.82077 |  | 0.81765 | 0.0062325 | 3.8844e-05
P16 | 1.1363 |  | 1.1142 |  | 1.1253 | 0.022048 | 0.00048609 | 1.206 | 0.00053985 | 1.3009 |  | 1.2535 | 0.0949 | 0.0090059
P14 | 1.0517 | 0.0035 | 2.3179 | 0.0011068 | 1.6848 | 1.2662 | 1.6033 | 1.8454 | 0.11684 | 2.5394 |  | 2.1924 | 0.69396 | 0.48158
P12 | 2.3078 |  | N/A |  | 2.3078 |  |  | 1.1447 |  | 2.7388 |  | 1.9417 | 1.5941 | 2.5411
P08 | 1.7797 | 0.0017377 | 6.2452 |  | 4.0125 | 4.4654 | 19.9401 | 1.6081 | 0.008268 | 9.6152 |  | 5.6116 | 8.0071 | 64.1139
P04 | 4.6203 | 7.9377e-05 | 2.637 |  | 3.6287 | 1.9833 | 3.9337 | 5.1422 | 0.2794 | 5.6485 | 0.03601 | 5.3953 | 0.50639 | 0.25643
P01 | 4.1516 | 0.0065606 | 2.2325 |  | 3.192 | 1.9191 | 3.6829 | 16.3786 | 0.020916 | 17.0299 |  | 16.7042 | 0.65125 | 0.42413
Outliers Removed, most probable results:
P26 | 0.79268 |  |  |  | 0.79268 |  |  | 0.83869 |  |  |  | 0.83869
P24 | 0.79134 |  | 0.70808 |  | 0.74971 |  |  | 1.2099 |  | 0.94292 |  | 1.0764
P22 | 0.64113 |  | 0.68769 |  | 0.66441 |  |  | 1.1035 |  | 1.3316 |  | 1.2175
P20 | 0.91439 |  | 1.2894 |  | 1.1019 |  |  |  |  | 1.5976 |  | 1.5976
P18 | 0.90289 |  | 0.8952 |  | 0.89905 |  |  | 0.81454 |  | 0.82077 |  | 0.81765
P16 | 1.1363 |  | 1.1142 |  | 1.1253 |  |  | 1.206 |  | 1.3009 |  | 1.2535
P14 | 1.0517 |  |  |  | 1.0517 |  |  | 1.8454 |  |  |  | 1.8454
P12 | 2.3078 |  | N/A |  | 2.3078 |  |  | 1.1447 |  |  |  | 1.1447
P08 | 1.7797 |  |  |  | 1.7797 |  |  | 1.6081 |  |  |  | 1.6081
P04 |  |  | 2.637 |  | 2.637 |  |  | 5.1422 |  | 5.6485 |  | 5.3953
P01 |  |  | 2.2325 |  | 2.2325 |  |  | 16.3786 |  | 17.0299 |  | 16.7042
SJ Royer La Perouse Fe - 2007-12
LBP 3 | 5.3861 |  |  |  | 5.3861 |  |  | >23 |  |  |  | 23
LG 04 | 3.379 | 0.022919 |  |  | 3.379 |  |  | 5.821 | 0.0097767 |  |  | 5.821
LC06/B6 | 18.4376 | [6 empty] | 10.3367 |  |  |  | 10.3367
CS 04 | 5.4339 |  |  |  | 5.4339 |  |  | 15.9027 |  |  |  | 15.9027