## Profile
July 2008 - Marie noted incorrect sample numbers
Sample 365 should be 364 and sample 364 should be 362.
Cruise 2007-13 nutrient data
Samples were collected in plastic test tubes.
Samples were analysed fresh at sea by Janet Barwell-Clarke using the new Astoria system
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
e = Not reported (lost sample; unredeemably bad measurement)
f = average of duplicate samples
i = sample not drawn for this measurement from this bottle
Cruise | Cast | Stn | Niskin | S.N. | Nitrate | QF:NO3 | Silicate | QF:SIL | Phosphate | QF:PO4 | Comments
|  |  | No. |  | uM |  | uM |  | uM
2007-13 | 1 | SI03-UBC | 23 | 23 | 5.4 |  | 18.9 |  | 0.75
2007-13 | 1 | SI03-UBC | 22 | 22 | 14.5 |  | 33.3 |  | 1.58
2007-13 | 1 | SI03-UBC | 21 | 21 | 25.4 |  | 47.5 |  | 2.36
2007-13 | 1 | SI03-UBC | 20 | 20 | 27.4 |  | 52.5 |  | 2.43
2007-13 | 1 | SI03-UBC | 19 | 19 | 27.5 |  | 56.9 |  | 2.67
2007-13 | 1 | SI03-UBC | 18 | 18 | 28 |  | 67.4 |  | 3.26
2007-13 | 1 | SI03-UBC | 17 | 17 | 27.7 |  | 69.7 |  | 3.39
2007-13 | 1 | SI03-UBC | 16 | 16 | 26.9 |  | 71.2 |  | 3.59
2007-13 | 1 | SI03-UBC | 15 | 15 | 25.4 |  | 74.8 |  | 3.88
2007-13 | 1 | SI03-UBC | 12 | 12 | 19.1 |  | 81.8 |  | 4.25
2007-13 | 1 | SI03-UBC | 11 | 11 | 15.8 |  | 85.3 |  | 4.45
2007-13 | 1 | SI03-UBC | 8 | 8 | 9.3 |  | 90.5 |  | 4.68
2007-13 | 1 | SI03-UBC | 6 | 6 | 4.8 |  | 91.5 |  | 4.78
2007-13 | 1 | SI03-UBC | 5 | 5 |  | i | 100 |  | 4.87 |  | hydrogen sulfide detected therefore no NO3 analyzed
2007-13 | 1 | SI03-UBC | 4 | 4 |  | i | 107.9 |  | 5.33 |  | hydrogen sulfide detected therefore no NO3 analyzed
2007-13 | 1 | SI03-UBC | 3 | 3 |  | i | 111.4 |  | 5.47 |  | hydrogen sulfide detected therefore no NO3 analyzed
2007-13 | 3 | P1 | 5 | 28 | 8.9 |  | 22.7 |  | 0.98
2007-13 | 3 | P1 | 4 | 27 | 8.9 |  | 22.7 |  | 1
2007-13 | 5 | P2 | 8 | 36 | 0.1 | f | 2.8 | f | 0.205 | f
2007-13 | 5 | P2 | 7 | 35 | 0.15 | f | 3.25 | f | 0.235 | f
2007-13 | 5 | P2 | 6 | 34 | 5.85 | f | 11.75 | f | 0.81 | f
2007-13 | 5 | P2 | 5 | 33 | 26.65 | f | 39.5 | f | 2.135 | f
2007-13 | 5 | P2 | 4 | 32 | 29.05 | f | 47.45 | f | 2.375 | f
2007-13 | 5 | P2 | 3 | 31 | 29.1 | f | 47.35 | f | 2.375 | f
2007-13 | 5 | P2 | 2 | 30 | 33.85 | f | 64.2 | f | 2.785 | f
2007-13 | 5 | P2 | 1 | 29 | 33.85 | f | 64.55 | f | 2.775 | f
2007-13 | 8 | P4 | 24 | 61 | 0 |  | 1.89 | d | 0.25 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 23 | 60 | 0 |  | 1.71 | d | 0.23 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 22 | 59 | 0 |  | 1.62 | d | 0.22 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 21 | 58 | 0 |  | 1.53 | d | 0.22 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 20 | 57 | 3.5 |  | 6.93 | d | 0.71 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 19 | 56 | 8.6 |  | 10.17 | d | 1.04 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 18 | 55 | 11.3 |  | 13.86 | d | 1.16 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 17 | 54 | 19.1 |  | 22.41 | d | 1.6 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 16 | 53 | 26.1 |  | 32.31 | d | 2.02 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 15 | 52 | 29.7 |  | 40.05 | d | 2.24 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 14 | 51 | 30.7 |  | 45.09 | d | 2.35 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 13 | 50 | 31.5 |  | 47.79 | d | 2.36 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 12 | 49 | 33.75 | f | 54.945 | d | 2.47 | f | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 11 | 48 | 37.1 |  | 63.36 | d | 2.76 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 10 | 47 | 41.3 |  | 77.22 | d | 3.02 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 9 | 46 | 42.7 |  | 88.56 | d | 3.19 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 8 | 45 | 43 |  | 88.56 | d | 3.19 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 7 | 44 | 43.9 |  | 100.08 | d | 3.29 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 6 | 43 | 44 |  | 117.09 | d | 3.37 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 5 | 42 | 43.7 |  | 132.57 | d | 3.39 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 4 | 41 | 44.6 |  | 133.83 | d | 3.4 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 3 | 40 | 45.7 |  | 134.28 | d | 3.39 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 2 | 39 | 44.6 |  | 148.68 | d | 3.37 |  | SIL corrected by -10 % because of signal drift
2007-13 | 8 | P4 | 1 | 38 | 45.4 |  | 154.08 | d | 3.35 |  | SIL corrected by -10 % because of signal drift
2007-13 | 11 | P4 | 15 | 76 | 26.8 | c | 41 | c | 1.97 | c | misfire ???
2007-13 | 11 | P4 | 14 | 75 |  | i |  | i |  | i
2007-13 | 11 | P4 | 13 | 74 | 0 |  | 2.2 |  | 0.27
2007-13 | 11 | P4 | 12 | 73 | 0.1 |  | 2.1 |  | 0.27
2007-13 | 11 | P4 | 11 | 72 | 0.1 |  | 1.7 |  | 0.24
2007-13 | 11 | P4 | 10 | 71 | 0.1 |  | 2.5 |  | 0.34
2007-13 | 11 | P4 | 9 | 70 | 0.1 |  | 2.8 |  | 0.41
2007-13 | 11 | P4 | 8 | 69 | 2.45 | f | 6.3 | f | 0.66 | f
2007-13 | 11 | P4 | 7 | 68 | 6.7 |  | 11.9 |  | 0.96
2007-13 | 11 | P4 | 6 | 67 | 7.4 |  | 10.9 |  | 1.02
2007-13 | 11 | P4 | 5 | 66 | 9.9 |  | 11.6 |  | 1.12
2007-13 | 11 | P4 | 4 | 65 | 14.4 |  | 17.8 |  | 1.35
2007-13 | 11 | P4 | 3 | 64 | 31.5 |  | 46.6 |  | 2.34
2007-13 | 11 | P4 | 2 | 63 | 32.2 |  | 49.4 |  | 2.35
2007-13 | 11 | P4 | 1 | 62 | 38.7 |  | 71.1 |  | 2.88
2007-13 | 17 | P8 | 22 | 101 | 5.8 |  | 9.5 |  | 0.91
2007-13 | 17 | P8 | 21 | 100 | 5.8 |  | 9.4 |  | 0.91
2007-13 | 17 | P8 | 20 | 99 |  | i |  | i |  | i
2007-13 | 17 | P8 | 19 | 98 |  | i |  | i |  | i
2007-13 | 17 | P8 | 18 | 97 | 6.1 |  | 9.6 |  | 0.92
2007-13 | 17 | P8 | 17 | 96 | 8.5 |  | 10.3 |  | 1.03
2007-13 | 17 | P8 | 16 | 95 | 10.4 |  | 11.5 |  | 1.12
2007-13 | 17 | P8 | 15 | 94 | 12.55 | f | 13.35 | f | 1.215 | f
2007-13 | 17 | P8 | 14 | 93 | 18.5 |  | 21.2 |  | 1.5
2007-13 | 17 | P8 | 13 | 92 | 24.3 |  | 30.4 |  | 1.82
2007-13 | 17 | P8 | 12 | 91 | 24.9 |  | 33.6 |  | 1.83
2007-13 | 17 | P8 | 11 | 90 | 27.1 |  | 39 |  | 1.95
2007-13 | 17 | P8 | 10 | 89 | 30.4 |  | 47.7 |  | 2.18
2007-13 | 17 | P8 | 9 | 88 | 35.6 |  | 58.3 |  | 2.55
2007-13 | 17 | P8 | 8 | 87 | 39.8 |  | 72.1 |  | 2.83
2007-13 | 17 | P8 | 7 | 86 | 44 |  | 100.6 |  | 3.19
2007-13 | 17 | P8 | 6 | 85 | 44.1 |  | 99.4 |  | 3.2
2007-13 | 17 | P8 | 5 | 84 | 45.1 |  | 119.9 |  | 3.32
2007-13 | 17 | P8 | 4 | 83 | 45.4 |  | 134.1 |  | 3.36
2007-13 | 17 | P8 | 3 | 82 | 45.4 |  | 149.3 |  | 3.33
2007-13 | 17 | P8 | 2 | 81 | 44.9 |  | 160.1 |  | 3.27
2007-13 | 17 | P8 | 1 | 80 | 43.3 |  | 173.6 |  | 3.14
2007-13 | 21 | P12 | 15 | 119 | 7.2 |  | 10.2 |  | 0.94
2007-13 | 21 | P12 | 14 | 118 |  | i |  | i |  | i
2007-13 | 21 | P12 | 13 | 117 | 7.1 |  | 10.1 |  | 0.94
2007-13 | 21 | P12 | 12 | 116 | 7.1 |  | 10.1 |  | 0.96
2007-13 | 21 | P12 | 11 | 115 | 7 |  | 10.1 |  | 0.96
2007-13 | 21 | P12 | 10 | 114 | 7.2 |  | 10.3 |  | 0.97
2007-13 | 21 | P12 | 9 | 113 | 7.2 |  | 10.1 |  | 0.98
2007-13 | 21 | P12 | 8 | 112 | 6.8 |  | 10 |  | 0.97
2007-13 | 21 | P12 | 7 | 111 | 8.3 |  | 10.6 |  | 1.03
2007-13 | 21 | P12 | 6 | 110 | 9.6 |  | 11.2 |  | 1.1
2007-13 | 21 | P12 | 5 | 109 | 10.5 |  | 11.7 |  | 1.14
2007-13 | 21 | P12 | 4 | 108 | 13.2 |  | 14.4 |  | 1.25
2007-13 | 21 | P12 | 3 | 107 | 25.5 | f | 37.05 | f | 1.86 | f
2007-13 | 21 | P12 | 2 | 106 | 27.4 |  | 42.2 |  | 1.97
2007-13 | 21 | P12 | 1 | 105 | 22.7 |  | 36.7 |  | 1.77
2007-13 | 25 | P12 | 23 | 151 | 6.8 |  | 10 |  | 0.95
2007-13 | 25 | P12 | 22 | 150 | 6.6 |  | 9.9 |  | 0.95
2007-13 | 25 | P12 | 21 | 149 | 6.8 |  | 10.1 |  | 0.97
2007-13 | 25 | P12 | 20 | 148 | 8.7 |  | 10.6 |  | 1.05
2007-13 | 25 | P12 | 19 | 147 | 10.2 |  | 11.7 |  | 1.15
2007-13 | 25 | P12 | 18 | 146 | 12.8 |  | 14.5 |  | 1.27
2007-13 | 25 | P12 | 17 | 145 | 20.3 |  | 27 |  | 1.68
2007-13 | 25 | P12 | 16 | 144 | 22.1 |  | 32.9 |  | 1.81
2007-13 | 25 | P12 | 15 | 143 | 24.9 |  | 40.9 |  | 1.98
2007-13 | 25 | P12 | 14 | 142 | 26.3 |  | 46.1 |  | 2.1
2007-13 | 25 | P12 | 13 | 141 | 30.5 |  | 55.6 |  | 2.36
2007-13 | 25 | P12 | 12 | 140 | 34.5 |  | 66.3 |  | 2.62
2007-13 | 25 | P12 | 11 | 139 | 39.3 |  | 84.7 |  | 2.99
2007-13 | 25 | P12 | 10 | 138 | 42 |  | 108.6 |  | 3.25
2007-13 | 25 | P12 | 9 | 137 | 46 | c | 126.8 |  | 3.33 |  | NO3 seems high
2007-13 | 25 | P12 | 8 | 136 | 44.5 | c | 144.2 |  | 3.38 |  | NO3 seems low
2007-13 | 25 | P12 | 7 | 135 | 47 | c | 157.5 |  | 3.37 |  | NO3 seems high
2007-13 | 25 | P12 | 6 | 134 | 44.3 |  | 167.5 |  | 3.32
2007-13 | 25 | P12 | 5 | 133 | 43 |  | 177.8 |  | 3.19
2007-13 | 25 | P12 | 4 | 132 | 41.5 |  | 182.5 |  | 3.05
2007-13 | 25 | P12 | 3 | 131 | 40.9 |  | 183.3 |  | 3.06
2007-13 | 25 | P12 | 2 | 130 | 40.9 |  | 183.1 |  | 2.99
2007-13 | 25 | P12 | 1 | 129 | 38.9 |  | 182.3 |  | 2.99
2007-13 | 27 | P14 | 4 | 156 | 8.5 |  | 12.6 |  | 1.04
2007-13 | 27 | P14 | 3 | 155 | 8.3 |  | 12.6 |  | 1.07
2007-13 | 30 | P16 | 18 | 174 | 9.1 |  | 12.3 |  | 1.09
2007-13 | 30 | P16 | 17 | 173 |  | i |  | i |  | i
2007-13 | 30 | P16 | 16 | 172 |  | i |  | i |  | i
2007-13 | 30 | P16 | 15 | 171 | 9.1 |  | 12.5 |  | 1.09
2007-13 | 30 | P16 | 14 | [7 empty] | mis trip - not used
2007-13 | 30 | P16 | 13 | 170 |  | i |  | i |  | i
2007-13 | 30 | P16 | 12 | 169 | 9.1 |  | 12.4 |  | 1.13
2007-13 | 30 | P16 | 11 | 168 | 9.1 |  | 12.3 |  | 1.09
2007-13 | 30 | P16 | 10 | 167 | 9.1 |  | 12.4 |  | 1.09
2007-13 | 30 | P16 | 9 | 166 | 9.1 |  | 12.2 |  | 1.09
2007-13 | 30 | P16 | 8 | 165 | 9.1 |  | 12.2 |  | 1.09
2007-13 | 30 | P16 | 7 | 164 | 9.4 |  | 12.3 |  | 1.12
2007-13 | 30 | P16 | 6 | 163 | 11.3 |  | 13.5 |  | 1.22
2007-13 | 30 | P16 | 5 | 162 | 11.6 |  | 12.8 |  | 1.26
2007-13 | 30 | P16 | 4 | 161 | 13.8 |  | 15.8 |  | 1.35
2007-13 | 30 | P16 | 3 | 160 | 26.1 |  | 43.9 |  | 1.98
2007-13 | 30 | P16 | 2 | 159 | 27.6 |  | 48.4 |  | 2.15
2007-13 | 30 | P16 | 1 | 158 | 35.7 |  | 68.8 |  | 2.64
2007-13 | 33 | P16 | 24 | 198 | 8.9 |  | 12.3 |  | 1.09
2007-13 | 33 | P16 | 23 | 197 | 9 |  | 12.3 |  | 1.1
2007-13 | 33 | P16 | 22 | 196 | 9.1 |  | 12.3 |  | 1.09
2007-13 | 33 | P16 | 21 | 195 | 11.6 |  | 13.5 |  | 1.24
2007-13 | 33 | P16 | 20 | 194 | 11.7 |  | 13 |  | 1.27
2007-13 | 33 | P16 | 19 | 193 | 17 |  | 20.9 |  | 1.5
2007-13 | 33 | P16 | 18 | 192 | 21.5 |  | 29.5 |  | 1.69
2007-13 | 33 | P16 | 17 | 191 | 21.9 |  | 34.9 |  | 1.76
2007-13 | 33 | P16 | 16 | 190 | 25.4 |  | 42 |  | 1.94
2007-13 | 33 | P16 | 15 | 189 | 28.5 |  | 48.9 |  | 2.13
2007-13 | 33 | P16 | 14 | 188 | 30.4 |  | 59 |  | 2.38
2007-13 | 33 | P16 | 13 | 187 | 37.2 |  | 71.8 |  | 2.71
2007-13 | 33 | P16 | 12 | 186 | 41.6 |  | 88.8 |  | 3.05
2007-13 | 33 | P16 | 11 | 185 | 44.4 |  | 126.8 |  | 3.33
2007-13 | 33 | P16 | 10 | 184 | 44.5 |  | 126.9 |  | 3.33
2007-13 | 33 | P16 | 9 | 183 | 45 |  | 141 |  | 3.36
2007-13 | 33 | P16 | 8 | 182 | 44.75 | f | 156.85 | f | 3.35 | f
2007-13 | 33 | P16 | 7 | 181 | 44.7 |  | 166.5 |  | 3.31
2007-13 | 33 | P16 | 6 | 180 | 41.8 |  | 175.8 |  | 3.17
2007-13 | 33 | P16 | 5 | 179 | 42.1 |  | 175.5 |  | 3.17
2007-13 | 33 | P16 | 4 | 178 | 41.5 |  | 177.2 |  | 3.07
2007-13 | 33 | P16 | 3 | 177 | 39.8 |  | 177.6 |  | 2.94
2007-13 | 33 | P16 | 2 | 176 | 38.5 |  | 180.9 |  | 2.88
2007-13 | 33 | P16 | 1 | 175 | 38.7 |  | 180.3 |  | 2.87
2007-13 | 36 | P18 | 4 | 203 | 10 |  | 13.9 |  | 1.15
2007-13 | 36 | P18 | 3 | 202 | 9.8 |  | 13.9 |  | 1.15
2007-13 | 39 | P20 | 16 | 220 |  | i |  | i |  | i
2007-13 | 39 | P20 | 15 | 219 |  | i |  | i |  | i
2007-13 | 39 | P20 | 14 | 218 |  | i |  | i |  | i
2007-13 | 39 | P20 | 13 | 217 |  | i |  | i |  | i
2007-13 | 39 | P20 | 12 | 216 | 10.5 |  | 13.4 |  | 1.12
2007-13 | 39 | P20 | 11 | 215 | 10.5 |  | 13.4 |  | 1.16
2007-13 | 39 | P20 | 10 | 214 | 10.5 |  | 13.7 |  | 1.16
2007-13 | 39 | P20 | 9 | 213 | 10.4 |  | 13.4 |  | 1.18
2007-13 | 39 | P20 | 8 | 212 | 10.5 |  | 13.5 |  | 1.17
2007-13 | 39 | P20 | 7 | 211 | 10.7 |  | 13.75 |  | 1.19
2007-13 | 39 | P20 | 6 | 210 | 11.1 |  | 13.8 |  | 1.19
2007-13 | 39 | P20 | 5 | 209 | 11.9 |  | 14.3 |  | 1.28
2007-13 | 39 | P20 | 4 | 208 | 12.9 |  | 15.9 |  | 1.34
2007-13 | 39 | P20 | 3 | 207 | 27.5 |  | 47.6 |  | 2.13
2007-13 | 39 | P20 | 2 | 206 | 29.4 |  | 53.3 |  | 2.27
2007-13 | 39 | P20 | 1 | 205 | 37.1 |  | 75.9 |  | 2.77
2007-13 | 43 | P20 | 24 | 252 | 10.6 |  | 13.9 |  | 1.15
2007-13 | 43 | P20 | 23 | 251 | 10.6 |  | 13.9 |  | 1.13
2007-13 | 43 | P20 | 22 | 250 | 10.6 |  | 13.7 |  | 1.13
2007-13 | 43 | P20 | 21 | 249 | 11.7 |  | 14.4 |  | 1.22
2007-13 | 43 | P20 | 20 | 248 | 12 |  | 14.8 |  | 1.25
2007-13 | 43 | P20 | 19 | 247 | 12.6 |  | 15.9 |  | 1.29
2007-13 | 43 | P20 | 18 | 246 | 22.5 |  | 32.8 |  | 1.76
2007-13 | 43 | P20 | 17 | 245 | 25 |  | 40.2 |  | 1.94
2007-13 | 43 | P20 | 16 | 244 | 27.8 |  | 47.9 |  | 2.06
2007-13 | 43 | P20 | 15 | 243 | 30.2 |  | 55.2 |  | 2.24
2007-13 | 43 | P20 | 14 | 242 | 34.7 |  | 67.4 |  | 2.55
2007-13 | 43 | P20 | 13 | 241 | 38.2 |  | 76.4 |  | 2.77
2007-13 | 43 | P20 | 12 | 240 | 42 |  | 94.3 |  | 3.04
2007-13 | 43 | P20 | 11 | 239 | 44 | f | 114.9 | f | 3.205 | f
2007-13 | 43 | P20 | 10 | 238 | 44.7 |  | 132.6 |  | 3.28
2007-13 | 43 | P20 | 9 | 237 | 45.3 |  | 145.8 |  | 3.32
2007-13 | 43 | P20 | 8 | 236 | 45.3 |  | 154.9 |  | 3.31
2007-13 | 43 | P20 | 7 | 235 | 44.9 |  | 167.9 |  | 3.26
2007-13 | 43 | P20 | 6 | 234 | 42.9 |  | 175.2 |  | 3.14
2007-13 | 43 | P20 | 5 | 233 | 40.9 |  | 176.2 |  | 3.01
2007-13 | 43 | P20 | 4 | 232 | 39.1 |  | 175.1 |  | 2.93
2007-13 | 43 | P20 | 3 | 231 | 38.3 |  | 175 |  | 2.81
2007-13 | 43 | P20 | 2 | 230 | 38.3 |  | 174.8 |  | 2.81
2007-13 | 43 | P20 | 1 | 229 | 38 |  | 177.5 |  | 2.77
2007-13 | 45 | P22 | 4 | 257 | 11.5 |  | 15.4 |  | 1.21
2007-13 | 45 | P22 | 3 | 256 | 11.5 |  | 15.2 |  | 1.22
2007-13 | 48 | P24 | 4 | 262 | 13.2 |  | 18.6 |  | 1.31
2007-13 | 48 | P24 | 3 | 261 | 13.1 |  | 18.4 |  | 1.3
2007-13 | 66 | P26 | 19 | 337 | 13.8 |  | 19.6 |  | 1.32
2007-13 | 66 | P26 | 18 | 336 | 13.3 |  | 19.6 |  | 1.33
2007-13 | 66 | P26 | 16 | 334 | 13.6 |  | 19.6 |  | 1.32
2007-13 | 66 | P26 | 15 | 333 | 13.5 |  | 19.8 |  | 1.32
2007-13 | 66 | P26 | 13 | 331 | 13.6 |  | 19.7 |  | 1.32
2007-13 | 66 | P26 | 12 | 330 | 13.6 |  | 19.6 |  | 1.32
2007-13 | 66 | P26 | 11 | 329 | 13.4 |  | 19.6 |  | 1.33
2007-13 | 66 | P26 | 10 | 328 | 13.75 |  | 19.95 |  | 1.345
2007-13 | 66 | P26 | 9 | 327 | 15.1 |  | 22.7 |  | 1.44
2007-13 | 66 | P26 | 7 | 325 | 16.1 |  | 23.5 |  | 1.48
2007-13 | 66 | P26 | 6 | 324 | 26.2 |  | 40 |  | 2.08
2007-13 | 66 | P26 | 4 | 321 | 33.7 |  | 61.7 |  | 2.5
2007-13 | 66 | P26 | 3 | 320 | 34.9 |  | 64.4 |  | 2.56
2007-13 | 66 | P26 | 1 | 319 | 40.5 |  | 83.5 |  | 2.89
2007-13 | 68 | P26 | 16 | 366 | 13 |  | 19.7 |  | 1.32
2007-13 | 68 | P26 | 14 | 364 | 13.8 |  | 19.6 |  | 1.32 |  | incorrect sample numbers- Marie reported July 08
2007-13 | 68 | P26 | 12 | 362 | 13.6 |  | 19.5 |  | 1.32 |  | now correct
2007-13 | 68 | P26 | 11 | 361 | 13.7 |  | 19.6 |  | 1.32
2007-13 | 68 | P26 | 10 | 360 | 31.9 | c | 55.25 | c | 2.355 | c | misfire? Or missample
2007-13 | 68 | P26 | 9 | 359 | 13.5 |  | 19.6 |  | 1.33
2007-13 | 68 | P26 | 8 | 358 | 13.8 |  | 19.6 |  | 1.33
2007-13 | 68 | P26 | 7 | 357 | 13.8 |  | 19.6 |  | 1.33
2007-13 | 68 | P26 | 5 | 355 | 16 |  | 22.9 |  | 1.47
2007-13 | 68 | P26 | 4 | 354 | 29.9 |  | 45.7 |  | 2.26
2007-13 | 68 | P26 | 3 | 353 | 34.7 |  | 59.5 |  | 2.48
2007-13 | 68 | P26 | 2 | 352 | 33.9 |  | 65.4 |  | 2.58
2007-13 | 68 | P26 | 1 | 351 | 39.7 |  | 84.9 |  | 2.91
2007-13 | 70 | P26 | 24 | 390 | 13.6 |  | 19.6 |  | 1.32
2007-13 | 70 | P26 | 23 | 389 | 13.6 |  | 19.9 |  | 1.33
2007-13 | 70 | P26 | 22 | 388 | 13.6 |  | 19.9 |  | 1.31
2007-13 | 70 | P26 | 21 | 387 | 15.2 |  | 21.7 |  | 1.43
2007-13 | 70 | P26 | 20 | 386 | 16.3 |  | 23.7 |  | 1.5
2007-13 | 70 | P26 | 19 | 385 | 29.1 |  | 43.4 |  | 2.19
2007-13 | 70 | P26 | 18 | 384 | 33.4 |  | 53.6 |  | 2.43
2007-13 | 70 | P26 | 17 | 383 | 34.3 |  | 58.2 |  | 2.47
2007-13 | 70 | P26 | 16 | 382 | 34.6 |  | 61.7 |  | 2.53
2007-13 | 70 | P26 | 15 | 381 | 35.9 |  | 66.4 |  | 2.6
2007-13 | 70 | P26 | 14 | 380 | 40.2 |  | 77.8 |  | 2.87
2007-13 | 70 | P26 | 13 | 379 | 40.6 |  | 84.7 |  | 2.91
2007-13 | 70 | P26 | 12 | 378 | 43.9 |  | 99.4 |  | 3.24
2007-13 | 70 | P26 | 11 | 377 | 44.7 |  | 119.2 |  | 3.26
2007-13 | 70 | P26 | 10 | 376 | 44.9 |  | 135.7 |  | 3.26
2007-13 | 70 | P26 | 9 | 375 | 45.2 |  | 147.6 |  | 3.31
2007-13 | 70 | P26 | 8 | 374 | 45.4 |  | 160.6 |  | 3.29
2007-13 | 70 | P26 | 7 | 373 | 44.8 |  | 168 |  | 3.24
2007-13 | 70 | P26 | 6 | 372 | 42.8 |  | 176.7 |  | 3.09
2007-13 | 70 | P26 | 5 | 371 | 40.9 |  | 178 |  | 2.97
2007-13 | 70 | P26 | 4 | 370 | 39.1 |  | 175.7 |  | 2.85
2007-13 | 70 | P26 | 3 | 369 | 38 | f | 174.3 | f | 2.77 | f
2007-13 | 70 | P26 | 2 | 368 | 37.3 |  | 175.1 |  | 2.71
2007-13 | 70 | P26 | 1 | 367 | 37.1 |  | 177.8 |  | 2.7
2007-13 | 71 | P26 | 14 | 404 | 13.6 |  | 19.7 |  | 1.31
2007-13 | 71 | P26 | 13 | 403 | 13.5 |  | 19.7 |  | 1.31
2007-13 | 71 | P26 | 12 | 402 | 13.6 |  | 19.7 |  | 1.32
2007-13 | 71 | P26 | 11 | 401 | 13.6 |  | 19.6 |  | 1.31
2007-13 | 71 | P26 | 10 | 400 | 13.6 |  | 19.7 |  | 1.31
2007-13 | 71 | P26 | 9 | 399 | 13.6 |  | 19.7 |  | 1.31
2007-13 | 71 | P26 | 8 | 398 | 13.6 |  | 19.6 |  | 1.31
2007-13 | 71 | P26 | 7 | 397 | 13.7 |  | 19.6 |  | 1.31
2007-13 | 71 | P26 | 6 | 396 | 13.6 |  | 19.7 |  | 1.32
2007-13 | 71 | P26 | 5 | 395 | 16 |  | 23 |  | 1.46
2007-13 | 71 | P26 | 4 | 394 | 22.1 |  | 32.4 |  |  | i | air in PO4 sample
2007-13 | 71 | P26 | 3 | 393 | 35.4 |  | 62.5 |  | 2.52
2007-13 | 71 | P26 | 2 | 392 | 36.4 |  | 66.4 |  | 2.61
2007-13 | 71 | P26 | 1 | 391 | 41.55 | f | 85.05 | f | 2.93 | f
2007-13 | 75 | P1E93 | 24 | 444 | 11.4 |  | 18.1 |  | 1.18
2007-13 | 75 | P1E93 | 23 | 443 | 11.4 |  | 18 |  | 1.18
2007-13 | 75 | P1E93 | 22 | 442 | 11.4 |  | 17.9 |  | 1.18
2007-13 | 75 | P1E93 | 21 | 441 | 11.6 |  | 18.1 |  | 1.2
2007-13 | 75 | P1E93 | 20 | 440 | 12.9 |  | 19.5 |  | 1.27
2007-13 | 75 | P1E93 | 19 | 439 | 12.9 |  | 20.1 |  | 1.28
2007-13 | 75 | P1E93 | 18 | 438 | 19.1 |  | 26.7 |  | 1.51
2007-13 | 75 | P1E93 | 17 | 437 | 21.7 |  | 34.1 |  | 1.63
2007-13 | 75 | P1E93 | 16 | 436 | 24.2 |  | 40.8 |  | 1.78
2007-13 | 75 | P1E93 | 15 | 435 | 26.6 |  | 47.5 |  | 1.96
2007-13 | 75 | P1E93 | 14 | 434 | 31.3 |  | 60.4 |  | 2.3
2007-13 | 75 | P1E93 | 13 | 433 | 35.8 |  | 73.1 |  | 2.57
2007-13 | 75 | P1E93 | 12 | 432 | 39.8 |  | 88.8 |  | 2.85
2007-13 | 75 | P1E93 | 11 | 431 | 43.5 |  | 117.3 |  | 3.15
2007-13 | 75 | P1E93 | 10 | 430 | 43.9 |  | 133.4 |  | 3.2
2007-13 | 75 | P1E93 | 9 | 429 | 44.7 | f | 146.9 | f | 3.26 | f
2007-13 | 75 | P1E93 | 8 | 428 | 45 |  | 159.7 |  | 3.28
2007-13 | 75 | P1E93 | 7 | 427 | 44.5 |  | 168 |  | 3.24
2007-13 | 75 | P1E93 | 6 | 426 | 42.4 |  | 175.9 |  | 3.09
2007-13 | 75 | P1E93 | 5 | 425 | 40.3 |  | 176.2 |  | 2.94
2007-13 | 75 | P1E93 | 4 | 424 | 38.6 |  | 173.7 |  | 2.81
2007-13 | 75 | P1E93 | 3 | 423 | 37.5 |  | 171.9 |  | 2.72
2007-13 | 75 | P1E93 | 2 | 422 | 36.8 |  | 173.1 |  | 2.68
2007-13 | 75 | P1E93 | 1 | 421 | 36.6 |  | 179.8 |  | 2.67
2007-13 | 77 | S4 | 24 | 469 | 11.8 | d | 20.8 |  | 1.25 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 23 | 468 | 11.6 | d | 20.5 |  | 1.25 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 22 | 467 | 11.7 | d | 20.6 |  | 1.25 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 21 | 466 | 12.1 | d | 21 |  | 1.28 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 20 | 465 | 13.5 | d | 22.9 |  | 1.38 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 19 | 464 | 13.95 | d | 23.9 | f | 1.41 | f | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 18 | 463 | 18.2 | d | 29.7 |  | 1.62 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 17 | 462 | 25.3 | d | 46 |  | 2.08 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 16 | 461 | 28.9 | d | 57.1 |  | 2.29 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 15 | 460 | 30.7 | d | 62.2 |  | 2.41 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 14 | 459 | 33.2 | d | 72.4 |  | 2.61 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 13 | 458 | 38.34 | d | 77.5 |  | 2.74 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 12 | 457 | 41.796 | d | 93.4 |  | 3 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 11 | 456 | 45.252 | d | 118.8 |  | 3.24 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 10 | 455 | 45.144 | d | 134.2 |  | 3.27 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 9 | 454 | 45.684 | d | 148.5 |  | 3.32 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 8 | 453 | 45.792 | d | 162.8 |  | 3.33 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 7 | 452 | 45.36 | d | 170.3 |  | 3.3 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 6 | 451 | 43.2 | d | 178.3 |  | 3.15 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 5 | 450 | 41.256 | d | 179 |  | 3.02 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 4 | 449 | 39.528 | d | 177 |  | 2.89 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 3 | 448 | 38.34 | d | 174.2 |  | 2.79 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 2 | 447 | 37.584 | d | 175.1 |  | 2.75 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 77 | S4 | 1 | 446 | 37.584 | d | 183.5 |  | 2.74 |  | NO3 low by 8 % compared to Cal sample - corrected
2007-13 | 85/86 | S2 | 23 | 549 | 13.5 |  | 20 |  | 1.3
2007-13 | 85/86 | S2 | 22 | 548 | 13.4 |  | 19.9 |  | 1.3
2007-13 | 85/86 | S2 | 21 | 547 | 13.4 |  | 20 |  | 1.3
2007-13 | 85/86 | S2 | 20 | 546 | 14.2 |  | 21.1 |  | 1.34
2007-13 | 85/86 | S2 | 19 | 545 | 16 |  | 24.7 |  | 1.46
2007-13 | 85/86 | S2 | 18 | 544 | 26 |  | 39.5 |  | 2.01
2007-13 | 85/86 | S2 | 17 | 543 | 30.8 |  | 50.2 |  | 2.24
2007-13 | 85/86 | S2 | 6 | 542 | 31.9 |  | 55.5 |  | 2.36
2007-13 | 85/86 | S2 | 15 | 541 | 35.1 |  | 62.2 |  | 2.56
2007-13 | 85/86 | S2 | 14 | 540 | 36.7 |  | 67.1 |  | 2.64
2007-13 | 85/86 | S2 | 13 | 539 | 39.7 |  | 76.2 |  | 2.84
2007-13 | 85/86 | S2 | 12 | 538 | 41.9 |  | 84.9 |  | 2.98
2007-13 | 85/86 | S2 | 11 | 537 | 43.9 |  | 97.7 |  | 3.16
2007-13 | 85/86 | S2 | 10 | 536 | 44.8 |  | 119 |  | 3.22
2007-13 | 85/86 | S2 | 9 | 535 | 45.1 |  | 132.7 |  | 3.27
2007-13 | 85/86 | S2 | 8 | 534 | 45.9 | f | 146.55 | f | 3.31 | f
2007-13 | 85/86 | S2 | 7 | 533 | 45.6 |  | 157.8 |  | 3.3
2007-13 | 85/86 | S2 | 6 | 532 | 45.1 |  | 166.2 |  | 3.26
2007-13 | 85/86 | S2 | 5 | 531 | 43.5 |  | 173.5 |  | 3.1
2007-13 | 85/86 | S2 | 4 | 530 | 41.3 |  | 174.7 |  | 2.98
2007-13 | 85/86 | S2 | 3 | 529 | 39.8 |  | 171.8 |  | 2.85
2007-13 | 85/86 | S2 | 2 | 528 | 38.7 |  | 171 |  | 2.76
2007-13 | 85/86 | S2 | 1 | 527 | 38.2 |  | 166.6 |  | 2.73
2007-13 | 90 | P32 | 24 | 575 | 13.4 |  | 23.2 |  | 1.33
2007-13 | 90 | P32 | 23 | 574 | 13.4 |  | 23.2 |  | 1.33
2007-13 | 90 | P32 | 22 | 573 | 13.35 | f | 23.3 | f | 1.325 | f
2007-13 | 90 | P32 | 21 | 572 | 13.5 |  | 23.7 |  | 1.3
2007-13 | 90 | P32 | 20 | 571 | 15.8 |  | 24.6 |  | 1.47
2007-13 | 90 | P32 | 19 | 570 | 20.2 |  | 32.1 |  | 1.68
2007-13 | 90 | P32 | 18 | 569 | 30.7 |  | 54.6 |  | 2.3
2007-13 | 90 | P32 | 17 | 568 | 33.4 |  | 62.8 |  |  | i | air in PO4 sample
2007-13 | 90 | P32 | 16 | 567 | 35.1 |  | 67.9 |  | 2.58
2007-13 | 90 | P32 | 15 | 566 | 36.5 |  | 72.4 |  | 2.67
2007-13 | 90 | P32 | 14 | 565 | 39.8 |  | 82.4 |  | 2.87
2007-13 | 90 | P32 | 13 | 564 | 41.4 |  | 88.7 |  | 2.97
2007-13 | 90 | P32 | 12 | 563 | 43.2 |  | 103.9 |  | 3.14
2007-13 | 90 | P32 | 11 | 562 | 44 |  | 125.7 |  | 3.21
2007-13 | 90 | P32 | 10 | 561 | 43.9 |  | 139.8 |  | 3.25
2007-13 | 90 | P32 | 9 | 560 | 44.5 |  | 150.9 |  | 3.27
2007-13 | 90 | P32 | 8 | 559 | 44.4 |  | 162.7 |  | 3.27
2007-13 | 90 | P32 | 7 | 558 | 44 |  | 170 |  | 3.23
2007-13 | 90 | P32 | 6 | 557 | 42.1 |  | 177.1 |  | 3.07
2007-13 | 90 | P32 | 5 | 556 | 39.9 |  | 177.9 |  | 2.96
2007-13 | 90 | P32 | 4 | 555 | 38.8 |  | 175.9 |  | 2.84
2007-13 | 90 | P32 | 3 | 554 | 37.7 |  | 174.4 |  | 2.75
2007-13 | 90 | P32 | 2 | 553 | 36.7 |  | 173.5 |  | 2.55
2007-13 | 90 | P32 | 1 | 552 | 37 |  | 177.6 |  | 2.68
2007-13 | 92 | Z2 | 23 | 599 | 15.5 |  | 24.1 |  | 1.42
2007-13 | 92 | Z2 | 22 | 598 | 15.5 |  | 24.4 |  | 1.44
2007-13 | 92 | Z2 | 21 | 597 | 15.6 |  | 24.6 |  | 1.44
2007-13 | 92 | Z2 | 20 | 596 | 16.2 |  | 25.9 |  | 1.49
2007-13 | 92 | Z2 | 19 | 595 | 19.2 |  | 30.9 |  | 1.66
2007-13 | 92 | Z2 | 18 | 594 | 26.9 |  | 45 |  | 2.1
2007-13 | 92 | Z2 | 17 | 593 | 31.9 |  | 57 |  | 2.36
2007-13 | 92 | Z2 | 16 | 592 | 34.4 |  | 64.4 |  | 2.54
2007-13 | 92 | Z2 | 15 | 591 | 36 |  | 68.8 |  | 2.64
2007-13 | 92 | Z2 | 14 | 590 | 38.4 |  | 76.3 |  | 2.81
2007-13 | 92 | Z2 | 13 | 589 | 40.5 |  | 85 |  | 2.93
2007-13 | 92 | Z2 | 12 | 588 | 42 |  | 92.8 |  | 3.03
2007-13 | 92 | Z2 | 11 | 587 | 43.6 |  | 105.6 |  | 3.17
2007-13 | 92 | Z2 | 10 | 586 | 44.1 |  | 123.5 |  | 3.21
2007-13 | 92 | Z2 | 9 | 585 | 44.3 |  | 137.9 |  | 3.24
2007-13 | 92 | Z2 | 8 | 584 | 44.6 |  | 149.6 |  | 3.26
2007-13 | 92 | Z2 | 7 | 583 | 44.5 | f | 160.65 | f | 3.26 | f
2007-13 | 92 | Z2 | 6 | 582 | 44 |  | 168.8 |  | 3.21
2007-13 | 92 | Z2 | 5 | 581 | 42.2 |  | 175.7 |  | 3.07
2007-13 | 92 | Z2 | 4 | 580 | 40.7 |  | 177 |  | 2.93
2007-13 | 92 | Z2 | 3 | 579 | 39 |  | 175.4 |  | 2.85
2007-13 | 92 | Z2 | 2 | 578 | 37.8 |  | 173.6 |  |  | i | air in PO4 sample
2007-13 | 92 | Z2 | 1 | 577 | 37.7 |  | 173.7 |  | 2.7
2007-13 | 94 | Z4 | 23 | 623 | 15.6 |  | 26.3 |  | 1.46
2007-13 | 94 | Z4 | 22 | 622 | 15.5 |  | 26.2 |  | 1.46
2007-13 | 94 | Z4 | 21 | 621 | 15.5 |  | 26.1 |  | 1.46
2007-13 | 94 | Z4 | 20 | 620 | 16.1 |  | 27.3 |  | 1.5
2007-13 | 94 | Z4 | 19 | 619 | 19.7 |  | 33.5 |  | 1.73
2007-13 | 94 | Z4 | 18 | 618 | 29.6 |  | 52.1 |  | 2.29
2007-13 | 94 | Z4 | 17 | 617 | 32.6 |  | 59.5 |  | 2.48
2007-13 | 94 | Z4 | 16 | 616 | 35.1 |  | 67.2 |  | 2.64
2007-13 | 94 | Z4 | 15 | 615 | 36.8 |  | 72.9 |  | 2.74
2007-13 | 94 | Z4 | 14 | 614 | 38.7 |  | 78.9 |  | 2.87
2007-13 | 94 | Z4 | 13 | 613 | 41.2 |  | 88.1 |  | 3.04
2007-13 | 94 | Z4 | 12 | 612 | 42.3 |  | 94.4 |  | 3.11
2007-13 | 94 | Z4 | 11 | 611 | 43.6 |  | 106.1 |  | 3.26
2007-13 | 94 | Z4 | 10 | 610 | 43.75 | f | 125.35 | f | 3.28 | f
2007-13 | 94 | Z4 | 9 | 609 | 43.8 |  | 139.2 |  | 3.31
2007-13 | 94 | Z4 | 8 | 608 | 44 |  | 149.4 |  | 3.32
2007-13 | 94 | Z4 | 7 | 607 | 44.1 |  | 161.3 |  | 3.3
2007-13 | 94 | Z4 | 6 | 606 | 43.6 |  | 168.9 |  | 3.22
2007-13 | 94 | Z4 | 5 | 605 | 41.9 |  | 176 |  | 3.14
2007-13 | 94 | Z4 | 4 | 604 | 40.8 |  | 175.6 |  | 3.03
2007-13 | 94 | Z4 | 3 | 603 | 39 |  | 174.9 |  | 2.82
2007-13 | 94 | Z4 | 2 | 602 | 37.5 |  | 172.3 |  | 2.64
2007-13 | 94 | Z4 | 1 | 601 | 37 |  | 173 |  | 2.74
2007-13 | 98 | Z6 | 23 | 647 | 15.9 |  | 27.7 |  | 1.49
2007-13 | 98 | Z6 | 22 | 646 | 15.9 |  | 27.4 |  | 1.49
2007-13 | 98 | Z6 | 21 | 645 | 15.9 |  | 27.4 |  | 1.49
2007-13 | 98 | Z6 | 20 | 644 | 17.1 |  | 29.2 |  | 1.56
2007-13 | 98 | Z6 | 19 | 643 | 20.8 |  | 33.3 |  | 1.8
2007-13 | 98 | Z6 | 18 | 642 | 28 |  | 47.2 |  | 2.19
2007-13 | 98 | Z6 | 17 | 641 | 33.9 |  | 62.1 |  | 2.54
2007-13 | 98 | Z6 | 16 | 640 | 36.7 |  | 69.1 |  | 2.73
2007-13 | 98 | Z6 | 15 | 639 | 39.2 |  | 77.1 |  | 2.9
2007-13 | 98 | Z6 | 14 | 638 | 39.8 |  | 81.5 |  | 2.96
2007-13 | 98 | Z6 | 13 | 637 | 41.8 |  | 87.5 |  | 3.07
2007-13 | 98 | Z6 | 12 | 636 | 42.7 |  | 94.2 |  | 3.15
2007-13 | 98 | Z6 | 11 | 635 | 43.5 |  | 107 |  | 3.235
2007-13 | 98 | Z6 | 10 | 634 | 43.5 |  | 124.1 |  | 3.25
2007-13 | 98 | Z6 | 9 | 633 | 44 |  | 138.5 |  | 3.29
2007-13 | 98 | Z6 | 8 | 632 | 44 |  | 149.4 |  | 3.3
2007-13 | 98 | Z6 | 7 | 631 | 43.9 |  | 161.7 |  | 3.29
2007-13 | 98 | Z6 | 6 | 630 | 43.5 |  | 167.6 |  | 3.25
2007-13 | 98 | Z6 | 5 | 629 | 42 |  | 174.6 |  | 3.14
2007-13 | 98 | Z6 | 4 | 628 | 40.1 |  | 176.8 |  | 3.03
2007-13 | 98 | Z6 | 3 | 627 | 38.8 |  | 176.6 |  | 2.88
2007-13 | 98 | Z6 | 2 | 626 | 37.3 |  | 173.7 |  | 2.79
2007-13 | 98 | Z6 | 1 | 625 | 36.4 |  | 171.3 |  | 2.73
2007-13 | 100 | Z8 | 23 | 671 | 17 |  | 29.5 |  | 1.51
2007-13 | 100 | Z8 | 22 | 670 | 16.7 |  | 29.1 |  | 1.5
2007-13 | 100 | Z8 | 21 | 669 | 16.9 |  | 29.5 |  | 1.51
2007-13 | 100 | Z8 | 20 | 668 | 18 |  | 30.5 |  | 1.59
2007-13 | 100 | Z8 | 19 | 667 | 20.6 |  | 32.4 |  | 1.72
2007-13 | 100 | Z8 | 18 | 666 | 26 |  | 42 |  | 2.02
2007-13 | 100 | Z8 | 17 | 665 | 35.3 |  | 60.4 |  | 2.55
2007-13 | 100 | Z8 | 16 | 664 | 37.3 |  | 65.3 |  | 2.67
2007-13 | 100 | Z8 | 15 | 663 | 39.2 |  | 71.8 |  | 2.79
2007-13 | 100 | Z8 | 14 | 662 | 40.6 |  | 75.7 |  | 2.89
2007-13 | 100 | Z8 | 13 | 661 | 42.8 |  | 83.8 |  | 3.03
2007-13 | 100 | Z8 | 12 | 660 | 43.8 |  | 91.8 |  | 3.11
2007-13 | 100 | Z8 | 11 | 659 | 44.7 |  | 100.9 |  | 3.2
2007-13 | 100 | Z8 | 10 | 658 | 45.5 |  | 123 |  | 3.26
2007-13 | 100 | Z8 | 9 | 657 | 45.8 |  | 139.7 |  | 3.3
2007-13 | 100 | Z8 | 8 | 656 | 45.6 |  | 160.4 |  | 3.28
2007-13 | 100 | Z8 | 7 | 655 | 45.6 |  | 164.3 |  | 3.28
2007-13 | 100 | Z8 | 6 | 654 | 45.5 |  | 170.4 |  | 3.27
2007-13 | 100 | Z8 | 5 | 653 | 44 |  | 179.6 |  | 3.15
2007-13 | 100 | Z8 | 4 | 652 | 42.1 |  | 184 | c | 3.02 |  | checked Sil - OK, but it seems a bit high
2007-13 | 100 | Z8 | 3 | 651 | 40.8 |  | 183.6 | c | 2.91 |  | checked Sil - OK, but it seems a bit high
2007-13 | 100 | Z8 | 2 | 650 | 39.2 |  | 178.7 |  | 2.79
2007-13 | 100 | Z8 | 1 | 649 | 37.9 |  | 173.8 |  | 2.7

## Loops
|  |  | Cruise 2007-13 |  |  |  |  | "real" loop samples taken from the ship's seawater pump
|  |  | 30 May - 19 June 2007 |  |  |  |  | surface samples taken from the Niskin bottle at 5 m
chl a, Marie Robert
nutrients, J. Barwell-Clarke
CTD data NOT calibrated, Primary sensors used.
cast # | stn | serial # | yy | mo | day | utc | Latitude |  | Longitude |  | d.long | d.Lat | NO3 | QF:NO3 | Si | QF:SIL | PO4 | QF:PO4 | Comments
[6 empty] | hhmm | dd | mm.mm | ddd | mm.mm |  |  | uM |  | uM |  | uM
| JF1 | usw | 07 | 06 | 01 | 0020 | 48 | 15.96 | 123 | 30.23 | 123.5038 | 48.266 | 24.1 |  | 43.6 |  | 2.05
| JF2 | usw | 07 | 06 | 01 | 0237 | 48 | 17.99 | 124 | 0 | 124 | 48.2998 | 21.7 |  | 40.9 |  | 1.9
| JF3 | usw | 07 | 06 | 01 | 0448 | 48 | 26.97 | 124 | 30 | 124.5 | 48.4495 | 24 |  | 43.3 |  | 2
| JF4 | usw | 07 | 06 | 01 | 0645 | 48 | 32.22 | 124 | 59 | 124.9833 | 48.537 | 24 |  | 43.1 |  | 1.98
3 | P1 | 28 | 07 | 06 | 01 | 0912 | 48 | 34.51 | 125 | 28.92 | 125.482 | 48.5752 | 8.9 |  | 22.7 |  | 0.98
5 | P2 | 36 | 07 | 06 | 01 | 1157 | 48 | 35.98 | 126 | 00.04 | 126.0007 | 48.5997 | 0.1 | f | 2.8 | f | 0.205 | f
8 | P4 | 61 | 07 | 06 | 01 | 1707 | 48 | 39.1 | 126 | 39.97 | 126.6662 | 48.6517 | 0 |  | 1.89 | d | 0.25 |  | SIL corrected by -10 % because of signal drift
11 | P4 | 74 | 07 | 06 | 01 | 1845 | 48 | 38.99 | 126 | 39.98 | 126.6663 | 48.6498 | 0 |  | 2.2 |  | 0.27
11 | P4 | 75 | 07 | 06 | 01 | 1845 | 48 | 38.99 | 126 | 39.98 | 126.6663 | 48.6498 |  | i |  | i |  | i
12 | P5 | 77 | 07 | 06 | 01 | 2200 | 48 | 41.53 | 127 | 10.21 | 127.1702 | 48.6922 | 0.8 |  | 8.5 |  | 0.56
13 | P6 | 78 | 07 | 06 | 02 | 0112 | 48 | 44.49 | 127 | 39.76 | 127.6627 | 48.7415 | 4.2 |  | 9.3 |  | 0.76
14 | P7 | 79 | 07 | 06 | 02 | 0425 | 48 | 46.43 | 128 | 10.85 | 128.1808 | 48.7738 | 6.9 |  | 10.7 |  | 0.94
17 | P8 | 101 | 07 | 06 | 02 | 0825 | 48 | 49.04 | 128 | 40.39 | 128.6732 | 48.8173 | 5.8 |  | 9.5 |  | 0.91
18 | P9 | 103 | 07 | 06 | 02 | 1124 | 48 | 51.45 | 129 | 09.81 | 129.1635 | 48.8575 | 6.7 |  | 10.2 |  | 0.94
20 | P11 | 104 | 07 | 06 | 02 | 1735 | 48 | 56.02 | 130 | 09.98 | 130.1663 | 48.9337 | 8.2 |  | 11.2 |  | 1.01
| P11 |  | 07 | 06 | 02 | 1735 | 48 | 56.02 | 130 | 09.98 | 130.1663 | 48.9337 | 8.2 |  | 11.2 |  | 1.03
| P11 B |  | 07 | 06 | 02 | 1749 | 48 | 56.13 | 130 | 12.21 | 130.2035 | 48.9355 | 8.3 |  | 11.2 |  | 1.03
21 | P12 | 117 | 07 | 06 | 02 | 2009 | 48 | 58.22 | 130 | 40.52 | 130.6753 | 48.9703 | 7.1 |  | 10.1 |  | 0.94
21 | P12 | 118 | 07 | 06 | 02 | 2009 | 48 | 58.22 | 130 | 40.52 | 130.6753 | 48.9703 |  | i |  | i |  | i
22 | P12 | 128 | 07 | 06 | 02 | 2207 | 48 | 58.69 | 130 | 39.59 | 130.6598 | 48.9782 | 6.7 |  | 10.2 |  | 0.95
25 | P12 | 151 | 07 | 06 | 03 | 0057 | 48 | 58.91 | 130 | 39.1 | 130.6517 | 48.9818 | 6.8 |  | 10 |  | 0.95
26 | P13 | 152 | 07 | 06 | 03 | 0606 | 49 | 02.61 | 131 | 39.99 | 131.6665 | 49.0435 | 8.1 |  | 12.5 |  | 1.02
27 | P14 | 156 | 07 | 06 | 03 | 1057 | 49 | 07.40 | 132 | 39.95 | 132.6658 | 49.1233 | 8.5 |  | 12.6 |  | 1.04
29 | P15 | 157 | 07 | 06 | '03 | 1616 | 49 | 12 | 133 | 39.91 | 133.6652 | 49.2 | 9 |  | 13.1 |  | 1.06
30 | P16 | 173 | 07 | 06 | 03 | 2054 | 49 | 17.14 | 134 | 40.28 | 134.6713 | 49.2857 | 9.1 |  | 12.3 |  | 1.09
33 | P16 | 198 | 07 | 06 | 04 | 0256 | 49 | 16.76 | 134 | 40.42 | 134.6737 | 49.2793 | 8.9 |  | 12.3 |  | 1.09
35 | P17 | 199 | 07 | 06 | 04 | 0826 | 49 | 20.96 | 135 | 40.08 | 135.668 | 49.3493 | 8.8 |  | 11.9 |  | 1.1
36 | P18 | 203 | 07 | 06 | 04 | 1335 | 49 | 25.98 | 136 | 40.01 | 136.6668 | 49.433 | 10 |  | 13.9 |  | 1.15
38 | P19 | 204 | 07 | 06 | 04 | 1850 | 49 | 30 | 137 | 40.03 | 137.6672 | 49.5 | 10.2 |  | 13.9 |  | 1.16
39 | P20 | 218 | 07 | 06 | 04 | 2358 | 49 | 33.99 | 138 | 39.93 | 138.6655 | 49.5665 |  | i |  | i |  | i
39 | P20 | 219 | 07 | 06 | 04 | 2358 | 49 | 33.99 | 138 | 39.93 | 138.6655 | 49.5665 |  | i |  | i |  | i
43 | P20 | 252 | 07 | 06 | 05 | 0432 | 49 | 33.71 | 138 | 40.25 | 138.6708 | 49.5618 | 10.6 |  | 13.9 |  | 1.15
44 | P21 | 253 | 07 | 06 | 05 | 0942 | 49 | 37.98 | 139 | 39.96 | 139.666 | 49.633 | 11.5 |  | 15.5 |  | 1.21
45 | P22 | 257 | 07 | 06 | 05 | 1506 | 49 | 41.97 | 140 | 40.09 | 140.6682 | 49.6995 | 11.5 |  | 15.4 |  | 1.21
47 | P23 | 258 | 07 | 06 | 05 | 2033 | 49 | 46.08 | 141 | 39.53 | 141.6588 | 49.768 | 10.9 |  | 14 |  | 1.14
| P23 | usw | 07 | 06 | 05 | 2033 | 49 | 46.08 | 141 | 39.53 | 141.6588 | 49.768 | 11 |  | 14 |  | 1.14
| P23 B | usw | 07 | 06 | 05 | 2050 | 49 | 45.55 | 141 | 39.77 | 141.6628 | 49.7592 | 11 |  | 14 |  | 1.15
48 | P24 | 262 | 07 | 06 | 06 | 0201 | 49 | 50.31 | 142 | 39.39 | 142.6565 | 49.8385 | 13.2 |  | 18.6 |  | 1.31
50 | P25 | 264 | 07 | 06 | 06 | 1027 | 49 | 59.91 | 143 | 36.33 | 143.6055 | 49.9985 | 12.8 |  | 18.4 |  | 1.28
51 | P35 | 265 | 07 | 06 | 06 | 1454 | 50 | 00.03 | 144 | 18.16 | 144.3027 | 50.0005 | 14.1 |  | 22.6 |  | 1.36
66 | P26 | 335 | 07 | 06 | 08 | 1425 | 50 | 00.04 | 145 | 00.09 | 145.0015 | 50.0007 |  | i |  | i |  | i
66 | P26 | 336 | 07 | 06 | 08 | 1425 | 50 | 00.04 | 145 | 00.09 | 145.0015 | 50.0007 | 13.3 |  | 19.6 |  | 1.33
68 | P26 | 364 | 07 | 06 | 08 | 2134 | 49 | 59.88 | 144 | 59.99 | 144.9998 | 49.998 | 13.8 |  | 19.6 |  | 1.32
70 | P26 | 390 | 07 | 06 | 09 | 0320 | 50 | 00.13 | 145 | 00.16 | 145.0027 | 50.0022 | 13.6 |  | 19.6 |  | 1.32
71 | P26 | 403 | 07 | 06 | 09 | 0526 | 50 | 00.11 | 145 | 00.32 | 145.0053 | 50.0018 | 13.5 |  | 19.7 |  | 1.31
75 | P1E93 | 444 | 07 | 06 | 10 | 1421 | 47 | 00.04 | 144 | 40.19 | 144.6698 | 47.0007 | 11.4 |  | 18.1 |  | 1.18
76 | S5 | 445 | 07 | 06 | 10 | 2021 | 47 | 29.96 | 144 | 59.95 | 144.9992 | 47.4993 | 12.1 |  | 19.9 |  | 1.22
77 | S4 | 469 | 07 | 06 | 11 | 0233 | 47 | 59.7 | 145 | 00.48 | 145.008 | 47.995 | 11.8 |  | 20.8 |  | 1.25
84 | S3 | 525 | 07 | 06 | 11 | 1730 | 48 | 29.98 | 144 | 59.99 | 144.9998 | 48.4997 | 12.7 |  | 20.3 |  | 1.26
| S3 | usw | 07 | 06 | 11 | 1730 | 48 | 29.98 | 144 | 59.99 | 144.9998 | 48.4997 | 12.7 |  | 20.3 |  | 1.28
| S3 B | usw | 07 | 06 | 11 | 1757 | 48 | 32.08 | 144 | 59.93 | 144.9988 | 48.5347 | 12.8 |  | 20.3 |  | 1.28
86 | S2 | 549 | 07 | 06 | 11 | 2315 | 49 | 00.20 | 144 | 59.02 | 144.9837 | 49.0033 | 13.5 |  | 20 |  | 1.3
87 | S1 | 550 | 07 | 06 | 12 | 0423 | 49 | 29.9 | 145 | 00.11 | 145.0018 | 49.4983 | 13.3 |  | 21.8 |  | 1.32
89 | P41 | 551 | 07 | 06 | 12 | 1526 | 50 | 27.21 | 145 | 00.07 | 145.0012 | 50.4535 | 13.7 |  | 23.8 |  | 1.35
| P41 | usw | 07 | 06 | 12 | 1526 | 50 | 27.21 | 145 | 00.07 | 145.0012 | 50.4535 | 13.9 |  | 23.8 |  | 1.36
| P41 B | usw | 07 | 06 | 12 | 1535 | 50 | 27.73 | 145 | 00.14 | 145.0023 | 50.4622 | 13.8 |  | 23.8 |  | 1.37
90 | P32 | 575 | 07 | 06 | 12 | 2024 | 50 | 54.01 | 145 | 00.01 | 145.0002 | 50.9002 | 13.4 |  | 23.2 |  | 1.33
91 | Z1 | 576 | 07 | 06 | 13 | 0112 | 51 | 20.98 | 144 | 59.98 | 144.9997 | 51.3497 | 13.9 |  | 20.9 |  | 1.33
92 | Z2 | 599 | 07 | 06 | 13 | 0607 | 51 | 47.5 | 145 | 00.00 | 145 | 51.7917 | 15.5 |  | 24.1 |  | 1.42
93 | Z3 | 600 | 07 | 06 | 13 | 1039 | 52 | 12.02 | 144 | 59.98 | 144.9997 | 52.2003 | 15.7 |  | 26 |  | 1.44
94 | Z4 | 623 | 07 | 06 | 13 | 1545 | 52 | 38.97 | 145 | 00.01 | 145.0002 | 52.6495 | 15.6 |  | 26.3 |  | 1.46
95 | Z5 | 624 | 07 | 06 | 13 | 2020 | 53 | 06.29 | 145 | 00.77 | 145.0128 | 53.1048 | 16.5 |  | 28.6 |  | 1.51
98 | Z6 | 647 | 07 | 06 | 14 | 0320 | 53 | 33.47 | 145 | 02.01 | 145.0335 | 53.5578 | 15.9 |  | 27.7 |  | 1.49
99 | Z7 | 648 | 07 | 06 | 14 | 0818 | 53 | 59.99 | 145 | 00.10 | 145.0017 | 53.9998 | 16.3 |  | 27.9 |  | 1.48
100 | Z8 | 671 | 07 | 06 | 14 | 1314 | 54 | 26.98 | 144 | 59.99 | 144.9998 | 54.4497 | 17 |  | 29.5 |  | 1.51
| Loop 1 | usw | 07 | 06 | 14 | 1942 | 54 | 27.73 | 143 | 19.15 | 143.3192 | 54.4622 | 15.6 |  | 26.7 |  | 1.44
| Loop 2 | usw | 07 | 06 | 15 | 0048 | 54 | 24.98 | 142 | 03.04 | 142.0507 | 54.4163 | 14.3 |  | 25.3 |  | 1.41
| Loop 3 | usw | 07 | 06 | 15 | 0803 | 54 | 25.4 | 140 | 16.67 | 140.2778 | 54.4233 | 13.8 |  | 23.7 |  | 1.41
| Loop 4 | usw | 07 | 06 | 15 | 1213 | 54 | 23.84 | 139 | 16.5 | 139.275 | 54.3973 | 10.5 |  | 15.5 |  | 1.17
| Loop 5 | usw | 07 | 06 | 15 | 1500 | 54 | 22.44 | 138 | 34.77 | 138.5795 | 54.374 | 9.9 |  | 13 |  | 1.15
| Loop 6 | usw | 07 | 06 | 16 | 1855 | 54 | 21.38 | 137 | 39.17 | 137.6528 | 54.3563 | 9.8 |  | 13.2 |  | 1.2
| Loop 7 | usw | 07 | 06 | 16 | 0057 | 54 | 21.24 | 136 | 06.25 | 136.1042 | 54.354 | 8.9 |  | 13.7 |  | 1.14
| Loop 8 | usw | 07 | 06 | 16 | 0758 | 54 | 19.33 | 134 | 14 | 134.2333 | 54.3222 | 3.6 |  | 12.9 |  | 0.79
| Loop 9 | usw | 07 | 06 | 16 | 1200 | 54 | 18.71 | 133 | 06.98 | 133.1163 | 54.3118 | 3.6 |  | 8.1 |  | 0.7
| Loop 10 | usw | 07 | 06 | 17 | 0704 | 54 | 17.43 | 132 | 05.92 | 132.0987 | 54.2905 | 3 |  | 5.5 |  | 0.63

## Precision
Cruise 2007-13 May-June LineP
Nutrients analysed fresh at sea by Janet Barwell-Clarke using the new Astoria system
Precision was determined by analyzing replicate samples drawn from the same Niskin bottle and from two Niskin bottles tripped at the same depth.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
For replicate samples drawn from the same Niskin bottle:
Sp for nitrate for the range 0.1 to 46.0 uM was 0.11, k = 26
Sp for silicate for the range 2.8 to 174.3 uM was 0.27, k = 26
Sp for phosphate for the range 0.20 to 3.35 uM was 0.007, k = 26
For replicate samples drawn from the two Niskin bottles tripped at the same depth:
Sp for nitrate for the range 0.0 to 45.7 uM was 0.33, k = 8
Sp for silicate for the range 1.53 to 183.3 uM was 0.39, k = 8
Sp for phosphate for the range 0.22 to 3.40 uM was 0.005, k = 8
Nitrate data from 1000 to 4000 m agrees with results averaged over 16 profiles at P26 from 1995 to 2001 to within 0.58 %.
Silicate data from 1000 to 4000 m agrees with results averaged over 16 profiles at P26 from 1995 to 2001 to within 2.56 %.
Phosphate data from 1000 to 4000 m agrees with results averaged over 16 profiles at P26 from 1995 to 2001 to within 2.42 %.

## Dups diff niskin
2007-13
Sp for duplicates tripped at the same depth.
Cruise | Cast | Stn | Niskin | S.N. | Nitrate | Silicate | Phosphate |  | diff sq
|  |  | No. |  | uM | uM | uM | NO3 | SIL | PO4
2007-13 | 5 | P2 | 4 | 32 | 29.05 | 47.45 | 2.375 | 0.0025 | 0.01 | 0
2007-13 | 5 | P2 | 3 | 31 | 29.1 | 47.35 | 2.375
2007-13 | 8 | P4 | 23 | 60 | 0 | 1.71 | 0.23 | 0 | 0.0081 | 0.0001
2007-13 | 8 | P4 | 22 | 59 | 0 | 1.62 | 0.22
2007-13 | 8 | P4 | 21 | 58 | 0 | 1.53 | 0.22
2007-13 | 8 | P4 | 9 | 46 | 42.7 | 88.56 | 3.19 | 0.09 | 0 | 0
2007-13 | 8 | P4 | 8 | 45 | 43 | 88.56 | 3.19
2007-13 | 8 | P4 | 4 | 41 | 44.6 | 133.83 | 3.4 | 1.21 | 0.2025 | 0.0001
2007-13 | 8 | P4 | 3 | 40 | 45.7 | 134.28 | 3.39
2007-13 | 17 | P8 | 7 | 86 | 44 | 100.6 | 3.19 | 0.01 | 1.44 | 0.0001
2007-13 | 17 | P8 | 6 | 85 | 44.1 | 99.4 | 3.2
2007-13 | 25 | P12 | 4 | 132 | 41.5 | 182.5 | 3.05 | 0.36 | 0.64 | 0.0001
2007-13 | 25 | P12 | 3 | 131 | 40.9 | 183.3 | 3.06
2007-13 | 33 | P16 | 6 | 180 | 41.8 | 175.8 | 3.17 | 0.09 | 0.09 | 0
2007-13 | 33 | P16 | 5 | 179 | 42.1 | 175.5 | 3.17
2007-13 | 43 | P20 | 3 | 231 | 38.3 | 175 | 2.81 | 0 | 0.04 | 0
2007-13 | 43 | P20 | 2 | 230 | 38.3 | 174.8 | 2.81
[7 empty] | sum | 1.7625 | 2.4306 | 0.0004
[7 empty] | count | 8 | 8 | 8
[7 empty] | Sp | 0.3319 | 0.38976 | 0.005
[7 empty] | min | 0 | 1.53 | 0.22
[7 empty] | max | 45.7 | 183.3 | 3.4

## Dups same niskin
2007-13
Sp for duplicates taken from the same niskin
Cruise | Cast | Stn | Niskin | S.N. | Nitrate | Silicate | Phosphate |  | diff sq |  |  | avg
|  |  | No. |  | uM | uM | uM | NO3 | SIL | PO4 | NO3 | SIL | PO4
2007-13 | 5 | P2 | 8 | 36 | 0.1 | 2.8 | 0.2 | 0 | 0 | 0.0001 | 0.1 | 2.8 | 0.205
2007-13 | 5 | P2 |  | 36 dup | 0.1 | 2.8 | 0.21
2007-13 | 5 | P2 | 7 | 35 | 0.2 | 3.3 | 0.24 | 0.01 | 0.01 | 0.0001 | 0.15 | 3.25 | 0.235
2007-13 | 5 | P2 |  | 35 dup | 0.1 | 3.2 | 0.23
2007-13 | 5 | P2 | 6 | 34 | 5.8 | 11.7 | 0.82 | 0.01 | 0.01 | 0.0004 | 5.85 | 11.75 | 0.81
2007-13 | 5 | P2 |  | 34 dup | 5.9 | 11.8 | 0.8
2007-13 | 5 | P2 | 5 | 33 | 26.7 | 39.6 | 2.13 | 0.01 | 0.04 | 0.0001 | 26.65 | 39.5 | 2.135
2007-13 | 5 | P2 |  | 33 dup | 26.6 | 39.4 | 2.14
2007-13 | 5 | P2 | 4 | 32 | 29.2 | 47.3 | 2.37 | 0.04 | 0.01 | 0.0001 | 29.1 | 47.35 | 2.375
2007-13 | 5 | P2 |  | 32 dup | 29 | 47.4 | 2.38
2007-13 | 5 | P2 | 3 | 31 | 29.1 | 47.5 | 2.38 | 0.01 | 0.01 | 0.0001 | 29.05 | 47.45 | 2.375
2007-13 | 5 | P2 |  | 31 dup | 29 | 47.4 | 2.37
2007-13 | 5 | P2 | 2 | 30 | 33.8 | 64.1 | 2.79 | 0.01 | 0.04 | 0.0001 | 33.85 | 64.2 | 2.785
2007-13 | 5 | P2 |  | 30 dup | 33.9 | 64.3 | 2.78
2007-13 | 5 | P2 | 1 | 29 | 33.8 | 64.5 | 2.78 | 0.01 | 0.01 | 0.0001 | 33.85 | 64.55 | 2.775
2007-13 | 5 | P2 |  | 29 dup | 33.9 | 64.6 | 2.77
2007-13 | 8 | P4 | 12 | 49 | 33.4 | 60.8 | 2.47 | 0.09 | 0.25 | 0 | 33.55 | 61.05 | 2.47
2007-13 | 8 | P4 |  | 49 dup | 33.7 | 61.3 | 2.47
2007-13 | 11 | P4 | 8 | 69 | 2.5 | 6.3 | 0.66 | 0.01 | 0 | 0 | 2.45 | 6.3 | 0.66
2007-13 | 11 | P4 | 8 dup | 69 | 2.4 | 6.3 | 0.66
2007-13 | 17 | P8 |  | 94 | 12.6 | 13.4 | 1.21 | 0.01 | 0.01 | 0.0001 | 12.55 | 13.35 | 1.215
2007-13 | 17 | P8 |  | 94 dup | 12.5 | 13.3 | 1.22
2007-13 | 21 | P12 |  | 107 | 25.6 | 36.6 | 1.86 | 0.04 | 0.81 | 0 | 25.5 | 37.05 | 1.86
2007-13 | 21 | P12 |  | 107 dup | 25.4 | 37.5 | 1.86
2007-13 | 33 | P16 | 8 | 182 | 45 | 156.6 | 3.35 | 0.25 | 0.25 | 0 | 44.75 | 156.85 | 3.35
2007-13 | 33 | P16 | 8 dup | 182 | 44.5 | 157.1 | 3.35
2007-13 | 39 | P20 | 7 | 211 | 10.7 | 13.7 | 1.19 | 0 | 0.01 | 0 | 10.7 | 13.75 | 1.19
2007-13 | 39 | P20 | 7 dup | 211 | 10.7 | 13.8 | 1.19
2007-13 | 43 | P20 | 11 | 239 | 43.9 | 114.9 | 3.2 | 0.04 | 0 | 0.0001 | 44 | 114.9 | 3.205
2007-13 | 43 | P20 |  | 239 dup | 44.1 | 114.9 | 3.21
2007-13 | 66 | P26 | 10 | 328 | 13.7 | 20.2 | 1.34 | 0.01 | 0.25 | 0.0001 | 13.75 | 19.95 | 1.345
2007-13 | 66 | P26 | 10 dup | 328 | 13.8 | 19.7 | 1.35
2007-13 | 68 | P26 | 10 | 360 | 31.8 | 55.2 | 2.36 | 0.04 | 0.01 | 0.0001 | 31.9 | 55.25 | 2.355
2007-13 | 68 | P26 | 10 dup | 360 | 32 | 55.3 | 2.35
2007-13 | 70 | P26 | 3 | 369 | 38 | 174.3 | 2.77 | 0 | 0 | 0 | 38 | 174.3 | 2.77
2007-13 | 70 | P26 | 3 dup | 369 | 38 | 174.3 | 2.77
2007-13 | 71 | P26 | 1 | 391 | 41.5 | 85 | 2.93 | 0.01 | 0.01 | 0 | 41.55 | 85.05 | 2.93
2007-13 | 71 | P26 | 1 dup | 391 | 41.6 | 85.1 | 2.93
2007-13 | 75 | P1E93 | 9 | 429 | 44.7 | 147 | 3.26 | 0 | 0.04 | 0 | 44.7 | 146.9 | 3.26
2007-13 | 75 | P1E93 | 9 | 429 | 44.7 | 146.8 | 3.26
2007-13 | 77 | S4 | 19 | 464 | 14 | 23.9 | 1.41 | 0.01 | 0 | 0 | 13.95 | 23.9 | 1.41
2007-13 | 77 | S4 | 19 | 464 | 13.9 | 23.9 | 1.41
2007-13 | 85/86 | S2 | 8 | 533 | 45.8 | 146.6 | 3.31 | 0.04 | 0.01 | 0 | 45.9 | 146.55 | 3.31
2007-13 | 85/86 | S2 | 8 dup | 533 | 46 | 146.5 | 3.31
2007-13 | 90 | P32 | 22 | 573 | 13.4 | 23.3 | 1.33 | 0.01 | 0 | 0.0001 | 13.35 | 23.3 | 1.325
2007-13 | 90 | P32 | 22 dup 573 |  | 13.3 | 23.3 | 1.32
2007-13 | 92 | Z2 | 7 | 583 | 44.5 | 160.6 | 3.27 | 0 | 0.01 | 0.0004 | 44.5 | 160.65 | 3.26
2007-13 | 92 |  | 7 dup | 583 | 44.5 | 160.7 | 3.25
2007-13 | 94 | Z4 | 10 | 610 | 43.8 | 125.3 | 3.28 | 0.01 | 0.01 | 0 | 43.75 | 125.35 | 3.28
2007-13 | 94 | Z4 | 10 dup | 610 | 43.7 | 125.4 | 3.28
2007-13 | 98 | Z6 | 11 | 635 | 43.5 | 107.7 | 3.24 | 0 | 1.96 | 0.0001 | 43.5 | 107 | 3.235
2007-13 | 98 | Z6 | 11 dup | 635 | 43.5 | 106.3 | 3.23
[7 empty] | sum | 0.67 | 3.76 | 0.0022
[7 empty] | count | 26 | 26 | 26
[7 empty] | Sp | 0.11351 | 0.2689 | 0.0065044
[7 empty] | min | 0.1 | 2.8 | 0.2
[7 empty] | max | 46 | 174.3 | 3.35