Cruise 2007-17:  Line Z June 2007

CTD/Rosette:

34 files, 0001 to 0049

16 ‘real rosette casts’

1 cast where all bottles closed at 2000m for UBC bulk water (0023).

(CTD cast with no Niskin at 5m)

16 CTD casts in Rosette with 5m Niskin – 0443

1 CTD cast with no bottle at all (0049).

0 stand-alone CTD casts

All the casts were done with deck unit 0424; Mid-ship winch.

GENERAL NOTES:

Cast 0002 should be renamed 0004.

Cast 0003 should be renamed 0005.

Cast 0016 has wrong depth: should be 170.

Cast 0020 has wrong depth: should be 4038.

Casts 0026, 0027, 0028, 0029 have a “.dat” before the real extension.

The PAR sensor was NOT used during the cruise.

The serynges were not used either.  Please see if that made a difference in data.

Casts which need a change in station name:

0001        → Eddy 1

0004 (now 0002)       → Eddy 2

0021  Z19  →  Z17

SAMPLE NUMBER PROBLEMS:

Cast 0023: 24 Niskins closed at 2000 m.  No sample number as this was just for bulk water.  No 5m sample, but a loop was taken.

LOOPS:

Haida-6 and Haida-7 (casts 0040 and 0041) have a sample from the rosette (281 and 282), a loop (Haida-6A and Haida-7A) sample taken from the loop just before the end of the cast, and a loop (Haida-6B and Haida-7B) sample taken from the loop just after the ship reached a speed of 10 knots.

CTD casts:

Cast 0021:	lost transmissometer on the way down.

Cast 0037: 	temperature spike at beginning of cast.

OTHER NOTES:

Cast 0001:	winch went past 150 on upcast, so went back down to sample.

Cast 0005: 	winch spooling problems (means there will be some ‘ups and downs’).

Cast 0034: 	Pumps turned off at 5 m before  the sample was taken (before the Niskin was closed).