File List for SeaBird Data          Cruise Number: _2007-15____

[osapcommon\cruise_data\2007-15\ARCHIVE]

[osapcommon\cruise_data\2007-15\ARCHIVE\Bottle] *.CHE

[osapcommon\cruise_data\2007-15\ARCHIVE\CTD] *.CTD

[osapcommon\cruise_data\2007-15\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osapcommon\cruise_data\2007-15\ARCHIVE\DOC\HYDRO] COMPARE files and edited versions of    spreadsheets from analysts

[osapcommon\cruise_data\2007-15\ARCHIVE\DOC\TSG] all TSG documents

[osapcommon\cruise_data\2007-15\ARCHIVE\TSG] *.TOB

[osapcommon\cruise_data\2007-15\PROCESSING]

[osapcommon\cruise_data\2007-15\PROCESSING\Angelica] files for use of A. Peña

[osapcommon\cruise_data\2007-15\PROCESSING\CONVERT]

*.CNV – after conversion

[osapcommon\cruise_data\2007-15\PROCESSING\DERIVE]

*.CNV – after conversion, wildedit, celltm, derive

[osapcommon\cruise_data\2007-15\PROCESSING\DOC]

2007-15-recalp.ccf – calibration control file for pressure

2007-15-recal1.ccf – calibration control file for recalibration of DO

2007-15-recal2.ccf – calibration control file for 2nd recalibration of DO

2007-15-ctd – corrected configuration files

2007-15_file.doc - this document

2007-15_proc.doc - processing notes

2007-15-che-final.rpt – CTD file header check including channel summary

2007-15-ctd-final.rpt – CHE file header check including channel summary

2007-15-altimeter.csv – report on header entries for altimetry before corrections

*hdr.txt – header files with comments for CTD and CHE files

[osapcommon\cruise_data\2007-15\PROCESSING\DOC\hydro]

2007-15CHL.CSV – simplified version of CHL spreadsheet from analyst

2007-15-sal.csv – salinity data from Autosal (CTD and loop)

2007-15nuts.csv – edited version of the nutrient spreadsheet

2007-15-surf_chl.csv – extra surface data not in above file

2007-15-surf_nuts.csv – extra surface data not in above file

extra_chl_nuts.csv – still more CHL and NUTS data found in December,2007

2007-15-chl-fluor-comp.csv & xls – comparison of CTD Fluorescence and extracted CHL

2007-15-dox-comp1.csv & .xls – initial comparison of titrated DO and CTD DO

2007-15-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2007-15-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2007-15-dox-comp4.csv & .xls – comparison of titrated DO and CTD DO after final recal

2007-15-sal-comp1.csv & xls – initial salinity COMPARE file

2007-15-sal-comp1-Niskin.csv & xls – salinity comparison using Niskin # as reference channel

2007-15-sal-comp1-samp.csv & xls – salinity comparison using sample # as reference channel

2007-15 Sheila’s Test3.xls – test recalculation of a few salinity samples – not used

2007-15-salinity analysis study.xls - study of salinity samples in order of analysis

Salinity analysis test from 3 cruises.xls – comparison of multiple bottles in deep water

addsamp.csv – file containing cast #, bottle number and sample number

[osapcommon\cruise_data\2007-15\PROCESSING\DOC\tsg]

2007-15-tsg-recal1.ccf – recalibration file for TSG

2007-15-TSG.con – corrected configuration file for conversion of HEX files.

2007-15-loop-CHL.csv – loop CHL data

2007-15-loop-nuts.csv – Loop nutrient data

2007-15-loop-sal.csv – loop salinity

2007-15-hdr-TSG.txt – text file to add to header of TSG files

2007-15-0001-chl-tsg-loop-comp.xls – comparison of TSG fluorescence and loop CHL

2007-15-ctd-pCO2-TSG-comp.xls – comparison of temp from TSG, pCO2 and CTD

2007-15-ctd-tsg-comp.xls – comparison of CTD and TSG salinity/temperature/fluor

2007-15-loop-sal-comp.xls – comparison of TSG salinity and loop salinity

2007-15-CHL-TSG-loop-comp.xls – comparison of TSG FL and Loop CHL

[osapcommon\cruise_data\2007-15\PROCESSING\HYDRO]

*.add – bottle from analyst, converted, edited, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – chlorophyll files converted from simplified version of analyst’s spreadsheet

*.ed1 & *.log – output files from editing for cast #76

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osapcommon\cruise_data\2007-15\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2007-15\PROCESSING\TSG] before conversion to IOS SHELL

*.cnv – TSG files after SeaBird conversion

*.con –  configuration files (Original and corrected)

*.hex – raw TSG files

[osapcommon\cruise_data\2007-15\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding positions and times to headers and time/date channel

*.ed1, ed2 & ed3 – after editing of positions and temperature, salinity & fluorescence

*.ios – after conversion to IOS HEADERS

*.log – log files from editing

*.tob – final TSG files

______________________________________________________________________________

[osapcommon\cruise_data\2007-15\RAW]

[osapcommon\cruise_data\2007-15\RAW\CHL]

[osapcommon\cruise_data\2007-15\RAW\CTD]

[osapcommon\cruise_data\2007-15\RAW\Files] cruise plans, reports etc.

[osapcommon\cruise_data\2007-15\RAW\NUTRIENTS] data from analyst

[osapcommon\cruise_data\2007-15\RAW\OXYGEN] data from analyst

[osapcommon\cruise_data\2007-15\RAW\pCO2]

[osapcommon\cruise_data\2007-15\RAW\Salinity] data from analyst

[osapcommon\cruise_data\2007-15\RAW\SCS]

[osapcommon\cruise_data\2007-15\RAW\TSG] TSG raw files