## Station data
Cruise 2007-15 Aug LineP nutrient samples analyzed fresh at sea on new Astoria System
Nutrient data 2007-15
Samples were collected in plastic test tubes.
Samples were analysed fresh at sea by Janet Barwell-Clarke using the new Astoria system
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
e = Not reported (lost sample; unredeemably bad measurement)
f = average of duplicate samples
i = sample not drawn for this measurement from this bottle
NOTE: All phosphate data is flagged as d - the new system caused contamination ranging from 0.07 to 0.33 uM PO4
Phosphate data was recovered by comparing to archived data below 1000 m at each station and correcting accordingly.
[10 empty] | Corrected |  | Correction applied
Cruise | Cast | Stn | Niskin | S.N. | Depth | Nitrate | Flag: NO3 | Silicate | Flag:SIL | Phosphate | Flag:PO4 | Phosphate | Chlorophyll | Comments
|  |  | No. |  | db | uM |  | uM |  |  |  |  | ug/L
2007-15 | 1 | SI03 | 11 | 11 | 6.281 | 14.5 |  | 45.2 |  | 1.48 | d | 0.13
2007-15 | 1 | SI03 | 10 | 10 | 11.145 | 20.3 |  | 45.9 |  | 1.7 | d | 0.13
2007-15 | 1 | SI03 | 9 | 9 | 26.546 | 24.4 |  | 44.6 |  | 2 | d | 0.13
2007-15 | 1 | SI03 | 8 | 8 | 51.732 | 28.45 | f | 51.7 | f | 2.35 | d | 0.13
2007-15 | 1 | SI03 | 7 | 7 | 76.686 | 29.7 |  | 63.4 |  | 2.97 | d | 0.13
2007-15 | 1 | SI03 | 6 | 6 | 101.643 | 27.2 |  | 72.9 |  | 3.7 | d | 0.13
2007-15 | 1 | SI03 | 5 | 5 | 126.571 | 18.9 |  | 80.8 |  | 4.09 | d | 0.13
2007-15 | 1 | SI03 | 4 | 4 | 151.551 |  | i | 97.2 |  | 4.97 | d | 0.13 |  | H2S - no nitrate
2007-15 | 1 | SI03 | 3 | 3 | 176.477 |  | i | 106.8 |  | 5.54 | d | 0.13 |  | H2S - no nitrate
2007-15 | 1 | SI03 | 2 | 2 | 201.762 |  | i | 110.1 |  | 5.67 | d | 0.13 |  | H2S - no nitrate
2007-15 | 1 | SI03 | 1 | 1 | 217.299 |  | i | 110.7 |  | 5.72 | d | 0.13 |  | H2S - no nitrate
2007-15 | 4 | P 2 | 12 | 48 | 5.549 | 0 |  | 13.7 |  | 0.13 | d | 0.13
2007-15 | 4 | P 2 | 11 | 47 | 10.77 | 0 |  | 15.5 |  | 0.14 | d | 0.13
2007-15 | 4 | P 2 | 6 | 42 | 24.537 | 22.3 | f | 33.35 | f | 1.775 | d | 0.13
2007-15 | 4 | P 2 | 5 | 41 | 50.495 | 23.7 |  | 32.3 |  | 1.88 | d | 0.13
2007-15 | 4 | P 2 | 4 | 40 | 73.804 | 24.2 |  | 30.4 |  | 1.81 | d | 0.13
2007-15 | 4 | P 2 | 3 | 39 | 73.676 | 23.8 |  | 30.5 |  | 1.8 | d | 0.13
2007-15 | 4 | P 2 | 2 | 38 | 99.903 | 31 |  | 44.4 |  | 2.26 | d | 0.13
2007-15 | 4 | P 2 | 1 | 37 | 106.029 | 34.3 |  | 52.3 |  | 2.5 | d | 0.13
2007-15 | 8 | P 4 | 15 | 64 | 1.741 | 0 |  | 10.2 |  | 0.23 | d | 0.13
2007-15 | 8 | P 4 | 13 | 62 | 5.088 | 0 |  | 10.2 |  | 0.23 | d | 0.13
2007-15 | 8 | P 4 | 12 | 61 | 10.08 | 0 |  | 10.8 |  | 0.24 | d | 0.13
2007-15 | 8 | P 4 | 11 | 60 | 15.478 | 0.05 | f | 10 | f | 0.305 | d | 0.13
2007-15 | 8 | P 4 | 10 | 59 | 20.491 | 3.2 |  | 10.4 |  | 0.66 | d | 0.13
2007-15 | 8 | P 4 | 9 | 58 | 25.071 | 5.4 |  | 9.7 |  | 0.82 | d | 0.13
2007-15 | 8 | P 4 | 8 | 57 | 30.236 | 7 |  | 10.1 |  | 0.86 | d | 0.13
2007-15 | 8 | P 4 | 7 | 56 | 39.805 | 8.7 |  | 9.4 |  | 0.95 | d | 0.13
2007-15 | 8 | P 4 | 6 | 55 | 50.197 | 10.1 |  | 9.5 |  | 1.02 | d | 0.13
2007-15 | 8 | P 4 | 5 | 54 | 74.772 | 12.2 |  | 11.6 |  | 1.13 | d | 0.13
2007-15 | 8 | P 4 | 4 | 53 | 101.285 | 21.3 |  | 24.3 |  | 1.63 | d | 0.13
2007-15 | 8 | P 4 | 3 | 52 | 176.288 | 34.2 |  | 46.9 |  | 2.4 | d | 0.13
2007-15 | 8 | P 4 | 2 | 51 | 201.851 | 35.7 |  | 51.5 |  | 2.5 | d | 0.13
2007-15 | 8 | P 4 | 1 | 50 | 301.071 | 39.2 |  | 63.9 |  | 2.76 | d | 0.13
2007-15 | 10 | P4 | 19 | 92 | 5.006 | 0 |  | 10.7 |  | 0.24 | d | 0.13
2007-15 | 10 | P4 | 18 | 91 | 9.643 | 0 |  | 10.6 |  | 0.25 | d | 0.13
2007-15 | 10 | P4 | 17 | 90 | 25.653 | 5.2 |  | 9.6 |  | 0.85 | d | 0.13
2007-15 | 10 | P4 | 16 | 89 | 48.946 | 10 |  | 9.7 |  | 1.07 | d | 0.13
2007-15 | 10 | P4 | 15 | 88 | 74.093 | 14 |  | 15.1 |  | 1.26 | d | 0.13
2007-15 | 10 | P4 | 14 | 87 | 99.783 | 23.2 |  | 28 |  | 1.81 | d | 0.13
2007-15 | 10 | P4 | 13 | 86 | 124.155 | 27.1 |  | 35.1 |  | 2.06 | d | 0.13
2007-15 | 10 | P4 | 12 | 85 | 148.694 | 31.9 |  | 42.6 |  | 2.29 | d | 0.13
2007-15 | 10 | P4 | 11 | 84 | 173.932 | 33.3 |  | 47.4 |  | 2.42 | d | 0.13
2007-15 | 10 | P4 | 10 | 83 | 199.893 | 35.2 |  | 51.3 |  | 2.52 | d | 0.13
2007-15 | 10 | P4 | 9 | 82 | 249.582 | 32 | c | 42.5 | c | 2.3 | c | 0.13 |  | mis sample ????
2007-15 | 10 | P4 | 8 | 81 | 300.307 | 38.3 |  | 61.7 |  | 2.74 | d | 0.13
2007-15 | 10 | P4 | 7 | 80 | 400.138 | 40.6 |  | 73 |  | 2.93 | d | 0.13
2007-15 | 10 | P4 | 6 | 79 | 600.995 | 43.2 |  | 92.7 |  | 3.16 | d | 0.13
2007-15 | 10 | P4 | 5 | 78 | 801.527 | 43.3 |  | 112.6 |  | 3.29 | d | 0.13
2007-15 | 10 | P4 | 4 | 77 | 1000.386 | 45.7 |  | 128.6 |  | 3.31 | d | 0.13
2007-15 | 10 | P4 | 3 | 76 | 1000.755 | 45.6 |  | 128.1 |  | 3.31 | d | 0.13
2007-15 | 10 | P4 | 2 | 75 | 1249.708 | 46.8 |  | 145.3 |  | 3.28 | d | 0.13
2007-15 | 10 | P4 | 1 | 74 | 1306.217 | 45.8 |  | 151 |  | 3.28 | d | 0.13
2007-15 | 14 | P8 | 19 | 114 | 10.751 | 0 |  | 6.7 |  | 0.47 | d | 0.07
2007-15 | 14 | P8 | 18 | 113 | 24.543 | 0 |  | 6.6 |  | 0.51 | d | 0.07
2007-15 | 14 | P8 | 17 | 112 | 49.804 | 6 |  | 8.4 |  | 0.97 | d | 0.07
2007-15 | 14 | P8 | 16 | 111 | 75.931 | 9.9 |  | 10.1 |  | 1.13 | d | 0.07
2007-15 | 14 | P8 | 15 | 110 | 99.748 | 18 |  | 19.9 |  | 1.57 | d | 0.07
2007-15 | 14 | P8 | 14 | 109 | 124.461 | 22.7 |  | 26.7 |  | 1.81 | d | 0.07
2007-15 | 14 | P8 | 13 | 108 | 150.635 | 26.85 | f | 34.4 | f | 2.04 | d | 0.07
2007-15 | 14 | P8 | 12 | 107 | 176.061 | 29.1 |  | 40.5 |  | 2.16 | d | 0.07
2007-15 | 14 | P8 | 11 | 106 | 200.378 | 29.7 |  | 44.8 |  | 2.23 | d | 0.07
2007-15 | 14 | P8 | 10 | 105 | 250.998 | 34.5 |  | 56.3 |  | 2.54 | d | 0.07
2007-15 | 14 | P8 | 9 | 104 | 301.613 | 37.7 |  | 64.9 |  | 2.79 | d | 0.07
2007-15 | 14 | P8 | 8 | 103 | 400.273 | 40.6 |  | 76.6 |  | 3.01 | d | 0.07
2007-15 | 14 | P8 | 7 | 102 | 601.594 | 43.5 |  | 99.6 |  | 3.26 | d | 0.07
2007-15 | 14 | P8 | 6 | 101 | 800.413 | 44.3 |  | 122.5 |  | 3.31 | d | 0.07
2007-15 | 14 | P8 | 5 | 100 | 800.674 | 45 |  | 122.7 |  | 3.3 | d | 0.07
2007-15 | 14 | P8 | 4 | 99 | 1001.206 | 45 |  | 138.3 |  | 3.33 | d | 0.07
2007-15 | 14 | P8 | 3 | 98 | 1250.015 | 44.9 |  | 154 |  | 3.31 | d | 0.07
2007-15 | 14 | P8 | 2 | 97 | 1500.187 | 44.1 |  | 166 |  | 3.22 | d | 0.07
2007-15 | 14 | P8 | 1 | 96 | 1999.88 | 42.4 |  | 176.2 |  | 3.09 | d | 0.07
2007-15 | 19 | P12 | 23 | 145 | 5.038 | 3.1 |  | 9.5 |  | 0.63 | d | 0.09
2007-15 | 19 | P12 | 22 | 144 | 9.913 | 3.3 |  | 9.1 |  | 0.64 | d | 0.09
2007-15 | 19 | P12 | 21 | 143 | 25.387 | 5.8 |  | 6.9 |  | 0.79 | d | 0.09
2007-15 | 19 | P12 | 20 | 142 | 51.259 | 8.4 |  | 11.7 |  | 1.04 | d | 0.09
2007-15 | 19 | P12 | 19 | 141 | 76.271 | 12.6 |  | 13.5 |  | 1.19 | d | 0.09
2007-15 | 19 | P12 | 18 | 140 | 100.542 | 15.4 |  | 17 |  | 1.32 | d | 0.09
2007-15 | 19 | P12 | 17 | 139 | 125.098 | 21.5 |  | 27.3 |  | 1.63 | d | 0.09
2007-15 | 19 | P12 | 16 | 138 | 149.429 | 24.5 |  | 35 |  | 1.78 | d | 0.09
2007-15 | 19 | P12 | 15 | 137 | 174.621 | 27.6 |  | 40.4 |  | 1.91 | d | 0.09
2007-15 | 19 | P12 | 14 | 136 | 199.321 | 28.2 |  | 43.9 |  | 2.01 | d | 0.09
2007-15 | 19 | P12 | 13 | 135 | 251.248 | 31.5 |  | 54 |  | 2.24 | d | 0.09
2007-15 | 19 | P12 | 12 | 134 | 298.997 |  | i |  | i |  | i |  |  | no sample 12
2007-15 | 19 | P12 | 11 | 133 | 399.911 | 42 |  | 84.5 |  | 2.91 | d | 0.09
2007-15 | 19 | P12 | 10 | 132 | 600.359 | 44.3 |  | 108.1 |  | 3.16 | d | 0.09
2007-15 | 19 | P12 | 9 | 131 | 800.153 | 45.4 |  | 129.7 |  | 3.28 | d | 0.09
2007-15 | 19 | P12 | 8 | 130 | 1000.007 | 45.9 |  | 143.6 |  | 3.31 | d | 0.09
2007-15 | 19 | P12 | 7 | 129 | 1250.593 | 46.3 | f | 158.1 | f | 3.29 | d | 0.09
2007-15 | 19 | P12 | 6 | 128 | 1499.809 | 45.4 |  | 170 |  | 3.23 | d | 0.09
2007-15 | 19 | P12 | 5 | 127 | 2000.33 | 43.7 |  | 181.1 |  | 3.09 | d | 0.09
2007-15 | 19 | P12 | 4 | 126 | 2502.677 | 41.8 |  | 184.9 |  | 2.99 | d | 0.09
2007-15 | 19 | P12 | 3 | 125 | 3000.812 | 41.4 |  | 184.7 |  | 2.91 | d | 0.09
2007-15 | 19 | P12 | 2 | 124 | 3001.362 | 41.1 |  | 183.7 |  | 2.92 | d | 0.09
2007-15 | 19 | P12 | 1 | 123 | 3275.496 | 41.5 |  | 183.8 |  | 2.91 | d | 0.09
2007-15 | 22 | P12 | 15 | 171 | 3.413 | 2.9 |  | 9.7 |  | 0.63 | d | 0.09
2007-15 | 22 | P12 | 14 | 170 | 5.05 |  | i |  | i |  | i |  |  | no nutrient drawn
2007-15 | 22 | P12 | 13 | 169 | 4.936 | 2.9 |  | 9.7 |  | 0.63 | d | 0.09
2007-15 | 22 | P12 | 12 | 168 | 10.27 | 2.9 |  | 9.8 |  | 0.65 | d | 0.09
2007-15 | 22 | P12 | 11 | 167 | 15.815 | 3.4 |  | 9.2 |  | 0.67 | d | 0.09
2007-15 | 22 | P12 | 10 | 166 | 19.057 | 3.7 |  | 6.9 |  | 0.73 | d | 0.09
2007-15 | 22 | P12 | 9 | 165 | 24.47 | 5.8 |  | 7.4 |  | 0.86 | d | 0.09
2007-15 | 22 | P12 | 8 | 164 | 30.169 | 7.45 | f | 9.45 | f | 0.98 | d | 0.09
2007-15 | 22 | P12 | 7 | 163 | 39.938 | 8.9 |  | 11.6 |  | 1.1 | d | 0.09
2007-15 | 22 | P12 | 6 | 162 | 49.47 | 11.4 |  | 11.7 |  | 1.17 | d | 0.09
2007-15 | 22 | P12 | 5 | 161 | 74.602 | 13.5 |  | 14.5 |  | 1.28 | d | 0.09
2007-15 | 22 | P12 | 4 | 160 | 98.852 | 17.6 |  | 21.3 |  | 1.51 | d | 0.09
2007-15 | 22 | P12 | 3 | 159 | 175.398 | 26.2 |  | 40.1 |  | 1.95 | d | 0.09
2007-15 | 22 | P12 | 2 | 158 | 198.968 | 29.2 |  | 45.9 |  | 2.11 | d | 0.09
2007-15 | 22 | P12 | 1 | 157 | 301.793 | 34.8 |  | 67.2 |  | 2.64 | d | 0.09
2007-15 | 25 | P14 | 5 | 177 | 5.1 | 3.2 |  | 9 |  | 0.64 | d | 0.16
2007-15 | 25 | P14 | 4 | 176 | 9.6 | 3.3 |  | 9.1 |  | 0.65 | d | 0.16
2007-15 | 27 | P16 | 24 | 202 | 3.439 | 4.7 |  | 10.7 |  | 0.69 | d | 0.16
2007-15 | 27 | P16 | 23 | 201 | 10.141 | 4.7 |  | 10.9 |  | 0.7 | d | 0.16
2007-15 | 27 | P16 | 22 | 200 | 25.557 | 6.3 |  | 11.8 |  | 0.76 | d | 0.16
2007-15 | 27 | P16 | 21 | 199 | 50.417 | 12.2 |  | 13.8 |  | 1.15 | d | 0.16
2007-15 | 27 | P16 | 20 | 198 | 73.731 | 15.7 |  | 18.4 |  | 1.33 | d | 0.16
2007-15 | 27 | P16 | 19 | 197 | 100.936 | 19.7 |  | 26.5 |  | 1.51 | d | 0.16
2007-15 | 27 | P16 | 18 | 196 | 126.343 | 27 |  | 39.3 |  | 1.94 | d | 0.16
2007-15 | 27 | P16 | 17 | 195 | 149.914 | 28.2 |  | 43.8 |  | 1.98 | d | 0.16
2007-15 | 27 | P16 | 16 | 194 | 174.372 | 27.9 | f | 46.75 | f | 1.965 | d | 0.16
2007-15 | 27 | P16 | 15 | 193 | 199.96 | 29.6 |  | 52 |  | 2.09 | d | 0.16
2007-15 | 27 | P16 | 14 | 192 | 250.023 | 36.3 |  | 65.8 |  | 2.53 | d | 0.16
2007-15 | 27 | P16 | 13 | 191 | 300.43 | 39.6 |  | 74 |  | 2.78 | d | 0.16
2007-15 | 27 | P16 | 12 | 190 | 401.119 | 42.9 |  | 88.3 |  | 3.03 | d | 0.16
2007-15 | 27 | P16 | 11 | 189 | 601.048 | 44.7 |  | 109.4 |  | 3.28 | d | 0.16
2007-15 | 27 | P16 | 10 | 188 | 801.073 | 45.5 |  | 127.5 |  | 3.3 | d | 0.16
2007-15 | 27 | P16 | 9 | 187 | 1000.803 | 45.9 |  | 142.3 |  | 3.29 | d | 0.16
2007-15 | 27 | P16 | 8 | 186 | 1248.526 | 46 |  | 157.4 |  | 3.28 | d | 0.16
2007-15 | 27 | P16 | 7 | 185 | 1501.67 | 45.7 |  | 166 |  | 3.22 | d | 0.16
2007-15 | 27 | P16 | 6 | 184 | 2001.01 | 44 |  | 176.9 |  | 3.06 | d | 0.16
2007-15 | 27 | P16 | 5 | 183 | 2499.294 | 41.9 |  | 179.2 |  | 2.92 | d | 0.16
2007-15 | 27 | P16 | 4 | 182 | 2499.46 | 42 |  | 180.2 |  | 2.91 | d | 0.16
2007-15 | 27 | P16 | 3 | 181 | 2999.368 | 40.7 |  | 180.2 |  | 2.82 | d | 0.16
2007-15 | 27 | P16 | 2 | 180 | 3502.473 | 39.9 |  | 179.9 |  | 2.77 | d | 0.16
2007-15 | 27 | P16 | 1 | 179 | 3686.051 | 39.7 |  | 180.7 |  | 2.77 | d | 0.16
2007-15 | 28 | P16 | 15 | 217 | 2.275 | 4.7 | f | 10.85 | f | 0.72 | d | 0.16
2007-15 | 28 | P16 | 13 | 215 | 6.801 | 4.6 |  | 10.8 |  | 0.72 | d | 0.16
2007-15 | 28 | P16 | 12 | 214 | 10.338 | 4.9 |  | 11 |  | 0.75 | d | 0.16
2007-15 | 28 | P16 | 11 | 213 | 14.436 | 5 |  | 11.2 |  | 0.76 | d | 0.16
2007-15 | 28 | P16 | 10 | 212 | 17.052 | 5.1 |  | 11.3 |  | 0.77 | d | 0.16
2007-15 | 28 | P16 | 9 | 211 | 24.874 | 5.6 |  | 11.6 |  | 0.81 | d | 0.16
2007-15 | 28 | P16 | 8 | 210 | 29.739 | 7.6 |  | 12.5 |  | 0.93 | d | 0.16
2007-15 | 28 | P16 | 7 | 209 | 40.818 | 9.3 |  | 13 |  | 1.06 | d | 0.16
2007-15 | 28 | P16 | 6 | 208 | 50.163 | 12.3 |  | 14.1 |  | 1.2 | d | 0.16
2007-15 | 28 | P16 | 5 | 207 | 74.165 | 14.7 |  | 17.7 |  | 1.33 | d | 0.16
2007-15 | 28 | P16 | 4 | 206 | 101.631 | 20 |  | 27.2 |  | 1.58 | d | 0.16
2007-15 | 28 | P16 | 3 | 205 | 173.742 | 28.1 |  | 47 |  | 2.07 | d | 0.16
2007-15 | 28 | P16 | 2 | 204 | 201.705 | 28.7 |  | 50.3 |  | 2.12 | d | 0.16
2007-15 | 28 | P16 | 1 | 203 | 301.088 | 38.6 |  | 73.2 |  | 2.78 | d | 0.16
2007-15 | 33 | P18 | 5 | 233 | 4.185 | 5.6 |  | 4.1 |  | 0.71 | d | 0.16
2007-15 | 33 | P18 | 4 | 232 | 11.112 | 5.7 |  | 4 |  | 0.72 | d | 0.16
2007-15 | 34 | P19 | 3 | 236 | 5.046 | 6.3 |  | 5.5 |  | 0.81 | d | 0.16
2007-15 | 34 | P19 | 2 | 235 | 30.869 | 9.4 |  | 12.1 |  | 1.08 | d | 0.16
2007-15 | 35 | P20 | 20 | 256 | 1.048 | 4.1 |  | 0.4 |  | 0.68 | d | 0.16
2007-15 | 35 | P20 | 16 | 252 | 3.028 | 4.3 |  | 0.4 |  | 0.68 | d | 0.16
2007-15 | 35 | P20 | 14 | 250 | 8.926 | 4.2 |  | 0.4 |  | 0.67 | d | 0.16
2007-15 | 35 | P20 | 13 | 249 | 15.773 | 4.6 |  | 0.4 |  | 0.67 | d | 0.16
2007-15 | 35 | P20 | 12 | 248 | 18.561 | 4.7 |  | 0.5 |  | 0.71 | d | 0.16
2007-15 | 35 | P20 | 10 | 246 | 23.851 | 9.1 |  | 10.2 |  | 1.05 | d | 0.16
2007-15 | 35 | P20 | 8 | 244 | 29.784 | 9.8 |  | 14.5 |  | 1.16 | d | 0.16
2007-15 | 35 | P20 | 7 | 243 | 39.038 | 12.1 |  | 16.6 |  | 1.22 | d | 0.16
2007-15 | 35 | P20 | 6 | 242 | 48.312 | 12.2 |  | 17.9 |  | 1.27 | d | 0.16
2007-15 | 35 | P20 | 5 | 241 | 74.105 | 14.1 |  | 18.4 |  | 1.34 | d | 0.16
2007-15 | 35 | P20 | 4 | 240 | 99.104 | 16.4 |  | 20.7 |  | 1.44 | d | 0.16
2007-15 | 35 | P20 | 3 | 239 | 174.451 | 28.8 |  | 54.2 |  | 2.22 | d | 0.16
2007-15 | 35 | P20 | 2 | 238 | 198.766 | 31.4 | f | 61.7 | f | 2.41 | d | 0.16
2007-15 | 35 | P20 | 1 | 237 | 302.196 | 39 |  | 83.9 |  | 2.84 | d | 0.16
2007-15 | 37 | P20 | 24 | 290 | 6.596 | 4.6 |  | 0.4 |  | 0.63 | d | 0.33
2007-15 | 37 | P20 | 23 | 289 | 10.76 | 4.4 |  | 0.6 |  | 0.62 | d | 0.33
2007-15 | 37 | P20 | 22 | 288 | 24.431 | 4.9 |  | 0.5 |  | 0.66 | d | 0.33
2007-15 | 37 | P20 | 21 | 287 | 50.638 | 11.7 |  | 15.7 |  | 1.17 | d | 0.33
2007-15 | 37 | P20 | 20 | 286 | 76.839 | 13.7 |  | 17.2 |  | 1.23 | d | 0.33
2007-15 | 37 | P20 | 19 | 285 | 98.467 | 15.9 |  | 19.7 |  | 1.33 | d | 0.33
2007-15 | 37 | P20 | 18 | 284 | 124.077 | 23.5 |  | 33.1 |  | 1.69 | d | 0.33
2007-15 | 37 | P20 | 17 | 283 | 149.714 | 26.4 |  | 41.2 |  | 1.89 | d | 0.33
2007-15 | 37 | P20 | 16 | 282 | 175.81 | 28.6 |  | 46.9 |  | 2.02 | d | 0.33
2007-15 | 37 | P20 | 15 | 281 | 198.278 | 29.7 |  | 53.5 |  | 2.17 | d | 0.33
2007-15 | 37 | P20 | 14 | 280 | 249.687 | 34.3 |  | 65.2 |  | 2.49 | d | 0.33
2007-15 | 37 | P20 | 13 | 279 | 300.783 | 38.1 |  | 75.8 |  | 2.71 | d | 0.33
2007-15 | 37 | P20 | 12 | 278 | 400.173 | 41.6 |  | 92.6 |  | 2.98 | d | 0.33
2007-15 | 37 | P20 | 11 | 277 | 599.133 | 42.8 | d | 115.7 |  | 3.15 | d | 0.33 |  | poor peak shape, low nitrate
2007-15 | 37 | P20 | 10 | 276 | 799.082 | 42.4 | d | 131.8 |  | 3.25 | d | 0.33
2007-15 | 37 | P20 | 8 | 274 | 1248.728 | 44.2 | d | 156.4 |  | 3.31 | d | 0.33
2007-15 | 37 | P20 | 7 | 273 | 1500.213 | 44.8 |  | 164.2 |  | 3.25 | d | 0.33
2007-15 | 37 | P20 | 6 | 272 | 2001.539 | 43.7 |  | 173.7 |  | 3.08 | d | 0.33
2007-15 | 37 | P20 | 5 | 271 | 2501.158 | 41.3 |  | 174.9 |  | 2.95 | d | 0.33
2007-15 | 37 | P20 | 4 | 270 | 2500.551 | 41.7 |  | 175.4 |  | 2.97 | d | 0.33
2007-15 | 37 | P20 | 3 | 269 | 3001.391 | 40.5 |  | 174.5 |  | 2.87 | d | 0.33
2007-15 | 37 | P20 | 2 | 268 | 3501.325 | 39 |  | 174.9 |  | 2.78 | d | 0.33
2007-15 | 37 | P20 | 1 | 267 | 4025.125 | 38.7 |  | 181.4 |  | 2.74 | d | 0.33
2007-15 | 41 | P22 | 8 | 299 | 4.86 | 10.8 |  | 15.4 |  | 1.03 | d | 0.18
2007-15 | 41 | P22 | 6 | 297 | 10.507 | 10.7 |  | 15.3 |  | 0.99 | d | 0.18
2007-15 | 41 | P22 | 2 | 293 | 29.085 | 11 |  | 15.6 |  | 1.05 | d | 0.18
2007-15 | 43 | P24 | 5 | 305 | 5.683 | 9.9 |  | 16.3 |  | 1 | d | 0.18
2007-15 | 43 | P24 | 4 | 304 | 14.235 | 10 |  | 16.7 |  | 0.99 | d | 0.18
2007-15 | 47 | P26 | 19 | 326 | 1.924 | 10.7 |  | 17 |  | 1.07 | d | 0.18
2007-15 | 47 | P26 | 16 | 323 | 4.439 | 10.7 |  | 17 |  | 1.07 | d | 0.18
2007-15 | 47 | P26 | 14 | 321 | 9.777 | 10.7 |  | 17 |  | 1.07 | d | 0.18
2007-15 | 47 | P26 | 13 | 320 | 14.611 | 10.7 |  | 17.4 |  | 1.07 | d | 0.18
2007-15 | 47 | P26 | 12 | 319 | 19.531 | 10.65 | f | 16.85 | f | 1.07 | d | 0.18
2007-15 | 47 | P26 | 10 | 317 | 26.276 | 10.7 |  | 16.9 |  | 1.07 | d | 0.18
2007-15 | 47 | P26 | 8 | 315 | 28.967 | 11.3 |  | 18 |  | 1.11 | d | 0.18
2007-15 | 47 | P26 | 7 | 314 | 40.928 | 12.3 |  | 20.3 |  | 1.18 | d | 0.18
2007-15 | 47 | P26 | 6 | 313 | 50.244 | 14.7 |  | 22.1 |  | 1.34 | d | 0.18
2007-15 | 47 | P26 | 5 | 312 | 74.519 | 17.2 |  | 25.2 |  | 1.45 | d | 0.18
2007-15 | 47 | P26 | 4 | 311 | 99.788 | 24.7 |  | 36.7 |  | 1.85 | d | 0.18
2007-15 | 47 | P26 | 3 | 310 | 176.371 | 34.4 |  | 63.2 |  | 2.47 | d | 0.18
2007-15 | 47 | P26 | 2 | 309 | 202.604 | 36.6 |  | 68.7 |  | 2.6 | d | 0.18
2007-15 | 47 | P26 | 1 | 308 | 302.594 | 39.2 |  | 87.2 |  | 2.98 | d | 0.18
2007-15 | 48 | P26 | 24 | 350 | 4.176 | 10.7 |  | 17.8 |  | 1.06 | d | 0.21
2007-15 | 48 | P26 | 23 | 349 | 9.753 | 10.3 |  | 18.1 |  | 1.08 | d | 0.21
2007-15 | 48 | P26 | 22 | 348 | 25.349 | 11.3 |  | 19.5 |  | 1.13 | d | 0.21
2007-15 | 48 | P26 | 21 | 347 | 48.496 | 13.3 |  | 22.8 |  | 1.29 | d | 0.21
2007-15 | 48 | P26 | 20 | 346 | 74.162 | 16.5 |  | 25.7 |  | 1.46 | d | 0.21
2007-15 | 48 | P26 | 19 | 345 | 101.557 | 22 |  | 36.2 |  | 1.81 | d | 0.21
2007-15 | 48 | P26 | 18 | 344 | 126.249 | 30.5 | f | 50.15 | f | 2.195 | d | 0.21
2007-15 | 48 | P26 | 17 | 343 | 150.965 | 33.7 |  | 60.1 |  | 2.38 | d | 0.21
2007-15 | 48 | P26 | 16 | 342 | 174.499 | 34.7 |  | 65.4 |  | 2.48 | d | 0.21
2007-15 | 48 | P26 | 15 | 341 | 199.719 | 35.7 |  | 69.2 |  | 2.57 | d | 0.21
2007-15 | 48 | P26 | 14 | 340 | 249.183 | 36.7 |  | 78.3 |  | 2.75 | d | 0.21
2007-15 | 48 | P26 | 13 | 339 | 300.69 | 39.5 |  | 87.1 |  | 2.9 | d | 0.21
2007-15 | 48 | P26 | 12 | 338 | 400.857 | 44 |  | 101.4 |  | 3.13 | d | 0.21
2007-15 | 48 | P26 | 11 | 337 | 600.07 | 44 |  | 124.7 |  | 3.21 | d | 0.21
2007-15 | 48 | P26 | 10 | 336 | 800.106 | 45 |  | 139.1 |  | 3.24 | d | 0.21
2007-15 | 48 | P26 | 9 | 335 | 1001.443 | 46 |  | 149.8 |  | 3.28 | d | 0.21
2007-15 | 48 | P26 | 8 | 334 | 1249.597 | 44.8 |  | 159.8 |  | 3.28 | d | 0.21
2007-15 | 48 | P26 | 7 | 333 | 1500.402 | 45.2 |  | 165.3 |  | 3.23 | d | 0.21
2007-15 | 48 | P26 | 6 | 332 | 1999.857 | 43.3 |  | 171.5 |  | 3.09 | d | 0.21
2007-15 | 48 | P26 | 5 | 331 | 2500.462 | 41.2 |  | 172.1 |  | 2.95 | d | 0.21
2007-15 | 48 | P26 | 4 | 330 | 2999.631 | 40.4 |  | 171.1 |  | 2.83 | d | 0.21
2007-15 | 48 | P26 | 3 | 329 | 3497.61 | 38.8 |  | 170 |  | 2.73 | d | 0.21
2007-15 | 48 | P26 | 2 | 328 | 3999.996 | 36.2 |  | 170.3 |  | 2.69 | d | 0.21
2007-15 | 48 | P26 | 1 | 327 | 4317.71 | 35.5 |  | 173.6 |  | 2.66 | d | 0.21
2007-15 | 51 | P26 | 22 | 372 | 0.893 | 12.1 |  | 17.1 |  | 1.07 | d | 0.26
2007-15 | 51 | P26 | 19 | 369 | 3.965 | 11.9 |  | 17 |  | 1.07 | d | 0.26
2007-15 | 51 | P26 | 16 | 366 | 10.108 | 11.9 |  | 17 |  | 1.06 | d | 0.26
2007-15 | 51 | P26 | 15 | 365 | 15.74 | 12 |  | 17.1 |  | 1.07 | d | 0.26
2007-15 | 51 | P26 | 13 | 363 | 18.107 | 12.1 |  | 17 |  | 1.06 | d | 0.26
2007-15 | 51 | P26 | 11 | 361 | 25.697 | 12.1 |  | 17.1 |  | 1.05 | d | 0.26
2007-15 | 51 | P26 | 8 | 358 | 28.189 | 12 |  | 17.1 |  | 1.05 | d | 0.26
2007-15 | 51 | P26 | 7 | 357 | 40.144 | 12.4 |  | 18.4 |  | 1.09 | d | 0.26
2007-15 | 51 | P26 | 6 | 356 | 49.021 | 14.1 |  | 20.4 |  | 1.19 | d | 0.26
2007-15 | 51 | P26 | 5 | 355 | 75.654 | 17.7 |  | 23.2 |  | 1.4 | d | 0.26
2007-15 | 51 | P26 | 4 | 354 | 99.539 | 21.2 |  | 27.4 |  | 1.55 | d | 0.26
2007-15 | 51 | P26 | 3 | 353 | 175.787 | 36.7 |  | 60.7 |  | 2.48 | d | 0.26
2007-15 | 51 | P26 | 2 | 352 | 199.143 | 37.6 |  | 66 |  | 2.56 | d | 0.26
2007-15 | 51 | P26 | 1 | 351 | 300.028 | 43.1 | f | 86.3 | f | 2.93 | d | 0.26
2007-15 | 54 | P26 | 4 | 392 | 1.126 | 10.4 |  | 16.6 |  | 1.04 | d | 0.16
2007-15 | 54 | P26 | 3 | 391 | 10.303 | 10.3 |  | 16.7 |  | 1.12 | d | 0.16
2007-15 | 54 | P26 | 2 | 390 | 21.665 | 10.4 |  | 16.6 |  | 1.04 | d | 0.16
2007-15 | 54 | P26 | 1 | 389 | 29.726 | 11.2 |  | 17.7 |  | 1.11 | d | 0.16
2007-15 | 55 | P26 | 17 | 409 | 3.066 | 11 |  | 17.2 |  | 1.07 | d | 0.16
2007-15 | 55 | P26 | 15 | 407 | 4.414 | 11.1 |  | 17.2 |  | 1.07 | d | 0.16
2007-15 | 55 | P26 | 13 | 405 | 9.145 | 11 |  | 17.2 |  | 1.07 | d | 0.16
2007-15 | 55 | P26 | 12 | 404 | 14.798 | 10.9 |  | 17.3 |  | 1.06 | d | 0.16
2007-15 | 55 | P26 | 11 | 403 | 19.486 | 11.2 |  | 18.5 |  | 1.11 | d | 0.16
2007-15 | 55 | P26 | 9 | 401 | 25.375 | 11.3 |  | 18.8 |  | 1.12 | d | 0.16
2007-15 | 55 | P26 | 8 | 400 | 29.763 | 11.7 |  | 19.4 |  | 1.15 | d | 0.16
2007-15 | 55 | P26 | 7 | 399 | 41.591 | 13.2 |  | 21.4 |  | 1.25 | d | 0.16
2007-15 | 55 | P26 | 6 | 398 | 50.329 | 14.6 |  | 22.5 |  | 1.34 | d | 0.16
2007-15 | 55 | P26 | 5 | 397 | 74.781 | 17.45 | f | 25.65 | f | 1.48 | d | 0.16
2007-15 | 55 | P26 | 4 | 396 | 99.515 | 24.2 |  | 37.9 |  | 1.84 | d | 0.16
2007-15 | 55 | P26 | 3 | 395 | 176.207 | 35.3 |  | 64 |  | 2.49 | d | 0.16
2007-15 | 55 | P26 | 2 | 394 | 199.12 | 35.9 |  | 68 |  | 2.54 | d | 0.16
2007-15 | 55 | P26 | 1 | 393 | 301.334 | 30.0209 |  | 52.1198 |  | 2.2118 | d | 0.16 |  | low po4
2007-15 | 59 | P33 | 19 | 454 | 5.699 | 10.9 |  | 15.7 |  | 1.03 | d | 0.26
2007-15 | 59 | P33 | 18 | 453 | 10.671 | 11.3 |  | 15.6 |  | 1.02 | d | 0.26
2007-15 | 59 | P33 | 17 | 452 | 27.347 | 12 |  | 16.9 |  | 1.1 | d | 0.26
2007-15 | 59 | P33 | 16 | 451 | 47.924 | 13.7 |  | 20.7 |  | 1.24 | d | 0.26
2007-15 | 59 | P33 | 15 | 450 | 75.317 | 24.3 |  | 35.5 |  | 1.82 | d | 0.26
2007-15 | 59 | P33 | 14 | 449 | 99.751 | 26.3 |  | 43.4 |  | 2.05 | d | 0.26
2007-15 | 59 | P33 | 13 | 448 | 123.473 | 32.5 | f | 50.25 | f | 2.27 | d | 0.26
2007-15 | 59 | P33 | 12 | 447 | 148.335 | 36.3 |  | 58.8 |  | 2.44 | d | 0.26
2007-15 | 59 | P33 | 11 | 446 | 176.652 | 38.7 |  | 66.7 |  | 2.64 | d | 0.26
2007-15 | 59 | P33 | 10 | 445 | 199.668 | 39.4 |  | 70.1 |  | 2.7 | d | 0.26
2007-15 | 59 | P33 | 9 | 444 | 249.62 | 42.7 |  | 79 |  | 2.91 | d | 0.26
2007-15 | 59 | P33 | 8 | 443 | 298.085 | 44.5 |  | 86.2 |  | 3.03 | d | 0.26
2007-15 | 59 | P33 | 7 | 442 | 399.643 | 45 | d | 98.1 |  | 3.15 | d | 0.26 |  | noisy NO3 signal
2007-15 | 59 | P33 | 6 | 441 | 599.862 | 44 | d | 116.3 |  | 3.22 | d | 0.26 |  | noisy NO3 signal
2007-15 | 59 | P33 | 5 | 440 | 799.482 | 45 | d | 131.6 |  | 3.27 | d | 0.26 |  | noisy NO3 signal
2007-15 | 59 | P33 | 4 | 439 | 1000.913 | 44 | d | 143.2 |  | 3.28 | d | 0.26 |  | noisy NO3 signal
2007-15 | 59 | P33 | 3 | 438 | 1249.762 | 45 | d | 155.1 |  | 3.26 | d | 0.26 |  | noisy NO3 signal
2007-15 | 59 | P33 | 2 | 437 | 1498.294 | 43.9 |  | 162.3 |  | 3.21 | d | 0.26
2007-15 | 59 | P33 | 1 | 436 | 2003.711 | 40.6 |  | 172 |  | 3.08 | d | 0.26
2007-15 | 64 | R17 | 19 | 476 | 3.874 | 10.2 |  | 17.7 |  | 1.02 | d | 0.14
2007-15 | 64 | R17 | 18 | 475 | 11.381 | 10.2 |  | 17.6 |  | 1.02 | d | 0.14
2007-15 | 64 | R17 | 17 | 474 | 24.807 | 11.6 |  | 18.6 |  | 1.12 | d | 0.14
2007-15 | 64 | R17 | 16 | 473 | 50.29 | 13.7 |  | 21.5 |  | 1.31 | d | 0.14
2007-15 | 64 | R17 | 15 | 472 | 75.339 | 16.6 |  | 24.3 |  | 1.49 | d | 0.14
2007-15 | 64 | R17 | 14 | 471 | 100.501 | 23.1 |  | 35.6 |  | 1.83 | d | 0.14
2007-15 | 64 | R17 | 13 | 470 | 124.797 | 29.7 | f | 50.05 | f | 2.205 | d | 0.14
2007-15 | 64 | R17 | 12 | 469 | 150.486 | 32.6 |  | 56.8 |  | 2.4 | d | 0.14
2007-15 | 64 | R17 | 11 | 468 | 174.039 | 35 |  | 64 |  | 2.57 | d | 0.14
2007-15 | 64 | R17 | 10 | 467 | 200.02 | 37.1 |  | 70.3 |  | 2.71 | d | 0.14
2007-15 | 64 | R17 | 9 | 466 | 250.765 | 40.1 |  | 80.2 |  | 2.92 | d | 0.14
2007-15 | 64 | R17 | 8 | 465 | 301.059 | 42.2 |  | 89.2 |  | 3.04 | d | 0.14
2007-15 | 64 | R17 | 7 | 464 | 401.135 | 43.7 |  | 103.2 |  | 3.12 | d | 0.14
2007-15 | 64 | R17 | 6 | 463 | 599.783 | 44.2 |  | 121.8 |  | 3.2 | d | 0.14
2007-15 | 64 | R17 | 5 | 462 | 800.45 | 44.9 |  | 138.3 |  | 3.29 | d | 0.14
2007-15 | 64 | R17 | 4 | 461 | 999.063 | 45.2 |  | 150.4 |  | 3.31 | d | 0.14
2007-15 | 64 | R17 | 3 | 460 | 1251.519 | 45.2 |  | 161.8 |  | 3.29 | d | 0.14
2007-15 | 64 | R17 | 2 | 459 | 1501.355 | 44.5 |  | 169.4 |  | 3.24 | d | 0.14
2007-15 | 64 | R17 | 1 | 458 | 2000.205 | 42.9 |  | 177.7 |  | 3.11 | d | 0.14
2007-15 | 69 | R13 | 20 | 498 | 3.883 | 4.2 |  | 10.3 |  | 0.69 | d | 0.1
2007-15 | 69 | R13 | 19 | 497 | 11.016 | 4.1 |  | 10.3 |  | 0.69 | d | 0.1
2007-15 | 69 | R13 | 18 | 496 | 26.363 | 8.1 |  | 8.9 |  | 0.97 | d | 0.1
2007-15 | 69 | R13 | 17 | 495 | 51.406 | 12.2 |  | 17.4 |  | 1.26 | d | 0.1
2007-15 | 69 | R13 | 16 | 494 | 74.527 | 13.4 |  | 16.4 |  | 1.32 | d | 0.1
2007-15 | 69 | R13 | 15 | 493 | 100.476 | 16.7 |  | 20.6 |  | 1.49 | d | 0.1
2007-15 | 69 | R13 | 14 | 492 | 125.067 | 23.1 |  | 32.9 |  | 1.79 | d | 0.1
2007-15 | 69 | R13 | 13 | 491 | 150.963 | 25.55 | f | 40.15 | f | 1.93 | d | 0.1
2007-15 | 69 | R13 | 11 | 490 | 176.311 | 27 |  | 44.6 |  | 2.02 | d | 0.1
2007-15 | 69 | R13 | 10 | 489 | 200.102 | 29.2 |  | 50.8 |  | 2.2 | d | 0.1
2007-15 | 69 | R13 | 9 | 488 | 250.122 | 33.5 |  | 61.8 |  | 2.48 | d | 0.1
2007-15 | 69 | R13 | 8 | 487 | 300.855 | 36.6 |  | 71.2 |  | 2.69 | d | 0.1
2007-15 | 69 | R13 | 7 | 486 | 401.769 | 41.6 |  | 89.1 |  | 3.01 | d | 0.1
2007-15 | 69 | R13 | 6 | 485 | 600.6 | 44.5 |  | 113.5 |  | 3.21 | d | 0.1
2007-15 | 69 | R13 | 5 | 484 | 800.15 | 45.4 |  | 129.3 |  | 3.28 | d | 0.1
2007-15 | 69 | R13 | 4 | 483 | 999.148 | 46.1 |  | 143.8 |  | 3.33 | d | 0.1
2007-15 | 69 | R13 | 3 | 482 | 1251.779 | 45.9 |  | 156.9 |  | 3.32 | d | 0.1
2007-15 | 69 | R13 | 2 | 481 | 1500.467 | 45.3 |  | 165.3 |  | 3.27 | d | 0.1
2007-15 | 69 | R13 | 1 | 480 | 2004.269 | 43.5 |  | 173.6 |  | 3.18 | d | 0.1
2007-15 | 76 | R9N | 20 | 521 | 5.394 | 1.9 |  | 9.4 |  | 0.56 | d | 0.12
2007-15 | 76 | R9N | 19 | 520 | 10.653 | 2.8 |  | 10 |  | 0.61 | d | 0.12
2007-15 | 76 | R9N | 17 | 518 | 24.685 | 11.4 |  | 17.5 |  | 1.16 | d | 0.12
2007-15 | 76 | R9N | 16 | 517 | 50.106 | 17.7 |  | 24.2 |  | 1.49 | d | 0.12
2007-15 | 76 | R9N | 15 | 516 | 75.47 | 21.5 |  | 30.4 |  | 1.73 | d | 0.12
2007-15 | 76 | R9N | 14 | 515 | 98.135 | 26.7 |  | 38.5 |  | 2.06 | d | 0.12
2007-15 | 76 | R9N | 13 | 514 | 125.775 | 31.6 |  | 45.5 |  | 2.39 | d | 0.12
2007-15 | 76 | R9N | 12 | 513 | 149.231 | 33.3 |  | 48.3 |  | 2.53 | d | 0.12
2007-15 | 76 | R9N | 11 | 512 | 175.387 | 34.5 |  | 51.7 |  | 2.6 | d | 0.12
2007-15 | 76 | R9N | 10 | 511 | 200.291 | 34.8 |  | 51 |  | 2.63 | d | 0.12
2007-15 | 76 | R9N | 9 | 510 | 249.114 | 35.2 |  | 52.3 |  | 2.65 | d | 0.12
2007-15 | 76 | R9N | 8 | 509 | 300.948 | 35.4 |  | 54 |  | 2.66 | d | 0.12
2007-15 | 76 | R9N | 7 | 508 | 399.711 | 36.35 | f | 60.8 | f | 2.64 | d | 0.12
2007-15 | 76 | R9N | 6 | 507 | 600.18 | 42.1 |  | 88.1 |  | 3.05 | d | 0.12
2007-15 | 76 | R9N | 5 | 506 | 799.966 | 44.3 |  | 114.9 |  | 3.24 | d | 0.12
2007-15 | 76 | R9N | 4 | 505 | 998.745 | 45 |  | 133.2 |  | 3.3 | d | 0.12
2007-15 | 76 | R9N | 3 | 504 | 1250.129 | 44.7 |  | 150.7 |  | 3.29 | d | 0.12
2007-15 | 76 | R9N | 2 | 503 | 1500.322 | 44.6 |  | 161.7 |  | 3.26 | d | 0.12
2007-15 | 76 | R9N | 1 | 502 | 1999.196 | 42.9 |  | 174.1 |  | 3.1 | d | 0.12
2007-15 | 81 | MJ5 | 20 | 545 | 4.663 | 0 |  | 8.9 |  | 0.41 | d | 0.1
2007-15 | 81 | MJ5 | 19 | 544 | 9.645 | 0 |  | 9 |  | 0.42 | d | 0.1
2007-15 | 81 | MJ5 | 17 | 542 | 26.336 | 1.5 |  | 10.7 |  | 0.57 | d | 0.1
2007-15 | 81 | MJ5 | 16 | 541 | 50.802 | 14.3 |  | 18.5 |  | 1.28 | d | 0.1
2007-15 | 81 | MJ5 | 15 | 540 | 75.957 | 14.9 |  | 17.8 |  | 1.34 | d | 0.1
2007-15 | 81 | MJ5 | 14 | 539 | 100.6 | 23.3 |  | 32 |  | 1.82 | d | 0.1
2007-15 | 81 | MJ5 | 13 | 538 | 126.329 | 27.6 |  | 40.7 |  | 2.12 | d | 0.1
2007-15 | 81 | MJ5 | 12 | 537 | 153.186 | 30.5 |  | 47.7 |  | 2.31 | d | 0.1
2007-15 | 81 | MJ5 | 11 | 536 | 176.129 | 31.7 |  | 51.3 |  | 2.38 | d | 0.1
2007-15 | 81 | MJ5 | 10 | 535 | 203.232 | 33.2 |  | 55.7 |  | 2.44 | d | 0.1
2007-15 | 81 | MJ5 | 9 | 534 | 252.654 | 35.1 |  | 63.6 |  | 2.62 | d | 0.1
2007-15 | 81 | MJ5 | 8 | 533 | 300.663 | 36.8 |  | 69.5 |  | 2.73 | d | 0.1
2007-15 | 81 | MJ5 | 7 | 532 | 400.616 | 40.9 |  | 85.1 |  | 2.99 | d | 0.1
2007-15 | 81 | MJ5 | 6 | 531 | 600.467 | 43.2 |  | 109.4 |  | 3.22 | d | 0.1
2007-15 | 81 | MJ5 | 5 | 530 | 803.88 | 44.7 |  | 128.2 |  | 3.29 | d | 0.1
2007-15 | 81 | MJ5 | 4 | 529 | 1000.367 | 44.5 |  | 143 |  | 3.3 | d | 0.1
2007-15 | 81 | MJ5 | 3 | 528 | 1250.711 | 44.2 |  | 156.4 |  | 3.29 | d | 0.1
2007-15 | 81 | MJ5 | 2 | 527 | 1503.509 | 44 |  | 165.1 |  | 3.21 | d | 0.1
2007-15 | 81 | MJ5 | 1 | 526 | 2006.61 | 41.9 |  | 175.3 |  | 3.08 | d | 0.1
2007-15 | 83 | MJ3 | 20 | 567 | 5.091 | 0.1 |  | 9.2 |  | 0.4 | d | 0.1
2007-15 | 83 | MJ3 | 19 | 566 | 11.342 | 0.3 |  | 9.1 |  | 0.39 | d | 0.1
2007-15 | 83 | MJ3 | 17 | 564 | 24.591 | 2.8 |  | 10.3 |  | 0.58 | d | 0.1
2007-15 | 83 | MJ3 | 16 | 563 | 49.621 | 13 |  | 17.5 |  | 1.21 | d | 0.1
2007-15 | 83 | MJ3 | 15 | 562 | 75.49 | 14.5 |  | 17.8 |  | 1.3 | d | 0.1
2007-15 | 83 | MJ3 | 14 | 561 | 99.874 | 18 |  | 23.3 |  | 1.52 | d | 0.1
2007-15 | 83 | MJ3 | 13 | 560 | 124.77 | 22.4 |  | 31.4 |  | 1.85 | d | 0.1
2007-15 | 83 | MJ3 | 12 | 559 | 150.873 | 27.5 |  | 40.3 |  | 2.13 | d | 0.1
2007-15 | 83 | MJ3 | 11 | 558 | 175.213 | 29.6 |  | 45.2 |  | 2.26 | d | 0.1
2007-15 | 83 | MJ3 | 10 | 557 | 201.05 | 31.3 |  | 50.2 |  | 2.35 | d | 0.1
2007-15 | 83 | MJ3 | 9 | 556 | 252.227 | 34.6 |  | 59.4 |  | 2.56 | d | 0.1
2007-15 | 83 | MJ3 | 8 | 555 | 299.448 | 36.8 |  | 67.2 |  | 2.73 | d | 0.1
2007-15 | 83 | MJ3 | 7 | 554 | 400.797 | 41 |  | 85.2 |  | 3.01 | d | 0.1
2007-15 | 83 | MJ3 | 6 | 553 | 599.44 | 43.5 |  | 105.2 |  | 3.19 | d | 0.1
2007-15 | 83 | MJ3 | 5 | 552 | 798.357 | 44.3 |  | 122.3 |  | 3.29 | d | 0.1
2007-15 | 83 | MJ3 | 4 | 551 | 999.568 | 44.8 |  | 138.7 |  | 3.3 | d | 0.1
2007-15 | 83 | MJ3 | 3 | 550 | 1250.816 | 44.6 |  | 154.1 |  | 3.28 | d | 0.1
2007-15 | 83 | MJ3 | 2 | 549 | 1500.681 | 44.3 |  | 164.8 |  | 3.22 | d | 0.1
2007-15 | 83 | MJ3 | 1 | 548 | 2001.515 | 42.7 |  | 174.2 |  | 3.08 | d | 0.1
2007-15 | 85 | SS1 | 14 | 583 | 3.344 | 0.2 |  | 12.4 |  | 0.41 | d | 0.1
2007-15 | 85 | SS1 | 13 | 582 | 9.925 | 0.2 |  | 12.5 |  | 0.45 | d | 0.1
2007-15 | 85 | SS1 | 12 | 581 | 24.714 | 4.2 |  | 12.5 |  | 0.71 | d | 0.1
2007-15 | 85 | SS1 | 11 | 580 | 48.707 | 13.3 |  | 16.8 |  | 1.28 | d | 0.1
2007-15 | 85 | SS1 | 10 | 579 | 75.273 | 15.9 |  | 19.2 |  | 1.43 | d | 0.1
2007-15 | 85 | SS1 | 8 | 577 | 123.699 | 23.6 |  | 33.7 |  | 1.9 | d | 0.1
2007-15 | 85 | SS1 | 7 | 576 | 152.188 | 27.7 |  | 42.5 |  | 2.12 | d | 0.1
2007-15 | 85 | SS1 | 6 | 575 | 181.308 | 29.5 |  | 45.6 |  | 2.26 | d | 0.1
2007-15 | 85 | SS1 | 5 | 574 | 197.495 | 31.4 |  | 50.2 |  | 2.4 | d | 0.1
2007-15 | 85 | SS1 | 4 | 573 | 245.509 | 34.1 | f | 57.35 | f | 2.585 | d | 0.1
2007-15 | 85 | SS1 | 3 | 572 | 293.177 | 35.9 |  | 62.9 |  | 2.72 | d | 0.1
2007-15 | 85 | SS1 | 2 | 571 | 398.873 | 39 |  | 77.9 |  | 2.96 | d | 0.1
2007-15 | 85 | SS1 | 1 | 570 | 505.385 | 41.1 |  | 93.9 |  | 3.11 | d | 0.1
2007-15 | 88 | SS3 | 12 | 596 | 5.994 | 1.2 |  | 15.8 |  | 0.39 | d | 0.1
2007-15 | 88 | SS3 | 11 | 595 | 9.936 | 1.2 |  | 15.7 |  | 0.39 | d | 0.1
2007-15 | 88 | SS3 | 10 | 594 | 25.201 | 12 |  | 23.9 |  | 1.13 | d | 0.1
2007-15 | 88 | SS3 | 9 | 593 | 50.511 | 18.5 |  | 29.6 |  | 1.64 | d | 0.1
2007-15 | 88 | SS3 | 8 | 592 | 74.137 | 14 |  | 18.3 |  | 1.35 | d | 0.1
2007-15 | 88 | SS3 | 7 | 591 | 100.258 | 17 |  | 23 |  | 1.51 | d | 0.1
2007-15 | 88 | SS3 | 6 | 590 | 124.288 | 20.55 | f | 30.4 | f | 1.71 | d | 0.1
2007-15 | 88 | SS3 | 5 | 589 | 150.532 | 25 |  | 39.7 |  | 1.99 | d | 0.1
2007-15 | 88 | SS3 | 4 | 588 | 172.22 | 31.7 |  | 54.2 |  | 2.4 | d | 0.1
2007-15 | 88 | SS3 | 3 | 587 | 200.636 | 33.5 |  | 60.9 |  | 2.55 | d | 0.1
2007-15 | 88 | SS3 | 2 | 586 | 250.12 | 35.2 |  | 69 |  | 2.68 | d | 0.1
2007-15 | 88 | SS3 | 1 | 585 | 277.459 | 35.6 |  | 71.1 |  | 2.73 | d | 0.1
2007-15 | 90 | SS5 | 10 | 607 | 5.551 | 1.1 |  | 9.2 |  | 0.33 | d | 0.1
2007-15 | 90 | SS5 | 9 | 606 | 10.786 | 1.1 |  | 9.2 |  | 0.32 | d | 0.1
2007-15 | 90 | SS5 | 8 | 605 | 26.034 | 1.3 |  | 9.4 |  | 0.34 | d | 0.1
2007-15 | 90 | SS5 | 7 | 604 | 50.52 | 13.9 |  | 22.4 |  | 1.29 | d | 0.1
2007-15 | 90 | SS5 | 6 | 603 | 73.171 | 18.5 |  | 28.9 |  | 1.62 | d | 0.1
2007-15 | 90 | SS5 | 5 | 602 | 99.956 | 25.9 |  | 44.1 |  | 2.14 | d | 0.1
2007-15 | 90 | SS5 | 4 | 601 | 126.572 | 29.8 | f | 51.75 | f | 2.37 | d | 0.1
2007-15 | 90 | SS5 | 3 | 600 | 152.012 | 33.3 |  | 61.9 |  | 2.6 | d | 0.1
2007-15 | 90 | SS5 | 2 | 599 | 174.211 | 34 |  | 67.8 |  | 2.71 | d | 0.1
2007-15 | 90 | SS5 | 1 | 598 | 195.688 | 34.4 |  | 69.1 |  | 2.73 | d | 0.1
2007-15 | 93 | SS7 | 7 | 616 | 5.075 | 2.2 |  | 21 |  | 0.34 | d | 0.1
2007-15 | 93 | SS7 | 6 | 615 | 10.366 | 16.5 |  | 31.4 |  | 1.54 | d | 0.1
2007-15 | 93 | SS7 | 5 | 614 | 25.367 | 19.4 |  | 35.6 |  | 1.66 | d | 0.1
2007-15 | 93 | SS7 | 4 | 613 | 50.176 | 23.7 |  | 41.9 |  | 2.04 | d | 0.1
2007-15 | 93 | SS7 | 3 | 612 | 75.317 | 28.25 | f | 52.8 | f | 2.38 | d | 0.1
2007-15 | 93 | SS7 | 2 | 611 | 100.408 | 29.7 |  | 56.1 |  | 2.49 | d | 0.1
2007-15 | 93 | SS7 | 1 | 610 | 111.186 | 30.5 |  | 56.7 |  | 2.51 | d | 0.1
2007-15 | 94 | Ri1 | 13 | 629 | 5.047 | 2.7 |  | 18.3 |  | 0.4 | d | 0.1
2007-15 | 94 | Ri1 | 12 | 628 | 10.068 | 10.7 |  | 25.6 |  | 1.06 | d | 0.1
2007-15 | 94 | Ri1 | 11 | 627 | 25.242 | 19.9 |  | 35.1 |  | 1.69 | d | 0.1
2007-15 | 94 | Ri1 | 10 | 626 | 49.952 | 23.9 |  | 42 |  | 2.09 | d | 0.1
2007-15 | 94 | Ri1 | 9 | 625 | 75.383 | 28.1 |  | 53.1 |  | 2.45 | d | 0.1
2007-15 | 94 | Ri1 | 8 | 624 | 99.752 | 28.9 |  | 56.4 |  | 2.53 | d | 0.1
2007-15 | 94 | Ri1 | 7 | 623 | 125.615 | 28.2 |  | 56.2 |  | 2.52 | d | 0.1
2007-15 | 94 | Ri1 | 6 | 622 | 150.356 | 28.2 |  | 56.6 |  | 2.51 | d | 0.1
2007-15 | 94 | Ri1 | 5 | 621 | 175.701 | 28.9 |  | 57.5 |  | 2.53 | d | 0.1
2007-15 | 94 | Ri1 | 4 | 620 | 200.04 | 29.15 | f | 58.7 | f | 2.56 | d | 0.1
2007-15 | 94 | Ri1 | 3 | 619 | 250.871 | 30.1 |  | 59.5 |  | 2.58 | d | 0.1
2007-15 | 94 | Ri1 | 2 | 618 | 300.694 | 30.1 |  | 57.8 |  | 2.55 | d | 0.1
2007-15 | 94 | Ri1 | 1 | 617 | 319.55 | 29.8 |  | 57.5 |  | 2.55 | d | 0.1
2007-15 | 101 | Ri4 | 12 | 643 | 4.907 | 10.7 |  | 21.4 |  | 0.9 | d | 0.1
2007-15 | 101 | Ri4 | 11 | 642 | 9.855 | 18.3 |  | 29.2 |  | 1.61 | d | 0.1
2007-15 | 101 | Ri4 | 10 | 641 | 24.754 | 22.1 |  | 35.6 |  | 1.85 | d | 0.1
2007-15 | 101 | Ri4 | 9 | 640 | 49.952 | 24.6 |  | 41.4 |  | 2.06 | d | 0.1
2007-15 | 101 | Ri4 | 8 | 639 | 74.728 | 26.9 |  | 49.5 |  | 2.31 | d | 0.1
2007-15 | 101 | Ri4 | 7 | 638 | 99.986 | 28.9 |  | 57.7 |  | 2.54 | d | 0.1
2007-15 | 101 | Ri4 | 6 | 637 | 125.137 | 29.4 |  | 60.3 |  | 2.61 | d | 0.1
2007-15 | 101 | Ri4 | 5 | 636 | 149.861 | 29.3 |  | 59.9 |  | 2.59 | d | 0.1
2007-15 | 101 | Ri4 | 4 | 635 | 174.993 | 28.7 | f | 58.6 | f | 2.545 | d | 0.1
2007-15 | 101 | Ri4 | 3 | 634 | 199.679 | 28.5 |  | 59.3 |  | 2.53 | d | 0.1
2007-15 | 101 | Ri4 | 2 | 633 | 250.354 | 29.5 |  | 57.8 |  | 2.49 | d | 0.1
2007-15 | 101 | Ri4 | 1 | 632 | 285.051 | 30.2 |  | 58.8 |  | 2.54 | d | 0.1
2007-15 | 106 | M2 | 9 | 654 | 4.939 | 5.1 |  | 20.9 |  | 0.57 | d | 0.08
2007-15 | 106 | M2 | 8 | 653 | 10.056 | 5.2 |  | 21 |  | 0.58 | d | 0.08
2007-15 | 106 | M2 | 7 | 652 | 24.995 | 10.2 |  | 25.5 |  | 0.96 | d | 0.08
2007-15 | 106 | M2 | 6 | 651 | 49.669 | 25.4 |  | 47 |  | 2.12 | d | 0.08
2007-15 | 106 | M2 | 5 | 650 | 74.902 | 28.9 |  | 53.7 |  | 2.36 | d | 0.08
2007-15 | 106 | M2 | 4 | 649 | 99.792 | 30 | f | 55.4 | f | 2.435 | d | 0.08
2007-15 | 106 | M2 | 3 | 648 | 125.041 | 30.4 |  | 56.3 |  | 2.44 | d | 0.08
2007-15 | 106 | M2 | 2 | 647 | 150.561 | 30.8 |  | 57.3 |  | 2.46 | d | 0.08
2007-15 | 106 | M2 | 1 | 646 | 195.154 | 31.1 |  | 59.2 |  | 2.54 | d | 0.08
2007-15 | 107 | M3 | 13 | 667 | 4.795 | 4.4 |  | 20.9 |  | 0.49 | d | 0.08
2007-15 | 107 | M3 | 12 | 666 | 10.358 | 5.9 |  | 21.6 |  | 0.61 | d | 0.08
2007-15 | 107 | M3 | 11 | 665 | 25.334 | 14.6 |  | 30.5 |  | 1.26 | d | 0.08
2007-15 | 107 | M3 | 10 | 664 | 50.088 | 26.4 |  | 48.5 |  | 2.16 | d | 0.08
2007-15 | 107 | M3 | 9 | 663 | 75.459 | 28.9 |  | 53.5 |  | 2.35 | d | 0.08
2007-15 | 107 | M3 | 8 | 662 | 100.564 | 29.7 |  | 54.7 |  | 2.39 | d | 0.08
2007-15 | 107 | M3 | 7 | 661 | 124.468 | 30.3 |  | 55.6 |  | 2.42 | d | 0.08
2007-15 | 107 | M3 | 6 | 660 | 150.035 | 30.6 |  | 55.8 |  | 2.42 | d | 0.08
2007-15 | 107 | M3 | 5 | 659 | 174.635 | 30.9 |  | 57.1 |  | 2.46 | d | 0.08
2007-15 | 107 | M3 | 4 | 658 | 199.749 | 31.45 | f | 57.95 | f | 2.48 | d | 0.08
2007-15 | 107 | M3 | 3 | 657 | 250.765 | 31.5 |  | 57.6 |  | 2.49 | d | 0.08
2007-15 | 107 | M3 | 2 | 656 | 290.214 | 31.7 |  | 57.3 |  | 2.49 | d | 0.08
2007-15 | 107 | M3 | 1 | 655 | 290.148 | 31.7 |  | 57.4 |  | 2.5 | d | 0.08
2007-15 | 108 | M4 | 14 | 681 | 4.733 | 8.5 |  | 25.3 |  | 0.79 | d | 0.08
2007-15 | 108 | M4 | 13 | 680 | 10.882 | 11.6 |  | 27.9 |  | 0.99 | d | 0.08
2007-15 | 108 | M4 | 12 | 679 | 24.911 | 21.1 | f | 39.7 | f | 1.71 | d | 0.08
2007-15 | 108 | M4 | 11 | 678 | 50.614 | 27.7 |  | 52.6 |  | 2.24 | d | 0.08
2007-15 | 108 | M4 | 10 | 677 | 74.72 | 28.7 |  | 53.5 |  | 2.32 | d | 0.08
2007-15 | 108 | M4 | 9 | 676 | 100.278 | 29.6 |  | 54.6 |  | 2.38 | d | 0.08
2007-15 | 108 | M4 | 8 | 675 | 125.527 | 30.7 |  | 57.3 |  | 2.46 | d | 0.08
2007-15 | 108 | M4 | 7 | 674 | 150.839 | 30.8 |  | 57.9 |  | 2.49 | d | 0.08
2007-15 | 108 | M4 | 6 | 673 | 176.484 | 31.1 |  | 58.5 |  | 2.49 | d | 0.08
2007-15 | 108 | M4 | 5 | 672 | 200.421 | 30.8 |  | 58.9 |  | 2.52 | d | 0.08
2007-15 | 108 | M4 | 4 | 671 | 250.799 | 31.2 |  | 58.5 |  | 2.53 | d | 0.08
2007-15 | 108 | M4 | 3 | 670 | 299.863 | 31.3 |  | 59.1 |  | 2.56 | d | 0.08
2007-15 | 108 | M4 | 2 | 669 | 399.632 | 31.5 |  | 58.2 |  | 2.51 | d | 0.08
2007-15 | 108 | M4 | 1 | 668 | 421.761 | 31.8 |  | 58.9 |  | 2.52 | d | 0.08

## Loop Data
|  |  | Cruise 2007-15 |  |  |  |  | "real" loop samples taken from the ship's seawater pump
|  |  | 15 August - 1 September 2007 |  |  |  |  | surface samples taken from the Niskin bottle at 5 m
chl a, Marie Robert
nutrients, J. Barwell-Clarke
CTD data NOT calibrated, Primary sensors used.
Nutrient samples were collected in plastic tubes and analysed fresh at sea by Janet Barwell-Clarke using the new Astoria system
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
e = Not reported (lost sample; unredeemably bad measurement)
f = average of duplicate samples
i = sample not drawn for this measurement from this bottle
NOTE: All phosphate data is flagged as d - the new system caused contamination ranging from 0.07 to 0.33 uM PO4
Phosphate data was recovered by comparing to archived data below 1000 m at each station and correcting accordingly.
cast # | stn | serial # | yy | mo | day | utc | Latitude |  | Longitude |  | d.long | d.Lat | CTD P | CTD T | CTD | Bot | NO3 | Flag: NO3 | Si | Flag:SIL | PO4 | Flag:PO4 | Chl | Comments
[6 empty] | hhmm | dd | mm.mm | ddd | mm.mm |  |  |  |  | Sal | Sal | uM |  | uM |  | uM |  | ug/L
1 | SI03 | 11 | 07 | 08 | 15 | 2124 | 48 | 35.84 | 123 | 29.99 | 123.4998 | 48.5973 |  |  |  |  | 14.5 |  | 45.2 |  | 1.48 | d | 2.0346
| JF1 | usw | 07 | 08 | 16 | 0530 | 48 | 16.08 | 123 | 30.01 | 123.5002 | 48.268 |  |  |  |  | 23.4 |  | 45.5 |  | 1.84 | d
| JF2 | usw | 07 | 08 | 16 | 0716 | 48 | 18.15 | 124 | 00.74 | 124.0123 | 48.3025 |  |  |  |  | 27.7 |  | 48.1 |  | 2.08 | d
| JF3 | usw | 07 | 08 | 16 | 0909 | 48 | 27.05 | 124 | 30.2 | 124.5033 | 48.4508 |  |  |  |  | 26.3 |  | 46.9 |  | 1.98 | d
| JF4 | usw | 07 | 08 | 16 | 1102 | 48 | 32.29 | 125 | 00.00 | 125 | 48.5382 |  |  |  |  | 26.3 |  | 45.7 |  | 2.01 | d
3 | P1 | 36 | 07 | 08 | 16 | 1314 | 48 | 34.49 | 125 | 30.1 | 125.5017 | 48.5748 |  |  |  |  | 22.4 |  | 44.9 |  | 1.72 | d | 3.9636
4 | P2 | 48 | 07 | 08 | 16 | 1539 | 48 | 35.95 | 125 | 59.99 | 125.9998 | 48.5992 |  |  |  |  | 0 |  | 13.7 |  | 0.13 | d | 5.4335
6 | P3 | 49 | 07 | 08 | 16 | 1800 | 48 | 37.54 | 126 | 19.56 | 126.326 | 48.6257 |  |  |  |  | 0.4 |  | 10.5 |  | 0.35 | d | 1.1842
8 | P4 | 62 | 07 | 08 | 16 | 2121 | 48 | 38.98 | 126 | 39.48 | 126.658 | 48.6497 |  |  |  |  | 0 |  | 10.2 |  | 0.23 | d | 0.26939
10 | P4 | 92 | 07 | 08 | 17 | 0010 | 48 | 39.01 | 126 | 39.31 | 126.6552 | 48.6502 |  |  |  |  | 0 |  | 12.2 |  | 0.3 | d | -
11 | P5 | 93 | 07 | 08 | 17 | 0337 | 48 | 41.68 | 127 | 09.96 | 127.166 | 48.6947 |  |  |  |  | 0 |  | 7 |  | 0.43 | d | 0.25741
12 | P6 | 94 | 07 | 08 | 17 | 0708 | 48 | 44.77 | 127 | 39.64 | 127.6607 | 48.7462 |  |  |  |  | 0 |  | 7 |  | 0.43 | d | 0.19579
13 | P7 | 95 | 07 | 08 | 17 | 1016 | 48 | 46.59 | 128 | 10.02 | 128.167 | 48.7765 |  |  |  |  | 0 |  | 6.7 |  | 0.63 | d | 0.34499
| P8 | usw | 07 | 08 | 17 | 1356 | 48 | 49.01 | 128 | 40 | 128.6667 | 48.8168 |  |  |  |  | 0 |  | 6.7 |  | 0.47 | d | 0.261
16 | P9 | 120 | 07 | 08 | 17 | 1838 | 48 | 51.41 | 129 | 10.02 | 129.167 | 48.8568 |  |  |  |  | 0 |  | 7.5 |  | 0.43 | d | 0.18992
17 | P10 | 121 | 07 | 08 | 17 | 2334 | 48 | 53.77 | 129 | 40.81 | 129.6802 | 48.8962 |  |  |  |  | 0 |  | 7.7 |  | 0.45 | d | 0.27074
18 | P11 | 122 | 07 | 08 | 18 | 0809 | 48 | 55.94 | 130 | 09.90 | 130.165 | 48.9323 |  |  |  |  | 0.1 |  | 8.2 |  | 0.48 | d | 0.14596
19 | P12 | 145 | 07 | 08 | 18 | 1630 | 48 | 58.21 | 130 | 40.02 | 130.667 | 48.9702 |  |  |  |  | 3.1 |  | 9.5 |  | 0.63 | d | -
20 | P12 | 156 | 07 | 08 | 18 | 1831 | 48 | 58.23 | 130 | 39.96 | 130.666 | 48.9705 |  |  |  |  | 3.3 |  | 10 |  | 0.64 | d | -
22 | P12 | 169 | 07 | 08 | 18 | 1952 | 48 | 58.16 | 130 | 39.98 | 130.6663 | 48.9693 |  |  |  |  | 2.9 |  | 9.7 |  | 0.63 | d | 0.23976
24 | P13 | 172 | 07 | 08 | 19 | 0222 | 49 | 02.47 | 131 | 39.99 | 131.6665 | 49.0412 |  |  |  |  | 3.4 |  | 6.6 |  | 0.65 | d | 0.35295
25 | P14 | 177 | 07 | 08 | 19 | 0740 | 49 | 07.42 | 132 | 40 | 132.6667 | 49.1237 |  |  |  |  | 3.2 |  | 9 |  | 0.64 | d | 0.50463
26 | P15 | 178 | 07 | 08 | 19 | 1239 | 49 | 11.99 | 133 | 40.13 | 133.6688 | 49.1998 |  |  |  |  | 4.1 |  | 10.6 |  | 0.69 | d | 0.29766
27 | P16 | 202 | 07 | 08 | 19 | 1851 | 49 | 16.8 | 134 | 39.95 | 134.6658 | 49.28 |  |  |  |  | 4.7 |  | 10.7 |  | 0.69 | d | -
28 | P16 | 215 | 07 | 08 | 19 | 2031 | 49 | 16.74 | 134 | 40.07 | 134.6678 | 49.279 |  |  |  |  | 4.6 |  | 10.8 |  | 0.72 | d | 0.40816
32 | P17 | 228 | 07 | 08 | 20 | 0523 | 49 | 20.72 | 135 | 39.17 | 135.6528 | 49.3453 |  |  |  |  | 4.6 |  | 10.2 |  | 0.69 | d | 0.71419
33 | P18 | 233 | 07 | 08 | 20 | 1155 | 49 | 26.07 | 136 | 40.07 | 136.6678 | 49.4345 |  |  |  |  | 5.6 |  | 4.1 |  | 0.71 | d | 1.0298
34 | P19 | 236 | 07 | 08 | 20 | 1805 | 49 | 30.06 | 137 | 40.07 | 137.6678 | 49.501 |  |  |  |  | 6.3 |  | 5.5 |  | 0.81 | d | 0.93131
35 | P20 | 252 | 07 | 08 | 20 | 2319 | 49 | 34.03 | 138 | 39.91 | 138.6652 | 49.5672 |  |  |  |  | 4.3 |  | 0.4 |  | 0.68 | d | 0.78772
37 | P20 | 290 | 07 | 08 | 21 | 344 | 49 | 33.97 | 138 | 39.7 | 138.6617 | 49.5662 |  |  |  |  | 4.6 |  | 0.4 |  | 0.63 | d | -
40 | P21 | 291 | 07 | 08 | 21 | 1016 | 49 | 37.99 | 139 | 40.16 | 139.6693 | 49.6332 |  |  |  |  | 5 |  | 0.5 |  | 0.62 | d | 0.84264
41 | P22 | 299 | 07 | 08 | 21 | 1452 | 49 | 42.08 | 140 | 40.03 | 140.6672 | 49.7013 |  |  |  |  | 10.8 |  | 15.4 |  | 1.03 | d | 0.4513
42 | P23 | 300 | 07 | 08 | 21 | 1918 | 49 | 46.05 | 141 | 39.44 | 141.6573 | 49.7675 |  |  |  |  | 4.9 |  | 0.7 |  | 0.67 | d | 0.48822
43 | P24 | 305 | 07 | 08 | 22 | 0105 | 49 | 51.47 | 142 | 40.32 | 142.672 | 49.8578 |  |  |  |  | 9.9 |  | 16.3 |  | 1 | d | 0.38976
44 | P25 | 306 | 07 | 08 | 22 | 0603 | 50 | 00.01 | 143 | 35.95 | 143.5992 | 50.0002 |  |  |  |  | 10 |  | 15.2 |  | 1.02 | d | 0.48822
45 | P35 | 307 | 07 | 08 | 22 | 0958 | 49 | 59.89 | 144 | 17.93 | 144.2988 | 49.9982 |  |  |  |  | 11 |  | 15.9 |  | 1.06 | d | 0.38976
47 | P26 | 323 | 07 | 08 | 22 | 1459 | 50 | 00.00 | 145 | 00.02 | 145.0003 | 50 |  |  |  |  | 10.7 |  | 17 |  | 1.07 | d | 0.50053
48 | P26 | 350 | 07 | 08 | 22 | 1804 | 49 | 59.72 | 145 | 00.15 | 145.0025 | 49.9953 |  |  |  |  | 10.7 |  | 17.8 |  | 1.06 | d | 0.36924
51 | P26 | 369 | 07 | 08 | 22 | 2202 | 49 | 59.99 | 145 | 00.11 | 145.0018 | 49.9998 |  |  |  |  | 11.9 |  | 17 |  | 1.07 | d | 0.38317
55 | P26 | 407 | 07 | 08 | 23 | 0557 | 50 | 00.41 | 145 | 00.55 | 145.0092 | 50.0068 |  |  |  |  | 11.1 |  | 17.2 |  | 1.07 | d | -
56 | P26 | 410 | 07 | 08 | 23 | 1100 | 50 | 27.1 | 145 | 00.43 | 145.0072 | 50.4517 |  |  |  |  | 10.8 |  | 15.2 |  | 1.08 | d | 0.39566
57 | P32 | 411 | 07 | 08 | 23 | 1453 | 50 | 54.04 | 145 | 00.34 | 145.0057 | 50.9007 |  |  |  |  | 11 |  | 10.9 |  | 1.09 | d | 0.41723
| P32 | usw | 07 | 08 | 23 | 1453 | 50 | 54.04 | 145 | 00.34 | 145.0057 | 50.9007 |  |  |  |  | 11 |  | 10.8 |  | 1.08 | d | 0.41232
58 | P49 | 435 | 07 | 08 | 23 | 1907 | 50 | 53.77 | 144 | 17.62 | 144.2937 | 50.8962 |  |  |  |  | 10.6 |  | 13.2 |  | 1.05 | d | 0.4498
59 | P33 | 454 | 07 | 08 | 23 | 2322 | 50 | 53.93 | 143 | 35.78 | 143.5963 | 50.8988 |  |  |  |  | 10.9 |  | 15.7 |  | 1.03 | d | 0.4623
61 | R20 | 455 | 07 | 08 | 24 | 0256 | 50 | 55.65 | 143 | 01.26 | 143.021 | 50.9275 |  |  |  |  | 10.5 |  | 16.6 |  | 1.06 | d | 0.38851
62 | R19 | 456 | 07 | 08 | 24 | 0639 | 50 | 57.86 | 142 | 20.09 | 142.3348 | 50.9643 |  |  |  |  | 10.9 |  | 17.9 |  | 1.1 | d | 0.42065
63 | R18 | 457 | 07 | 08 | 24 | 1024 | 51 | 00.06 | 141 | 39.15 | 141.6525 | 51.001 |  |  |  |  | 11.4 |  | 17.7 |  | 1.13 | d | 0.50966
64 | R17 | 476 | 07 | 08 | 24 | 1430 | 51 | 02.00 | 140 | 56.18 | 140.9363 | 51.0333 |  |  |  |  | 10.2 |  | 17.7 |  | 1.02 | d | 0.36762
65 | R16 | 477 | 07 | 08 | 24 | 1810 | 51 | 04.01 | 140 | 14.26 | 140.2377 | 51.0668 |  |  |  |  | 6.5 |  | 5.7 |  | 0.81 | d | 0.38015
66 | R15 | 478 | 07 | 08 | 24 | 2222 | 51 | 06.15 | 139 | 30.73 | 139.5122 | 51.1025 |  |  |  |  | 5.1 |  | 8.8 |  | 0.73 | d | 0.36651
68 | R14 | 479 | 07 | 08 | 25 | 0329 | 51 | 08.96 | 138 | 47.97 | 138.7995 | 51.1493 |  |  |  |  | 6.2 |  | 3.5 |  | 0.79 | d | 0.82048
69 | R13 | 498 | 07 | 08 | 25 | 0745 | 51 | 11.24 | 138 | 06.35 | 138.1058 | 51.1873 |  |  |  |  | 4.2 |  | 10.3 |  | 0.69 | d | 0.50811
| Loop 1 | usw | 07 | 08 | 25 | 1300 | 51 | 53.76 | 137 | 17.54 | 137.2923 | 51.896 |  |  |  |  | 3.1 |  | 6.3 |  | 0.63 | d | 0.52894
| Loop 2 | usw | 07 | 08 | 25 | 1800 | 52 | 35.41 | 136 | 29.17 | 136.4862 | 52.5902 |  |  |  |  | 2.2 |  | 8.8 |  | 0.6 | d | 0.61038
| Loop 3 | usw | 07 | 08 | 25 | 2246 | 53 | 17.97 | 135 | 39.04 | 135.6507 | 53.2995 |  |  |  |  | 0 |  | 10.8 |  | 0.4 | d | 0.43184
| Loop 4 | usw | 07 | 08 | 26 | 0059 | 53 | 04.86 | 135 | 34.94 | 135.5823 | 53.081 |  |  |  |  | 0 |  | 10.6 |  | 0.41 | d | 0.27209
| Loop 5 | usw | 07 | 08 | 26 | 0700 | 52 | 16.83 | 135 | 18.94 | 135.3157 | 52.2805 |  |  |  |  | 3.6 |  | 11.4 |  | 0.67 | d | 0.27021
| Loop 6 | usw | 07 | 08 | 26 | 1259 | 51 | 16.71 | 135 | 03.49 | 135.0582 | 51.2785 |  |  |  |  | 2 |  | 10.9 |  | 0.59 | d | 0.21621
| Loop 7 | usw | 07 | 08 | 26 | 1905 | 51 | 09.28 | 136 | 15.42 | 136.257 | 51.1547 |  |  |  |  | 0.9 |  | 10 |  | 0.5 | d | 0.3223
72 | R12 | 499 | 07 | 08 | 27 | 0040 | 51 | 12.86 | 137 | 23.31 | 137.3885 | 51.2143 |  |  |  |  | 4.3 |  | 3.8 |  | 0.65 | d | 0.83045
| R12 | usw | 07 | 08 | 27 | 0040 | 51 | 12.86 | 137 | 23.31 | 137.3885 | 51.2143 |  |  |  |  | 4.3 |  | 3.8 |  | 0.65 | d | 0.71435
73 | R11N | 500 | 07 | 08 | 27 | 0441 | 51 | 26.96 | 136 | 40.72 | 136.6787 | 51.4493 |  |  |  |  | 3.1 |  | 11.3 |  | 0.59 | d | 0.41232
| R11N | usw | 07 | 08 | 27 | 0441 | 51 | 26.96 | 136 | 40.72 | 136.6787 | 51.4493 |  |  |  |  | 3.1 |  | 11.3 |  | 0.59 | d | 0.30618
74 | R10N | 501 | 07 | 08 | 27 | 0825 | 51 | 28.87 | 135 | 57.77 | 135.9628 | 51.4812 |  |  |  |  | 0.5 |  | 10.9 |  | 0.44 | d | 0.36651
| R10N | usw | 07 | 08 | 27 | 0825 | 51 | 28.87 | 135 | 57.77 | 135.9628 | 51.4812 |  |  |  |  | 0.4 |  | 11 |  | 0.45 | d | 0.29141
76 | R9N | 521 | 07 | 08 | 27 | 1331 | 51 | 30.7 | 135 | 14.99 | 135.2498 | 51.5117 |  |  |  |  | 1.9 |  | 9.4 |  | 0.56 | d | 0.32376
| R9N | usw | 07 | 08 | 27 | 1331 | 51 | 30.7 | 135 | 14.99 | 135.2498 | 51.5117 |  |  |  |  | 1.9 |  | 9.8 |  | 0.57 | d | 0.25135
78 | R8N | 523 | 07 | 08 | 27 | 1840 | 51 | 32.89 | 134 | 32.45 | 134.5408 | 51.5482 |  |  |  |  | 1.3 |  | 11.2 |  | 0.5 | d | 0.26481
| R8N | usw | 07 | 08 | 27 | 1840 | 51 | 32.89 | 134 | 32.45 | 134.5408 | 51.5482 |  |  |  |  | 1.3 |  | 11.2 |  | 0.51 | d | 0.22093
79 | R7N | 524 | 07 | 08 | 27 | 2236 | 51 | 35.48 | 133 | 49.41 | 133.8235 | 51.5913 |  |  |  |  | 0 |  | 10.1 |  | 0.36 | d | 0.29588
| R7N | usw | 07 | 08 | 27 | 2236 | 51 | 35.48 | 133 | 49.41 | 133.8235 | 51.5913 |  |  |  |  | 0 |  | 10.1 |  | 0.38 | d | 0.27517
80 | R6 | 525 | 07 | 08 | 28 | 0252 | 51 | 25.35 | 133 | 05.48 | 133.0913 | 51.4225 |  |  |  |  | 1.3 |  | 10.9 |  | 0.5 | d | 0.21828
| R6 | usw | 07 | 08 | 28 | 0252 | 51 | 25.35 | 133 | 05.48 | 133.0913 | 51.4225 |  |  |  |  | 1.2 |  | 10.9 |  | 0.49 | d | 0.22428
81 | MJ5 | 545 | 07 | 08 | 28 | 0715 | 51 | 27.44 | 132 | 24.02 | 132.4003 | 51.4573 |  |  |  |  | 0 |  | 8.9 |  | 0.41 | d | 0.13698
| MJ5 | usw | 07 | 08 | 28 | 0715 | 51 | 27.44 | 132 | 24.02 | 132.4003 | 51.4573 |  |  |  |  | 0 |  | 9 |  | 0.42 | d | 0.12207
82 | MJ4 | 547 | 07 | 08 | 28 | 0945 | 51 | 35.5 | 132 | 06.53 | 132.1088 | 51.5917 |  |  |  |  | 0 |  | 10.4 |  | 0.38 | d | 0.15175
| MJ4 | usw | 07 | 08 | 28 | 0945 | 51 | 35.5 | 132 | 06.53 | 132.1088 | 51.5917 |  |  |  |  | 0 |  | 10.4 |  | 0.38 | d | 0.14951
83 | MJ3 | 567 | 07 | 08 | 28 | 1217 | 51 | 43.43 | 131 | 49.88 | 131.8313 | 51.7238 |  |  |  |  | 0.1 |  | 9.2 |  | 0.4 | d | 0.26187
| MJ3 | usw | 07 | 08 | 28 | 1217 | 51 | 43.43 | 131 | 49.88 | 131.8313 | 51.7238 |  |  |  |  | 0 |  | 9.1 |  | 0.42 | d | 0.19638
84 | MJ2 | 569 | 07 | 08 | 28 | 1441 | 51 | 51.49 | 131 | 31.77 | 131.5295 | 51.8582 |  |  |  |  | 0 |  | 8.1 |  | 0.33 | d | 0.3737
85 | SS1 | 583 | 07 | 08 | 28 | 2310 | 51 | 11.83 | 130 | 00.78 | 130.013 | 51.1972 |  |  |  |  | 0.2 |  | 12.4 |  | 0.41 | d | 0.52219
86 | SS2 | 584 | 07 | 08 | 29 | 0104 | 51 | 12.99 | 129 | 43.13 | 129.7188 | 51.2165 |  |  |  |  | 0.2 |  | 12.7 |  | 0.35 | d | 0.69136
88 | SS3 | 596 | 07 | 08 | 29 | 0350 | 51 | 15.03 | 129 | 21.29 | 129.3548 | 51.2505 |  |  |  |  | 1.2 |  | 15.8 |  | 0.39 | d | 1.9389
89 | SS4 | 597 | 07 | 08 | 29 | 0547 | 51 | 21.22 | 128 | 59.94 | 128.999 | 51.3537 |  |  |  |  | 0.3 |  | 13.2 |  | 0.32 | d | 2.4812
90 | SS5 | 607 | 07 | 08 | 29 | 0825 | 51 | 27.99 | 128 | 30 | 128.5 | 51.4665 |  |  |  |  | 1.1 |  | 9.2 |  | 0.33 | d | 1.3041
91 | SS6 | 608 | 07 | 08 | 29 | 1102 | 51 | 19.96 | 127 | 59.99 | 127.9998 | 51.3327 |  |  |  |  | 2 |  | 15.5 |  | 0.41 | d | 3.0538
93 | SS7 | 616 | 07 | 08 | 29 | 1247 | 51 | 24.63 | 127 | 47.41 | 127.7902 | 51.4105 |  |  |  |  | 2.2 |  | 21 |  | 0.34 | d | 8.2461
94 | Ri 1 | 629 | 07 | 08 | 29 | 1407 | 51 | 26.2 | 127 | 38.77 | 127.6462 | 51.4367 |  |  |  |  | 2.7 |  | 18.3 |  | 0.4 | d | 8.7195
97 | Ri 2 | 630 | 07 | 08 | 29 | 1620 | 51 | 31.36 | 127 | 33.66 | 127.561 | 51.5227 |  |  |  |  | 16 |  | 33 |  | 1.35 | d | 2.3069
98 | Ri 3 | 631 | 07 | 08 | 29 | 1716 | 51 | 35.86 | 127 | 32.09 | 127.5348 | 51.5977 |  |  |  |  | 8.3 |  | 18.2 |  | 0.81 | d | 6.1459
101 | Ri 4 | 643 | 07 | 08 | 29 | 1912 | 51 | 38.94 | 127 | 26.64 | 127.444 | 51.649 |  |  |  |  | 10.7 |  | 21.4 |  | 0.9 | d | 7.8219
102 | Ri 5 | 644 | 07 | 08 | 29 | 2007 | 51 | 40.63 | 127 | 19.97 | 127.3328 | 51.6772 |  |  |  |  | 17 |  | 23 |  | 1.35 | d | 7.0292
105 | Ri 6 | 645 | 07 | 08 | 29 | 2147 | 51 | 40.55 | 127 | 17.48 | 127.2913 | 51.6758 |  |  |  |  | 17.9 |  | 23.8 |  | 1.43 | d | 6.6037
106 | M2 | 654 | 07 | 08 | 30 | 0214 | 51 | 46.45 | 127 | 53.36 | 127.8893 | 51.7742 |  |  |  |  | 5.1 |  | 20.9 |  | 0.57 | d | 3.3889
107 | M3 | 667 | 07 | 08 | 30 | 0317 | 51 | 46.46 | 127 | 54.47 | 127.9078 | 51.7743 |  |  |  |  | 4.4 |  | 20.9 |  | 0.49 | d | 4.6993
108 | M4 | 681 | 07 | 08 | 30 | 0414 | 51 | 44.56 | 127 | 59.75 | 127.9958 | 51.7427 |  |  |  |  | 8.5 |  | 25.3 |  | 0.79 | d | 2.8538
109 | M5 | 682 | 07 | 08 | 30 | 0505 | 51 | 43.36 | 128 | 03.48 | 128.058 | 51.7227 |  |  |  |  | 3 |  | 16.4 |  | 0.41 | d | 2.7745
110 | M6 | 683 | 07 | 08 | 30 | 0557 | 51 | 42.64 | 128 | 07.25 | 128.1208 | 51.7107 |  |  |  |  | 1.3 |  | 14.7 |  | 0.32 | d | 2.4178

## Precision
Cruise 2007-15 Aug LineP
Nutrients analysed fresh at sea by Janet Barwell-Clarke
Precision was determined by analyzing replicate samples drawn from the same Niskin bottle and from two Niskin bottles tripped at the same depth.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
For replicate samples drawn from the same Niskin bottle:
Sp for nitrate for the range 0.0 to 43.1 uM was 0.17, k = 25
Sp for silicate for the range 9.4 to 158.1 uM was 0.45, k = 26
Sp for phosphate for the range 0.30 to 3.30 uM was 0.005, k = 26
For replicate samples drawn from the two Niskin bottles tripped at the same depth:
Sp for nitrate for the range 23.8 to 45.7 uM was 0.28, k = 6
Sp for silicate for the range 30.4 to 184.7 uM was 0.46, k = 6
Sp for phosphate for the range 1.80 tp 3é31 uM was 0.008, k = 6
Nitrate data from 1000 to 4000 m agrees with results averaged over 16 profiles at P26 from 1995 to 2001 to within 0.13 %.
Silicate data from 1000 to 4000 m agrees with results averaged over 16 profiles at P26 from 1995 to 2001 to within 0.59 %
Phosphate data from 1000 to 4000 m agrees with results averaged over 16 profiles at P26 from 1995 to 2001 to within 1.78 %.

## Sp same nisk
2007-15
Sp for duplicates taken from the same niskin | [6 empty] | Corrected
Cruise | Cast | Stn | Niskin | S.N. | Nitrate | Silicate | Phosphate |  | diff sq |  |  | avg
|  |  | No. |  | uM | uM | uM | NO3 | SIL | PO4 | NO3 | SIL | PO4
2007-15 | 1 | SI03 | 8 | 8 | 28.5 | 51.7 | 2.35 | 0.01 | 0 | 0 | 28.45 | 51.7 | 2.35
2007-15 | 1 | SI03 | 8 dup | 8 | 28.4 | 51.7 | 2.35
2007-15 | 4 | P 2 | 6 | 42 | 22.2 | 33.4 | 1.77 | 0.04 | 0.01 | 0.0001 | 22.3 | 33.35 | 1.775
2007-15 | 4 | P 2 | 6 dup | 42 | 22.4 | 33.3 | 1.78
2007-15 | 8 | P 4 | 11 | 60 | 0.1 | 10 | 0.31 | 0.01 | 0 | 0.0001 | 0.05 | 10 | 0.305
2007-15 | 8 | P 4 | 11 dup | 60 | 0 | 10 | 0.3
2007-15 | 14 | P8 | 13 | 108 | 26.8 | 34.4 | 2.04 | 0.01 | 0 | 0 | 26.85 | 34.4 | 2.04
2007-15 | 14 | P8 | 13 dup | 108 | 26.9 | 34.4 | 2.04
2007-15 | 19 | P12 | 7 | 129 |  | 158.1 | 3.29 | 0 | 0 | 0.0004 |  | 158.1 | 3.3
2007-15 | 19 | P12 | 7 dup | 129 |  | 158.1 | 3.31
2007-15 | 22 | P12 | 8 | 164 | 7.5 | 9.5 | 0.98 | 0.01 | 0.01 | 0 | 7.45 | 9.45 | 0.98
2007-15 | 22 | P12 | 8 dup | 164 | 7.4 | 9.4 | 0.98
2007-15 | 27 | P16 | 16 | 194 | 27.9 | 46.8 | 1.97 | 0 | 0.01 | 0.0001 | 27.9 | 46.75 | 1.965
2007-15 | 27 | P16 | 16 dup | 194 | 27.9 | 46.7 | 1.96
2007-15 | 28 | P16 | 15 | 217 | 4.7 | 10.9 | 0.72 | 0 | 0.01 | 0 | 4.7 | 10.85 | 0.72
2007-15 | 28 | P16 | 15 dup | 217 | 4.7 | 10.8 | 0.72
2007-15 | 35 | P20 | 2 | 238 |  | 61.7 | 2.41 |  | 0.01 | 0.0001 |  | 61.75 | 2.415
2007-15 | 35 | P20 | 2 dup | 238 |  | 61.8 | 2.42
2007-15 | 47 | P26 | 12 | 319 | 10.7 | 16.8 | 1.07 | 0.01 | 0.01 | 0 | 10.65 | 16.85 | 1.07
2007-15 | 47 | P26 | 12 dup | 319 | 10.6 | 16.9 | 1.07
2007-15 | 48 | P26 | 18 | 344 | 30.4 | 50.1 | 2.19 | 0.04 | 0.01 | 0.0001 | 30.5 | 50.15 | 2.195
2007-15 | 48 | P26 | 18 dup | 344 | 30.6 | 50.2 | 2.2
2007-15 | 51 | P26 | 1 | 351 | 43.1 | 85.7 | 2.93 | 0 | 1.44 | 0 | 43.1 | 86.3 | 2.93
2007-15 | 51 | P26 | 1 dup | 351 | 43.1 | 86.9 | 2.93
2007-15 | 55 | P26 | 5 | 397 | 17.4 | 25.6 | 1.48 | 0.01 | 0.01 | 0 | 17.45 | 25.65 | 1.48
2007-15 | 55 | P26 | 5 dup | 397 | 17.5 | 25.7 | 1.48
2007-15 | 59 | P33 | 13 | 448 | 32.9 | 49.7 | 2.27 | 0.64 | 1.21 | 0 | 32.5 | 50.25 | 2.27
2007-15 | 59 | P33 | 13 dup | 448 | 32.1 | 50.8 | 2.27
2007-15 | 64 | R17 | 13 | 470 | 29.6 | 50.8 | 2.2 | 0.04 | 2.25 | 0.0001 | 29.7 | 50.05 | 2.205
2007-15 | 64 | R17 | 13 dup | 470 | 29.8 | 49.3 | 2.21
2007-15 | 69 | R13 | 13 | 491 | 25.6 | 39.8 | 1.93 | 0.01 | 0.49 | 0 | 25.55 | 40.15 | 1.93
2007-15 | 69 | R13 | 13 dup | 491 | 25.5 | 40.5 | 1.93
2007-15 | 76 | R9N | 7 | 508 | 36.5 | 60.7 | 2.64 | 0.09 | 0.04 | 0 | 36.35 | 60.8 | 2.64
2007-15 | 76 | R9N | 7 dup | 508 | 36.2 | 60.9 | 2.64
2007-15 | 85 | SS1 | 4 | 573 | 34.1 | 57.7 | 2.59 | 0 | 0.49 | 0.0001 | 34.1 | 57.35 | 2.585
2007-15 | 85 | SS1 | 4 dup | 573 | 34.1 | 57 | 2.58
2007-15 | 88 | SS3 | 6 | 590 | 20.5 | 31.4 | 1.71 | 0.01 | 4 | 0 | 20.55 | 30.4 | 1.71
2007-15 | 88 | SS3 | 6 dup | 590 | 20.6 | 29.4 | 1.71
2007-15 | 90 | SS5 | 4 | 601 | 29.8 | 51.6 | 2.37 | 0 | 0.09 | 0 | 29.8 | 51.75 | 2.37
2007-15 | 90 | SS5 | 4 dup | 601 | 29.8 | 51.9 | 2.37
2007-15 | 93 | SS7 | 3 | 612 | 28.2 | 52.8 | 2.38 | 0.01 | 0 | 0 | 28.25 | 52.8 | 2.38
2007-15 | 93 | SS7 | 3 dup | 612 | 28.3 | 52.8 | 2.38
2007-15 | 94 | Ri1 | 4 | 620 | 29.2 | 58.7 | 2.56 | 0.01 | 0 | 0 | 29.15 | 58.7 | 2.56
2007-15 | 94 | Ri1 | 4 | 620 dup | 29.1 | 58.7 | 2.56
2007-15 | 101 | Ri4 | 4 | 635 | 28.4 | 58.4 | 2.54 | 0.36 | 0.16 | 0.0001 | 28.7 | 58.6 | 2.545
2007-15 | 101 | Ri4 | 4 | 635 dup | 29 | 58.8 | 2.55
2007-15 | 106 | M2 | 4 | 649 | 29.9 | 55.7 | 2.44 | 0.04 | 0.36 | 0.0001 | 30 | 55.4 | 2.435
2007-15 | 106 | M2 | 4 dup | 649 dup | 30.1 | 55.1 | 2.43
2007-15 | 107 | M3 | 4 | 658 | 31.4 | 57.9 | 2.48 | 0.01 | 0.01 | 0 | 31.45 | 57.95 | 2.48
2007-15 | 107 | M3 | 4 dup | 658 dup | 31.5 | 58 | 2.48
2007-15 | 108 | M4 | 12 | 679 | 21.2 | 39.7 | 1.71 | 0.04 | 0 | 0 | 21.1 | 39.7 | 1.71
2007-15 | 108 | M4 | 12 dup | 679 dup | 21 | 39.7 | 1.71
[7 empty] | sum | 1.4 | 10.62 | 0.0013
[7 empty] | count | 25 | 26 | 26
[7 empty] | Sp | 0.16733 | 0.45192 | 0.005
[7 empty] | min | 0 | 9.4 | 0.3
[7 empty] | max | 43.1 | 158.1 | 3.31

## Sp diff nisk
2007-15
Sp for duplicates tripped at the same depth. | [6 empty] | Corr
Cruise | Cast | Stn | Niskin | S.N. | Nitrate | Silicate | Phosphate |  | diff sq
|  |  | No. |  | uM | uM | uM | NO3 | SIL | PO4
2007-15 | 4 | P 2 | 4 | 40 | 24.2 | 30.4 | 1.81 | 0.16 | 0.01 | 0.0001
2007-15 | 4 | P 2 | 3 | 39 | 23.8 | 30.5 | 1.8
2007-15 | 10 | P4 | 4 | 77 | 45.7 | 128.6 | 3.31 | 0.01 | 0.25 | 0
2007-15 | 10 | P4 | 3 | 76 | 45.6 | 128.1 | 3.31
2007-15 | 14 | P8 | 6 | 101 | 44.3 | 122.5 | 3.31 | 0.49 | 0.04 | 0.0001
2007-15 | 14 | P8 | 5 | 100 | 45 | 122.7 | 3.3
2007-15 | 19 | P12 | 3 | 125 | 41.4 | 184.7 | 2.91 | 0.09 | 1 | 0.0001
2007-15 | 19 | P12 | 2 | 124 | 41.1 | 183.7 | 2.92
2007-15 | 27 | P16 | 5 | 183 | 41.9 | 179.2 | 2.92 | 0.01 | 1 | 0.0001
2007-15 | 27 | P16 | 4 | 182 | 42 | 180.2 | 2.91
2007-15 | 37 | P20 | 5 | 271 | 41.3 | 174.9 | 2.95 | 0.16 | 0.25 | 0.0004
2007-15 | 37 | P20 | 4 | 270 | 41.7 | 175.4 | 2.97
[7 empty] | sum | 0.92 | 2.55 | 0.0008
[7 empty] | count | 6 | 6 | 6
[7 empty] | Sp | 0.27689 | 0.46098 | 0.008165
[7 empty] | min | 23.8 | 30.4 | 1.8
[7 empty] | max | 45.7 | 184.7 | 3.31