Cruise 2007-16:  La Perouse September 2007

CTD/Rosette:

72 files, 0001 to 0126

35 ‘real rosette casts’

2 CTD cast done with no bottle tripped (8, 10)

34 CTD casts in Rosette with 5m Niskin – 0443

1 cast is split between up- and down cast files.

0 stand-alone CTD casts

All the casts were done with deck unit 0619; Mid-ship winch.

Seasave version 7.12

GENERAL NOTES:

FILES:

Event number 17 (LB07) files are called 0015.

Event number 18 (B8) files are called 0017.

Event number 22:  Station is called B08, should be LB08 (there is a station B8, that was event number 18).

Event number 29 (LB12) files are called 0028.

Event number 53 (LC05) files 0053 are the downcast, files 0054 are the upcast.

Casts with NO PAR sensor:  0032, 0033, 0034, 0035, 0037, 0039, 0040, 0069, 0071, 0072, 0074, 0076, 0078, 0079, 0081, 0091, 0092, 0095, 0098, 0099, 0102, 0107.

Oxygen sensor plug and syringes used during the whole cruise between stations.

ROSETTES:

Rosette casts 0022, (0053) 0054, 0079, 0082, 0103: Niskins were not closed in order.  They were closed using the User Input function.  (not sure how to figure out Niskin order, except for cast 0082 from log book).

Cast 0069: 5 Niskins closed, 1 sample # for IOS.

Cast 0082: Rosette log says 10 Niskin closed, but it was 14.  See log book.

Cast 0092: 2 Niskins closed, 1 sample # for IOS.

A few times (cast 0095, and ?) a Niskin did close on the Rosette, but there is no record of it in the .BTL file, and also no record on the screen during the cast.

SAMPLE NUMBER PROBLEMS:

Many sample numbers were used twice:

Sample # 67: used for ‘CTD’ 0026 and for Rosette 0027.

Sample # 112: used for Rosettes 0032 and 0034 (called 1112 in 0034).

Sample # 133: used for CTD 0033 and for Rosette 0035.

Samples # 266 to 274: used for Rosette 0064 and Rosette 0065.

Sample # 275: used for Rosette 0064 and for CTD 0067.

Samples # 276 to 283: used for Rosette 0064 and Rosette 0068.

Sample # 421: used for Rosette 0103 and for CTD 0107.

Sample # 422: used for Rosette 0103 and for CTD 0108.

Sample # 423: used for Rosette 0103 and for CTD 0111.

Sample # 424: used for Rosette 0103 and for CTD 0112.

Samples # 425 to 430: used for Rosette 0103 and Rosette 0115.

Sample # 444: used for Rosette 0125 and for CTD 126.

TSG:

Lots of problems with flow, bubbles, and salinity going all over the place.

Also huge difference in temperature between temperature sensors.

CTD CASTS:

Did not check individual files.