## Summary
2 Mar 2017 Sarah Zimmermann
The 2007-19 water sample salinities were spread between files analysed during 2007-19 and during the next leg 2007-20.
This workbook gathers the data together into one spot
Files are from: N:\SHARE\DATA\2007\2007-LSSL-all\2007-19_C3O\Data\Chemistry\Salinity\Raw Data - v2008-08-08
Note:
There are two sample numbers #78 in the chemistry file. The first is at Stn LS3 Cast 6 at 15dbar, the second at LS4 Cast 7 at 2000dbar.
There are also two runs of 454 to 474 however the second occurance was renamed 9454 to 9474.
All Data: This sheet contains the data for merging in with the chemistry.
Sp: This sheet has the sample precision information
Summary of water sample salinity analysis runs:
Run during on board during 2007-19:
Run | Numbers | Count | PreCal | Cal | End | Analyst
1 | 16 to 56 | 19 | 1.9997 | 1.9996 |  | D.G. Sieberg
2 | 56 to 110 | 33 |  | 1.9996 |  | D.G. Sieberg
3 | 111 to 158 | 44 | 1.9997 | 1.9996 |  | D.G. Sieberg
4 | 159 to 273 | 68 |  |  | 1.9997 | D.G. Sieberg
5 | 274 to 294 | 24 | 1.9997 | 1.9996 |  | D.T. Horn
6 | 295 to 365 | 48 |  | 1.9996 |  | D.T. Horn
7 | 367 to 427 | 41 | 1.9996 |  |  | D.T. Horn
8 | 429 to 9463 | 31 | 1.9996 | 1.9996 |  | D.T. Horn
9 | 9464 to 9483 | 21 |  |  |  | D.T. Horn
Run on-board during the following leg, 2007-20:
These are samples from 2007-19 C3O but analysed during the following leg.
| 2007-19 CAA 1 | 625 to 646 | 2007-08-16
| 2007-19 CAA 2 | 649 to 670 | 2007-08-16
| 2007-19 B01 | 467 to 486 | 2007-08-02
| 2007-19 BEW 03 | 488 to 510 | 2007-08-03
| 2007-19 BEW 05 | 511 to 530 | 2007-08-03
| 2007-19 BEW 11 | 571 to 582 | 2007-08-03
| 2007-19 BEW7 | 531 to 549 | 2007-07-31
| 2007-19 BEW09 | 553 to 570 | 2007-08-02
| 2007-19 CAA 3 | 673 to 687 | 2007-08-05
| 2007-19 CAA 4 | 693 to 702 | 2007-08-05
| 2007-19 CAA 5 | 728 to 748 | 2007-08-05
| 2007-19 CAA 11 | 861 to 868 | 2007-08-06
| 2007-19 CAA 12 | 870 to 879 | 2007-08-06
| 2007-19 CAA 13 | 904 to 905 | 2007-08-06
| 2007-19 CAA10 | 823 to 838 | 2007-08-05
| 2007-19-BB-11 | 607 to 624 | 2007-07-31
| 2007-19-CAA-14 | 905 to 917 | 2007-07-31
| 2007-19-CAA16 | 941 to 952 | 2007-07-31
| sheet: Data Entry -CAA9 | 807 to 821 | 2007-08-05

## All Data
3 Mar 2017 S Zimmermann:
All analysis was performed on board either during 2007-19 or during the following leg 2007-20.
This sheet has been assembled from various files created during 2007-19 and 2007-20 (N:\SHARE\DATA\2007\2007-LSSL-all\2007-19_C3O\Data\Chemistry\Salinity\Raw Data - v2008-08-08)
Note:
There are two sample numbers #78 in the chemistry file. The first is at Stn LS3 Cast 6 at 15dbar, the second at LS4 Cast 7 at 2000dbar.
There are also two runs of 454 to 474 however the second occurance was renamed 9454 to 9474.
Electronic form of Rosette Sample Log
Sample # | Salinity-1 | Duplicate #1 | Salinity-2 | Duplicate #2 | Salinity-3 | Samp # | Salinity | CHECKED! | Comments/Corrections
16 | 32.3366 | 16dup | 32.3369 | 16dup | 32.3369 | 16 | xxx
18 | 32.2831 | 18dup | 32.2826 | 18dup | 32.2826 | 18 | xxx
20 | 31.9523 | 20dup | 31.9524 | 20dup | 31.9533 | 20 | xxx
22 | 31.1045 | 22dup | 31.1044 |  |  | 22 | xxx
45 | 34.3012 |  |  |  |  | 45 | x
48 | 34.2393 |  |  |  |  | 48 | x |  | Changed sample number from 46 to 48. Paper sheet reads 46 but should read 48 (consistant with niskin number listed on paper sheet). Both have depths of 200m so not an issue in any case. SZ 3Mar2017.
49 | 33.7424 |  |  |  |  | 49 | x
50 | 33.5378 |  |  |  |  | 50 | x
51 | 33.2789 |  |  |  |  | 51 | x
54 | 32.9911 |  |  |  |  | 54 | x
55 | 32.7717 |  |  |  |  | 55 | x
56 | 32.6674 | 56dup | 32.6665 |  |  | 56 | xx
57 | 32.5857 |  |  |  |  | 57 | x
61 | 31.8882 |  |  |  |  | 61 | x
62 | 34.8675 |  |  |  |  | 62 | x
64 | 34.8708 | 64dup | 34.8701 |  |  | 64 | xx
65 | 34.8548 |  |  |  |  | 65 | x
66 | 34.8475 |  |  |  |  | 66 | x
67 | 34.8317 |  |  |  |  | 67 | x
68 | 34.8245 |  |  |  |  | 68 | x
69 | 34.8342 |  |  |  |  | 69 | x
70 | 34.8279 | 70dup | 34.8281 |  |  | 70 | xx
71 | 34.817 |  |  |  |  | 71 | x
72 | 34.7959 |  |  |  |  | 72 | x
73 | 34.7741 |  |  |  |  | 73 | x
74 | 34.7053 |  |  |  |  | 74 | x
75 | 34.6481 |  |  |  |  | 75 | x
76 | 34.6159 | 76dup | 34.6167 |  |  | 76 | xx
77 | 34.6487 |  |  |  |  | 77 | x
78 | 34.3991 |  |  |  |  | 78 | x
79 | 34.2641 |  |  |  |  | 78 | x | Mismatch | 78-2 Cast 7 LS4 (sample number appears twice)
78-2 Cast 7 LS4 (sample number appears twice) | 34.9008 |  |  |  |  | 79 | x | #VALUE! | 78-2 Cast 7 LS4 (sample number appears twice)
101 | 34.8964 |  |  |  |  | 101 | x
102 | 34.9107 | 102dup | 34.9109 |  |  | 102 | xx
103 | 34.9105 |  |  |  |  | 103 | x
105 | 34.8625 |  |  |  |  | 105 | x
107 | 34.8505 |  |  |  |  | 107 | x
109 | 34.853 |  |  |  |  | 109 | x
110 | 34.8583 | 110dup | 34.8567 |  |  | 110 | xx
111 | 34.8507 |  |  |  |  | 111 | x
112 | 34.845 |  |  |  |  | 112 | x
114 | 34.8383 | 114dup | 34.838 |  |  | 114 | xx
115 | 34.8241 |  |  |  |  | 115 | x
116 | 34.8153 |  |  |  |  | 116 | x
117 | 34.8011 |  |  |  |  | 117 | x
119 | 34.7857 |  |  |  |  | 119 | x
120 | 34.7727 | 120dup | 34.7733 |  |  | 120 | xx
121 | 34.7526 |  |  |  |  | 121 | x
122 | 34.7436 |  |  |  |  | 122 | x
123 | 34.7114 |  |  |  |  | 123 | x
126 | 34.8759 |  |  |  |  | 126 | x
128 | 34.8872 |  |  |  |  | 128 | x
130 | 34.9193 |  |  |  |  | 130 | x
132 | 34.918 | 132dup | 34.9194 |  |  | 132 | xx
133 | 34.9515 |  |  |  |  | 133 | x
134 | 34.9749 |  |  |  |  | 134 | x
136 | 34.9932 | 136dup | 34.9908 |  |  | 136 | xx
137 | 34.9746 |  |  |  |  | 137 | x
138 | 34.9655 |  |  |  |  | 138 | x
139 | 34.9261 |  |  |  |  | 139 | x
140 | 34.861 |  |  |  |  | 140 | x
141 | 34.7695 |  |  |  |  | 141 | x
143 | 34.611 |  |  |  |  | 143 | x
144 | 34.3588 | 144dup | 34.3598 |  |  | 144 | xx
146 | 33.7268 |  |  |  |  | 146 | x
147 | 33.6193 |  |  |  |  | 147 | x
149 | 34.9157 |  |  |  |  | 149 | x
150 | 34.9228 | 150dup | 34.9229 |  |  | 150 | xx
151 | 34.8543 |  |  |  |  | 151 | x
152 | 34.5212 |  |  |  |  | 152 | x
153 | 34.2409 | 153dup | 34.2422 |  |  | 153 | xx
154 | 34.1745 |  |  |  |  | 154 | x
155 | 34.1374 |  |  |  |  | 155 | x
157 | 34.0066 | 157dup | 34.0062 |  |  | 157 | x
158 | 33.9361 |  |  |  |  | 158 | x
159 | 33.8554 |  |  |  |  | 159 | x
160 | 33.7804 |  |  |  |  | 160 | x
161 | 33.6743 |  |  |  |  | 161 | x
162 | 33.5636 |  |  |  |  | 162 | x
163 | 33.4106 |  |  |  |  | 163 | x
164 | 33.2228 |  |  |  |  | 164 | x
165 | 33.2151 |  |  |  |  | 165 | x
194 | 34.5584 | 194dup | 34.5586 |  |  | 194 | xx
196 | 34.5983 |  |  |  |  | 196 | x
197 | 34.7228 | 197dup | 34.7226 |  |  | 197 | xx
199 | 34.5629 |  |  |  |  | 199 | x
200 | 34.5114 |  |  |  |  | 200 | x
201 | 34.2687 |  |  |  |  | 201 | x
203 | 34.0099 |  |  |  |  | 203 | x
204 | 33.8665 |  |  |  |  | 204 | x
205 | 33.7032 | 205dup | 33.7018 |  |  | 205 | xx
207 | 33.5064 |  |  |  |  | 207 | x
208 | 33.3969 |  |  |  |  | 208 | x
209 | 33.1511 |  |  |  |  | 209 | x
210 | 32.8812 |  |  |  |  | 210 | x
211 | 32.2706 |  |  |  |  | 211 | x
213 | 32.1834 |  |  |  |  | 213 | x
234 | 34.3305 | 234dup | 34.3303 |  |  | 234 | xx
235 | 34.3254 |  |  |  |  | 235 | x
236 | 34.3029 |  |  |  |  | 236 | x
237 | 34.2665 |  |  |  |  | 237 | x
238 | 34.1901 |  |  |  |  | 238 | x
239 | 34.1498 |  |  |  |  | 239 | x
240 | 34.0821 |  |  |  |  | 240 | x
241 | 33.919 |  |  |  |  | 241 | x
243 | 33.7491 |  |  |  |  | 243 | x
244 | 33.6156 | 244dup | 33.6159 |  |  | 244 | xx
245 | 33.2355 |  |  |  |  | 245 | x
246 | 33.0807 |  |  |  |  | 246 | x
Missing 247 | [5 empty] | 247 | x | #VALUE! | Missing 247 though Rosette log does not indicate any problem.
250 | 34.5759 | 250dup | 34.5761 |  |  | 250 | xx
251 | 34.5329 |  |  |  |  | 251 | x
252 | 34.4893 | 252dup | 34.4894 |  |  | 252 | xx
253 | 34.4457 |  |  |  |  | 253 | x
254 | 34.3266 |  |  |  |  | 254 | x
255 | 34.1303 |  |  |  |  | 255 | x
256 | 33.9423 |  |  |  |  | 256 | x
257 | 33.8371 |  |  |  |  | 257 | x
258 | 33.6398 |  |  |  |  | 258 | x
259 | 33.4765 |  |  |  |  | 259 | x
260 | 33.2942 |  |  |  |  | 260 | x
261 | 33.2369 |  |  |  |  | 261 | x
262 | 33.2289 | 262dup | 33.2287 |  |  | 262 | xx
263 | 34.5023 | 263dup | 34.5036 |  |  | 263 | xx
264 | 34.5317 | 264dup | 34.5311 |  |  | 264 | xx
265 | 34.6589 |  |  |  |  | 265 | x
266 | 34.757 |  |  |  |  | 266 | x
267 | 34.6187 |  |  |  |  | 267 | x
268 | 34.5402 |  |  |  |  | 268 | x
269 | 34.5026 |  |  |  |  | 269 | x
270 | 34.3884 |  |  |  |  | 270 | x
271 | 34.2707 |  |  |  |  | 271 | x
272 | 34.1664 |  |  |  |  | 272 | x
273 | 33.9808 |  |  |  |  | 273 | x
274 | 33.7952 |  |  |  |  | 274 | x
275 | 34.0492 |  |  |  |  | 275 | x
276 | 33.3222 |  |  |  |  | 276 | x
277 | 33.0613 |  |  |  |  | 277 | x
278 | 32.763 |  |  |  |  | 278 | x
279 | 32.4496 | 279dup | 32.4488 |  |  | 279 | xx
280 | 34.5015 | 280dup | 34.5015 |  |  | 280 | xx
281 | 34.5017 | 281dup | 34.5327 |  |  | 281 | xx
282 | 34.5325 |  |  |  |  | 282 | x
283 | 34.6708 |  |  |  |  | 283 | x
284 | 34.4584 |  |  |  |  | 284 | x
285 | 34.3518 |  |  |  |  | 285 | x
286 | 34.292 |  |  |  |  | 286 | x
287 | 34.1632 |  |  |  |  | 287 | x
288 | 34.0029 |  |  |  |  | 288 | x
289 | 33.8455 |  |  |  |  | 289 | x
290 | 33.6759 |  |  |  |  | 290 | x
291 | 33.4713 |  |  |  |  | 291 | x
292 | 33.3016 |  |  |  |  | 292 | x
293 | 33.2172 |  |  |  |  | 293 | x
294 | 33.1232 |  |  |  |  | 294 | x
295 | 32.6685 |  |  |  |  | 295 | x
296 | 31.7107 | 296dup | 31.7078 |  |  | 296 | xx
322 | 34.5025 | 322dup | 34.5018 |  |  | 322 | xx
324 | 34.5176 |  |  |  |  | 324 | x
326 | 34.5013 | 326dup | 34.501 |  |  | 326 | xx
327 | 34.3683 |  |  |  |  | 327 | x
329 | 34.143 |  |  |  |  | 329 | x
330 | 34.0644 |  |  |  |  | 330 | x
331 | 33.8694 |  |  |  |  | 331 | x
332 | 33.7405 |  |  |  |  | 332 | x
333 | 33.6087 |  |  |  |  | 333 | x
334 | 33.5476 |  |  |  |  | 334 | x
335 | 33.5058 |  |  |  |  | 335 | x
337 | 33.37 |  |  |  |  | 337 | x
338 | 33.1665 |  |  |  |  | 338 | x
339 | 32.9581 |  |  |  |  | 339 | x
340 | 32.7035 |  |  |  |  | 340 | x
341 | 32.2474 |  |  |  |  | 341 | x
343 | 31.8094 | 343dup | 31.8117 |  |  | 343 | xx
344 | 34.5011 | 344dup | 34.504 |  |  | 344 | xx
345 | 34.5068 |  |  |  |  | 345 | x
346 | 34.4893 | 346dup | 34.4888 |  |  | 346 | xx
347 | 34.2777 |  |  |  |  | 347 | x
348 | 33.9426 |  |  |  |  | 348 | x
349 | 33.8427 |  |  |  |  | 349 | x
350 | 33.7435 |  |  |  |  | 350 | x
351 | 33.6206 |  |  |  |  | 351 | x
352 | 33.5652 |  |  |  |  | 352 | x
353 | 33.4879 |  |  |  |  | 353 | x
354 | 33.3804 |  |  |  |  | 354 | x
355 | 33.2363 |  |  |  |  | 355 | x
356 | 32.9521 |  |  |  |  | 356 | x
357 | 32.7226 |  |  |  |  | 357 | x
358 | 32.4894 |  |  |  |  | 358 | x
359 | 32.2967 |  |  |  |  | 359 | x
360 | 31.8786 |  |  |  |  | 360 | xx
361 | 34.5007 | 361dup | 34.5005 |  |  | 361 | xx
362 | 34.4889 |  |  |  |  | 362 | x
363 | 34.3898 |  |  |  |  | 363 | x
364 | 34.2769 |  |  |  |  | 364 | x
365 | 34.1759 |  |  |  |  | 365 | x
366 | 34.0518 |  |  |  |  | 366 | x
367 | 33.8435 |  |  |  |  | 367 | x
368 | 33.7254 |  |  |  |  | 368 | x
369 | 33.6345 |  |  |  |  | 369 | x
370 | 33.5821 |  |  |  |  | 370 | x
371 | 33.5119 | 371dup | 33.5124 |  |  | 371 | xx
372 | 33.3793 |  |  |  |  | 372 | x
373 | 33.2468 |  |  |  |  | 373 | x
374 | 33.0131 |  |  |  |  | 374 | x
375 | 32.6567 |  |  |  |  | 375 | x
376 | 32.3696 |  |  |  |  | 376 | x
377 | 32.3006 |  |  |  |  | 377 | x
378 | 32.2275 |  |  |  |  | 378 | x
379 | 31.2607 | 379dup | 31.067 |  |  | 379 | xx
399 | 33.5055 | 399dup | 33.5064 |  |  | 399 | xx
400 | 33.4712 |  |  |  |  | 400 | x
401 | 33.1829 |  |  |  |  | 401 | x
402 | 32.8225 |  |  |  |  | 402 | x
403 | 32.6382 |  |  |  |  | 403 | x
404 | 32.4914 |  |  |  |  | 404 | x
405 | 32.3994 |  |  |  |  | 405 | x
Missing 406 | [5 empty] | 406 | x | #VALUE! | Missing 406 - Rosette log does not suggest a problem
Missing 407 | [5 empty] | 407 | xx | #VALUE! | Missing 407- Rosette log does not suggest a problem
408 | 34.5006 |  |  |  |  | 408 | x
410 | 34.503 | 410dup | 34.5101 |  |  | 410 | xx
412 | 34.5095 |  |  |  |  | 412 | x
414 | 34.411 |  |  |  |  | 414 | x
415 | 34.1335 |  |  |  |  | 415 | x
418 | 33.9004 | 418dup | 33.9008 |  |  | 418 | xx
419 | 33.7782 |  |  |  |  | 419 | x
420 | 33.6321 |  |  |  |  | 420 | x
421 | 33.5868 |  |  |  |  | 421 | x
422 | 33.5478 | 422dup | 33.548 |  |  | 422 | xx
423 | 33.4781 |  |  |  |  | 423 | x
425 | 33.2895 |  |  |  |  | 425 | x
426 | 33.0719 |  |  |  |  | 426 | x
427 | 32.9024 |  |  |  |  | 427 | x
429 | 31.2541 |  |  |  |  | 429 | x |  | 428 - Niskin did not close
431 | 34.5017 |  |  |  |  | 431 | x
433 | 34.5045 | 433dup | 34.5056 |  |  | 433 | x
435 | 34.4923 |  |  |  |  | 435 | x
437 | 34.3803 | 437dup | 34.3793 |  |  | 437 | xx
438 | 34.1728 |  |  |  |  | 438 | x
Missing 440 | [5 empty] | 440 | x | #VALUE! | Missing 440 - Rosette log does not suggest a problem
441 | 33.9209 |  |  |  |  | 441 | x
442 | 33.7883 |  |  |  |  | 442 |  |  | EXTRA 442 - paper salt sheet lists 442 but paper rosette log does not…
443 | 33.6994 |  |  |  |  | 443 | x
444 | 33.6038 |  |  |  |  | 444 | x
445 | 33.4957 | 445dup | 33.4958 |  |  | 445 | xx
Missing 446 | [5 empty] | 446 | x | #VALUE! | Missing 446. Rosette log does not indicate a problem.
448 | 33.1912 |  |  |  |  | 448 | x
449 | 33.0553 |  |  |  |  | 449 | x
450 | 32.9756 | 450dup | 32.9759 |  |  | 450 | xx
451 | 32.8345 |  |  |  |  | 451 | x
452 | 32.2988 |  |  |  |  | 452 | x
Missing 453 | [5 empty] | 453 | x | #VALUE! | Missing 453 - Might be due to a non-trip? In anycase 452 and 453 were both at 5m.
475 | 34.5069 |  |  |  |  | 475 | x |  | Renamed from '9475 to 9483' to '475 to 483' - there never was a 9475…
476 | 34.5041 |  |  |  |  | 476 | x |  | Renamed from '9475 to 9483' to '475 to 483' - there never was a 9475…
477 | 34.4993 |  |  |  |  | 477 | x |  | Renamed from '9475 to 9483' to '475 to 483' - there never was a 9475…
478 | 34.4869 |  |  |  |  | 478 | x |  | Renamed from '9475 to 9483' to '475 to 483' - there never was a 9475…
479 | 34.4516 |  |  |  |  | 479 | x |  | Renamed from '9475 to 9483' to '475 to 483' - there never was a 9475…
480 | 34.4198 |  |  |  |  | 480 | x |  | Renamed from '9475 to 9483' to '475 to 483' - there never was a 9475…
481 | 34.376 |  |  |  |  | 481 | x |  | Renamed from '9475 to 9483' to '475 to 483' - there never was a 9475…
482 | 34.338 |  |  |  |  | 482 | x |  | Renamed from '9475 to 9483' to '475 to 483' - there never was a 9475…
483 | 34.2949 |  |  |  |  | 483 | x |  | Renamed from '9475 to 9483' to '475 to 483' - there never was a 9475…
484 | 34.2161 |  |  |  |  | 484 | x
486 | 34.1483 |  |  |  |  | 486 | x
488 | 34.4973 | 488dup | 34.4964 |  |  | 488 | xx |  | 487 - Niskin did not fire
489 | 34.4957 |  |  |  |  | 489 | x
490 | 34.4928 | 490dup | 34.4925 |  |  | 490 | xx
491 | 34.4888 |  |  |  |  | 491 | x
492 | 34.4919 |  |  |  |  | 492 | x
493 | 34.4995 |  |  |  |  | 493 | x
494 | 34.4983 |  |  |  |  | 494 | x
495 | 34.4788 |  |  |  |  | 495 | x
496 | 34.4805 |  |  |  |  | 496 | x
497 | 34.4522 |  |  |  |  | 497 | x
498 | 34.3609 |  |  |  |  | 498 | x
499 | 34.1966 |  |  |  |  | 499 | x
500 | 34.0969 |  |  |  |  | 500 | x
501 | 33.9503 |  |  |  |  | 501 | x
502 | 33.824 |  |  |  |  | 502 | x
503 | 33.7751 |  |  |  |  | 503 | x
504 | 33.6915 |  |  |  |  | 504 | x
505 | 33.5994 | 505dup | 33.601 |  |  | 505 | xx
506 | 33.4523 |  |  |  |  | 506 | x
507 | 33.2573 |  |  |  |  | 507 | x
508 | 33.0864 |  |  |  |  | 508 | x
509 | 32.9327 |  |  |  |  | 509 | x
510 | 31.7865 |  |  |  |  | 510 | x
511 | 34.4883 | 511dup | 34.4896 |  |  | 511 | xx
512 | 34.4883 |  |  |  |  | 512 | x
513 | 34.4964 |  |  |  |  | 513 | x
514 | 34.493 |  |  |  |  | 514 | x
515 | 34.4324 |  |  |  |  | 515 | x
516 | 34.3928 |  |  |  |  | 516 | x
517 | 34.349 |  |  |  |  | 517 | x
518 | 34.2751 |  |  |  |  | 518 | x
Missing 519 - Rosette log does not indicate a problem | [5 empty] | 519 | x | #VALUE! | Missing 519 - Rosette log does not indicate a problem
520 | 34.0763 |  |  |  |  | 520 | x
521 | 33.9609 | 521dup | 33.9583 |  |  | 521 | xx
522 | 33.8428 |  |  |  |  | 522 | x
523 | 33.7697 |  |  |  |  | 523 | x
524 | 33.6985 | 524dup | 33.7001 |  |  | 524 | xx
525 | 33.6056 |  |  |  |  | 525 | x
526 | 33.5137 |  |  |  |  | 526 | x
527 | 33.2257 |  |  |  |  | 527 | x
528 | 33.087 |  |  |  |  | 528 | x
529 | 32.54 | 529dup | 32.6065 |  |  | 529 | xx
530 | 31.9279 |  |  |  |  | 530 | x
531 | 34.4928 | 531dup | 34.4907 |  |  | 531 | xx
532 | 34.4903 |  |  |  |  | 532 | x
533 | 34.4783 |  |  |  |  | 533 | x
534 | 34.4012 |  |  |  |  | 534 | x
535 | 34.1909 |  |  |  |  | 535 | x
536 | 34.0887 |  |  |  |  | 536 | x
537 | 33.9039 | 537dup | 33.9046 |  |  | 537 | xx
538 | 33.6755 |  |  |  |  | 538 | x
539 | 33.5562 |  |  |  |  | 539 | x
540 | 33.4266 |  |  |  |  | 540 | x
541 | 33.323 |  |  |  |  | 541 | x
542 | 33.2646 | 542dup | 33.264 |  |  | 542 | xx
543 | 33.221 |  |  |  |  | 543 | x
544 | 33.1408 |  |  |  |  | 544 | x
545 | 33.004 |  |  |  |  | 545 | x
546 | 32.7945 |  |  |  |  | 546 | x
547 | 32.6246 | 547dup | 32.6252 |  |  | 547 | xx
548 | 32.2275 |  |  |  |  | 548 | x
549 | 31.4399 |  |  |  |  | 549 | x
553 | 34.2164 |  |  |  |  | 553 | x
554 | 34.0942 |  |  |  |  | 554 | x
555 | 33.9338 |  |  |  |  | 555 | x
556 | 33.8289 |  |  |  |  | 556 | x
557 | 33.695 |  |  |  |  | 557 | x
558 | 33.447 |  |  |  |  | 558 | x
559 | 33.3505 |  |  |  |  | 559 | x
560 | 33.2917 |  |  |  |  | 560 | x
561 | 33.232 |  |  |  |  | 561 | x
562 | 33.1686 |  |  |  |  | 562 | x
563 | 33.0101 |  |  |  |  | 563 | x
564 | 32.8139 |  |  |  |  | 564 | x
565 | 32.5433 |  |  |  |  | 565 | x
566 | 32.2367 |  |  |  |  | 566 | x
567 | 31.7423 |  |  |  |  | 567 | x
568 | 34.4486 |  |  |  |  | 568 | x
569 | 34.3957 |  |  |  |  | 569 | x
570 | 34.3191 |  |  |  |  | 570 | x
571 | 33.3136 |  |  |  |  | 571 | x
572 | 33.3126 |  |  |  |  | 572 | x
573 | 33.29 |  |  |  |  | 573 | x
574 | 33.184 |  |  |  |  | 574 | x
575 | 33.138 |  |  |  |  | 575 | x
576 | 33.0187 |  |  |  |  | 576 | x
578 | 32.788 | 578dup | 32.7887 |  |  | 578 | xx
579 | 32.4828 |  |  |  |  | 579 | x
580 | 32.1959 |  |  |  |  | 580 | x
581 | 32.0463 |  |  |  |  | 581 | x
582 | 31.7193 |  |  |  |  | 582 | x
607 | 34.4918 |  |  |  |  | 607 | x
608 | 34.4851 |  |  |  |  | 608 | x
609 | 34.3851 |  |  |  |  | 609 | x
610 | 34.3136 | 610dup | 34.3135 |  |  | 610 | xx
611 | 34.2954 |  |  |  |  | 611 | x
612 | 34.2057 |  |  |  |  | 612 | x
613 | 34.1616 |  |  |  |  | 613 | x
614 | 34.1012 |  |  |  |  | 614 | x
615 | 34.0179 |  |  |  |  | 615 | x
616 | 33.9397 | 616dup | 33.9369 |  |  | 616 | xx
617 | 33.831 |  |  |  |  | 617 | x
618 | 33.7451 |  |  |  |  | 618 | x
619 | 33.6484 |  |  |  |  | 619 | x
620 | 33.4364 |  |  |  |  | 620 | x
621 | 33.3307 |  |  |  |  | 621 | x
622 | 33.2528 | 622dup | 33.2515 |  |  | 622 | xx
623 | 32.8541 |  |  |  |  | 623 | x
624 | 31.2209 |  |  |  |  | 624 | x
625 | 34.4984 |  |  |  |  | 625 | x
628 | 34.464 |  |  |  |  | 628 | x
630 | 34.4484 |  |  |  |  | 630 | x
631 | 34.2391 | 631dup | 34.2473 |  |  | 631 | xx
633 | 33.9862 |  |  |  |  | 633 | x
634 | 33.8102 |  |  |  |  | 634 | x
635 | 33.6026 |  |  |  |  | 635 | x
638 | 33.4581 |  |  |  |  | 638 | x
642 | 33.1723 | 642dup | 33.1736 |  |  | 642 | xx
645 | 32.7608 |  |  |  |  | 645 | x
646 | 31.0629 |  |  |  |  | 646 | x
649 | 34.329 | 649dup | 34.3291 |  |  | 649 | xx
650 | 33.6271 |  |  |  |  | 650 | x
651 | 33.3709 |  |  |  |  | 651 | x
652 | 33.187 |  |  |  |  | 652 | x
653 | 32.9252 |  |  |  |  | 653 | x
654 | 32.6403 |  |  |  |  | 654 | x
655 | 32.4186 |  |  |  |  | 655 | x
665 | 32.1106 |  |  |  |  | 665 | x
670 | 30.9166 | 670dup | 30.9487 |  |  | 670 | xx
673 | 33.7515 |  |  |  |  | 673 |  |  | EXTRA 673 - Rosette log indicates there was a change mid-cast…perhaps sample taken anyway.
674 | 33.7502 | 674dup | 33.7524 |  |  | 674 | xx
677 | 33.7492 |  |  |  |  | 677 | x
678 | 33.5728 |  |  |  |  | 678 | x
679 | 33.4384 |  |  |  |  | 679 | x
680 | 33.3227 |  |  |  |  | 680 | x
681 | 33.2252 |  |  |  |  | 681 | x
682 | 33.0312 |  |  |  |  | 682 | x
683 | 32.8759 |  |  |  |  | 683 | x
684 | 32.7025 |  |  |  |  | 684 | x
685 | 32.3769 |  |  |  |  | 685 | x
686 | 32.1172 | 686dup | 32.119 |  |  | 686 | xx
687 | 31.4915 |  |  |  |  | 687 | x
693 | 33.2264 |  |  |  |  | 693 | x
694 | 33.2282 |  |  |  |  | 694 | x
695 | 33.0541 |  |  |  |  | 695 | x
696 | 32.8961 |  |  |  |  | 696 | x
697 | 32.7808 |  |  |  |  | 697 | x
698 | 32.6638 |  |  |  |  | 698 | x
699 | 32.4342 |  |  |  |  | 699 | x
700 | 32.1386 |  |  |  |  | 700 | x
701 | 31.0665 | 701dup | 31.0582 |  |  | 701 | xx
702 | 29.0829 |  |  |  |  | 702 | x
728 | 34.2402 |  |  |  |  | 728 | x
729 | 34.2003 | 729dup | 34.2001 |  |  | 729 | xx
731 | 34.1052 |  |  |  |  | 731 | x
732 | 33.9212 |  |  |  |  | 732 | x
734 | 33.7961 |  |  |  |  | 734 | x
735 | 33.6432 |  |  |  |  | 735 | x
736 | 33.5098 |  |  |  |  | 736 | x
737 | 33.3404 |  |  |  |  | 737 | x
739 | 33.2003 |  |  |  |  | 739 | x
740 | 33.0369 |  |  |  |  | 740 | x
741 | 32.8631 |  |  |  |  | 741 | x
743 | 32.6509 | 743dup | 32.6505 |  |  | 743 | xx
744 | 32.4125 |  |  |  |  | 744 | x
746 | 32.1137 |  |  |  |  | 746 | x
747 | 31.823 |  |  |  |  | 747 | x
748 | 31.0015 |  |  |  |  | 748 | x
807 | 33.0654 |  |  |  |  | 807 | x
809 | 33.0521 |  |  |  |  | 809 | x
810 | 33.0492 |  |  |  |  | 810 | x
811 | 33.0227 |  |  |  |  | 811 | x
812 | 32.9611 | 812dup | 32.9618 |  |  | 812 | xx
813 | 32.9236 |  |  |  |  | 813 | x
814 | 32.8086 |  |  |  |  | 814 | x
815 | 32.7068 |  |  |  |  | 815 | x
816 | 32.5749 |  |  |  |  | 816 | x
818 | 31.7763 | 818dup | 31.7772 |  |  | 818 | xx
819 | 31.5551 |  |  |  |  | 819 | x
820 | 31.2916 |  |  |  |  | 820 | x
821 | 30.2358 |  |  |  |  | 821 | x |  | Sample e-log incorrect for this cast. Samples agree with Rosette log. All OK.
823 | 33.4108 |  |  |  |  | 823 | x
824 | 33.4068 |  |  |  |  | 824 | x
825 | 33.3737 |  |  |  |  | 825 | x
827 | 33.2916 |  |  |  |  | 827 | x
829 | 33.1167 |  |  |  |  | 829 | x
830 | 32.7744 | 830dup | 32.7666 |  |  | 830 | xx
832 | 32.3047 |  |  |  |  | 832 | x
834 | 31.6681 |  |  |  |  | 834 | x
835 | 31.2782 |  |  |  |  | 835 | x
837 | 30.5774 |  |  |  |  | 837 | x
838 | 28.1563 | 838dup | 28.2221 |  |  | 838 | xx
861 | 33.2586 |  |  |  |  | 861 | x
862 | 33.1287 | 862dup | 33.1241 |  |  | 862 | xx
863 | 32.768 |  |  |  |  | 863 | x
864 | 32.2503 |  |  |  |  | 864 | x
865 | 31.3961 | 865dup | 31.3718 |  |  | 865 | xx
866 | 30.9658 |  |  |  |  | 866 | x
867 | 30.5341 |  |  |  |  | 867 | x
868 | 30.0205 |  |  |  |  | 868 | x
870 | 29.7339 |  |  |  |  | 870 | x
871 | 29.5186 |  |  |  |  | 871 | x
873 | 29.1914 | 873dup | 29.1906 |  |  | 873 | x
876 | 28.6369 |  |  |  |  | 876 | x
877 | 28.2906 |  |  |  |  | 877 |  |  | Extra 877 - Not on Rosette log but they are on salt analysis sheet
878 | 28.2874 |  |  |  |  | 878 |  |  | Extra 878- Not on Rosette log but they are on salt analysis sheet
879 | 27.8353 |  |  |  |  | 879 | x
904 | 28.917 |  |  |  |  | 904 | x
905 | 28.8823 | 905dup | 28.8832 |  |  | 905 | xx
906 | 28.6553 |  |  |  |  | 906 | x
907 | 28.078 |  |  |  |  | 907 | x
908 | 27.985 | 908dup | 27.9774 |  |  | 908 | xx
909 | 27.6378 |  |  |  |  | 909 | x
910 | 23.58 |  |  |  |  | 910 | x
911 | 28.5409 |  |  |  |  | 911 | x
912 | 28.5381 |  |  |  |  | 912 | x
913 | 28.523 |  |  |  |  | 913 | x
914 | 28.4683 |  |  |  |  | 914 | x
915 | 28.2794 | 915dup | 28.2694 |  |  | 915 | xx
916 | 28.0305 |  |  |  |  | 916 | x
917 | 27.7225 |  |  |  |  | 917 | x
918 | 27.2453 |  |  |  |  | 918 | x
941 | 28.7345 |  |  |  |  | 941 | x
942 | 28.7351 |  |  |  |  | 942 | x
943 | 28.7027 |  |  |  |  | 943 | x
944 | 28.6277 |  |  |  |  | 944 | x
945 | 28.5348 |  |  |  |  | 945 | x
946 | 28.4815 |  |  |  |  | 946 | x
947 | 28.39 |  |  |  |  | 947 | x
948 | 28.2432 |  |  |  |  | 948 | x
949 | 28.0465 | 949dup | 28.0449 |  |  | 949 | xx
950 | 27.9135 |  |  |  |  | 950 | x
951 | 27.5573 |  |  |  |  | 951 | x
952 | 25.8863 |  |  |  |  | 952 | x
9454 | 33.8772 |  |  |  |  | 9454 | x
9456 | 33.7818 | 9456dup | 33.7813 |  |  | 9456 | xx
9457 | 33.7309 |  |  |  |  | 9457 | x
9458 | 33.6614 |  |  |  |  | 9458 | x
9459 | 33.5642 |  |  |  |  | 9459 | x
9460 | 33.2993 |  |  |  |  | 9460 | x
9461 | 33.0596 |  |  |  |  | 9461 | x
9462 | 32.4684 | 9462dup | 32.4684 |  |  | 9462 | xx
9463 | 32.2094 |  |  |  |  | 9463 | x
9464 | 34.4991 | 9464dup | 34.4989 |  |  | 9464 | xxx
9466 | 34.4987 |  |  |  |  | 9466 | x
9467 | 34.4955 | 9467dup | 34.4979 |  |  | 9467 | xx
9468 | 34.4923 |  |  |  |  | 9468 | x
9469 | 34.4885 |  |  |  |  | 9469 | x
9470 | 34.4918 |  |  |  |  | 9470 | x
9471 | 34.4945 |  |  |  |  | 9471 | x
9472 | 34.4983 |  |  |  |  | 9472 | x
9473 | 34.5043 |  |  |  |  | 9473 | x
9474 | 34.506 |  |  |  |  | 9474 | x

## Sp
2 March 2017: Calculate standard pool from salinity duplicates
Standard Pool is 0.004 psu using 84 out of 87 replicate pairs. Chauvenet's criteria was used to identidy the 3 outliers.
For Chauvenet:
|  |  |  | n | 87 | Ccritical | 2.7587
|  |  |  | mean | 0.00048923
|  |  |  | std | 0.023956
Sample # | Salinity | Duplicate #1 | Salinity | Difference - All | Difference - All | Chauvenet (Z-score) | Accept /Reject | Diff^2 | Diff for STD comparison
908 | 27.985 | 908dup | 27.9774 | 0.0076141 | 0.0076141 | 0.29741 | ACCEPT | 5.7975e-05 | 0.0076141
949 | 28.0465 | 949dup | 28.0449 | 0.0016041 | 0.0016041 | 0.046537 | ACCEPT | 2.5731e-06 | 0.0016041
838 | 28.1563 | 838dup | 28.2221 | -0.0658 | -0.0658 | 2.7671 | REJECT
915 | 28.2794 | 915dup | 28.2694 | 0.010004 | 0.010004 | 0.39718 | ACCEPT | 0.00010008 | 0.010004
905 | 28.8823 | 905dup | 28.8832 | -0.00088501 | -0.00088501 | 0.057365 | ACCEPT | 7.8324e-07 | -0.00088501
873 | 29.1914 | 873dup | 29.1906 | 0.00082016 | 0.00082016 | 0.013814 | ACCEPT | 6.7266e-07 | 0.00082016
670 | 30.9166 | 670dup | 30.9487 | -0.032042 | -0.032042 | 1.3579 | ACCEPT | 0.0010267 | -0.032042
701 | 31.0665 | 701dup | 31.0582 | 0.0082531 | 0.0082531 | 0.32409 | ACCEPT | 6.8114e-05 | 0.0082531
379 | 31.2607 | 379dup | 31.067 | 0.19369 | 0.19369 | 8.0649 | REJECT
22 | 31.1045 | 22dup | 31.1044 | 0.00012883 | 0.00012883 | 0.015044 | ACCEPT | 1.6598e-08 | 0.00012883
865 | 31.3961 | 865dup | 31.3718 | 0.024328 | 0.024328 | 0.99511 | ACCEPT | 0.00059186 | 0.024328
296 | 31.7107 | 296dup | 31.7078 | 0.0029071 | 0.0029071 | 0.10093 | ACCEPT | 8.4515e-06 | 0.0029071
818 | 31.7763 | 818dup | 31.7772 | -0.00087242 | -0.00087242 | 0.056839 | ACCEPT | 7.6112e-07 | -0.00087242
343 | 31.8094 | 343dup | 31.8117 | -0.0023268 | -0.0023268 | 0.11755 | ACCEPT | 5.4141e-06 | -0.0023268
20 | 31.9523 | 20dup | 31.9524 | -6.4678e-05 | -6.4678e-05 | 0.023122 | ACCEPT | 4.1832e-09 | -6.4678e-05
686 | 32.1172 | 686dup | 32.119 | -0.0017662 | -0.0017662 | 0.094148 | ACCEPT | 3.1195e-06 | -0.0017662
18 | 32.2831 | 18dup | 32.2826 | 0.00051823 | 0.00051823 | 0.0012105 | ACCEPT | 2.6856e-07 | 0.00051823
16 | 32.3366 | 16dup | 32.3369 | -0.00032398 | -0.00032398 | 0.033946 | ACCEPT | 1.0496e-07 | -0.00032398
279 | 32.4496 | 279dup | 32.4488 | 0.00084278 | 0.00084278 | 0.014758 | ACCEPT | 7.1028e-07 | 0.00084278
9462 | 32.4684 | 9462dup | 32.4684 | 0 | 0 | 0.020422 | ACCEPT | 0 | 0
529 | 32.54 | 529dup | 32.6065 | -0.066544 | -0.066544 | 2.7981 | REJECT
547 | 32.6246 | 547dup | 32.6252 | -0.00064087 | -0.00064087 | 0.047174 | ACCEPT | 4.1071e-07 | -0.00064087
743 | 32.6509 | 743dup | 32.6505 | 0.00039673 | 0.00039673 | 0.0038613 | ACCEPT | 1.5739e-07 | 0.00039673
56 | 32.6674 | 56dup | 32.6665 | 0.00084365 | 0.00084365 | 0.014794 | ACCEPT | 7.1174e-07 | 0.00084365
830 | 32.7744 | 830dup | 32.7666 | 0.0078087 | 0.0078087 | 0.30553 | ACCEPT | 6.0976e-05 | 0.0078087
578 | 32.788 | 578dup | 32.7887 | -0.00065231 | -0.00065231 | 0.047651 | ACCEPT | 4.2551e-07 | -0.00065231
812 | 32.9611 | 812dup | 32.9618 | -0.00068235 | -0.00068235 | 0.048905 | ACCEPT | 4.656e-07 | -0.00068235
450 | 32.9756 | 450dup | 32.9759 | -0.00032495 | -0.00032495 | 0.033986 | ACCEPT | 1.0559e-07 | -0.00032495
862 | 33.1287 | 862dup | 33.1241 | 0.0045624 | 0.0045624 | 0.17002 | ACCEPT | 2.0815e-05 | 0.0045624
642 | 33.1723 | 642dup | 33.1736 | -0.001339 | -0.001339 | 0.076314 | ACCEPT | 1.7928e-06 | -0.001339
262 | 33.2289 | 262dup | 33.2287 | 0.00026027 | 0.00026027 | 0.0095577 | ACCEPT | 6.7739e-08 | 0.00026027
622 | 33.2528 | 622dup | 33.2515 | 0.0013123 | 0.0013123 | 0.034355 | ACCEPT | 1.722e-06 | 0.0013123
542 | 33.2646 | 542dup | 33.264 | 0.00060272 | 0.00060272 | 0.0047374 | ACCEPT | 3.6327e-07 | 0.00060272
445 | 33.4957 | 445dup | 33.4958 | -0.00013029 | -0.00013029 | 0.025861 | ACCEPT | 1.6977e-08 | -0.00013029
399 | 33.5055 | 399dup | 33.5064 | -0.00091211 | -0.00091211 | 0.058496 | ACCEPT | 8.3194e-07 | -0.00091211
371 | 33.5119 | 371dup | 33.5124 | -0.00045607 | -0.00045607 | 0.039459 | ACCEPT | 2.08e-07 | -0.00045607
422 | 33.5478 | 422dup | 33.548 | -0.00019549 | -0.00019549 | 0.028582 | ACCEPT | 3.8216e-08 | -0.00019549
505 | 33.5994 | 505dup | 33.601 | -0.0016479 | -0.0016479 | 0.089212 | ACCEPT | 2.7157e-06 | -0.0016479
244 | 33.6156 | 244dup | 33.6159 | -0.00032592 | -0.00032592 | 0.034027 | ACCEPT | 1.0622e-07 | -0.00032592
524 | 33.6985 | 524dup | 33.7001 | -0.001564 | -0.001564 | 0.085709 | ACCEPT | 2.4462e-06 | -0.001564
205 | 33.7032 | 205dup | 33.7018 | 0.0014346 | 0.0014346 | 0.039463 | ACCEPT | 2.0581e-06 | 0.0014346
674 | 33.7502 | 674dup | 33.7524 | -0.0022049 | -0.0022049 | 0.11246 | ACCEPT | 4.8616e-06 | -0.0022049
9456 | 33.7818 | 9456dup | 33.7813 | 0.00045664 | 0.00045664 | 0.0013606 | ACCEPT | 2.0852e-07 | 0.00045664
418 | 33.9004 | 418dup | 33.9008 | -0.00039162 | -0.00039162 | 0.036769 | ACCEPT | 1.5337e-07 | -0.00039162
537 | 33.9039 | 537dup | 33.9046 | -0.00069427 | -0.00069427 | 0.049403 | ACCEPT | 4.8202e-07 | -0.00069427
616 | 33.9397 | 616dup | 33.9369 | 0.0028076 | 0.0028076 | 0.096776 | ACCEPT | 7.8827e-06 | 0.0028076
521 | 33.9609 | 521dup | 33.9583 | 0.0026741 | 0.0026741 | 0.091203 | ACCEPT | 7.1508e-06 | 0.0026741
157 | 34.0066 | 157dup | 34.0062 | 0.00039181 | 0.00039181 | 0.0040666 | ACCEPT | 1.5352e-07 | 0.00039181
729 | 34.2003 | 729dup | 34.2001 | 0.00022507 | 0.00022507 | 0.011027 | ACCEPT | 5.0655e-08 | 0.00022507
153 | 34.2409 | 153dup | 34.2422 | -0.0013075 | -0.0013075 | 0.074999 | ACCEPT | 1.7094e-06 | -0.0013075
631 | 34.2391 | 631dup | 34.2473 | -0.0081215 | -0.0081215 | 0.35944 | ACCEPT | 6.5959e-05 | -0.0081215
610 | 34.3136 | 610dup | 34.3135 | 6.1035e-05 | 6.1035e-05 | 0.017874 | ACCEPT | 3.7253e-09 | 6.1035e-05
649 | 34.329 | 649dup | 34.3291 | -4.5776e-05 | -4.5776e-05 | 0.022333 | ACCEPT | 2.0955e-09 | -4.5776e-05
234 | 34.3305 | 234dup | 34.3303 | 0.0001308 | 0.0001308 | 0.014962 | ACCEPT | 1.7108e-08 | 0.0001308
144 | 34.3588 | 144dup | 34.3598 | -0.00098112 | -0.00098112 | 0.061377 | ACCEPT | 9.626e-07 | -0.00098112
437 | 34.3803 | 437dup | 34.3793 | 0.0010466 | 0.0010466 | 0.023267 | ACCEPT | 1.0954e-06 | 0.0010466
346 | 34.4893 | 346dup | 34.4888 | 0.00045813 | 0.00045813 | 0.0012983 | ACCEPT | 2.0988e-07 | 0.00045813
252 | 34.4893 | 252dup | 34.4894 | -6.5447e-05 | -6.5447e-05 | 0.023154 | ACCEPT | 4.2833e-09 | -6.5447e-05
511 | 34.4883 | 511dup | 34.4896 | -0.0013161 | -0.0013161 | 0.075358 | ACCEPT | 1.732e-06 | -0.0013161
531 | 34.4928 | 531dup | 34.4907 | 0.0021095 | 0.0021095 | 0.067636 | ACCEPT | 4.4501e-06 | 0.0021095
490 | 34.4928 | 490dup | 34.4925 | 0.00028229 | 0.00028229 | 0.0086384 | ACCEPT | 7.9686e-08 | 0.00028229
488 | 34.4973 | 488dup | 34.4964 | 0.00094986 | 0.00094986 | 0.019228 | ACCEPT | 9.0223e-07 | 0.00094986
9467 | 34.4955 | 9467dup | 34.4979 | -0.0024195 | -0.0024195 | 0.12142 | ACCEPT | 5.8538e-06 | -0.0024195
9464 | 34.4991 | 9464dup | 34.4989 | 0.0001309 | 0.0001309 | 0.014958 | ACCEPT | 1.7135e-08 | 0.0001309
361 | 34.5007 | 361dup | 34.5005 | 0.00019635 | 0.00019635 | 0.012226 | ACCEPT | 3.8554e-08 | 0.00019635
326 | 34.5013 | 326dup | 34.501 | 0.00032725 | 0.00032725 | 0.0067614 | ACCEPT | 1.071e-07 | 0.00032725
280 | 34.5015 | 280dup | 34.5015 | 6.5451e-05 | 6.5451e-05 | 0.01769 | ACCEPT | 4.2838e-09 | 6.5451e-05
322 | 34.5025 | 322dup | 34.5018 | 0.00065451 | 0.00065451 | 0.0068992 | ACCEPT | 4.2839e-07 | 0.00065451
263 | 34.5023 | 263dup | 34.5036 | -0.0013745 | -0.0013745 | 0.077797 | ACCEPT | 1.8892e-06 | -0.0013745
344 | 34.5011 | 344dup | 34.504 | -0.0028799 | -0.0028799 | 0.14064 | ACCEPT | 8.2936e-06 | -0.0028799
433 | 34.5045 | 433dup | 34.5056 | -0.0011127 | -0.0011127 | 0.066868 | ACCEPT | 1.2381e-06 | -0.0011127
410 | 34.503 | 410dup | 34.5101 | -0.0071343 | -0.0071343 | 0.31823 | ACCEPT | 5.0899e-05 | -0.0071343
264 | 34.5317 | 264dup | 34.5311 | 0.00058914 | 0.00058914 | 0.0041704 | ACCEPT | 3.4709e-07 | 0.00058914
281 | 34.5017 | 281dup | 34.5327 | -0.030961 | -0.030961 | 1.3128 | ACCEPT | 0.00095855 | -0.030961
194 | 34.5584 | 194dup | 34.5586 | -0.0001964 | -0.0001964 | 0.02862 | ACCEPT | 3.8575e-08 | -0.0001964
250 | 34.5759 | 250dup | 34.5761 | -0.00019642 | -0.00019642 | 0.028621 | ACCEPT | 3.8581e-08 | -0.00019642
76 | 34.6159 | 76dup | 34.6167 | -0.00078583 | -0.00078583 | 0.053224 | ACCEPT | 6.1752e-07 | -0.00078583
197 | 34.7228 | 197dup | 34.7226 | 0.00019655 | 0.00019655 | 0.012217 | ACCEPT | 3.8633e-08 | 0.00019655
120 | 34.7727 | 120dup | 34.7733 | -0.00052426 | -0.00052426 | 0.042306 | ACCEPT | 2.7485e-07 | -0.00052426
70 | 34.8279 | 70dup | 34.8281 | -0.00019665 | -0.00019665 | 0.028631 | ACCEPT | 3.867e-08 | -0.00019665
114 | 34.8383 | 114dup | 34.838 | 0.00026221 | 0.00026221 | 0.0094766 | ACCEPT | 6.8753e-08 | 0.00026221
110 | 34.8583 | 110dup | 34.8567 | 0.0015734 | 0.0015734 | 0.045256 | ACCEPT | 2.4756e-06 | 0.0015734
64 | 34.8708 | 64dup | 34.8701 | 0.00072118 | 0.00072118 | 0.0096822 | ACCEPT | 5.201e-07 | 0.00072118
102 | 34.9107 | 102dup | 34.9109 | -0.00019672 | -0.00019672 | 0.028634 | ACCEPT | 3.8699e-08 | -0.00019672
132 | 34.918 | 132dup | 34.9194 | -0.0013771 | -0.0013771 | 0.077906 | ACCEPT | 1.8964e-06 | -0.0013771
150 | 34.9228 | 150dup | 34.9229 | -0.00013116 | -0.00013116 | 0.025897 | ACCEPT | 1.7202e-08 | -0.00013116
136 | 34.9932 | 136dup | 34.9908 | 0.0024271 | 0.0024271 | 0.080894 | ACCEPT | 5.891e-06 | 0.0024271
|  |  | Min | -0.066544 | -0.066544
|  |  | Max | 0.19369 | 0.19369
Standard Pool:
[6 empty] | count w/o outliers |  | 84
[6 empty] | # outliers total |  | 3
[6 empty] | SS |  | 0.0031017
[6 empty] | sp |  | 0.0042968
[6 empty] | STD for compare |  |  | 0.006109