File List for SeaBird Data

Cruise Number: _2007-28____

[osdcommon\cruise_data_processing\2007-28\ARCHIVE]

[osdcommon\cruise_data_processing\2007-28\ARCHIVE\BOTTLE] *.CHE

[osdcommon\cruise_data_processing\2007-28\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data_processing\2007-28\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osdcommon\cruise_data_processing\2007-28\ARCHIVE\DOC\HYDRO] all documents from HYDRO

[osdcommon\cruise_data_processing\2007-28\FIONA]

*.chef – special CHE files with standard deviations included for use of Fiona McLaughlin

*.ctdf – special CTD files with standard deviations included for use of Fiona McLaughlin

2007-28_Rosette_Chemistry_July15-2008.xls – version with FINAL CTD data added

readme.doc – description of files in the folder

[osdcommon\cruise_data_processing\2007-28\Melling]

*.CTDHM – downcast files with no bin averaging.

readme.doc – description of files in the folder

[osdcommon\cruise_data_processing\2007-28\PROCESSING] RAW data files after change to standard names

[osdcommon\cruise_data_processing\2007-28\PROCESSING\CONVERT]

*.CNV – after conversion

[osdcommon\cruise_data_processing\2007-28\PROCESSING\DERIVE]

*.CNV – after conversion, wildedit, celltm, derive

[osdcommon\cruise_data_processing\2007-28\PROCESSING\DOC]

2007-28-sbe25-recal*.ccf – recalibration control files

*.con – configuration files used for conversion of hex files

2007-28-SWL2-RosetteChemistry_July15-08.xls – rosette chemistry file with CTD data added

Linearity test-Autosal.xls – results from an initial test of the Autosal

2007-28_file.doc - this document

2007-28_proc.doc - processing notes

Dissolved-oxygen-comp-Laurier 2007.doc – summary of comparisons of bottle and CTD dissolved oxygen from 3 Laurier cruises

Salinity-comp-Laurier 2007.doc – summary of comparisons of bottle and CTD salinity from 3 Laurier cruises

2007-28-che-final.rpt – CHE file header check including channel summary

2007-28-ctd-final.rpt – CTD file header check including channel summary

2007-28-hdr*.txt – various header files with comments for CTD and CHE files

[osdcommon\cruise_data_processing\2007-28\PROCESSING\DOC\HYDRO]

2007-28-che-bottles.xls – spreadsheet containing CTD data from final files

2007-28-DO.csv – spreadsheet of DO data

2007-28-DO-duplicates.xls – study of dissolved oxygen duplicates

2007-28-nuts.csv – edited version of chlorophyll spreadsheet from analyst

2007-28-sal.csv – edited version of salinity spreadsheet

2007-28-oxy-data.csv - edited version of chlorophyll spreadsheet from analyst

2007-28-dox-comp1.csv & .xls – initial DOX COMPARE file

2007-28-dox-comp2.csv & .xls – DOX COMPARE file after 1st recalibration

2007-28-dox-comp3.csv & .xls – DOX COMPARE file for downcast vs upcast bottles

2007-28-dox-comp4.csv & .xls – DOX COMPARE file for downcast vs upcast bottles after recal

2007-28-sal-comp1.csv & xls – initial salinity COMPARE file based on sample number

2007-28-sal-Niskin-comp1.xls – comparison based on bottle number

2007-28-sal-dups-study.xls – study of salinity duplicates

[osdcommon\cruise_data_processing\2007-28\PROCESSING\HYDRO]

*.add – dissolved oxygen files

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle files

*.mrg – rosette files after addition of SAL bottle data to BOT files

*.mrgcor1 – recalibrated mrg files

*.nut – nutrient data converted from spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from spreadsheet

*.sam – bottle files with sample numbers added

*.samavg1 – sam files averaged on bottle number

*.samcor1 – mrg files after cleaning and recalibration

addsamp2.csv – file containing cast #, bottle number and sample number

[osdcommon\cruise_data_processing\2007-28\PROCESSING\IOS]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.delrev – after DELETE of files reversed to use upcast

*.fr*- fracture of cast #44 to compare two parts (two full casts in one file)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.rev – reversed files for casts with bad downcast data

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osdcommon\cruise_data_processing\2007-28\RAW]

[osdcommon\cruise_data_processing\2007-28\CHEMISTRY] rosette files, salinity, nutrients from analysts

[osdcommon\cruise_data_processing\2007-28\RAW\CTD] raw CTD data

[osdcommon\cruise_data_processing\2007-28\RAW\Misc Files] miscellaneous files including reports and initial processing files not produced or used in the final processing of the data

[osdcommon\cruise_data_processing\2007-28\RAW\Oxygen] bottle DO files from analyst