## File List
Number of Files= |  | 13
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2007-28-0001.mrgcor1 | 2007-28-0001.samcor1 | 11 | 16 | 2007-28-0001.mrgcor1 & 2007-28-0001.samcor1
2 | 2007-28-0004.mrgcor1 | 2007-28-0004.samcor1 | 18 | 22 | 2007-28-0004.mrgcor1 & 2007-28-0004.samcor1
3 | 2007-28-0006.mrgcor1 | 2007-28-0006.samcor1 | 24 | 30 | 2007-28-0006.mrgcor1 & 2007-28-0006.samcor1
4 | 2007-28-0009.mrgcor1 | 2007-28-0009.samcor1 | 32 | 38 | 2007-28-0009.mrgcor1 & 2007-28-0009.samcor1
5 | 2007-28-0014.mrgcor1 | 2007-28-0014.samcor1 | 40 | 51 | 2007-28-0014.mrgcor1 & 2007-28-0014.samcor1
6 | 2007-28-0025.mrgcor1 | 2007-28-0025.samcor1 | 53 | 64 | 2007-28-0025.mrgcor1 & 2007-28-0025.samcor1
7 | 2007-28-0031.mrgcor1 | 2007-28-0031.samcor1 | 66 | 66 | 2007-28-0031.mrgcor1 & 2007-28-0031.samcor1
8 | 2007-28-0040.mrgcor1 | 2007-28-0040.samcor1 | 68 | 70 | 2007-28-0040.mrgcor1 & 2007-28-0040.samcor1
9 | 2007-28-0045.mrgcor1 | 2007-28-0045.samcor1 | 72 | 74 | 2007-28-0045.mrgcor1 & 2007-28-0045.samcor1
10 | 2007-28-0048.mrgcor1 | 2007-28-0048.samcor1 | 76 | 78 | 2007-28-0048.mrgcor1 & 2007-28-0048.samcor1
11 | 2007-28-0052.mrgcor1 | 2007-28-0052.samcor1 | 80 | 83 | 2007-28-0052.mrgcor1 & 2007-28-0052.samcor1
12 | 2007-28-0055.mrgcor1 | 2007-28-0055.samcor1 | 85 | 88 | 2007-28-0055.mrgcor1 & 2007-28-0055.samcor1
13 | 2007-28-0058.mrgcor1 | 2007-28-0058.samcor1 | 90 | 92 | 2007-28-0058.mrgcor1 & 2007-28-0058.samcor1

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.11458 |  | X | CALC Y
m= | 0.01953 | 0.007255 |  | Std Dev of Resid |  | 0.057219 |  | 4.7507 | -0.036839
b= | -0.12962 | 0.0529 |  | Resid Sum of Squares |  | 0.18335 |  | 8.8212 | 0.04266
# of Values Extracted = |  |  | 70
# of Values Used in Fit = |  |  | 58
File | Use | Press* | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 170.261 | 5.713 | 0.021175 | -0.018987 | -0.018045 | 0.00094259 |  | 5.713 | -0.018987
1 | YES | 149.219 | 5.7996 | 0.013336 | -0.034416 | -0.016354 | 0.018062 |  | 5.7996 | -0.034416
1 | NO | 100.16 | 6.1214 | 0.018911 | -0.65463 | -0.010069 | 0.64456 |  | 7.2163 | -0.016683
1 | YES | 50.359 | 7.2163 | 0.023989 | -0.016683 | 0.011316 | 0.027998 |  | 8.1153 | 0.048268
1 | YES | 24.8938 | 8.1153 | 0.056334 | 0.048268 | 0.028873 | -0.019396 |  | 7.6758 | 0.0088048
1 | YES | 2.6034 | 7.6758 | 0.022058 | 0.0088048 | 0.02029 | 0.011485 |  | 6.1525 | -0.0275
2 | YES | 58.151 | 6.1525 | 0.015649 | -0.0275 | -0.0094612 | 0.018039 |  | 5.9116 | -0.14044
2 | NO | 0 | 0 | 0 | -6.765 | -0.12962 | 6.6354 |  | 6.0366 | -0.060366
2 | NO | 0 | 0 | 0 | -6.763 | -0.12962 | 6.6334 |  | 7.1118 | 0.071829
2 | NO | 0 | 0 | 0 | -8.029 | -0.12962 | 7.8994 |  | 7.9219 | 0.045927
2 | NO | 0 | 0 | 0 | -7.603 | -0.12962 | 7.4734 |  | 7.9481 | 0.0070734
3 | YES | 63.3206 | 5.9116 | 0.011533 | -0.14044 | -0.014167 | 0.12627 |  | 7.8639 | -0.00012159
3 | YES | 48.7177 | 6.0366 | 0.021869 | -0.060366 | -0.011724 | 0.048642 |  | 7.8468 | 0.042805
3 | YES | 34.9961 | 7.1118 | 0.016109 | 0.071829 | 0.009275 | -0.062554 |  | 6.4697 | -0.015317
3 | YES | 24.1905 | 7.9219 | 0.018945 | 0.045927 | 0.025097 | -0.02083 |  | 6.6202 | -0.064805
3 | YES | 14.711 | 7.9481 | 0.011168 | 0.0070734 | 0.025607 | 0.018534 |  | 6.7948 | 0.051805
3 | YES | 8.6722 | 7.8639 | 0.018217 | -0.00012159 | 0.023963 | 0.024084 |  | 7.8676 | 0.06461
3 | YES | 4.2796 | 7.8468 | 0.011466 | 0.042805 | 0.023629 | -0.019176 |  | 7.7901 | 0.071147
4 | YES | 44.4363 | 6.4697 | 0.019844 | -0.015317 | -0.0032665 | 0.012051 |  | 7.7901 | -0.040854
4 | YES | 33.5248 | 6.6202 | 0.018711 | -0.064805 | -0.00032679 | 0.064478 |  | 6.2277 | -0.057268
4 | YES | 23.6699 | 6.7948 | 0.012299 | 0.051805 | 0.0030834 | -0.048722 |  | 6.2375 | 0.063488
4 | NO | 15.7174 | 7.6111 | 0.059941 | 0.30612 | 0.019026 | -0.2871 |  | 6.2274 | 0.052439
4 | YES | 9.2265 | 7.8676 | 0.014091 | 0.06461 | 0.024036 | -0.040574 |  | 6.2583 | 0.062317
4 | YES | 2.7911 | 7.7901 | 0.024041 | 0.071147 | 0.022523 | -0.048624 |  | 6.2979 | 0.023878
4 | YES | 2.7911 | 7.7901 | 0.024041 | -0.040854 | 0.022523 | 0.063376 |  | 6.5216 | 0.07661
5 | YES | 220.879 | 6.2277 | 0.01469 | -0.057268 | -0.0079919 | 0.049276 |  | 6.8892 | 0.03717
5 | YES | 200.444 | 6.2375 | 0.021236 | 0.063488 | -0.0078013 | -0.071289 |  | 7.4275 | 0.15349
5 | YES | 176.005 | 6.2274 | 0.016867 | 0.052439 | -0.0079976 | -0.060436 |  | 8.7468 | 0.11776
5 | YES | 151.607 | 6.2583 | 0.013167 | 0.062317 | -0.0073945 | -0.069711 |  | 8.551 | -0.034976
5 | YES | 125.744 | 6.2979 | 0.021493 | 0.023878 | -0.0066218 | -0.0305 |  | 7.6888 | 0.00082922
5 | YES | 100.492 | 6.5216 | 0.01968 | 0.07661 | -0.0022523 | -0.078862 |  | 5.7001 | -0.018854
5 | YES | 75.5353 | 6.8892 | 0.017044 | 0.03717 | 0.0049263 | -0.032244 |  | 5.8569 | 0.013927
5 | YES | 50.8024 | 7.4275 | 0.015693 | 0.15349 | 0.01544 | -0.13805 |  | 5.8959 | 0.010878
5 | NO | 35.7807 | 8.4076 | 0.020442 | 0.35456 | 0.034581 | -0.31998 |  | 5.9837 | -0.026269
5 | YES | 25.0133 | 8.7468 | 0.018215 | 0.11776 | 0.041206 | -0.07655 |  | 6.2919 | -0.006073
5 | YES | 14.5702 | 8.551 | 0.011875 | -0.034976 | 0.037383 | 0.072359 |  | 6.5707 | 0.0066586
5 | YES | 4.3737 | 7.6888 | 0.018201 | 0.00082922 | 0.020544 | 0.019715 |  | 6.939 | 0.033951
6 | YES | 388.169 | 5.7001 | 0.022387 | -0.018854 | -0.018296 | 0.00055792 |  | 7.4509 | 0.046878
6 | YES | 300.39 | 5.8569 | 0.021921 | 0.013927 | -0.015234 | -0.029161 |  | 8.6797 | -0.066293
6 | YES | 250.407 | 5.8959 | 0.021806 | 0.010878 | -0.014473 | -0.025351 |  | 7.7123 | 0.048341
6 | YES | 200.981 | 5.9837 | 0.020912 | -0.026269 | -0.012757 | 0.013511 |  | 7.9256 | 0.065634
6 | YES | 150.823 | 6.2919 | 0.021482 | -0.006073 | -0.006738 | -0.00066505 |  | 5.8892 | -0.047805
6 | YES | 125.266 | 6.5707 | 0.018765 | 0.0066586 | -0.0012943 | -0.0079529 |  | 6.5385 | -0.047463
6 | YES | 100.406 | 6.939 | 0.012184 | 0.033951 | 0.0058985 | -0.028052 |  | 7.8 | 0.031049
6 | YES | 75.6505 | 7.4509 | 0.020769 | 0.046878 | 0.015897 | -0.030982 |  | 4.7507 | -0.10132
6 | NO | 40.7525 | 8.4542 | 0.017914 | 0.24822 | 0.035492 | -0.21273 |  | 7.9966 | 0.091609
6 | NO | 24.9578 | 8.9778 | 0.013814 | 0.24876 | 0.045717 | -0.20304 |  | 6.2083 | -0.043658
6 | YES | 13.9769 | 8.6797 | 0.018686 | -0.066293 | 0.039896 | 0.10619 |  | 7.9218 | 0.040829
6 | YES | 5.205 | 7.7123 | 0.011094 | 0.048341 | 0.021003 | -0.027338 |  | 8.4795 | 0.13254
7 | YES | 4.7483 | 7.9256 | 0.010528 | 0.065634 | 0.025169 | -0.040465 |  | 8.8212 | 0.10722
8 | YES | 341.471 | 5.8892 | 0.016515 | -0.047805 | -0.014604 | 0.033201 |  | 8.1034 | 0.07139
8 | YES | 100.287 | 6.5385 | 0.012038 | -0.047463 | -0.0019216 | 0.045542 |  | 8.1244 | -0.11261
8 | YES | 4.9361 | 7.8 | 0.011491 | 0.031049 | 0.022716 | -0.0083326 |  | 8.6297 | -0.0092926
9 | YES | 85.1749 | 4.7507 | 0.018006 | -0.10132 | -0.036839 | 0.064478 |  | 8.6 | -0.054999
9 | NO | 30.429 | 5.7538 | 0.020392 | 0.14578 | -0.017248 | -0.16303 |  | 8.1729 | 0.058902
9 | YES | 4.8422 | 7.9966 | 0.019695 | 0.091609 | 0.026555 | -0.065054 |  | 8.5932 | -0.0077801
10 | YES | 176.951 | 6.2083 | 0.019051 | -0.043658 | -0.0083706 | 0.035288 |  | 8.6341 | -0.0099268
10 | NO | 34.8853 | 7.8931 | 0.022247 | 0.28212 | 0.024534 | -0.25759 |  | 8.6369 | -0.038097
10 | YES | 4.3438 | 7.9218 | 0.016351 | 0.040829 | 0.025095 | -0.015735
11 | NO | 98.4204 | 7.8132 | 0.015321 | -0.17276 | 0.022974 | 0.19573
11 | YES | 50.7345 | 8.4795 | 0.011634 | 0.13254 | 0.035987 | -0.09655
11 | YES | 34.9579 | 8.8212 | 0.021701 | 0.10722 | 0.04266 | -0.06456
11 | YES | 4.3438 | 8.1034 | 0.017793 | 0.07139 | 0.028641 | -0.04275
12 | YES | 114.478 | 8.1244 | 0.020231 | -0.11261 | 0.029051 | 0.14166
12 | YES | 50.1883 | 8.6297 | 0.022638 | -0.0092926 | 0.03892 | 0.048212
12 | YES | 35.0217 | 8.6 | 0.019715 | -0.054999 | 0.03834 | 0.093339 |  |  |  | 0.011343
12 | YES | 4.7227 | 8.1729 | 0.016392 | 0.058902 | 0.029998 | -0.028904
13 | YES | 49.2161 | 8.5932 | 0.017822 | -0.0077801 | 0.038207 | 0.045987
13 | YES | 24.834 | 8.6341 | 0.012819 | -0.0099268 | 0.039005 | 0.048932
13 | YES | 4.5605 | 8.6369 | 0.017296 | -0.038097 | 0.03906 | 0.077158
YES
YES
NO
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Press*
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Press*
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.04961 |  | X | CALC Y
m= | -0.00014831 | 8.6745e-05 |  | Std Dev of Resid |  | 0.059281 |  | 2.6034 | 0.022779
b= | 0.023165 | 0.010412 |  | Resid Sum of Squares |  | 0.1968 |  | 388.169 | -0.034404
# of Values Extracted = |  |  | 70
# of Values Used in Fit = |  |  | 58
File | Use | Press* | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Press*
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 170.261 | 5.713 | 0.021175 | -0.018987 | -0.0020863 | 0.016901 |  | 170.261 | -0.018987
1 | YES | 149.219 | 5.7996 | 0.013336 | -0.034416 | 0.0010344 | 0.03545 |  | 149.219 | -0.034416
1 | NO | 100.16 | 6.1214 | 0.018911 | -0.65463 | 0.0083103 | 0.66294 |  | 50.359 | -0.016683
1 | YES | 50.359 | 7.2163 | 0.023989 | -0.016683 | 0.015696 | 0.032379 |  | 24.8938 | 0.048268
1 | YES | 24.8938 | 8.1153 | 0.056334 | 0.048268 | 0.019473 | -0.028795 |  | 2.6034 | 0.0088048
1 | YES | 2.6034 | 7.6758 | 0.022058 | 0.0088048 | 0.022779 | 0.013974 |  | 58.151 | -0.0275
2 | YES | 58.151 | 6.1525 | 0.015649 | -0.0275 | 0.014541 | 0.04204 |  | 63.3206 | -0.14044
2 | NO | 0 | 0 | 0 | -6.765 | 0.023165 | 6.7882 |  | 48.7177 | -0.060366
2 | NO | 0 | 0 | 0 | -6.763 | 0.023165 | 6.7862 |  | 34.9961 | 0.071829
2 | NO | 0 | 0 | 0 | -8.029 | 0.023165 | 8.0522 |  | 24.1905 | 0.045927
2 | NO | 0 | 0 | 0 | -7.603 | 0.023165 | 7.6262 |  | 14.711 | 0.0070734
3 | YES | 63.3206 | 5.9116 | 0.011533 | -0.14044 | 0.013774 | 0.15421 |  | 8.6722 | -0.00012159
3 | YES | 48.7177 | 6.0366 | 0.021869 | -0.060366 | 0.01594 | 0.076306 |  | 4.2796 | 0.042805
3 | YES | 34.9961 | 7.1118 | 0.016109 | 0.071829 | 0.017975 | -0.053855 |  | 44.4363 | -0.015317
3 | YES | 24.1905 | 7.9219 | 0.018945 | 0.045927 | 0.019577 | -0.02635 |  | 33.5248 | -0.064805
3 | YES | 14.711 | 7.9481 | 0.011168 | 0.0070734 | 0.020983 | 0.01391 |  | 23.6699 | 0.051805
3 | YES | 8.6722 | 7.8639 | 0.018217 | -0.00012159 | 0.021879 | 0.022 |  | 9.2265 | 0.06461
3 | YES | 4.2796 | 7.8468 | 0.011466 | 0.042805 | 0.02253 | -0.020275 |  | 2.7911 | 0.071147
4 | YES | 44.4363 | 6.4697 | 0.019844 | -0.015317 | 0.016575 | 0.031892 |  | 2.7911 | -0.040854
4 | YES | 33.5248 | 6.6202 | 0.018711 | -0.064805 | 0.018193 | 0.082998 |  | 220.879 | -0.057268
4 | YES | 23.6699 | 6.7948 | 0.012299 | 0.051805 | 0.019655 | -0.03215 |  | 200.444 | 0.063488
4 | NO | 15.7174 | 7.6111 | 0.059941 | 0.30612 | 0.020834 | -0.28529 |  | 176.005 | 0.052439
4 | YES | 9.2265 | 7.8676 | 0.014091 | 0.06461 | 0.021797 | -0.042813 |  | 151.607 | 0.062317
4 | YES | 2.7911 | 7.7901 | 0.024041 | 0.071147 | 0.022751 | -0.048395 |  | 125.744 | 0.023878
4 | YES | 2.7911 | 7.7901 | 0.024041 | -0.040854 | 0.022751 | 0.063605 |  | 100.492 | 0.07661
5 | YES | 220.879 | 6.2277 | 0.01469 | -0.057268 | -0.0095935 | 0.047675 |  | 75.5353 | 0.03717
5 | YES | 200.444 | 6.2375 | 0.021236 | 0.063488 | -0.0065628 | -0.070051 |  | 50.8024 | 0.15349
5 | YES | 176.005 | 6.2274 | 0.016867 | 0.052439 | -0.0029382 | -0.055377 |  | 25.0133 | 0.11776
5 | YES | 151.607 | 6.2583 | 0.013167 | 0.062317 | 0.00068023 | -0.061637 |  | 14.5702 | -0.034976
5 | YES | 125.744 | 6.2979 | 0.021493 | 0.023878 | 0.004516 | -0.019362 |  | 4.3737 | 0.00082922
5 | YES | 100.492 | 6.5216 | 0.01968 | 0.07661 | 0.0082611 | -0.068349 |  | 388.169 | -0.018854
5 | YES | 75.5353 | 6.8892 | 0.017044 | 0.03717 | 0.011962 | -0.025208 |  | 300.39 | 0.013927
5 | YES | 50.8024 | 7.4275 | 0.015693 | 0.15349 | 0.015631 | -0.13786 |  | 250.407 | 0.010878
5 | NO | 35.7807 | 8.4076 | 0.020442 | 0.35456 | 0.017858 | -0.3367 |  | 200.981 | -0.026269
5 | YES | 25.0133 | 8.7468 | 0.018215 | 0.11776 | 0.019455 | -0.098301 |  | 150.823 | -0.006073
5 | YES | 14.5702 | 8.551 | 0.011875 | -0.034976 | 0.021004 | 0.05598 |  | 125.266 | 0.0066586
5 | YES | 4.3737 | 7.6888 | 0.018201 | 0.00082922 | 0.022516 | 0.021687 |  | 100.406 | 0.033951
6 | YES | 388.169 | 5.7001 | 0.022387 | -0.018854 | -0.034404 | -0.01555 |  | 75.6505 | 0.046878
6 | YES | 300.39 | 5.8569 | 0.021921 | 0.013927 | -0.021386 | -0.035313 |  | 13.9769 | -0.066293
6 | YES | 250.407 | 5.8959 | 0.021806 | 0.010878 | -0.013973 | -0.024851 |  | 5.205 | 0.048341
6 | YES | 200.981 | 5.9837 | 0.020912 | -0.026269 | -0.0066424 | 0.019626 |  | 4.7483 | 0.065634
6 | YES | 150.823 | 6.2919 | 0.021482 | -0.006073 | 0.00079651 | 0.0068695 |  | 341.471 | -0.047805
6 | YES | 125.266 | 6.5707 | 0.018765 | 0.0066586 | 0.0045869 | -0.0020717 |  | 100.287 | -0.047463
6 | YES | 100.406 | 6.939 | 0.012184 | 0.033951 | 0.0082738 | -0.025677 |  | 4.9361 | 0.031049
6 | YES | 75.6505 | 7.4509 | 0.020769 | 0.046878 | 0.011945 | -0.034933 |  | 85.1749 | -0.10132
6 | NO | 40.7525 | 8.4542 | 0.017914 | 0.24822 | 0.017121 | -0.2311 |  | 4.8422 | 0.091609
6 | NO | 24.9578 | 8.9778 | 0.013814 | 0.24876 | 0.019464 | -0.22929 |  | 176.951 | -0.043658
6 | YES | 13.9769 | 8.6797 | 0.018686 | -0.066293 | 0.021092 | 0.087385 |  | 4.3438 | 0.040829
6 | YES | 5.205 | 7.7123 | 0.011094 | 0.048341 | 0.022393 | -0.025948 |  | 50.7345 | 0.13254
7 | YES | 4.7483 | 7.9256 | 0.010528 | 0.065634 | 0.022461 | -0.043174 |  | 34.9579 | 0.10722
8 | YES | 341.471 | 5.8892 | 0.016515 | -0.047805 | -0.027478 | 0.020326 |  | 4.3438 | 0.07139
8 | YES | 100.287 | 6.5385 | 0.012038 | -0.047463 | 0.0082915 | 0.055755 |  | 114.478 | -0.11261
8 | YES | 4.9361 | 7.8 | 0.011491 | 0.031049 | 0.022433 | -0.0086159 |  | 50.1883 | -0.0092926
9 | YES | 85.1749 | 4.7507 | 0.018006 | -0.10132 | 0.010533 | 0.11185 |  | 35.0217 | -0.054999
9 | NO | 30.429 | 5.7538 | 0.020392 | 0.14578 | 0.018652 | -0.12713 |  | 4.7227 | 0.058902
9 | YES | 4.8422 | 7.9966 | 0.019695 | 0.091609 | 0.022447 | -0.069163 |  | 49.2161 | -0.0077801
10 | YES | 176.951 | 6.2083 | 0.019051 | -0.043658 | -0.0030785 | 0.04058 |  | 24.834 | -0.0099268
10 | NO | 34.8853 | 7.8931 | 0.022247 | 0.28212 | 0.017991 | -0.26413 |  | 4.5605 | -0.038097 | 0.011343
10 | YES | 4.3438 | 7.9218 | 0.016351 | 0.040829 | 0.022521 | -0.018308
11 | NO | 98.4204 | 7.8132 | 0.015321 | -0.17276 | 0.0085683 | 0.18132
11 | YES | 50.7345 | 8.4795 | 0.011634 | 0.13254 | 0.015641 | -0.1169
11 | YES | 34.9579 | 8.8212 | 0.021701 | 0.10722 | 0.01798 | -0.08924
11 | YES | 4.3438 | 8.1034 | 0.017793 | 0.07139 | 0.022521 | -0.048869
12 | YES | 114.478 | 8.1244 | 0.020231 | -0.11261 | 0.0061868 | 0.1188
12 | YES | 50.1883 | 8.6297 | 0.022638 | -0.0092926 | 0.015722 | 0.025014
12 | YES | 35.0217 | 8.6 | 0.019715 | -0.054999 | 0.017971 | 0.07297
12 | YES | 4.7227 | 8.1729 | 0.016392 | 0.058902 | 0.022465 | -0.036437
13 | YES | 49.2161 | 8.5932 | 0.017822 | -0.0077801 | 0.015866 | 0.023646
13 | YES | 24.834 | 8.6341 | 0.012819 | -0.0099268 | 0.019482 | 0.029409
13 | YES | 4.5605 | 8.6369 | 0.017296 | -0.038097 | 0.022489 | 0.060586
YES
YES
NO
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Press*
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2008/07/15 17:25:31
| Primary | Secondary |  | Comparison Name
Ref | Press* | Press* |  | Press* - Press*
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Press* | Press* | Press* | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2007-28-0001.mrgcor1 | 2007-28-0001.samcor1 | 78 | 170.26 | 170.261 | 0.038851 | 0.00097656 | 5.732 | 5.713 | 0.021175 | -0.018987
2007-28-0001.mrgcor1 | 2007-28-0001.samcor1 | 65 | 149.217 | 149.219 | 0.085113 | 0.0023804 | 5.834 | 5.7996 | 0.013336 | -0.034416
2007-28-0001.mrgcor1 | 2007-28-0001.samcor1 | 65 | 100.139 | 100.16 | 0.073707 | 0.020989 | 6.776 | 6.1214 | 0.018911 | -0.65463
2007-28-0001.mrgcor1 | 2007-28-0001.samcor1 | 41 | 50.359 | 50.359 | 0 | 0 | 7.233 | 7.2163 | 0.023989 | -0.016683
2007-28-0001.mrgcor1 | 2007-28-0001.samcor1 | 41 | 24.894 | 24.8938 | 0.084017 | -0.00024223 | 8.067 | 8.1153 | 0.056334 | 0.048268
2007-28-0001.mrgcor1 | 2007-28-0001.samcor1 | 41 | 2.603 | 2.6034 | 0.062622 | 0.00039029 | 7.667 | 7.6758 | 0.022058 | 0.0088048
2007-28-0004.mrgcor1 | 2007-28-0004.samcor1 | 14 | 58.156 | 58.151 | 0.089873 | -0.0049972 | 6.18 | 6.1525 | 0.015649 | -0.0275
2007-28-0004.mrgcor1 | 2007-28-0004.samcor1 | 0 | 33.8 | 0 | 0 | -33.8 | 6.765 | 0 | 0 | -6.765
2007-28-0004.mrgcor1 | 2007-28-0004.samcor1 | 0 | 23.8 | 0 | 0 | -23.8 | 6.763 | 0 | 0 | -6.763
2007-28-0004.mrgcor1 | 2007-28-0004.samcor1 | 0 | 17 | 0 | 0 | -17 | 8.029 | 0 | 0 | -8.029
2007-28-0004.mrgcor1 | 2007-28-0004.samcor1 | 0 | 5.26 | 0 | 0 | -5.26 | 7.603 | 0 | 0 | -7.603
2007-28-0006.mrgcor1 | 2007-28-0006.samcor1 | 41 | 63.321 | 63.3206 | 0.092279 | -0.0003891 | 6.052 | 5.9116 | 0.011533 | -0.14044
2007-28-0006.mrgcor1 | 2007-28-0006.samcor1 | 41 | 48.718 | 48.7177 | 0.10972 | -0.00033951 | 6.097 | 6.0366 | 0.021869 | -0.060366
2007-28-0006.mrgcor1 | 2007-28-0006.samcor1 | 41 | 34.996 | 34.9961 | 0.11164 | 7.2479e-05 | 7.04 | 7.1118 | 0.016109 | 0.071829
2007-28-0006.mrgcor1 | 2007-28-0006.samcor1 | 41 | 24.19 | 24.1905 | 0.082445 | 0.00048637 | 7.876 | 7.9219 | 0.018945 | 0.045927
2007-28-0006.mrgcor1 | 2007-28-0006.samcor1 | 41 | 14.711 | 14.711 | 0.052271 | -2.4796e-05 | 7.941 | 7.9481 | 0.011168 | 0.0070734
2007-28-0006.mrgcor1 | 2007-28-0006.samcor1 | 41 | 8.672 | 8.6722 | 0.11102 | 0.00017071 | 7.864 | 7.8639 | 0.018217 | -0.00012159
2007-28-0006.mrgcor1 | 2007-28-0006.samcor1 | 41 | 4.28 | 4.2796 | 0.20318 | -0.00041485 | 7.804 | 7.8468 | 0.011466 | 0.042805
2007-28-0009.mrgcor1 | 2007-28-0009.samcor1 | 41 | 44.436 | 44.4363 | 0.097397 | 0.00034332 | 6.485 | 6.4697 | 0.019844 | -0.015317
2007-28-0009.mrgcor1 | 2007-28-0009.samcor1 | 41 | 33.525 | 33.5248 | 0.09778 | -0.00022125 | 6.685 | 6.6202 | 0.018711 | -0.064805
2007-28-0009.mrgcor1 | 2007-28-0009.samcor1 | 41 | 23.67 | 23.6699 | 0.12111 | -0.00014687 | 6.743 | 6.7948 | 0.012299 | 0.051805
2007-28-0009.mrgcor1 | 2007-28-0009.samcor1 | 41 | 15.717 | 15.7174 | 0.073843 | 0.00039005 | 7.305 | 7.6111 | 0.059941 | 0.30612
2007-28-0009.mrgcor1 | 2007-28-0009.samcor1 | 41 | 9.227 | 9.2265 | 0.19917 | -0.00046349 | 7.803 | 7.8676 | 0.014091 | 0.06461
2007-28-0009.mrgcor1 | 2007-28-0009.samcor1 | 82 | 3.512 | 2.7911 | 0.74145 | -0.7209 | 7.719 | 7.7901 | 0.024041 | 0.071147
2007-28-0009.mrgcor1 | 2007-28-0009.samcor1 | 82 | 2.071 | 2.7911 | 0.74145 | 0.7201 | 7.831 | 7.7901 | 0.024041 | -0.040854
2007-28-0014.mrgcor1 | 2007-28-0014.samcor1 | 41 | 220.879 | 220.879 | 0.073336 | -0.00041199 | 6.285 | 6.2277 | 0.01469 | -0.057268
2007-28-0014.mrgcor1 | 2007-28-0014.samcor1 | 41 | 200.444 | 200.444 | 0.070214 | -0.00015259 | 6.174 | 6.2375 | 0.021236 | 0.063488
2007-28-0014.mrgcor1 | 2007-28-0014.samcor1 | 41 | 176.005 | 176.005 | 0.04614 | 0.00019836 | 6.175 | 6.2274 | 0.016867 | 0.052439
2007-28-0014.mrgcor1 | 2007-28-0014.samcor1 | 41 | 151.607 | 151.607 | 0.080151 | -7.6294e-05 | 6.196 | 6.2583 | 0.013167 | 0.062317
2007-28-0014.mrgcor1 | 2007-28-0014.samcor1 | 41 | 125.744 | 125.744 | 0.080151 | -7.6294e-05 | 6.274 | 6.2979 | 0.021493 | 0.023878
2007-28-0014.mrgcor1 | 2007-28-0014.samcor1 | 41 | 100.492 | 100.492 | 0.070214 | -0.00014496 | 6.445 | 6.5216 | 0.01968 | 0.07661
2007-28-0014.mrgcor1 | 2007-28-0014.samcor1 | 41 | 75.535 | 75.5353 | 0.047731 | 0.0002594 | 6.852 | 6.8892 | 0.017044 | 0.03717
2007-28-0014.mrgcor1 | 2007-28-0014.samcor1 | 41 | 50.802 | 50.8024 | 0.087845 | 0.00036621 | 7.274 | 7.4275 | 0.015693 | 0.15349
2007-28-0014.mrgcor1 | 2007-28-0014.samcor1 | 41 | 35.781 | 35.7807 | 0.094872 | -0.00028992 | 8.053 | 8.4076 | 0.020442 | 0.35456
2007-28-0014.mrgcor1 | 2007-28-0014.samcor1 | 41 | 25.013 | 25.0133 | 0.02733 | 0.00026894 | 8.629 | 8.7468 | 0.018215 | 0.11776
2007-28-0014.mrgcor1 | 2007-28-0014.samcor1 | 41 | 14.57 | 14.5702 | 0.080613 | 0.0002203 | 8.586 | 8.551 | 0.011875 | -0.034976
2007-28-0014.mrgcor1 | 2007-28-0014.samcor1 | 41 | 4.374 | 4.3737 | 0.02733 | -0.00026846 | 7.688 | 7.6888 | 0.018201 | 0.00082922
2007-28-0025.mrgcor1 | 2007-28-0025.samcor1 | 41 | 388.169 | 388.169 | 0.072921 | -0.00021362 | 5.719 | 5.7001 | 0.022387 | -0.018854
2007-28-0025.mrgcor1 | 2007-28-0025.samcor1 | 41 | 300.39 | 300.39 | 0.027333 | 0.00024414 | 5.843 | 5.8569 | 0.021921 | 0.013927
2007-28-0025.mrgcor1 | 2007-28-0025.samcor1 | 41 | 250.407 | 250.407 | 0.066283 | 0.00028992 | 5.885 | 5.8959 | 0.021806 | 0.010878
2007-28-0025.mrgcor1 | 2007-28-0025.samcor1 | 41 | 200.981 | 200.981 | 0.057978 | -0.00035095 | 6.01 | 5.9837 | 0.020912 | -0.026269
2007-28-0025.mrgcor1 | 2007-28-0025.samcor1 | 41 | 150.823 | 150.823 | 0.070208 | -0.00015259 | 6.298 | 6.2919 | 0.021482 | -0.006073
2007-28-0025.mrgcor1 | 2007-28-0025.samcor1 | 41 | 125.266 | 125.266 | 0.096171 | 0.00019836 | 6.564 | 6.5707 | 0.018765 | 0.0066586
2007-28-0025.mrgcor1 | 2007-28-0025.samcor1 | 41 | 100.406 | 100.406 | 0.091262 | 0.00048828 | 6.905 | 6.939 | 0.012184 | 0.033951
2007-28-0025.mrgcor1 | 2007-28-0025.samcor1 | 41 | 75.651 | 75.6505 | 0.082447 | -0.00048828 | 7.404 | 7.4509 | 0.020769 | 0.046878
2007-28-0025.mrgcor1 | 2007-28-0025.samcor1 | 41 | 40.753 | 40.7525 | 0.038165 | -0.00046158 | 8.206 | 8.4542 | 0.017914 | 0.24822
2007-28-0025.mrgcor1 | 2007-28-0025.samcor1 | 41 | 24.958 | 24.9578 | 0.080614 | -0.00021934 | 8.729 | 8.9778 | 0.013814 | 0.24876
2007-28-0025.mrgcor1 | 2007-28-0025.samcor1 | 41 | 13.977 | 13.9769 | 0.065536 | -7.3433e-05 | 8.746 | 8.6797 | 0.018686 | -0.066293
2007-28-0025.mrgcor1 | 2007-28-0025.samcor1 | 41 | 5.205 | 5.205 | 0.078501 | 4.8637e-05 | 7.664 | 7.7123 | 0.011094 | 0.048341
2007-28-0031.mrgcor1 | 2007-28-0031.samcor1 | 41 | 4.748 | 4.7483 | 0.057977 | 0.00034142 | 7.86 | 7.9256 | 0.010528 | 0.065634
2007-28-0040.mrgcor1 | 2007-28-0040.samcor1 | 41 | 341.471 | 341.471 | 0.080607 | 0.00021362 | 5.937 | 5.8892 | 0.016515 | -0.047805
2007-28-0040.mrgcor1 | 2007-28-0040.samcor1 | 41 | 100.287 | 100.287 | 0.11561 | 4.5776e-05 | 6.586 | 6.5385 | 0.012038 | -0.047463
2007-28-0040.mrgcor1 | 2007-28-0040.samcor1 | 41 | 4.936 | 4.9361 | 0.080381 | 0.00014639 | 7.769 | 7.8 | 0.011491 | 0.031049
2007-28-0045.mrgcor1 | 2007-28-0045.samcor1 | 41 | 85.175 | 85.1749 | 0.066667 | -0.0001297 | 4.852 | 4.7507 | 0.018006 | -0.10132
2007-28-0045.mrgcor1 | 2007-28-0045.samcor1 | 41 | 30.429 | 30.429 | 0 | 0 | 5.608 | 5.7538 | 0.020392 | 0.14578
2007-28-0045.mrgcor1 | 2007-28-0045.samcor1 | 41 | 4.842 | 4.8422 | 0.084016 | 0.00024414 | 7.905 | 7.9966 | 0.019695 | 0.091609
2007-28-0048.mrgcor1 | 2007-28-0048.samcor1 | 41 | 176.951 | 176.951 | 0.10016 | 0.00041199 | 6.252 | 6.2083 | 0.019051 | -0.043658
2007-28-0048.mrgcor1 | 2007-28-0048.samcor1 | 41 | 34.885 | 34.8853 | 0.10437 | 0.00034332 | 7.611 | 7.8931 | 0.022247 | 0.28212
2007-28-0048.mrgcor1 | 2007-28-0048.samcor1 | 41 | 4.344 | 4.3438 | 0.070213 | -0.00014639 | 7.881 | 7.9218 | 0.016351 | 0.040829
2007-28-0052.mrgcor1 | 2007-28-0052.samcor1 | 41 | 98.42 | 98.4204 | 0.054577 | 0.0004425 | 7.986 | 7.8132 | 0.015321 | -0.17276
2007-28-0052.mrgcor1 | 2007-28-0052.samcor1 | 41 | 50.734 | 50.7345 | 0.062264 | 0.00046158 | 8.347 | 8.4795 | 0.011634 | 0.13254
2007-28-0052.mrgcor1 | 2007-28-0052.samcor1 | 41 | 34.958 | 34.9579 | 0.052571 | -7.6294e-05 | 8.714 | 8.8212 | 0.021701 | 0.10722
2007-28-0052.mrgcor1 | 2007-28-0052.samcor1 | 41 | 4.344 | 4.3438 | 0.070213 | -0.00014639 | 8.032 | 8.1034 | 0.017793 | 0.07139
2007-28-0055.mrgcor1 | 2007-28-0055.samcor1 | 41 | 114.478 | 114.478 | 0.19109 | 3.0518e-05 | 8.237 | 8.1244 | 0.020231 | -0.11261
2007-28-0055.mrgcor1 | 2007-28-0055.samcor1 | 41 | 50.188 | 50.1883 | 0.027331 | 0.00026703 | 8.639 | 8.6297 | 0.022638 | -0.0092926
2007-28-0055.mrgcor1 | 2007-28-0055.samcor1 | 41 | 35.022 | 35.0217 | 0.078052 | -0.00031662 | 8.655 | 8.6 | 0.019715 | -0.054999
2007-28-0055.mrgcor1 | 2007-28-0055.samcor1 | 41 | 4.723 | 4.7227 | 0.047731 | -0.00026798 | 8.114 | 8.1729 | 0.016392 | 0.058902
2007-28-0058.mrgcor1 | 2007-28-0058.samcor1 | 82 | 49.233 | 49.2161 | 0.087804 | -0.016903 | 8.601 | 8.5932 | 0.017822 | -0.0077801
2007-28-0058.mrgcor1 | 2007-28-0058.samcor1 | 41 | 24.834 | 24.834 | 0 | 0 | 8.644 | 8.6341 | 0.012819 | -0.0099268
2007-28-0058.mrgcor1 | 2007-28-0058.samcor1 | 41 | 4.561 | 4.5605 | 0.038165 | -0.00046301 | 8.675 | 8.6369 | 0.017296 | -0.038097
Create Fit Sheet