## File List
Number of Files= |  | 13
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2007-28-0001.mrg | 2007-28-0001.thn | 11 | 16 | 2007-28-0001.mrg & 2007-28-0001.thn
2 | 2007-28-0004.mrg | 2007-28-0004.thn | 18 | 22 | 2007-28-0004.mrg & 2007-28-0004.thn
3 | 2007-28-0006.mrg | 2007-28-0006.thn | 24 | 30 | 2007-28-0006.mrg & 2007-28-0006.thn
4 | 2007-28-0009.mrg | 2007-28-0009.thn | 32 | 38 | 2007-28-0009.mrg & 2007-28-0009.thn
5 | 2007-28-0014.mrg | 2007-28-0014.thn | 40 | 51 | 2007-28-0014.mrg & 2007-28-0014.thn
6 | 2007-28-0025.mrg | 2007-28-0025.thn | 53 | 64 | 2007-28-0025.mrg & 2007-28-0025.thn
7 | 2007-28-0031.mrg | 2007-28-0031.thn | 66 | 66 | 2007-28-0031.mrg & 2007-28-0031.thn
8 | 2007-28-0040.mrg | 2007-28-0040.thn | 68 | 70 | 2007-28-0040.mrg & 2007-28-0040.thn
9 | 2007-28-0045.mrg | 2007-28-0045.thn | 72 | 74 | 2007-28-0045.mrg & 2007-28-0045.thn
10 | 2007-28-0048.mrg | 2007-28-0048.thn | 76 | 78 | 2007-28-0048.mrg & 2007-28-0048.thn
11 | 2007-28-0052.mrg | 2007-28-0052.thn | 80 | 83 | 2007-28-0052.mrg & 2007-28-0052.thn
12 | 2007-28-0055.mrg | 2007-28-0055.thn | 85 | 88 | 2007-28-0055.mrg & 2007-28-0055.thn
13 | 2007-28-0058.mrg | 2007-28-0058.thn | 90 | 92 | 2007-28-0058.mrg & 2007-28-0058.thn

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Press*
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.032305 |  | X | CALC Y
m= | -0.00043633 | 0.00030329 |  | Std Dev of Resid |  | 0.16621 |  | 3.964 | 0.12534
b= | 0.12707 | 0.028287 |  | Resid Sum of Squares |  | 1.7129 |  | 300.977 | -0.004257
# of Values Extracted = |  |  | 70
# of Values Used in Fit = |  |  | 64
File | Use | Press* | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Press*
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 0 | 0 | 0 | -5.732 | 0.12707 | 5.8591 |  | 148.999 | 0.012
1 | YES | 148.999 | 5.846 | 0.0028286 | 0.012 | 0.062056 | 0.050057 |  | 51.0025 | 0.5695
1 | NO | 100.983 | 6.289 | 0.028284 | -0.487 | 0.083007 | 0.57001 |  | 24.0475 | 0.5475
1 | YES | 51.0025 | 7.8025 | 0.1195 | 0.5695 | 0.10482 | -0.46468 |  | 4.028 | 0.106
1 | YES | 24.0475 | 8.6145 | 0.099703 | 0.5475 | 0.11658 | -0.43092 |  | 58.051 | 0.054
1 | YES | 4.028 | 7.773 | 0 | 0.106 | 0.12531 | 0.019312 |  | 34.0335 | 0.157
2 | YES | 58.051 | 6.234 | 0 | 0.054 | 0.10174 | 0.04774 |  | 4.9985 | 0.16
2 | YES | 34.0335 | 6.922 | 0.10465 | 0.157 | 0.11222 | -0.04478 |  | 61.961 | 0.012
2 | NO | 23.992 | 7.869 | 0.17819 | 1.106 | 0.1166 | -0.9894 |  | 49.036 | 0.267
2 | NO | 16.028 | 7.453 | 0 | -0.576 | 0.12008 | 0.69608 |  | 33.993 | 0.367
2 | YES | 4.9985 | 7.763 | 0.060811 | 0.16 | 0.12489 | -0.035111 |  | 23.9835 | 0.1135
3 | YES | 61.961 | 6.064 | 0 | 0.012 | 0.10003 | 0.088034 |  | 15.0315 | 0.044
3 | YES | 49.036 | 6.364 | 0.074953 | 0.267 | 0.10567 | -0.16133 |  | 8.9995 | 0.0875
3 | YES | 33.993 | 7.407 | 0.10465 | 0.367 | 0.11224 | -0.25476 |  | 5.01 | 0.0715
3 | YES | 23.9835 | 7.9895 | 0.12374 | 0.1135 | 0.1166 | 0.0031049 |  | 45.05 | 0.049
3 | YES | 15.0315 | 7.985 | 0.10041 | 0.044 | 0.12051 | 0.076511 |  | 34.013 | 0.0325
3 | YES | 8.9995 | 7.9515 | 0.030406 | 0.0875 | 0.12314 | 0.035643 |  | 23.9925 | 0.2005
3 | YES | 5.01 | 7.8755 | 0.051619 | 0.0715 | 0.12488 | 0.053383 |  | 15.0225 | 0.421
4 | YES | 45.05 | 6.534 | 0 | 0.049 | 0.10741 | 0.058413 |  | 8.9445 | 0.333
4 | YES | 34.013 | 6.7175 | 0.019092 | 0.0325 | 0.11223 | 0.079729 |  | 3.964 | 0.027
4 | YES | 23.9925 | 6.9435 | 0.048791 | 0.2005 | 0.1166 | -0.083899 |  | 3.964 | -0.085
4 | YES | 15.0225 | 7.726 | 0.2588 | 0.421 | 0.12051 | -0.30049 |  | 219.98 | -0.053
4 | YES | 8.9445 | 8.136 | 0.2291 | 0.333 | 0.12317 | -0.20983 |  | 200.999 | 0.066
4 | YES | 3.964 | 7.746 | 0 | 0.027 | 0.12534 | 0.09834 |  | 175.954 | 0.0625
4 | YES | 3.964 | 7.746 | 0 | -0.085 | 0.12534 | 0.21034 |  | 150.987 | 0.171
5 | YES | 219.98 | 6.232 | 0 | -0.053 | 0.031085 | 0.084085 |  | 125.999 | 0.0555
5 | YES | 200.999 | 6.24 | 0.0014145 | 0.066 | 0.039367 | -0.026633 |  | 101.016 | 0.123
5 | YES | 175.954 | 6.2375 | 0.0049497 | 0.0625 | 0.050295 | -0.012205 |  | 75.992 | 0.177
5 | YES | 150.987 | 6.367 | 0.0070712 | 0.171 | 0.061189 | -0.10981 |  | 51.038 | 0.3435
5 | YES | 125.999 | 6.3295 | 0.00070706 | 0.0555 | 0.072092 | 0.016592 |  | 35.039 | 0.381
5 | YES | 101.016 | 6.568 | 0.0084853 | 0.123 | 0.082993 | -0.040007 |  | 25.0227 | 0.124
5 | YES | 75.992 | 7.029 | 0.029699 | 0.177 | 0.093912 | -0.083088 |  | 15.043 | 0.126
5 | YES | 51.038 | 7.6175 | 0.070004 | 0.3435 | 0.1048 | -0.2387 |  | 5.0305 | 0.1375
5 | YES | 35.039 | 8.434 | 0 | 0.381 | 0.11178 | -0.26922 |  | 300.977 | -0.0035
5 | YES | 25.0227 | 8.753 | 0.036373 | 0.124 | 0.11615 | -0.0078496 |  | 250.938 | 0.0019999
5 | YES | 15.043 | 8.712 | 0.039598 | 0.126 | 0.12051 | -0.0054931 |  | 200.982 | -0.0055003
5 | YES | 5.0305 | 7.8255 | 0.1096 | 0.1375 | 0.12487 | -0.012625 |  | 151.008 | 0.034
6 | NO | 0 | 0 | 0 | -5.719 | 0.12707 | 5.8461 |  | 125.987 | 0.0315
6 | YES | 300.977 | 5.8395 | 0.0021215 | -0.0035 | -0.004257 | -0.00075701 |  | 101.016 | 0.039
6 | YES | 250.938 | 5.887 | 0.0014141 | 0.0019999 | 0.017577 | 0.015577 |  | 76 | 0.0745
6 | YES | 200.982 | 6.0045 | 0.0049497 | -0.0055003 | 0.039374 | 0.044875 |  | 39.969 | 0.3065
6 | YES | 151.008 | 6.332 | 0.0042427 | 0.034 | 0.06118 | 0.02718 |  | 23.9835 | 0.2555
6 | YES | 125.987 | 6.5955 | 0.014849 | 0.0315 | 0.072097 | 0.040597 |  | 14.017 | -0.039001
6 | YES | 101.016 | 6.944 | 0.028285 | 0.039 | 0.082993 | 0.043993 |  | 3.987 | -0.051
6 | YES | 76 | 7.4785 | 0.033234 | 0.0745 | 0.093908 | 0.019408 |  | 5.0215 | -0.0044999
6 | YES | 39.969 | 8.5125 | 0.071418 | 0.3065 | 0.10963 | -0.19687 |  | 101.03 | 0.0335
6 | YES | 23.9835 | 8.9845 | 0.020506 | 0.2555 | 0.1166 | -0.1389 |  | 6.038 | 0.0019999
6 | YES | 14.017 | 8.707 | 0 | -0.039001 | 0.12095 | 0.15995 |  | 84.97 | -0.052
6 | YES | 3.987 | 7.613 | 0 | -0.051 | 0.12533 | 0.17633 |  | 30.0235 | 0.403
7 | YES | 5.0215 | 7.8555 | 0.079903 | -0.0044999 | 0.12488 | 0.12938 |  | 5.951 | -0.325
8 | NO | 0 | 0 | 0 | -5.937 | 0.12707 | 6.0641 |  | 177.026 | -0.036
8 | YES | 101.03 | 6.6195 | 0.0049497 | 0.0335 | 0.082987 | 0.049487 |  | 34.048 | 0.3885
8 | YES | 6.038 | 7.771 | 0 | 0.0019999 | 0.12444 | 0.12244 |  | 6.039 | -0.023
9 | YES | 84.97 | 4.8 | 0 | -0.052 | 0.089994 | 0.14199 |  | 97.543 | -0.058
9 | YES | 30.0235 | 6.011 | 0.087681 | 0.403 | 0.11397 | -0.28903 |  | 50.95 | 0.1685
9 | YES | 5.951 | 7.58 | 0 | -0.325 | 0.12447 | 0.44947 |  | 33.998 | 0.158
10 | YES | 177.026 | 6.216 | 0 | -0.036 | 0.049827 | 0.085827 |  | 5.033 | -0.052
10 | YES | 34.048 | 7.9995 | 0.12374 | 0.3885 | 0.11221 | -0.27629 |  | 114.985 | 0.028
10 | YES | 6.039 | 7.858 | 0 | -0.023 | 0.12443 | 0.14743 |  | 50.962 | -0.011499
11 | YES | 97.543 | 7.928 | 0.0098995 | -0.058 | 0.084508 | 0.14251 |  | 33.9925 | 0.097
11 | YES | 50.95 | 8.5155 | 0.017677 | 0.1685 | 0.10484 | -0.063662 |  | 5.992 | 0.019999
11 | YES | 33.998 | 8.872 | 0.022627 | 0.158 | 0.11224 | -0.045765 |  | 49.0045 | -0.031
11 | YES | 5.033 | 7.98 | 0.0014141 | -0.052 | 0.12487 | 0.17687 |  | 24.0035 | 0.018001
12 | YES | 114.985 | 8.265 | 0 | 0.028 | 0.076898 | 0.048898 |  | 5.001 | -0.263 | 0.099453
12 | YES | 50.962 | 8.6275 | 0.0063638 | -0.011499 | 0.10483 | 0.11633
12 | YES | 33.9925 | 8.752 | 0.0098995 | 0.097 | 0.11224 | 0.015237
12 | YES | 5.992 | 8.134 | 0 | 0.019999 | 0.12446 | 0.10446
13 | YES | 49.0045 | 8.57 | 0.0042423 | -0.031 | 0.10569 | 0.13669
13 | YES | 24.0035 | 8.662 | 0.0084853 | 0.018001 | 0.1166 | 0.098596
13 | YES | 5.001 | 8.412 | 0.039598 | -0.263 | 0.12489 | 0.38789
NO
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Press*
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.035975 |  | X | CALC Y
m= | 0.044817 | 0.028776 |  | Std Dev of Resid |  | 0.2305 |  | 4.8 | -0.0213
b= | -0.23642 | 0.21506 |  | Resid Sum of Squares |  | 3.4535 |  | 8.9845 | 0.16624
# of Values Extracted = |  |  | 70
# of Values Used in Fit = |  |  | 67
File | Use | Press* | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 0 | 0 | 0 | -5.732 | -0.23642 | 5.4956 |  | 5.846 | 0.012
1 | YES | 148.999 | 5.846 | 0.0028286 | 0.012 | 0.025579 | 0.013579 |  | 6.289 | -0.487
1 | YES | 100.983 | 6.289 | 0.028284 | -0.487 | 0.045433 | 0.53243 |  | 7.8025 | 0.5695
1 | YES | 51.0025 | 7.8025 | 0.1195 | 0.5695 | 0.11326 | -0.45624 |  | 8.6145 | 0.5475
1 | YES | 24.0475 | 8.6145 | 0.099703 | 0.5475 | 0.14966 | -0.39784 |  | 7.773 | 0.106
1 | YES | 4.028 | 7.773 | 0 | 0.106 | 0.11194 | 0.0059419 |  | 6.234 | 0.054
2 | YES | 58.051 | 6.234 | 0 | 0.054 | 0.042968 | -0.011032 |  | 6.922 | 0.157
2 | YES | 34.0335 | 6.922 | 0.10465 | 0.157 | 0.073802 | -0.083198 |  | 7.869 | 1.106
2 | YES | 23.992 | 7.869 | 0.17819 | 1.106 | 0.11624 | -0.98976 |  | 7.453 | -0.576
2 | YES | 16.028 | 7.453 | 0 | -0.576 | 0.0976 | 0.6736 |  | 7.763 | 0.16
2 | YES | 4.9985 | 7.763 | 0.060811 | 0.16 | 0.11149 | -0.048506 |  | 6.064 | 0.012
3 | YES | 61.961 | 6.064 | 0 | 0.012 | 0.035349 | 0.023349 |  | 6.364 | 0.267
3 | YES | 49.036 | 6.364 | 0.074953 | 0.267 | 0.048794 | -0.21821 |  | 7.407 | 0.367
3 | YES | 33.993 | 7.407 | 0.10465 | 0.367 | 0.095539 | -0.27146 |  | 7.9895 | 0.1135
3 | YES | 23.9835 | 7.9895 | 0.12374 | 0.1135 | 0.12164 | 0.0081449 |  | 7.985 | 0.044
3 | YES | 15.0315 | 7.985 | 0.10041 | 0.044 | 0.12144 | 0.077444 |  | 7.9515 | 0.0875
3 | YES | 8.9995 | 7.9515 | 0.030406 | 0.0875 | 0.11994 | 0.032442 |  | 7.8755 | 0.0715
3 | YES | 5.01 | 7.8755 | 0.051619 | 0.0715 | 0.11654 | 0.045035 |  | 6.534 | 0.049
4 | YES | 45.05 | 6.534 | 0 | 0.049 | 0.056413 | 0.0074134 |  | 6.7175 | 0.0325
4 | YES | 34.013 | 6.7175 | 0.019092 | 0.0325 | 0.064637 | 0.032137 |  | 6.9435 | 0.2005
4 | YES | 23.9925 | 6.9435 | 0.048791 | 0.2005 | 0.074766 | -0.12573 |  | 7.726 | 0.421
4 | YES | 15.0225 | 7.726 | 0.2588 | 0.421 | 0.10984 | -0.31116 |  | 8.136 | 0.333
4 | YES | 8.9445 | 8.136 | 0.2291 | 0.333 | 0.12821 | -0.20479 |  | 7.746 | 0.027
4 | YES | 3.964 | 7.746 | 0 | 0.027 | 0.11073 | 0.083732 |  | 7.746 | -0.085
4 | YES | 3.964 | 7.746 | 0 | -0.085 | 0.11073 | 0.19573 |  | 6.232 | -0.053
5 | YES | 219.98 | 6.232 | 0 | -0.053 | 0.042878 | 0.095878 |  | 6.24 | 0.066
5 | YES | 200.999 | 6.24 | 0.0014145 | 0.066 | 0.043237 | -0.022763 |  | 6.2375 | 0.0625
5 | YES | 175.954 | 6.2375 | 0.0049497 | 0.0625 | 0.043125 | -0.019375 |  | 6.367 | 0.171
5 | YES | 150.987 | 6.367 | 0.0070712 | 0.171 | 0.048929 | -0.12207 |  | 6.3295 | 0.0555
5 | YES | 125.999 | 6.3295 | 0.00070706 | 0.0555 | 0.047248 | -0.008252 |  | 6.568 | 0.123
5 | YES | 101.016 | 6.568 | 0.0084853 | 0.123 | 0.057937 | -0.065063 |  | 7.029 | 0.177
5 | YES | 75.992 | 7.029 | 0.029699 | 0.177 | 0.078598 | -0.098402 |  | 7.6175 | 0.3435
5 | YES | 51.038 | 7.6175 | 0.070004 | 0.3435 | 0.10497 | -0.23853 |  | 8.434 | 0.381
5 | YES | 35.039 | 8.434 | 0 | 0.381 | 0.14157 | -0.23943 |  | 8.753 | 0.124
5 | YES | 25.0227 | 8.753 | 0.036373 | 0.124 | 0.15586 | 0.031862 |  | 8.712 | 0.126
5 | YES | 15.043 | 8.712 | 0.039598 | 0.126 | 0.15403 | 0.028026 |  | 7.8255 | 0.1375
5 | YES | 5.0305 | 7.8255 | 0.1096 | 0.1375 | 0.11429 | -0.023205 |  | 5.8395 | -0.0035
6 | NO | 0 | 0 | 0 | -5.719 | -0.23642 | 5.4826 |  | 5.887 | 0.0019999
6 | YES | 300.977 | 5.8395 | 0.0021215 | -0.0035 | 0.025287 | 0.028787 |  | 6.0045 | -0.0055003
6 | YES | 250.938 | 5.887 | 0.0014141 | 0.0019999 | 0.027416 | 0.025416 |  | 6.332 | 0.034
6 | YES | 200.982 | 6.0045 | 0.0049497 | -0.0055003 | 0.032682 | 0.038183 |  | 6.5955 | 0.0315
6 | YES | 151.008 | 6.332 | 0.0042427 | 0.034 | 0.04736 | 0.01336 |  | 6.944 | 0.039
6 | YES | 125.987 | 6.5955 | 0.014849 | 0.0315 | 0.059169 | 0.02767 |  | 7.4785 | 0.0745
6 | YES | 101.016 | 6.944 | 0.028285 | 0.039 | 0.074788 | 0.035788 |  | 8.5125 | 0.3065
6 | YES | 76 | 7.4785 | 0.033234 | 0.0745 | 0.098743 | 0.024243 |  | 8.9845 | 0.2555
6 | YES | 39.969 | 8.5125 | 0.071418 | 0.3065 | 0.14508 | -0.16141 |  | 8.707 | -0.039001
6 | YES | 23.9835 | 8.9845 | 0.020506 | 0.2555 | 0.16624 | -0.089262 |  | 7.613 | -0.051
6 | YES | 14.017 | 8.707 | 0 | -0.039001 | 0.1538 | 0.1928 |  | 7.8555 | -0.0044999
6 | YES | 3.987 | 7.613 | 0 | -0.051 | 0.10477 | 0.15577 |  | 6.6195 | 0.0335
7 | YES | 5.0215 | 7.8555 | 0.079903 | -0.0044999 | 0.11564 | 0.12014 |  | 7.771 | 0.0019999
8 | NO | 0 | 0 | 0 | -5.937 | -0.23642 | 5.7006 |  | 4.8 | -0.052
8 | YES | 101.03 | 6.6195 | 0.0049497 | 0.0335 | 0.060245 | 0.026745 |  | 6.011 | 0.403
8 | YES | 6.038 | 7.771 | 0 | 0.0019999 | 0.11185 | 0.10985 |  | 7.58 | -0.325
9 | YES | 84.97 | 4.8 | 0 | -0.052 | -0.0213 | 0.0307 |  | 6.216 | -0.036
9 | YES | 30.0235 | 6.011 | 0.087681 | 0.403 | 0.032974 | -0.37003 |  | 7.9995 | 0.3885
9 | YES | 5.951 | 7.58 | 0 | -0.325 | 0.10329 | 0.42829 |  | 7.858 | -0.023
10 | YES | 177.026 | 6.216 | 0 | -0.036 | 0.042161 | 0.078161 |  | 7.928 | -0.058
10 | YES | 34.048 | 7.9995 | 0.12374 | 0.3885 | 0.12209 | -0.26641 |  | 8.5155 | 0.1685
10 | YES | 6.039 | 7.858 | 0 | -0.023 | 0.11575 | 0.13875 |  | 8.872 | 0.158
11 | YES | 97.543 | 7.928 | 0.0098995 | -0.058 | 0.11889 | 0.17689 |  | 7.98 | -0.052
11 | YES | 50.95 | 8.5155 | 0.017677 | 0.1685 | 0.14522 | -0.023281 |  | 8.265 | 0.028
11 | YES | 33.998 | 8.872 | 0.022627 | 0.158 | 0.1612 | 0.0031962 |  | 8.6275 | -0.011499
11 | YES | 5.033 | 7.98 | 0.0014141 | -0.052 | 0.12122 | 0.17322 |  | 8.752 | 0.097
12 | YES | 114.985 | 8.265 | 0 | 0.028 | 0.13399 | 0.10599 |  | 8.134 | 0.019999
12 | YES | 50.962 | 8.6275 | 0.0063638 | -0.011499 | 0.15024 | 0.16174 |  | 8.57 | -0.031
12 | YES | 33.9925 | 8.752 | 0.0098995 | 0.097 | 0.15582 | 0.058818 |  | 8.662 | 0.018001
12 | YES | 5.992 | 8.134 | 0 | 0.019999 | 0.12812 | 0.10812 |  | 8.412 | -0.263 | 0.095642
13 | YES | 49.0045 | 8.57 | 0.0042423 | -0.031 | 0.14766 | 0.17866
13 | YES | 24.0035 | 8.662 | 0.0084853 | 0.018001 | 0.15178 | 0.13378
13 | YES | 5.001 | 8.412 | 0.039598 | -0.263 | 0.14058 | 0.40358
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Press*
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2008/07/16 17:00:22
| Primary | Secondary |  | Comparison Name
Ref | Press* | Press* |  | Press* - Press*
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Press* | Press* | Press* | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2007-28-0001.mrg | 2007-28-0001.thn | 0 | 170.26 | 0 | 0 | -170.26 | 5.732 | 0 | 0 | -5.732
2007-28-0001.mrg | 2007-28-0001.thn | 2 | 149.217 | 148.999 | 1.4828 | -0.21849 | 5.834 | 5.846 | 0.0028286 | 0.012
2007-28-0001.mrg | 2007-28-0001.thn | 2 | 100.139 | 100.983 | 1.4213 | 0.844 | 6.776 | 6.289 | 0.028284 | -0.487
2007-28-0001.mrg | 2007-28-0001.thn | 2 | 50.359 | 51.0025 | 1.347 | 0.6435 | 7.233 | 7.8025 | 0.1195 | 0.5695
2007-28-0001.mrg | 2007-28-0001.thn | 2 | 24.894 | 24.0475 | 1.3923 | -0.8465 | 8.067 | 8.6145 | 0.099703 | 0.5475
2007-28-0001.mrg | 2007-28-0001.thn | 1 | 2.603 | 4.028 | 0 | 1.425 | 7.667 | 7.773 | 0 | 0.106
2007-28-0004.mrg | 2007-28-0004.thn | 1 | 58.156 | 58.051 | 0 | -0.105 | 6.18 | 6.234 | 0 | 0.054
2007-28-0004.mrg | 2007-28-0004.thn | 2 | 33.8 | 34.0335 | 1.422 | 0.2335 | 6.765 | 6.922 | 0.10465 | 0.157
2007-28-0004.mrg | 2007-28-0004.thn | 2 | 23.8 | 23.992 | 1.3478 | 0.192 | 6.763 | 7.869 | 0.17819 | 1.106
2007-28-0004.mrg | 2007-28-0004.thn | 1 | 17 | 16.028 | 0 | -0.972 | 8.029 | 7.453 | 0 | -0.576
2007-28-0004.mrg | 2007-28-0004.thn | 2 | 5.26 | 4.9985 | 1.405 | -0.2615 | 7.603 | 7.763 | 0.060811 | 0.16
2007-28-0006.mrg | 2007-28-0006.thn | 2 | 63.321 | 61.961 | 0 | -1.36 | 6.052 | 6.064 | 0 | 0.012
2007-28-0006.mrg | 2007-28-0006.thn | 2 | 48.718 | 49.036 | 1.376 | 0.318 | 6.097 | 6.364 | 0.074953 | 0.267
2007-28-0006.mrg | 2007-28-0006.thn | 2 | 34.996 | 33.993 | 1.3888 | -1.003 | 7.04 | 7.407 | 0.10465 | 0.367
2007-28-0006.mrg | 2007-28-0006.thn | 2 | 24.19 | 23.9835 | 1.3598 | -0.2065 | 7.876 | 7.9895 | 0.12374 | 0.1135
2007-28-0006.mrg | 2007-28-0006.thn | 2 | 14.711 | 15.0315 | 1.3767 | 0.3205 | 7.941 | 7.985 | 0.10041 | 0.044
2007-28-0006.mrg | 2007-28-0006.thn | 2 | 8.672 | 8.9995 | 1.4672 | 0.3275 | 7.864 | 7.9515 | 0.030406 | 0.0875
2007-28-0006.mrg | 2007-28-0006.thn | 2 | 4.28 | 5.01 | 1.3888 | 0.73 | 7.804 | 7.8755 | 0.051619 | 0.0715
2007-28-0009.mrg | 2007-28-0009.thn | 1 | 44.436 | 45.05 | 0 | 0.614 | 6.485 | 6.534 | 0 | 0.049
2007-28-0009.mrg | 2007-28-0009.thn | 2 | 33.525 | 34.013 | 1.451 | 0.488 | 6.685 | 6.7175 | 0.019092 | 0.0325
2007-28-0009.mrg | 2007-28-0009.thn | 2 | 23.67 | 23.9925 | 1.405 | 0.3225 | 6.743 | 6.9435 | 0.048791 | 0.2005
2007-28-0009.mrg | 2007-28-0009.thn | 2 | 15.717 | 15.0225 | 1.422 | -0.6945 | 7.305 | 7.726 | 0.2588 | 0.421
2007-28-0009.mrg | 2007-28-0009.thn | 2 | 9.227 | 8.9445 | 1.422 | -0.2825 | 7.803 | 8.136 | 0.2291 | 0.333
2007-28-0009.mrg | 2007-28-0009.thn | 1 | 3.512 | 3.964 | 0 | 0.452 | 7.719 | 7.746 | 0 | 0.027
2007-28-0009.mrg | 2007-28-0009.thn | 1 | 2.071 | 3.964 | 0 | 1.893 | 7.831 | 7.746 | 0 | -0.085
2007-28-0014.mrg | 2007-28-0014.thn | 1 | 220.879 | 219.98 | 0 | -0.899 | 6.285 | 6.232 | 0 | -0.053
2007-28-0014.mrg | 2007-28-0014.thn | 2 | 200.444 | 200.999 | 1.3301 | 0.5545 | 6.174 | 6.24 | 0.0014145 | 0.066
2007-28-0014.mrg | 2007-28-0014.thn | 2 | 176.005 | 175.954 | 1.4163 | -0.050507 | 6.175 | 6.2375 | 0.0049497 | 0.0625
2007-28-0014.mrg | 2007-28-0014.thn | 2 | 151.607 | 150.987 | 1.3881 | -0.61951 | 6.196 | 6.367 | 0.0070712 | 0.171
2007-28-0014.mrg | 2007-28-0014.thn | 2 | 125.744 | 125.999 | 1.3881 | 0.2545 | 6.274 | 6.3295 | 0.00070706 | 0.0555
2007-28-0014.mrg | 2007-28-0014.thn | 2 | 100.492 | 101.016 | 1.3428 | 0.52351 | 6.445 | 6.568 | 0.0084853 | 0.123
2007-28-0014.mrg | 2007-28-0014.thn | 2 | 75.535 | 75.992 | 1.417 | 0.457 | 6.852 | 7.029 | 0.029699 | 0.177
2007-28-0014.mrg | 2007-28-0014.thn | 2 | 50.802 | 51.038 | 1.4213 | 0.236 | 7.274 | 7.6175 | 0.070004 | 0.3435
2007-28-0014.mrg | 2007-28-0014.thn | 1 | 35.781 | 35.039 | 0 | -0.742 | 8.053 | 8.434 | 0 | 0.381
2007-28-0014.mrg | 2007-28-0014.thn | 3 | 25.013 | 25.0227 | 1.9665 | 0.0096664 | 8.629 | 8.753 | 0.036373 | 0.124
2007-28-0014.mrg | 2007-28-0014.thn | 2 | 14.57 | 15.043 | 1.393 | 0.473 | 8.586 | 8.712 | 0.039598 | 0.126
2007-28-0014.mrg | 2007-28-0014.thn | 2 | 4.374 | 5.0305 | 1.4503 | 0.6565 | 7.688 | 7.8255 | 0.1096 | 0.1375
2007-28-0025.mrg | 2007-28-0025.thn | 0 | 388.169 | 0 | 0 | -388.169 | 5.719 | 0 | 0 | -5.719
2007-28-0025.mrg | 2007-28-0025.thn | 2 | 300.39 | 300.977 | 1.4199 | 0.58698 | 5.843 | 5.8395 | 0.0021215 | -0.0035
2007-28-0025.mrg | 2007-28-0025.thn | 2 | 250.407 | 250.938 | 1.4156 | 0.53099 | 5.885 | 5.887 | 0.0014141 | 0.0019999
2007-28-0025.mrg | 2007-28-0025.thn | 2 | 200.981 | 200.982 | 1.4206 | 0.00050354 | 6.01 | 6.0045 | 0.0049497 | -0.0055003
2007-28-0025.mrg | 2007-28-0025.thn | 2 | 150.823 | 151.008 | 1.3591 | 0.185 | 6.298 | 6.332 | 0.0042427 | 0.034
2007-28-0025.mrg | 2007-28-0025.thn | 2 | 125.266 | 125.987 | 1.4043 | 0.721 | 6.564 | 6.5955 | 0.014849 | 0.0315
2007-28-0025.mrg | 2007-28-0025.thn | 2 | 100.406 | 101.016 | 1.4333 | 0.6095 | 6.905 | 6.944 | 0.028285 | 0.039
2007-28-0025.mrg | 2007-28-0025.thn | 2 | 75.651 | 76 | 1.4708 | 0.349 | 7.404 | 7.4785 | 0.033234 | 0.0745
2007-28-0025.mrg | 2007-28-0025.thn | 2 | 40.753 | 39.969 | 1.376 | -0.784 | 8.206 | 8.5125 | 0.071418 | 0.3065
2007-28-0025.mrg | 2007-28-0025.thn | 2 | 24.958 | 23.9835 | 1.3598 | -0.9745 | 8.729 | 8.9845 | 0.020506 | 0.2555
2007-28-0025.mrg | 2007-28-0025.thn | 1 | 13.977 | 14.017 | 0 | 0.04 | 8.746 | 8.707 | 0 | -0.039001
2007-28-0025.mrg | 2007-28-0025.thn | 1 | 5.205 | 3.987 | 0 | -1.218 | 7.664 | 7.613 | 0 | -0.051
2007-28-0031.mrg | 2007-28-0031.thn | 2 | 4.748 | 5.0215 | 1.405 | 0.2735 | 7.86 | 7.8555 | 0.079903 | -0.0044999
2007-28-0040.mrg | 2007-28-0040.thn | 0 | 341.471 | 0 | 0 | -341.471 | 5.937 | 0 | 0 | -5.937
2007-28-0040.mrg | 2007-28-0040.thn | 2 | 100.287 | 101.03 | 1.4213 | 0.743 | 6.586 | 6.6195 | 0.0049497 | 0.0335
2007-28-0040.mrg | 2007-28-0040.thn | 1 | 4.936 | 6.038 | 0 | 1.102 | 7.769 | 7.771 | 0 | 0.0019999
2007-28-0045.mrg | 2007-28-0045.thn | 1 | 85.175 | 84.97 | 0 | -0.205 | 4.852 | 4.8 | 0 | -0.052
2007-28-0045.mrg | 2007-28-0045.thn | 2 | 30.429 | 30.0235 | 1.405 | -0.4055 | 5.608 | 6.011 | 0.087681 | 0.403
2007-28-0045.mrg | 2007-28-0045.thn | 1 | 4.842 | 5.951 | 0 | 1.109 | 7.905 | 7.58 | 0 | -0.325
2007-28-0048.mrg | 2007-28-0048.thn | 1 | 176.951 | 177.026 | 0 | 0.074997 | 6.252 | 6.216 | 0 | -0.036
2007-28-0048.mrg | 2007-28-0048.thn | 2 | 34.885 | 34.048 | 1.4581 | -0.837 | 7.611 | 7.9995 | 0.12374 | 0.3885
2007-28-0048.mrg | 2007-28-0048.thn | 1 | 4.344 | 6.039 | 0 | 1.695 | 7.881 | 7.858 | 0 | -0.023
2007-28-0052.mrg | 2007-28-0052.thn | 2 | 98.42 | 97.543 | 0.72549 | -0.877 | 7.986 | 7.928 | 0.0098995 | -0.058
2007-28-0052.mrg | 2007-28-0052.thn | 2 | 50.734 | 50.95 | 1.4213 | 0.216 | 8.347 | 8.5155 | 0.017677 | 0.1685
2007-28-0052.mrg | 2007-28-0052.thn | 2 | 34.958 | 33.998 | 1.3478 | -0.96 | 8.714 | 8.872 | 0.022627 | 0.158
2007-28-0052.mrg | 2007-28-0052.thn | 2 | 4.344 | 5.033 | 1.3888 | 0.689 | 8.032 | 7.98 | 0.0014141 | -0.052
2007-28-0055.mrg | 2007-28-0055.thn | 1 | 114.478 | 114.985 | 0 | 0.507 | 8.237 | 8.265 | 0 | 0.028
2007-28-0055.mrg | 2007-28-0055.thn | 2 | 50.188 | 50.962 | 1.4043 | 0.774 | 8.639 | 8.6275 | 0.0063638 | -0.011499
2007-28-0055.mrg | 2007-28-0055.thn | 2 | 35.022 | 33.9925 | 1.3555 | -1.0295 | 8.655 | 8.752 | 0.0098995 | 0.097
2007-28-0055.mrg | 2007-28-0055.thn | 1 | 4.723 | 5.992 | 0 | 1.269 | 8.114 | 8.134 | 0 | 0.019999
2007-28-0058.mrg | 2007-28-0058.thn | 2 | 49.233 | 49.0045 | 1.4545 | -0.2285 | 8.601 | 8.57 | 0.0042423 | -0.031
2007-28-0058.mrg | 2007-28-0058.thn | 2 | 24.834 | 24.0035 | 1.4545 | -0.8305 | 8.644 | 8.662 | 0.0084853 | 0.018001
2007-28-0058.mrg | 2007-28-0058.thn | 2 | 4.561 | 5.001 | 1.3435 | 0.44 | 8.675 | 8.412 | 0.039598 | -0.263
Create Fit Sheet