## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

## PROCESSING NOTES

Cruise: 2007-35

Agency: Ocean Sciences Division / University of Victoria / International Polar Year

Location: North-East Pacific

Project: La Perouse / Juan de Fuca / Effingham / Neptune / Victoria Sill

Party Chief: Juhász T.

Platform: John P. Tully

Date: 13 May 2007 – 21 June 2007

Processed by: Germaine Gatien

Date of Processing: 11 September 2007 – 24 September 2007

Number of original CTD casts: 81	Number of CTD casts processed: 81

Number of bottle casts: 	44		Number of bottle casts processed: 43 (no sampling for 1 cast)

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0550) was mounted in a rosette and attached were a Wetlabs transmissometer (#953), an SBE 43 DO sensor (#1117, on the primary pump), a Seapoint Fluorometer (#2845) with a 10X cable (on the secondary pump) and an altimeter (#1252). The deck unit was an SBE 11+ model (#0424) and the data logging computer was an HP Compaq.

# SUMMARY OF QUALITY AND CONCERNS

The CTD and rosette logs were in good order.

The comparison of CTD salinity with bottles had many outliers. Most samples were from near the bottom and it has been noticed in the past that such samples frequently are not useful for salinity calibration purposes, possibly due to poor flushing of bottles near the bottom or the effects of sediment in the water. It is recommended that salinity samples be taken from Niskin bottle #1 rather than #2 when #1 is near the seabed. Some bottle stops were shorter than 30 seconds which also lowers the quality of the comparison.

The dissolved oxygen files had 3 types of errors: the names were non-standard, the flags were entered in the wrong columns and the comments were entered incorrectly in the headers.

The dissolved oxygen data in the CTD files should be considered:

- ±0.8ml/l from 0 – 50db

- ±0.4ml/l from 50 to 200db

- ±0.2ml/l below 200db

- data below 1200db are considered unreliable by the manufacturer.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension DAT.

##### Preliminary Steps

The Log Book was obtained together with rosette log sheets. A number of problems were noted including poor altimetry data, a leaky spigot, and the winch moving in the wrong direction a few times.

Salinity data were obtained in spreadsheet format.

The oxygen files were provided in individual ADD files.

The cruise summary sheet was completed.

The histories of the conductivity, DO and pressure sensors were obtained.

The calibration constants were checked for all instruments and the only error is that the pressure sensor needs an offset. For all recent uses of this instrument an offset of 1.2db was found appropriate. The file with that offset added was named 2007-35-ctd.con.

##### Conversion of Raw Data

Data were converted using the configuration files as listed above.

A few casts were examined and all expected channels are present and look reasonable when plotted, except that as noted in the log book the altimetry data is often extremely noisy. The upcast temperature and conductivity traces are much noisier and further apart than in the downcasts. In some spots the primary traces look noisier, in others the secondary. Fluorescence and DO data look fine and the transmissivity looks ok though it has some large spikes.

Rosette files were converted using a start time of -2s and duration of 5s. A ROS file was created for cast #2 but it contained no useful data as the pumps were off for all records, and the log book indicates that there was no bottle firing.

The rosette files were then converted to IOS SHELL files. Those files were copied to *.BOT. All BOT files were plotted. CTDEDIT was used to remove noisy data from two casts #8 (primary T & S) and #26 (secondary T & S). The output edited files were copied to *.BOT.

##### WILDEDIT

Program WILDEDIT was used to remove spikes from the pressure, conductivity and temperature channels only.

Parameters used were: 	Pass 1    Std Dev = 2 	Pass 2    Std Dev = 5 	Points per block = 50

##### CELLTM

Tests were run on 3 casts using settings (α = 0.02, β=7), (0.03, 7), (0.02, 9), (0.03, 9) and (0.0245, 9.5) to see what settings look best for this cruise. Several choices looked very similar, but overall (0.03, 9.0) looked best for the primary and (0.02, 9.0) for the secondary conductivity channel. CELLTM was run on all casts using those values.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate dissolved oxygen concentration and primary and secondary salinity.

on some deep casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts was plotted to check for agreement between the pairs of T and C sensors.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 1 | 425 | +0.001 | +0.0001 | ~0 | Low |
| 45 | 425 800 1200 1500 | -0.0006 -0.0007 -0.0002 -0.0002 | +0.0001 ~0 +0.00002 +0.00005 | +0.0016 +0.0012 +0.0005 +0.0008 | High, Noisy High, Noisy High, Noisy High, Noisy |
| 47 | 425 800 1200 | -0.0013 -0.0004 -0.0002 | +0.00008 +0.00005 +0.00004 | +0.002 +0.0007 +0.0007 | High, Very Noisy High, Very Noisy High, Very Noisy |
| 68 | 215 | -0.0006 | ~0 | +0.0008 | High, Noisy |

The differences are not large and there is no indication of temporal variation but there are no deep casts late in the cruise. There is no significant pressure dependence. When these sensors were used during 2007-13 (after this cruise) small shifts in temperature and salinity differences was noted around 2500db, but none of these casts went below 2000db.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers. Problems arose with cast #1 because the altimeter heading routine would not work. There was a long stop at the bottom that caused the problem. STRIP was used on the CNV files to remove the altimetry channel from that cast only. Plots indicate that the altimeter read 100 very close to the bottom and the log indicates that the CTD did not get within 100m of the bottom so no altimeter heading would be produced for this cast even if we could convert it. Conversion worked after the channel was removed.

CLEAN was run to replace pad values in the Pressure channel using linear interpolation based on scan number.

##### Checking Headers

The header check and header summary were run and no errors were found. The cruise track was plotted and no problems found.

The average surface pressure is 2.5db, which is a little low for the Tully. Examination of a few casts with low surface pressure shows “in-water” values for pressures <1db so the offset is not too large. It does not appear to be too small either since for cast #73 when the CTD is believed to have come out of the water the minimum pressure was 1db; the primary conductivity is very low but the secondary is not, so the sensors were probably in water but very close to the surface. Probably the top of the rosette broke the surface but not the sensors. The offset looks to be appropriate. The mixed-layer depth is not important for processing this data since there are no surface salinity samples.

The altimeter readings from the header were exported to a spreadsheet. The readings were checked against plots of altimetry. For many of the casts the data was rather noisy at the bottom, but the estimates look reasonable.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers taken from the rosette sheets. The ADDSAMP file was converted to CST files to be used as a framework for the bottle files. It was also used to add sample numbers to the BOT files (output: SAM). The BOT files were then bin-averaged (SAMAVG.)

The salinity spreadsheet, 2007-35sal.xls, was simplified and saved as 2007-35sal.csv. Event numbers were added and the file was converted to individual SAL files.

The dissolved oxygen files (*.add) included flag and comment channels, but they had 3 types of format errors: the names were non-standard, the flags were entered in the wrong column and the comments were entered incorrectly in the headers. These errors were corrected. One sample in each of casts #12 and 23 was flagged “d”, the value given as 0 and the comment made that there was no sample. These values were changed to -99.000 and the flag changed to “i”. For cast #44 there were two lines for one sample, presumably a first failed attempt plus a second value that matches the entry on the rosette log sheet; it is assumed the second value is good as there are no comments or flags entered. For cast 356 sample #329 was entered as 327, but there was already a sample #327 in that file. The ADD file was edited to match the rosette sheet entry.

There was no ADD file for cast #4 though the rosette log sheet indicates that DO sampling was done. There is an OXY file but it contains only the name of the file, so it is assumed that something went wrong in the analysis.

There was no chlorophyll or nutrient sampling.

The SAL and ADD files were merged with CST files in two steps. (Output: MRG1, MRG3) MRG3 was put through CLEAN to reduce the headers to File and Comment sections only (Output MRGCLN1.) That file was then merged with SAMAVG files (Output:MRG).

The MRG file for cast #2 was checked and as indicated in the log there was no bottle sampling, so it will not be processed further.

##### 11. COMPARE

Salinity

COMPARE was run with pressure as the reference channel. There were many outliers; when all data from above 175db was excluded there was a good fit with little pressure dependence that indicated the primary salinity was low by 0.0018 and the secondary low by 0.0011. There was no evidence of time dependence. The outliers were examined to see if flags should be assigned. A few of the outliers were associated with noisy CTD data. (See 2007-35-sal-comp1.xls)

Most samples were from the bottom of casts so it is not surprising that all the outliers were from bottom bottles. Nonetheless, based on observations from other cruises, there is some cause to suspect that bottom sampling leads to poor salinity comparisons. A second run of compare was made using Niskin bottle # as the reference channel. As expected all outliers were from Niskin #1. There were only 4 values from Niskin #2 and 2 from #3. (See 2007-35-sal-niskin-comp1.xls.)

Possible explanations for these differences are poor flushing of bottles, noise in the CTD, mud in bottles or strong gradients in salinity near the bottom. Examination of data does not suggest strong gradients or especially noisy CTD data. The altimetry shows that the CTD was within 10db of the bottom for most casts, but the transmissivity suggests it never actually touched bottom. However, 13 of the 17 outliers had transmissivity <40% and only 1 bottle that was not an outlier had such low transmissivity. Is it possible that a muddy bottom could affect either the CTD or the bottles without actually touching bottom? Or do bottles not flush as well at the bottom as elsewhere?

The following bottom bottles were examined in detail to determine if outliers should be assigned:

- Cast 12: CTD high by 0.08; stop was a little short but shed wake activity seemed to have settled. In order to explain the difference by poor flushing the water in the Niskin would have to be from 27db above the CTD. A shed wake did pass through but the minimum salinity in it was only 0.005 below the ambient salinity according to the CTD records. Flag “d” since there is likely a problem with sampling or analysis.

- Cast 13: CTD high by 0.04; stop was long enough for CTD to settle, but there was a shed wake early in the stop with water of salinity lower than the ambient salinity by about 0.04. So if the shed wake entered the Niskin and was not flushed out, this would explain the difference. Flag “c” since the data is not clearly bad, but may be from a different level than the CTD data.

- Cast 24: CTD high by 0.03; shed wake passed through with salinity lower than ambient by ~0.04. Stop long enough for CTD to settle down, but possible Niskin did not flush well. Flag “c” since the data is not clearly bad, but may be from a different level than the CTD data.

- Cast 25: CTD high by 0.05; stop long enough and CTD data settles down, shed wake passed through with salinity lower than ambient by ~0.04. Flag “c” since the data is not clearly bad, but may be from a different level than the CTD data.

- Cast 32: CTD high by 0.017; stop was short and shed wakes were clearly affecting the CTD at the time the bottle closed. The CTD data is likely the problem so no flag was assigned to the bottle salinity.

- Cast 55: CTD high by 0.015; stop very short, CTD data probably ok but there were several shed wakes passing through with salinity lower than ambient by up to 0.02. Flag “c” since the data is not clearly bad, but may be from a different level than the CTD data.

- Cast 56: CTD high by 0.014; stop short and data had not settled. Salinity low enough to explain difference is found within 10db so shed wake affecting bottle and not CTD could explain difference. Flag “c” since the data is not clearly bad, but may be affected by shed wake so from a different level than the CTD data.

Whatever the cause of these poor comparisons, it is recommended that salinity sampling not be done very close to the seabed. Using Niskin #2 is likely more useful when Niskin #1 is very close to the seabed.

Dissolved Oxygen

COMPARE was run using pressure as the reference variable. The best fit is against CTD DO values. When 16 outliers are excluded the fit was:

CTD-BOT = 1.0522 * DOX-CTD - 0.050

The results for the cruises that preceded and followed this were:

CTD-BOT = 1.0274 * DOX-CTD + 0.023 (2007-26)

CTD-BOT = 1.0838 * DOX-CTD + 0.060 (2007-13)

Because there were anoxic conditions encountered in Effingham Inlet, the casts were broken down into sections to see if there was any clear effect on the DO sensor. There is variability but it does not appear to be related to anoxia. There were groups of casts with a maximum DO value of 4 or 5 and others with no DO<2. Fits done to groups of casts show little variation except that for casts 6 to 15 which occurred before anoxic water was sampled; that group included many casts with no low DO values and a few with no high DO values. The slope of the fits is intermediate between the cruises that occurred before and after this one, but the offset is of a different sign and looks more like 2006-35 when low DO was sampled. A plot of differences against file pair number is very noisy, but again shows no obvious sign of temporal variation. (See 2007-35-dox-comp1.xls.)

A second run of COMPARE was done using Niskin bottle # as reference channel to see if there was any sign of trouble with any bottle, and there was a lot of scatter and no evidence of one bottle being any worse than the others.

None of the outliers were so extreme as to justify inclusion of a “d” flag. The outliers were examined and most did not show as significant outliers in DO vs Salinity plots or were very near the surface. Outliers were flagged “c” if the DO differed from the CTD DO by at least 0.9ml/l and were also outliers in plots of DO versus CTD salinity:

Sample #65 (cast #16)

Sample #166 (cast #32)

Sample #256 (cast #46)

Samples #278 – 281 (cast #48)

A note was put in the header to indicate why they had been flagged.

##### 12. SHIFT

Fluorescence

To find what shift is needed for the fluorescence, upcast and downcast profiles were examined to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets are treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the averaged descent/ascent rate and divided by 2(since the shift will be applied to both up and downcast) to find the shift (in seconds) to remove that offset. Values ranged from 0.5 to 1.5s. For most cruises a shift of +24 records (1s) has been found to be appropriate. SHIFT was run using +24records.

Conductivity

Tests were run on 4 casts with few or no stops for bottles using a range of shifts, and T-S plots were prepared to compare the results. A setting of +0.6s worked best for the primary conductivity and -0.7s looked best for the secondary. When these sensors were used during 2007-13 the same settings were found to be best. All casts were put through two runs of SHIFT using the settings of +0.6 and -0.7s.

Dissolved Oxygen

Tests were run on a few casts to determine the best SHIFT value to apply to the Dissolved Oxygen channel. This was judged by how the vertical offset between downcast and upcast traces compares with that of the temperature. Because there is an offset in values between upcast and downcast due to the time response, alignment will not produce traces that overlie each other exactly. Values from +120 to +150 were tried and the best overall match of features was with a choice of +130 records. For other cruises in the past year the choices were +90, +90, +110, +120 and +130 records with a gradual trend to higher values. SHIFT was run using +130 records.

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min	Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range:  10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: There were warnings about 2 casts.

13. The warning pertains to upcast data only, so is not a problem.

14. There was bad pressure data during the soak period before the pumps were turned on, so the first 2273 records were removed from the CLN file, the 4 runs of SHIFT were redone and DELETE was rerun.

##### DETAILED EDITING

The secondary salinity is closer to the bottles and was chosen for other recent cruises using these sensors. During 2007-13 which followed this cruise, the primary salinity showed some odd shifts in values and the secondary sensors provided smoother data through those shifts. So the secondary sensors were selected for archiving.

Graphical editing was done using program CTDEDIT. On-screen plots of descent rate and pump status were also used. For cast #2 some initial records were removed from the SHFO file using a text editor and then DELETE was rerun; this was to ensure that DELETE chose the best data.

All casts required some editing. Cast #48 had bad data from 1291 to 1391db in both downcast and upcast and both primary and conductivity sensors.

Note was made of the editing details in the headers of the relevant files.

##### Initial Recalibration

The secondary salinity is lower than the bottles by about ±0.001 so no recalibration will be applied..

File 2007-35-recal1.ccf was prepared to apply the following equation to the dissolved oxygen sample:

CTD-BOT = 1.0522 * DOX-CTD - 0.05

This correction was first applied to the rosette and chemistry files and then COMPARE was rerun to check that the results were as expected and they were. The downcast files were recalibrated. (See 2007-35-sal-comp2.xls and 2007-35-dox-comp2.xls.)

##### Special Fluorometer Processing

The COR1 files were clipped to 100db and processed separately for A. Peña. (Output: CLIP)

A median filter, fixed size=11, was applied to the fluorescence channel in the COR files to reduce spikiness. One cast was examined before and after this step and showed that the filter was effective.

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure		Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no further editing was deemed necessary.

##### Other Comparisons

Previous experience with these sensors –

1. Salinity:

Both sensor pairs were used on 2007-11, 2007-26, 2007-13 and 2007-14. The first two cruises had sampling problems (short and shallow stops) and the latter two had pump problems that definitely affected the primary sensors and other problems may have affected the secondary. The primary salinity was found to be low by 0.0015, <0.001, 0.007 and 0.006 and the secondary low by 0.0004, <0.001, 0.004 and 0.004.

2. Dissolved Oxygen: This sensor has been used many times since the last recalibration. During cruise 2006-35 there were some hypoxic effects on the calibration and during 2007-11 and 2007-26 the sampling was all fairly shallow and many stops were very short. The slopes and offsets in the linear fit used for those 3 cruises in date order were (0.9893/-0.0142), (1.0101/+0.1109) and (1.0274/0.023). Those cruises were all before this one. For the two cruises that followed this one the fits, 2007-13 and 2007-14, were (1.0838/+0.0601) and 1.0821/0.0293).

3. Pressure: The pressure sensor has shown slow drift over the past 5 years with an offset of +1.2db applied over the past year.

Historic ranges –  Profile plots were made with historic ranges of T and S superimposed. The salinity was a little low at the bottom of the mixed layer for a few of the off-shore casts and a little high for some of the Juan de Fuca casts. These do not look indicative of calibration problems since the excursions are to both the high and low side. The temperature was a little below the historic minima between 200 and 500db for a few casts just offshore of the 100m contour. These excursions correspond to salinity near the bottom of the historic range and all occur at values of about 4.5 to 5˚C and salinity ~34. The T-S curves are stable but there is a lot of structure suggesting active mixing. Again, this does not look a problem with calibration.

Repeat Casts – There were no repeat casts.

##### Final Calibration of DO

SHIFT corrects for the error in DO alignment with temperature due to transit time. The first recalibration corrects for the calibration drift in the sensor. A further correction is needed for the downcast data only, to allow for the “in-motion” error due to poor sensor time response. To check for this downcast data is compared with upcast bottles.

Files were bin-averaged to 0.5m bins for the casts with DO bottle samples. Those files were then thinned to the usual levels for bottles and compared to the bottle values in the MRG files. COMPARE was used to study the differences between the downcast CTD DO data and the upcast bottles. When obvious outliers are excluded plus outliers identified by residuals, it was found that the differences were not really flat when plotted against either CTD DO value or pressure. The trendline was:

DOX_BOT = 0.9855 * DOX_CTD – 0.1308

That was used to recalibrate the thinned files using 2007-35-recal2.ccf. COMPARE was rerun and the results show that the recalibration was appropriate.  (See 2007-35-dox-comp3.xls and 2007-35-dox-comp4.xls.)

The second recalibration was applied to the downcast files only using 2007-35-recal2.ccf.

The clipped files were recalibrated. One set was then bin-averaged (0.25db bins), put through REMOVE and HEADEDIT and named as *.FCTD1 and saved for Angelica Peña. A second set, *.FCTD2, were filtered before bin-averaging. A readme.doc file was prepared with some notes on the preparation of those files. There was no CHL sampling so no bottle files were prepared.

##### FINAL CTD files steps (REMOVE and HEADEDIT)

The following channels were removed from all casts: Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Altimeter, Status:Pump, Descent_Rate and Flag.

A second SBE DO channel was added and the channels reordered to put the two SBE DO channels together.

Profile plots were made. The were a few spikes in transmissivity at depth but no large sections of bad data. The transmissivity data were not edited.

HEADER EDIT was used to fix formats and channel names, to change the geographic area and to add the following comments:

Transmissivity and fluorescence are nominal and unedited except that

some records were removed in editing temperature and salinity.

The dissolved oxygen data in the CTD files should be considered

  - ±0.8ml/l from 0 – 50db

  - ±0.4ml/l from 50 to 200db

  - ±0.2ml/l below 200db

  - data below 1200db are considered unreliable by the manufacturer.

The Standards Check routine was run and no problems were found. The final files were named CTD.

As a final check of dissolved oxygen data % saturation was calculated and plotted. The near-surface values ranged from 60% to 160% with the highest values found at the entrance to Effingham Inlet and the lowest values in Effingham and in Juan de Fuca Strait. Most values were within 90 and 120%. Where the saturation values were highest, surface DO samples are in agreement with the CTD dissolved oxygen values. For cast #14 at station EFF01 the DO values vary a lot between downcast and upcast, but the upcast CTD DO agrees with the bottle values and most of the variables show a similar difference between upcast and downcast.

##### Final Bottle Files

The MRGCOR1 files were put through SORT to order on increasing pressure. REMOVE was run to remove Scan_Number, Temperature:Primary, Salinity:T0:C0, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Status:Pump, Descent_Rate, Altimeter and Flag.

A second SBE DO channel was added with different units. Then the files were reordered to put the two SBE DO channels together.

HEADER EDIT was run to fix formats and units and to add a comment about quality flags and analysis methods.

Standards check was run on all files and HEADEDIT adjusted until all format problems were resolved.

(Output: CHE)

##### Producing final files

A cross-reference listing was produced for CTD and CHE files.

The sensor history was updated.

Particulars:

2.   tests for IPY – rosette fired but only one closed – no sampling

14. Altimeter noisy in Effingham Inlet

16. Bottom bottles anoxic?

19. Anoxic at bottom

21. Problem with NMEA data – cast restarted and overwrote previous one

25. Niskin #2 has leaking spigot

26. Niskin #2 spigot did not leak

33. Deep salinity sample

35. Date came up wrong, restarted

46. Altimeter did not work.

47. No altimeter reading at 20m above bottom

48. At bottom winch went down instead of up – distance off bottom =2m. Both temperature and salinity channels were full of spikes from 1291-1391db of downcast and through much of the upcast.

49. Altimeter did not work

50-51. Altimeter worked near bottom

55. Winch creeping

59. Big swell

62. Big wire angle

73. CTD came out of water at beginning, no restart

# Institute of Ocean Sciences

# CRUISE SUMMARY

| Cruise ID#: 2007-35 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Dates: Start: 13 May 2007 End: 21 May 2007 |  |  |  |  |  |  |
| Location: N.E. Pacific |  |  |  |  |  |  |
| Vessel: John P. Tully Party Chief: Juhász T. |  |  |  |  |  |  |
| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |  |
| 1 | SEABIRD | 911+ | 0550 | Yes | Yes |  |

CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/0443        Cruise ID#:		2007-35

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2968 | 23Dec06 | Factory “ |  |  |
| Conductivity | 1766 | 23Dec06 | “ |  |  |
| Secondary Temp. | 2374 | 21Dec06 | “ |  |  |
| Secondary Cond. | 1729 | 23Dec06 | “ |  |  |
| Transmissometer | 953DR | 23April07 | IOS |  |  |
| SBE 43 DO sensor | 1117 | 17/Oct/2006 | Factory |  |  |
| Fluorometer | 2845 |  | IOS |  |  |
| Pressure Sensor | 75636 | 04/Jun/1999 | Factory |  |  |
| Altimeter | 1252 | ? | ? |  |  |