File List for SeaBird Data

Cruise Number: _2007-43____

[osapcommon\cruise_data\2007-43\ARCHIVE]

[osapcommon\cruise_data\2007-43\ARCHIVE\Bottle] *.CHE

[osapcommon\cruise_data\2007-43\ARCHIVE\CTD] *.CTD

[osapcommon\cruise_data\2007-43\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osapcommon\cruise_data\2007-43\ARCHIVE\DOC\HYDRO] COMPARE files and edited versions of    spreadsheets from analysts

[osapcommon\cruise_data\2007-43\PROCESSING\CONVERT]

*.CNV – after conversion

[osapcommon\cruise_data\2007-43\PROCESSING\DERIVE]

*.CNV – after conversion, wildedit, celltm, derive

[osapcommon\cruise_data\2007-43\PROCESSING\DOC]

2007-43-recal1.ccf – calibration control file for recalibration of DO

2007-43-recal2.ccf – calibration control file for 2nd recalibration of DO

2007-43-ctd.con – configuration file used for all casts

2007-43-intercomp-final.csv & xls – comparison of SBE19 and SBE911+

2007-43_file.doc - this document

2007-43_proc.doc - processing notes

2007-43-final-ctd.rpt – CTD file header check including channel summary

2007-43-final-che.rpt – CHE file header check including channel summary

*hdr.txt – header files with comments for CTD and CHE files

[osapcommon\cruise_data\2007-43\PROCESSING\DOC\HYDRO]

2007-43-loop-sal.csv – loop data from TSG.

2007-43nuts.csv – edited version of the nutrient spreadsheet

2007-43-sal.csv – edited version of salinity spreadsheet

2007-43-dox-comp1.csv & .xls – initial comparison of titrated DO and CTD DO

2007-43-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2007-43-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2007-43-dox-comp4.csv & .xls – comparison of titrated DO and CTD DO after final recal

2007-43-sal-comp1.csv & xls – initial salinity COMPARE file

addsamp.csv – file containing cast #, bottle number and sample number

[osapcommon\cruise_data\2007-43\PROCESSING\HYDRO]

*.add – bottle from analyst, converted, edited, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll files converted from analyst’s spreadsheet

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nut – nutrient files converted from analyst’s spreadsheet

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osapcommon\cruise_data\2007-43\PROCESSING\IOS]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE downcast only

*.delrev – after REVERSE and DELETE to create upcast file for cast #13 only

*.edt - data after editing has been done (EDT file prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

*.rev – upcast file for cast #13

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2007-43\RAW]

[osapcommon\cruise_data\2007-43\RAW\CHL] spreadsheet from analyst

[osapcommon\cruise_data\2007-43\RAW\CTD] spreadsheet from analyst

[osapcommon\cruise_data\2007-43\RAW\NUTRIENTS] spreadsheet from analyst

[osapcommon\cruise_data\2007-43\RAW\OXYGEN] raw and processed oxygen files from analyst

[osapcommon\cruise_data\2007-43\RAW\Salinity] spreadsheet from analyst