## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| ### 23 Nov 2021 | ### Corrected Salinity:Bottle lost during addition of HPLC. S.H. |
| ### 5 Jan 2021 | ### Added HPLC Data. S.H. |
| 27 May 2010 | An error was found in the calibration parameters used in processing this cruise. It is estimated that pressure is low by <0.5db, so no correction was applied. For details see file “Report on Calibration Errors for Pressure Sensor #77511, CTD 0585 “ in Osd_Date_Archive\Cruise_Data\DOCUMENTS |
| 31 May 2008 | Recalibrated CTD and Bottle files based on post-cruise calibration; see note at end of report. |

## NOTE: File 2007-43-9013.ctd contains upcast data for event #13.

## PROCESSING NOTES

Cruise: 2007-43

Agency: IOS, Ocean Sciences Division, Sidney, BC

Location: Strait of Georgia, Juan de Fuca Strait

Project: SoG – JdF

Party Chief: Masson D

Platform: Vector

Date: June 4, 2007 – June 9, 2007

Processed by: Germaine Gatien

Date of Processing: 28 August 2007 – 25 October 2007

Number of original CTD casts: 74 (Includes 1 test cast)

Number of CTD casts processed: 73 plus upcast for 1 station (Test cast not processed)

Number of original rosette casts: 23

Number of rosette casts processed: 21 (No sampling from 2 casts)

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0585) was mounted with a Chelsea/Seatech transmissometer (#723DR), a PAR sensor (#4615) and an Altimeter (#1233). A SeaBird dissolved oxygen sensor (#1176) and a Seapoint Fluorometer (#2356) with a 10X cable were mounted on the pumps. The deck unit was an SBE model 911 s/n 0619. The data logging computer was an HQ COMPAQ. The salinometer was an 8400B model Autosal (S/N 68572). There were 24 20L calibration bottles mounted 1.4m above the CTD.

# SUMMARY OF QUALITY AND CONCERNS

The CTD log book included some notes describing the length of stops which is helpful. Most stops were short, ~10s, and in one case there were no stops because the ship was drifting significantly. For a few casts the stops lasted 30s.

FILE 2007-43-9013.CTD: The pumps were turned on late for cast #13 so that the top 28m are missing from the downcast file. To provide data for the top 28db a file containing upcast data was also prepared and given event # 9013 to distinguish it from the downcast data file.

The quality of the bottle comparisons is limited by several factors. The casts are relatively shallow and the vertical gradients and temporal variability high in this region; moreover, the stops for bottles were often too short for shed wake activity to dissipate. Those conditions would also mean that the DO sensors would often not have had sufficient time to equilibrate. There was also no useful calibration information for other cruises using the same sensors. Recalibration was applied to salinity and dissolved oxygen, but that step should be revisited when more information about these sensors becomes available, either through use on another cruise or after the next factory recalibration.

The surface oxygen saturation (from the DO sensor on the CTD) was very high in Saanich Inlet and in the northern end of the Strait of Georgia (~120% to 150%). High values were found during both the downcasts and upcasts and a bottle confirms the values in Saanich Inlet, so this is assumed to due to intense biological activity.

The dissolved oxygen data in most of the Strait of Georgia have local maxima in the 75 to 150db region. The nutrients and dissolved oxygen versus salinity plots both show unusual features at those depths. Wendy Richardson reported irregular peak shapes for all nutrients for cast #52.

The SBE dissolved oxygen data in the CTD files should be considered roughly:

•	±1.0ml/l from    0 -  20m

•	±0.6ml/l from   20 -  50m

•	±0.4ml/l from   50 - 150m

•	±0.2ml/l below 150m

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension DAT. The raw file names were not in standard format so had to be renamed. Files from 4 casts were initially missing but were later found on a shipboard computer.

##### Preliminary Steps

The Daily Log Book and Rosette Log were obtained. Note was made of a few problems described in the logs including a few errors in station names. There was a test cast during which the CTD pressure was found to be 0.29db on deck. The differences between the temperature and salinity channel pairs were both ~0.002 in the mixed region.

Individual dissolved oxygen bottle files were obtained; flag channels and comments were included but the format was wrong for the quality flags.

The nutrient, chlorophyll and salinity data were each obtained in spreadsheet format. Each spreadsheet was edited to remove information not needed for the chemistry files.

The cruise summary sheet was completed.

The histories of the conductivity, DO and pressure sensors were obtained.

The CTD calibrations were checked, the offset was corrected in the pressure channel and the file was saved as 2007-43-CTD.con.

##### Conversion of Raw Data

The files were converted to CNV files. Plots were made of a few files and indicate that temperature and conductivity channels are close during downcasts, but are frequently quite different during upcasts due to a lot of noise in all channels. The fluorescence seems noisier than usual and the dark values quite high (~0.095) as has been noted before for this particular sensor. For some casts in Haro Strait the values are high at depth, but this could be real. PAR, Transmissivity and dissolved oxygen look as usual, with the usual hysteresis in the DO channel. The SPAR channel appears to have no data, so presumably was not actually mounted. It is not mentioned in the log book and there is no serial number in the configuration file. The files were reconverted without that channel. The altimetry looks reliable in the bottom 30db.

The descent rate was very steady for many casts, but noisy for a few casts in Juan de Fuca Strait.

Bottle stops were often quite short; some lasted 30s (63 and 65) but most were much shorter.

Cast #13 provides some evidence about the pressure calibration. The CTD came to the surface and stopped at about 0.5db. The pumps were turned on. The salinity has clear “in-water” values and then goes down suddenly and returns to higher values. The two temperature values are quite different at the end of the file. This is consistent with being very close to the surface, so the pressure looks fine.

Rosette files were converted using a start time of -2s and duration of 5s.

The station names for casts #2 and 3 were corrected in the CNV and ROS files (originally given as 58 and 59, should be 59 and 60).

All files were then converted to IOS HEADER format. The time, latitude and longitude were scrambled in the file for cast #65, so a text editor was used to fix them and reconvert the file. The event numbers were missing in some headers so CLEAN was run to add those and produce BOT files. All BOT files were plotted and no significant outliers were found.

##### WILDEDIT

Program WILDEDIT was used to remove spikes from the pressure, temperature and conductivity channels only.

Parameters used were: 	Pass 1    Std Dev = 2	Pass 2    Std Dev = 5 	Points per block = 50

##### CELLTM

Two of the deeper casts with a very steady descent rate were studied to determine the choice of parameters for CELLTM. Settings of (0.01, 7), (0.01, 9), (0.02, 7), (0.02, 9), (0.03, 7), (0.03, 9) and (0.0245, 9.5) were tried. A choice of (0.03, 9) was best for both conductivity sensors, though (0.0245, 9.5) was close for the primary. CELLTM was run using (0.03, 9) for both channels.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity.

on all casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts was plotted to check for agreement between the pairs of T and C sensors.

| Cast # | Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 32 | 310 | ~0.0005 | ~-0.0004 | ~-0.0008 | High, very steady |
| 50 | 350 | ~0.0008 | ~0 | ~-0.0005 | High, very steady |
| 58 | 315 | ~0.0003 | ~0 | ~-0.0006 | High, very steady |
| 73 | 325 | ~0.0005 | ~0.0001 | ~-0.0015 | High, very steady |

Though not large, the differences in temperature and salinity were very noisy with many large spikes. The differences in conductivity were also noisy, but not as bad as in temperature. When the primary and secondary were plotted together it is clear that the secondary is noisier than the primary during downcasts. In areas of high temperature gradient, the secondary temperature seems slower to react; eventually the two sensors have similar readings, but in the gradient they are further apart. During upcasts the differences are larger. There was no significant pressure dependence in the salinity differences, but none of the casts are very deep.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ CNV files to IOS Headers.

CLEAN was run to replace pad values in the Pressure channel using linear interpolation based on scan number.

##### Checking Headers

A header check was run and no problems were noted. The header summary was checked against the log book entries and no errors were found. The date in the header differed from that in the log book for the last cast, but the log is clearly wrong. Track plots were produced and added to the end of this report.

The average surface pressure is ~2.8db which is a little high for the Vector. The pressure offset used at sea would have made it look like 1.8db which is closer to the level at which the CTD is usually turned on. No adjustment will be made to the pressure.

The altimeter values were exported to a spreadsheet; a few casts were examined and the algorithm was found to have worked well.

##### BOTTLE FILE PREPARATION

The BOT files were averaged to enable an addsamp file to be created. This file was edited to add sample numbers taken from the rosette sheets. There were inconsistencies between the data files, CTD Daily Log records and the rosette log sheets. The salinity samples are consistent with the rosette log.

- There was a single bottle fired during cast #37 – the rosette sheets indicate that no sample # was assigned for that bottle, but the Daily Log Book says #120 was assigned. That number was used during cast #39 according to the rosette sheet and from the oxygen file and nutrient file. There were no salinity or chlorophyll samples numbered as #120. The rosette sheet is taken as correct. No chemistry file will be prepared for cast #37.

- For cast #39 the Daily Log Book shows sample #s 121 through 127 whereas the rosette sheets give #116 through 127. The rosette sheet is taken as correct.

- For cast #48 the Daily Log Book and the rosette log sheet both indicate that Niskin #15 did not fire; the file shows that it did fire at the planned depth. Probably the note should say that it did not close. There are no samples from that bottle.

- For cast #50 a rosette file was produced but there was no sampling. No chemistry file will be produced for that cast.

The ADDSAMP file was then converted to CST files to form the framework for the bottle files. Sample numbers were added to the BOT files (output: SAM) which were then bin-averaged (SAMAVG) on bottle number.

The salinity data was provided in EXCEL format with a comment and flag channel. There were two casts for which the only bottle had broken. Those lines were removed from the spreadsheet. Channel names were changed to standard format and the file was saved as 2007-43-sal.csv. The files were converted to individual SAL files.

The extracted chlorophyll data was in spreadsheet format and included a flag channel and comments. The spreadsheet was edited by changing channel names, adding an event number for each sample and adding “Extracted Chlorophyll:” before each of the comments. The resulting file is 2007-43-chl.csv. That spreadsheet was converted to individual files. The following comments from the analysis sheet were added to the comments that will later be added to the headers of the bottle files: “Average of two samples is reported unless stated otherwise. Variability is assessed as the % (std dev/mean*100).” (Output: CHL)

The dissolved oxygen data were received in individual files with flag channel and comments. The flagged values had format errors; those were fixed.

The nutrient data were provided in spreadsheet format with flag channel and comments. Channel names were changed to standard format, data was reordered on increasing sample number, comments amended by the addition of “Nutrients:” and the file was saved as 2007-43nuts.csv. The data were converted to individual NUT files.

The SAL, CHL, ADD and NUTS files were merged with the CST files in four steps. (Output: MRG1, MRG2, MRG3, MRG4.)

The MRG4 files were then merged with SAMAVG files (MRG) and then put through CLEAN to remove SeaBird headers and comments from the secondary files. (MRGCLN)

##### 11. COMPARE

Salinity

COMPARE was run. The only bottles from casts #13 and 25 were not analyzed because the bottles broke, so they were removed from the list of casts for the comparison. There is a lot of scatter in the results for both pairs of sensors. The stops were quite short for many of the casts (there were no stops for #68) and there is little deep sampling. When the differences were plotted against pressure there were 8 obvious outliers. One outlier is clearly a bad bottle as the salinity is unreasonably low for 175db. 4 are from near the surface in high salinity gradients and 3 from bottles fired with little or no stop or a lot of vertical motion during the stop as evidenced by high standard deviations in the CTD salinity. With those points excluded both salinity channels are low by an average of ~0.0045 but the trendlines are not flat. To achieve flat trendlines points were gradually excluded until there only 5 left which were all from below 250db. Using just those points the trendline is flat but the average differences were almost exactly the same -0.0043 for the primary and -0.0048 for the secondary. There were two deep casts (63 & 65) with 30s stops during which there was no vertical drifting of the CTD; for those two casts the primary was low by 0.0038 and the secondary by 0.0048. The average standard deviations are higher in the secondary salinity probably due to the fine-scale noise observed in the traces.

There is little difference in pressure dependence between the two channels and there is no obvious time dependence in either.

Sample #104 from cast #30, Niskin #3 was flagged “d” as a severe outlier in COMPARE and an extremely low value for 175db. The other outliers are not likely to be due to problems in analysis, but rather, short bottle stops so the water in the bottle does not match the CTD at the time of bottle firing or being from a high-gradient region.

Dissolved Oxygen

COMPARE was run. Plotting the differences versus CTD and excluding outliers, the fit was:

DOX_BOT = 1.0351 * DOX_CTD + 0.0098

This was the first data processed using this sensor so we have nothing to compare this with. The bottle stops were short except for casts #63 and 65 so the fit is not strictly a calibration fit because the DO sensor may not have equilibrated fully when the sample was taken.

The following significant outliers were identified:

Cast #19, Sample 79, flagged “c” by analyst, severe outlier in COMPARE changed to “d”.

Cast #30, Sample 102, significant outlier in COMPARE and differs significantly from bottle               10db above it, flagged “c”.

Cast #39, Sample 127, flagged “c” by analyst, severe outlier in COMPARE changed to “d”.

Cast #68, Sample 272, severe outlier in COMPARE and in DO profile and plot of DO vs salinity, flagged “d”.

It was discovered later that cast #1 had not been included in the comparison, so the data from that cast was examined carefully. One of the two DO samples is in good agreement with the CTD but the other proved to be an extreme outlier. The full data file was examined and both the upcast and downcast CTD dissolved oxygen values are much lower than the sample value, so it was flagged “d”.

The fit versus time shows no significant temporal drift when the same outliers are excluded as for the other fits.

Plots were made of Dissolved Oxygen bottle data versus CTD salinity and Bottle salinity; some unusual features were noted with local DO maxima between 75db and 200db for many casts in the Strait of Georgia. These are not considered indicative of instrument malfunction since similar features are seen in the nutrients.

Fluorescence versus Extracted Chlorophyll

COMPARE was run for a quick check on the data. When all data is included the fluorescence is about 85% of the titrated chlorophyll and when only samples with CHL<1 were plotted the fluorescence and extracted chlorophyll are very close.

##### Other Comparisons

Previous experience with these sensors –

- Both conductivity sensors were used for 2007-24 but there was no calibration sampling for that cruise. The primary sensors were selected for archiving for most casts. The secondary sensors were also used for 2007-01 when the salinity was found to be high by 0.005 but it is believed that problems with the Autosal account for much of the difference and that it was really only high by 0.0004.

- The DO sensor is new and no data has been processed from any other cruise using it.

- The pressure sensor has been used often. An offset of +0.4db has been applied since June 2006.

Historic ranges – There are minor excursions from the historic ranges with salinity a little high at 60db in one case and a little low at the surface for 10 casts in the Strait of Georgia. Temperatures were high at the surface for a few casts and at depth for 1 cast. These excursions are not considered indicative of instrument calibration problems.

##### 13. SHIFT

Conductivity

Tests were run on a few casts with a steady descent rate to determine the best shift of the conductivity sensors based on reduction of instabilities in salinity without oversmoothing. The best settings proved to be +0.3. The secondary conductivity looks best with a setting of +0.7s.

SHIFT was run using +0.3 and +0.7s for the primary and secondary conductivity channels.

Dissolved Oxygen

Tests were run using settings from +40 to +140 records on 4 casts. Judging by how the downcast vs upcast trace offset compares with that of temperature, the best choice overall appears to be to advance the DO channel by +120 records (5s).

Fluorescence

The method generally used to find what shift is needed for the fluorescence is to examine upcast and downcast profiles to determine the vertical offset of the temperature and fluorescence traces. The differences between these two offsets are treated as a measure of how much the fluorescence needs to be shifted. The “excess” offset for the fluorescence was divided by the averaged descent/ascent rate and divided by 2(since the shift will be applied to both up and downcast) to find the shift (in seconds) to remove that offset. For this cruise the fluorescence is unusually noisy and it is impossible to make this estimate with any confidence. The vertical offset seems larger than usual. There is also some suggestion that at least one pump might not have been working well especially during the upcasts. The value that has been used for almost all cruises in recent years is +24 records, but occasionally +36 has been used.

All data were shifted by +24 records and a few casts were checked afterwards and the results seem reasonable. (Output: SHFFL)

##### DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min	Maximum Surface Pressure (relative): 10.00

Surface Pressure Tolerance: 1.0                  	Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates <   0.30m/s (calculated over 11 points) will be deleted.

Drop rate applies in the range 10db to 10db less than the maximum pressure

Sample interval = 0.042 seconds. (taken from header)

COMMENTS ON WARNINGS: none

CHECK ON CAST #2 – During the downcast the CTD was lowered to about 182db then raised to 157db after which it was lowered to the bottom. DELETE selected the data from the initial section to 181db and patched that to the section from 181db to the bottom. An alternative would be to select data from the surface to just above 157db and patch that to the section from 157db to the bottom. Looking at the temperature and salinity data there seems nothing to suggest that one approach is better than the other. There is no note in the log about why the CTD was moved up, the pumps were on throughout and the altimeter was working well at that point. It seems likely the reversal was done to correct a winch or cable problem, in which case it does not matter which section of data is chosen for 157db to 182db.

##### DETAILED EDITING

Based on the bottle calibration data the primary sensors look slightly better than the secondary. Looking at a few casts in detail shows that the secondary has a lot of fine-scale noise and some small unstable features that are not seen in the primary. Primary channels were selected for editing and eventual archiving.

CTDEDIT was used to clean salinity.  On-screen plots of descent rate and pump status were used to aid in distinguishing real variability from instrumental noise.

Cast #13 was prepared in two different ways because the pumps were not turned on until the CTD was at 28.3db. A downcast file was edited by removing the top 28.3db of data. An upcast file was also prepared so that the full profile would be available, but the quality is lower than downcast data.

The following casts required no editing: 5, 61.

The following casts required fairly heavy editing: 6-8, 19, 23-24.

All other casts required only lightly editing.

Note was made of the editing details in the headers of the relevant files.

##### Initial Recalibration and Fluorescence Filter

From section 11 we have the following equation for recalibration of DOX:

DOX_BOT = 1.0351 * DOX_CTD + 0.0098

File 2007-43-recal1.ccf was prepared to apply the above correction to the DO channel and to add 0.004 to the Salinity:Primary channel in the SAM and MRG files. COMPARE was rerun for salinity and using the same points the average difference was -0.0003 so the recalibration was effective. COMPARE was rerun for dissolved oxygen and the fit is flat indicating that the recalibration worked properly. (See 2007-43-dox-comp2.xls.)

The edited downcast files, EDT, were recalibrated using 2007-43-recal1.ccf. (Output:COR1)

The COR1 files were clipped to 150db and set aside to be processed later for Angelica Peña. A median filter, fixed size=11, was applied to the fluorescence channel in the COR1 files to reduce spikiness. One cast was examined before and after this step and showed that the filter was effective. (Output: FIL)

##### BIN AVERAGE of CTD files

The following Bin Average values were applied to the FIL files (output AVG):

Bin channel = pressure

Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

After averaging, page plots were examined on screen and no further editing was deemed necessary.

##### Final DO comparison and calibration

SHIFT addresses errors due to transit time. Usually the comparison with titrated samples allows a correction for drift in calibration, leaving an error due to poor time response of the sensor. To analyze that, a comparison is made between the downcast values at the depths of bottles and the titrated DO values. For this cruise because the bottles were fired very quickly after stopping in many cases, the first recalibration probably corrects for some of the response time error as well as calibration drift, with shed wake corruption complicating the issue. The 2nd fit of downcast vs upcast bottles was run, but the results are not considered as reliable as when bottle stops are longer.

The FIL files were bin-averaged (0.25db bins) & thinned to the usual bottle levels. Then CTD DO values were compared with the upcast bottle DO values. Plots were made of differences against pressure and DOX, and outliers were excluded. A simple offset is often found to be appropriate at this stage, but was not for this data in which there was significant variation both with pressure and with DO value. This may be because some stops were quite short making errors higher near the surface where the gradients are higher. (See 2007-43-dox-comp3.xls.) File 2007-43-recal2.ccf was used to apply the following correction to the thinned files:

CTD_DOX (Corrected) = CTD_DOX + 0.0004 *Pressure - 0.1206

COMPARE was rerun and the results indicate the above recalibration was effective. (See 2007-43-dox-comp4.xls.)

File 2007-43-recal2.ccf was then applied to the AVG files, but not to the bottle files since this error does not apply to data collected while stopped. (Output: COR2)

##### Special Fluorometer Processing

The CLIP files with data from the surface to 150db were recalibrated using 2007-43-recal2.ccf.

Those files were then bin-averaged (1/4db bins), recalibrated suing 2007-43-recal2.ccf and put through REMOVE to remove extraneous channels. HEADEDIT was run to fix formats and channel names and the final files (FCTD1) were saved in a separate directory.

A second set of files (FCTD2) were prepared in exactly the same way except that the fluorescence data was put through a median filter with fixed width 11, before bin-averaging.

The recalibrated CTD bottle files (SAMCOR1) were put through REMOVE and HEADEDIT and saved as BOF files in a separate directory.

##### FINAL CTD files steps (REMOVE and HEADEDIT)

For all casts the following channels were removed from the COR2 files: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Oxygen:Voltage:SBE, Descent_Rate, Status:Pump, Altimeter and Flag channels. (Output: *.REM)

CHANGE UNITS was used to derive Oxygen:Dissolved:SBE in umol/kg.

REORDER was used to get the two SBE DO channels together.

HEADER EDIT was used to fix formats and channel names, fix the platform name in the headers and to add the following comments:

Transmissivity and fluorescence are nominal and unedited except that

some records were removed in editing temperature and salinity.

The SBE dissolved oxygen data in the CTD files should be considered

•	±  1ml/l from    0 -  20m

•	±0.6ml/l from   20 -  50m

•	±0.4ml/l from   50 - 150m

•	±0.2ml/l below 150m

The Standards Check routine was run and HEADEDIT adjusted until no further problems were found. The files were named CTD.

A final check on the dissolved oxygen values was done by calculating DO saturation. Plots show surface values ranged from ~60% to 150% with the highest values in Saanich Inlet and casts 68 to 72 in the northern end of the Strait of Georgia. The lowest values were in Juan de Fuca Strait. For Saanich Inlet a surface bottle confirms that the dissolved oxygen values are ok, and where high DO values are seen in downcasts they are also high in upcasts; so the high saturation values are assumed to be due to intense biological activity.

As a final check on the files a track plot, cross-reference listing and HEADER CHECK were run. No errors were found.

##### Final Bottle Files

The MRGCLN files were put through SORT to rearrange data with increasing pressure.

REMOVE was run to remove Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Status:Pump, Oxygen:Voltage:SBE, Descent_Rate, Altimeter and Flag for all casts.

CHANGE UNITS was used to derive Oxygen:Dissolved:SBE in umol/kg.

REORDER was used to get the two SBE DO channels together.

HEADER EDIT was run to fix formats and units, to fix the platform name in the headers and to add a comment about quality flags including the following comments on extracted chlorophyll analysis:

Average of two samples is reported unless stated otherwise.

Variability is assessed as the % (std dev/mean*100) and analysis methods.

Standards check was run on all files and HEADEDIT adjusted until all format problems were resolved. The files were named CHE.

##### 22. Producing final files

A cross-reference listing was produced for CTD and CHE files.

HEADER CHECK was rerun; no errors were detected.

The sensor history was updated for the CTD sensors.

Particulars from logs

2. Station name entered as 58 on label and in data file; should be 59.

3. Station name entered as 59 on label and in data file; should be 60.

7. CTD lowered to 175m during upcast to fire a bottle.

13. Missed top 10m on way down.

15-17. Windy

27. Pump turned on at 10m on way down.

37. Plankton samples from surface bottle.

39. Bottle 3 sample 118, fired at 100m, not 125m as planned.

48. Bottle #15 did not fire.

50. Bottle fired at surface, no sample number, no DO/SAL/OXY/NUTS sampling.

63, 65. 30s waits for bottles.

65. Computer clock error?

68. Bottles fired on the fly due to strong current.

NOTE: May 31, 2008

The post-cruise calibration of the secondary conductivity sensor showed that salinity was high by ~0.0032 (measured at 3S/m) in May 2008. The drift might be linear with time or with use or might all have occurred early or late. In any case it is unlikely that the salinity was low by 0.004 at the time of this cruise as was found by the comparison with bottles. Over the past 2 years, there have been other indications that the Autosal is sometimes giving bottle salinity values that are too high leading to the CTD salinity looking low. Initial linearity tests suggest that the problem is most significant for lower salinity values, thus being particularly serious for cruises with relatively shallow sampling.

Based on these results it was decided to recalibrate all CTD salinity by subtracting 0.005 which should lead to values that are good to ±0.002. File 2007-43-recal3.ccf was prepared to subtract 0.004 from all CTD salinity data.

# Institute of Ocean Sciences

# CRUISE SUMMARY

| Cruise ID#: 2007-43 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Dates: Start: 4 June 2007 End: 9 June 2007 |  |  |  |  |  |  |
| Location: SoG/JdF |  |  |  |  |  |  |
| Vessel: Vector Party Chief: Masson D. |  |  |  |  |  |  |
| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |  |
| 1 | SEABIRD | 911+ | 0585 | Yes | Yes |  |

CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/0585         Cruise ID#:		2007-43

| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| --- | --- | --- | --- | --- | --- |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2095 | 31May06 | Factory |  |  |
| Conductivity | 2128 | 22Dec06 | “ |  |  |
| Secondary Temp. | 2038 | 20Dec06 | “ |  |  |
| Secondary Cond. | 2173 | 23Dec06 | “ |  |  |
| Transmissometer | 723DR | 28/12/06 | Factory |  |  |
| SBE 43 DO sensor | 1176 | 17/10/06 | Factory |  |  |
| Altimeter | 1233 | ? | ? |  |  |
| PAR | 4615 | 11/02/03 |  |  |  |
| Surface PAR |  |  |  |  |  |
| Fluorometer | 2356 |  | IOS |  |  |
| Pressure Sensor | 77511 | 13/03/2000 | Factory |  |  |