## File List
Number of Files= |  | 7
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2007-46-0024.mrgtemp | 2007-46-0024.sam | 11 | 15 | 2007-46-0024.mrgtemp & 2007-46-0024.sam
2 | 2007-46-0025.mrgtemp | 2007-46-0025.sam | 17 | 22 | 2007-46-0025.mrgtemp & 2007-46-0025.sam
3 | 2007-46-0026.mrgtemp | 2007-46-0026.sam | 24 | 31 | 2007-46-0026.mrgtemp & 2007-46-0026.sam
4 | 2007-46-0027.mrgtemp | 2007-46-0027.sam | 33 | 40 | 2007-46-0027.mrgtemp & 2007-46-0027.sam
5 | 2007-46-0032.mrgtemp | 2007-46-0032.sam | 42 | 51 | 2007-46-0032.mrgtemp & 2007-46-0032.sam
6 | 2007-46-0033.mrgtemp | 2007-46-0033.sam | 53 | 60 | 2007-46-0033.mrgtemp & 2007-46-0033.sam
7 | 2007-46-0034.mrgtemp | 2007-46-0034.sam | 62 | 68 | 2007-46-0034.mrgtemp & 2007-46-0034.sam

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.57947 |  | X | CALC Y
m= | -0.017893 | 0.0030486 |  | Std Dev of Resid |  | 0.028211 |  | 0.36186 | -0.041999
b= | -0.035524 | 0.008926 |  | Resid Sum of Squares |  | 0.019896 |  | 7.5094 | -0.16989
# of Values Extracted = |  |  | 52
# of Values Used in Fit = |  |  | 27
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 127.85 | 0.64699 | 0.0015679 | 0.089992 | -0.047101 | -0.13709 |  | 0.84859 | 0.0035868
1 | YES | 101.071 | 0.84859 | 0.0015528 | 0.0035868 | -0.050708 | -0.054295 |  | 1.6151 | -0.10691
1 | NO | 73.5452 | 1.297 | 0.0021213 | 0.059 | -0.058732 | -0.11773 |  | 0.62011 | -0.073893
1 | NO | 51.1107 | 1.1483 | 0.0024884 | -0.18474 | -0.056071 | 0.12867 |  | 1.1666 | -0.091397
1 | YES | 31.0878 | 1.6151 | 0.0015653 | -0.10691 | -0.064424 | 0.042485 |  | 1.2765 | -0.096554
2 | NO | 168.02 | 0.68758 | 0.0016721 | 0.30258 | -0.047827 | -0.35041 |  | 1.4025 | -0.096512
2 | YES | 157.736 | 0.62011 | 0.0015319 | -0.073893 | -0.04662 | 0.027272 |  | 0.36186 | -0.030141
2 | YES | 126.034 | 1.1666 | 0.0019853 | -0.091397 | -0.056399 | 0.034998 |  | 0.715 | -0.029
2 | YES | 100.94 | 1.2765 | 0.0014315 | -0.096554 | -0.058364 | 0.038189 |  | 0.51208 | -0.062917
2 | YES | 76.0846 | 1.4025 | 0.0031494 | -0.096512 | -0.060619 | 0.035893 |  | 0.64565 | -0.0093471
2 | NO | 51.1082 | 1.4378 | 0.0019162 | -0.26719 | -0.061251 | 0.20594 |  | 0.7486 | -0.014397
3 | NO | 365.255 | 0.30783 | 0.011498 | -0.11217 | -0.041032 | 0.071142 |  | 0.74543 | -0.01657
3 | YES | 351.083 | 0.36186 | 0.0031736 | -0.030141 | -0.041999 | -0.011859 |  | 2.9271 | -0.11592
3 | YES | 175.803 | 0.715 | 0.0015 | -0.029 | -0.048318 | -0.019318 |  | 1.736 | -0.053983
3 | NO | 140.985 | 1.6351 | 0.021431 | 0.090083 | -0.064781 | -0.15486 |  | 0.62027 | -0.058727
3 | NO | 130.845 | 2.6288 | 0.016743 | 0.15575 | -0.082561 | -0.23831 |  | 0.75884 | -0.054165
3 | NO | 121.062 | 2.0976 | 0.0057586 | -0.25435 | -0.073058 | 0.18129 |  | 3.0021 | -0.066909
3 | NO | 100.814 | 1.6382 | 0.0021829 | 0.030207 | -0.064837 | -0.095044 |  | 3.5423 | -0.083661
3 | NO | 76.011 | 1.647 | 0.0033823 | 0.033041 | -0.064995 | -0.098037 |  | 3.756 | -0.08
4 | YES | 349.66 | 0.51208 | 0.0015416 | -0.062917 | -0.044687 | 0.01823 |  | 3.8012 | -0.10177
4 | YES | 301.253 | 0.64565 | 0.0016468 | -0.0093471 | -0.047077 | -0.03773 |  | 3.7193 | -0.14267
4 | YES | 200.904 | 0.7486 | 0.0012212 | -0.014397 | -0.048919 | -0.034523 |  | 3.2214 | -0.10564
4 | YES | 175.869 | 0.74543 | 0.0025782 | -0.01657 | -0.048863 | -0.032292 |  | 3.9597 | -0.095297
4 | NO | 150.924 | 2.3933 | 0.0019375 | 0.17428 | -0.078348 | -0.25263 |  | 4.0496 | -0.093372
4 | YES | 125.84 | 2.9271 | 0.0022196 | -0.11592 | -0.087899 | 0.028018 |  | 4.8137 | -0.14926
4 | NO | 101.148 | 2.4641 | 0.004777 | -0.18088 | -0.079615 | 0.10127 |  | 4.6731 | -0.094942
4 | YES | 76.0565 | 1.736 | 0.0019191 | -0.053983 | -0.066587 | -0.012604 |  | 7.5094 | -0.16156
5 | YES | 286.498 | 0.62027 | 0.0026173 | -0.058727 | -0.046623 | 0.012104
5 | YES | 200.422 | 0.75884 | 0.0018813 | -0.054165 | -0.049102 | 0.0050629
5 | YES | 150.429 | 3.0021 | 0.0075498 | -0.066909 | -0.089241 | -0.022332
5 | NO | 125.56 | 3.0298 | 0.0037602 | -0.14117 | -0.089738 | 0.051427
5 | NO | 100.803 | 2.6991 | 0.0035368 | -0.21088 | -0.08382 | 0.12706
5 | NO | 75.7336 | 1.9352 | 0.0054873 | -0.1798 | -0.070151 | 0.10965
5 | NO | 50.5274 | 2.3259 | 0.0021954 | 0.12388 | -0.077142 | -0.20103
5 | NO | 31.5983 | 2.9975 | 0.0027927 | -0.37945 | -0.08916 | 0.29029
5 | NO | 21.5345 | 3.7264 | 0.0022791 | 0.10541 | -0.1022 | -0.20761
5 | NO | 11.5385 | 5.4273 | 0.10782 | 0.24827 | -0.13264 | -0.38091
6 | YES | 186.819 | 3.5423 | 0.0019345 | -0.083661 | -0.098908 | -0.015247
6 | YES | 126.083 | 3.756 | 0.0036171 | -0.08 | -0.10273 | -0.022731
6 | YES | 101.694 | 3.8012 | 0.0018383 | -0.10177 | -0.10354 | -0.0017716
6 | YES | 76.3867 | 3.7193 | 0.0021847 | -0.14267 | -0.10208 | 0.040594
6 | NO | 51.4278 | 2.788 | 0.0018773 | -0.016975 | -0.085411 | -0.068436
6 | NO | 31.2039 | 3.7877 | 0.0045098 | 0.18775 | -0.1033 | -0.29105
6 | NO | 20.9709 | 4.0696 | 0.0054278 | -0.026413 | -0.10834 | -0.081929
6 | NO | 10.8449 | 6.0095 | 0.015177 | 0.51245 | -0.14305 | -0.6555
7 | YES | 113.042 | 3.2214 | 0.009288 | -0.10564 | -0.093165 | 0.012471
7 | YES | 76.4802 | 3.9597 | 0.0053583 | -0.095297 | -0.10638 | -0.011079
7 | YES | 51.1426 | 4.0496 | 0.0028871 | -0.093372 | -0.10799 | -0.014613
7 | YES | 31.1207 | 4.8137 | 0.0045948 | -0.14926 | -0.12166 | 0.027606
7 | YES | 21.4113 | 4.6731 | 0.0051774 | -0.094942 | -0.11914 | -0.024198
7 | NO | 11.2068 | 5.1408 | 0.043551 | 0.13079 | -0.12751 | -0.2583
7 | YES | 2.5587 | 7.5094 | 0.0046492 | -0.16156 | -0.16989 | -0.0083303
NO
YES
NO
NO
YES
NO
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
NO
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0008131 |  | X | CALC Y
m= | 4.234e-05 | 0.00021203 |  | Std Dev of Resid |  | 0.13313 |  | 2.5587 | -0.050037
b= | -0.050145 | 0.031023 |  | Resid Sum of Squares |  | 0.86852 |  | 365.255 | -0.034681
# of Values Extracted = |  |  | 52
# of Values Used in Fit = |  |  | 51
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 127.85 | 0.64699 | 0.0015679 | 0.089992 | -0.044732 | -0.13472 |  | 127.85 | 0.089992
1 | YES | 101.071 | 0.84859 | 0.0015528 | 0.0035868 | -0.045866 | -0.049453 |  | 101.071 | 0.0035868
1 | YES | 73.5452 | 1.297 | 0.0021213 | 0.059 | -0.047032 | -0.10603 |  | 73.5452 | 0.059
1 | YES | 51.1107 | 1.1483 | 0.0024884 | -0.18474 | -0.047981 | 0.13676 |  | 51.1107 | -0.18474
1 | YES | 31.0878 | 1.6151 | 0.0015653 | -0.10691 | -0.048829 | 0.05808 |  | 31.0878 | -0.10691
2 | YES | 168.02 | 0.68758 | 0.0016721 | 0.30258 | -0.043032 | -0.34561 |  | 168.02 | 0.30258
2 | YES | 157.736 | 0.62011 | 0.0015319 | -0.073893 | -0.043467 | 0.030426 |  | 157.736 | -0.073893
2 | YES | 126.034 | 1.1666 | 0.0019853 | -0.091397 | -0.044809 | 0.046587 |  | 126.034 | -0.091397
2 | YES | 100.94 | 1.2765 | 0.0014315 | -0.096554 | -0.045872 | 0.050682 |  | 100.94 | -0.096554
2 | YES | 76.0846 | 1.4025 | 0.0031494 | -0.096512 | -0.046924 | 0.049588 |  | 76.0846 | -0.096512
2 | YES | 51.1082 | 1.4378 | 0.0019162 | -0.26719 | -0.047982 | 0.21921 |  | 51.1082 | -0.26719
3 | YES | 365.255 | 0.30783 | 0.011498 | -0.11217 | -0.034681 | 0.077493 |  | 365.255 | -0.11217
3 | YES | 351.083 | 0.36186 | 0.0031736 | -0.030141 | -0.035281 | -0.0051403 |  | 351.083 | -0.030141
3 | YES | 175.803 | 0.715 | 0.0015 | -0.029 | -0.042702 | -0.013702 |  | 175.803 | -0.029
3 | YES | 140.985 | 1.6351 | 0.021431 | 0.090083 | -0.044176 | -0.13426 |  | 140.985 | 0.090083
3 | YES | 130.845 | 2.6288 | 0.016743 | 0.15575 | -0.044606 | -0.20036 |  | 130.845 | 0.15575
3 | YES | 121.062 | 2.0976 | 0.0057586 | -0.25435 | -0.04502 | 0.20933 |  | 121.062 | -0.25435
3 | YES | 100.814 | 1.6382 | 0.0021829 | 0.030207 | -0.045877 | -0.076084 |  | 100.814 | 0.030207
3 | YES | 76.011 | 1.647 | 0.0033823 | 0.033041 | -0.046927 | -0.079969 |  | 76.011 | 0.033041
4 | YES | 349.66 | 0.51208 | 0.0015416 | -0.062917 | -0.035341 | 0.027576 |  | 349.66 | -0.062917
4 | YES | 301.253 | 0.64565 | 0.0016468 | -0.0093471 | -0.037391 | -0.028043 |  | 301.253 | -0.0093471
4 | YES | 200.904 | 0.7486 | 0.0012212 | -0.014397 | -0.041639 | -0.027243 |  | 200.904 | -0.014397
4 | YES | 175.869 | 0.74543 | 0.0025782 | -0.01657 | -0.042699 | -0.026129 |  | 175.869 | -0.01657
4 | YES | 150.924 | 2.3933 | 0.0019375 | 0.17428 | -0.043755 | -0.21804 |  | 150.924 | 0.17428
4 | YES | 125.84 | 2.9271 | 0.0022196 | -0.11592 | -0.044817 | 0.0711 |  | 125.84 | -0.11592
4 | YES | 101.148 | 2.4641 | 0.004777 | -0.18088 | -0.045863 | 0.13502 |  | 101.148 | -0.18088
4 | YES | 76.0565 | 1.736 | 0.0019191 | -0.053983 | -0.046925 | 0.0070582 |  | 76.0565 | -0.053983
5 | YES | 286.498 | 0.62027 | 0.0026173 | -0.058727 | -0.038015 | 0.020712 |  | 286.498 | -0.058727
5 | YES | 200.422 | 0.75884 | 0.0018813 | -0.054165 | -0.04166 | 0.012506 |  | 200.422 | -0.054165
5 | YES | 150.429 | 3.0021 | 0.0075498 | -0.066909 | -0.043776 | 0.023133 |  | 150.429 | -0.066909
5 | YES | 125.56 | 3.0298 | 0.0037602 | -0.14117 | -0.044829 | 0.096336 |  | 125.56 | -0.14117
5 | YES | 100.803 | 2.6991 | 0.0035368 | -0.21088 | -0.045877 | 0.165 |  | 100.803 | -0.21088
5 | YES | 75.7336 | 1.9352 | 0.0054873 | -0.1798 | -0.046939 | 0.13286 |  | 75.7336 | -0.1798
5 | YES | 50.5274 | 2.3259 | 0.0021954 | 0.12388 | -0.048006 | -0.17189 |  | 50.5274 | 0.12388
5 | YES | 31.5983 | 2.9975 | 0.0027927 | -0.37945 | -0.048808 | 0.33064 |  | 31.5983 | -0.37945
5 | YES | 21.5345 | 3.7264 | 0.0022791 | 0.10541 | -0.049234 | -0.15465 |  | 21.5345 | 0.10541
5 | YES | 11.5385 | 5.4273 | 0.10782 | 0.24827 | -0.049657 | -0.29793 |  | 11.5385 | 0.24827
6 | YES | 186.819 | 3.5423 | 0.0019345 | -0.083661 | -0.042236 | 0.041425 |  | 186.819 | -0.083661
6 | YES | 126.083 | 3.756 | 0.0036171 | -0.08 | -0.044807 | 0.035193 |  | 126.083 | -0.08
6 | YES | 101.694 | 3.8012 | 0.0018383 | -0.10177 | -0.04584 | 0.055929 |  | 101.694 | -0.10177
6 | YES | 76.3867 | 3.7193 | 0.0021847 | -0.14267 | -0.046911 | 0.095758 |  | 76.3867 | -0.14267
6 | YES | 51.4278 | 2.788 | 0.0018773 | -0.016975 | -0.047968 | -0.030993 |  | 51.4278 | -0.016975
6 | YES | 31.2039 | 3.7877 | 0.0045098 | 0.18775 | -0.048824 | -0.23658 |  | 31.2039 | 0.18775
6 | YES | 20.9709 | 4.0696 | 0.0054278 | -0.026413 | -0.049258 | -0.022844 |  | 20.9709 | -0.026413
6 | NO | 10.8449 | 6.0095 | 0.015177 | 0.51245 | -0.049686 | -0.56213 |  | 113.042 | -0.10564
7 | YES | 113.042 | 3.2214 | 0.009288 | -0.10564 | -0.045359 | 0.060277 |  | 76.4802 | -0.095297
7 | YES | 76.4802 | 3.9597 | 0.0053583 | -0.095297 | -0.046907 | 0.04839 |  | 51.1426 | -0.093372
7 | YES | 51.1426 | 4.0496 | 0.0028871 | -0.093372 | -0.04798 | 0.045392 |  | 31.1207 | -0.14926
7 | YES | 31.1207 | 4.8137 | 0.0045948 | -0.14926 | -0.048828 | 0.10044 |  | 21.4113 | -0.094942
7 | YES | 21.4113 | 4.6731 | 0.0051774 | -0.094942 | -0.049239 | 0.045703 |  | 11.2068 | 0.13079
7 | YES | 11.2068 | 5.1408 | 0.043551 | 0.13079 | -0.049671 | -0.18046 |  | 2.5587 | -0.16156
7 | YES | 2.5587 | 7.5094 | 0.0046492 | -0.16156 | -0.050037 | 0.11152
[10 empty] | -0.045194 | avg
[10 empty] | -0.066909 | med
[10 empty] | 0.30258 | max
[10 empty] | -0.37945 | min
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00099478 |  | X | CALC Y
m= | -0.002619 | 0.011856 |  | Std Dev of Resid |  | 0.13312 |  | 0.30783 | -0.039802
b= | -0.038996 | 0.033688 |  | Resid Sum of Squares |  | 0.86836 |  | 7.5094 | -0.058662
# of Values Extracted = |  |  | 52
# of Values Used in Fit = |  |  | 51
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 127.85 | 0.64699 | 0.0015679 | 0.089992 | -0.04069 | -0.13068 |  | 0.64699 | 0.089992
1 | YES | 101.071 | 0.84859 | 0.0015528 | 0.0035868 | -0.041218 | -0.044805 |  | 0.84859 | 0.0035868
1 | YES | 73.5452 | 1.297 | 0.0021213 | 0.059 | -0.042392 | -0.10139 |  | 1.297 | 0.059
1 | YES | 51.1107 | 1.1483 | 0.0024884 | -0.18474 | -0.042003 | 0.14274 |  | 1.1483 | -0.18474
1 | YES | 31.0878 | 1.6151 | 0.0015653 | -0.10691 | -0.043225 | 0.063684 |  | 1.6151 | -0.10691
2 | YES | 168.02 | 0.68758 | 0.0016721 | 0.30258 | -0.040796 | -0.34338 |  | 0.68758 | 0.30258
2 | YES | 157.736 | 0.62011 | 0.0015319 | -0.073893 | -0.04062 | 0.033273 |  | 0.62011 | -0.073893
2 | YES | 126.034 | 1.1666 | 0.0019853 | -0.091397 | -0.042051 | 0.049346 |  | 1.1666 | -0.091397
2 | YES | 100.94 | 1.2765 | 0.0014315 | -0.096554 | -0.042338 | 0.054215 |  | 1.2765 | -0.096554
2 | YES | 76.0846 | 1.4025 | 0.0031494 | -0.096512 | -0.042669 | 0.053844 |  | 1.4025 | -0.096512
2 | YES | 51.1082 | 1.4378 | 0.0019162 | -0.26719 | -0.042761 | 0.22443 |  | 1.4378 | -0.26719
3 | YES | 365.255 | 0.30783 | 0.011498 | -0.11217 | -0.039802 | 0.072372 |  | 0.30783 | -0.11217
3 | YES | 351.083 | 0.36186 | 0.0031736 | -0.030141 | -0.039943 | -0.0098027 |  | 0.36186 | -0.030141
3 | YES | 175.803 | 0.715 | 0.0015 | -0.029 | -0.040868 | -0.011868 |  | 0.715 | -0.029
3 | YES | 140.985 | 1.6351 | 0.021431 | 0.090083 | -0.043278 | -0.13336 |  | 1.6351 | 0.090083
3 | YES | 130.845 | 2.6288 | 0.016743 | 0.15575 | -0.04588 | -0.20163 |  | 2.6288 | 0.15575
3 | YES | 121.062 | 2.0976 | 0.0057586 | -0.25435 | -0.044489 | 0.20986 |  | 2.0976 | -0.25435
3 | YES | 100.814 | 1.6382 | 0.0021829 | 0.030207 | -0.043286 | -0.073493 |  | 1.6382 | 0.030207
3 | YES | 76.011 | 1.647 | 0.0033823 | 0.033041 | -0.043309 | -0.07635 |  | 1.647 | 0.033041
4 | YES | 349.66 | 0.51208 | 0.0015416 | -0.062917 | -0.040337 | 0.022581 |  | 0.51208 | -0.062917
4 | YES | 301.253 | 0.64565 | 0.0016468 | -0.0093471 | -0.040686 | -0.031339 |  | 0.64565 | -0.0093471
4 | YES | 200.904 | 0.7486 | 0.0012212 | -0.014397 | -0.040956 | -0.026559 |  | 0.7486 | -0.014397
4 | YES | 175.869 | 0.74543 | 0.0025782 | -0.01657 | -0.040948 | -0.024377 |  | 0.74543 | -0.01657
4 | YES | 150.924 | 2.3933 | 0.0019375 | 0.17428 | -0.045263 | -0.21954 |  | 2.3933 | 0.17428
4 | YES | 125.84 | 2.9271 | 0.0022196 | -0.11592 | -0.046661 | 0.069256 |  | 2.9271 | -0.11592
4 | YES | 101.148 | 2.4641 | 0.004777 | -0.18088 | -0.045449 | 0.13544 |  | 2.4641 | -0.18088
4 | YES | 76.0565 | 1.736 | 0.0019191 | -0.053983 | -0.043542 | 0.010441 |  | 1.736 | -0.053983
5 | YES | 286.498 | 0.62027 | 0.0026173 | -0.058727 | -0.04062 | 0.018107 |  | 0.62027 | -0.058727
5 | YES | 200.422 | 0.75884 | 0.0018813 | -0.054165 | -0.040983 | 0.013182 |  | 0.75884 | -0.054165
5 | YES | 150.429 | 3.0021 | 0.0075498 | -0.066909 | -0.046858 | 0.020051 |  | 3.0021 | -0.066909
5 | YES | 125.56 | 3.0298 | 0.0037602 | -0.14117 | -0.04693 | 0.094235 |  | 3.0298 | -0.14117
5 | YES | 100.803 | 2.6991 | 0.0035368 | -0.21088 | -0.046064 | 0.16481 |  | 2.6991 | -0.21088
5 | YES | 75.7336 | 1.9352 | 0.0054873 | -0.1798 | -0.044064 | 0.13574 |  | 1.9352 | -0.1798
5 | YES | 50.5274 | 2.3259 | 0.0021954 | 0.12388 | -0.045087 | -0.16897 |  | 2.3259 | 0.12388
5 | YES | 31.5983 | 2.9975 | 0.0027927 | -0.37945 | -0.046846 | 0.3326 |  | 2.9975 | -0.37945
5 | YES | 21.5345 | 3.7264 | 0.0022791 | 0.10541 | -0.048755 | -0.15417 |  | 3.7264 | 0.10541
5 | YES | 11.5385 | 5.4273 | 0.10782 | 0.24827 | -0.053209 | -0.30148 |  | 5.4273 | 0.24827
6 | YES | 186.819 | 3.5423 | 0.0019345 | -0.083661 | -0.048273 | 0.035388 |  | 3.5423 | -0.083661
6 | YES | 126.083 | 3.756 | 0.0036171 | -0.08 | -0.048832 | 0.031168 |  | 3.756 | -0.08
6 | YES | 101.694 | 3.8012 | 0.0018383 | -0.10177 | -0.048951 | 0.052818 |  | 3.8012 | -0.10177
6 | YES | 76.3867 | 3.7193 | 0.0021847 | -0.14267 | -0.048736 | 0.093933 |  | 3.7193 | -0.14267
6 | YES | 51.4278 | 2.788 | 0.0018773 | -0.016975 | -0.046297 | -0.029322 |  | 2.788 | -0.016975
6 | YES | 31.2039 | 3.7877 | 0.0045098 | 0.18775 | -0.048915 | -0.23667 |  | 3.7877 | 0.18775
6 | YES | 20.9709 | 4.0696 | 0.0054278 | -0.026413 | -0.049654 | -0.02324 |  | 4.0696 | -0.026413
6 | NO | 10.8449 | 6.0095 | 0.015177 | 0.51245 | -0.054734 | -0.56718 |  | 3.2214 | -0.10564
7 | YES | 113.042 | 3.2214 | 0.009288 | -0.10564 | -0.047432 | 0.058204 |  | 3.9597 | -0.095297
7 | YES | 76.4802 | 3.9597 | 0.0053583 | -0.095297 | -0.049366 | 0.045932 |  | 4.0496 | -0.093372
7 | YES | 51.1426 | 4.0496 | 0.0028871 | -0.093372 | -0.049601 | 0.043771 |  | 4.8137 | -0.14926
7 | YES | 31.1207 | 4.8137 | 0.0045948 | -0.14926 | -0.051602 | 0.097662 |  | 4.6731 | -0.094942 |  | -0.045194
7 | YES | 21.4113 | 4.6731 | 0.0051774 | -0.094942 | -0.051234 | 0.043708 |  | 5.1408 | 0.13079 |  | 0.13185
7 | YES | 11.2068 | 5.1408 | 0.043551 | 0.13079 | -0.052459 | -0.18325 |  | 7.5094 | -0.16156 |  | -0.066909
7 | YES | 2.5587 | 7.5094 | 0.0046492 | -0.16156 | -0.058662 | 0.1029 |  |  |  |  | 0.30258
-0.37945
[9 empty] | -0.039749 | -0.062917 | avg fit
[9 empty] | -0.058727 | -0.066909 | med fit
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2007/10/04 16:02:49
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2007-46-0024.mrgtemp | 2007-46-0024.sam | 121 | 127.85 | 127.85 | 0.017974 | -0.00045776 | 0.557 | 0.64699 | 0.0015679 | 0.089992
2007-46-0024.mrgtemp | 2007-46-0024.sam | 121 | 101.071 | 101.071 | 0.013532 | 3.0518e-05 | 0.845 | 0.84859 | 0.0015528 | 0.0035868
2007-46-0024.mrgtemp | 2007-46-0024.sam | 121 | 73.545 | 73.5452 | 0.028471 | 0.00021362 | 1.238 | 1.297 | 0.0021213 | 0.059
2007-46-0024.mrgtemp | 2007-46-0024.sam | 121 | 51.111 | 51.1107 | 0.024373 | -0.00033951 | 1.333 | 1.1483 | 0.0024884 | -0.18474
2007-46-0024.mrgtemp | 2007-46-0024.sam | 121 | 31.088 | 31.0878 | 0.021945 | -0.00022125 | 1.722 | 1.6151 | 0.0015653 | -0.10691
2007-46-0025.mrgtemp | 2007-46-0025.sam | 121 | 168.02 | 168.02 | 0.021939 | 0.00042725 | 0.385 | 0.68758 | 0.0016721 | 0.30258
2007-46-0025.mrgtemp | 2007-46-0025.sam | 121 | 157.736 | 157.736 | 0.02625 | 0.00050354 | 0.694 | 0.62011 | 0.0015319 | -0.073893
2007-46-0025.mrgtemp | 2007-46-0025.sam | 121 | 126.034 | 126.034 | 0.021365 | -0.00012207 | 1.258 | 1.1666 | 0.0019853 | -0.091397
2007-46-0025.mrgtemp | 2007-46-0025.sam | 121 | 100.94 | 100.94 | 0.031015 | -0.0004425 | 1.373 | 1.2765 | 0.0014315 | -0.096554
2007-46-0025.mrgtemp | 2007-46-0025.sam | 121 | 76.085 | 76.0846 | 0.022364 | -0.0003891 | 1.499 | 1.4025 | 0.0031494 | -0.096512
2007-46-0025.mrgtemp | 2007-46-0025.sam | 121 | 51.108 | 51.1082 | 0.027907 | 0.00017166 | 1.705 | 1.4378 | 0.0019162 | -0.26719
2007-46-0026.mrgtemp | 2007-46-0026.sam | 121 | 365.255 | 365.255 | 0.022773 | 0.00030518 | 0.42 | 0.30783 | 0.011498 | -0.11217
2007-46-0026.mrgtemp | 2007-46-0026.sam | 121 | 351.083 | 351.083 | 0.019362 | 0.00039673 | 0.392 | 0.36186 | 0.0031736 | -0.030141
2007-46-0026.mrgtemp | 2007-46-0026.sam | 121 | 175.803 | 175.803 | 0.02645 | -0.00038147 | 0.744 | 0.715 | 0.0015 | -0.029
2007-46-0026.mrgtemp | 2007-46-0026.sam | 121 | 140.985 | 140.985 | 0.022497 | 0.00024414 | 1.545 | 1.6351 | 0.021431 | 0.090083
2007-46-0026.mrgtemp | 2007-46-0026.sam | 121 | 130.845 | 130.845 | 0.027579 | 0.00041199 | 2.473 | 2.6288 | 0.016743 | 0.15575
2007-46-0026.mrgtemp | 2007-46-0026.sam | 121 | 121.062 | 121.062 | 0.025035 | 9.1553e-05 | 2.352 | 2.0976 | 0.0057586 | -0.25435
2007-46-0026.mrgtemp | 2007-46-0026.sam | 121 | 100.814 | 100.814 | 0.024196 | -0.00043487 | 1.608 | 1.6382 | 0.0021829 | 0.030207
2007-46-0026.mrgtemp | 2007-46-0026.sam | 121 | 76.011 | 76.011 | 0.022685 | -2.2888e-05 | 1.614 | 1.647 | 0.0033823 | 0.033041
2007-46-0027.mrgtemp | 2007-46-0027.sam | 121 | 349.66 | 349.66 | 0.026925 | 0.00036621 | 0.575 | 0.51208 | 0.0015416 | -0.062917
2007-46-0027.mrgtemp | 2007-46-0027.sam | 121 | 301.253 | 301.253 | 0.023529 | 0.00039673 | 0.655 | 0.64565 | 0.0016468 | -0.0093471
2007-46-0027.mrgtemp | 2007-46-0027.sam | 121 | 200.904 | 200.904 | 0.022701 | -0.00041199 | 0.763 | 0.7486 | 0.0012212 | -0.014397
2007-46-0027.mrgtemp | 2007-46-0027.sam | 121 | 175.869 | 175.869 | 0.026051 | -0.0004425 | 0.762 | 0.74543 | 0.0025782 | -0.01657
2007-46-0027.mrgtemp | 2007-46-0027.sam | 121 | 150.924 | 150.924 | 0.025911 | -0.00039673 | 2.219 | 2.3933 | 0.0019375 | 0.17428
2007-46-0027.mrgtemp | 2007-46-0027.sam | 121 | 125.84 | 125.84 | 0.022915 | -0.00030518 | 3.043 | 2.9271 | 0.0022196 | -0.11592
2007-46-0027.mrgtemp | 2007-46-0027.sam | 121 | 101.148 | 101.148 | 0.019414 | -0.00045776 | 2.645 | 2.4641 | 0.004777 | -0.18088
2007-46-0027.mrgtemp | 2007-46-0027.sam | 121 | 76.056 | 76.0565 | 0.025664 | 0.00047302 | 1.79 | 1.736 | 0.0019191 | -0.053983
2007-46-0032.mrgtemp | 2007-46-0032.sam | 121 | 286.498 | 286.498 | 0.02395 | 0 | 0.679 | 0.62027 | 0.0026173 | -0.058727
2007-46-0032.mrgtemp | 2007-46-0032.sam | 121 | 200.422 | 200.422 | 0.021994 | 0.00032043 | 0.813 | 0.75884 | 0.0018813 | -0.054165
2007-46-0032.mrgtemp | 2007-46-0032.sam | 121 | 150.429 | 150.429 | 0.022832 | 0.0002594 | 3.069 | 3.0021 | 0.0075498 | -0.066909
2007-46-0032.mrgtemp | 2007-46-0032.sam | 121 | 125.56 | 125.56 | 0.024368 | 0.00012207 | 3.171 | 3.0298 | 0.0037602 | -0.14117
2007-46-0032.mrgtemp | 2007-46-0032.sam | 121 | 100.803 | 100.803 | 0.025879 | 3.0518e-05 | 2.91 | 2.6991 | 0.0035368 | -0.21088
2007-46-0032.mrgtemp | 2007-46-0032.sam | 121 | 75.734 | 75.7336 | 0.022229 | -0.0004425 | 2.115 | 1.9352 | 0.0054873 | -0.1798
2007-46-0032.mrgtemp | 2007-46-0032.sam | 121 | 50.527 | 50.5274 | 0.025622 | 0.0003624 | 2.202 | 2.3259 | 0.0021954 | 0.12388
2007-46-0032.mrgtemp | 2007-46-0032.sam | 121 | 31.598 | 31.5983 | 0.025465 | 0.00034714 | 3.377 | 2.9975 | 0.0027927 | -0.37945
2007-46-0032.mrgtemp | 2007-46-0032.sam | 121 | 21.535 | 21.5345 | 0.020591 | -0.00046349 | 3.621 | 3.7264 | 0.0022791 | 0.10541
2007-46-0032.mrgtemp | 2007-46-0032.sam | 121 | 11.539 | 11.5385 | 0.021613 | -0.00047111 | 5.179 | 5.4273 | 0.10782 | 0.24827
2007-46-0033.mrgtemp | 2007-46-0033.sam | 121 | 186.819 | 186.819 | 0.022241 | 0.00022888 | 3.626 | 3.5423 | 0.0019345 | -0.083661
2007-46-0033.mrgtemp | 2007-46-0033.sam | 121 | 126.083 | 126.083 | 0.027614 | 0.00038147 | 3.836 | 3.756 | 0.0036171 | -0.08
2007-46-0033.mrgtemp | 2007-46-0033.sam | 121 | 101.694 | 101.694 | 0.023235 | 9.9182e-05 | 3.903 | 3.8012 | 0.0018383 | -0.10177
2007-46-0033.mrgtemp | 2007-46-0033.sam | 121 | 76.387 | 76.3867 | 0.028402 | -0.0003128 | 3.862 | 3.7193 | 0.0021847 | -0.14267
2007-46-0033.mrgtemp | 2007-46-0033.sam | 121 | 51.428 | 51.4278 | 0.029115 | -0.00016022 | 2.805 | 2.788 | 0.0018773 | -0.016975
2007-46-0033.mrgtemp | 2007-46-0033.sam | 121 | 31.204 | 31.2039 | 0.028579 | -7.4387e-05 | 3.6 | 3.7877 | 0.0045098 | 0.18775
2007-46-0033.mrgtemp | 2007-46-0033.sam | 121 | 20.971 | 20.9709 | 0.023246 | -0.00013351 | 4.096 | 4.0696 | 0.0054278 | -0.026413
2007-46-0033.mrgtemp | 2007-46-0033.sam | 121 | 10.845 | 10.8449 | 0.023215 | -8.297e-05 | 5.497 | 6.0095 | 0.015177 | 0.51245
2007-46-0034.mrgtemp | 2007-46-0034.sam | 121 | 113.042 | 113.042 | 0.22131 | 0.00038147 | 3.327 | 3.2214 | 0.009288 | -0.10564
2007-46-0034.mrgtemp | 2007-46-0034.sam | 121 | 76.48 | 76.4802 | 0.22803 | 0.00022888 | 4.055 | 3.9597 | 0.0053583 | -0.095297
2007-46-0034.mrgtemp | 2007-46-0034.sam | 121 | 51.143 | 51.1426 | 0.16584 | -0.00043106 | 4.143 | 4.0496 | 0.0028871 | -0.093372
2007-46-0034.mrgtemp | 2007-46-0034.sam | 121 | 31.121 | 31.1207 | 0.11278 | -0.00033951 | 4.963 | 4.8137 | 0.0045948 | -0.14926
2007-46-0034.mrgtemp | 2007-46-0034.sam | 121 | 21.411 | 21.4113 | 0.17859 | 0.00034714 | 4.768 | 4.6731 | 0.0051774 | -0.094942
2007-46-0034.mrgtemp | 2007-46-0034.sam | 121 | 11.207 | 11.2068 | 0.075528 | -0.00023079 | 5.01 | 5.1408 | 0.043551 | 0.13079
2007-46-0034.mrgtemp | 2007-46-0034.sam | 121 | 2.559 | 2.5587 | 0.069431 | -0.00029755 | 7.671 | 7.5094 | 0.0046492 | -0.16156
Create Fit Sheet