## File List
Number of Files= |  | 7
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2007-46-0024.mrgtemp | 2007-46-0024.sam | 12 | 13 | 2007-46-0024.mrgtemp & 2007-46-0024.sam
2 | 2007-46-0025.mrgtemp | 2007-46-0025.sam | 15 | 16 | 2007-46-0025.mrgtemp & 2007-46-0025.sam
3 | 2007-46-0026.mrgtemp | 2007-46-0026.sam | 18 | 19 | 2007-46-0026.mrgtemp & 2007-46-0026.sam
4 | 2007-46-0027.mrgtemp | 2007-46-0027.sam | 21 | 22 | 2007-46-0027.mrgtemp & 2007-46-0027.sam
5 | 2007-46-0032.mrgtemp | 2007-46-0032.sam | 24 | 25 | 2007-46-0032.mrgtemp & 2007-46-0032.sam
6 | 2007-46-0033.mrgtemp | 2007-46-0033.sam | 27 | 28 | 2007-46-0033.mrgtemp & 2007-46-0033.sam
7 | 2007-46-0034.mrgtemp | 2007-46-0034.sam | 30 | 31 | 2007-46-0034.mrgtemp & 2007-46-0034.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.033916 |  | X | CALC Y
m= | 2.0749e-06 | 7.8306e-06 |  | Std Dev of Resid |  | 0.0010208 |  | 200.422 | -0.00065714
b= | -0.001073 | 0.0021249 |  | Resid Sum of Squares |  | 2.084e-06 |  | 351.083 | -0.00034452
# of Values Extracted = |  |  | 14
# of Values Used in Fit = |  |  | 4
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 101.071 | 32.7809 | 0.00023426 | -0.013718 | -0.00086328 | 0.012854 |  | 351.083 | 0.00037766
1 | NO | 73.5452 | 32.6942 | 0.00027939 | -0.0024528 | -0.0009204 | 0.0015325 |  | 301.253 | -0.0015259
2 | NO | 157.736 | 32.9143 | 0.00034421 | -0.012131 | -0.00074571 | 0.011385 |  | 200.904 | -0.00088882
2 | NO | 126.034 | 32.8381 | 0.00022167 | -0.0022583 | -0.00081149 | 0.0014468 |  | 200.422 | -6.8665e-05
3 | YES | 351.083 | 32.9951 | 0.0002309 | 0.00037766 | -0.00034452 | -0.00072218
3 | NO | 175.803 | 32.9517 | 0.0028378 | -0.0055046 | -0.00070822 | 0.0047964
4 | YES | 301.253 | 32.9912 | 0.00021942 | -0.0015259 | -0.00044792 | 0.001078
4 | YES | 200.904 | 32.9677 | 0.00026535 | -0.00088882 | -0.00065614 | 0.00023269
5 | YES | 200.422 | 32.9572 | 0.00024244 | -6.8665e-05 | -0.00065714 | -0.00058847
5 | NO | 150.429 | 32.8234 | 0.000283 | -0.0054359 | -0.00076087 | 0.0046751
6 | NO | 126.083 | 32.9134 | 0.00029484 | -0.0048485 | -0.00081139 | 0.0040371
6 | NO | 101.694 | 32.869 | 0.00024465 | -0.0056381 | -0.00086199 | 0.0047761
7 | NO | 76.4802 | 32.725 | 0.0013728 | -0.0079384 | -0.00091431 | 0.0070241
7 | NO | 51.1426 | 32.5196 | 0.0005003 | -0.0083847 | -0.00096688 | 0.0074178
NO
NO
NO
NO
YES
NO
YES
YES
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0066391 |  | X | CALC Y
m= | 1.0775e-06 | 9.3201e-06 |  | Std Dev of Resid |  | 0.0012149 |  | 200.422 | -0.00025957
b= | -0.00047553 | 0.0025291 |  | Resid Sum of Squares |  | 2.9522e-06 |  | 351.083 | -9.7224e-05
# of Values Extracted = |  |  | 14
# of Values Used in Fit = |  |  | 4
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 101.071 | 32.7818 | 0.0012932 | -0.012768 | -0.00036662 | 0.012401 |  | 351.083 | 0.00068665
1 | NO | 73.5452 | 32.6978 | 0.0012873 | 0.0010986 | -0.00039628 | -0.0014949 |  | 301.253 | -0.0013199
2 | NO | 157.736 | 32.9145 | 0.0013544 | -0.011883 | -0.00030556 | 0.011577 |  | 200.904 | -0.00073624
2 | NO | 126.034 | 32.8383 | 0.0013712 | -0.0020943 | -0.00033972 | 0.0017545 |  | 200.422 | 0.00060272
3 | YES | 351.083 | 32.9954 | 0.0014503 | 0.00068665 | -9.7224e-05 | -0.00078387
3 | NO | 175.803 | 32.9536 | 0.0020878 | -0.0035706 | -0.0002861 | 0.0032845 |  |  | -0.00019169
4 | YES | 301.253 | 32.9914 | 0.0014236 | -0.0013199 | -0.00015092 | 0.001169
4 | YES | 200.904 | 32.9679 | 0.0015175 | -0.00073624 | -0.00025905 | 0.00047719
5 | YES | 200.422 | 32.9579 | 0.001372 | 0.00060272 | -0.00025957 | -0.00086229
5 | NO | 150.429 | 32.8244 | 0.0012997 | -0.0044136 | -0.00031344 | 0.0041002
6 | NO | 126.083 | 32.9145 | 0.0010533 | -0.0036735 | -0.00033967 | 0.0033339
6 | NO | 101.694 | 32.8695 | 0.0014716 | -0.0050545 | -0.00036595 | 0.0046885
7 | NO | 76.4802 | 32.7255 | 0.001874 | -0.0074463 | -0.00039312 | 0.0070532
7 | NO | 51.1426 | 32.5203 | 0.0013155 | -0.0077286 | -0.00042042 | 0.0073082
NO
NO
NO
NO
YES
NO
YES
YES
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2007/10/04 16:02:23
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 0.5
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2007-46-0024.mrgtemp | 2007-46-0024.sam | 121 | 101.071 | 101.071 | 0.013532 | 3.0518e-05 | 32.7946 | 32.7809 | 0.00023426 | -0.013718 | 32.7946 | 32.7818 | 0.0012932 | -0.012768
2007-46-0024.mrgtemp | 2007-46-0024.sam | 121 | 73.545 | 73.5452 | 0.028471 | 0.00021362 | 32.6967 | 32.6942 | 0.00027939 | -0.0024528 | 32.6967 | 32.6978 | 0.0012873 | 0.0010986
2007-46-0025.mrgtemp | 2007-46-0025.sam | 121 | 157.736 | 157.736 | 0.02625 | 0.00050354 | 32.9264 | 32.9143 | 0.00034421 | -0.012131 | 32.9264 | 32.9145 | 0.0013544 | -0.011883
2007-46-0025.mrgtemp | 2007-46-0025.sam | 121 | 126.034 | 126.034 | 0.021365 | -0.00012207 | 32.8404 | 32.8381 | 0.00022167 | -0.0022583 | 32.8404 | 32.8383 | 0.0013712 | -0.0020943
2007-46-0026.mrgtemp | 2007-46-0026.sam | 121 | 351.083 | 351.083 | 0.019362 | 0.00039673 | 32.9947 | 32.9951 | 0.0002309 | 0.00037766 | 32.9947 | 32.9954 | 0.0014503 | 0.00068665
2007-46-0026.mrgtemp | 2007-46-0026.sam | 121 | 175.803 | 175.803 | 0.02645 | -0.00038147 | 32.9572 | 32.9517 | 0.0028378 | -0.0055046 | 32.9572 | 32.9536 | 0.0020878 | -0.0035706
2007-46-0027.mrgtemp | 2007-46-0027.sam | 121 | 301.253 | 301.253 | 0.023529 | 0.00039673 | 32.9927 | 32.9912 | 0.00021942 | -0.0015259 | 32.9927 | 32.9914 | 0.0014236 | -0.0013199
2007-46-0027.mrgtemp | 2007-46-0027.sam | 121 | 200.904 | 200.904 | 0.022701 | -0.00041199 | 32.9686 | 32.9677 | 0.00026535 | -0.00088882 | 32.9686 | 32.9679 | 0.0015175 | -0.00073624
2007-46-0032.mrgtemp | 2007-46-0032.sam | 121 | 200.422 | 200.422 | 0.021994 | 0.00032043 | 32.9573 | 32.9572 | 0.00024244 | -6.8665e-05 | 32.9573 | 32.9579 | 0.001372 | 0.00060272
2007-46-0032.mrgtemp | 2007-46-0032.sam | 121 | 150.429 | 150.429 | 0.022832 | 0.0002594 | 32.8288 | 32.8234 | 0.000283 | -0.0054359 | 32.8288 | 32.8244 | 0.0012997 | -0.0044136
2007-46-0033.mrgtemp | 2007-46-0033.sam | 121 | 126.083 | 126.083 | 0.027614 | 0.00038147 | 32.9182 | 32.9134 | 0.00029484 | -0.0048485 | 32.9182 | 32.9145 | 0.0010533 | -0.0036735
2007-46-0033.mrgtemp | 2007-46-0033.sam | 121 | 101.694 | 101.694 | 0.023235 | 9.9182e-05 | 32.8746 | 32.869 | 0.00024465 | -0.0056381 | 32.8746 | 32.8695 | 0.0014716 | -0.0050545
2007-46-0034.mrgtemp | 2007-46-0034.sam | 121 | 76.48 | 76.4802 | 0.22803 | 0.00022888 | 32.7329 | 32.725 | 0.0013728 | -0.0079384 | 32.7329 | 32.7255 | 0.001874 | -0.0074463
2007-46-0034.mrgtemp | 2007-46-0034.sam | 121 | 51.143 | 51.1426 | 0.16584 | -0.00043106 | 32.528 | 32.5196 | 0.0005003 | -0.0083847 | 32.528 | 32.5203 | 0.0013155 | -0.0077286
Create Fit Sheet