File List for SeaBird Data

Cruise Number: _2007-58____

[osapcommon\cruise_data\2007-58\ARCHIVE]

[osapcommon\cruise_data\2007-58\ARCHIVE\Bottle] *.CHE

[osapcommon\cruise_data\2007-58\ARCHIVE\CTD] *.CTD

[osapcommon\cruise_data\2007-58\ARCHIVE\DOC] all documents from RAW and PROCESSING

[osapcommon\cruise_data\2007-58\ARCHIVE\DOC\HYDRO] COMPARE files and edited versions of    spreadsheets from analysts

[osapcommon\cruise_data\2007-58\PROCESSING\CONVERT]

*.CNV – after conversion

[osapcommon\cruise_data\2007-58\PROCESSING\DERIVE]

*.CNV – after conversion, wildedit, celltm, derive

[osapcommon\cruise_data\2007-58\PROCESSING\DOC]

2007-58-recal1.ccf – calibration control file for recalibration of P, S and DO

2007-58-recal2.ccf – calibration control file for 2nd recalibration of DO

2007-58-ctd.con – configuration file used for all casts

2007-58-altimeter.csv – summary of header readings for altimeter

2007-58_file.doc - this document

2007-58_proc.doc - processing notes

2007-58-final-ctd.rpt – CTD file header check including channel summary

2007-58-final-che.rpt – CHE file header check including channel summary

*hdr.txt – header files with comments for CTD and CHE files

[osapcommon\cruise_data\2007-58\PROCESSING\DOC\HYDRO]

2007-58-sal.csv – edited version of salinity spreadsheet

2007-58-dox-comp1.csv & .xls – initial comparison of titrated DO and CTD DO

2007-58-dox-comp2.csv & .xls – comparison of titrated DO and CTD DO after 1st recal

2007-58-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO

2007-58-dox-comp4.csv & .xls – comparison of titrated DO and CTD DO after final recal

2007-58-dox-comp4-offset.csv & .xls – test run using offset recal of DO

2007-58-sal-comp1.csv & xls – initial salinity COMPARE file

addsamp.csv – file containing cast #, bottle number and sample number

Cast_3_DO_sampling.xls – study of sample number assignment for cast #3

Linearity test-autosal.xls – report on Autosal linearity

[osapcommon\cruise_data\2007-58\PROCESSING\HYDRO]

*.add – bottle files edited, with flags

*.bot  - *.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osapcommon\cruise_data\2007-58\PROCESSING\IOS]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE downcast only

*.edt - data after editing has been done

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT

Delete.log - log from routine DELETE

[osapcommon\cruise_data\2007-58\RAW]

[osapcommon\cruise_data\2007-58\RAW\2007-58-oxydata] O2 and OXY files from analyst

[osapcommon\cruise_data\2007-58\RAW\2007-58- CTDdata] raw CTD files

[osapcommon\cruise_data\2007-58\RAW\Salinity] spreadsheet from analyst