## File List
Number of Files= |  | 14
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2007-58-0001.mrgcor1 | 2007-58-0001.thn2 | 11 | 15 | 2007-58-0001.mrgcor1 & 2007-58-0001.thn2
2 | 2007-58-0002.mrgcor1 | 2007-58-0002.thn2 | 17 | 28 | 2007-58-0002.mrgcor1 & 2007-58-0002.thn2
3 | 2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 30 | 43 | 2007-58-0003.mrgcor1 & 2007-58-0003.thn2
4 | 2007-58-0004.mrgcor1 | 2007-58-0004.thn2 | 45 | 52 | 2007-58-0004.mrgcor1 & 2007-58-0004.thn2
5 | 2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 54 | 70 | 2007-58-0005.mrgcor1 & 2007-58-0005.thn2
6 | 2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 72 | 89 | 2007-58-0006.mrgcor1 & 2007-58-0006.thn2
7 | 2007-58-0008.mrgcor1 | 2007-58-0008.thn2 | 91 | 97 | 2007-58-0008.mrgcor1 & 2007-58-0008.thn2
8 | 2007-58-0009.mrgcor1 | 2007-58-0009.thn2 | 99 | 109 | 2007-58-0009.mrgcor1 & 2007-58-0009.thn2
9 | 2007-58-0010.mrgcor1 | 2007-58-0010.thn2 | 111 | 120 | 2007-58-0010.mrgcor1 & 2007-58-0010.thn2
10 | 2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 122 | 134 | 2007-58-0011.mrgcor1 & 2007-58-0011.thn2
11 | 2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 136 | 150 | 2007-58-0012.mrgcor1 & 2007-58-0012.thn2
12 | 2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 152 | 164 | 2007-58-0013.mrgcor1 & 2007-58-0013.thn2
13 | 2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 166 | 179 | 2007-58-0014.mrgcor1 & 2007-58-0014.thn2
14 | 2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 181 | 193 | 2007-58-0015.mrgcor1 & 2007-58-0015.thn2

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0090495 |  | X | CALC Y
m= | -0.00011379 | 9.7545e-05 |  | Std Dev of Resid |  | 0.13004 |  | 2.4935 | 0.028814
b= | 0.029098 | 0.015655 |  | Resid Sum of Squares |  | 2.5197 |  | 541.738 | -0.032544
# of Values Extracted = |  |  | 170
# of Values Used in Fit = |  |  | 151
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 51.0043 | 2.8293 | 0.05154 | 0.30133 | 0.023295 | -0.27804 |  | 51.0043 | 0.30133
1 | YES | 31.3387 | 3.6357 | 0.045446 | 0.11067 | 0.025532 | -0.085135 |  | 31.3387 | 0.11067
1 | YES | 21.3317 | 3.9013 | 0.046264 | 0.054333 | 0.026671 | -0.027663 |  | 21.3317 | 0.054333
1 | YES | 11.002 | 4.3627 | 0.057536 | 0.070667 | 0.027846 | -0.042821 |  | 11.002 | 0.070667
1 | YES | 2.4935 | 5.195 | 0.15839 | 0.199 | 0.028814 | -0.17019 |  | 2.4935 | 0.199
2 | YES | 207.828 | 0.145 | 0 | 0.145 | 0.0054503 | -0.13955 |  | 207.828 | 0.145
2 | YES | 201.499 | 0.1445 | 0.0077782 | 0.1445 | 0.0061705 | -0.13833 |  | 201.499 | 0.1445
2 | YES | 176.331 | 0.124 | 0.002 | 0.124 | 0.0090342 | -0.11497 |  | 176.331 | 0.124
2 | YES | 151.508 | 0.1155 | 0.0007071 | 0.1085 | 0.011859 | -0.096641 |  | 151.508 | 0.1085
2 | YES | 125.997 | 0.12033 | 0.0020817 | 0.12033 | 0.014761 | -0.10557 |  | 125.997 | 0.12033
2 | YES | 101.01 | 0.156 | 0.0028284 | 0.156 | 0.017605 | -0.1384 |  | 101.01 | 0.156
2 | YES | 75.9975 | 0.4605 | 0.027577 | 0.2585 | 0.020451 | -0.23805 |  | 75.9975 | 0.2585
2 | NO | 50.9973 | 3.011 | 0.095911 | 0.527 | 0.023295 | -0.5037 |  | 31.3247 | 0.00033331
2 | YES | 31.3247 | 3.8573 | 0.041041 | 0.00033331 | 0.025534 | 0.0252 |  | 21.3363 | 0.153
2 | YES | 21.3363 | 4.108 | 0.031 | 0.153 | 0.02667 | -0.12633 |  | 11.004 | 0.18833
2 | YES | 11.004 | 4.7253 | 0.070995 | 0.18833 | 0.027846 | -0.16049 |  | 3.3827 | -0.117
2 | YES | 3.3827 | 5.675 | 0.095263 | -0.117 | 0.028713 | 0.14571 |  | 239.396 | 0.086
3 | YES | 239.396 | 0.118 | 0 | 0.086 | 0.0018584 | -0.084142 |  | 225.995 | 0.0315
3 | YES | 225.995 | 0.1215 | 0.00070711 | 0.0315 | 0.0033832 | -0.028117 |  | 201.493 | 0.126
3 | YES | 201.493 | 0.126 | 0.0056568 | 0.126 | 0.0061712 | -0.11983 |  | 176.328 | 0.066667
3 | YES | 176.328 | 0.11067 | 0.0020817 | 0.066667 | 0.0090346 | -0.057632 |  | 151.494 | 0.0785
3 | YES | 151.494 | 0.1095 | 0.00070711 | 0.0785 | 0.01186 | -0.06664 |  | 126.003 | 0.11767
3 | YES | 126.003 | 0.11767 | 0.0015275 | 0.11767 | 0.014761 | -0.10291 |  | 110.995 | 0.081
3 | YES | 110.995 | 0.135 | 0.0028284 | 0.081 | 0.016468 | -0.064532 |  | 100.996 | 0.0425
3 | YES | 100.996 | 0.1595 | 0.006364 | 0.0425 | 0.017606 | -0.024894 |  | 91.003 | 0.156
3 | YES | 91.003 | 0.22 | 0.016971 | 0.156 | 0.018743 | -0.13726 |  | 76.0015 | 0.238
3 | YES | 76.0015 | 0.483 | 0.029698 | 0.238 | 0.02045 | -0.21755 |  | 51.0003 | 0.193
3 | YES | 51.0003 | 3.146 | 0.13696 | 0.193 | 0.023295 | -0.1697 |  | 31.3357 | 0.339
3 | YES | 31.3357 | 4.031 | 0.028478 | 0.339 | 0.025533 | -0.31347 |  | 21.3343 | 0.19633
3 | YES | 21.3343 | 4.3633 | 0.065729 | 0.19633 | 0.026671 | -0.16966 |  | 10.9993 | 0.16233
3 | YES | 10.9993 | 4.8943 | 0.086904 | 0.16233 | 0.027847 | -0.13449 |  | 156.16 | -0.027
4 | YES | 156.16 | 0.079 | 0 | -0.027 | 0.011329 | 0.038329 |  | 151.502 | 0.077
4 | YES | 151.502 | 0.084 | 0.0014142 | 0.077 | 0.011859 | -0.065141 |  | 126.004 | 0.105
4 | YES | 126.004 | 0.105 | 0.001732 | 0.105 | 0.014761 | -0.090239 |  | 100.996 | 0.127
4 | YES | 100.996 | 0.145 | 0.0042426 | 0.127 | 0.017606 | -0.10939 |  | 76.004 | 0.2695
4 | YES | 76.004 | 0.4515 | 0.041719 | 0.2695 | 0.02045 | -0.24905 |  | 31.3347 | 0.062334
4 | YES | 31.3347 | 4.1093 | 0.041041 | 0.062334 | 0.025533 | -0.036801 |  | 21.3317 | 0.093333
4 | YES | 21.3317 | 4.4033 | 0.055194 | 0.093333 | 0.026671 | -0.066662 |  | 2.669 | 0.0040002
4 | YES | 2.669 | 5.852 | 0.13152 | 0.0040002 | 0.028794 | 0.024794 |  | 533.882 | 0.017
5 | YES | 533.882 | 2.815 | 0 | 0.017 | -0.03165 | -0.04865 |  | 401 | 0.041
5 | NO | 0 | 0 | 0 | -2.919 | 0.029098 | 2.9481 |  | 351.002 | -0.0275
5 | YES | 401 | 2.911 | 0.0014141 | 0.041 | -0.01653 | -0.05753 |  | 300.995 | -0.063
5 | YES | 351.002 | 2.8755 | 0.0021213 | -0.0275 | -0.010841 | 0.016659 |  | 251.667 | -0.054333
5 | YES | 300.995 | 2.63 | 0.015556 | -0.063 | -0.0051507 | 0.057849 |  | 201.497 | -0.022
5 | YES | 251.667 | 2.1897 | 0.01222 | -0.054333 | 0.0004621 | 0.054795 |  | 175.505 | -0.053
5 | YES | 201.497 | 2.11 | 0.0014143 | -0.022 | 0.0061707 | 0.028171 |  | 151.499 | -0.0050001
5 | YES | 175.505 | 2.032 | 0 | -0.053 | 0.0091282 | 0.062128 |  | 125.501 | 0.0605
5 | YES | 151.499 | 2.015 | 0.0028284 | -0.0050001 | 0.01186 | 0.01686 |  | 101.004 | 0.07
5 | YES | 125.501 | 2.1075 | 0.02144 | 0.0605 | 0.014818 | -0.045682 |  | 75.9995 | -0.1585
5 | YES | 101.004 | 3.223 | 0.046669 | 0.07 | 0.017605 | -0.052395 |  | 51.0053 | -0.17467
5 | YES | 75.9995 | 3.8245 | 0.023335 | -0.1585 | 0.02045 | 0.17895 |  | 30.001 | -0.10667
5 | YES | 51.0053 | 4.0673 | 0.0011546 | -0.17467 | 0.023294 | 0.19796 |  | 20 | -0.028334
5 | YES | 30.001 | 4.1503 | 0.02829 | -0.10667 | 0.025684 | 0.13235 |  | 11.0027 | 0.17267
5 | YES | 20 | 4.2877 | 0.023116 | -0.028334 | 0.026822 | 0.055156 |  | 3.2277 | -0.11933
5 | YES | 11.0027 | 4.5517 | 0.036774 | 0.17267 | 0.027846 | -0.14482 |  | 541.738 | 0.079
5 | YES | 3.2277 | 5.8147 | 0.19853 | -0.11933 | 0.028731 | 0.14806 |  | 400.996 | -0.0065
6 | YES | 541.738 | 2.8 | 0 | 0.079 | -0.032544 | -0.11154 |  | 350.99 | -0.048
6 | NO | 0 | 0 | 0 | -2.796 | 0.029098 | 2.8251 |  | 301.003 | -0.061
6 | NO | 0 | 0 | 0 | -2.864 | 0.029098 | 2.8931 |  | 251.67 | -0.0020001
6 | YES | 400.996 | 2.8085 | 0.00070706 | -0.0065 | -0.016529 | -0.010029 |  | 201.501 | 0.0645
6 | YES | 350.99 | 2.742 | 0 | -0.048 | -0.010839 | 0.037161 |  | 176.34 | -0.0073333
6 | YES | 301.003 | 2.583 | 0.012728 | -0.061 | -0.0051516 | 0.055848 |  | 151.508 | 0.0049999
6 | YES | 251.67 | 2.28 | 0.002 | -0.0020001 | 0.00046176 | 0.0024618 |  | 125.499 | 0.405
6 | YES | 201.501 | 2.0985 | 0.010606 | 0.0645 | 0.0061702 | -0.05833 |  | 100.998 | 0.173
6 | YES | 176.34 | 2.0397 | 0.0025167 | -0.0073333 | 0.0090332 | 0.016366 |  | 76.0005 | 0.006
6 | YES | 151.508 | 1.968 | 0.0014142 | 0.0049999 | 0.011859 | 0.0068588 |  | 50.9987 | -0.123
6 | YES | 125.499 | 2.464 | 0.077675 | 0.405 | 0.014818 | -0.39018 |  | 30.0033 | 0.014667
6 | YES | 100.998 | 3.686 | 0.018385 | 0.173 | 0.017606 | -0.15539 |  | 20.0073 | 0.020667
6 | YES | 76.0005 | 4.034 | 0.016971 | 0.006 | 0.02045 | 0.01445 |  | 10.4925 | 0.1515
6 | YES | 50.9987 | 4.193 | 0.0072113 | -0.123 | 0.023295 | 0.1463 |  | 3.2513 | 0.0029998
6 | YES | 30.0033 | 4.4177 | 0.013614 | 0.014667 | 0.025684 | 0.011017 |  | 80.885 | -0.071
6 | YES | 20.0073 | 4.5917 | 0.018502 | 0.020667 | 0.026822 | 0.006155 |  | 75.606 | -0.1735
6 | YES | 10.4925 | 4.7495 | 0.086658 | 0.1515 | 0.027904 | -0.1236 |  | 51.002 | -0.13467
6 | YES | 3.2513 | 6.187 | 0.1295 | 0.0029998 | 0.028728 | 0.025728 |  | 31.324 | -0.069334
7 | YES | 80.885 | 5.287 | 0 | -0.071 | 0.019895 | 0.090894 |  | 20.0067 | 0.035666
7 | YES | 75.606 | 5.3015 | 0.00070706 | -0.1735 | 0.020495 | 0.194 |  | 11.0003 | 0.13
7 | YES | 51.002 | 5.2553 | 0.0055077 | -0.13467 | 0.023295 | 0.15796 |  | 2.8115 | -0.213
7 | YES | 31.324 | 5.1867 | 0.015567 | -0.069334 | 0.025534 | 0.094867 |  | 220.94 | 0.0725
7 | YES | 20.0067 | 5.2377 | 0.028042 | 0.035666 | 0.026822 | -0.0088449 |  | 199.997 | 0.053
7 | YES | 11.0003 | 5.508 | 0.072021 | 0.13 | 0.027846 | -0.10215 |  | 176.334 | 0.063334
7 | YES | 2.8115 | 6.056 | 0.029699 | -0.213 | 0.028778 | 0.24178 |  | 151.492 | 0.0595
8 | YES | 220.94 | 2.5325 | 0.0049497 | 0.0725 | 0.0039584 | -0.068542 |  | 125.993 | 0.106
8 | YES | 199.997 | 2.541 | 0 | 0.053 | 0.0063414 | -0.046659 |  | 100.999 | 0.087
8 | YES | 176.334 | 2.5483 | 0.0011547 | 0.063334 | 0.0090339 | -0.0543 |  | 76.0055 | 0.055
8 | YES | 151.492 | 2.6265 | 0.0091924 | 0.0595 | 0.011861 | -0.047639 |  | 50.501 | 0.206
8 | YES | 125.993 | 2.812 | 0.0095394 | 0.106 | 0.014762 | -0.091238 |  | 31.3357 | 0.046667
8 | YES | 100.999 | 3.209 | 0.011314 | 0.087 | 0.017606 | -0.069394 |  | 21.3273 | 0.11467
8 | YES | 76.0055 | 3.63 | 0.019799 | 0.055 | 0.02045 | -0.03455 |  | 2.615 | 0.239
8 | YES | 50.501 | 4.334 | 0.071016 | 0.206 | 0.023352 | -0.18265 |  | 175.492 | -0.041
8 | YES | 31.3357 | 5.0857 | 0.02444 | 0.046667 | 0.025533 | -0.021134 |  | 151.493 | 0.0405
8 | YES | 21.3273 | 5.2797 | 0.039879 | 0.11467 | 0.026671 | -0.087995 |  | 126.002 | 0.090333
8 | YES | 2.615 | 6.551 | 0.031113 | 0.239 | 0.028801 | -0.2102 |  | 101.014 | 0.0815
9 | YES | 175.492 | 2.534 | 0 | -0.041 | 0.0091297 | 0.05013 |  | 75.999 | 0.0275
9 | YES | 151.493 | 2.5735 | 0.0049497 | 0.0405 | 0.01186 | -0.028639 |  | 50.9987 | 0.22233
9 | YES | 126.002 | 2.8953 | 0.012503 | 0.090333 | 0.014761 | -0.075572 |  | 31.3337 | -0.15
9 | YES | 101.014 | 3.1805 | 0.0091924 | 0.0815 | 0.017604 | -0.063896 |  | 21.332 | -0.045
9 | YES | 75.999 | 3.2355 | 0.013435 | 0.0275 | 0.020451 | -0.0070494 |  | 10.5007 | 0.06825
9 | YES | 50.9987 | 3.8673 | 0.063003 | 0.22233 | 0.023295 | -0.19904 |  | 3.311 | -0.123
9 | YES | 31.3337 | 4.946 | 0.038627 | -0.15 | 0.025533 | 0.17553 |  | 277.9 | -0.217
9 | YES | 21.332 | 5.147 | 0.03537 | -0.045 | 0.026671 | 0.071671 |  | 253.007 | -0.018
9 | YES | 10.5007 | 5.5942 | 0.11588 | 0.06825 | 0.027903 | -0.040347 |  | 201.507 | 0.043
9 | YES | 3.311 | 6.501 | 0 | -0.123 | 0.028721 | 0.15172 |  | 176.33 | -0.20967
10 | YES | 277.9 | 2.524 | 0 | -0.217 | -0.0025228 | 0.21448 |  | 151.495 | -0.079
10 | YES | 253.007 | 2.577 | 0 | -0.018 | 0.00030962 | 0.01831 |  | 125.999 | -0.134
10 | YES | 201.507 | 2.623 | 0.0056569 | 0.043 | 0.0061696 | -0.036831 |  | 100.992 | -0.058
10 | YES | 176.33 | 2.6533 | 0.0035119 | -0.20967 | 0.0090343 | 0.2187 |  | 75.993 | -0.163
10 | YES | 151.495 | 2.711 | 0.0070711 | -0.079 | 0.01186 | 0.09086 |  | 50.9983 | -0.151
10 | YES | 125.999 | 2.823 | 0.0085441 | -0.134 | 0.014761 | 0.14876 |  | 31.336 | 0.036667
10 | YES | 100.992 | 3.061 | 0.0070711 | -0.058 | 0.017607 | 0.075607 |  | 21.3387 | -0.10133
10 | YES | 75.993 | 2.974 | 0.033941 | -0.163 | 0.020451 | 0.18345 |  | 11.0047 | 0.084
10 | YES | 50.9983 | 3.715 | 0.03759 | -0.151 | 0.023295 | 0.1743 |  | 2.928 | -0.163
10 | YES | 31.336 | 4.7627 | 0.062051 | 0.036667 | 0.025533 | -0.011134 |  | 373.185 | -0.019
10 | YES | 21.3387 | 5.1197 | 0.037581 | -0.10133 | 0.02667 | 0.128 |  | 350.994 | 0.049
10 | YES | 11.0047 | 5.454 | 0.066091 | 0.084 | 0.027846 | -0.056154 |  | 301.002 | 0.0275
10 | YES | 2.928 | 6.697 | 0.0014141 | -0.163 | 0.028765 | 0.19176 |  | 251.674 | 0.034
11 | YES | 373.185 | 2.385 | 0 | -0.019 | -0.013365 | 0.0056352 |  | 201.499 | 0.0685
11 | YES | 350.994 | 2.446 | 0 | 0.049 | -0.01084 | -0.05984 |  | 176.34 | -0.061333
11 | YES | 301.002 | 2.5045 | 0.0035354 | 0.0275 | -0.0051515 | -0.032651 |  | 151.492 | -0.0335
11 | YES | 251.674 | 2.549 | 0.00099993 | 0.034 | 0.0004613 | -0.033539 |  | 125.998 | -0.062333
11 | YES | 201.499 | 2.5965 | 0.006364 | 0.0685 | 0.0061705 | -0.062329 |  | 100.992 | -0.0975
11 | YES | 176.34 | 2.5917 | 0.00057731 | -0.061333 | 0.0090332 | 0.070367 |  | 76.002 | -0.123
11 | YES | 151.492 | 2.6185 | 0.0021212 | -0.0335 | 0.011861 | 0.045361 |  | 51.0033 | 0.00066662
11 | YES | 125.998 | 2.6097 | 0.0020816 | -0.062333 | 0.014761 | 0.077095 |  | 31.342 | -0.0023332
11 | YES | 100.992 | 2.6865 | 0.006364 | -0.0975 | 0.017607 | 0.11511 |  | 21.331 | -0.164
11 | YES | 76.002 | 2.525 | 0.024042 | -0.123 | 0.02045 | 0.14345 |  | 10.9937 | 0.073
11 | YES | 51.0033 | 3.5927 | 0.062517 | 0.00066662 | 0.023295 | 0.022628 |  | 274.663 | -0.138
11 | YES | 31.342 | 4.4667 | 0.04884 | -0.0023332 | 0.025532 | 0.027865 |  | 251.667 | -0.064667
11 | YES | 21.331 | 4.818 | 0.045398 | -0.164 | 0.026671 | 0.19067 |  | 201.5 | -0.07
11 | YES | 10.9937 | 4.912 | 0.090703 | 0.073 | 0.027847 | -0.045153 |  | 176.339 | -0.125
11 | NO | 0 | 0 | 0 | -5.819 | 0.029098 | 5.8481 |  | 151.506 | -0.2465
12 | YES | 274.663 | 2.447 | 0 | -0.138 | -0.0021545 | 0.13585 |  | 125.996 | -0.117
12 | YES | 251.667 | 2.5923 | 0.0092915 | -0.064667 | 0.0004621 | 0.065129 |  | 75.994 | -0.1095
12 | YES | 201.5 | 2.509 | 0.025456 | -0.07 | 0.0061704 | 0.076171 |  | 51.0007 | -0.023667
12 | YES | 176.339 | 2.358 | 0.0060827 | -0.125 | 0.0090333 | 0.13403 |  | 31.3297 | -0.018667
12 | YES | 151.506 | 2.3585 | 0.02192 | -0.2465 | 0.011859 | 0.25836 |  | 21.3267 | -0.12733
12 | YES | 125.996 | 2.135 | 0.018083 | -0.117 | 0.014762 | 0.13176 |  | 11 | -0.020667
12 | NO | 101.005 | 2.027 | 0.014142 | -0.273 | 0.017605 | 0.29061 |  | 301 | -0.061
12 | YES | 75.994 | 1.8465 | 0.016264 | -0.1095 | 0.020451 | 0.12995 |  | 101.003 | -0.2255
12 | YES | 51.0007 | 3.5323 | 0.060003 | -0.023667 | 0.023295 | 0.046962 |  | 76.0005 | -0.106
12 | YES | 31.3297 | 4.4923 | 0.044959 | -0.018667 | 0.025533 | 0.0442 |  | 50.999 | 0.39933
12 | YES | 21.3267 | 4.6827 | 0.01115 | -0.12733 | 0.026671 | 0.154 |  | 31.334 | -0.19033
12 | YES | 11 | 4.6583 | 0.075593 | -0.020667 | 0.027846 | 0.048513 |  | 10.9977 | -0.116
12 | NO | 2.5525 | 6.5515 | 0.098288 | -0.2715 | 0.028808 | 0.30031 |  | 251.98 | -0.121
13 | NO | 326.061 | 1.78 | 0.098995 | -0.258 | -0.0080028 | 0.25 |  | 251.98 | -0.08
13 | YES | 301 | 2.129 | 0.018385 | -0.061 | -0.0051513 | 0.055849 |  | 201.499 | -0.223
13 | NO | 251.669 | 2.6717 | 0.006429 | -0.55733 | 0.00046187 | 0.55779 |  | 101.005 | -0.1775
13 | NO | 201.496 | 2.576 | 0.015556 | -0.327 | 0.0061708 | 0.33317 |  | 75.9965 | 0.1195
13 | NO | 176.33 | 2.247 | 0.028844 | -0.698 | 0.0090343 | 0.70703 |  | 31.3403 | -0.032667
13 | NO | 151.5 | 1.9535 | 0.030406 | -0.3345 | 0.01186 | 0.34636 |  | 21.3263 | -0.057
13 | NO | 125.999 | 1.5357 | 0.019553 | -0.29433 | 0.014761 | 0.30909 |  | 11.007 | 0.269
13 | YES | 101.003 | 1.0935 | 0.033234 | -0.2255 | 0.017605 | 0.24311 |  | 2.625 | -0.179
13 | YES | 76.0005 | 1.033 | 0.032527 | -0.106 | 0.02045 | 0.12645
13 | YES | 50.999 | 3.1843 | 0.061338 | 0.39933 | 0.023295 | -0.37604
13 | YES | 31.334 | 3.9717 | 0.029687 | -0.19033 | 0.025533 | 0.21587
13 | NO | 21.332 | 4.1723 | 0.018148 | -0.28967 | 0.026671 | 0.31634
13 | YES | 10.9977 | 4.45 | 0.073505 | -0.116 | 0.027847 | 0.14385
13 | NO | 3.108 | 6.1263 | 0.15708 | -0.37567 | 0.028744 | 0.40441
14 | YES | 251.98 | 2.504 | 0 | -0.121 | 0.00042648 | 0.12143
14 | YES | 251.98 | 2.504 | 0 | -0.08 | 0.00042648 | 0.080427
14 | YES | 201.499 | 2.523 | 0.021213 | -0.223 | 0.0061705 | 0.22917
14 | NO | 176.341 | 2.0453 | 0.039954 | -0.38767 | 0.0090331 | 0.3967
14 | NO | 151.507 | 1.5395 | 0.043134 | -0.3265 | 0.011859 | 0.33836
14 | NO | 125.999 | 0.822 | 0.013 | -0.257 | 0.014761 | 0.27176
14 | YES | 101.005 | 0.4885 | 0.006364 | -0.1775 | 0.017605 | 0.19511
14 | YES | 75.9965 | 0.6785 | 0.030406 | 0.1195 | 0.020451 | -0.099049
14 | NO | 50.9947 | 2.9603 | 0.088636 | 0.71033 | 0.023296 | -0.68704
14 | YES | 31.3403 | 3.6093 | 0.019757 | -0.032667 | 0.025532 | 0.058199
14 | YES | 21.3263 | 3.707 | 0.024434 | -0.057 | 0.026671 | 0.083671
14 | YES | 11.007 | 4.238 | 0.084285 | 0.269 | 0.027846 | -0.24115
14 | YES | 2.625 | 5.704 | 0.12162 | -0.179 | 0.028799 | 0.2078
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.015406 |  | X | CALC Y
m= | -0.010866 | 0.0068676 |  | Std Dev of Resid |  | 0.14969 |  | 0.079 | 0.02598
b= | 0.026838 | 0.024062 |  | Resid Sum of Squares |  | 3.5852 |  | 6.697 | -0.045933
# of Values Extracted = |  |  | 170
# of Values Used in Fit = |  |  | 162
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 51.0043 | 2.8293 | 0.05154 | 0.30133 | -0.0039058 | -0.30524 |  | 2.8293 | 0.30133
1 | YES | 31.3387 | 3.6357 | 0.045446 | 0.11067 | -0.012668 | -0.12333 |  | 3.6357 | 0.11067
1 | YES | 21.3317 | 3.9013 | 0.046264 | 0.054333 | -0.015554 | -0.069888 |  | 3.9013 | 0.054333
1 | YES | 11.002 | 4.3627 | 0.057536 | 0.070667 | -0.020567 | -0.091234 |  | 4.3627 | 0.070667
1 | YES | 2.4935 | 5.195 | 0.15839 | 0.199 | -0.029612 | -0.22861 |  | 5.195 | 0.199
2 | YES | 207.828 | 0.145 | 0 | 0.145 | 0.025263 | -0.11974 |  | 0.145 | 0.145
2 | YES | 201.499 | 0.1445 | 0.0077782 | 0.1445 | 0.025268 | -0.11923 |  | 0.1445 | 0.1445
2 | YES | 176.331 | 0.124 | 0.002 | 0.124 | 0.025491 | -0.098509 |  | 0.124 | 0.124
2 | YES | 151.508 | 0.1155 | 0.0007071 | 0.1085 | 0.025583 | -0.082917 |  | 0.1155 | 0.1085
2 | YES | 125.997 | 0.12033 | 0.0020817 | 0.12033 | 0.025531 | -0.094802 |  | 0.12033 | 0.12033
2 | YES | 101.01 | 0.156 | 0.0028284 | 0.156 | 0.025143 | -0.13086 |  | 0.156 | 0.156
2 | YES | 75.9975 | 0.4605 | 0.027577 | 0.2585 | 0.021835 | -0.23667 |  | 0.4605 | 0.2585
2 | NO | 50.9973 | 3.011 | 0.095911 | 0.527 | -0.0058799 | -0.53288 |  | 3.8573 | 0.00033331
2 | YES | 31.3247 | 3.8573 | 0.041041 | 0.00033331 | -0.015076 | -0.01541 |  | 4.108 | 0.153
2 | YES | 21.3363 | 4.108 | 0.031 | 0.153 | -0.0178 | -0.1708 |  | 4.7253 | 0.18833
2 | YES | 11.004 | 4.7253 | 0.070995 | 0.18833 | -0.024508 | -0.21284 |  | 5.675 | -0.117
2 | YES | 3.3827 | 5.675 | 0.095263 | -0.117 | -0.034828 | 0.082172 |  | 0.118 | 0.086
3 | YES | 239.396 | 0.118 | 0 | 0.086 | 0.025556 | -0.060444 |  | 0.1215 | 0.0315
3 | YES | 225.995 | 0.1215 | 0.00070711 | 0.0315 | 0.025518 | -0.0059818 |  | 0.126 | 0.126
3 | YES | 201.493 | 0.126 | 0.0056568 | 0.126 | 0.025469 | -0.10053 |  | 0.11067 | 0.066667
3 | YES | 176.328 | 0.11067 | 0.0020817 | 0.066667 | 0.025636 | -0.041031 |  | 0.1095 | 0.0785
3 | YES | 151.494 | 0.1095 | 0.00070711 | 0.0785 | 0.025649 | -0.052851 |  | 0.11767 | 0.11767
3 | YES | 126.003 | 0.11767 | 0.0015275 | 0.11767 | 0.02556 | -0.092107 |  | 0.135 | 0.081
3 | YES | 110.995 | 0.135 | 0.0028284 | 0.081 | 0.025371 | -0.055629 |  | 0.1595 | 0.0425
3 | YES | 100.996 | 0.1595 | 0.006364 | 0.0425 | 0.025105 | -0.017395 |  | 0.22 | 0.156
3 | YES | 91.003 | 0.22 | 0.016971 | 0.156 | 0.024448 | -0.13155 |  | 0.483 | 0.238
3 | YES | 76.0015 | 0.483 | 0.029698 | 0.238 | 0.02159 | -0.21641 |  | 3.146 | 0.193
3 | YES | 51.0003 | 3.146 | 0.13696 | 0.193 | -0.0073468 | -0.20035 |  | 4.031 | 0.339
3 | YES | 31.3357 | 4.031 | 0.028478 | 0.339 | -0.016963 | -0.35596 |  | 4.3633 | 0.19633
3 | YES | 21.3343 | 4.3633 | 0.065729 | 0.19633 | -0.020575 | -0.21691 |  | 4.8943 | 0.16233
3 | YES | 10.9993 | 4.8943 | 0.086904 | 0.16233 | -0.026345 | -0.18868 |  | 0.079 | -0.027
4 | YES | 156.16 | 0.079 | 0 | -0.027 | 0.02598 | 0.05298 |  | 0.084 | 0.077
4 | YES | 151.502 | 0.084 | 0.0014142 | 0.077 | 0.025926 | -0.051074 |  | 0.105 | 0.105
4 | YES | 126.004 | 0.105 | 0.001732 | 0.105 | 0.025697 | -0.079303 |  | 0.145 | 0.127
4 | YES | 100.996 | 0.145 | 0.0042426 | 0.127 | 0.025263 | -0.10174 |  | 0.4515 | 0.2695
4 | YES | 76.004 | 0.4515 | 0.041719 | 0.2695 | 0.021932 | -0.24757 |  | 4.1093 | 0.062334
4 | YES | 31.3347 | 4.1093 | 0.041041 | 0.062334 | -0.017815 | -0.080148 |  | 4.4033 | 0.093333
4 | YES | 21.3317 | 4.4033 | 0.055194 | 0.093333 | -0.021009 | -0.11434 |  | 5.852 | 0.0040002
4 | YES | 2.669 | 5.852 | 0.13152 | 0.0040002 | -0.036751 | -0.040751 |  | 2.815 | 0.017
5 | YES | 533.882 | 2.815 | 0 | 0.017 | -0.0037501 | -0.02075 |  | 2.911 | 0.041
5 | NO | 0 | 0 | 0 | -2.919 | 0.026838 | 2.9458 |  | 2.8755 | -0.0275
5 | YES | 401 | 2.911 | 0.0014141 | 0.041 | -0.0047933 | -0.045793 |  | 2.63 | -0.063
5 | YES | 351.002 | 2.8755 | 0.0021213 | -0.0275 | -0.0044075 | 0.023092 |  | 2.1897 | -0.054333
5 | YES | 300.995 | 2.63 | 0.015556 | -0.063 | -0.0017398 | 0.06126 |  | 2.11 | -0.022
5 | YES | 251.667 | 2.1897 | 0.01222 | -0.054333 | 0.0030449 | 0.057378 |  | 2.032 | -0.053
5 | YES | 201.497 | 2.11 | 0.0014143 | -0.022 | 0.0039106 | 0.02591 |  | 2.015 | -0.0050001
5 | YES | 175.505 | 2.032 | 0 | -0.053 | 0.0047582 | 0.057758 |  | 2.1075 | 0.0605
5 | YES | 151.499 | 2.015 | 0.0028284 | -0.0050001 | 0.0049429 | 0.009943 |  | 3.223 | 0.07
5 | YES | 125.501 | 2.1075 | 0.02144 | 0.0605 | 0.0039378 | -0.056562 |  | 3.8245 | -0.1585
5 | YES | 101.004 | 3.223 | 0.046669 | 0.07 | -0.0081835 | -0.078183 |  | 4.0673 | -0.17467
5 | YES | 75.9995 | 3.8245 | 0.023335 | -0.1585 | -0.01472 | 0.14378 |  | 4.1503 | -0.10667
5 | YES | 51.0053 | 4.0673 | 0.0011546 | -0.17467 | -0.017358 | 0.15731 |  | 4.2877 | -0.028334
5 | YES | 30.001 | 4.1503 | 0.02829 | -0.10667 | -0.01826 | 0.088407 |  | 4.5517 | 0.17267
5 | YES | 20 | 4.2877 | 0.023116 | -0.028334 | -0.019753 | 0.0085812 |  | 5.8147 | -0.11933
5 | YES | 11.0027 | 4.5517 | 0.036774 | 0.17267 | -0.022621 | -0.19529 |  | 2.8 | 0.079
5 | YES | 3.2277 | 5.8147 | 0.19853 | -0.11933 | -0.036345 | 0.082988 |  | 2.8085 | -0.0065
6 | YES | 541.738 | 2.8 | 0 | 0.079 | -0.0035871 | -0.082587 |  | 2.742 | -0.048
6 | NO | 0 | 0 | 0 | -2.796 | 0.026838 | 2.8228 |  | 2.583 | -0.061
6 | NO | 0 | 0 | 0 | -2.864 | 0.026838 | 2.8908 |  | 2.28 | -0.0020001
6 | YES | 400.996 | 2.8085 | 0.00070706 | -0.0065 | -0.0036795 | 0.0028205 |  | 2.0985 | 0.0645
6 | YES | 350.99 | 2.742 | 0 | -0.048 | -0.0029569 | 0.045043 |  | 2.0397 | -0.0073333
6 | YES | 301.003 | 2.583 | 0.012728 | -0.061 | -0.0012291 | 0.059771 |  | 1.968 | 0.0049999
6 | YES | 251.67 | 2.28 | 0.002 | -0.0020001 | 0.0020634 | 0.0040634 |  | 2.464 | 0.405
6 | YES | 201.501 | 2.0985 | 0.010606 | 0.0645 | 0.0040356 | -0.060465 |  | 3.686 | 0.173
6 | YES | 176.34 | 2.0397 | 0.0025167 | -0.0073333 | 0.0046748 | 0.012008 |  | 4.034 | 0.006
6 | YES | 151.508 | 1.968 | 0.0014142 | 0.0049999 | 0.0054536 | 0.00045375 |  | 4.193 | -0.123
6 | YES | 125.499 | 2.464 | 0.077675 | 0.405 | 6.3963e-05 | -0.40494 |  | 4.4177 | 0.014667
6 | YES | 100.998 | 3.686 | 0.018385 | 0.173 | -0.013215 | -0.18621 |  | 4.5917 | 0.020667
6 | YES | 76.0005 | 4.034 | 0.016971 | 0.006 | -0.016996 | -0.022996 |  | 4.7495 | 0.1515
6 | YES | 50.9987 | 4.193 | 0.0072113 | -0.123 | -0.018724 | 0.10428 |  | 6.187 | 0.0029998
6 | YES | 30.0033 | 4.4177 | 0.013614 | 0.014667 | -0.021165 | -0.035832 |  | 5.287 | -0.071
6 | YES | 20.0073 | 4.5917 | 0.018502 | 0.020667 | -0.023056 | -0.043722 |  | 5.3015 | -0.1735
6 | YES | 10.4925 | 4.7495 | 0.086658 | 0.1515 | -0.024771 | -0.17627 |  | 5.2553 | -0.13467
6 | YES | 3.2513 | 6.187 | 0.1295 | 0.0029998 | -0.040391 | -0.043391 |  | 5.1867 | -0.069334
7 | YES | 80.885 | 5.287 | 0 | -0.071 | -0.030611 | 0.040388 |  | 5.2377 | 0.035666
7 | YES | 75.606 | 5.3015 | 0.00070706 | -0.1735 | -0.030769 | 0.14273 |  | 5.508 | 0.13
7 | YES | 51.002 | 5.2553 | 0.0055077 | -0.13467 | -0.030267 | 0.1044 |  | 6.056 | -0.213
7 | YES | 31.324 | 5.1867 | 0.015567 | -0.069334 | -0.029521 | 0.039812 |  | 2.5325 | 0.0725
7 | YES | 20.0067 | 5.2377 | 0.028042 | 0.035666 | -0.030075 | -0.065742 |  | 2.541 | 0.053
7 | YES | 11.0003 | 5.508 | 0.072021 | 0.13 | -0.033013 | -0.16301 |  | 2.5483 | 0.063334
7 | YES | 2.8115 | 6.056 | 0.029699 | -0.213 | -0.038968 | 0.17403 |  | 2.6265 | 0.0595
8 | YES | 220.94 | 2.5325 | 0.0049497 | 0.0725 | -0.00068038 | -0.07318 |  | 2.812 | 0.106
8 | YES | 199.997 | 2.541 | 0 | 0.053 | -0.00077274 | -0.053773 |  | 3.209 | 0.087
8 | YES | 176.334 | 2.5483 | 0.0011547 | 0.063334 | -0.00085239 | -0.064186 |  | 3.63 | 0.055
8 | YES | 151.492 | 2.6265 | 0.0091924 | 0.0595 | -0.0017018 | -0.061202 |  | 4.334 | 0.206
8 | YES | 125.993 | 2.812 | 0.0095394 | 0.106 | -0.0037175 | -0.10972 |  | 5.0857 | 0.046667
8 | YES | 100.999 | 3.209 | 0.011314 | 0.087 | -0.0080314 | -0.095031 |  | 5.2797 | 0.11467
8 | YES | 76.0055 | 3.63 | 0.019799 | 0.055 | -0.012606 | -0.067606 |  | 6.551 | 0.239
8 | YES | 50.501 | 4.334 | 0.071016 | 0.206 | -0.020256 | -0.22626 |  | 2.534 | -0.041
8 | YES | 31.3357 | 5.0857 | 0.02444 | 0.046667 | -0.028424 | -0.07509 |  | 2.5735 | 0.0405
8 | YES | 21.3273 | 5.2797 | 0.039879 | 0.11467 | -0.030532 | -0.1452 |  | 2.8953 | 0.090333
8 | YES | 2.615 | 6.551 | 0.031113 | 0.239 | -0.044346 | -0.28335 |  | 3.1805 | 0.0815
9 | YES | 175.492 | 2.534 | 0 | -0.041 | -0.00069667 | 0.040303 |  | 3.2355 | 0.0275
9 | YES | 151.493 | 2.5735 | 0.0049497 | 0.0405 | -0.0011259 | -0.041626 |  | 3.8673 | 0.22233
9 | YES | 126.002 | 2.8953 | 0.012503 | 0.090333 | -0.004623 | -0.094956 |  | 4.946 | -0.15
9 | YES | 101.014 | 3.1805 | 0.0091924 | 0.0815 | -0.0077217 | -0.089222 |  | 5.147 | -0.045
9 | YES | 75.999 | 3.2355 | 0.013435 | 0.0275 | -0.0083194 | -0.035819 |  | 5.5942 | 0.06825
9 | YES | 50.9987 | 3.8673 | 0.063003 | 0.22233 | -0.015185 | -0.23752 |  | 6.501 | -0.123
9 | YES | 31.3337 | 4.946 | 0.038627 | -0.15 | -0.026906 | 0.12309 |  | 2.524 | -0.217
9 | YES | 21.332 | 5.147 | 0.03537 | -0.045 | -0.02909 | 0.01591 |  | 2.577 | -0.018
9 | YES | 10.5007 | 5.5942 | 0.11588 | 0.06825 | -0.03395 | -0.1022 |  | 2.623 | 0.043
9 | YES | 3.311 | 6.501 | 0 | -0.123 | -0.043803 | 0.079197 |  | 2.6533 | -0.20967
10 | YES | 277.9 | 2.524 | 0 | -0.217 | -0.00058801 | 0.21641 |  | 2.711 | -0.079
10 | YES | 253.007 | 2.577 | 0 | -0.018 | -0.0011639 | 0.016836 |  | 2.823 | -0.134
10 | YES | 201.507 | 2.623 | 0.0056569 | 0.043 | -0.0016638 | -0.044664 |  | 3.061 | -0.058
10 | YES | 176.33 | 2.6533 | 0.0035119 | -0.20967 | -0.0019933 | 0.20767 |  | 2.974 | -0.163
10 | YES | 151.495 | 2.711 | 0.0070711 | -0.079 | -0.00262 | 0.07638 |  | 3.715 | -0.151
10 | YES | 125.999 | 2.823 | 0.0085441 | -0.134 | -0.003837 | 0.13016 |  | 4.7627 | 0.036667
10 | YES | 100.992 | 3.061 | 0.0070711 | -0.058 | -0.0064232 | 0.051577 |  | 5.1197 | -0.10133
10 | YES | 75.993 | 2.974 | 0.033941 | -0.163 | -0.0054778 | 0.15752 |  | 5.454 | 0.084
10 | YES | 50.9983 | 3.715 | 0.03759 | -0.151 | -0.01353 | 0.13747 |  | 6.697 | -0.163
10 | YES | 31.336 | 4.7627 | 0.062051 | 0.036667 | -0.024914 | -0.061581 |  | 2.385 | -0.019
10 | YES | 21.3387 | 5.1197 | 0.037581 | -0.10133 | -0.028793 | 0.072541 |  | 2.446 | 0.049
10 | YES | 11.0047 | 5.454 | 0.066091 | 0.084 | -0.032426 | -0.11643 |  | 2.5045 | 0.0275
10 | YES | 2.928 | 6.697 | 0.0014141 | -0.163 | -0.045933 | 0.11707 |  | 2.549 | 0.034
11 | YES | 373.185 | 2.385 | 0 | -0.019 | 0.0009224 | 0.019922 |  | 2.5965 | 0.0685
11 | YES | 350.994 | 2.446 | 0 | 0.049 | 0.00025956 | -0.04874 |  | 2.5917 | -0.061333
11 | YES | 301.002 | 2.5045 | 0.0035354 | 0.0275 | -0.00037612 | -0.027876 |  | 2.6185 | -0.0335
11 | YES | 251.674 | 2.549 | 0.00099993 | 0.034 | -0.00085967 | -0.03486 |  | 2.6097 | -0.062333
11 | YES | 201.499 | 2.5965 | 0.006364 | 0.0685 | -0.0013758 | -0.069876 |  | 2.6865 | -0.0975
11 | YES | 176.34 | 2.5917 | 0.00057731 | -0.061333 | -0.0013233 | 0.06001 |  | 2.525 | -0.123
11 | YES | 151.492 | 2.6185 | 0.0021212 | -0.0335 | -0.0016149 | 0.031885 |  | 3.5927 | 0.00066662
11 | YES | 125.998 | 2.6097 | 0.0020816 | -0.062333 | -0.0015189 | 0.060814 |  | 4.4667 | -0.0023332
11 | YES | 100.992 | 2.6865 | 0.006364 | -0.0975 | -0.0023538 | 0.095146 |  | 4.818 | -0.164
11 | YES | 76.002 | 2.525 | 0.024042 | -0.123 | -0.00059888 | 0.1224 |  | 4.912 | 0.073
11 | YES | 51.0033 | 3.5927 | 0.062517 | 0.00066662 | -0.0122 | -0.012867 |  | 2.447 | -0.138
11 | YES | 31.342 | 4.4667 | 0.04884 | -0.0023332 | -0.021698 | -0.019364 |  | 2.5923 | -0.064667
11 | YES | 21.331 | 4.818 | 0.045398 | -0.164 | -0.025515 | 0.13848 |  | 2.509 | -0.07
11 | YES | 10.9937 | 4.912 | 0.090703 | 0.073 | -0.026537 | -0.099537 |  | 2.358 | -0.125
11 | NO | 0 | 0 | 0 | -5.819 | 0.026838 | 5.8458 |  | 2.3585 | -0.2465
12 | YES | 274.663 | 2.447 | 0 | -0.138 | 0.00024869 | 0.13825 |  | 2.135 | -0.117
12 | YES | 251.667 | 2.5923 | 0.0092915 | -0.064667 | -0.0013305 | 0.063336 |  | 2.027 | -0.273
12 | YES | 201.5 | 2.509 | 0.025456 | -0.07 | -0.00042502 | 0.069575 |  | 1.8465 | -0.1095
12 | YES | 176.339 | 2.358 | 0.0060827 | -0.125 | 0.0012158 | 0.12622 |  | 3.5323 | -0.023667
12 | YES | 151.506 | 2.3585 | 0.02192 | -0.2465 | 0.0012104 | 0.24771 |  | 4.4923 | -0.018667
12 | YES | 125.996 | 2.135 | 0.018083 | -0.117 | 0.003639 | 0.12064 |  | 4.6827 | -0.12733
12 | YES | 101.005 | 2.027 | 0.014142 | -0.273 | 0.0048125 | 0.27781 |  | 4.6583 | -0.020667
12 | YES | 75.994 | 1.8465 | 0.016264 | -0.1095 | 0.0067739 | 0.11627 |  | 6.5515 | -0.2715
12 | YES | 51.0007 | 3.5323 | 0.060003 | -0.023667 | -0.011545 | 0.012122 |  | 1.78 | -0.258
12 | YES | 31.3297 | 4.4923 | 0.044959 | -0.018667 | -0.021976 | -0.0033097 |  | 2.129 | -0.061
12 | YES | 21.3267 | 4.6827 | 0.01115 | -0.12733 | -0.024045 | 0.10329 |  | 2.576 | -0.327
12 | YES | 11 | 4.6583 | 0.075593 | -0.020667 | -0.02378 | -0.0031136 |  | 1.9535 | -0.3345
12 | YES | 2.5525 | 6.5515 | 0.098288 | -0.2715 | -0.044352 | 0.22715 |  | 1.5357 | -0.29433
13 | YES | 326.061 | 1.78 | 0.098995 | -0.258 | 0.0074965 | 0.2655 |  | 1.0935 | -0.2255
13 | YES | 301 | 2.129 | 0.018385 | -0.061 | 0.0037042 | 0.064704 |  | 1.033 | -0.106
13 | NO | 251.669 | 2.6717 | 0.006429 | -0.55733 | -0.0021926 | 0.55514 |  | 3.1843 | 0.39933
13 | YES | 201.496 | 2.576 | 0.015556 | -0.327 | -0.0011531 | 0.32585 |  | 3.9717 | -0.19033
13 | NO | 176.33 | 2.247 | 0.028844 | -0.698 | 0.0024219 | 0.70042 |  | 4.1723 | -0.28967
13 | YES | 151.5 | 1.9535 | 0.030406 | -0.3345 | 0.0056112 | 0.34011 |  | 4.45 | -0.116
13 | YES | 125.999 | 1.5357 | 0.019553 | -0.29433 | 0.010151 | 0.30448 |  | 6.1263 | -0.37567
13 | YES | 101.003 | 1.0935 | 0.033234 | -0.2255 | 0.014956 | 0.24046 |  | 2.504 | -0.121
13 | YES | 76.0005 | 1.033 | 0.032527 | -0.106 | 0.015614 | 0.12161 |  | 2.504 | -0.08
13 | YES | 50.999 | 3.1843 | 0.061338 | 0.39933 | -0.0077633 | -0.4071 |  | 2.523 | -0.223
13 | YES | 31.334 | 3.9717 | 0.029687 | -0.19033 | -0.016319 | 0.17402 |  | 2.0453 | -0.38767
13 | YES | 21.332 | 4.1723 | 0.018148 | -0.28967 | -0.018499 | 0.27117 |  | 1.5395 | -0.3265
13 | YES | 10.9977 | 4.45 | 0.073505 | -0.116 | -0.021516 | 0.094484 |  | 0.822 | -0.257
13 | YES | 3.108 | 6.1263 | 0.15708 | -0.37567 | -0.039732 | 0.33594 |  | 0.4885 | -0.1775
14 | YES | 251.98 | 2.504 | 0 | -0.121 | -0.00037069 | 0.12063 |  | 0.6785 | 0.1195
14 | YES | 251.98 | 2.504 | 0 | -0.08 | -0.00037069 | 0.07963 |  | 3.6093 | -0.032667
14 | YES | 201.499 | 2.523 | 0.021213 | -0.223 | -0.00057715 | 0.22242 |  | 3.707 | -0.057
14 | YES | 176.341 | 2.0453 | 0.039954 | -0.38767 | 0.0046133 | 0.39228 |  | 4.238 | 0.269
14 | YES | 151.507 | 1.5395 | 0.043134 | -0.3265 | 0.01011 | 0.33661 |  | 5.704 | -0.179
14 | YES | 125.999 | 0.822 | 0.013 | -0.257 | 0.017906 | 0.27491
14 | YES | 101.005 | 0.4885 | 0.006364 | -0.1775 | 0.02153 | 0.19903
14 | YES | 75.9965 | 0.6785 | 0.030406 | 0.1195 | 0.019466 | -0.10003
14 | NO | 50.9947 | 2.9603 | 0.088636 | 0.71033 | -0.0053293 | -0.71566
14 | YES | 31.3403 | 3.6093 | 0.019757 | -0.032667 | -0.012381 | 0.020285
14 | YES | 21.3263 | 3.707 | 0.024434 | -0.057 | -0.013443 | 0.043557
14 | YES | 11.007 | 4.238 | 0.084285 | 0.269 | -0.019213 | -0.28821
14 | YES | 2.625 | 5.704 | 0.12162 | -0.179 | -0.035143 | 0.14386
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.32578 |  | X | CALC Y
m= | -0.021972 | 0.0024989 |  | Std Dev of Resid |  | 0.12387 |  | 1 | 0.14363
b= | 0.1656 | 0.021847 |  | Resid Sum of Squares |  | 2.455 |  | 14 | -0.14201
# of Values Extracted = |  |  | 170
# of Values Used in Fit = |  |  | 162
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 51.0043 | 2.8293 | 0.05154 | 0.30133 | 0.14363 | -0.1577 |  | 1 | 0.30133
1 | YES | 31.3387 | 3.6357 | 0.045446 | 0.11067 | 0.14363 | 0.032964 |  | 1 | 0.11067
1 | YES | 21.3317 | 3.9013 | 0.046264 | 0.054333 | 0.14363 | 0.089298 |  | 1 | 0.054333
1 | YES | 11.002 | 4.3627 | 0.057536 | 0.070667 | 0.14363 | 0.072964 |  | 1 | 0.070667
1 | YES | 2.4935 | 5.195 | 0.15839 | 0.199 | 0.14363 | -0.055369 |  | 1 | 0.199
2 | YES | 207.828 | 0.145 | 0 | 0.145 | 0.12166 | -0.023341 |  | 2 | 0.145
2 | YES | 201.499 | 0.1445 | 0.0077782 | 0.1445 | 0.12166 | -0.022841 |  | 2 | 0.1445
2 | YES | 176.331 | 0.124 | 0.002 | 0.124 | 0.12166 | -0.0023411 |  | 2 | 0.124
2 | YES | 151.508 | 0.1155 | 0.0007071 | 0.1085 | 0.12166 | 0.013159 |  | 2 | 0.1085
2 | YES | 125.997 | 0.12033 | 0.0020817 | 0.12033 | 0.12166 | 0.0013259 |  | 2 | 0.12033
2 | YES | 101.01 | 0.156 | 0.0028284 | 0.156 | 0.12166 | -0.034341 |  | 2 | 0.156
2 | YES | 75.9975 | 0.4605 | 0.027577 | 0.2585 | 0.12166 | -0.13684 |  | 2 | 0.2585
2 | NO | 50.9973 | 3.011 | 0.095911 | 0.527 | 0.12166 | -0.40534 |  | 2 | 0.00033331
2 | YES | 31.3247 | 3.8573 | 0.041041 | 0.00033331 | 0.12166 | 0.12133 |  | 2 | 0.153
2 | YES | 21.3363 | 4.108 | 0.031 | 0.153 | 0.12166 | -0.031341 |  | 2 | 0.18833
2 | YES | 11.004 | 4.7253 | 0.070995 | 0.18833 | 0.12166 | -0.066674 |  | 2 | -0.117
2 | YES | 3.3827 | 5.675 | 0.095263 | -0.117 | 0.12166 | 0.23866 |  | 3 | 0.086
3 | YES | 239.396 | 0.118 | 0 | 0.086 | 0.099687 | 0.013687 |  | 3 | 0.0315
3 | YES | 225.995 | 0.1215 | 0.00070711 | 0.0315 | 0.099687 | 0.068187 |  | 3 | 0.126
3 | YES | 201.493 | 0.126 | 0.0056568 | 0.126 | 0.099687 | -0.026313 |  | 3 | 0.066667
3 | YES | 176.328 | 0.11067 | 0.0020817 | 0.066667 | 0.099687 | 0.03302 |  | 3 | 0.0785
3 | YES | 151.494 | 0.1095 | 0.00070711 | 0.0785 | 0.099687 | 0.021187 |  | 3 | 0.11767
3 | YES | 126.003 | 0.11767 | 0.0015275 | 0.11767 | 0.099687 | -0.01798 |  | 3 | 0.081
3 | YES | 110.995 | 0.135 | 0.0028284 | 0.081 | 0.099687 | 0.018687 |  | 3 | 0.0425
3 | YES | 100.996 | 0.1595 | 0.006364 | 0.0425 | 0.099687 | 0.057187 |  | 3 | 0.156
3 | YES | 91.003 | 0.22 | 0.016971 | 0.156 | 0.099687 | -0.056313 |  | 3 | 0.238
3 | YES | 76.0015 | 0.483 | 0.029698 | 0.238 | 0.099687 | -0.13831 |  | 3 | 0.193
3 | YES | 51.0003 | 3.146 | 0.13696 | 0.193 | 0.099687 | -0.093313 |  | 3 | 0.339
3 | YES | 31.3357 | 4.031 | 0.028478 | 0.339 | 0.099687 | -0.23931 |  | 3 | 0.19633
3 | YES | 21.3343 | 4.3633 | 0.065729 | 0.19633 | 0.099687 | -0.096646 |  | 3 | 0.16233
3 | YES | 10.9993 | 4.8943 | 0.086904 | 0.16233 | 0.099687 | -0.062646 |  | 4 | -0.027
4 | YES | 156.16 | 0.079 | 0 | -0.027 | 0.077715 | 0.10471 |  | 4 | 0.077
4 | YES | 151.502 | 0.084 | 0.0014142 | 0.077 | 0.077715 | 0.00071468 |  | 4 | 0.105
4 | YES | 126.004 | 0.105 | 0.001732 | 0.105 | 0.077715 | -0.027285 |  | 4 | 0.127
4 | YES | 100.996 | 0.145 | 0.0042426 | 0.127 | 0.077715 | -0.049285 |  | 4 | 0.2695
4 | YES | 76.004 | 0.4515 | 0.041719 | 0.2695 | 0.077715 | -0.19179 |  | 4 | 0.062334
4 | YES | 31.3347 | 4.1093 | 0.041041 | 0.062334 | 0.077715 | 0.015381 |  | 4 | 0.093333
4 | YES | 21.3317 | 4.4033 | 0.055194 | 0.093333 | 0.077715 | -0.015619 |  | 4 | 0.0040002
4 | YES | 2.669 | 5.852 | 0.13152 | 0.0040002 | 0.077715 | 0.073714 |  | 5 | 0.017
5 | YES | 533.882 | 2.815 | 0 | 0.017 | 0.055743 | 0.038743 |  | 5 | 0.041
5 | NO | 0 | 0 | 0 | -2.919 | 0.055743 | 2.9747 |  | 5 | -0.0275
5 | YES | 401 | 2.911 | 0.0014141 | 0.041 | 0.055743 | 0.014742 |  | 5 | -0.063
5 | YES | 351.002 | 2.8755 | 0.0021213 | -0.0275 | 0.055743 | 0.083242 |  | 5 | -0.054333
5 | YES | 300.995 | 2.63 | 0.015556 | -0.063 | 0.055743 | 0.11874 |  | 5 | -0.022
5 | YES | 251.667 | 2.1897 | 0.01222 | -0.054333 | 0.055743 | 0.11008 |  | 5 | -0.053
5 | YES | 201.497 | 2.11 | 0.0014143 | -0.022 | 0.055743 | 0.077742 |  | 5 | -0.0050001
5 | YES | 175.505 | 2.032 | 0 | -0.053 | 0.055743 | 0.10874 |  | 5 | 0.0605
5 | YES | 151.499 | 2.015 | 0.0028284 | -0.0050001 | 0.055743 | 0.060743 |  | 5 | 0.07
5 | YES | 125.501 | 2.1075 | 0.02144 | 0.0605 | 0.055743 | -0.0047575 |  | 5 | -0.1585
5 | YES | 101.004 | 3.223 | 0.046669 | 0.07 | 0.055743 | -0.014257 |  | 5 | -0.17467
5 | YES | 75.9995 | 3.8245 | 0.023335 | -0.1585 | 0.055743 | 0.21424 |  | 5 | -0.10667
5 | YES | 51.0053 | 4.0673 | 0.0011546 | -0.17467 | 0.055743 | 0.23041 |  | 5 | -0.028334
5 | YES | 30.001 | 4.1503 | 0.02829 | -0.10667 | 0.055743 | 0.16241 |  | 5 | 0.17267
5 | YES | 20 | 4.2877 | 0.023116 | -0.028334 | 0.055743 | 0.084076 |  | 5 | -0.11933
5 | YES | 11.0027 | 4.5517 | 0.036774 | 0.17267 | 0.055743 | -0.11692 |  | 6 | 0.079
5 | YES | 3.2277 | 5.8147 | 0.19853 | -0.11933 | 0.055743 | 0.17508 |  | 6 | -0.0065
6 | YES | 541.738 | 2.8 | 0 | 0.079 | 0.03377 | -0.04523 |  | 6 | -0.048
6 | NO | 0 | 0 | 0 | -2.796 | 0.03377 | 2.8298 |  | 6 | -0.061
6 | NO | 0 | 0 | 0 | -2.864 | 0.03377 | 2.8978 |  | 6 | -0.0020001
6 | YES | 400.996 | 2.8085 | 0.00070706 | -0.0065 | 0.03377 | 0.040271 |  | 6 | 0.0645
6 | YES | 350.99 | 2.742 | 0 | -0.048 | 0.03377 | 0.08177 |  | 6 | -0.0073333
6 | YES | 301.003 | 2.583 | 0.012728 | -0.061 | 0.03377 | 0.094771 |  | 6 | 0.0049999
6 | YES | 251.67 | 2.28 | 0.002 | -0.0020001 | 0.03377 | 0.035771 |  | 6 | 0.405
6 | YES | 201.501 | 2.0985 | 0.010606 | 0.0645 | 0.03377 | -0.03073 |  | 6 | 0.173
6 | YES | 176.34 | 2.0397 | 0.0025167 | -0.0073333 | 0.03377 | 0.041104 |  | 6 | 0.006
6 | YES | 151.508 | 1.968 | 0.0014142 | 0.0049999 | 0.03377 | 0.028771 |  | 6 | -0.123
6 | YES | 125.499 | 2.464 | 0.077675 | 0.405 | 0.03377 | -0.37123 |  | 6 | 0.014667
6 | YES | 100.998 | 3.686 | 0.018385 | 0.173 | 0.03377 | -0.13923 |  | 6 | 0.020667
6 | YES | 76.0005 | 4.034 | 0.016971 | 0.006 | 0.03377 | 0.02777 |  | 6 | 0.1515
6 | YES | 50.9987 | 4.193 | 0.0072113 | -0.123 | 0.03377 | 0.15677 |  | 6 | 0.0029998
6 | YES | 30.0033 | 4.4177 | 0.013614 | 0.014667 | 0.03377 | 0.019103 |  | 7 | -0.071
6 | YES | 20.0073 | 4.5917 | 0.018502 | 0.020667 | 0.03377 | 0.013104 |  | 7 | -0.1735
6 | YES | 10.4925 | 4.7495 | 0.086658 | 0.1515 | 0.03377 | -0.11773 |  | 7 | -0.13467
6 | YES | 3.2513 | 6.187 | 0.1295 | 0.0029998 | 0.03377 | 0.030771 |  | 7 | -0.069334
7 | YES | 80.885 | 5.287 | 0 | -0.071 | 0.011798 | 0.082798 |  | 7 | 0.035666
7 | YES | 75.606 | 5.3015 | 0.00070706 | -0.1735 | 0.011798 | 0.1853 |  | 7 | 0.13
7 | YES | 51.002 | 5.2553 | 0.0055077 | -0.13467 | 0.011798 | 0.14646 |  | 7 | -0.213
7 | YES | 31.324 | 5.1867 | 0.015567 | -0.069334 | 0.011798 | 0.081132 |  | 8 | 0.0725
7 | YES | 20.0067 | 5.2377 | 0.028042 | 0.035666 | 0.011798 | -0.023868 |  | 8 | 0.053
7 | YES | 11.0003 | 5.508 | 0.072021 | 0.13 | 0.011798 | -0.1182 |  | 8 | 0.063334
7 | YES | 2.8115 | 6.056 | 0.029699 | -0.213 | 0.011798 | 0.2248 |  | 8 | 0.0595
8 | YES | 220.94 | 2.5325 | 0.0049497 | 0.0725 | -0.010174 | -0.082674 |  | 8 | 0.106
8 | YES | 199.997 | 2.541 | 0 | 0.053 | -0.010174 | -0.063174 |  | 8 | 0.087
8 | YES | 176.334 | 2.5483 | 0.0011547 | 0.063334 | -0.010174 | -0.073507 |  | 8 | 0.055
8 | YES | 151.492 | 2.6265 | 0.0091924 | 0.0595 | -0.010174 | -0.069674 |  | 8 | 0.206
8 | YES | 125.993 | 2.812 | 0.0095394 | 0.106 | -0.010174 | -0.11617 |  | 8 | 0.046667
8 | YES | 100.999 | 3.209 | 0.011314 | 0.087 | -0.010174 | -0.097174 |  | 8 | 0.11467
8 | YES | 76.0055 | 3.63 | 0.019799 | 0.055 | -0.010174 | -0.065174 |  | 8 | 0.239
8 | YES | 50.501 | 4.334 | 0.071016 | 0.206 | -0.010174 | -0.21617 |  | 9 | -0.041
8 | YES | 31.3357 | 5.0857 | 0.02444 | 0.046667 | -0.010174 | -0.05684 |  | 9 | 0.0405
8 | YES | 21.3273 | 5.2797 | 0.039879 | 0.11467 | -0.010174 | -0.12484 |  | 9 | 0.090333
8 | YES | 2.615 | 6.551 | 0.031113 | 0.239 | -0.010174 | -0.24917 |  | 9 | 0.0815
9 | YES | 175.492 | 2.534 | 0 | -0.041 | -0.032146 | 0.0088543 |  | 9 | 0.0275
9 | YES | 151.493 | 2.5735 | 0.0049497 | 0.0405 | -0.032146 | -0.072646 |  | 9 | 0.22233
9 | YES | 126.002 | 2.8953 | 0.012503 | 0.090333 | -0.032146 | -0.12248 |  | 9 | -0.15
9 | YES | 101.014 | 3.1805 | 0.0091924 | 0.0815 | -0.032146 | -0.11365 |  | 9 | -0.045
9 | YES | 75.999 | 3.2355 | 0.013435 | 0.0275 | -0.032146 | -0.059646 |  | 9 | 0.06825
9 | YES | 50.9987 | 3.8673 | 0.063003 | 0.22233 | -0.032146 | -0.25448 |  | 9 | -0.123
9 | YES | 31.3337 | 4.946 | 0.038627 | -0.15 | -0.032146 | 0.11785 |  | 10 | -0.217
9 | YES | 21.332 | 5.147 | 0.03537 | -0.045 | -0.032146 | 0.012854 |  | 10 | -0.018
9 | YES | 10.5007 | 5.5942 | 0.11588 | 0.06825 | -0.032146 | -0.1004 |  | 10 | 0.043
9 | YES | 3.311 | 6.501 | 0 | -0.123 | -0.032146 | 0.090854 |  | 10 | -0.20967
10 | YES | 277.9 | 2.524 | 0 | -0.217 | -0.054118 | 0.16288 |  | 10 | -0.079
10 | YES | 253.007 | 2.577 | 0 | -0.018 | -0.054118 | -0.036118 |  | 10 | -0.134
10 | YES | 201.507 | 2.623 | 0.0056569 | 0.043 | -0.054118 | -0.097118 |  | 10 | -0.058
10 | YES | 176.33 | 2.6533 | 0.0035119 | -0.20967 | -0.054118 | 0.15555 |  | 10 | -0.163
10 | YES | 151.495 | 2.711 | 0.0070711 | -0.079 | -0.054118 | 0.024882 |  | 10 | -0.151
10 | YES | 125.999 | 2.823 | 0.0085441 | -0.134 | -0.054118 | 0.079882 |  | 10 | 0.036667
10 | YES | 100.992 | 3.061 | 0.0070711 | -0.058 | -0.054118 | 0.0038822 |  | 10 | -0.10133
10 | YES | 75.993 | 2.974 | 0.033941 | -0.163 | -0.054118 | 0.10888 |  | 10 | 0.084
10 | YES | 50.9983 | 3.715 | 0.03759 | -0.151 | -0.054118 | 0.096882 |  | 10 | -0.163
10 | YES | 31.336 | 4.7627 | 0.062051 | 0.036667 | -0.054118 | -0.090785 |  | 11 | -0.019
10 | YES | 21.3387 | 5.1197 | 0.037581 | -0.10133 | -0.054118 | 0.047216 |  | 11 | 0.049
10 | YES | 11.0047 | 5.454 | 0.066091 | 0.084 | -0.054118 | -0.13812 |  | 11 | 0.0275
10 | YES | 2.928 | 6.697 | 0.0014141 | -0.163 | -0.054118 | 0.10888 |  | 11 | 0.034
11 | YES | 373.185 | 2.385 | 0 | -0.019 | -0.07609 | -0.05709 |  | 11 | 0.0685
11 | YES | 350.994 | 2.446 | 0 | 0.049 | -0.07609 | -0.12509 |  | 11 | -0.061333
11 | YES | 301.002 | 2.5045 | 0.0035354 | 0.0275 | -0.07609 | -0.10359 |  | 11 | -0.0335
11 | YES | 251.674 | 2.549 | 0.00099993 | 0.034 | -0.07609 | -0.11009 |  | 11 | -0.062333
11 | YES | 201.499 | 2.5965 | 0.006364 | 0.0685 | -0.07609 | -0.14459 |  | 11 | -0.0975
11 | YES | 176.34 | 2.5917 | 0.00057731 | -0.061333 | -0.07609 | -0.014757 |  | 11 | -0.123
11 | YES | 151.492 | 2.6185 | 0.0021212 | -0.0335 | -0.07609 | -0.04259 |  | 11 | 0.00066662
11 | YES | 125.998 | 2.6097 | 0.0020816 | -0.062333 | -0.07609 | -0.013757 |  | 11 | -0.0023332
11 | YES | 100.992 | 2.6865 | 0.006364 | -0.0975 | -0.07609 | 0.02141 |  | 11 | -0.164
11 | YES | 76.002 | 2.525 | 0.024042 | -0.123 | -0.07609 | 0.04691 |  | 11 | 0.073
11 | YES | 51.0033 | 3.5927 | 0.062517 | 0.00066662 | -0.07609 | -0.076757 |  | 12 | -0.138
11 | YES | 31.342 | 4.4667 | 0.04884 | -0.0023332 | -0.07609 | -0.073757 |  | 12 | -0.064667
11 | YES | 21.331 | 4.818 | 0.045398 | -0.164 | -0.07609 | 0.08791 |  | 12 | -0.07
11 | YES | 10.9937 | 4.912 | 0.090703 | 0.073 | -0.07609 | -0.14909 |  | 12 | -0.125
11 | NO | 0 | 0 | 0 | -5.819 | -0.07609 | 5.7429 |  | 12 | -0.2465
12 | YES | 274.663 | 2.447 | 0 | -0.138 | -0.098062 | 0.039938 |  | 12 | -0.117
12 | YES | 251.667 | 2.5923 | 0.0092915 | -0.064667 | -0.098062 | -0.033395 |  | 12 | -0.273
12 | YES | 201.5 | 2.509 | 0.025456 | -0.07 | -0.098062 | -0.028062 |  | 12 | -0.1095
12 | YES | 176.339 | 2.358 | 0.0060827 | -0.125 | -0.098062 | 0.026938 |  | 12 | -0.023667
12 | YES | 151.506 | 2.3585 | 0.02192 | -0.2465 | -0.098062 | 0.14844 |  | 12 | -0.018667
12 | YES | 125.996 | 2.135 | 0.018083 | -0.117 | -0.098062 | 0.018938 |  | 12 | -0.12733
12 | YES | 101.005 | 2.027 | 0.014142 | -0.273 | -0.098062 | 0.17494 |  | 12 | -0.020667
12 | YES | 75.994 | 1.8465 | 0.016264 | -0.1095 | -0.098062 | 0.011438 |  | 12 | -0.2715
12 | YES | 51.0007 | 3.5323 | 0.060003 | -0.023667 | -0.098062 | -0.074395 |  | 13 | -0.258
12 | YES | 31.3297 | 4.4923 | 0.044959 | -0.018667 | -0.098062 | -0.079395 |  | 13 | -0.061
12 | YES | 21.3267 | 4.6827 | 0.01115 | -0.12733 | -0.098062 | 0.029271 |  | 13 | -0.327
12 | YES | 11 | 4.6583 | 0.075593 | -0.020667 | -0.098062 | -0.077395 |  | 13 | -0.3345
12 | YES | 2.5525 | 6.5515 | 0.098288 | -0.2715 | -0.098062 | 0.17344 |  | 13 | -0.29433
13 | YES | 326.061 | 1.78 | 0.098995 | -0.258 | -0.12003 | 0.13797 |  | 13 | -0.2255
13 | YES | 301 | 2.129 | 0.018385 | -0.061 | -0.12003 | -0.059034 |  | 13 | -0.106
13 | NO | 251.669 | 2.6717 | 0.006429 | -0.55733 | -0.12003 | 0.4373 |  | 13 | 0.39933
13 | YES | 201.496 | 2.576 | 0.015556 | -0.327 | -0.12003 | 0.20697 |  | 13 | -0.19033
13 | NO | 176.33 | 2.247 | 0.028844 | -0.698 | -0.12003 | 0.57797 |  | 13 | -0.28967
13 | YES | 151.5 | 1.9535 | 0.030406 | -0.3345 | -0.12003 | 0.21447 |  | 13 | -0.116
13 | YES | 125.999 | 1.5357 | 0.019553 | -0.29433 | -0.12003 | 0.1743 |  | 13 | -0.37567
13 | YES | 101.003 | 1.0935 | 0.033234 | -0.2255 | -0.12003 | 0.10547 |  | 14 | -0.121
13 | YES | 76.0005 | 1.033 | 0.032527 | -0.106 | -0.12003 | -0.014034 |  | 14 | -0.08
13 | YES | 50.999 | 3.1843 | 0.061338 | 0.39933 | -0.12003 | -0.51937 |  | 14 | -0.223
13 | YES | 31.334 | 3.9717 | 0.029687 | -0.19033 | -0.12003 | 0.0703 |  | 14 | -0.38767
13 | YES | 21.332 | 4.1723 | 0.018148 | -0.28967 | -0.12003 | 0.16963 |  | 14 | -0.3265
13 | YES | 10.9977 | 4.45 | 0.073505 | -0.116 | -0.12003 | -0.0040341 |  | 14 | -0.257
13 | YES | 3.108 | 6.1263 | 0.15708 | -0.37567 | -0.12003 | 0.25563 |  | 14 | -0.1775
14 | YES | 251.98 | 2.504 | 0 | -0.121 | -0.14201 | -0.021006 |  | 14 | 0.1195
14 | YES | 251.98 | 2.504 | 0 | -0.08 | -0.14201 | -0.062006 |  | 14 | -0.032667
14 | YES | 201.499 | 2.523 | 0.021213 | -0.223 | -0.14201 | 0.080994 |  | 14 | -0.057
14 | YES | 176.341 | 2.0453 | 0.039954 | -0.38767 | -0.14201 | 0.24566 |  | 14 | 0.269
14 | YES | 151.507 | 1.5395 | 0.043134 | -0.3265 | -0.14201 | 0.18449 |  | 14 | -0.179
14 | YES | 125.999 | 0.822 | 0.013 | -0.257 | -0.14201 | 0.11499
14 | YES | 101.005 | 0.4885 | 0.006364 | -0.1775 | -0.14201 | 0.035494
14 | YES | 75.9965 | 0.6785 | 0.030406 | 0.1195 | -0.14201 | -0.26151
14 | NO | 50.9947 | 2.9603 | 0.088636 | 0.71033 | -0.14201 | -0.85234
14 | YES | 31.3403 | 3.6093 | 0.019757 | -0.032667 | -0.14201 | -0.10934
14 | YES | 21.3263 | 3.707 | 0.024434 | -0.057 | -0.14201 | -0.085006
14 | YES | 11.007 | 4.238 | 0.084285 | 0.269 | -0.14201 | -0.41101
14 | YES | 2.625 | 5.704 | 0.12162 | -0.179 | -0.14201 | 0.036994
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2008/08/07 18:15:56
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2007-58-0001.mrgcor1 | 2007-58-0001.thn2 | 3 | 51.409 | 51.0043 | 1.0015 | -0.40467 | 2.528 | 2.8293 | 0.05154 | 0.30133
2007-58-0001.mrgcor1 | 2007-58-0001.thn2 | 3 | 31.334 | 31.3387 | 1.5268 | 0.0046673 | 3.525 | 3.6357 | 0.045446 | 0.11067
2007-58-0001.mrgcor1 | 2007-58-0001.thn2 | 3 | 21.263 | 21.3317 | 1.5304 | 0.068667 | 3.847 | 3.9013 | 0.046264 | 0.054333
2007-58-0001.mrgcor1 | 2007-58-0001.thn2 | 3 | 11.245 | 11.002 | 0.99851 | -0.243 | 4.292 | 4.3627 | 0.057536 | 0.070667
2007-58-0001.mrgcor1 | 2007-58-0001.thn2 | 2 | 1.965 | 2.4935 | 0.7064 | 0.5285 | 4.996 | 5.195 | 0.15839 | 0.199
2007-58-0002.mrgcor1 | 2007-58-0002.thn2 | 2 | 208.644 | 207.828 | 1.1766 | -0.81599 | 0 | 0.145 | 0 | 0.145
2007-58-0002.mrgcor1 | 2007-58-0002.thn2 | 2 | 201.28 | 201.499 | 2.127 | 0.21899 | 0 | 0.1445 | 0.0077782 | 0.1445
2007-58-0002.mrgcor1 | 2007-58-0002.thn2 | 3 | 176.043 | 176.331 | 1.5343 | 0.28767 | 0 | 0.124 | 0.002 | 0.124
2007-58-0002.mrgcor1 | 2007-58-0002.thn2 | 2 | 151.032 | 151.508 | 2.1248 | 0.47551 | 0.007 | 0.1155 | 0.0007071 | 0.1085
2007-58-0002.mrgcor1 | 2007-58-0002.thn2 | 3 | 126.056 | 125.997 | 0.99401 | -0.05867 | 0 | 0.12033 | 0.0020817 | 0.12033
2007-58-0002.mrgcor1 | 2007-58-0002.thn2 | 2 | 101.352 | 101.01 | 1.4135 | -0.34249 | 0 | 0.156 | 0.0028284 | 0.156
2007-58-0002.mrgcor1 | 2007-58-0002.thn2 | 2 | 76.206 | 75.9975 | 1.422 | -0.2085 | 0.202 | 0.4605 | 0.027577 | 0.2585
2007-58-0002.mrgcor1 | 2007-58-0002.thn2 | 3 | 51.023 | 50.9973 | 1.008 | -0.025665 | 2.484 | 3.011 | 0.095911 | 0.527
2007-58-0002.mrgcor1 | 2007-58-0002.thn2 | 3 | 31.235 | 31.3247 | 1.5268 | 0.089666 | 3.857 | 3.8573 | 0.041041 | 0.00033331
2007-58-0002.mrgcor1 | 2007-58-0002.thn2 | 3 | 21.234 | 21.3363 | 1.5285 | 0.10233 | 3.955 | 4.108 | 0.031 | 0.153
2007-58-0002.mrgcor1 | 2007-58-0002.thn2 | 3 | 11.379 | 11.004 | 0.9935 | -0.375 | 4.537 | 4.7253 | 0.070995 | 0.18833
2007-58-0002.mrgcor1 | 2007-58-0002.thn2 | 3 | 2.197 | 3.3827 | 0.53636 | 1.1857 | 5.792 | 5.675 | 0.095263 | -0.117
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 1 | 239.374 | 239.396 | 0 | 0.022003 | 0.032 | 0.118 | 0 | 0.086
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 2 | 226.132 | 225.995 | 1.4149 | -0.1365 | 0.09 | 0.1215 | 0.00070711 | 0.0315
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 2 | 201.052 | 201.493 | 2.1249 | 0.4415 | 0 | 0.126 | 0.0056568 | 0.126
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 3 | 176.211 | 176.328 | 1.5343 | 0.11667 | 0.044 | 0.11067 | 0.0020817 | 0.066667
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 2 | 151.547 | 151.494 | 2.1143 | -0.053009 | 0.031 | 0.1095 | 0.00070711 | 0.0785
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 3 | 126.234 | 126.003 | 0.9965 | -0.231 | 0 | 0.11767 | 0.0015275 | 0.11767
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 2 | 111.237 | 110.995 | 1.4085 | -0.242 | 0.054 | 0.135 | 0.0028284 | 0.081
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 2 | 101.264 | 100.996 | 1.4199 | -0.268 | 0.117 | 0.1595 | 0.006364 | 0.0425
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 2 | 90.68 | 91.003 | 1.4057 | 0.32301 | 0.064 | 0.22 | 0.016971 | 0.156
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 2 | 76.413 | 76.0015 | 1.4121 | -0.41151 | 0.245 | 0.483 | 0.029698 | 0.238
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 3 | 51.195 | 51.0003 | 0.99352 | -0.19467 | 2.953 | 3.146 | 0.13696 | 0.193
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 3 | 31.323 | 31.3357 | 1.5327 | 0.012667 | 3.692 | 4.031 | 0.028478 | 0.339
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 3 | 21.412 | 21.3343 | 1.5223 | -0.077667 | 4.167 | 4.3633 | 0.065729 | 0.19633
2007-58-0003.mrgcor1 | 2007-58-0003.thn2 | 3 | 11.19 | 10.9993 | 1.0035 | -0.19067 | 4.732 | 4.8943 | 0.086904 | 0.16233
2007-58-0004.mrgcor1 | 2007-58-0004.thn2 | 1 | 156.195 | 156.16 | 0 | -0.035004 | 0.106 | 0.079 | 0 | -0.027
2007-58-0004.mrgcor1 | 2007-58-0004.thn2 | 2 | 151.43 | 151.502 | 2.1242 | 0.072006 | 0.007 | 0.084 | 0.0014142 | 0.077
2007-58-0004.mrgcor1 | 2007-58-0004.thn2 | 3 | 126.386 | 126.004 | 1 | -0.38167 | 0 | 0.105 | 0.001732 | 0.105
2007-58-0004.mrgcor1 | 2007-58-0004.thn2 | 2 | 101.384 | 100.996 | 1.4227 | -0.388 | 0.018 | 0.145 | 0.0042426 | 0.127
2007-58-0004.mrgcor1 | 2007-58-0004.thn2 | 2 | 76.405 | 76.004 | 1.4142 | -0.401 | 0.182 | 0.4515 | 0.041719 | 0.2695
2007-58-0004.mrgcor1 | 2007-58-0004.thn2 | 3 | 31.336 | 31.3347 | 1.5245 | -0.0013332 | 4.047 | 4.1093 | 0.041041 | 0.062334
2007-58-0004.mrgcor1 | 2007-58-0004.thn2 | 3 | 21.343 | 21.3317 | 1.5274 | -0.011333 | 4.31 | 4.4033 | 0.055194 | 0.093333
2007-58-0004.mrgcor1 | 2007-58-0004.thn2 | 2 | 1.882 | 2.669 | 0.46669 | 0.787 | 5.848 | 5.852 | 0.13152 | 0.0040002
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 1 | 533.678 | 533.882 | 0 | 0.20404 | 2.798 | 2.815 | 0 | 0.017
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 0 | 501.676 | 0 | 0 | -501.676 | 2.919 | 0 | 0 | -2.919
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 2 | 401.053 | 401 | 1.4156 | -0.053009 | 2.87 | 2.911 | 0.0014141 | 0.041
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 2 | 351.089 | 351.002 | 1.4156 | -0.086975 | 2.903 | 2.8755 | 0.0021213 | -0.0275
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 2 | 301.123 | 300.995 | 1.422 | -0.12848 | 2.693 | 2.63 | 0.015556 | -0.063
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 3 | 251.415 | 251.667 | 1.5232 | 0.25233 | 2.244 | 2.1897 | 0.01222 | -0.054333
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 2 | 201.646 | 201.497 | 2.1178 | -0.1485 | 2.132 | 2.11 | 0.0014143 | -0.022
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 2 | 175.917 | 175.505 | 0.70217 | -0.41251 | 2.085 | 2.032 | 0 | -0.053
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 2 | 151.031 | 151.499 | 2.127 | 0.46799 | 2.02 | 2.015 | 0.0028284 | -0.0050001
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 4 | 125.328 | 125.501 | 1.2864 | 0.173 | 2.047 | 2.1075 | 0.02144 | 0.0605
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 2 | 101.308 | 101.004 | 1.4114 | -0.304 | 3.153 | 3.223 | 0.046669 | 0.07
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 2 | 76.549 | 75.9995 | 1.4248 | -0.54951 | 3.983 | 3.8245 | 0.023335 | -0.1585
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 3 | 51.11 | 51.0053 | 1.0095 | -0.10467 | 4.242 | 4.0673 | 0.0011546 | -0.17467
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 3 | 30.95 | 30.001 | 1.0075 | -0.949 | 4.257 | 4.1503 | 0.02829 | -0.10667
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 3 | 20.886 | 20 | 1.004 | -0.886 | 4.316 | 4.2877 | 0.023116 | -0.028334
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 3 | 11.075 | 11.0027 | 1.0065 | -0.072333 | 4.379 | 4.5517 | 0.036774 | 0.17267
2007-58-0005.mrgcor1 | 2007-58-0005.thn2 | 3 | 2.319 | 3.2277 | 0.6706 | 0.90867 | 5.934 | 5.8147 | 0.19853 | -0.11933
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 1 | 541.765 | 541.738 | 0 | -0.027039 | 2.721 | 2.8 | 0 | 0.079
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 0 | 501.095 | 0 | 0 | -501.095 | 2.796 | 0 | 0 | -2.796
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 0 | 451.661 | 0 | 0 | -451.661 | 2.864 | 0 | 0 | -2.864
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 2 | 401.303 | 400.996 | 1.4001 | -0.30701 | 2.815 | 2.8085 | 0.00070706 | -0.0065
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 2 | 350.875 | 350.99 | 1.4185 | 0.11499 | 2.79 | 2.742 | 0 | -0.048
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 2 | 301.354 | 301.003 | 1.4284 | -0.35101 | 2.644 | 2.583 | 0.012728 | -0.061
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 3 | 251.172 | 251.67 | 1.5305 | 0.49767 | 2.282 | 2.28 | 0.002 | -0.0020001
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 2 | 201.115 | 201.501 | 2.1305 | 0.3855 | 2.034 | 2.0985 | 0.010606 | 0.0645
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 3 | 176.207 | 176.34 | 1.5379 | 0.13266 | 2.047 | 2.0397 | 0.0025167 | -0.0073333
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 2 | 151.194 | 151.508 | 2.1263 | 0.31351 | 1.963 | 1.968 | 0.0014142 | 0.0049999
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 4 | 125.884 | 125.499 | 1.299 | -0.38451 | 2.059 | 2.464 | 0.077675 | 0.405
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 2 | 101.364 | 100.998 | 1.4184 | -0.366 | 3.513 | 3.686 | 0.018385 | 0.173
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 2 | 75.929 | 76.0005 | 1.4107 | 0.071503 | 4.028 | 4.034 | 0.016971 | 0.006
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 3 | 51.099 | 50.9987 | 0.99751 | -0.10033 | 4.316 | 4.193 | 0.0072113 | -0.123
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 3 | 30.874 | 30.0033 | 1.005 | -0.87067 | 4.403 | 4.4177 | 0.013614 | 0.014667
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 3 | 20.71 | 20.0073 | 0.99901 | -0.70266 | 4.571 | 4.5917 | 0.018502 | 0.020667
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 4 | 10.863 | 10.4925 | 1.2879 | -0.3705 | 4.598 | 4.7495 | 0.086658 | 0.1515
2007-58-0006.mrgcor1 | 2007-58-0006.thn2 | 3 | 2.189 | 3.2513 | 0.65314 | 1.0623 | 6.184 | 6.187 | 0.1295 | 0.0029998
2007-58-0008.mrgcor1 | 2007-58-0008.thn2 | 1 | 80.883 | 80.885 | 0 | 0.0019989 | 5.358 | 5.287 | 0 | -0.071
2007-58-0008.mrgcor1 | 2007-58-0008.thn2 | 2 | 75.859 | 75.606 | 0.85984 | -0.253 | 5.475 | 5.3015 | 0.00070706 | -0.1735
2007-58-0008.mrgcor1 | 2007-58-0008.thn2 | 3 | 51.645 | 51.002 | 0.99451 | -0.643 | 5.39 | 5.2553 | 0.0055077 | -0.13467
2007-58-0008.mrgcor1 | 2007-58-0008.thn2 | 3 | 31.254 | 31.324 | 1.5204 | 0.070002 | 5.256 | 5.1867 | 0.015567 | -0.069334
2007-58-0008.mrgcor1 | 2007-58-0008.thn2 | 3 | 20.937 | 20.0067 | 1.0025 | -0.93033 | 5.202 | 5.2377 | 0.028042 | 0.035666
2007-58-0008.mrgcor1 | 2007-58-0008.thn2 | 3 | 11.011 | 11.0003 | 1.0015 | -0.010667 | 5.378 | 5.508 | 0.072021 | 0.13
2007-58-0008.mrgcor1 | 2007-58-0008.thn2 | 2 | 1.707 | 2.8115 | 0.27082 | 1.1045 | 6.269 | 6.056 | 0.029699 | -0.213
2007-58-0009.mrgcor1 | 2007-58-0009.thn2 | 2 | 221.851 | 220.94 | 1.3378 | -0.91099 | 2.46 | 2.5325 | 0.0049497 | 0.0725
2007-58-0009.mrgcor1 | 2007-58-0009.thn2 | 1 | 200.64 | 199.997 | 0 | -0.64301 | 2.488 | 2.541 | 0 | 0.053
2007-58-0009.mrgcor1 | 2007-58-0009.thn2 | 3 | 176.675 | 176.334 | 1.5303 | -0.341 | 2.485 | 2.5483 | 0.0011547 | 0.063334
2007-58-0009.mrgcor1 | 2007-58-0009.thn2 | 2 | 151.097 | 151.492 | 2.1171 | 0.395 | 2.567 | 2.6265 | 0.0091924 | 0.0595
2007-58-0009.mrgcor1 | 2007-58-0009.thn2 | 3 | 126.08 | 125.993 | 0.999 | -0.087334 | 2.706 | 2.812 | 0.0095394 | 0.106
2007-58-0009.mrgcor1 | 2007-58-0009.thn2 | 2 | 101.246 | 100.999 | 1.4079 | -0.2475 | 3.122 | 3.209 | 0.011314 | 0.087
2007-58-0009.mrgcor1 | 2007-58-0009.thn2 | 2 | 75.753 | 76.0055 | 1.4135 | 0.2525 | 3.575 | 3.63 | 0.019799 | 0.055
2007-58-0009.mrgcor1 | 2007-58-0009.thn2 | 4 | 50.868 | 50.501 | 1.2796 | -0.367 | 4.128 | 4.334 | 0.071016 | 0.206
2007-58-0009.mrgcor1 | 2007-58-0009.thn2 | 3 | 31.02 | 31.3357 | 1.532 | 0.31567 | 5.039 | 5.0857 | 0.02444 | 0.046667
2007-58-0009.mrgcor1 | 2007-58-0009.thn2 | 3 | 21.083 | 21.3273 | 1.5266 | 0.24433 | 5.165 | 5.2797 | 0.039879 | 0.11467
2007-58-0009.mrgcor1 | 2007-58-0009.thn2 | 2 | 1.892 | 2.615 | 0.53174 | 0.723 | 6.312 | 6.551 | 0.031113 | 0.239
2007-58-0010.mrgcor1 | 2007-58-0010.thn2 | 2 | 175.322 | 175.492 | 0.69085 | 0.17049 | 2.575 | 2.534 | 0 | -0.041
2007-58-0010.mrgcor1 | 2007-58-0010.thn2 | 2 | 151.858 | 151.493 | 2.098 | -0.3645 | 2.533 | 2.5735 | 0.0049497 | 0.0405
2007-58-0010.mrgcor1 | 2007-58-0010.thn2 | 3 | 126.105 | 126.002 | 1.0135 | -0.10267 | 2.805 | 2.8953 | 0.012503 | 0.090333
2007-58-0010.mrgcor1 | 2007-58-0010.thn2 | 2 | 101.387 | 101.014 | 1.4206 | -0.3725 | 3.099 | 3.1805 | 0.0091924 | 0.0815
2007-58-0010.mrgcor1 | 2007-58-0010.thn2 | 2 | 76.006 | 75.999 | 1.4298 | -0.0069961 | 3.208 | 3.2355 | 0.013435 | 0.0275
2007-58-0010.mrgcor1 | 2007-58-0010.thn2 | 3 | 51.523 | 50.9987 | 1.0175 | -0.52433 | 3.645 | 3.8673 | 0.063003 | 0.22233
2007-58-0010.mrgcor1 | 2007-58-0010.thn2 | 3 | 31.224 | 31.3337 | 1.5163 | 0.10966 | 5.096 | 4.946 | 0.038627 | -0.15
2007-58-0010.mrgcor1 | 2007-58-0010.thn2 | 3 | 21.017 | 21.332 | 1.5257 | 0.315 | 5.192 | 5.147 | 0.03537 | -0.045
2007-58-0010.mrgcor1 | 2007-58-0010.thn2 | 4 | 10.554 | 10.5007 | 1.2971 | -0.05325 | 5.526 | 5.5942 | 0.11588 | 0.06825
2007-58-0010.mrgcor1 | 2007-58-0010.thn2 | 2 | 1.887 | 3.311 | 0 | 1.424 | 6.624 | 6.501 | 0 | -0.123
2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 1 | 277.887 | 277.9 | 0 | 0.013 | 2.741 | 2.524 | 0 | -0.217
2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 1 | 254.109 | 253.007 | 0 | -1.102 | 2.595 | 2.577 | 0 | -0.018
2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 2 | 201.648 | 201.507 | 2.1143 | -0.14101 | 2.58 | 2.623 | 0.0056569 | 0.043
2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 3 | 176.275 | 176.33 | 1.5232 | 0.054672 | 2.863 | 2.6533 | 0.0035119 | -0.20967
2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 2 | 151.242 | 151.495 | 2.1149 | 0.25349 | 2.79 | 2.711 | 0.0070711 | -0.079
2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 3 | 126.723 | 125.999 | 0.997 | -0.72433 | 2.957 | 2.823 | 0.0085441 | -0.134
2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 2 | 101.253 | 100.992 | 1.4135 | -0.26051 | 3.119 | 3.061 | 0.0070711 | -0.058
2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 2 | 76.264 | 75.993 | 1.41 | -0.271 | 3.137 | 2.974 | 0.033941 | -0.163
2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 3 | 51.699 | 50.9983 | 1.0035 | -0.70067 | 3.866 | 3.715 | 0.03759 | -0.151
2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 3 | 31.451 | 31.336 | 1.5165 | -0.115 | 4.726 | 4.7627 | 0.062051 | 0.036667
2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 3 | 21.247 | 21.3387 | 1.5323 | 0.091667 | 5.221 | 5.1197 | 0.037581 | -0.10133
2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 3 | 11.245 | 11.0047 | 1 | -0.24033 | 5.37 | 5.454 | 0.066091 | 0.084
2007-58-0011.mrgcor1 | 2007-58-0011.thn2 | 2 | 1.838 | 2.928 | 0.087681 | 1.09 | 6.86 | 6.697 | 0.0014141 | -0.163
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 1 | 373.1 | 373.185 | 0 | 0.084991 | 2.404 | 2.385 | 0 | -0.019
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 2 | 351.671 | 350.994 | 1.4086 | -0.677 | 2.397 | 2.446 | 0 | 0.049
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 2 | 301.168 | 301.002 | 1.4156 | -0.16598 | 2.477 | 2.5045 | 0.0035354 | 0.0275
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 3 | 251.333 | 251.674 | 1.5292 | 0.34067 | 2.515 | 2.549 | 0.00099993 | 0.034
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 2 | 201.401 | 201.499 | 2.1319 | 0.097504 | 2.528 | 2.5965 | 0.006364 | 0.0685
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 3 | 176.128 | 176.34 | 1.5275 | 0.21233 | 2.653 | 2.5917 | 0.00057731 | -0.061333
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 2 | 151.222 | 151.492 | 2.1206 | 0.2695 | 2.652 | 2.6185 | 0.0021212 | -0.0335
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 3 | 126.574 | 125.998 | 0.9925 | -0.576 | 2.672 | 2.6097 | 0.0020816 | -0.062333
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 2 | 101.458 | 100.992 | 1.4178 | -0.4665 | 2.784 | 2.6865 | 0.006364 | -0.0975
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 2 | 76.184 | 76.002 | 1.4326 | -0.182 | 2.648 | 2.525 | 0.024042 | -0.123
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 3 | 51.236 | 51.0033 | 0.9935 | -0.23267 | 3.592 | 3.5927 | 0.062517 | 0.00066662
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 3 | 31.341 | 31.342 | 1.5253 | 0.00099945 | 4.469 | 4.4667 | 0.04884 | -0.0023332
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 3 | 21.626 | 21.331 | 1.5234 | -0.295 | 4.982 | 4.818 | 0.045398 | -0.164
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 3 | 11.059 | 10.9937 | 0.998 | -0.065333 | 4.839 | 4.912 | 0.090703 | 0.073
2007-58-0012.mrgcor1 | 2007-58-0012.thn2 | 0 | 2.147 | 0 | 0 | -2.147 | 5.819 | 0 | 0 | -5.819
2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 1 | 274.632 | 274.663 | 0 | 0.031006 | 2.585 | 2.447 | 0 | -0.138
2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 3 | 251.381 | 251.667 | 1.5287 | 0.28635 | 2.657 | 2.5923 | 0.0092915 | -0.064667
2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 2 | 201.369 | 201.5 | 2.1164 | 0.13148 | 2.579 | 2.509 | 0.025456 | -0.07
2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 3 | 176.027 | 176.339 | 1.5234 | 0.31201 | 2.483 | 2.358 | 0.0060827 | -0.125
2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 2 | 151.063 | 151.506 | 2.127 | 0.44299 | 2.605 | 2.3585 | 0.02192 | -0.2465
2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 3 | 126.107 | 125.996 | 0.99953 | -0.111 | 2.252 | 2.135 | 0.018083 | -0.117
2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 2 | 101.062 | 101.005 | 1.4114 | -0.056992 | 2.3 | 2.027 | 0.014142 | -0.273
2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 2 | 75.988 | 75.994 | 1.4241 | 0.0060043 | 1.956 | 1.8465 | 0.016264 | -0.1095
2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 3 | 51.181 | 51.0007 | 0.9875 | -0.18033 | 3.556 | 3.5323 | 0.060003 | -0.023667
2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 3 | 31.505 | 31.3297 | 1.5242 | -0.17533 | 4.511 | 4.4923 | 0.044959 | -0.018667
2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 3 | 21.343 | 21.3267 | 1.5176 | -0.016333 | 4.81 | 4.6827 | 0.01115 | -0.12733
2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 3 | 11.247 | 11 | 1.008 | -0.247 | 4.679 | 4.6583 | 0.075593 | -0.020667
2007-58-0013.mrgcor1 | 2007-58-0013.thn2 | 2 | 1.916 | 2.5525 | 0.62579 | 0.6365 | 6.823 | 6.5515 | 0.098288 | -0.2715
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 2 | 326.957 | 326.061 | 1.504 | -0.89551 | 2.038 | 1.78 | 0.098995 | -0.258
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 2 | 301.479 | 301 | 1.4248 | -0.47949 | 2.19 | 2.129 | 0.018385 | -0.061
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 3 | 251.195 | 251.669 | 1.5191 | 0.47366 | 3.229 | 2.6717 | 0.006429 | -0.55733
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 2 | 201.409 | 201.496 | 2.1142 | 0.087006 | 2.903 | 2.576 | 0.015556 | -0.327
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 3 | 176.039 | 176.33 | 1.5286 | 0.291 | 2.945 | 2.247 | 0.028844 | -0.698
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 2 | 151.154 | 151.5 | 2.1291 | 0.34648 | 2.288 | 1.9535 | 0.030406 | -0.3345
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 3 | 126.196 | 125.999 | 1.007 | -0.197 | 1.83 | 1.5357 | 0.019553 | -0.29433
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 2 | 101.153 | 101.003 | 1.4255 | -0.14999 | 1.319 | 1.0935 | 0.033234 | -0.2255
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 2 | 75.903 | 76.0005 | 1.422 | 0.097504 | 1.139 | 1.033 | 0.032527 | -0.106
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 3 | 51.263 | 50.999 | 1.004 | -0.264 | 2.785 | 3.1843 | 0.061338 | 0.39933
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 3 | 31.586 | 31.334 | 1.5283 | -0.252 | 4.162 | 3.9717 | 0.029687 | -0.19033
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 3 | 21.458 | 21.332 | 1.528 | -0.126 | 4.462 | 4.1723 | 0.018148 | -0.28967
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 3 | 11.312 | 10.9977 | 0.997 | -0.31433 | 4.566 | 4.45 | 0.073505 | -0.116
2007-58-0014.mrgcor1 | 2007-58-0014.thn2 | 3 | 2.047 | 3.108 | 0.83366 | 1.061 | 6.502 | 6.1263 | 0.15708 | -0.37567
2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 1 | 252.092 | 251.98 | 0 | -0.112 | 2.625 | 2.504 | 0 | -0.121
2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 1 | 252.092 | 251.98 | 0 | -0.112 | 2.584 | 2.504 | 0 | -0.08
2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 2 | 201.349 | 201.499 | 2.1206 | 0.14951 | 2.746 | 2.523 | 0.021213 | -0.223
2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 3 | 176.45 | 176.341 | 1.5206 | -0.10933 | 2.433 | 2.0453 | 0.039954 | -0.38767
2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 2 | 151.426 | 151.507 | 2.1143 | 0.080994 | 1.866 | 1.5395 | 0.043134 | -0.3265
2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 3 | 126.327 | 125.999 | 0.99651 | -0.32767 | 1.079 | 0.822 | 0.013 | -0.257
2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 2 | 101.454 | 101.005 | 1.4128 | -0.449 | 0.666 | 0.4885 | 0.006364 | -0.1775
2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 2 | 76.228 | 75.9965 | 1.4234 | -0.2315 | 0.559 | 0.6785 | 0.030406 | 0.1195
2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 3 | 51.134 | 50.9947 | 1.0055 | -0.13933 | 2.25 | 2.9603 | 0.088636 | 0.71033
2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 3 | 31.396 | 31.3403 | 1.5276 | -0.055666 | 3.642 | 3.6093 | 0.019757 | -0.032667
2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 3 | 21.287 | 21.3263 | 1.5292 | 0.039333 | 3.764 | 3.707 | 0.024434 | -0.057
2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 3 | 11.175 | 11.007 | 1.002 | -0.168 | 3.969 | 4.238 | 0.084285 | 0.269
2007-58-0015.mrgcor1 | 2007-58-0015.thn2 | 2 | 1.874 | 2.625 | 0.51336 | 0.751 | 5.883 | 5.704 | 0.12162 | -0.179
Create Fit Sheet