## File List
Number of Files= |  | 16
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2007-62-0001.mrgtemp | 2007-62-0001.sam | 12 | 13 | 2007-62-0001.mrgtemp & 2007-62-0001.sam
2 | 2007-62-0002.mrgtemp | 2007-62-0002.sam | 15 | 16 | 2007-62-0002.mrgtemp & 2007-62-0002.sam
3 | 2007-62-0003.mrgtemp | 2007-62-0003.sam | 18 | 19 | 2007-62-0003.mrgtemp & 2007-62-0003.sam
4 | 2007-62-0004.mrgtemp | 2007-62-0004.sam | 21 | 22 | 2007-62-0004.mrgtemp & 2007-62-0004.sam
5 | 2007-62-0005.mrgtemp | 2007-62-0005.sam | 24 | 25 | 2007-62-0005.mrgtemp & 2007-62-0005.sam
6 | 2007-62-0006.mrgtemp | 2007-62-0006.sam | 27 | 28 | 2007-62-0006.mrgtemp & 2007-62-0006.sam
7 | 2007-62-0007.mrgtemp | 2007-62-0007.sam | 30 | 31 | 2007-62-0007.mrgtemp & 2007-62-0007.sam
8 | 2007-62-0008.mrgtemp | 2007-62-0008.sam | 33 | 34 | 2007-62-0008.mrgtemp & 2007-62-0008.sam
9 | 2007-62-0009.mrgtemp | 2007-62-0009.sam | 36 | 37 | 2007-62-0009.mrgtemp & 2007-62-0009.sam
10 | 2007-62-0010.mrgtemp | 2007-62-0010.sam | 39 | 40 | 2007-62-0010.mrgtemp & 2007-62-0010.sam
11 | 2007-62-0011.mrgtemp | 2007-62-0011.sam | 42 | 43 | 2007-62-0011.mrgtemp & 2007-62-0011.sam
12 | 2007-62-0012.mrgtemp | 2007-62-0012.sam | 45 | 48 | 2007-62-0012.mrgtemp & 2007-62-0012.sam
13 | 2007-62-0013.mrgtemp | 2007-62-0013.sam | 50 | 50 | 2007-62-0013.mrgtemp & 2007-62-0013.sam
14 | 2007-62-0019.mrgtemp | 2007-62-0019.sam | 52 | 52 | 2007-62-0019.mrgtemp & 2007-62-0019.sam
15 | 2007-62-0023.mrgtemp | 2007-62-0023.sam | 54 | 54 | 2007-62-0023.mrgtemp & 2007-62-0023.sam
16 | 2007-62-0024.mrgtemp | 2007-62-0024.sam | 56 | 56 | 2007-62-0024.mrgtemp & 2007-62-0024.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.092331 |  | X | CALC Y
m= | 2.8522e-06 | 2.2357e-06 |  | Std Dev of Resid |  | 0.0038936 |  | 75.8495 | -0.0028126
b= | -0.003029 | 0.0012167 |  | Resid Sum of Squares |  | 0.00024256 |  | 1498.65 | 0.0012455
# of Values Extracted = |  |  | 30
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 150.611 | 31.7649 | 0.00028815 | -0.0053978 | -0.0025994 | 0.0027984 |  | 150.611 | -0.0053978
1 | NO | 5.5249 | 28.3918 | 0.02733 | -0.62147 | -0.0030132 | 0.61846 |  | 124.984 | -0.0038528
2 | YES | 124.984 | 31.9437 | 0.00032322 | -0.0038528 | -0.0026725 | 0.0011804 |  | 250.25 | -0.0061951
2 | NO | 5.0345 | 26.7929 | 0.0017227 | -0.19354 | -0.0030146 | 0.19053 |  | 200.204 | -0.0028572
3 | YES | 250.25 | 32.2482 | 0.00026056 | -0.0061951 | -0.0023152 | 0.0038799 |  | 175.542 | -0.002861
3 | NO | 10.6259 | 29.3828 | 0.014846 | -0.085287 | -0.0029987 | 0.082288 |  | 253.26 | -0.0041008
4 | YES | 200.204 | 32.2528 | 0.00029004 | -0.0028572 | -0.0024579 | 0.00039927 |  | 199.934 | -0.0055695
4 | NO | 10.2534 | 29.4502 | 0.11474 | -0.11208 | -0.0029997 | 0.10908 |  | 126.149 | 0.0028114
5 | YES | 175.542 | 32.2804 | 0.0021515 | -0.002861 | -0.0025283 | 0.00033274 |  | 300.512 | -0.0059433
5 | NO | 5.3683 | 26.4378 | 0.0042416 | -0.67276 | -0.0030136 | 0.66974 |  | 176.332 | 0.0044746
6 | YES | 253.26 | 32.3373 | 0.00025348 | -0.0041008 | -0.0023066 | 0.0017942 |  | 151.184 | 0.0054703
6 | NO | 5.6703 | 29.0426 | 0.031465 | -0.18354 | -0.0030128 | 0.18053 |  | 1498.65 | -0.00046158
7 | YES | 199.934 | 32.3648 | 0.00022144 | -0.0055695 | -0.0024587 | 0.0031107 |  | 1248.69 | 0.0014153
7 | NO | 5.2788 | 28.6138 | 0.0092147 | -0.14138 | -0.0030139 | 0.13836 |  | 998.796 | 0.002491
8 | YES | 126.149 | 32.2376 | 0.0012846 | 0.0028114 | -0.0026692 | -0.0054806 |  | 199.342 | 0.00085068
8 | NO | 5.1385 | 29.0743 | 0.083674 | -0.24141 | -0.0030143 | 0.23839 |  | 175.552 | -0.0058479 | -0.0020337 | P>199
9 | YES | 300.512 | 32.1966 | 0.00022372 | -0.0059433 | -0.0021718 | 0.0037715 |  | 75.8495 | -0.0047264 | 0.0011482 | P>900
9 | NO | 5.4586 | 28.3065 | 0.2643 | -0.42097 | -0.0030134 | 0.41796 |  | 125.259 | -0.0058785 | -0.0020099 | all
10 | NO | 10.1886 | 30.1255 | 0.0028572 | -0.12998 | -0.0029999 | 0.12698
10 | NO | 5.0572 | 28.7083 | 0.70438 | -0.30061 | -0.0030145 | 0.2976
11 | YES | 176.332 | 33.019 | 0.00039742 | 0.0044746 | -0.002526 | -0.0070007
11 | YES | 151.184 | 32.9127 | 0.0057364 | 0.0054703 | -0.0025978 | -0.008068
12 | NO | 1713.61 | 34.5494 | 0.00042835 | -0.060051 | 0.0018586 | 0.06191
12 | YES | 1498.65 | 34.5104 | 0.00033246 | -0.00046158 | 0.0012455 | 0.001707
12 | YES | 1248.69 | 34.4659 | 0.00020445 | 0.0014153 | 0.00053253 | -0.00088272
12 | YES | 998.796 | 34.3917 | 0.00026515 | 0.002491 | -0.00018021 | -0.0026712
13 | YES | 199.342 | 33.9986 | 0.00038488 | 0.00085068 | -0.0024604 | -0.0033111
14 | YES | 175.552 | 32.9994 | 0.00034919 | -0.0058479 | -0.0025283 | 0.0033197
15 | YES | 75.8495 | 32.8059 | 0.00033885 | -0.0047264 | -0.0028126 | 0.0019138
16 | YES | 125.259 | 32.8036 | 0.00082909 | -0.0058785 | -0.0026717 | 0.0032068
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.024869 |  | X | CALC Y
m= | 1.6797e-06 | 2.6296e-06 |  | Std Dev of Resid |  | 0.0045797 |  | 75.8495 | -0.0040528
b= | -0.0041802 | 0.001431 |  | Resid Sum of Squares |  | 0.00033557 |  | 1498.65 | -0.0016629
# of Values Extracted = |  |  | 30
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 150.611 | 31.7641 | 0.00038916 | -0.0061512 | -0.0039272 | 0.002224 |  | 150.611 | -0.0061512
1 | NO | 5.5249 | 28.4145 | 0.02304 | -0.59876 | -0.004171 | 0.59459 |  | 124.984 | -0.0049229
2 | YES | 124.984 | 31.9427 | 0.00042389 | -0.0049229 | -0.0039703 | 0.00095258 |  | 250.25 | -0.0073471
2 | NO | 5.0345 | 26.7917 | 0.0013597 | -0.19467 | -0.0041718 | 0.1905 |  | 200.204 | -0.0038033
3 | YES | 250.25 | 32.2471 | 0.00026755 | -0.0073471 | -0.0037599 | 0.0035872 |  | 175.542 | -0.0016518
3 | NO | 10.6259 | 29.3759 | 0.0053283 | -0.092226 | -0.0041624 | 0.088064 |  | 253.26 | -0.0034714
4 | YES | 200.204 | 32.2519 | 0.00044047 | -0.0038033 | -0.0038439 | -4.0695e-05 |  | 199.934 | -0.0079117
4 | NO | 10.2534 | 29.4887 | 0.13461 | -0.073555 | -0.004163 | 0.069392 |  | 126.149 | 0.0011215
5 | YES | 175.542 | 32.2816 | 0.0011512 | -0.0016518 | -0.0038854 | -0.0022336 |  | 300.512 | -0.008297
5 | NO | 5.3683 | 26.4426 | 0.0060422 | -0.66795 | -0.0041712 | 0.66378 |  | 176.332 | 0.0028038
6 | YES | 253.26 | 32.3379 | 0.00060052 | -0.0034714 | -0.0037548 | -0.00028346 |  | 151.184 | 0.007206
6 | NO | 5.6703 | 29.0276 | 0.048232 | -0.19852 | -0.0041707 | 0.19435 |  | 1498.65 | -0.00317
7 | YES | 199.934 | 32.3625 | 0.00026122 | -0.0079117 | -0.0038444 | 0.0040673 |  | 1248.69 | -0.0013275
7 | NO | 5.2788 | 28.6148 | 0.0082913 | -0.14037 | -0.0041714 | 0.1362 |  | 998.796 | -0.0002861
8 | YES | 126.149 | 32.2359 | 0.00099045 | 0.0011215 | -0.0039683 | -0.0050899 |  | 199.342 | -0.0014343
8 | NO | 5.1385 | 29.1627 | 0.067534 | -0.15297 | -0.0041716 | 0.1488 |  | 175.552 | -0.0087395 | -0.0041971 | P>199
9 | YES | 300.512 | 32.1942 | 0.00026502 | -0.008297 | -0.0036755 | 0.0046215 |  | 75.8495 | -0.0077477 | -0.0015945 | P>900
9 | NO | 5.4586 | 28.1734 | 0.32509 | -0.55415 | -0.0041711 | 0.54998 |  | 125.259 | -0.0093117 | -0.0035801 | all
10 | NO | 10.1886 | 30.1226 | 0.0027994 | -0.13291 | -0.0041631 | 0.12875
10 | NO | 5.0572 | 28.7011 | 0.74545 | -0.30778 | -0.0041717 | 0.30361
11 | YES | 176.332 | 33.0173 | 0.0004315 | 0.0028038 | -0.003884 | -0.0066878
11 | YES | 151.184 | 32.9144 | 0.00426 | 0.007206 | -0.0039263 | -0.011132
12 | NO | 1713.61 | 34.5468 | 0.0003987 | -0.062576 | -0.0013018 | 0.061274
12 | YES | 1498.65 | 34.5077 | 0.00046988 | -0.00317 | -0.0016629 | 0.0015071
12 | YES | 1248.69 | 34.4632 | 0.00027077 | -0.0013275 | -0.0020828 | -0.00075526
12 | YES | 998.796 | 34.3889 | 0.00028023 | -0.0002861 | -0.0025025 | -0.0022164
13 | YES | 199.342 | 33.9964 | 0.00045335 | -0.0014343 | -0.0038454 | -0.0024111
14 | YES | 175.552 | 32.9965 | 0.00031751 | -0.0087395 | -0.0038854 | 0.0048541
15 | YES | 75.8495 | 32.8029 | 0.00026903 | -0.0077477 | -0.0040528 | 0.0036948
16 | YES | 125.259 | 32.8002 | 0.0002911 | -0.0093117 | -0.0039698 | 0.0053418
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.076812 |  | X | CALC Y
m= | 0.00023717 | 0.00020555 |  | Std Dev of Resid |  | 0.0039268 |  | 1 | -0.0038941
b= | -0.0041312 | 0.0020584 |  | Resid Sum of Squares |  | 0.00024671 |  | 16 | -0.00033659
# of Values Extracted = |  |  | 30
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 150.611 | 31.7649 | 0.00028815 | -0.0053978 | -0.0038941 | 0.0015037 |  | 1 | -0.0053978
1 | NO | 5.5249 | 28.3918 | 0.02733 | -0.62147 | -0.0038941 | 0.61758 |  | 2 | -0.0038528
2 | YES | 124.984 | 31.9437 | 0.00032322 | -0.0038528 | -0.0036569 | 0.00019594 |  | 3 | -0.0061951
2 | NO | 5.0345 | 26.7929 | 0.0017227 | -0.19354 | -0.0036569 | 0.18989 |  | 4 | -0.0028572
3 | YES | 250.25 | 32.2482 | 0.00026056 | -0.0061951 | -0.0034197 | 0.0027753 |  | 5 | -0.002861
3 | NO | 10.6259 | 29.3828 | 0.014846 | -0.085287 | -0.0034197 | 0.081867 |  | 6 | -0.0041008
4 | YES | 200.204 | 32.2528 | 0.00029004 | -0.0028572 | -0.0031826 | -0.00032536 |  | 7 | -0.0055695
4 | NO | 10.2534 | 29.4502 | 0.11474 | -0.11208 | -0.0031826 | 0.10889 |  | 8 | 0.0028114
5 | YES | 175.542 | 32.2804 | 0.0021515 | -0.002861 | -0.0029454 | -8.4386e-05 |  | 9 | -0.0059433
5 | NO | 5.3683 | 26.4378 | 0.0042416 | -0.67276 | -0.0029454 | 0.66981 |  | 11 | 0.0044746
6 | YES | 253.26 | 32.3373 | 0.00025348 | -0.0041008 | -0.0027082 | 0.0013926 |  | 11 | 0.0054703
6 | NO | 5.6703 | 29.0426 | 0.031465 | -0.18354 | -0.0027082 | 0.18084 |  | 12 | -0.00046158
7 | YES | 199.934 | 32.3648 | 0.00022144 | -0.0055695 | -0.0024711 | 0.0030984 |  | 12 | 0.0014153
7 | NO | 5.2788 | 28.6138 | 0.0092147 | -0.14138 | -0.0024711 | 0.1389 |  | 12 | 0.002491
8 | YES | 126.149 | 32.2376 | 0.0012846 | 0.0028114 | -0.0022339 | -0.0050453 |  | 13 | 0.00085068
8 | NO | 5.1385 | 29.0743 | 0.083674 | -0.24141 | -0.0022339 | 0.23918 |  | 14 | -0.0058479
9 | YES | 300.512 | 32.1966 | 0.00022372 | -0.0059433 | -0.0019967 | 0.0039466 |  | 15 | -0.0047264
9 | NO | 5.4586 | 28.3065 | 0.2643 | -0.42097 | -0.0019967 | 0.41898 |  | 16 | -0.0058785
10 | NO | 10.1886 | 30.1255 | 0.0028572 | -0.12998 | -0.0017596 | 0.12822
10 | NO | 5.0572 | 28.7083 | 0.70438 | -0.30061 | -0.0017596 | 0.29885
11 | YES | 176.332 | 33.019 | 0.00039742 | 0.0044746 | -0.0015224 | -0.0059971
11 | YES | 151.184 | 32.9127 | 0.0057364 | 0.0054703 | -0.0015224 | -0.0069927
12 | NO | 1713.61 | 34.5494 | 0.00042835 | -0.060051 | -0.0012853 | 0.058766
12 | YES | 1498.65 | 34.5104 | 0.00033246 | -0.00046158 | -0.0012853 | -0.00082367
12 | YES | 1248.69 | 34.4659 | 0.00020445 | 0.0014153 | -0.0012853 | -0.0027005
12 | YES | 998.796 | 34.3917 | 0.00026515 | 0.002491 | -0.0012853 | -0.0037763
13 | YES | 199.342 | 33.9986 | 0.00038488 | 0.00085068 | -0.0010481 | -0.0018988
14 | YES | 175.552 | 32.9994 | 0.00034919 | -0.0058479 | -0.00081092 | 0.005037
15 | YES | 75.8495 | 32.8059 | 0.00033885 | -0.0047264 | -0.00057376 | 0.0041527
16 | YES | 125.259 | 32.8036 | 0.00082909 | -0.0058785 | -0.00033659 | 0.0055419
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0030209 |  | X | CALC Y
m= | 5.3372e-05 | 0.0002424 |  | Std Dev of Resid |  | 0.0046307 |  | 1 | -0.0040041
b= | -0.0040575 | 0.0024274 |  | Resid Sum of Squares |  | 0.00034309 |  | 16 | -0.0032035
# of Values Extracted = |  |  | 30
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 150.611 | 31.7641 | 0.00038916 | -0.0061512 | -0.0040041 | 0.0021471 |  | 1 | -0.0061512
1 | NO | 5.5249 | 28.4145 | 0.02304 | -0.59876 | -0.0040041 | 0.59476 |  | 2 | -0.0049229
2 | YES | 124.984 | 31.9427 | 0.00042389 | -0.0049229 | -0.0039507 | 0.00097214 |  | 3 | -0.0073471
2 | NO | 5.0345 | 26.7917 | 0.0013597 | -0.19467 | -0.0039507 | 0.19072 |  | 4 | -0.0038033
3 | YES | 250.25 | 32.2471 | 0.00026755 | -0.0073471 | -0.0038974 | 0.0034497 |  | 5 | -0.0016518
3 | NO | 10.6259 | 29.3759 | 0.0053283 | -0.092226 | -0.0038974 | 0.088329 |  | 6 | -0.0034714
4 | YES | 200.204 | 32.2519 | 0.00044047 | -0.0038033 | -0.003844 | -4.0738e-05 |  | 7 | -0.0079117
4 | NO | 10.2534 | 29.4887 | 0.13461 | -0.073555 | -0.003844 | 0.069711 |  | 8 | 0.0011215
5 | YES | 175.542 | 32.2816 | 0.0011512 | -0.0016518 | -0.0037906 | -0.0021389 |  | 9 | -0.008297
5 | NO | 5.3683 | 26.4426 | 0.0060422 | -0.66795 | -0.0037906 | 0.66416 |  | 11 | 0.0028038
6 | YES | 253.26 | 32.3379 | 0.00060052 | -0.0034714 | -0.0037372 | -0.00026587 |  | 11 | 0.007206
6 | NO | 5.6703 | 29.0276 | 0.048232 | -0.19852 | -0.0037372 | 0.19478 |  | 12 | -0.00317
7 | YES | 199.934 | 32.3625 | 0.00026122 | -0.0079117 | -0.0036839 | 0.0042278 |  | 12 | -0.0013275
7 | NO | 5.2788 | 28.6148 | 0.0082913 | -0.14037 | -0.0036839 | 0.13669 |  | 12 | -0.0002861
8 | YES | 126.149 | 32.2359 | 0.00099045 | 0.0011215 | -0.0036305 | -0.004752 |  | 13 | -0.0014343
8 | NO | 5.1385 | 29.1627 | 0.067534 | -0.15297 | -0.0036305 | 0.14934 |  | 14 | -0.0087395
9 | YES | 300.512 | 32.1942 | 0.00026502 | -0.008297 | -0.0035771 | 0.0047198 |  | 15 | -0.0077477
9 | NO | 5.4586 | 28.1734 | 0.32509 | -0.55415 | -0.0035771 | 0.55057 |  | 16 | -0.0093117
10 | NO | 10.1886 | 30.1226 | 0.0027994 | -0.13291 | -0.0035238 | 0.12939
10 | NO | 5.0572 | 28.7011 | 0.74545 | -0.30778 | -0.0035238 | 0.30426
11 | YES | 176.332 | 33.0173 | 0.0004315 | 0.0028038 | -0.0034704 | -0.0062742
11 | YES | 151.184 | 32.9144 | 0.00426 | 0.007206 | -0.0034704 | -0.010676
12 | NO | 1713.61 | 34.5468 | 0.0003987 | -0.062576 | -0.003417 | 0.059159
12 | YES | 1498.65 | 34.5077 | 0.00046988 | -0.00317 | -0.003417 | -0.000247
12 | YES | 1248.69 | 34.4632 | 0.00027077 | -0.0013275 | -0.003417 | -0.0020895
12 | YES | 998.796 | 34.3889 | 0.00028023 | -0.0002861 | -0.003417 | -0.0031309
13 | YES | 199.342 | 33.9964 | 0.00045335 | -0.0014343 | -0.0033636 | -0.0019293
14 | YES | 175.552 | 32.9965 | 0.00031751 | -0.0087395 | -0.0033103 | 0.0054292
15 | YES | 75.8495 | 32.8029 | 0.00026903 | -0.0077477 | -0.0032569 | 0.0044908
16 | YES | 125.259 | 32.8002 | 0.0002911 | -0.0093117 | -0.0032035 | 0.0061082
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0051945 |  | X | CALC Y
m= | -3.2145e-07 | 1.5728e-06 |  | Std Dev of Resid |  | 0.0025057 |  | 124.984 | -0.0014936
b= | -0.0014534 | 0.0011166 |  | Resid Sum of Squares |  | 5.0229e-05 |  | 1498.65 | -0.0019351
# of Values Extracted = |  |  | 30
# of Values Used in Fit = |  |  | 10
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 150.611 | 31.7641 | 0.00038916 | -0.0061512 | -0.0015018 | 0.0046494 |  | 124.984 | -0.0049229
1 | NO | 5.5249 | 28.4145 | 0.02304 | -0.59876 | -0.0014552 | 0.59731 |  | 200.204 | -0.0038033
2 | YES | 124.984 | 31.9427 | 0.00042389 | -0.0049229 | -0.0014936 | 0.0034293 |  | 175.542 | -0.0016518
2 | NO | 5.0345 | 26.7917 | 0.0013597 | -0.19467 | -0.001455 | 0.19322 |  | 253.26 | -0.0034714
3 | NO | 250.25 | 32.2471 | 0.00026755 | -0.0073471 | -0.0015338 | 0.0058133 |  | 126.149 | 0.0011215
3 | NO | 10.6259 | 29.3759 | 0.0053283 | -0.092226 | -0.0014568 | 0.090769 |  | 176.332 | 0.0028038
4 | YES | 200.204 | 32.2519 | 0.00044047 | -0.0038033 | -0.0015178 | 0.0022855 |  | 1498.65 | -0.00317
4 | NO | 10.2534 | 29.4887 | 0.13461 | -0.073555 | -0.0014567 | 0.072098 |  | 1248.69 | -0.0013275
5 | YES | 175.542 | 32.2816 | 0.0011512 | -0.0016518 | -0.0015098 | 0.00014193 |  | 998.796 | -0.0002861
5 | NO | 5.3683 | 26.4426 | 0.0060422 | -0.66795 | -0.0014551 | 0.6665 |  | 199.342 | -0.0014343 | -0.0016142
6 | YES | 253.26 | 32.3379 | 0.00060052 | -0.0034714 | -0.0015348 | 0.0019366
6 | NO | 5.6703 | 29.0276 | 0.048232 | -0.19852 | -0.0014552 | 0.19706
7 | NO | 199.934 | 32.3625 | 0.00026122 | -0.0079117 | -0.0015177 | 0.006394
7 | NO | 5.2788 | 28.6148 | 0.0082913 | -0.14037 | -0.0014551 | 0.13891
8 | YES | 126.149 | 32.2359 | 0.00099045 | 0.0011215 | -0.001494 | -0.0026155
8 | NO | 5.1385 | 29.1627 | 0.067534 | -0.15297 | -0.0014551 | 0.15151
9 | NO | 300.512 | 32.1942 | 0.00026502 | -0.008297 | -0.00155 | 0.006747
9 | NO | 5.4586 | 28.1734 | 0.32509 | -0.55415 | -0.0014552 | 0.55269
10 | NO | 10.1886 | 30.1226 | 0.0027994 | -0.13291 | -0.0014567 | 0.13145
10 | NO | 5.0572 | 28.7011 | 0.74545 | -0.30778 | -0.001455 | 0.30633
11 | YES | 176.332 | 33.0173 | 0.0004315 | 0.0028038 | -0.0015101 | -0.0043139
11 | NO | 151.184 | 32.9144 | 0.00426 | 0.007206 | -0.001502 | -0.008708
12 | NO | 1713.61 | 34.5468 | 0.0003987 | -0.062576 | -0.0020042 | 0.060572
12 | YES | 1498.65 | 34.5077 | 0.00046988 | -0.00317 | -0.0019351 | 0.0012349
12 | YES | 1248.69 | 34.4632 | 0.00027077 | -0.0013275 | -0.0018548 | -0.00052728
12 | YES | 998.796 | 34.3889 | 0.00028023 | -0.0002861 | -0.0017745 | -0.0014884
13 | YES | 199.342 | 33.9964 | 0.00045335 | -0.0014343 | -0.0015175 | -8.3149e-05
14 | NO | 175.552 | 32.9965 | 0.00031751 | -0.0087395 | -0.0015098 | 0.0072296
15 | NO | 75.8495 | 32.8029 | 0.00026903 | -0.0077477 | -0.0014778 | 0.0062699
16 | NO | 125.259 | 32.8002 | 0.0002911 | -0.0093117 | -0.0014937 | 0.007818
NO
NO
YES
NO
NO
NO
YES
NO
YES
NO
YES
NO
NO
NO
YES
NO
NO
NO
NO
NO
YES
NO
NO
YES
YES
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0009679 |  | X | CALC Y
m= | 1.8573e-07 | 2.1097e-06 |  | Std Dev of Resid |  | 0.0034004 |  | 124.984 | 0.00068027
b= | 0.00065706 | 0.0014916 |  | Resid Sum of Squares |  | 9.2503e-05 |  | 1498.65 | 0.0009354
# of Values Extracted = |  |  | 30
# of Values Used in Fit = |  |  | 10
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 150.611 | 31.7649 | 0.00028815 | -0.0053978 | 0.00068503 | 0.0060828 |  | 124.984 | -0.0038528
1 | NO | 5.5249 | 28.3918 | 0.02733 | -0.62147 | 0.00065808 | 0.62213 |  | 200.204 | -0.0028572
2 | YES | 124.984 | 31.9437 | 0.00032322 | -0.0038528 | 0.00068027 | 0.0045331 |  | 175.542 | -0.002861
2 | NO | 5.0345 | 26.7929 | 0.0017227 | -0.19354 | 0.00065799 | 0.1942 |  | 126.149 | 0.0028114
3 | NO | 250.25 | 32.2482 | 0.00026056 | -0.0061951 | 0.00070354 | 0.0068986 |  | 176.332 | 0.0044746
3 | NO | 10.6259 | 29.3828 | 0.014846 | -0.085287 | 0.00065903 | 0.085946 |  | 151.184 | 0.0054703
4 | YES | 200.204 | 32.2528 | 0.00029004 | -0.0028572 | 0.00069424 | 0.0035515 |  | 1498.65 | -0.00046158
4 | NO | 10.2534 | 29.4502 | 0.11474 | -0.11208 | 0.00065896 | 0.11273 |  | 1248.69 | 0.0014153
5 | YES | 175.542 | 32.2804 | 0.0021515 | -0.002861 | 0.00068966 | 0.0035507 |  | 998.796 | 0.002491
5 | NO | 5.3683 | 26.4378 | 0.0042416 | -0.67276 | 0.00065805 | 0.67341 |  | 199.342 | 0.00085068
6 | NO | 253.26 | 32.3373 | 0.00025348 | -0.0041008 | 0.0007041 | 0.0048049
6 | NO | 5.6703 | 29.0426 | 0.031465 | -0.18354 | 0.00065811 | 0.1842
7 | NO | 199.934 | 32.3648 | 0.00022144 | -0.0055695 | 0.00069419 | 0.0062637
7 | NO | 5.2788 | 28.6138 | 0.0092147 | -0.14138 | 0.00065804 | 0.14203
8 | YES | 126.149 | 32.2376 | 0.0012846 | 0.0028114 | 0.00068049 | -0.0021309
8 | NO | 5.1385 | 29.0743 | 0.083674 | -0.24141 | 0.00065801 | 0.24207
9 | NO | 300.512 | 32.1966 | 0.00022372 | -0.0059433 | 0.00071287 | 0.0066562
9 | NO | 5.4586 | 28.3065 | 0.2643 | -0.42097 | 0.00065807 | 0.42163
10 | NO | 10.1886 | 30.1255 | 0.0028572 | -0.12998 | 0.00065895 | 0.13064
10 | NO | 5.0572 | 28.7083 | 0.70438 | -0.30061 | 0.000658 | 0.30127
11 | YES | 176.332 | 33.019 | 0.00039742 | 0.0044746 | 0.00068981 | -0.0037848
11 | YES | 151.184 | 32.9127 | 0.0057364 | 0.0054703 | 0.00068514 | -0.0047851
12 | NO | 1713.61 | 34.5494 | 0.00042835 | -0.060051 | 0.00097533 | 0.061026
12 | YES | 1498.65 | 34.5104 | 0.00033246 | -0.00046158 | 0.0009354 | 0.001397
12 | YES | 1248.69 | 34.4659 | 0.00020445 | 0.0014153 | 0.00088898 | -0.00052627
12 | YES | 998.796 | 34.3917 | 0.00026515 | 0.002491 | 0.00084256 | -0.0016484
13 | YES | 199.342 | 33.9986 | 0.00038488 | 0.00085068 | 0.00069408 | -0.0001566
14 | NO | 175.552 | 32.9994 | 0.00034919 | -0.0058479 | 0.00068966 | 0.0065376
15 | NO | 75.8495 | 32.8059 | 0.00033885 | -0.0047264 | 0.00067114 | 0.0053976
16 | NO | 125.259 | 32.8036 | 0.00082909 | -0.0058785 | 0.00068032 | 0.0065588
NO
NO
YES
NO
NO
NO
YES
NO
YES
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2007/11/26 15:55:11
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2007-62-0001.mrgtemp | 2007-62-0001.sam | 121 | 150.611 | 150.611 | 0.046422 | 9.1553e-05 | 31.7703 | 31.7649 | 0.00028815 | -0.0053978 | 31.7703 | 31.7641 | 0.00038916 | -0.0061512
2007-62-0001.mrgtemp | 2007-62-0001.sam | 121 | 5.525 | 5.5249 | 0.032513 | -7.4387e-05 | 29.0133 | 28.3918 | 0.02733 | -0.62147 | 29.0133 | 28.4145 | 0.02304 | -0.59876
2007-62-0002.mrgtemp | 2007-62-0002.sam | 121 | 124.984 | 124.984 | 0.027727 | 0.00015259 | 31.9476 | 31.9437 | 0.00032322 | -0.0038528 | 31.9476 | 31.9427 | 0.00042389 | -0.0049229
2007-62-0002.mrgtemp | 2007-62-0002.sam | 121 | 5.034 | 5.0345 | 0.03397 | 0.00047922 | 26.9864 | 26.7929 | 0.0017227 | -0.19354 | 26.9864 | 26.7917 | 0.0013597 | -0.19467
2007-62-0003.mrgtemp | 2007-62-0003.sam | 121 | 250.25 | 250.25 | 0.025679 | 0.00013733 | 32.2544 | 32.2482 | 0.00026056 | -0.0061951 | 32.2544 | 32.2471 | 0.00026755 | -0.0073471
2007-62-0003.mrgtemp | 2007-62-0003.sam | 121 | 10.626 | 10.6259 | 0.026201 | -0.00011635 | 29.4681 | 29.3828 | 0.014846 | -0.085287 | 29.4681 | 29.3759 | 0.0053283 | -0.092226
2007-62-0004.mrgtemp | 2007-62-0004.sam | 242 | 200.202 | 200.204 | 0.029846 | 0.0023346 | 32.2557 | 32.2528 | 0.00029004 | -0.0028572 | 32.2557 | 32.2519 | 0.00044047 | -0.0038033
2007-62-0004.mrgtemp | 2007-62-0004.sam | 121 | 10.253 | 10.2534 | 0.026787 | 0.00040436 | 29.5623 | 29.4502 | 0.11474 | -0.11208 | 29.5623 | 29.4887 | 0.13461 | -0.073555
2007-62-0005.mrgtemp | 2007-62-0005.sam | 121 | 175.542 | 175.542 | 0.030025 | -0.00045776 | 32.2833 | 32.2804 | 0.0021515 | -0.002861 | 32.2833 | 32.2816 | 0.0011512 | -0.0016518
2007-62-0005.mrgtemp | 2007-62-0005.sam | 121 | 5.368 | 5.3683 | 0.034895 | 0.00033045 | 27.1106 | 26.4378 | 0.0042416 | -0.67276 | 27.1106 | 26.4426 | 0.0060422 | -0.66795
2007-62-0006.mrgtemp | 2007-62-0006.sam | 121 | 253.26 | 253.26 | 0.030726 | 0.0004425 | 32.3414 | 32.3373 | 0.00025348 | -0.0041008 | 32.3414 | 32.3379 | 0.00060052 | -0.0034714
2007-62-0006.mrgtemp | 2007-62-0006.sam | 121 | 5.67 | 5.6703 | 0.040333 | 0.00030565 | 29.2261 | 29.0426 | 0.031465 | -0.18354 | 29.2261 | 29.0276 | 0.048232 | -0.19852
2007-62-0007.mrgtemp | 2007-62-0007.sam | 121 | 199.934 | 199.934 | 0.031101 | -3.0518e-05 | 32.3704 | 32.3648 | 0.00022144 | -0.0055695 | 32.3704 | 32.3625 | 0.00026122 | -0.0079117
2007-62-0007.mrgtemp | 2007-62-0007.sam | 121 | 5.279 | 5.2788 | 0.039879 | -0.00015688 | 28.7552 | 28.6138 | 0.0092147 | -0.14138 | 28.7552 | 28.6148 | 0.0082913 | -0.14037
2007-62-0008.mrgtemp | 2007-62-0008.sam | 121 | 126.149 | 126.149 | 0.031508 | 9.1553e-05 | 32.2348 | 32.2376 | 0.0012846 | 0.0028114 | 32.2348 | 32.2359 | 0.00099045 | 0.0011215
2007-62-0008.mrgtemp | 2007-62-0008.sam | 121 | 5.139 | 5.1385 | 0.028434 | -0.00048733 | 29.3157 | 29.0743 | 0.083674 | -0.24141 | 29.3157 | 29.1627 | 0.067534 | -0.15297
2007-62-0009.mrgtemp | 2007-62-0009.sam | 121 | 300.512 | 300.512 | 0.031711 | 0.00021362 | 32.2025 | 32.1966 | 0.00022372 | -0.0059433 | 32.2025 | 32.1942 | 0.00026502 | -0.008297
2007-62-0009.mrgtemp | 2007-62-0009.sam | 121 | 5.459 | 5.4586 | 0.031998 | -0.00043011 | 28.7275 | 28.3065 | 0.2643 | -0.42097 | 28.7275 | 28.1734 | 0.32509 | -0.55415
2007-62-0010.mrgtemp | 2007-62-0010.sam | 121 | 10.189 | 10.1886 | 0.031524 | -0.00041294 | 30.2555 | 30.1255 | 0.0028572 | -0.12998 | 30.2555 | 30.1226 | 0.0027994 | -0.13291
2007-62-0010.mrgtemp | 2007-62-0010.sam | 121 | 5.057 | 5.0572 | 0.028827 | 0.00016499 | 29.0089 | 28.7083 | 0.70438 | -0.30061 | 29.0089 | 28.7011 | 0.74545 | -0.30778
2007-62-0011.mrgtemp | 2007-62-0011.sam | 121 | 176.332 | 176.332 | 0.067452 | 0.00042725 | 33.0145 | 33.019 | 0.00039742 | 0.0044746 | 33.0145 | 33.0173 | 0.0004315 | 0.0028038
2007-62-0011.mrgtemp | 2007-62-0011.sam | 121 | 151.184 | 151.184 | 0.06817 | -3.0518e-05 | 32.9072 | 32.9127 | 0.0057364 | 0.0054703 | 32.9072 | 32.9144 | 0.00426 | 0.007206
2007-62-0012.mrgtemp | 2007-62-0012.sam | 82 | 1713.59 | 1713.61 | 1.1654 | 0.020142 | 34.6094 | 34.5494 | 0.00042835 | -0.060051 | 34.6094 | 34.5468 | 0.0003987 | -0.062576
2007-62-0012.mrgtemp | 2007-62-0012.sam | 121 | 1498.65 | 1498.65 | 0.26856 | 0.00036621 | 34.5109 | 34.5104 | 0.00033246 | -0.00046158 | 34.5109 | 34.5077 | 0.00046988 | -0.00317
2007-62-0012.mrgtemp | 2007-62-0012.sam | 121 | 1248.69 | 1248.69 | 0.15886 | -0.00012207 | 34.4645 | 34.4659 | 0.00020445 | 0.0014153 | 34.4645 | 34.4632 | 0.00027077 | -0.0013275
2007-62-0012.mrgtemp | 2007-62-0012.sam | 121 | 998.796 | 998.796 | 0.79112 | 0.00042725 | 34.3892 | 34.3917 | 0.00026515 | 0.002491 | 34.3892 | 34.3889 | 0.00028023 | -0.0002861
2007-62-0013.mrgtemp | 2007-62-0013.sam | 121 | 199.342 | 199.342 | 0.3912 | -6.1035e-05 | 33.9978 | 33.9986 | 0.00038488 | 0.00085068 | 33.9978 | 33.9964 | 0.00045335 | -0.0014343
2007-62-0019.mrgtemp | 2007-62-0019.sam | 121 | 175.552 | 175.552 | 0.035433 | 0 | 33.0052 | 32.9994 | 0.00034919 | -0.0058479 | 33.0052 | 32.9965 | 0.00031751 | -0.0087395
2007-62-0023.mrgtemp | 2007-62-0023.sam | 121 | 75.85 | 75.8495 | 0.080684 | -0.00048828 | 32.8106 | 32.8059 | 0.00033885 | -0.0047264 | 32.8106 | 32.8029 | 0.00026903 | -0.0077477
2007-62-0024.mrgtemp | 2007-62-0024.sam | 121 | 125.259 | 125.259 | 0.030282 | -0.00048828 | 32.8095 | 32.8036 | 0.00082909 | -0.0058785 | 32.8095 | 32.8002 | 0.0002911 | -0.0093117
Create Fit Sheet