## File List
Number of Files= |  | 20
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2007-67-0001.mrgcor1 | 2007-67-0001.samcor1 | 11 | 11 | 2007-67-0001.mrgcor1 & 2007-67-0001.samcor1
2 | 2007-67-0003.mrgcor1 | 2007-67-0003.samcor1 | 13 | 13 | 2007-67-0003.mrgcor1 & 2007-67-0003.samcor1
3 | 2007-67-0008.mrgcor1 | 2007-67-0008.samcor1 | 15 | 15 | 2007-67-0008.mrgcor1 & 2007-67-0008.samcor1
4 | 2007-67-0011.mrgcor1 | 2007-67-0011.samcor1 | 17 | 17 | 2007-67-0011.mrgcor1 & 2007-67-0011.samcor1
5 | 2007-67-0014.mrgcor1 | 2007-67-0014.samcor1 | 19 | 19 | 2007-67-0014.mrgcor1 & 2007-67-0014.samcor1
6 | 2007-67-0017.mrgcor1 | 2007-67-0017.samcor1 | 21 | 21 | 2007-67-0017.mrgcor1 & 2007-67-0017.samcor1
7 | 2007-67-0020.mrgcor1 | 2007-67-0020.samcor1 | 23 | 23 | 2007-67-0020.mrgcor1 & 2007-67-0020.samcor1
8 | 2007-67-0023.mrgcor1 | 2007-67-0023.samcor1 | 25 | 25 | 2007-67-0023.mrgcor1 & 2007-67-0023.samcor1
9 | 2007-67-0026.mrgcor1 | 2007-67-0026.samcor1 | 27 | 27 | 2007-67-0026.mrgcor1 & 2007-67-0026.samcor1
10 | 2007-67-0031.mrgcor1 | 2007-67-0031.samcor1 | 29 | 29 | 2007-67-0031.mrgcor1 & 2007-67-0031.samcor1
11 | 2007-67-0039.mrgcor1 | 2007-67-0039.samcor1 | 31 | 31 | 2007-67-0039.mrgcor1 & 2007-67-0039.samcor1
12 | 2007-67-0041.mrgcor1 | 2007-67-0041.samcor1 | 33 | 33 | 2007-67-0041.mrgcor1 & 2007-67-0041.samcor1
13 | 2007-67-0046.mrgcor1 | 2007-67-0046.samcor1 | 35 | 35 | 2007-67-0046.mrgcor1 & 2007-67-0046.samcor1
14 | 2007-67-0051.mrgcor1 | 2007-67-0051.samcor1 | 37 | 37 | 2007-67-0051.mrgcor1 & 2007-67-0051.samcor1
15 | 2007-67-0054.mrgcor1 | 2007-67-0054.samcor1 | 39 | 39 | 2007-67-0054.mrgcor1 & 2007-67-0054.samcor1
16 | 2007-67-0056.mrgcor1 | 2007-67-0056.samcor1 | 41 | 41 | 2007-67-0056.mrgcor1 & 2007-67-0056.samcor1
17 | 2007-67-0059.mrgcor1 | 2007-67-0059.samcor1 | 43 | 43 | 2007-67-0059.mrgcor1 & 2007-67-0059.samcor1
18 | 2007-67-0062.mrgcor1 | 2007-67-0062.samcor1 | 45 | 46 | 2007-67-0062.mrgcor1 & 2007-67-0062.samcor1
19 | 2007-67-0064.mrgcor1 | 2007-67-0064.samcor1 | 48 | 48 | 2007-67-0064.mrgcor1 & 2007-67-0064.samcor1
20 | 2007-67-0066.mrgcor1 | 2007-67-0066.samcor1 | 50 | 50 | 2007-67-0066.mrgcor1 & 2007-67-0066.samcor1

## (Sal_CTD - Sal_BOT)
Calculation of Linear Least Squares Fit For
(Sal_CTD - Sal_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal_CTD - Sal_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.026827 |  | X | CALC Y
m= | -5.0034e-06 | 1.0045e-05 |  | Std Dev of Resid |  | 0.0024198 |  | 99.7855 | -0.00034471
b= | 0.00015455 | 0.0022629 |  | Resid Sum of Squares |  | 5.27e-05 |  | 303.139 | -0.0013622
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | Sal_CTD | Sal_CTD | Diff (Sal_CTD - Sal_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 52.6342 | 29.9584 | 0.0023369 | -0.018112 | -0.0001088 | 0.018003 |  | 202.485 | -0.0033722
2 | NO | 202.68 | 31.0272 | 0.0015416 | -0.092405 | -0.00085953 | 0.091546 |  | 176.405 | 0.00019074
3 | NO | 195.595 | 33.8364 | 0.00061944 | -0.077938 | -0.00082408 | 0.077114 |  | 152.43 | 0.0018692
4 | YES | 202.485 | 33.8426 | 0.00030298 | -0.0033722 | -0.00085856 | 0.0025136 |  | 100.218 | 0.00081825
5 | YES | 176.405 | 33.7172 | 0.00028018 | 0.00019074 | -0.00072807 | -0.00091881 |  | 99.7855 | -0.0031166
6 | YES | 152.43 | 33.6365 | 0.00028177 | 0.0018692 | -0.00060811 | -0.0024773 |  | 200.912 | -0.0011463
7 | NO | 101.979 | 32.8662 | 0.0014483 | -0.057632 | -0.00035569 | 0.057277 |  | 253.657 | 0.0023956
8 | YES | 100.218 | 31.9542 | 0.0048711 | 0.00081825 | -0.00034688 | -0.0011651 |  | 302.326 | -0.00062752
9 | YES | 99.7855 | 31.3511 | 0.0021317 | -0.0031166 | -0.00034471 | 0.0027719 |  | 252.329 | -0.0021973
10 | YES | 200.912 | 31.189 | 0.00026511 | -0.0011463 | -0.00085069 | 0.00029563 |  | 303.139 | -0.0050697
11 | NO | 151.956 | 30.6708 | 0.011956 | -0.019367 | -0.00060574 | 0.018761 |  | 302.036 | 0.00021934 | -0.00091241
12 | YES | 253.657 | 31.1209 | 0.00024988 | 0.0023956 | -0.0011146 | -0.0035102
13 | YES | 302.326 | 31.1393 | 0.00025266 | -0.00062752 | -0.0013581 | -0.00073058
14 | YES | 252.329 | 31.0483 | 0.00030959 | -0.0021973 | -0.0011079 | 0.0010893
15 | YES | 303.139 | 31.1207 | 0.00075792 | -0.0050697 | -0.0013622 | 0.0037076
16 | NO | 176.111 | 30.8906 | 0.00058054 | -0.009243 | -0.0007266 | 0.0085164
17 | NO | 151.931 | 30.8671 | 0.00025714 | -0.013657 | -0.00060562 | 0.013051
18 | NO | 301.727 | 30.9497 | 0.00022603 | -0.028076 | -0.0013551 | 0.026721
18 | NO | 150.857 | 30.8424 | 0.0012941 | -0.010704 | -0.00060024 | 0.010104
19 | YES | 302.036 | 30.9443 | 0.00025459 | 0.00021934 | -0.0013566 | -0.001576
20 | NO | 123.837 | 30.0662 | 0.00058976 | -0.05938 | -0.00046505 | 0.058915
NO
NO
NO
YES
YES
YES
NO
YES
YES
YES
NO
YES
YES
YES
YES
NO
NO
NO
NO
YES
NO
FIT vs. Pressure
FIT vs. Sal_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2008/02/25 16:20:33
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_BOT | Sal_CTD |  | Sal_CTD - Sal_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_BOT | Sal_CTD | Sal_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2007-67-0001.mrgcor1 | 2007-67-0001.samcor1 | 121 | 52.63 | 52.6342 | 0.029147 | 0.0042114 | 29.9765 | 29.9584 | 0.0023369 | -0.018112
2007-67-0003.mrgcor1 | 2007-67-0003.samcor1 | 121 | 202.68 | 202.68 | 0.03524 | -0.00016785 | 31.1196 | 31.0272 | 0.0015416 | -0.092405
2007-67-0008.mrgcor1 | 2007-67-0008.samcor1 | 121 | 195.6 | 195.595 | 0.71987 | -0.0045471 | 33.9143 | 33.8364 | 0.00061944 | -0.077938
2007-67-0011.mrgcor1 | 2007-67-0011.samcor1 | 121 | 202.48 | 202.485 | 0.50823 | 0.0046234 | 33.846 | 33.8426 | 0.00030298 | -0.0033722
2007-67-0014.mrgcor1 | 2007-67-0014.samcor1 | 121 | 176.4 | 176.405 | 0.066524 | 0.0048065 | 33.717 | 33.7172 | 0.00028018 | 0.00019074
2007-67-0017.mrgcor1 | 2007-67-0017.samcor1 | 121 | 152.43 | 152.43 | 0.096536 | 0.00042725 | 33.6346 | 33.6365 | 0.00028177 | 0.0018692
2007-67-0020.mrgcor1 | 2007-67-0020.samcor1 | 121 | 101.98 | 101.979 | 0.13749 | -0.0012436 | 32.9238 | 32.8662 | 0.0014483 | -0.057632
2007-67-0023.mrgcor1 | 2007-67-0023.samcor1 | 121 | 100.22 | 100.218 | 0.11015 | -0.0024796 | 31.9534 | 31.9542 | 0.0048711 | 0.00081825
2007-67-0026.mrgcor1 | 2007-67-0026.samcor1 | 121 | 99.79 | 99.7855 | 1.2024 | -0.0044632 | 31.3542 | 31.3511 | 0.0021317 | -0.0031166
2007-67-0031.mrgcor1 | 2007-67-0031.samcor1 | 121 | 200.91 | 200.912 | 0.042583 | 0.0015564 | 31.1901 | 31.189 | 0.00026511 | -0.0011463
2007-67-0039.mrgcor1 | 2007-67-0039.samcor1 | 121 | 151.96 | 151.956 | 0.082671 | -0.0040588 | 30.6902 | 30.6708 | 0.011956 | -0.019367
2007-67-0041.mrgcor1 | 2007-67-0041.samcor1 | 121 | 253.66 | 253.657 | 0.083446 | -0.0031433 | 31.1185 | 31.1209 | 0.00024988 | 0.0023956
2007-67-0046.mrgcor1 | 2007-67-0046.samcor1 | 121 | 302.33 | 302.326 | 0.039963 | -0.0036926 | 31.1399 | 31.1393 | 0.00025266 | -0.00062752
2007-67-0051.mrgcor1 | 2007-67-0051.samcor1 | 121 | 252.33 | 252.329 | 0.031801 | -0.0014801 | 31.0505 | 31.0483 | 0.00030959 | -0.0021973
2007-67-0054.mrgcor1 | 2007-67-0054.samcor1 | 121 | 303.14 | 303.139 | 0.047189 | -0.0013428 | 31.1258 | 31.1207 | 0.00075792 | -0.0050697
2007-67-0056.mrgcor1 | 2007-67-0056.samcor1 | 121 | 176.11 | 176.111 | 0.039653 | 0.001236 | 30.8998 | 30.8906 | 0.00058054 | -0.009243
2007-67-0059.mrgcor1 | 2007-67-0059.samcor1 | 121 | 151.93 | 151.931 | 0.040463 | 0.00099182 | 30.8808 | 30.8671 | 0.00025714 | -0.013657
2007-67-0062.mrgcor1 | 2007-67-0062.samcor1 | 121 | 301.73 | 301.727 | 0.03135 | -0.003479 | 30.9778 | 30.9497 | 0.00022603 | -0.028076
2007-67-0062.mrgcor1 | 2007-67-0062.samcor1 | 121 | 150.86 | 150.857 | 0.81928 | -0.0026398 | 30.8531 | 30.8424 | 0.0012941 | -0.010704
2007-67-0064.mrgcor1 | 2007-67-0064.samcor1 | 121 | 302.04 | 302.036 | 0.040223 | -0.0035706 | 30.9441 | 30.9443 | 0.00025459 | 0.00021934
2007-67-0066.mrgcor1 | 2007-67-0066.samcor1 | 121 | 123.84 | 123.837 | 0.082518 | -0.0033798 | 30.1256 | 30.0662 | 0.00058976 | -0.05938
Create Fit Sheet