## Station Data Avg Dup
Cruise 2008-01 February Papa | [7 empty] | File: Cocc2008-01\Chlorophyll\QF 2008-01CHL.xls
Chlorophyll data summary with Quality Flags | [7 empty] | Date: March 19, 2008
Line P Station Data
Chlorophyll samples were analyzed at sea using Chemistry Turner Designs fluorometer.
The fluorometer was calibrated May 2007 using pure chlorophyll a.
Samples were analysed at sea by Marie Robert
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
i = sample not drawn for this measurement from this bottle
f = average of duplicate samples
Cruise | Station | Cast | Nisk | Sample # | Depth | Chlorophyll | Chl | Comments
|  |  | # |  | M | ug/L | QF
2008-01 | SI03 | 1 | 11 | 11 | 5 |  | i
2008-01 | SI03 | 1 | 10 | 10 | 10 |  | i
2008-01 | SI03 | 1 | 9 | 9 | 25 |  | i
2008-01 | SI03 | 1 | 8 | 8 | 50 |  | i
2008-01 | SI03 | 1 | 7 | 7 | 75 |  | i
2008-01 | SI03 | 1 | 6 | 6 | 100 |  | i
2008-01 | SI03 | 1 | 5 | 5 | 125 |  | i
2008-01 | SI03 | 1 | 4 | 4 | 150 |  | i
2008-01 | SI03 | 1 | 3 | 3 | 175 |  | i
2008-01 | SI03 | 1 | 2 | 2 | 200 |  | i
2008-01 | SI03 | 1 | 1 | 1 | 215 |  | i
2008-01 | P1 | 2 | 1 | 12 | 5 |  | i
2008-01 | P2 | 3 | 13 | 25 | 5 |  | i
2008-01 | P2 | 3 | 12 | 24 | 5 | 0.67267
2008-01 | P2 | 3 | 11 | 23 | 10 | 0.71204
2008-01 | P2 | 3 | 10 | 22 | 10 |  | i
2008-01 | P2 | 3 | 9 | 21 | 10 |  | i
2008-01 | P2 | 3 | 8 | 20 | 10 |  | i
2008-01 | P2 | 3 | 7 | 19 | 10 |  | i
2008-01 | P2 | 3 | 6 | 18 | 25 | 0.618 | f | Chl #17 and #18a may be switched
2008-01 | P2 | 3 | 5 | 17 | 50 | 0.6645 |  | Chl #17 and #18a may be switched
2008-01 | P2 | 3 | 4 | 16 | 75 | 0.12414
2008-01 | P2 | 3 | 3 | 15 | 75 | 0.12135
2008-01 | P2 | 3 | 2 | 14 | 100 | 0.04405
2008-01 | P2 | 3 | 1 | 13 | 110 |  | i
2008-01 | P3 | 5 | 1 | 26 | 5 |  | i
2008-01 | P4 | 6 | 18 | 44 | 0 | 0.74967
2008-01 | P4 | 6 | 17 | 43 | 5 |  | i
2008-01 | P4 | 6 | 16 | 42 | 5 |  | i
2008-01 | P4 | 6 | 15 | 41 | 5 | 0.83534
2008-01 | P4 | 6 | 14 | 40 | 10 | 0.78478
2008-01 | P4 | 6 | 13 | 39 | 15 | 0.777 | f
2008-01 | P4 | 6 | 12 | 38 | 20 | 0.78832
2008-01 | P4 | 6 | 11 | 37 | 25 | 0.72641
2008-01 | P4 | 6 | 10 | 36 | 30 | 0.73818
2008-01 | P4 | 6 | 9 | 35 | 40 | 0.67694
2008-01 | P4 | 6 | 8 | 34 | 50 | 0.72423
2008-01 | P4 | 6 | 7 | 33 | 75 | 0.051001
2008-01 | P4 | 6 | 6 | 32 | 100 | 0.019695
2008-01 | P4 | 6 | 5 | 31 | 150 |  | i
2008-01 | P4 | 6 | 4 | 30 | 175 |  | i
2008-01 | P4 | 6 | 3 | 29 | 200 |  | i
2008-01 | P4 | 6 | 2 | 28 | 250 |  | i
2008-01 | P4 | 6 | 1 | 27 | 300 |  | i
2008-01 | P4 | 9 | 16 | 60 | 10 |  | i
2008-01 | P4 | 9 | 15 | 59 | 10 |  | i
2008-01 | P4 | 9 | 14 | 58 | 10 |  | i
2008-01 | P4 | 9 | 13 | 57 | 10 |  | i
2008-01 | P4 | 9 | 12 | 56 | 500 |  | i
2008-01 | P4 | 9 | 11 | 55 | 500 |  | i
2008-01 | P4 | 9 | 10 | 54 | 500 |  | i
2008-01 | P4 | 9 | 9 | 53 | 500 |  | i
2008-01 | P4 | 9 | 8 | 52 | 1000 |  | i
2008-01 | P4 | 9 | 7 | 51 | 1000 |  | i
2008-01 | P4 | 9 | 6 | 50 | 1000 |  | i
2008-01 | P4 | 9 | 5 | 49 | 1000 |  | i
2008-01 | P4 | 9 | 4 | 48 | 1308 |  | i
2008-01 | P4 | 9 | 3 | 47 | 1308 |  | i
2008-01 | P4 | 9 | 2 | 46 | 1308 |  | i
2008-01 | P4 | 9 | 1 | 45 | 1308 |  | i
2008-01 | P4 | 12 | 19 | 79 | 5 |  | i
2008-01 | P4 | 12 | 18 | 78 | 10 |  | i
2008-01 | P4 | 12 | 17 | 77 | 25 |  | i
2008-01 | P4 | 12 | 16 | 76 | 50 |  | i
2008-01 | P4 | 12 | 15 | 75 | 75 |  | i
2008-01 | P4 | 12 | 14 | 74 | 100 |  | i
2008-01 | P4 | 12 | 13 | 73 | 125 |  | i
2008-01 | P4 | 12 | 12 | 72 | 150 |  | i
2008-01 | P4 | 12 | 11 | 71 | 175 |  | i
2008-01 | P4 | 12 | 10 | 70 | 200 |  | i
2008-01 | P4 | 12 | 9 | 69 | 250 |  | i
2008-01 | P4 | 12 | 8 | 68 | 300 |  | i
2008-01 | P4 | 12 | 7 | 67 | 400 |  | i
2008-01 | P4 | 12 | 6 | 66 | 600 |  | i
2008-01 | P4 | 12 | 5 | 65 | 800 |  | i
2008-01 | P4 | 12 | 4 | 64 | 1000 |  | i
2008-01 | P4 | 12 | 3 | 63 | 1000 |  | i
2008-01 | P4 | 12 | 2 | 62 | 1250 |  | i
2008-01 | P4 | 12 | 1 | 61 | 1300 |  | i
2008-01 | P5 | 13 | 1 | 80 | 5 |  | i
2008-01 | P6 | 14 | 10 | 82 | 5 |  | i
2008-01 | P6 | 14 | 9 | 81 | 5 |  | i
2008-01 | P7 | 15 | 1 | 83 | 5 |  | i
2008-01 | P8 | 18 | 24 | 107 | 5 | 1.012 |  | 333ml - ~20 ml missing
2008-01 | P8 | 18 | 23 | 106 | 5 |  | i
2008-01 | P8 | 18 | 22 | 105 | 10 |  | i
2008-01 | P8 | 18 | 21 | 104 | 10 |  | i
2008-01 | P8 | 18 | 20 | 103 | 10 |  | i
2008-01 | P8 | 18 | 19 | 102 | 10 | 0.79549
2008-01 | P8 | 18 | 18 | 101 | 25 | 0.6872 |  | 333ml - ~20 ml missing
2008-01 | P8 | 18 | 17 | 100 | 50 | 0.637 | f | 333ml - ~20 ml missing
2008-01 | P8 | 18 | 16 | 99 | 75 | 0.31616 |  | 333ml - ~20 ml missing
2008-01 | P8 | 18 | 15 | 98 | 100 | 0.027542
2008-01 | P8 | 18 | 14 | 97 | 125 |  | i
2008-01 | P8 | 18 | 13 | 96 | 150 |  | i
2008-01 | P8 | 18 | 12 | 95 | 175 |  | i
2008-01 | P8 | 18 | 11 | 94 | 200 |  | i
2008-01 | P8 | 18 | 10 | 93 | 250 |  | i
2008-01 | P8 | 18 | 9 | 92 | 300 |  | i
2008-01 | P8 | 18 | 8 | 91 | 400 |  | i
2008-01 | P8 | 18 | 7 | 90 | 600 |  | i
2008-01 | P8 | 18 | 6 | 89 | 800 |  | i
2008-01 | P8 | 18 | 5 | 88 | 1000 |  | i
2008-01 | P8 | 18 | 4 | 87 | 1000 |  | i
2008-01 | P8 | 18 | 3 | 86 | 1250 |  | i
2008-01 | P8 | 18 | 2 | 85 | 1500 |  | i
2008-01 | P8 | 18 | 1 | 84 | 2000 |  | i
2008-01 | P9 | 20 | 1 | 108 | 5 |  | i
2008-01 | P10 | 21 | 1 | 109 | 5 |  | i
2008-01 | P11 | 22 | 1 | 110 | 5 |  | i
2008-01 | P12 | 23 | 16 | 126 | 10 |  | i
2008-01 | P12 | 23 | 15 | 125 | 10 |  | i
2008-01 | P12 | 23 | 14 | 124 | 10 |  | i
2008-01 | P12 | 23 | 13 | 123 | 10 |  | i
2008-01 | P12 | 23 | 12 | 122 | 500 |  | i
2008-01 | P12 | 23 | 11 | 121 | 500 |  | i
2008-01 | P12 | 23 | 10 | 120 | 500 |  | i
2008-01 | P12 | 23 | 9 | 119 | 500 |  | i
2008-01 | P12 | 23 | 8 | 118 | 1000 |  | i
2008-01 | P12 | 23 | 7 | 117 | 1000 |  | i
2008-01 | P12 | 23 | 6 | 116 | 1000 |  | i
2008-01 | P12 | 23 | 5 | 115 | 1000 |  | i
2008-01 | P12 | 23 | 4 | 114 | 2000 |  | i
2008-01 | P12 | 23 | 3 | 113 | 2000 |  | i
2008-01 | P12 | 23 | 2 | 112 | 2000 |  | i
2008-01 | P12 | 23 | 1 | 111 | 2000 |  | i
2008-01 | P12 | 24 | 23 | 149 | 5 |  | i
2008-01 | P12 | 24 | 22 | 148 | 10 |  | i
2008-01 | P12 | 24 | 21 | 147 | 25 |  | i
2008-01 | P12 | 24 | 20 | 146 | 50 |  | i
2008-01 | P12 | 24 | 19 | 145 | 75 |  | i
2008-01 | P12 | 24 | 18 | 144 | 100 |  | i
2008-01 | P12 | 24 | 17 | 143 | 125 |  | i
2008-01 | P12 | 24 | 16 | 142 | 150 |  | i
2008-01 | P12 | 24 | 15 | 141 | 175 |  | i
2008-01 | P12 | 24 | 14 | 140 | 200 |  | i
2008-01 | P12 | 24 | 13 | 139 | 250 |  | i
2008-01 | P12 | 24 | 12 | 138 | 300 |  | i
2008-01 | P12 | 24 | 11 | 137 | 400 |  | i
2008-01 | P12 | 24 | 10 | 136 | 600 |  | i
2008-01 | P12 | 24 | 9 | 135 | 800 |  | i
2008-01 | P12 | 24 | 8 | 134 | 1000 |  | i
2008-01 | P12 | 24 | 7 | 133 | 1250 |  | i
2008-01 | P12 | 24 | 6 | 132 | 1500 |  | i
2008-01 | P12 | 24 | 5 | 131 | 1500 |  | i
2008-01 | P12 | 24 | 4 | 130 | 2000 |  | i
2008-01 | P12 | 24 | 3 | 129 | 2500 |  | i
2008-01 | P12 | 24 | 2 | 128 | 3000 |  | i
2008-01 | P12 | 24 | 1 | 127 | 3266 |  | i
2008-01 | P12 | 27 | 21 | 170 | 0 | 0.3921
2008-01 | P12 | 27 | 20 | 169 | 5 |  | i
2008-01 | P12 | 27 | 19 | 168 | 5 |  | i
2008-01 | P12 | 27 | 18 | 167 | 5 |  | i
2008-01 | P12 | 27 | 17 | 166 | 5 | 0.40617
2008-01 | P12 | 27 | 16 | 165 | 10 |  | i
2008-01 | P12 | 27 | 15 | 164 | 10 | 0.37146
2008-01 | P12 | 27 | 14 | 163 | 15 | 0.40327
2008-01 | P12 | 27 | 13 | 162 | 20 | 0.40861
2008-01 | P12 | 27 | 12 | 161 | 25 |  | i
2008-01 | P12 | 27 | 11 | 160 | 25 | 0.403 | f
2008-01 | P12 | 27 | 10 | 159 | 30 | 0.38976
2008-01 | P12 | 27 | 9 | 158 | 40 | 0.38336
2008-01 | P12 | 27 | 8 | 157 | 50 | 0.40816
2008-01 | P12 | 27 | 7 | 156 | 75 | 0.379
2008-01 | P12 | 27 | 6 | 155 | 100 | 0.17189
2008-01 | P12 | 27 | 5 | 154 | 150 |  | i
2008-01 | P12 | 27 | 4 | 153 | 175 |  | i
2008-01 | P12 | 27 | 3 | 152 | 200 |  | i
2008-01 | P12 | 27 | 2 | 151 | 250 |  | i
2008-01 | P12 | 27 | 1 | 150 | 300 |  | i
2008-01 | P13 | 28 | 2 | 172 | 5 |  | i
2008-01 | P13 | 28 | 1 | 171 | 5 |  | i
2008-01 | P14 | 29 | 5 | 177 | 5 | 0.43488
2008-01 | P14 | 29 | 4 | 176 | 10 | 0.46365
2008-01 | P14 | 29 | 3 | 175 | 10 |  | i
2008-01 | P14 | 29 | 2 | 174 | 10 |  | i
2008-01 | P14 | 29 | 1 | 173 | 10 |  | i
2008-01 | P15 | 30 | 1 | 178 | 5 |  | i
2008-01 | P16 | 31 | 21 | 199 | 0 | 0.46639
2008-01 | P16 | 31 | 20 | 198 | 5 |  | i
2008-01 | P16 | 31 | 19 | 197 | 5 |  | i
2008-01 | P16 | 31 | 18 | 196 | 5 |  | i
2008-01 | P16 | 31 | 17 | 195 | 5 | 0.45676
2008-01 | P16 | 31 | 16 | 194 | 10 |  | i
2008-01 | P16 | 31 | 15 | 193 | 10 | 0.44309
2008-01 | P16 | 31 | 14 | 192 | 15 | 0.451 | f
2008-01 | P16 | 31 | 13 | 191 | 20 | 0.44853
2008-01 | P16 | 31 | 12 | 190 | 25 |  | i
2008-01 | P16 | 31 | 11 | 189 | 25 | 0.4554
2008-01 | P16 | 31 | 10 | 188 | 30 | 0.44162
2008-01 | P16 | 31 | 9 | 187 | 40 | 0.46365
2008-01 | P16 | 31 | 8 | 186 | 50 | 0.47751
2008-01 | P16 | 31 | 7 | 185 | 75 | 0.4527
2008-01 | P16 | 31 | 6 | 184 | 100 | 0.20743
2008-01 | P16 | 31 | 5 | 183 | 150 |  | i
2008-01 | P16 | 31 | 4 | 182 | 175 |  | i
2008-01 | P16 | 31 | 3 | 181 | 200 |  | i
2008-01 | P16 | 31 | 2 | 180 | 250 |  | i
2008-01 | P16 | 31 | 1 | 179 | 300 |  | i
2008-01 | P16 | 34 | 16 | 215 | 10 |  | i
2008-01 | P16 | 34 | 15 | 214 | 10 |  | i
2008-01 | P16 | 34 | 14 | 213 | 10 |  | i
2008-01 | P16 | 34 | 13 | 212 | 10 |  | i
2008-01 | P16 | 34 | 12 | 211 | 500 |  | i
2008-01 | P16 | 34 | 11 | 210 | 500 |  | i
2008-01 | P16 | 34 | 10 | 209 | 500 |  | i
2008-01 | P16 | 34 | 9 | 208 | 500 |  | i
2008-01 | P16 | 34 | 8 | 207 | 1000 |  | i
2008-01 | P16 | 34 | 7 | 206 | 1000 |  | i
2008-01 | P16 | 34 | 6 | 205 | 1000 |  | i
2008-01 | P16 | 34 | 5 | 204 | 1000 |  | i
2008-01 | P16 | 34 | 4 | 203 | 2000 |  | i
2008-01 | P16 | 34 | 3 | 202 | 2000 |  | i
2008-01 | P16 | 34 | 2 | 201 | 2000 |  | i
2008-01 | P16 | 34 | 1 | 200 | 2000 |  | i
2008-01 | P16 | 35 | 24 | 239 | 5 |  | i
2008-01 | P16 | 35 | 23 | 238 | 10 |  | i
2008-01 | P16 | 35 | 22 | 237 | 25 |  | i
2008-01 | P16 | 35 | 21 | 236 | 50 |  | i
2008-01 | P16 | 35 | 20 | 235 | 75 |  | i
2008-01 | P16 | 35 | 19 | 234 | 100 |  | i
2008-01 | P16 | 35 | 18 | 233 | 125 |  | i
2008-01 | P16 | 35 | 17 | 232 | 150 |  | i
2008-01 | P16 | 35 | 16 | 231 | 175 |  | i
2008-01 | P16 | 35 | 15 | 230 | 200 |  | i
2008-01 | P16 | 35 | 14 | 229 | 250 |  | i
2008-01 | P16 | 35 | 13 | 228 | 300 |  | i
2008-01 | P16 | 35 | 12 | 227 | 400 |  | i
2008-01 | P16 | 35 | 11 | 226 | 600 |  | i
2008-01 | P16 | 35 | 10 | 225 | 800 |  | i
2008-01 | P16 | 35 | 9 | 224 | 1000 |  | i
2008-01 | P16 | 35 | 8 | 223 | 1250 |  | i
2008-01 | P16 | 35 | 7 | 222 | 1500 |  | i
2008-01 | P16 | 35 | 6 | 221 | 2000 |  | i
2008-01 | P16 | 35 | 5 | 220 | 2500 |  | i
2008-01 | P16 | 35 | 4 | 219 | 3000 |  | i
2008-01 | P16 | 35 | 3 | 218 | 3500 |  | i
2008-01 | P16 | 35 | 2 | 217 | 3500 |  | i
2008-01 | P16 | 35 | 1 | 216 | 3671 |  | i
2008-01 | P18 | 36 | 5 | 244 | 5 | 0.53426 | c | CHL filtered 18 hours after sampling
2008-01 | P18 | 36 | 4 | 243 | 10 | 0.53727 | c | CHL filtered 18 hours after sampling
2008-01 | P18 | 36 | 3 | 242 | 10 |  | i
2008-01 | P18 | 36 | 2 | 241 | 10 |  | i
2008-01 | P18 | 36 | 1 | 240 | 10 |  | i
2008-01 | P20 | 37 | 21 | 265 | 0 | 0.432 | f
2008-01 | P20 | 37 | 20 | 264 | 5 |  | i
2008-01 | P20 | 37 | 19 | 263 | 5 |  | i
2008-01 | P20 | 37 | 18 | 262 | 5 |  | i
2008-01 | P20 | 37 | 17 | 261 | 5 | 0.42668
2008-01 | P20 | 37 | 16 | 260 | 10 |  | i
2008-01 | P20 | 37 | 15 | 259 | 10 | 0.43638
2008-01 | P20 | 37 | 14 | 258 | 15 | 0.43731
2008-01 | P20 | 37 | 13 | 257 | 20 | 0.41398
2008-01 | P20 | 37 | 12 | 256 | 25 |  | i
2008-01 | P20 | 37 | 11 | 255 | 25 | 0.43899
2008-01 | P20 | 37 | 10 | 254 | 30 | 0.43207
2008-01 | P20 | 37 | 9 | 253 | 40 | 0.4375
2008-01 | P20 | 37 | 8 | 252 | 50 | 0.44162
2008-01 | P20 | 37 | 7 | 251 | 75 | 0.43619
2008-01 | P20 | 37 | 6 | 250 | 100 | 0.43731
2008-01 | P20 | 37 | 5 | 249 | 150 |  | i
2008-01 | P20 | 37 | 4 | 248 | 175 |  | i
2008-01 | P20 | 37 | 3 | 247 | 200 |  | i
2008-01 | P20 | 37 | 2 | 246 | 250 |  | i
2008-01 | P20 | 37 | 1 | 245 | 300 |  | i
2008-01 | P20 | 40 | 24 | 289 | 5 |  | i
2008-01 | P20 | 40 | 23 | 288 | 10 |  | i
2008-01 | P20 | 40 | 22 | 287 | 25 |  | i
2008-01 | P20 | 40 | 21 | 286 | 50 |  | i
2008-01 | P20 | 40 | 20 | 285 | 75 |  | i
2008-01 | P20 | 40 | 19 | 284 | 100 |  | i
2008-01 | P20 | 40 | 18 | 283 | 125 |  | i
2008-01 | P20 | 40 | 17 | 282 | 150 |  | i
2008-01 | P20 | 40 | 16 | 281 | 175 |  | i
2008-01 | P20 | 40 | 15 | 280 | 200 |  | i
2008-01 | P20 | 40 | 14 | 279 | 250 |  | i
2008-01 | P20 | 40 | 13 | 278 | 300 |  | i
2008-01 | P20 | 40 | 12 | 277 | 400 |  | i
2008-01 | P20 | 40 | 11 | 276 | 600 |  | i
2008-01 | P20 | 40 | 10 | 275 | 800 |  | i
2008-01 | P20 | 40 | 9 | 274 | 1000 |  | i
2008-01 | P20 | 40 | 8 | 273 | 1250 |  | i
2008-01 | P20 | 40 | 7 | 272 | 1500 |  | i
2008-01 | P20 | 40 | 6 | 271 | 2000 |  | i
2008-01 | P20 | 40 | 5 | 270 | 2500 |  | i
2008-01 | P20 | 40 | 4 | 269 | 2500 |  | i
2008-01 | P20 | 40 | 3 | 268 | 3000 |  | i
2008-01 | P20 | 40 | 2 | 267 | 3500 |  | i
2008-01 | P20 | 40 | 1 | 266 | 4020 |  | i
2008-01 | P22 | 41 | 5 | 294 | 5 | 0.39915
2008-01 | P22 | 41 | 4 | 293 | 10 | 0.37929
2008-01 | P22 | 41 | 3 | 292 | 10 |  | i
2008-01 | P22 | 41 | 2 | 291 | 10 |  | i
2008-01 | P22 | 41 | 1 | 290 | 10 |  | i
2008-01 | P23 | 42 | 1 | 295 | 5 |  | i
2008-01 | P24 | 43 | 5 | 300 | 5 | 0.36212
2008-01 | P24 | 43 | 4 | 299 | 10 | 0.35889
2008-01 | P24 | 43 | 3 | 298 | 10 |  | i
2008-01 | P24 | 43 | 2 | 297 | 10 |  | i
2008-01 | P24 | 43 | 1 | 296 | 10 |  | i
2008-01 | P25 | 44 | 3 | 301 | 600 |  | i
2008-01 | P25 | 44 | 2 | 302 | 5 | 0.35389
2008-01 | P25 | 44 | 1 | 303 | 5 |  | i
2008-01 | P26 | 45 | 24 | 327 | 0 |  | i
2008-01 | P26 | 45 | 23 | 326 | 0 | 0.35495
2008-01 | P26 | 45 | 22 | 325 | 5 | 0.36814
2008-01 | P26 | 45 | 21 | 324 | 5 |  | i
2008-01 | P26 | 45 | 20 | 323 | 5 |  | i
2008-01 | P26 | 45 | 19 | 322 | 5 |  | i
2008-01 | P26 | 45 | 18 | 321 | 10 |  | i
2008-01 | P26 | 45 | 17 | 320 | 10 |  | i
2008-01 | P26 | 45 | 16 | 319 | 10 | 0.358 | f
2008-01 | P26 | 45 | 15 | 318 | 15 | 0.35401
2008-01 | P26 | 45 | 14 | 317 | 20 | 0.37146
2008-01 | P26 | 45 | 13 | 316 | 20 |  | i
2008-01 | P26 | 45 | 12 | 315 | 25 |  | i
2008-01 | P26 | 45 | 11 | 314 | 25 | 0.35074
2008-01 | P26 | 45 | 10 | 313 | 30 |  | i
2008-01 | P26 | 45 | 9 | 312 | 30 | 0.35908
2008-01 | P26 | 45 | 8 | 311 | 40 | 0.3467
2008-01 | P26 | 45 | 7 | 310 | 50 | 0.3436
2008-01 | P26 | 45 | 6 | 309 | 75 | 0.30392
2008-01 | P26 | 45 | 5 | 308 | 100 | 0.16236
2008-01 | P26 | 45 | 4 | 307 | 150 |  | i
2008-01 | P26 | 45 | 3 | 306 | 175 |  | i
2008-01 | P26 | 45 | 2 | 305 | 200 |  | i
2008-01 | P26 | 45 | 1 | 304 | 250 |  | i
2008-01 | P26 | 46 | 24 | 351 | 5 |  | i
2008-01 | P26 | 46 | 23 | 350 | 10 |  | i
2008-01 | P26 | 46 | 22 | 349 | 25 |  | i
2008-01 | P26 | 46 | 21 | 348 | 50 |  | i
2008-01 | P26 | 46 | 20 | 347 | 75 |  | i
2008-01 | P26 | 46 | 19 | 346 | 100 |  | i
2008-01 | P26 | 46 | 18 | 345 | 125 |  | i
2008-01 | P26 | 46 | 17 | 344 | 150 |  | i
2008-01 | P26 | 46 | 16 | 343 | 175 |  | i
2008-01 | P26 | 46 | 15 | 342 | 200 |  | i
2008-01 | P26 | 46 | 14 | 341 | 250 |  | i
2008-01 | P26 | 46 | 13 | 340 | 300 |  | i
2008-01 | P26 | 46 | 12 | 339 | 400 |  | i
2008-01 | P26 | 46 | 11 | 338 | 600 |  | i
2008-01 | P26 | 46 | 10 | 337 | 800 |  | i
2008-01 | P26 | 46 | 9 | 336 | 1000 |  | i
2008-01 | P26 | 46 | 8 | 335 | 1250 |  | i
2008-01 | P26 | 46 | 7 | 334 | 1500 |  | i
2008-01 | P26 | 46 | 6 | 333 | 2000 |  | i
2008-01 | P26 | 46 | 5 | 332 | 2500 |  | i
2008-01 | P26 | 46 | 4 | 331 | 3000 |  | i
2008-01 | P26 | 46 | 3 | 330 | 3500 |  | i
2008-01 | P26 | 46 | 2 | 329 | 4000 |  | i
2008-01 | P26 | 46 | 1 | 328 | 4300 |  | i
2008-01 | P26 | 47 | 23 | 374 | 5 | 0.34873
2008-01 | P26 | 47 | 22 | 373 | 10 |  | i
2008-01 | P26 | 47 | 21 | 372 | 10 |  | i
2008-01 | P26 | 47 | 20 | 371 | 10 |  | i
2008-01 | P26 | 47 | 19 | 370 | 10 |  | i
2008-01 | P26 | 47 | 18 | 369 | 30 | 0.36212
2008-01 | P26 | 47 | 17 | 368 | 400 |  | i
2008-01 | P26 | 47 | 16 | 367 | 500 |  | i
2008-01 | P26 | 47 | 15 | 366 | 500 |  | i
2008-01 | P26 | 47 | 14 | 365 | 500 |  | i
2008-01 | P26 | 47 | 13 | 364 | 500 |  | i
2008-01 | P26 | 47 | 12 | 363 | 1000 |  | i
2008-01 | P26 | 47 | 11 | 362 | 1000 |  | i
2008-01 | P26 | 47 | 10 | 361 | 1000 |  | i
2008-01 | P26 | 47 | 9 | 360 | 1000 |  | i
2008-01 | P26 | 47 | 8 | 359 | 1000 |  | i
2008-01 | P26 | 47 | 7 | 358 | 2000 |  | i
2008-01 | P26 | 47 | 6 | 357 | 2000 |  | i
2008-01 | P26 | 47 | 5 | 356 | 2000 |  | i
2008-01 | P26 | 47 | 4 | 355 | 2000 |  | i
2008-01 | P26 | 47 | 3 | 354 | 2000 |  | i
2008-01 | P26 | 47 | 2 | 353 | 3000 |  | i
2008-01 | P26 | 47 | 1 | 352 | 4000 |  | i
2008-01 | Mooring | 51 | 14 | 388 | 0 | 0.34154
2008-01 | Mooring | 51 | 13 | 387 | 5 |  | i
2008-01 | Mooring | 51 | 12 | 386 | 5 | 0.3654
2008-01 | Mooring | 51 | 11 | 385 | 10 | 0.361 | f
2008-01 | Mooring | 51 | 10 | 384 | 15 | 0.35495
2008-01 | Mooring | 51 | 9 | 383 | 20 | 0.35482
2008-01 | Mooring | 51 | 8 | 382 | 25 | 0.35908
2008-01 | Mooring | 51 | 7 | 381 | 30 |  | i
2008-01 | Mooring | 51 | 6 | 380 | 30 | 0.35693
2008-01 | Mooring | 51 | 5 | 379 | 35 | 0.37484
2008-01 | Mooring | 51 | 4 | 378 | 40 | 0.35188
2008-01 | Mooring | 51 | 3 | 377 | 45 | 0.35587
2008-01 | Mooring | 51 | 2 | 376 | 50 | 0.36651
2008-01 | Mooring | 51 | 1 | 375 | 55 | 0.35091
2008-01 | Cal 1 | 54 | 24 | 412 | 1500 |  | i
2008-01 | Cal 1 | 54 | 23 | 411 | 1500 |  | i
2008-01 | Cal 1 | 54 | 22 | 410 | 1500 |  | i
2008-01 | Cal 1 | 54 | 21 | 409 | 1500 |  | i
2008-01 | Cal 1 | 54 | 20 | 408 | 1500 |  | i
2008-01 | Cal 1 | 54 | 19 | 407 | 1500 |  | i
2008-01 | Cal 1 | 54 | 18 | 406 | 1500 |  | i
2008-01 | Cal 1 | 54 | 17 | 405 | 1500 |  | i
2008-01 | Cal 1 | 54 | 16 | 404 | 1500 |  | i
2008-01 | Cal 1 | 54 | 15 | 403 | 1500 |  | i
2008-01 | Cal 1 | 54 | 14 | 402 | 1500 |  | i
2008-01 | Cal 1 | 54 | 13 | 401 | 1500 |  | i
2008-01 | Cal 1 | 54 | 12 | 400 | 1500 |  | i
2008-01 | Cal 1 | 54 | 11 | 399 | 1500 |  | i
2008-01 | Cal 1 | 54 | 10 | 398 | 1500 |  | i
2008-01 | Cal 1 | 54 | 9 | 397 | 1500 |  | i
2008-01 | Cal 1 | 54 | 8 | 396 | 1500 |  | i
2008-01 | Cal 1 | 54 | 7 | 395 | 1500 |  | i
2008-01 | Cal 1 | 54 | 6 | 394 | 1500 |  | i
2008-01 | Cal 1 | 54 | 5 | 393 | 1500 |  | i
2008-01 | Cal 1 | 54 | 4 | 392 | 1500 |  | i
2008-01 | Cal 1 | 54 | 3 | 391 | 1500 |  | i
2008-01 | Cal 1 | 54 | 2 | 390 | 1500 |  | i
2008-01 | Cal 1 | 54 | 1 | 389 | 1500 |  | i
2008-01 | M2 | 56 | 9 | 421 | 5 | 0.57438
2008-01 | M2 | 56 | 8 | 420 | 10 | 0.66251 |  | higher than CTD
2008-01 | M2 | 56 | 7 | 419 | 25 | 0.496 | f
2008-01 | M2 | 56 | 6 | 418 | 50 | 0.40816
2008-01 | M2 | 56 | 5 | 417 | 75 | 0.23162
2008-01 | M2 | 56 | 4 | 416 | 100 | 0.18311
2008-01 | M2 | 56 | 3 | 415 | 125 |  | i
2008-01 | M2 | 56 | 2 | 414 | 150 |  | i
2008-01 | M2 | 56 | 1 | 413 | 185 |  | i
2008-01 | M3 | 57 | 12 | 433 | 5 | 0.52358
2008-01 | M3 | 57 | 11 | 432 | 10 | 0.477 | f
2008-01 | M3 | 57 | 10 | 431 | 25 | 0.39269
2008-01 | M3 | 57 | 9 | 430 | 50 | 0.2957
2008-01 | M3 | 57 | 8 | 429 | 75 | 0.16719
2008-01 | M3 | 57 | 7 | 428 | 100 | 0.084095 |  | Filter fell face down on the table
2008-01 | M3 | 57 | 6 | 427 | 125 |  | i
2008-01 | M3 | 57 | 5 | 426 | 150 |  | i
2008-01 | M3 | 57 | 4 | 425 | 175 |  | i
2008-01 | M3 | 57 | 3 | 424 | 200 |  | i
2008-01 | M3 | 57 | 2 | 423 | 250 |  | i
2008-01 | M3 | 57 | 1 | 422 | 300 |  | i
2008-01 | M4 | 58 | 15 | 448 | 5 | 0.198 | f
2008-01 | M4 | 58 | 14 | 447 | 10 | 0.079612 | c | Scale? It's V or W
2008-01 | M4 | 58 | 13 | 446 | 25 | 0.080818 | c | low?
2008-01 | M4 | 58 | 12 | 445 | 50 | 0.30634
2008-01 | M4 | 58 | 11 | 444 | 75 | 0.35482
2008-01 | M4 | 58 | 10 | 443 | 100 | 0.38269
2008-01 | M4 | 58 | 9 | 442 | 125 |  | i
2008-01 | M4 | 58 | 8 | 441 | 150 |  | i
2008-01 | M4 | 58 | 7 | 440 | 175 |  | i
2008-01 | M4 | 58 | 6 | 439 | 200 |  | i
2008-01 | M4 | 58 | 5 | 438 | 250 |  | i
2008-01 | M4 | 58 | 4 | 437 | 300 |  | i
2008-01 | M4 | 58 | 3 | 436 | 350 |  | i
2008-01 | M4 | 58 | 2 | 435 | 400 |  | i
2008-01 | M4 | 58 | 1 | 434 | 425 |  | i
2008-01 | M5 | 59 | 1 | 449 | 5 |  | i
2008-01 | M6 | 60 | 3 | 452 | 5 | 0.42541
2008-01 | M6 | 60 | 2 | 451 | 5 |  | i
2008-01 | M6 | 60 | 1 | 450 | 30 | 0.41847
2008-01 | Ri1 | 61 | 19 | 471 | 5 | 0.4323
2008-01 | Ri1 | 61 | 18 | 470 | 10 | 0.35082
2008-01 | Ri1 | 61 | 17 | 469 | 10 |  | i
2008-01 | Ri1 | 61 | 16 | 468 | 25 | 0.365 | f
2008-01 | Ri1 | 61 | 15 | 467 | 25 |  | i
2008-01 | Ri1 | 61 | 14 | 466 | 50 | 0.034535 | c | low?
2008-01 | Ri1 | 61 | 13 | 465 | 50 |  | i
2008-01 | Ri1 | 61 | 12 | 464 | 75 | 0.086206
2008-01 | Ri1 | 61 | 11 | 463 | 100 | 0.04705
2008-01 | Ri1 | 61 | 10 | 462 | 100 |  | i
2008-01 | Ri1 | 61 | 9 | 461 | 125 |  | i
2008-01 | Ri1 | 61 | 8 | 460 | 150 |  | i
2008-01 | Ri1 | 61 | 7 | 459 | 150 |  | i
2008-01 | Ri1 | 61 | 6 | 458 | 175 |  | i
2008-01 | Ri1 | 61 | 5 | 457 | 200 |  | i
2008-01 | Ri1 | 61 | 4 | 456 | 250 |  | i
2008-01 | Ri1 | 61 | 3 | 455 | 250 |  | i
2008-01 | Ri1 | 61 | 2 | 454 | 300 |  | i
2008-01 | Ri1 | 61 | 1 | 453 | 320 |  | i
2008-01 | Ri 2 | 64 | 1 | 472 | 5 |  | i
2008-01 | Ri 3 | 66 | 1 | 473 | 5 |  | i
2008-01 | Ri 5 | 70 | 1 | 486 | 5 |  | i
2008-01 | Ri 6 | 73 | 1 | 487 | 5 |  | i
2008-01 | Ri4 | 74 | 15 | 502 | ? | 0.074304
2008-01 | Ri4 | 74 | 14 | 501 | ? | 0.014859
2008-01 | Ri4 | 74 | 13 | 500 | ? | 0.012533
2008-01 | Ri4 | 74 | 12 | 499 | 5 | 0.69335
2008-01 | Ri4 | 74 | 11 | 498 | 10 | 0.4513
2008-01 | Ri4 | 74 | 10 | 497 | 25 | 0.312 | f
2008-01 | Ri4 | 74 | 9 | 496 | 50 | 0.05962
2008-01 | Ri4 | 74 | 8 | 495 | 75 | 0.014541
2008-01 | Ri4 | 74 | 7 | 494 | 100 | 0.02119
2008-01 | Ri4 | 74 | 6 | 493 | 125 |  | i
2008-01 | Ri4 | 74 | 5 | 492 | 150 |  | i
2008-01 | Ri4 | 74 | 4 | 491 | 175 |  | i
2008-01 | Ri4 | 74 | 3 | 490 | 200 |  | i
2008-01 | Ri4 | 74 | 2 | 489 | 250 |  | i
2008-01 | Ri4 | 74 | 1 | 488 | 290 |  | i

## 5m cast data
Cruise 2008-08 February Papa | [6 empty] | File: Cocc2008-01\Chlorophyll\QF 2008-01CHL.xls
Chlorophyll data summary with Quality Flags | [6 empty] | Date: March 19, 2008
Data from CTD casts - 5 m bottle only..
Chlorophyll samples were analyzed at sea using Chemistry Turner Designs fluorometer.
The fluorometer was calibrated May 2007 using pure chlorophyll a.
Samples were analysed at sea by Marie Robert
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
i = sample not drawn for this measurement from this bottle
f = average of duplicate samples
Cruise | Station | Cast | Sample # | Chlorophyll | Chl | Comments
|  | # |  | ug/L | QF
2008-01 | SI03 | 1 | 11 |  | i
2008-01 | P1 | 2 | 12 | 1.1295
2008-01 | P2 | 3 | 24 | 0.67267
2008-01 | P3 | 5 | 26 | 0.69969
2008-01 | P4 | 6 | 41 | 0.83534
2008-01 | P4 | 12 | 79 |  | i
2008-01 | P5 | 13 | 80 | 0.56225
2008-01 | P6 | 14 | 81 | 0.38384 |  | Generic volume
2008-01 | P7 | 15 | 83 | 0.12414 |  | Generic volume
2008-01 | P8 | 18 | 107 | 1.012
2008-01 | P9 | 20 | 108 | 0.44147
2008-01 | P10 | 21 | 109 | 0.42924
2008-01 | P11 | 22 | 110 | 0.41686
2008-01 | P12 | 24 | 149 |  | i
2008-01 | P12 | 27 | 166 | 0.40617
2008-01 | P13 | 28 | 171 | 0.3632
2008-01 | P14 | 29 | 177 | 0.43488
2008-01 | P15 | 30 | 178 | 0.47193
2008-01 | P16 | 31 | 195 | 0.45676
2008-01 | P16 | 35 | 239 |  | i
2008-01 | P18 | 36 | 244 | 0.53426
2008-01 | P20 | 37 | 261 | 0.42668
2008-01 | P20 | 40 | 289 |  | i
2008-01 | P22 | 41 | 294 | 0.39915
2008-01 | P23 | 42 | 295 | 0.33442
2008-01 | P24 | 43 | 300 | 0.36212
2008-01 | P25 | 44 | 302 | 0.35389
2008-01 | P26 | 45 | 325 | 0.36814
2008-01 | P26 | 46 | 351 |  | i
2008-01 | P26 | 47 | 374 | 0.34873
2008-01 | Mooring | 51 | 387 | 0.3654
2008-01 | Mooring | 51 | 386 |  | i
2008-01 | M2 | 56 | 421 | 0.57438
2008-01 | M3 | 57 | 433 | 0.52358
2008-01 | M4 | 58 | 448 | 0.19803 | f
2008-01 | M5 | 59 | 449 | 0.53335
2008-01 | M6 | 60 | 452 | 0.42541
2008-01 | Ri 1 | 61 | 471 | 0.4323
2008-01 | Ri 2 | 64 | 472 | 0.53335
2008-01 | Ri 3 | 66 | 473 | 0.62771
2008-01 | Ri 5 | 70 | 486 | 0.019695
2008-01 | Ri 6 | 73 | 487 | 0.57267
2008-01 | Ri 4 | 74 | 499 | 0.69335

## Loop data
Cruise 2008-08 February Papa | [6 empty] | File: Cocc2008-01\Chlorophyll\QF 2008-01CHL.xls
Chlorophyll data summary with Quality Flags | [6 empty] | Date: March 19, 2008
Data from loop system
Chlorophyll samples were analyzed at sea using Chemistry Turner Designs fluorometer.
The fluorometer was calibrated May 2007 using pure chlorophyll a.
Samples were analysed at sea by Marie Robert
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
i = sample not drawn for this measurement from this bottle
f = average of duplicate samples
Cruise | Station | Cast | Sample # | Chlorophyll | Chl | Comments
|  | # |  | ug/L | QF
2008-01 | JF2 |  | usw | 0.51228
2008-01 | JF3 |  | usw |  | i | sample lost in analysis
2008-01 | JF4 |  | usw | 1.1952
2008-01 | P21 |  | usw | 0.42099
2008-01 | P35 |  | usw | 0.34052
2008-01 | P26 |  | usw | 0.35074
2008-01 | Loop 1 |  | usw | 0.4115
2008-01 | Loop 2 |  | usw | 0.39092
2008-01 | Loop 3 |  | usw | 0.43207
2008-01 | Loop 4 |  | usw | 0.41973
2008-01 | Loop 5 |  | usw | 0.35389
2008-01 | Loop 6 |  | usw | 0.36514
2008-01 | Loop 7 |  | usw | 0.44046
2008-01 | Loop 8 |  | usw | 0.50571
2008-01 | Loop 9 |  | usw | 0.46493
2008-01 | Loop 10 |  | usw | 0.65428
2008-01 | Loop 12 |  | usw | 0.4894
2008-01 | Loop 13 |  | usw | 0.47591
2008-01 | Loop 14 |  | usw | 0.3118
2008-01 | Loop 15 |  | usw | 0.39796
2008-01 | Loop 16 |  | usw | 0.1632
2008-01 | Loop 17 |  | usw | 0.20036
2008-01 | Loop 18 |  | usw | 0.55797
2008-01 | Loop M2 |  | usw | 0.81567
2008-01 | Loop M3 |  | usw | 0.61951
2008-01 | Loop Ri 6 |  | usw | 0.77466

## Surf &Loop Data
Cruise 2008-08 February Papa | [5 empty] | File: Cocc2008-01\Chlorophyll\QF 2008-01CHL.xls
Chlorophyll data summary with Quality Flags | [5 empty] | Date: March 19, 2008
Line P Surface Niskin and Loop Data
Chlorophyll samples were analyzed at sea using Chemistry Turner Designs fluorometer.
The fluorometer was calibrated May 2007 using pure chlorophyll a.
Samples were analysed at sea by Marie Robert
Quality Flags:
c = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
d = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
i = sample not drawn for this measurement from this bottle
f = average of duplicate samples
Cruise | Station | Cast | Sample # | Chlorophyll | Chl | Comments
|  | # |  | ug/L | QF
2008-01 | SI03 | 1 | 11 |  | i
2008-01 | JF2 |  | usw | 0.51228
2008-01 | JF3 |  | usw |  | i | sample lost in analysis
2008-01 | JF4 |  | usw | 1.1952
2008-01 | P1 | 2 | 12 | 1.1295
2008-01 | P2 | 3 | 24 | 0.67267
2008-01 | P3 | 5 | 26 | 0.69969
2008-01 | P4 | 6 | 41 | 0.83534
2008-01 | P4 | 12 | 79 |  | i
2008-01 | P5 | 13 | 80 | 0.56225
2008-01 | P6 | 14 | 81 | 0.38384 |  | Generic volume
2008-01 | P7 | 15 | 83 | 0.12414 |  | Generic volume
2008-01 | P8 | 18 | 107 | 1.012
2008-01 | P9 | 20 | 108 | 0.44147
2008-01 | P10 | 21 | 109 | 0.42924
2008-01 | P11 | 22 | 110 | 0.41686
2008-01 | P12 | 24 | 149 |  | i
2008-01 | P12 | 27 | 166 | 0.40617
2008-01 | P13 | 28 | 171 | 0.3632
2008-01 | P14 | 29 | 177 | 0.43488
2008-01 | P15 | 30 | 178 | 0.47193
2008-01 | P16 | 31 | 195 | 0.45676
2008-01 | P16 | 35 | 239 |  | i
2008-01 | P18 | 36 | 244 | 0.53426
2008-01 | P20 | 37 | 261 | 0.42668
2008-01 | P20 | 40 | 289 |  | i
2008-01 | P21 |  | usw | 0.42099
2008-01 | P22 | 41 | 294 | 0.39915
2008-01 | P23 | 42 | 295 | 0.33442
2008-01 | P24 | 43 | 300 | 0.36212
2008-01 | P25 | 44 | 302 | 0.35389
2008-01 | P35 |  | usw | 0.34052
2008-01 | P26 | 45 | 325 | 0.36814
2008-01 | P26 | 46 | 351 |  | i
2008-01 | P26 | 47 | 374 | 0.34873
2008-01 | P26 |  | usw | 0.35074
2008-01 | Mooring | 51 | 387 | 0.3654
2008-01 | Mooring | 51 | 386 |  | i
2008-01 | Loop 1 |  | usw | 0.4115
2008-01 | Loop 2 |  | usw | 0.39092
2008-01 | Loop 3 |  | usw | 0.43207
2008-01 | Loop 4 |  | usw | 0.41973
2008-01 | Loop 5 |  | usw | 0.35389
2008-01 | Loop 6 |  | usw | 0.36514
2008-01 | Loop 7 |  | usw | 0.44046
2008-01 | Loop 8 |  | usw | 0.50571
2008-01 | Loop 9 |  | usw | 0.46493
2008-01 | Loop 10 |  | usw | 0.65428
2008-01 | Loop 12 |  | usw | 0.4894
2008-01 | Loop 13 |  | usw | 0.47591
2008-01 | Loop 14 |  | usw | 0.3118
2008-01 | Loop 15 |  | usw | 0.39796
2008-01 | Loop 16 |  | usw | 0.1632
2008-01 | Loop 17 |  | usw | 0.20036
2008-01 | Loop 18 |  | usw | 0.55797
2008-01 | M2 | 56 | 421 | 0.57438
2008-01 | Loop M2 |  | usw | 0.81567
2008-01 | M3 | 57 | 433 | 0.52358
2008-01 | Loop M3 |  | usw | 0.61951
2008-01 | M4 | 58 | 448 | 0.19803 | f
2008-01 | M5 | 59 | 449 | 0.53335
2008-01 | M6 | 60 | 452 | 0.42541
2008-01 | Ri 1 | 61 | 471 | 0.4323
2008-01 | Ri 2 | 64 | 472 | 0.53335
2008-01 | Ri 3 | 66 | 473 | 0.62771
2008-01 | Ri 5 | 70 | 486 | 0.019695
2008-01 | Ri 6 | 73 | 487 | 0.57267
2008-01 | Loop Ri 6 |  | usw | 0.77466
2008-01 | Ri 4 | 74 | 499 | 0.69335

## Precision
Cruise 2008-01 February Papa |  | File: Cocc2008-01\Chlorophyll\QF 2008-01CHL.xls
Date: March 19, 2008
Chlorophyll samples were analyzed at sea using Chemistry Turner Designs fluorometer.
The fluorometer was calibrated May 2007 using pure chlorophyll a.
Samples were analysed at sea by Marie Robert
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
For replicate samples drawn from the same Niskin bottle:
Sp for Chlorophyll for the range 0.189 to 0.787 ug/L was 0.013, k = 13